Date:	     June 26, 2026

To:          All Bidders for IFB - FMD Boiler Tune-Up and Coen Burners Maintenance

From:  	  Department of General Services

Office of Business and Acquisition Services (OBAS)

Subject:  Addendum #2 - IFB FMD Boiler Tune-Up and Coen Burners Maintenance

This addendum is to make changes to the solicitation referenced above.

Change #1 – IFB Attachment 8-Cost Sheet, Exhibit B, Attachment 1, Table 2, Foreseeable Repair Services has been changed as follows:

- FORESEEABLE REPAIR SERVICES1

| Description | A | B | C | D | E | F | G |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Number of Labor Hours | Normal Business Hourly Rate2 | Calculated Labor Amount (A x B) | Part Replacement Amount3 | Total Combined Replacement Amount (C+D) | Est Qty | Calculated Total Amount (E x F) |  |
| Remove and replace broken stud, R STAMP |  | $ | $ | $ | $ | 20 | $ |  |
| Remove and replace Main Gas Regulating Valve in #1 or #4 (small boiler) |  |  | $ | $ | $ | 2 | $ |  |
| Remove and replace Main Gas Regulating Valve in #2 or #3 (large Boiler) |  |  | $ | $ | $ | 2 | $ |  |
| Remove and replace Pilot Gas Regulator |  |  | $ | $ | $ | 4 | $ |  |
| Remove and replace water level control probe |  |  | $ | $ | $ | 4 | $ |  |
| Remove and replace Burner in #1 or #4 (small boiler) |  |  | $ | $ | $ | 1 | $ |  |
| Remove and replace burner in #2 or #3 (large boiler) |  |  | $ | $ | $ | 1 | $ |  |
| Remove and replace Boiler Controls (CPU Mother Board) |  |  | $ | $ | $ | 4 | $ |  |
| Remove and Replace Yokogawa processer board |  |  | $ | $ | $ | 4 | $ |  |
| Remove and replace Fire eye sensor & control replacement in #1 or #4 (Small Boiler) |  |  | $ | $ | $ | 2 | $ |  |
| Remove and replace Fire eye sensor & control replacement In #2 or #3 (Large Boiler) |  |  | $ | $ | $ | 2 | $ |  |
| Remove and replace/recondition Non-return valve |  |  | $ | $ | $ | 4 | $ |  |
| Remove and replace main steam header vent valve (8”) |  |  | $ | $ | $ | 1 | $ |  |
| Remove and replace main steam isolation valve (8” at vent) |  |  | $ | $ | $ | 1 | $ |  |
| Remove and replace boiler vent valves (8 – 1” ea. at the steam drum) +DIR Inspection |  |  | $ | $ | $ | 8 | $ |  |
| Remove and replace Economizer safety relief valve |  |  | $ | $ | $ | 4 | $ |  |
| Remove and replace Fuel Gas Supply Maxon valve #1 & or #4 (small boiler) |  |  | $ | $ | $ | 4 | $ |  |
| Remove and replace Fuel Oil Supply Maxon valve #1 & or #4 (small boiler) |  |  | $ | $ | $ | 4 | $ |  |
| Remove and replace Fuel Gas Supply Maxon valve #2 & or #3 (large boiler) |  |  | $ | $ | $ | 4 | $ |  |
| Remove and replace Fuel Oil Supply Maxon valve #2 & or #3 (large boiler) |  |  | $ | $ | $ | 4 | $ |  |
| FORESEEABLE REPAIR SERVICES TOTAL (Sum of Column G) |  |  |  |  |  |  |  | $ |  |