## Rate Sheet
HIGH VOLTAGE EQUIPMENT MAINTENANCE AND REPAIR SERVICES
Electronic bid packages include an Excel version of this Rate Sheet (Exhibit B-1) in addition to the PDF file in order to assist bidders in computing accurate totals. Bidders should download the Excel version and complete ALL highlighted cells.
The Contractor will be compensated for services performed in accordance with the rates specified on the Exhibit B-1, Rate Sheet which shall include all labor, personnel, transportation (including travel, per diem, fuel, and mileage), materials, supplies, tools, any necessary equipment, permits, licenses, taxes, fees, shipping/freight charges, and every other item of expense necessary (unless otherwise specified herein) to provide all identified services.
Bidders may bid on one or more locations. Bidders are not required to bid on all locations; however, bidders must include a rate for all items within that location. Failure to indicate a dollar amount (blank cell) on any item may be grounds to reject the entire bid for that location. A zero dollar amount ($0.00 or $ -) listed for any and/or all items shall be interpreted and understood by the State to mean that the bidder will perform any such services at NO COST to the State.
Any and all services performed outside the scope of this Agreement shall be at the sole risk and expense of the Contractor. All prices and notations must be printed in ink or typewritten. All prices must be bid in U.S. currency and shall encompass every item of expense necessary to perform the services.
Quantities and services listed on the Exhibit B-1, Rate Sheet are the State's estimates only and are offered as a basis for the comparison of bids. The State does not expressly or by implication agree that the actual amount of work will correspond therewith and reserves the right to increase/omit portions of the work as may be deemed necessary or advisable by the State.
Hourly rates must meet minimum prevailing wage determination made by the Director of the California Department of Industrial Relations.
Each participating location’s total basis of award includes a Rate Sheet line item totaling 25% of the sum of the bidder’s service rate(s) to allow for additional as-needed, unforeseeable services. As-needed services will be payable at the applicable service rate(s) on the Exhibit B-1, Rate Sheet.
All CDCR estimated quantities and Contractor provided rates are for the entire term of this agreement.
Contractor may offer a discount on invoices paid within thirty (30) days of receipt. Discount offered must be at least one percent and a minimum of $50.00.
Discount offered on invoices paid within 30 days of receipt = |  |  |  |  | *
*In the event of tie bids, CDCR reserves the right to determine the bidder entitled to the contract award based on the percentage of discount. If not applicable or a discount tie, a coin toss or lot drawing will be used in accordance with the Invitation for Bid, Basis for Award.
There are no guarantees that any services will be requested from this agreement.
1. CALIFORNIA CORRECTIONAL INSTITUTION (CCI)
A. Preventative Maintenance, Inspection, and Testing Services
Equipment Description |  | Cost per Service | x | Estimated Quantity | x | Estimated Number of Services | = | Total
SWITCHGEAR
1 | Main Switchgear - 4,160 V Russ Electric |  | x | 1 | x | 3 | = | 0
2 | Switchgear Industrial Electric, RSE sierra 4,160 V |  | x | 1 | x | 3 | = | 0
3 | Switchgear Filter, Lights, & Other Components |  | x | 10 | x | 3 | = | 0
4 | Time Delay Starting/Closing Relay - 2 |  | x | 5 | x | 3 | = | 0
5 | Interlocking Relay - 3 |  | x | 5 | x | 3 | = | 0
6 | Rate of Change Relay - 7 |  | x | 5 | x | 3 | = | 0
7 | Distance Relay 21 |  | x | 5 | x | 3 | = | 0
8 | Monitor Relay - 25 |  | x | 5 | x | 3 | = | 0
9 | Voltz per Hertz Relay - 24 |  | x | 5 | x | 3 | = | 0
10 | Undervoltage Relay - 27 |  | x | 5 | x | 3 | = | 0
11 | Static Frequency Relay - 31 |  | x | 5 | x | 3 | = | 0
12 | Directional Power Relay - 32 |  | x | 5 | x | 3 | = | 0
13 | Undercurrent/Underpower Relay - 37 |  | x | 5 | x | 3 | = | 0
14 | Field Over/Under Excitation Relay - 40 |  | x | 1 | x | 3 | = | 0
15 | Unit Sequence Starting Relay - 44 |  | x | 5 | x | 3 | = | 0
16 | Reverse-phase or Phase-Balance Current Relay - 46 |  | x | 2 | x | 3 | = | 0
17 | Phase-Sequence or Phase-Balance Voltage Relay - 47 |  | x | 5 | x | 3 | = | 0
18 | Incomplete Sequence Relay - 48 |  | x | 5 | x | 3 | = | 0
19 | Transformer Thermal Relay - 49 |  | x | 5 | x | 3 | = | 0
20 | Instantaneous Overcurrent Relay - 50 |  | x | 5 | x | 3 | = | 0
21 | AC Inverse Time Overcurrent Relay - 51 |  | x | 5 | x | 3 | = | 0
22 | Exciter or DC Generator Relay - 53 |  | x | 2 | x | 3 | = | 0
23 | Power Factor Relay - 55 |  | x | 2 | x | 3 | = | 0
24 | Field Application Relay - 56 |  | x | 2 | x | 3 | = | 0
25 | Rectification Failure Relay - 58 |  | x | 2 | x | 3 | = | 0
26 | Overvoltage Relay - 59 |  | x | 2 | x | 3 | = | 0
27 | Voltage or Current Balance Relay - 60 |  | x | 2 | x | 3 | = | 0
28 | Time-Delay Stopping or Opening Relay - 62 |  | x | 5 | x | 3 | = | 0
29 | Ground Detector Relay - 64 |  | x | 2 | x | 3 | = | 0
30 | AC Directional Overcurrent Relay - 64 |  | x | 2 | x | 3 | = | 0
31 | Blocking Relay - 68 |  | x | 2 | x | 3 | = | 0
32 | Alarm Relay - 74 |  | x | 2 | x | 3 | = | 0
33 | DC Overcurrent Relay - 76 |  | x | 2 | x | 3 | = | 0
34 | Phase-Angle Measuring or Out-of-Step Relay - 78 |  | x | 2 | x | 3 | = | 0
35 | AC Closing Relay - 79 |  | x | 5 | x | 3 | = | 0
36 | Frequency Relay - 81 |  | x | 2 | x | 3 | = | 0
37 | DC Reclosing Relay - 82 |  | x | 5 | x | 3 | = | 0
38 | Automatic Selective Control or Transfer Relay - 83 |  | x | 2 | x | 3 | = | 0
39 | Lockout Relay - 86 |  | x | 5 | x | 3 | = | 0
40 | Differential Protective Relay - 87 |  | x | 2 | x | 3 | = | 0
41 | Voltage Directional Relay - 91 |  | x | 2 | x | 3 | = | 0
42 | Voltage and Power Directional Relay - 92 |  | x | 2 | x | 3 | = | 0
43 | Tripping or Trip-Free Relay - 94 |  | x | 2 | x | 3 | = | 0
44 | Busbar Trip Lockout Relay - 96 |  | x | 2 | x | 3 | = | 0
45 | Voltage and Ampere Meters |  | x | 4 | x | 3 | = | 0
46 | Control Transformers |  | x | 3 | x | 3 | = | 0
47 | Instrument Transformers (CT’s, PT’s) |  | x | 3 | x | 3 | = | 0
48 | Potential Transformers |  | x | 3 | x | 3 | = | 0
49 | Control and Instrument Switches |  | x | 10 | x | 3 | = | 0
50 | Position Switch |  | x | 5 | x | 3 | = | 0
51 | Position Changing Mechanism |  | x | 5 | x | 3 | = | 0
52 | Generator Step-Up Transformers |  | x | 1 | x | 3 | = | 0
53 | Battery Charger |  | x | 2 | x | 3 | = | 0
54 | Batteries |  | x | 24 | x | 3 | = | 0
55 | Main Circuit Breaker - 4160 |  | x | 4 | x | 3 | = | 0
56 | Circuit Breaker - Voltage 4160 |  | x | 1 | x | 3 | = | 0
57 | Voltage Regulator |  | x | 2 | x | 3 | = | 0
VACUUM SWITCHES
3 | Bypass Isolation Switch |  | x | 2 | x | 3 | = | 0
4 | Knife Switch |  | x | 8 | x | 3 | = | 0
CIRCUIT BREAKER
1 | Circuit Breaker - Voltage 4160v |  | x | 5 | x | 3 | = | 0
2 | Associated Components |  | x | 5 | x | 3 | = | 0
TRANSFORMERS
1 | Pad Mounted Oil-Filled Transformer - 12 kV |  | x | 22 | x | 3 | = | 0
2 | Pole Mounted Oil-Filled Transformer - 12 kV |  | x | 3 | x | 3 | = | 0
3 | Dry Type Transformer - 4,160 V |  | x | 15 | x | 3 | = | 0
4 | Dry Type Transformer - 2,400 V |  | x | 5 | x | 3 | = | 0
5 | Pad mounted Oil-Filled Transformer - 2,400 V |  | x | 11 | x | 3 | = | 0
6 | Pad mounted Oil-Filled Transformer - 4,160 V |  | x | 4 | x | 3 | = | 0
7 | Pole mounted Oil-Filled Transformer - 2,400 V |  | x | 2 | x | 3 | = | 0
8 | Pole mounted Oil-Filled Transformer- 4,160 V |  | x | 12 | x | 3 | = | 0
9 | Oil Sampling |  | x | 54 | x | 3 | = | 0
AUTOMATIC TRANSFER SWITCHES
1 | Automatic Transfer Switch - 4,160 V |  | x | 2 | x | 3 | = | 0
CIRCUIT SWITCHER
1 | 3-Phase High Voltage Switch (Air) |  | x | 1 | x | 3 | = | 0
CONTINUOUS LOAD RECORDING
1 | 7-day period |  | x | 2 | x | 3 | = | 0
POWER POLES
1 | Cross Arms (Poles) |  | x | 105 | x | 3 | = | 0
2 | Fuses (Cut outs) |  | x | 41 | x | 3 | = | 0
SECTION (A) TOTAL | [7 empty] | 0
B. Repairs
Service Description |  |  | Hourly Rate |  | x | Estimated Number of Hours | = | Total
1 | High Voltage Routine Repairs - Scheduled |  |  |  | x | 200 | = | 0
2 | High Voltage Emergency Repairs - Normal Business Hours |  |  |  | x | 200 | = | 0
3 | High Voltage Emergency Repairs - Outside of Normal Business Hours |  |  |  | x | 100 | = | 0
SECTION (B) TOTAL | [7 empty] | 0
C. Other
Description | [6 empty] | = | Total
Parts (not included under Preventative Maintenance) | [6 empty] | = | 50000
Equipment Rentals | [6 empty] | = | 30000
As-Needed Services (25%) | [6 empty] | = | 0
SECTION (C) TOTAL | [7 empty] | 0
CCI TOTAL BASIS OF AWARD (A + B + C) | [7 empty] | 0
2. CALIFORNIA MEN'S COLONY (CMC)
A. Preventative Maintenance, Inspection, and Testing Services
Equipment Description |  | Cost per Service | x | Estimated Quantity | x | Estimated Number of Services | = | Total
SWITCHGEAR
1 | Main Switchgear |  | x | 4 | x | 3 | = | 0
2 | Switchgear Filter, Lights, & Other Components |  | x | 4 | x | 3 | = | 0
3 | Control Transformers |  | x | 5 | x | 3 | = | 0
4 | Starter - Motor Control |  | x | 15 | x | 3 | = | 0
5 | Main Circuit Breaker |  | x | 25 | x | 3 | = | 0
6 | Circuit Breaker |  | x | 25 | x | 3 | = | 0
7 | Voltage Regulator |  | x | 25 | x | 3 | = | 0
TRANSFORMERS
1 | Main Oil-Filled Transformer |  | x | 7 | x | 3 | = | 0
2 | Oil-Filled Transformer |  | x | 18 | x | 3 | = | 0
3 | Dry Type Transformer |  | x | 20 | x | 3 | = | 0
4 | Oil Sampling |  | x | 25 | x | 3 | = | 0
AUTOMATIC TRANSFER SWITCHES
1 | Automatic Transfer Switch |  | x | 8 | x | 3 | = | 0
CIRCUIT SWITCHER
1 | 3-Phase High Voltage Switch |  | x | 6 | x | 3 | = | 0
CONTINUOUS LOAD RECORDING
1 | 7-day period |  | x | 2 | x | 3 | = | 0
POWER POLES
1 | Cross Arms |  | x | 65 | x | 3 | = | 0
2 | Fuses |  | x | 195 | x | 3 | = | 0
3 | Other Components |  | x | 200 | x | 3 | = | 0
SECTION (A) TOTAL | [7 empty] | 0
B. Repairs
Service Description |  |  | Hourly Rate |  | x | Estimated Number of Hours | = | Total
1 | High Voltage Routine Repairs - Scheduled |  |  |  | x | 150 | = | 0
2 | High Voltage Emergency Repairs - Normal Business Hours |  |  |  | x | 80 | = | 0
3 | High Voltage Emergency Repairs - Outside of Normal Business Hours |  |  |  | x | 60 | = | 0
SECTION (B) TOTAL | [7 empty] | 0
C. Other
Description | [6 empty] | = | Total
Parts (not included under Preventative Maintenance) | [6 empty] | = | 100000
Equipment Rentals | [6 empty] | = | 30000
As-Needed Services (25%) | [6 empty] | = | 0
SECTION (C) TOTAL | [7 empty] | 0
CMC TOTAL BASIS OF AWARD (A + B + C) | [7 empty] | 0
3. CALIFORNIA STATE PRISON, LOS ANGELES COUNTY (LAC)
A. Preventative Maintenance, Inspection, and Testing Services
Equipment Description |  | Cost per Service | x | Estimated Quantity | x | Estimated Number of Services | = | Total
SWITCHGEAR
1 | Main Switchgear 12.4 kv /CGI |  | x | 2 | x | 3 | = | 0
2 | Switchgear 12.4 KV CGI 1200 amps CGI |  | x | 10 | x | 3 | = | 0
3 | Switchgear Filter, Lights, & Other Components |  | x | 200 | x | 3 | = | 0
4 | Time Delay Starting/Closing Relay - 2 |  | x | 12 | x | 3 | = | 0
5 | Interlocking Relay - 3 |  | x | 10 | x | 3 | = | 0
6 | Volts per Hertz Relay |  | x | 24 | x | 3 | = | 0
7 | Distance Relay 21 |  | x | 2 | x | 3 | = | 0
8 | Monitor Relay - 25 |  | x | 6 | x | 3 | = | 0
9 | Voltz per Hertz Relay - 24 |  | x | 24 | x | 3 | = | 0
10 | Undervoltage Relay - 27 |  | x | 4 | x | 3 | = | 0
11 | Static Frequency Relay - 31 |  | x | 3 | x | 3 | = | 0
12 | Directional Power Relay - 32 |  | x | 2 | x | 3 | = | 0
13 | Undercurrent/Underpower Relay - 37 |  | x | 9 | x | 3 | = | 0
14 | Field Over/Under Excitation Relay - 40 |  | x | 12 | x | 3 | = | 0
15 | Unit Sequence Starting Relay - 44 |  | x | 12 | x | 3 | = | 0
16 | Reverse-phase or Phase-Balance Current Relay - 46 |  | x | 4 | x | 3 | = | 0
17 | Phase-Sequence or Phase-Balance Voltage Relay - 47 |  | x | 9 | x | 3 | = | 0
18 | Incomplete Sequence Relay - 48 |  | x | 4 | x | 3 | = | 0
19 | Transformer Thermal Relay - 49 |  | x | 4 | x | 3 | = | 0
20 | Ground Detector Relay - 50 |  | x | 8 | x | 3 | = | 0
21 | Alarm Relay -74 |  | x | 8 | x | 3 | = | 0
22 | Exciter or DC Generator Relay - 53 |  | x | 8 | x | 3 | = | 0
23 | Power Factor Relay - 55 |  | x | 3 | x | 3 | = | 0
24 | Field Application Relay - 56 |  | x | 4 | x | 3 | = | 0
25 | Trip Lockout Relays - 58 |  | x | 2 | x | 3 | = | 0
26 | Overvoltage Relay - 59 |  | x | 4 | x | 3 | = | 0
27 | Voltage or Current Balance Relay - 60 |  | x | 4 | x | 3 | = | 0
28 | Time-Delay Stopping or Opening Relay - 62 |  | x | 2 | x | 3 | = | 0
29 | Ground Detector Relay - 64 |  | x | 5 | x | 3 | = | 0
30 | AC Directional Overcurrent Relay - 64 |  | x | 23 | x | 3 | = | 0
31 | Position switch |  | x | 30 | x | 3 | = | 0
32 | Alarm Relay - 74 |  | x | 22 | x | 3 | = | 0
33 | DC Overcurrent Relay - 76 |  | x | 34 | x | 3 | = | 0
34 | Phase-Angle Measuring or Out-of-Step Relay - 78 |  | x | 2 | x | 3 | = | 0
35 | AC Closing Relay - 79 |  | x | 10 | x | 3 | = | 0
36 | Frequency Relay - 81 |  | x | 2 | x | 3 | = | 0
37 | DC Reclosing Relay - 82 |  | x | 2 | x | 3 | = | 0
38 | Automatic Selective Control or Transfer Relay - 83 |  | x | 8 | x | 3 | = | 0
39 | Lockout Relay - 86 |  | x | 2 | x | 3 | = | 0
40 | Differential Protective Relay - 87 |  | x | 2 | x | 3 | = | 0
41 | Voltage Directional Relay - 91 |  | x | 2 | x | 3 | = | 0
42 | Voltage and Power Directional Relay - 92 |  | x | 2 | x | 3 | = | 0
43 | Tripping or Trip-Free Relay - 94 |  | x | 2 | x | 3 | = | 0
44 | Busbar Trip Lockout Relay - 96 |  | x | 2 | x | 3 | = | 0
45 | Voltage and Ampere Meters |  | x | 16 | x | 3 | = | 0
46 | Control Transformers |  | x | 4 | x | 3 | = | 0
47 | Instrument Transformers (CT’s, PT’s) |  | x | 10 | x | 3 | = | 0
48 | Potential Transformers |  | x | 2 | x | 3 | = | 0
49 | Control and Instrument Switches |  | x | 36 | x | 3 | = | 0
50 | Position Switch |  | x | 36 | x | 3 | = | 0
51 | Position Changing Mechanism |  | x | 36 | x | 3 | = | 0
52 | Generator Step-Up Transformers |  | x | 2 | x | 3 | = | 0
53 | Battery Charger |  | x | 4 | x | 3 | = | 0
54 | Batteries |  | x | 52 | x | 3 | = | 0
55 | Engine/ Generator Control Panel -Voltage 120 VDC |  | x | 2 | x | 3 | = | 0
56 | Main Circuit Breaker - Voltage 150 Amps /120 VDC |  | x | 1 | x | 3 | = | 0
57 | Circuit Breaker - Voltage 12470 |  | x | 9 | x | 3 | = | 0
58 | Voltage Regulator |  | x | 2 | x | 3 | = | 0
VACUUM SWITCHES
1 | Liquid Insulated Vacuum Switch Cooper Power Sys. Cat# 620L07G30 Mod # R-vac6B |  | x | 9 | x | 3 | = | 0
2 | Bypass Isolation Switch |  | x | 36 | x | 3 | = | 0
3 | Oil Sampling |  | x | 10 | x | 3 | = | 0
4 | Switches 4 Position 200 amp T-blade break befor make |  | x | 36 | x | 3 | = | 0
CIRCUIT BREAKER
1 | Circuit Breaker - Voltage 12470 1200 amps Westinghouse Style # 3776A20G02 |  | x | 10 | x | 3 | = | 0
2 | Associated Components Type 150 VCPW |  | x | 1 | x | 3 | = | 0
TRANSFORMERS
1 | Main Oil-Filled Transformer - Voltage |  | x | 1 | x | 3 | = | 0
2 | Oil-Filled Transformer - Voltage 12470/480/204 |  | x | 50 | x | 3 | = | 0
3 | Dry Type Transformer - Voltage 480/208 |  | x | 6 | x | 3 | = | 0
4 | Oil Sampling |  | x | 68 | x | 3 | = | 0
AUTOMATIC TRANSFER SWITCHES
1 | Automatic Transfer Switch - Voltage 12470/480 |  | x | 5 | x | 3 | = | 0
2 | Bypass Isolation Switch - Voltage 12470/ 480 |  | x | 5 | x | 3 | = | 0
CIRCUIT SWITCHER
1 | 3-Phase High Voltage Switch |  | x | 3 | x | 3 | = | 0
2 | Load Interruptors |  | x | 3 | x | 3 | = | 0
CONTINUOUS LOAD RECORDING
1 | 7-day period |  | x | 2 | x | 3 | = | 0
SECTION (A) TOTAL | [7 empty] | 0
B. Repairs
Service Description |  |  | Hourly Rate |  | x | Estimated Number of Hours | = | Total
1 | High Voltage Routine Repairs - Scheduled |  |  |  | x | 120 | = | 0
2 | High Voltage Emergency Repairs - Normal Business Hours |  |  |  | x | 120 | = | 0
3 | High Voltage Emergency Repairs - Outside of Normal Business Hours |  |  |  | x | 120 | = | 0
SECTION (B) TOTAL | [7 empty] | 0
C. Other
Description | [6 empty] | = | Total
Parts (not included under Preventative Maintenance) | [6 empty] | = | 75000
Equipment Rentals | [6 empty] | = | 75000
As-Needed Services (25%) | [6 empty] | = | 0
SECTION (C) TOTAL | [7 empty] | 0
LAC TOTAL BASIS OF AWARD (A + B + C) | [7 empty] | 0
4. PELICAN BAY STATE PRISON (PBSP)
A. Preventative Maintenance, Inspection, and Testing Services
Equipment Description |  | Cost per Service | x | Estimated Quantity | x | Estimated Number of Services | = | Total
SWITCHGEAR
1 | Main Switchgear-15KV-GE 8 Sections |  | x | 8 | x | 3 | = | 0
2 | Undervoltage Relay - 27 |  | x | 1 | x | 3 | = | 0
3 | Static Frequency Relay - 31 |  | x | 1 | x | 3 | = | 0
4 | Directional Power Relay - 32 |  | x | 2 | x | 3 | = | 0
5 | Undercurrent/Underpower Relay - 37 |  | x | 1 | x | 3 | = | 0
6 | Field Over/Under Excitation Relay - 40 |  | x | 3 | x | 3 | = | 0
7 | Reverse-phase or Phase-Balance Current Relay - 46 |  | x | 2 | x | 3 | = | 0
8 | AC Inverse Time Overcurrent Relay - 51 |  | x | 24 | x | 3 | = | 0
9 | Frequency Relay - 81 |  | x | 1 | x | 3 | = | 0
10 | Lockout Relay - 86 |  | x | 3 | x | 3 | = | 0
11 | Differential Protective Relay - 87 |  | x | 6 | x | 3 | = | 0
12 | Voltage and Ampere Meters |  | x | 8 | x | 3 | = | 0
13 | Control Transformers |  | x | 6 | x | 3 | = | 0
14 | Instrument Transformers (CT’s, PT’s) |  | x | 23 | x | 3 | = | 0
15 | Potential Transformers |  | x | 6 | x | 3 | = | 0
16 | Control and Instrument Switches |  | x | 10 | x | 3 | = | 0
17 | Generator Step-Up Transformers 480V-12460V |  | x | 2 | x | 3 | = | 0
18 | Battery Charger |  | x | 1 | x | 3 | = | 0
19 | Batteries Nickel Cadmium |  | x | 92 | x | 3 | = | 0
20 | Main Circuit Breaker -GE Power/Vac 15KV 1200Amp |  | x | 9 | x | 3 | = | 0
21 | Voltage Regulator |  | x | 2 | x | 3 | = | 0
22 | Asco/Delta Engine Control |  | x | 2 | x | 3 | = | 0
23 | Relay 51/27 |  | x | 2 | x | 3 | = | 0
VACUUM SWITCHES
1 | Liquid Insulated Vacuum Switch-AB Chance |  | x | 8 | x | 3 | = | 0
2 | Gas Insulated Vacuum Switch |  | x | 2 | x | 3 | = | 0
3 | Oil Sampling |  | x | 8 | x | 3 | = | 0
AUTOMATIC TRANSFER SWITCHES
1 | Automatic Transfer Switch - 480 Volts |  | x | 10 | x | 3 | = | 0
CONTINUOUS LOAD RECORDING
1 | 7-day period |  | x | 2 | x | 3 | = | 0
POWER POLES
1 | Fuses |  | x | 6 | x | 3 | = | 0
2 | Pole Type Distribution Transformer 3 Phase 20KV |  | x | 1 | x | 3 | = | 0
SECTION (A) TOTAL | [7 empty] | 0
B. Repairs
Service Description |  |  | Hourly Rate |  | x | Estimated Number of Hours | = | Total
1 | High Voltage Routine Repairs - Scheduled |  |  |  | x | 750 | = | 0
2 | High Voltage Emergency Repairs - Normal Business Hours |  |  |  | x | 250 | = | 0
3 | High Voltage Emergency Repairs - Outside of Normal Business Hours |  |  |  | x | 250 | = | 0
SECTION (B) TOTAL | [7 empty] | 0
C. Other
Description | [6 empty] | = | Total
Parts (not included under Preventative Maintenance) | [6 empty] | = | 50000
Equipment Rentals | [6 empty] | = | 30000
As-Needed Services (25%) | [6 empty] | = | 0
SECTION (C) TOTAL | [7 empty] | 0
PBSP TOTAL BASIS OF AWARD (A + B + C) | [7 empty] | 0
5. RICHARD J. DONOVAN CORRECTIONAL FACILITY (RJD)
A. Preventative Maintenance, Inspection, and Testing Services
Equipment Description |  | Cost per Service | x | Estimated Quantity | x | Estimated Number of Services | = | Total
SWITCHGEAR
1 | Main Distribution |  | x | 1 | x | 3 | = | 0
2 | Sub Station Distribution Section |  | x | 13 | x | 3 | = | 0
3 | Basler Relay |  | x | 54 | x | 3 | = | 0
4 | 15 kv GE Vacuum Circuit Breakers |  | x | 14 | x | 3 | = | 0
5 | Current Transformers |  | x | 98 | x | 3 | = | 0
6 | Potential Transformers |  | x | 18 | x | 3 | = | 0
7 | Ammeters |  | x | 6 | x | 3 | = | 0
8 | Hertz Meters |  | x | 2 | x | 3 | = | 0
9 | Kilo-Volt Meter |  | x | 8 | x | 3 | = | 0
10 | Sens Battery Charger |  | x | 1 | x | 3 | = | 0
11 | Synchronizer |  | x | 1 | x | 3 | = | 0
12 | Synscope |  | x | 1 | x | 3 | = | 0
13 | KWH Meter |  | x | 1 | x | 3 | = | 0
TRANSFORMERS
1 | Oil Filled Transformers |  | x | 18 | x | 3 | = | 0
2 | Dry Type Transformers |  | x | 46 | x | 3 | = | 0
3 | Oil Samples |  | x | 18 | x | 3 | = | 0
SECTION (A) TOTAL | [7 empty] | 0
B. Repairs
Service Description |  |  | Hourly Rate |  | x | Estimated Number of Hours | = | Total
1 | High Voltage Routine Repairs - Scheduled |  |  |  | x | 220 | = | 0
2 | High Voltage Emergency Repairs - Normal Business Hours |  |  |  | x | 24 | = | 0
3 | High Voltage Emergency Repairs - Outside of Normal Business Hours |  |  |  | x | 24 | = | 0
SECTION (B) TOTAL | [7 empty] | 0
C. Other
Description | [6 empty] | = | Total
Parts (not included under Preventative Maintenance) | [6 empty] | = | 50000
Equipment Rentals | [6 empty] | = | 30000
As-Needed Services (25%) | [6 empty] | = | 0
SECTION (C) TOTAL | [7 empty] | 0
RJD TOTAL BASIS OF AWARD (A + B + C) | [7 empty] | 0
6. HEMAN G. STARK YOUTH CORRECTIONAL FACILITY (HGS)
A. Preventative Maintenance, Inspection, and Testing Services
Equipment Description |  | Cost per Service | x | Estimated Quantity | x | Estimated Number of Services | = | Total
SWITCHGEAR
1 | Main Switchgear 12.4 KV-Pacific Electric |  | x | 1 | x | 3 | = | 0
2 | Switchgear 12.4 KV - Westinghouse |  | x | 5 | x | 3 | = | 0
3 | Switchgear Filter, Lights, & Other Components |  | x | 1 | x | 3 | = | 0
4 | Time Delay Starting/Closing Relay - 2 |  | x | 1 | x | 3 | = | 0
5 | Interlocking Relay - 3 |  | x | 1 | x | 3 | = | 0
6 | Rate of Change Relay - 7 |  | x | 1 | x | 3 | = | 0
7 | Distance Relay 21 |  | x | 1 | x | 3 | = | 0
8 | Monitor Relay - 25 |  | x | 1 | x | 3 | = | 0
9 | Voltz per Hertz Relay - 24 |  | x | 1 | x | 3 | = | 0
10 | Undervoltage Relay - 27 |  | x | 1 | x | 3 | = | 0
11 | Static Frequency Relay - 31 |  | x | 1 | x | 3 | = | 0
12 | Directional Power Relay - 32 |  | x | 1 | x | 3 | = | 0
13 | Undercurrent/underpower Relay - 37 |  | x | 1 | x | 3 | = | 0
14 | Field Over/Under Excitation Relay - 40 |  | x | 1 | x | 3 | = | 0
15 | Unit Sequence Starting Relay - 44 |  | x | 1 | x | 3 | = | 0
16 | Reverse-phase or Pase-Balance Current Relay - 46 |  | x | 1 | x | 3 | = | 0
17 | Phase-Sequence or Phase-Balance Voltage Relay - 47 |  | x | 1 | x | 3 | = | 0
18 | Incomplete Sequence Relay - 48 |  | x | 1 | x | 3 | = | 0
19 | Transformer Thermal Relay - 49 |  | x | 1 | x | 3 | = | 0
20 | Instantaneous Overcurrent Relay - 50 |  | x | 1 | x | 3 | = | 0
21 | AC Inverse Time Overcurrent Relay - 51 |  | x | 1 | x | 3 | = | 0
22 | Exciter or DC Generator Relay - 53 |  | x | 1 | x | 3 | = | 0
23 | Power Factor Relay - 55 |  | x | 1 | x | 3 | = | 0
24 | Field Application Relay - 56 |  | x | 1 | x | 3 | = | 0
25 | Rectification Failure Relay - 58 |  | x | 1 | x | 3 | = | 0
26 | Overvoltage Relay - 59 |  | x | 1 | x | 3 | = | 0
27 | Voltage or Current Balance Relay - 60 |  | x | 1 | x | 3 | = | 0
28 | Time-Delay Stopping or Opening Relay - 62 |  | x | 1 | x | 3 | = | 0
29 | Ground Detector Relay - 64 |  | x | 1 | x | 3 | = | 0
30 | AC Directional Overcurrent Relay - 64 |  | x | 1 | x | 3 | = | 0
31 | Blocking Relay - 68 |  | x | 1 | x | 3 | = | 0
32 | Alarm Relay - 74 |  | x | 1 | x | 3 | = | 0
33 | DC Overcurrent Relay - 76 |  | x | 1 | x | 3 | = | 0
34 | Phase-Angle Measuring or Out-of-Step Relay - 78 |  | x | 1 | x | 3 | = | 0
35 | AC Closing Relay - 79 |  | x | 1 | x | 3 | = | 0
36 | Frequency Relay - 81 |  | x | 1 | x | 3 | = | 0
37 | DC Reclosing Relay - 82 |  | x | 1 | x | 3 | = | 0
38 | Automatic Selective Control or Transfer Relay - 83 |  | x | 1 | x | 3 | = | 0
39 | Lockout Relay - 86 |  | x | 1 | x | 3 | = | 0
40 | Differential Protective Relay - 87 |  | x | 1 | x | 3 | = | 0
41 | Voltage Directional Relay - 91 |  | x | 1 | x | 3 | = | 0
42 | Voltage and Power Directional Relay - 92 |  | x | 1 | x | 3 | = | 0
43 | Tripping and Trip-Free Relay - 94 |  | x | 1 | x | 3 | = | 0
44 | Busbar Trip Lockout Relay - 96 |  | x | 1 | x | 3 | = | 0
45 | Voltage and Ampere Meters |  | x | 1 | x | 3 | = | 0
46 | Control Transformers |  | x | 1 | x | 3 | = | 0
47 | Instrument Transformers (CT's, PT's) |  | x | 1 | x | 3 | = | 0
48 | Potential Transformer |  | x | 1 | x | 3 | = | 0
49 | Control and Instrument Switches |  | x | 1 | x | 3 | = | 0
50 | Position Switch |  | x | 1 | x | 3 | = | 0
51 | Position Changing Mechanism |  | x | 1 | x | 3 | = | 0
52 | Generator Step-Up Transformers |  | x | 1 | x | 3 | = | 0
53 | Battery Charger |  | x | 1 | x | 3 | = | 0
54 | Batteries |  | x | 1 | x | 3 | = | 0
55 | Starter - Motor Control - Voltage 480 |  | x | 1 | x | 3 | = | 0
56 | Main Circuit Breaker - Voltage 480 |  | x | 1 | x | 3 | = | 0
57 | Circuit Breaker - Voltage 480 |  | x | 1 | x | 3 | = | 0
58 | Voltage Regulator |  | x | 1 | x | 3 | = | 0
VACUUM SWITCHES
1 | Liquid Insulated Vacuum Switch Cooper Power System Cat# 620L07G30 Mod #R-vac6B |  | x | 1 | x | 3 | = | 0
2 | Gas Insulated Vacuum Switch |  | x | 1 | x | 3 | = | 0
3 | Bypass Isolation Switch |  | x | 1 | x | 3 | = | 0
CIRCUIT BREAKER
1 | Circuit Breaker - Voltage 12.45KV snf 480KV |  | x | 1 | x | 3 | = | 0
TRANSFORMERS
1 | Oil-Filled Transformer - Voltage 12KV to 480 Volts |  | x | 1 | x | 3 | = | 0
2 | Dry Type Transformer - Voltage 480/208 |  | x | 10 | x | 3 | = | 0
3 | Oil Sampling |  | x | 6 | x | 3 | = | 0
AUTOMATIC TRANSFER SWITCHES
1 | Automatic Transfer Switch - Voltage 12KV |  | x | 1 | x | 3 | = | 0
2 | Bypass Isolation Switch - Voltage 12KV |  | x | 1 | x | 3 | = | 0
CIRCUIT SWITCHER
1 | 3-Phase High Voltage Switch |  | x | 1 | x | 3 | = | 0
CAPACITOR BANK
1 | KVAR Capacitor Bank - All Ratings |  | x | 1 | x | 3 | = | 0
POWER POLES
1 | Cross Arms |  | x | 6 | x | 3 | = | 0
2 | Fuses |  | x | 1 | x | 3 | = | 0
3 | Other Components |  | x | 1 | x | 3 | = | 0
4 | Pole mounted transformers |  | x | 4 | x | 3 | = | 0
SECTION (A) TOTAL | [7 empty] | 0
B. Repairs
Service Description |  |  | Hourly Rate |  | x | Estimated Number of Hours | = | Total
1 | High Voltage Routine Repairs - Scheduled |  |  |  | x | 75 | = | 0
2 | High Voltage Emergency Repairs - Normal Business Hours |  |  |  | x | 50 | = | 0
3 | High Voltage Emergency Repairs - Outside of Normal Business Hours |  |  |  | x | 25 | = | 0
SECTION (B) TOTAL | [7 empty] | 0
C. Other
Description | [6 empty] | = | Total
Parts (not included under Preventative Maintenance) | [6 empty] | = | 50000
Equipment Rentals | [6 empty] | = | 30000
As-Needed Services (25%) | [6 empty] | = | 0
SECTION (C) TOTAL | [7 empty] | 0
HGS TOTAL BASIS OF AWARD (A + B + C) | [7 empty] | 0
7. VENTURA YOUTH CORRECTIONAL FACILITY (VYCF)
A. Preventative Maintenance, Inspection, and Testing Services
Equipment Description |  | Cost per Service | x | Estimated Quantity | x | Estimated Number of Services | = | Total
SWITCHGEAR
1 | Main Switchgear - Power Switch Center |  | x | 2 | x | 3 | = | 0
2 | Switchgear - Power Switch Center 4.8 kv |  | x | 2 | x | 3 | = | 0
3 | Switchgear Filter, Lights, & Other Components |  | x | 2 | x | 3 | = | 0
4 | Time Delay Starting/Closing Relay - 2 |  | x | 2 | x | 3 | = | 0
5 | Interlocking Relay - 3 |  | x | 2 | x | 3 | = | 0
6 | Rate of Change Relay - 7 |  | x | 2 | x | 3 | = | 0
7 | Distance Relay 21 |  | x | 2 | x | 3 | = | 0
8 | Monitor Relay - 25 |  | x | 2 | x | 3 | = | 0
9 | Voltz per Hertz Relay - 24 |  | x | 2 | x | 3 | = | 0
10 | Undervoltage Relay - 27 |  | x | 2 | x | 3 | = | 0
11 | Static Frequency Relay - 31 |  | x | 2 | x | 3 | = | 0
12 | Directional Power Relay - 32 |  | x | 2 | x | 3 | = | 0
13 | Undercurrent/Underpower Relay - 37 |  | x | 2 | x | 3 | = | 0
14 | Field Over/Under Excitation Relay - 40 |  | x | 2 | x | 3 | = | 0
15 | Unit Sequence Starting Relay - 44 |  | x | 2 | x | 3 | = | 0
16 | Reverse-phase or Phase-Balance Current Relay - 46 |  | x | 2 | x | 3 | = | 0
17 | Phase-Sequence or Phase-Balance Voltage Relay - 47 |  | x | 2 | x | 3 | = | 0
18 | Incomplete Sequence Relay - 48 |  | x | 2 | x | 3 | = | 0
19 | Transformer Thermal Relay - 49 |  | x | 2 | x | 3 | = | 0
20 | Instantaneous Overcurrent Relay - 50 |  | x | 2 | x | 3 | = | 0
21 | AC Inverse Time Overcurrent Relay - 51 |  | x | 2 | x | 3 | = | 0
22 | Exciter or DC Generator Relay - 53 |  | x | 2 | x | 3 | = | 0
23 | Power Factor Relay - 55 |  | x | 2 | x | 3 | = | 0
24 | Field Application Relay - 56 |  | x | 2 | x | 3 | = | 0
25 | Rectification Failure Relay - 58 |  | x | 2 | x | 3 | = | 0
26 | Overvoltage Relay - 59 |  | x | 2 | x | 3 | = | 0
27 | Voltage or Current Balance Relay - 60 |  | x | 2 | x | 3 | = | 0
28 | Time-Delay Stopping or Opening Relay - 62 |  | x | 2 | x | 3 | = | 0
29 | Ground Detector Relay - 64 |  | x | 2 | x | 3 | = | 0
30 | AC Directional Overcurrent Relay - 64 |  | x | 2 | x | 3 | = | 0
31 | Blocking Relay - 68 |  | x | 2 | x | 3 | = | 0
32 | Alarm Relay - 74 |  | x | 2 | x | 3 | = | 0
33 | DC Overcurrent Relay - 76 |  | x | 2 | x | 3 | = | 0
34 | Phase-Angle Measuring or Out-of-Step Relay - 78 |  | x | 2 | x | 3 | = | 0
35 | AC Closing Relay - 79 |  | x | 2 | x | 3 | = | 0
36 | Frequency Relay - 81 |  | x | 2 | x | 3 | = | 0
37 | DC Reclosing Relay - 82 |  | x | 2 | x | 3 | = | 0
38 | Automatic Selective Control or Transfer Relay - 83 |  | x | 2 | x | 3 | = | 0
39 | Lockout Relay - 86 |  | x | 2 | x | 3 | = | 0
40 | Differential Protective Relay - 87 |  | x | 2 | x | 3 | = | 0
41 | Voltage Directional Relay - 91 |  | x | 2 | x | 3 | = | 0
42 | Voltage and Power Directional Relay - 92 |  | x | 2 | x | 3 | = | 0
43 | Tripping or Trip-Free Relay - 94 |  | x | 2 | x | 3 | = | 0
44 | Busbar Trip Lockout Relay - 96 |  | x | 2 | x | 3 | = | 0
45 | Voltage and Ampere Meters |  | x | 2 | x | 3 | = | 0
46 | Control Transformers |  | x | 2 | x | 3 | = | 0
47 | Instrument Transformers (CT’s, PT’s) |  | x | 2 | x | 3 | = | 0
48 | Potential Transformers |  | x | 2 | x | 3 | = | 0
49 | Control and Instrument Switches |  | x | 2 | x | 3 | = | 0
50 | Position Switch |  | x | 2 | x | 3 | = | 0
51 | Position Changing Mechanism |  | x | 2 | x | 3 | = | 0
52 | Generator Step-Up Transformers |  | x | 2 | x | 3 | = | 0
53 | Battery Charger |  | x | 2 | x | 3 | = | 0
54 | Batteries |  | x | 2 | x | 3 | = | 0
55 | Starter - Motor Control - Voltage - 4.8 kV |  | x | 2 | x | 3 | = | 0
56 | Main Circuit Breaker - Voltage - 4.8 kV |  | x | 2 | x | 3 | = | 0
57 | Circuit Breaker - Voltage - 4.8 kV |  | x | 2 | x | 3 | = | 0
58 | Voltage Regulator |  | x | 2 | x | 3 | = | 0
VACUUM SWITCHES
1 | Liquid Insulated Vacuum Switch |  | x | 2 | x | 3 | = | 0
2 | Gas Insulated Vacuum Switch |  | x | 2 | x | 3 | = | 0
3 | Bypass Isolation Switch |  | x | 2 | x | 3 | = | 0
CIRCUIT BREAKER
1 | Circuit Breaker - 4.8 kv |  | x | 2 | x | 3 | = | 0
2 | Associated Components |  | x | 2 | x | 3 | = | 0
TRANSFORMERS
1 | Main Oil-Filled Transformer - Voltage - 4,160 V |  | x | 2 | x | 3 | = | 0
3 | Dry Type Transformer - Voltage - 4,160 V, 150 kVA |  | x | 2 | x | 3 | = | 0
AUTOMATIC TRANSFER SWITCHES
1 | Automatic Transfer Switch - 5 kV |  | x | 2 | x | 3 | = | 0
2 | Bypass Isolation Switch |  | x | 2 | x | 3 | = | 0
CIRCUIT SWITCHER
1 | 3-Phase High Voltage Switch |  | x | 2 | x | 3 | = | 0
2 | Load Interruptors |  | x | 2 | x | 3 | = | 0
CAPACITOR BANK
1 | KVAR Capacitor Bank - All Ratings |  | x | 2 | x | 3 | = | 0
POWER POLES
1 | Cross Arms |  | x | 2 | x | 3 | = | 0
2 | Fuses |  | x | 2 | x | 3 | = | 0
3 | Other Components |  | x | 2 | x | 3 | = | 0
SECTION (A) TOTAL | [7 empty] | 0
B. Repairs
Service Description |  |  | Hourly Rate |  | x | Estimated Number of Hours | = | Total
1 | High Voltage Routine Repairs - Scheduled |  |  |  | x | 80 | = | 0
2 | High Voltage Emergency Repairs - Normal Business Hours |  |  |  | x | 80 | = | 0
3 | High Voltage Emergency Repairs - Outside of Normal Business Hours |  |  |  | x | 80 | = | 0
SECTION (B) TOTAL | [7 empty] | 0
C. Other
Description | [6 empty] | = | Total
Parts (not included under Preventative Maintenance) | [6 empty] | = | 50000
Equipment Rentals | [6 empty] | = | 30000
As-Needed Services (25%) | [6 empty] | = | 0
SECTION (C) TOTAL | [7 empty] | 0
VYCF TOTAL BASIS OF AWARD (A + B + C) | [7 empty] | 0