| Bid Solicitation # | 26DPP01314 |
| --- | --- |
| T2870 – Transmission Facility Management for New Jersey Public Broadcasting Authority (NJPBA) |  |

|  | Date | Time |
| --- | --- | --- |
| Due Date For Electronic Questions Refer to Bid Solicitation Section 2.1 for more information. | 6/12/26 | 2:00 PM |
| Optional Pre-Quote Submission Conference Refer to Bid Solicitation Section 2.5 for more information. | 5/28/26 | 10:30 AM |
| Mandatory Site Visit Refer to Bid Solicitation Section 2.4 for more information. | 6/2/26 | 10:00 AM |
| Quote Opening Date Refer to Bid Solicitation Section 3 for more information. | 7/21/26 | 2:00 PM |

Dates are subject to change.  All times contained in the Bid Solicitation refer to Eastern Time.

All changes will be reflected in Bid Amendments to the Bid Solicitation posted on www.njstart.gov.

| SET-ASIDES |  |
| --- | --- |
| Small Business Set-Aside For Goods and Services: ☒ I ☒ II ☒ III For Construction: ☐ IV ☐ V ☐ VI | ☐ Not Applicable ☐ Entire Contract ☐ Partial Contract ☒ Subcontracting Only ☐ Preference |
| Disabled Veteran-Owned Business Set-Aside | ☒ Not Applicable ☐ Entire Contract ☐ Partial Contract ☐ Subcontracting Only ☐ Preference |

| Bid Solicitation Issued By: State of New Jersey Department of the Treasury Division of Purchase and Property Trenton, New Jersey 08625-0230 | On Behalf of: State of New Jersey Public Broadcasting Authority |
| --- | --- |

Date:  5/7/2026

TABLE OF CONTENTS

1	INTRODUCTION AND SUMMARY OF THE BID SOLICITATION	1

1.1	PURPOSE AND INTENT	1

1.2	BACKGROUND	2

1.3	CONTRACT AMOUNT	2

1.4	ORDER OF PRECEDENCE OF CONTRACTUAL TERMS	2

1.5	INTRASTATE COOPERATIVE PURCHASING	3

2	PRE-QUOTE SUBMISSION INFORMATION	4

2.1	ELECTRONIC QUESTION AND ANSWER PERIOD	4

2.2	EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)	4

2.3	BID AMENDMENTS	4

2.4	MANDATORY SITE VISIT	4

2.5	OPTIONAL PRE-QUOTE CONFERENCE	4

2.6	PRE-QUOTE DOCUMENT REVIEW	5

3	QUOTE SUBMISSION REQUIREMENTS	6

3.1	QUOTE SUBMISSION	6

3.2	BIDDER RESPONSIBILITY	6

3.3	ANNOUNCEMENT OF QUOTE INFORMATION	6

3.4	QUOTE ERRORS	6

3.5	QUOTE WITHDRAWAL PRIOR TO QUOTE OPENING	6

3.6	QUOTE WITHDRAWAL AFTER QUOTE OPENING, BUT PRIOR TO CONTRACT AWARD	6

3.7	JOINT VENTURE	7

3.8	SMALL BUSINESS SET-ASIDE CONTRACTS	7

3.9	DISABLED VETERANS’ BUSINESS SET-ASIDE CONTRACT	7

3.10	BID SECURITY	7

3.11	BIDDER ADDITIONAL TERMS SUBMITTED WITH THE QUOTE	7

3.12	QUOTE CONTENT	7

3.13	FORMS, REGISTRATIONS AND CERTIFICATIONS TO BE SUBMITTED WITH QUOTE	7

3.13.1	OFFER AND ACCEPTANCE PAGE	7

3.13.2	OWNERSHIP DISCLOSURE FORM	8

3.13.3	DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN FORM	8

3.13.4	DISCLOSURE OF INVESTIGATIONS AND OTHER ACTIONS INVOLVING BIDDER FORM	8

3.13.5	MACBRIDE PRINCIPLES FORM	8

3.13.6	SERVICE PERFORMANCE WITHIN THE UNITED STATES	8

3.13.7	CONFIDENTIALITY/COMMITMENT TO DEFEND	9

3.13.8	SUBCONTRACTOR UTILIZATION PLAN	9

3.13.9	RESERVED	10

3.13.10	AFFIRMATIVE ACTION	10

3.13.11	RESERVED	10

3.13.12	STATE OF NEW JERSEY SECURITY DUE DILIGENCE THIRD-PARTY INFORMATION SECURITY QUESTIONNAIRE	10

3.13.13	BUSINESS REGISTRATION	10

3.13.14	Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Pursuant to P.L.2022, c.3	10

3.14	TECHNICAL QUOTE	10

3.15	BIDDER QUOTE OVERVIEW FORM	10

3.16	BIDDER DATA SHEET/FORM	11

3.17	MANAGEMENT OVERVIEW	11

3.18	CONTRACT MANAGEMENT	11

3.19	CONTRACT SCHEDULE	11

3.20	ORGANIZATIONAL EXPERIENCE	11

3.21	ORGANIZATION CHARTS	11

3.22	RESUMES	11

3.23	EXPERIENCE WITH CONTRACTS OF SIMILAR SIZE AND SCOPE	11

3.24	PUBLIC WORKS CONTRACTOR REGISTRATION	12

3.25	ADDITIONAL QUALIFICATIONS	12

3.26	FINANCIAL CAPABILITY OF THE BIDDER	12

3.27	STATE-SUPPLIED PRICE SHEET INSTRUCTIONS	13

3.27.1	DELIVERY TIME AND COSTS	15

3.27.2	CASH DISCOUNTS	15

3.27.3	VOLUME DISCOUNTS	15

3.27.4	USE OF “NO BID” VERSUS “NO CHARGE” ON THE STATE-SUPPLIED PRICE SHEET	15

3.28	ORAL PRESENTATIONS	15

4	SCOPE OF WORK	16

4.1	GEOGRAPHICAL REGIONS/ COUNTIES	16

4.2	GENERAL AND SPECIFIC WORK REQUIREMENTS	16

4.2.1	INSPECTIONS AND TESTING	16

4.2.2	CALIBRATION AND REPAIR WORK	16

4.2.3	DEMONSTRATING QUALIFICATIONS	16

4.3	INSPECTION SCHEDULE	16

4.3.1	LARGE TRANSMISSION FACILITIES:	16

4.3.2	SMALL TRANSMISSION FACILITIES:	17

4.4	INSPECTIONS OF LARGE TRANSMISSION FACILITIES	17

4.4.1	BUILDINGS AND GROUNDS	17

4.4.2	HVAC	18

4.4.3	TRANSMITTER AND MICROWAVE FUNCTIONS	18

4.4.4	TRANSMITTER COOLING SYSTEMS	18

4.4.5	TRANSMISSION LINE SYSTEMS	18

4.4.6	BACK UP POWER SYSTEMS	19

4.4.7	TOWER LIGHTS	19

4.4.8	TOWER AND GUY WIRE INSPECTION	19

4.5	INSPECTIONS OF SMALL TRANSMISSION FACILITIES	19

4.5.1	BUILDINGS AND GROUNDS	19

4.5.2	HVAC	20

4.5.3	TRANSMITTER AND MICROWAVE FUNCTIONS	20

4.5.4	TRANSMISSION LINE AIR SYSTEM	20

4.5.5	TOWER AND GROUNDING VISUAL INSPECTION	20

4.6	RESPONSE TIMES	20

4.7	UNPLANNED AND/OR EMERGENCY SITE VISIT	21

4.8	ADJUSTMENTS TO THE SITE VISITATION SCHEDULE	21

4.9	ADJUSTMENTS TO SCHEDULED WORK HOURS	21

4.10	REPAIRS AND SERVICING	21

4.11	DECOMMISSIONING	22

4.12	ANALYSIS, LICENSE APPLICATION PREPARATION, AND FILING	22

4.13	ELECTRONIC DOCUMENTATION	22

4.14	PROJECT DESIGN AND MANAGEMENT	23

4.15	PREVAILING WAGE	23

4.16	PUBLIC WORKS CONTRACTOR REGISTRATION ACT	23

4.17	COMMUNICATION CIRCUITS REQUIREMENTS	23

5	GENERAL CONTRACT TERMS	24

5.1	CONTRACT TERM AND EXTENSION OPTION	24

5.2	CONTRACT TRANSITION	24

5.3	PERFORMANCE SECURITY	24

5.4	OWNERSHIP OF MATERIAL	24

5.5	SUBSTITUTION OF STAFF	25

5.6	DELIVERY TIME AND COSTS	25

5.7	AUTHORIZED DEALER AND/OR DISTRIBUTORS	25

5.8	LIQUIDATED DAMAGES	26

5.9	RETAINAGE	26

5.10	ELECTRONIC PAYMENTS	26

5.11	PROCUREMENT EFFICIENCY PROGRAM	26

6	DATA SECURITY REQUIREMENTS – CONTRACTOR RESPONSIBILITY	27

7	MODIFICATIONS TO THE STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS	28

7.1	INSURANCE	28

8	QUOTE EVALUATION AND AWARD	29

8.1	RIGHT TO WAIVE	29

8.2	DIRECTOR’S RIGHT TO ACCEPT OR REJECT A QUOTE	29

8.3	RECIPROCITY FOR JURISDICTIONAL BIDDER PREFERENCE	29

8.4	CLARIFICATION OF QUOTE	29

8.5	ORAL PRESENTATION	29

8.6	TIE QUOTES	29

8.7	STATE'S RIGHT TO INSPECT BIDDER’S FACILITIES	29

8.8	STATE'S RIGHT TO CHECK REFERENCES	29

8.9	EVALUATION CRITERIA	29

8.9.1	TECHNICAL EVALUATION CRITERIA	30

8.9.2	PRICE EVALUATION	30

8.10	QUOTE DISCREPANCIES	30

8.11	NEGOTIATION	30

8.12	BEST AND FINAL OFFER (BAFO)	30

8.13	“REQUEST FOR REVISION” WITHIN NJSTART	30

8.14	POOR PERFORMANCE	30

8.15	RECOMMENDATION FOR AWARD	31

8.16	CONTRACT AWARD	31

9	GLOSSARY	32

9.1	CROSSWALK	32

9.2	DEFINITIONS	32

9.3	CONTRACT-SPECIFIC DEFINITIONS	38

ATTACHMENT 1 – Combined State of New Jersey Standard Terms and Conditions (6/3/2025)

ATTACHMENT 2 – Standard Procurement Forms Packet

ATTACHMENT 3 – Pre-Quote Conference PowerPoint Presentation

# INTRODUCTION AND SUMMARY OF THE BID SOLICITATION

This Bid Solicitation is issued by the Department of the Treasury, Division of Purchase and Property (Division), Procurement Bureau, on behalf of the New Jersey Public Broadcasting Authority (NJPBA). Quotes submitted in response to this Bid Solicitation shall be through the State of New Jersey’s eProcurement system, NJSTART. Bidders are advised to thoroughly read all sections of this Bid Solicitation and follow all instructions.

Bidders are strongly encouraged to visit the NJSTART Vendor Support Page, which contains Quick Reference Guides (QRGs), supporting videos, a glossary of NJSTART terms, and helpdesk contact information.  Bidders should utilize the QRGs before attempting to submit a Quote through NJSTART. It is the Bidder’s responsibility to ensure that the Quote and attachments have been properly submitted.  Inquiries concerning the use of NJSTART may be directed to njstart@treas.nj.gov. The Division will not respond to substantive questions related to the Bid Solicitation or any other Contract via this email address.

## PURPOSE AND INTENT

The purpose of this Bid Solicitation is to solicit Quotes for transmission facility management, regulatory compliance services, and project design and management for the thirteen (13) Television Transmission Facilities located throughout the State of New Jersey.

It is the intent of the State of New Jersey (State) to award a Contract to that responsible Bidder whose Quote, conforming to this Bid Solicitation is most advantageous to the State of New Jersey (State), price and other factors considered. The State may award any or all Price Lines. The State, however, reserves the right to separately procure individual requirements that are the subject of the Contract during the Contract term, when deemed by the Director of the Division (Director) to be in the State’s best interest.

For purposes of this Bid Solicitation, the State has been separated into three (3) Regions (Northern/Central/Southern).

There are thirty-four (34) Price Lines which are grouped and itemized as follows:

| Group Number | Line Number | Description |
| --- | --- | --- |
| Group 1 Northern Region (Price Lines 1-9) | 1 | Large Transmission Facilities – Monthly Task Rate |
|  | 2 | Small Transmission Facilities – Bi-Monthly Task Rate |
|  | 3 | Small Transmission Facilities – Bi-Annual Task Rate |
|  | 4 | Straight Time – Non Prevailing Wage |
|  | 5 | Overtime Time – Non Prevailing Wage |
|  | 6 | Weekend and Holiday Time – Non Prevailing Wage |
|  | 7 | Straight Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 8 | Overtime Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 9 | Weekend and Holiday Time - Percentage (%) Up-Charge Over Prevailing Wage |
| Group 2 Central Region (Price Lines 10-19) | 10 | Large Transmission Facilities – Monthly Task Rate |
|  | 11 | Small Transmission Facilities – Monthly Task Rate |
|  | 12 | Small Transmission Facilities – Quarterly Task Rate |
|  | 13 | Small Transmission Facilities – Bi-Annual Task Rate |
|  | 14 | Straight Time – Non Prevailing Wage |
|  | 15 | Overtime Time – Non Prevailing Wage |
|  | 16 | Weekend and Holiday Time – Non Prevailing Wage |
|  | 17 | Straight Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 18 | Overtime Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 19 | Weekend and Holiday Time - Percentage (%) Up-Charge Over Prevailing Wage |
| Group 3 Southern Region (Price Lines 18-27) | 20 | Large Transmission Facilities – Monthly Task Rate |
|  | 21 | Small Transmission Facilities – Bi-Annual Task Rate |
|  | 22 | Straight Time – Non Prevailing Wage |
|  | 23 | Overtime Time – Non Prevailing Wage |
|  | 24 | Weekend and Holiday Time – Non Prevailing Wage |
|  | 25 | Straight Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 26 | Overtime Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 27 | Weekend and Holiday Time - Percentage (%) Up-Charge Over Prevailing Wage |
| Additional Rates (Price Lines 28-33) | 28 | Hourly Rate For Administrative Cost |
|  | 29 | Hourly Rate For Project Design Fee |
|  | 30 | Hourly Rate For Decommissioning Transmission Facilities |
|  | 31 | Hourly Rate For Analysis, License Application Prep and Filing |
|  | 32 | Hourly Rate For Project Related to Project Management Fees |
|  | 33 | Hourly Rate For Project Related to Communication Circuits |
| FOR AGENCY USE ONLY NO BID REQUIRED | 34 | FOR AGENCY USE ONLY – NO BID REQUIRED Pass-Through Line For Reimbursement |

The State intends to award one (1) Contract for all Price Lines (1 – 34) to a single Bidder in accordance with Bid Solicitation Section 8.16, Contract Award. Bidders must bid on Price Lines (1 - 33) to be considered for award.  If a Bidder does not bid on Price Lines 1-33, its Quote will be considered non-responsive and ineligible for award.

Note: Bidders are not required to provide a Quote for Price Line 34. Price Line 34 is blacked out on the State-Supplied Price Sheet and shall only be utilized as an Agency use net line.

This Bid Solicitation is a Set-Aside Contract for subcontracting only for Category I, II, or III for Small Businesses. Please refer to Bid Solicitation Section 3.13.8.1, Small Business Subcontracting Set-Aside Contract.

The State of New Jersey Standard Terms and Conditions (SSTCs) included with this Bid Solicitation will apply to all Contracts made with the State. These terms are in addition to the terms and conditions set forth in this Bid Solicitation and should be read in conjunction with them unless the Bid Solicitation specifically indicates otherwise.

## BACKGROUND

This is a reprocurement of the services under T2870 - Transmission Facility Management for NJ Public Broadcasting Authority (NJPBA).  Bidders interested in reviewing the expiring Contract’s specifications and pricing information may do so by following the instructions below.  Bidders should not rely upon or use data or information from the expiring contract when preparing a response to this Bid Solicitation as this Bid Solicitation addresses the State’s current requirements.

- Go to: www.njstart.gov

- In the search bar, select “Contracts” from the drop down menu

- Enter “T2870” and click “”

- The expiring Contract list will appear under “Results”

## CONTRACT AMOUNT

The estimated amount of the Contract, if stated, shall not be construed as either the maximum or minimum amount which the State shall be obliged to order.

## ORDER OF PRECEDENCE OF CONTRACTUAL TERMS

The Contract awarded, and the entire agreement between the parties, as a result of this Bid Solicitation shall consist of:  (1) the final Bid Solicitation, (2) the State of New Jersey Standard Terms and Conditions, (3) the Quote, and if applicable (4) any Bidder responses to clarifications; (5) a Bidder’s Best and Final Offer, (6) other negotiated document, and/or (7) third party document.  In the event of a conflict in the terms and conditions among the documents comprising this Contract, the order of precedence, for purposes of interpretation thereof, shall be as listed from highest ranking to lowest ranking as noted above.

Any other terms or conditions, not included with the Bidder’s Quote and accepted by the State, shall not be incorporated into the Contract awarded.  Any references to external documentation, including those documents referenced by a URL, including without limitation, technical reference manuals, technical support policies, copyright notices, additional license terms, etc., are subject to the terms and conditions of the Bid Solicitation and the State of New Jersey Standard Terms and Conditions.  In the event of any conflict between the terms of a document incorporated by reference, the terms and conditions of the Bid Solicitation and the State of New Jersey Standard Terms and Conditions shall prevail.

## INTRASTATE COOPERATIVE PURCHASING

Not applicable to this procurement.

# PRE-QUOTE SUBMISSION INFORMATION

The Bidder assumes sole responsibility for the complete effort required in submitting a Quote and for reviewing the Quote submission requirements and the Scope of Work requirements.

## ELECTRONIC QUESTION AND ANSWER PERIOD

The Division will electronically accept questions and inquiries from all potential Bidders via the “Q&A” Tab of the Bid Solicitation in NJSTART.  Questions should be directly tied to a Bid Solicitation Section, the State-Supplied Price Sheet, Form or Attachment; and should reference the specific Bid Solicitation Section or document to which it relates.

The cut-off date for electronic questions and inquiries relating to this Bid Solicitation is indicated on the Bid Solicitation cover page.  In the event that questions are posed by Bidders, answers to such questions will be issued by Bid Amendment.

A Bidder shall not contact the Using Agency and/or the Procurement Specialist directly, in person, by telephone or by e-mail, concerning this Bid Solicitation, prior to Contract award.

## EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)

Questions regarding the State of New Jersey Standard Terms and Conditions and exceptions to mandatory requirements MUST be posed during the Electronic Question and Answer period and shall contain the Bidder’s suggested changes and the reason(s) for the suggested change(s).

## BID AMENDMENTS

In the event that it becomes necessary to clarify or revise this Bid Solicitation, such clarification or revision will be by Bid Amendment.  Any Bid Amendment will become part of this Bid Solicitation and part of any Contract awarded. Bid Amendments will be posted as a file attachment on the “Summary” page of the Bid Solicitation in NJSTART after the cut-off date.

There are no designated dates for release of Bid Amendments.  Those Bidders who are on the bid holder list either through commodity code registration in NJSTART or by acknowledging the bid in NJSTART should receive notification of any Bid Amendment(s). If a Bidder is not on the bid holder list, Bid Amendments are still viewable on the “Summary” page of the Bid Solicitation in NJSTART.

It is the sole responsibility of the Bidder to be knowledgeable of all Bid Amendments related to this procurement. An interested Bidder should check the NJSTART “Open Bids” Tab on a daily basis to ensure review of the most updated information.

## MANDATORY SITE VISIT

A Mandatory Site Visit has been scheduled for this procurement on the date and time indicated on the Bid Solicitation cover sheet.  The location of the Mandatory Site Visit will be as follows:

Trenton (CH 52) Large Transmission Facility

301 Grovers Mill Road

Lawrence Township, NJ 08648

For directions please use the link below:

https://maps.app.goo.gl/3V2Ea8hBM3DF1L168

An attendee may represent only one (1) potential bidding entity.  The Mandatory Site Visit may be recorded.

A Quote from any Bidder that was not represented or failed to register properly at the Mandatory Site Visit will be rejected.

No questions or inquiries will be accepted or answered during the mandatory/optional site visit.  All questions must be submitted through the Questions and Answer process.

## OPTIONAL PRE-QUOTE CONFERENCE

The date and time of the Optional Pre-Quote Conference is indicated on the Bid Solicitation cover sheet.  Attendees may attend the Optional Pre-Quote Conference with the following video conference and/or call-in details:

Join the meeting now

Meeting ID: 295 777 081 149 83

Passcode: iP6nU35S

Or call in (audio only):

Phone number: 856-338-7074

Phone conference access code: 989 118 399#

The Optional Pre-Quote Conference may be recorded.

The purpose of the Optional Pre-Quote Conference is to address procedural questions regarding the Bid Solicitation and Bidder Quote Submission Requirements only.  No substantive questions regarding the Bid Solicitation Scope of Work will be accepted or answered during the pre-Quote conference.  All questions are to be submitted during the Electronic Question and Answer Period.

## PRE-QUOTE DOCUMENT REVIEW

The following are publicly available documents that a Bidder needs to review in order to prepare and submit accurate and comprehensive Quotes:

- N.J.A.C. 12:60-5.1- Prevailing Wages For Public Works, Inspections;

- N.J.S.A. 34:11-56.25 et. seq. - Prevailing Wages For Public Works, Public Policy;

- Office of Engineering and Technology Bulletin #69 – Longley-Rise Methodology for Evaluating TV Coverage and Interference

- N.J.S.A. 34:11-56.58 to -56.70 - Prevailing Wages For Public Works, State Building Service Contracts Act; and

- State of New Jersey Holidays: State Holidays | NJ.gov

# QUOTE SUBMISSION REQUIREMENTS

## QUOTE SUBMISSION

In order to be considered for award, the Quote must be received electronically by the Division’s Proposal Review Unit, through NJSTART, by the required date and time.

The date and time of the Quote opening are indicated on the Bid Solicitation cover sheet and on the “Summary” Tab of the Bid Solicitation webpage within NJSTART.  If the Quote opening deadline has been revised, the new Quote opening deadline will be shown on the posted Bid Amendment and on the “Summary” Tab of the Bid Solicitation webpage within NJSTART.  Quotes not received prior to the Quote opening deadline shall be rejected.

Quotes will be publicly opened and announced by telephone conference on the date and time of the quote opening.

(Dial-in phone number: 888-204-5984 / Access code: 2602305)

When submitting a Quote through NJSTART, do not use any symbols (i.e., #, @, $, &, *) in the filename as this may prevent the Quote from being properly uploaded.  Uploaded files must be compatible with Microsoft Office and/or Adobe software applications. DO NOT UPLOAD files with extensions such as .zip, .numbers, or .pages.

When uploading the documents to NJSTART, the Bidder should select the “Confidential” option in NJSTART for attachments on the “Attachments” Tab to request that the documents not be displayed publicly through NJSTART. Marking an attachment as "Confidential" in NJSTART shall not constitute the Bidder's designation of the attachment as exempt from public disclosure under the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know.

## BIDDER RESPONSIBILITY

The Bidder assumes sole responsibility for the complete effort required in submitting a Quote in response to this Bid Solicitation.  No special consideration will be given after Quotes are opened because of a Bidder’s failure to be knowledgeable as to all of the requirements of this Bid Solicitation.  The State assumes no responsibility and bears no liability for costs incurred by a Bidder in the preparation and submittal of a Quote in response to this Bid Solicitation or any pre-contract award costs incurred.

## ANNOUNCEMENT OF QUOTE INFORMATION

On the date and time Quotes are due under the Bid Solicitation, all information concerning the Quotes submitted may be publicly announced and shall be available for inspection and copying except otherwise noted:

- Information appropriately designated as proprietary and/or confidential in a Bidder’s Quote shall not be available for inspection and copying; and

- Where negotiation is contemplated, only the names and addresses of the Bidders submitting Quotes will be announced, and the contents of the Quotes shall not be available for inspection and copying until the Notice of Intent to Award is issued by the Director.

## QUOTE ERRORS

In accordance with N.J.A.C. 17:12-2.11 “Proposal errors,” a Bidder may withdraw its Quote as described below.

## QUOTE WITHDRAWAL PRIOR TO QUOTE OPENING

A Bidder may withdraw its Quote submission in NJSTART prior to the Quote opening; however, Bidders should note that while withdrawn NJSTART Quotes remain viewable by the Bidder on its Vendor Profile Homepage, they are removed from the Division’s view and cannot be considered for Contract award. The Bidder may submit a revised Quote as long as the Quote is received prior to the announced date and time for Quote submission. Bidders may refer to the QRG “Submit a Quote” for additional instructions.

## QUOTE WITHDRAWAL AFTER QUOTE OPENING, BUT PRIOR TO CONTRACT AWARD

If, after the Quote opening, but before Contract award, a Bidder discovers an error in its Quote, the Bidder may make a written request to the Procurement Bureau to withdraw its Quote from consideration for award.  If the Bidder’s request to withdraw is made in good faith, and the State will not be significantly prejudiced by granting the withdrawal of the Quote beyond the loss of the benefit of the bargain to the State of the withdrawing Bidder’s offer, the request shall be granted.  Evidence of the Bidder’s good faith in making this request can be demonstrated by one (1) or more of the following factors: A mistake is so significant that to enforce the Contract resulting from the Quote would be unconscionable; that the mistake relates to a material feature or term of the Contract; and that the mistake occurred notwithstanding the Bidder’s exercise of reasonable care.  After Quote opening, while pursuant to the provisions of this section a Bidder may request to withdraw its Quote and the Director may in his/her discretion allow said Bidder to withdraw it, the Division also may take notice of repeated or unusual requests to withdraw by a Bidder and take those prior requests to withdraw into consideration when evaluating the Bidder’s future Quotes.

The Quote withdrawal request must include the Bid Solicitation Number, Bid Solicitation Title, and the Quote submission date and should be sent to Procurement.Bureau@treas.nj.gov.

If, during a Quote evaluation process, an obvious pricing error made by a potential Contract awardee is found, the Director or his/her designee shall issue written notice to the Bidder.  The Bidder will have up to five (5) Business Days after receipt of the notice to confirm its pricing.  If the Bidder fails to respond, its Quote shall be considered withdrawn, and no further consideration shall be given to it.

## JOINT VENTURE

If a Joint Venture is submitting a Quote, the agreement between the parties relating to such Joint Venture should be submitted with the Joint Venture’s Quote.  Authorized signatories from each party comprising the Joint Venture must sign the Offer and Acceptance Page.  Each party to the Joint Venture must individually complete and comply with all the forms and certification requirements in Bid Solicitation Section 3 – Quote Submission Requirements.

## SMALL BUSINESS SET-ASIDE CONTRACTS

Not applicable to this procurement.

## DISABLED VETERANS’ BUSINESS SET-ASIDE CONTRACT

Not applicable to this procurement.

## BID SECURITY

Not applicable to this procurement.

## BIDDER ADDITIONAL TERMS SUBMITTED WITH THE QUOTE

A Bidder may submit additional terms as part of its Quote.  Additional terms are Bidder-proposed terms or conditions that do not conflict with the scope of work required in this Bid Solicitation, the terms and conditions of this Bid Solicitation, or the State of New Jersey Standard Terms and Conditions.  Bidder proposed terms or conditions that conflict with those contained in the State of New Jersey Standard Terms and Conditions will render a Quote non-responsive.  It is incumbent upon the Bidder to identify and remove its conflicting proposed terms and conditions prior to Quote submission.

Quotes including Bidder proposed additional terms may be accepted, rejected, or negotiated, in whole or in part, at the State’s sole discretion.

If Bidder intends to propose terms and conditions that conflict with the State of New Jersey Standard Terms and Conditions, those Bidder proposed terms and conditions shall only be considered if submitted and agreed to pursuant to the electronic question and answer procedure.  Bidders shall not submit exceptions or modifications as part of the Quote or on the “Terms and Conditions” Tab through NJSTART.

## QUOTE CONTENT

The Quote should be submitted with the attachments organized in the following manner:

- Forms

- Technical Quote

- State-Supplied Price Sheet

A Bidder should not password protect any submitted documents. Use of URLs in a Quote should be kept to a minimum and shall not be used to satisfy any material term of a Bid Solicitation. If a preprinted or other document included as part of the Quote contains a URL, a printed copy of the information should be provided and will be considered as part of the Quote.

## FORMS, REGISTRATIONS AND CERTIFICATIONS TO BE SUBMITTED WITH QUOTE

A Bidder is required to complete and submit the following forms.  As an alternative to uploading certain forms with the submitted Quote, a Bidder may complete several certifications electronically in NJSTART on the “Terms and Categories” Tab within the Vendor Profile.  Those forms that may be completed on the NJSTART “Terms and Categories” Tab are noted below. Additionally, a Bidder may attach completed forms to the Vendor Profile.  Refer to QRGs “Vendor Forms” and “Attaching Files” for additional instructions.  VENDOR QUICK REFERENCE GUIDES

### OFFER AND ACCEPTANCE PAGE

The Bidder should complete and submit the Offer and Acceptance Page with the Quote.  The Offer and Acceptance Page must be signed by an authorized representative of the Bidder.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

### OWNERSHIP DISCLOSURE FORM

Pursuant to N.J.S.A. 52:25-24.2, in the event the Bidder is a corporation, partnership or limited liability company, the Bidder must disclose all 10% or greater owners by (a) completing and submitting the Ownership Disclosure Form with the Quote; (b) if the Bidder has submitted a signed and accurate Ownership Disclosure Form dated and received no more than six (6) months prior to the Quote submission deadline for this procurement, the Division may rely upon that form; however, if there has been a change in ownership within the last six (6) months, a new Ownership Disclosure Form must be completed, signed and submitted with the Quote; or, (c) a Bidder with any direct or indirect parent entity which is publicly traded may submit the name and address of each publicly traded entity and the name and address of each person that holds a 10 percent or greater beneficial interest in the publicly traded entity as of the last annual filing with the federal Securities and Exchange Commission or the foreign equivalent, and, if there is any person that holds a 10 percent or greater beneficial interest, also shall submit links to the websites containing the last annual filings with the federal Securities and Exchange Commission or the foreign equivalent and the relevant page numbers of the filings that contain the information on each person that holds a 10 percent or greater beneficial interest. N.J.S.A. 52:25-24.2.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this form online in NJSTART on the “Terms and Categories” Tab.

A Bidder’s failure to submit the information required by N.J.S.A. 52:25-24.2 will result in the rejection of the Quote as non-responsive and preclude the award of a Contract to said Bidder.

### DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN FORM

The Bidder should  submit Disclosure of Investment Activities in Iran form to certify that, pursuant to N.J.S.A. 52:32-58, neither the Bidder, nor one (1) of its parents, subsidiaries, and/or affiliates (as defined in N.J.S.A. 52:32-56(e)(3)), is listed on the Department of the Treasury’s List of Persons or Entities Engaging in Prohibited Investment Activities in Iran and that neither the Bidder, nor one (1) of its parents, subsidiaries, and/or affiliates, is involved in any of the investment activities set forth in N.J.S.A. 52:32-56(f).  If the Bidder is unable to so certify, the Bidder shall provide a detailed and precise description of such activities as directed on the form.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### DISCLOSURE OF INVESTIGATIONS AND OTHER ACTIONS INVOLVING BIDDER FORM

The Bidder should submit the Disclosure of Investigations and Other Actions Involving Bidder Form,  with its Quote, to provide a detailed description of any investigation, litigation, including administrative complaints or other administrative proceedings, involving any public sector clients during the past five (5) years, including the nature and status of the investigation, and, for any litigation, the caption of the action, a brief description of the action, the date of inception, current status, and, if applicable, disposition.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### MACBRIDE PRINCIPLES FORM

The Bidder should submit the MacBride Principles Form.  Pursuant to N.J.S.A. 52:34-12.2, a Bidder is required to certify  that it either has no ongoing business activities in Northern Ireland and does not maintain a physical presence therein or that it will take lawful steps in good faith to conduct any business operations it has in Northern Ireland in accordance with the MacBride principles of nondiscrimination in employment as set forth in N.J.S.A. 52:18A-89.5 and in conformance with the United Kingdom’s Fair Employment (Northern Ireland) Act of 1989, and permit independent monitoring of their compliance with those principles.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### SERVICE PERFORMANCE WITHIN THE UNITED STATES

The Bidder should submit a completed Source Disclosure Form. Pursuant to N.J.S.A. 52:34-13.2, all Contracts primarily for services shall be performed within the United States. If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

### CONFIDENTIALITY/COMMITMENT TO DEFEND

Pursuant to the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know, Quotes can be released to the public in accordance with N.J.A.C. 17:12-1.2(b) and (c).

The Bidder should submit a completed and signed Confidentiality/Commitment to Defend Form with the Quote.  In the event that the Bidder does not submit the Confidentiality form with the Quote, the State reserves the right to request that the Bidder submit the form after Quote submission.

After the opening of sealed Quotes, all information submitted by a Bidder in response to a Bid Solicitation is considered public information notwithstanding any disclaimers to the contrary submitted by a Bidder. Proprietary, financial, security and confidential information may be exempt from public disclosure by OPRA and/or the common law when the Bidder has a good faith, legal/factual basis for such assertion.

When the Bid Solicitation contains a negotiation component, the Quote will not be subject to public disclosure until a notice of intent to award a Contract is announced.

As part of its Quote, a Bidder may request that portions of the Quote be exempt from public disclosure under OPRA and/or the common law. The Bidder must provide a detailed statement clearly identifying those sections of the Quote that it claims are exempt from production, and the legal and factual basis that supports said exemption(s) as a matter of law.  The State will not honor any attempts by a Bidder to designate its State-Supplied Price Sheet, Price List/Catalog, and/or the entire Quote as proprietary and/or confidential, and/or to claim copyright protection for its entire Quote. If the State does not agree with a Bidder’s designation of proprietary and/or confidential information, the State will use commercially reasonable efforts to advise the Bidder. Copyright law does not prohibit access to a record which is otherwise available under OPRA.

The State reserves the right to make the determination as to what to disclose in response to an OPRA request.  Any information that the State determines to be exempt from disclosure under OPRA will be redacted.

In the event of any challenge to the Bidder’s assertion of confidentiality that is contrary to the State’s determination of confidentiality, the Bidder shall be solely responsible for defending its designation, but in doing so, all costs and expenses associated therewith shall be the responsibility of the Bidder. The State assumes no such responsibility or liability.

In order not to delay consideration of the Quote or the State’s response to a request for documents, the State requires that Bidder respond to any request regarding confidentiality markings within the timeframe designated in the State’s correspondence regarding confidentiality.  If no response is received by the designated date and time, the State will be permitted to release a copy of the Quote with the State making the determination regarding what may be proprietary or confidential.

### SUBCONTRACTOR UTILIZATION PLAN

Bidders intending to use Subcontractor(s) shall list all Subcontractors on the Subcontractor Utilization Plan form or may list the Subcontractor(s) on the “Subcontractor” Tab in NJSTART.

For a Quote that does NOT include the use of any Subcontractors, the Bidder is automatically certifying that, if selected for an award, the Bidder will be performing all work required by the Contract.

If it becomes necessary for the Contractor to substitute a Subcontractor, add a Subcontractor, or substitute its own staff for a Subcontractor, the Contractor will identify the proposed new Subcontractor or staff member(s) and the work to be performed.  The Contractor shall forward a written request to substitute or add a Subcontractor or to substitute its own staff for a Subcontractor to the State Contract Manager for consideration.  The Contractor must provide a completed Subcontractor Utilization Plan, a detailed justification documenting the necessity for the substitution or addition, and resumes of its proposed replacement staff or of the proposed Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability and experience relevant to that part of the work which the Subcontractor is to undertake. The qualifications and experience of the replacement(s) must equal or exceed those of similar personnel proposed by the Contractor in its Quote. The State Contract Manager will forward the request to the Director for approval.

NOTE: No substituted or additional Subcontractors are authorized to begin work until the Contractor has received written approval from the Director.

#### SMALL BUSINESS SUBCONTRACTING SET-ASIDE CONTRACT

This is a Contract with set-aside subcontracting for New Jersey Small Business Enterprises.

If the Bidder intends to subcontract, it must submit a Subcontractor Utilization Plan and shall take the following actions to make a good faith effort to solicit and hire eligible New Jersey Small Business Enterprises:

- The Bidder shall attempt to locate qualified potential New Jersey Small Business Enterprises Subcontractors;

- The Bidder shall request a listing of New Jersey Small Business Enterprises and/or Disabled Veterans’ Businesses from the Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit through SAVI (NJSAVI Dataset Story | NJOIT Open Data Center), if none are known to the Bidder;

- The Bidder shall keep a record of its efforts, including the names of businesses contacted and the means and results of such contacts;

- The Bidder shall provide all potential Subcontractors with detailed information regarding the specifications; and

- The Bidder shall attempt, wherever possible, to negotiate prices with potential Subcontractors submitting higher than acceptable price quotes.

A Bidder’s failure to satisfy New Jersey Small Business Enterprises set-aside subcontracting or to provide sufficient documentation of its good faith efforts within seven (7) Business Days of a request may preclude award of a Contract to the Bidder.

Each Bidder awarded a Contract which contains the set-aside subcontracting requirement shall fully cooperate in any studies or surveys which may be conducted by the State to determine the extent of the Bidder’s compliance with N.J.A.C. 17:13-1.1 et seq., and this Bid Solicitation.

### RESERVED

Not applicable to this procurement.

### AFFIRMATIVE ACTION

The intended Contractor and its named Subcontractor(s) must submit a copy of a New Jersey Certificate of Employee Information Report, or a copy of Federal Letter of Approval verifying it is operating under a federally approved or sanctioned Affirmative Action program.  If the Contractor and/or its named Subcontractor(s) are not in possession of either a New Jersey Certificate of Employee Information Report or a Federal Letter of Approval, it/they must complete and submit the Affirmative Action Employee Information Report (AA-302).  Information, instruction and the application are available at https://www.state.nj.us/treasury/contract_compliance/index.shtml.

### RESERVED

### STATE OF NEW JERSEY SECURITY DUE DILIGENCE THIRD-PARTY INFORMATION SECURITY QUESTIONNAIRE

Not applicable to this procurement.

### BUSINESS REGISTRATION

In accordance with N.J.S.A. 52:32-44(b), a Bidder and its named Subcontractors must have a valid Business Registration Certificate (“BRC”) issued by the Department of the Treasury, Division of Revenue and Enterprise Services prior to the award of a Contract.  A Bidder should verify its Business Registration Certification Active status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Bidder’s Business Registration Certification Active status, NJSTART provides a link to take corrective action.

### 3.13.14	Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Pursuant to P.L.2022, c.3

The Bidder should submit the Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Form.  Pursuant to P.L.2022, c.3, a person or entity seeking to enter into or renew a contract for the provision of goods or services shall certify that it is not Engaging in Prohibited Activities in Russia or Belarus as defined by P.L.2002, c.3, sec. 1(e).  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

## TECHNICAL QUOTE

The Bidder shall describe its approach and plans for accomplishing the work outlined in the Scope of Work. The Bidder must set forth its understanding of the requirements of this Bid Solicitation and its approach to successfully complete the Contract. The Bidder should include the level of detail it determines necessary to assist the Evaluation Committee in its review of the Bidder’s Quote.

## BIDDER QUOTE OVERVIEW FORM

Not applicable to this procurement.

## BIDDER DATA SHEET/FORM

Not applicable to this procurement.

## MANAGEMENT OVERVIEW

The Bidder shall set forth its overall technical approach and plans to meet the requirements of the Bid Solicitation in a narrative format.  This narrative should demonstrate to the Evaluation Committee that the Bidder understands the objectives that the Contract is intended to meet, the nature of the required work, and the level of effort necessary to successfully complete the Contract.  The narrative should demonstrate that the Bidder’s approach and plans to undertake and complete the Contract are appropriate to the tasks and subtasks involved.

Mere reiterations of Bid Solicitation tasks and subtasks are strongly discouraged, as they do not provide insight into the Bidder’s approach to complete the Contract. The Bidder’s response to this section should demonstrate to the Evaluation Committee that the Bidder’s detailed plans and approach proposed to complete the Scope of Work are realistic, attainable and appropriate, and that the Bidder’s Quote will lead to successful Contract completion.

## CONTRACT MANAGEMENT

The Bidder should describe its specific plans to manage, control and supervise the Contract to ensure satisfactory Contract completion according to the required schedule.  The plan should include the Bidder’s approach to communicate with the State Contract Manager including, but not limited to, status meetings, status reports, etc.

## CONTRACT SCHEDULE

The Bidder should include a draft Contract schedule. If key dates are a part of this Bid Solicitation, the Bidder’s schedule should incorporate such key dates and should identify the completion date for each task and sub-task required by the Scope of Work.  Such schedule should also identify the associated deliverable item(s) to be submitted as evidence of completion of each task and/or subtask.

The Bidder should identify the Contract scheduling and control methodology to be used and should provide the rationale for choosing such methodology.

## ORGANIZATIONAL EXPERIENCE

The Bidder should include information relating to its organization, personnel, and experience, including, but not limited to, references, together with contact names and telephone numbers, evidencing the Bidder’s qualifications, and capabilities to perform the services required by this Bid Solicitation. The Bidder should include the level of detail it determines necessary to assist the Evaluation Committee in its review of Bidder’s Quote.

## ORGANIZATION CHARTS

The Bidder should include an organization chart, with names showing management, supervisory and other key personnel (including Subcontractor management, supervisory, or other key personnel) to be assigned to the Contract. The chart should include the labor category and title of each such individual.

## RESUMES

Detailed resumes should be submitted for all management, supervisory, and key personnel to be assigned to the Contract. Resumes should emphasize relevant qualifications and experience of these individuals in successfully completing Contracts of a similar size and scope to those required by this Bid Solicitation.  Resumes should include the following:

- The individual's previous experience in completing each similar Contract;

- Beginning and ending dates for each similar Contract;

- A description of the Contract demonstrating how the individual's work on the completed Contract relates to the individual's ability to contribute to successfully providing the services required by this Bid Solicitation; and

- With respect to each similar Contract, the name and address of each reference together with a person to contact for a reference check and a telephone number.

The Bidder should provide detailed resumes for each Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability, and experience relevant to that part of the work which the Subcontractor is designated to perform.

## EXPERIENCE WITH CONTRACTS OF SIMILAR SIZE AND SCOPE

The Bidder should provide a comprehensive listing of contracts of similar size and scope that it has successfully completed, as evidence of the Bidder’s ability to successfully complete services similar to those required by this Bid Solicitation.  Emphasis should be placed on contracts that are similar in size and scope to the work required by this Bid Solicitation.  A description of all such contracts should be included and should show how such contracts relate to the ability of the firm to complete the services required by this Bid Solicitation.  For each such contract listed, the Bidder should provide two (2) names and telephone numbers of individuals for contracting party. Beginning and ending dates should also be given for each contract.

The Bidder must provide details of any negative actions taken by other contracting entities against them in the course of performing these projects including, but not limited to, receipt of letters of potential default, default, cure notices, termination of services for cause, or other similar notifications/processes.  Additionally, the Bidder should provide details, including any negative audits, reports, or findings by any governmental agency for which the Bidder is/was the contractor on any contracts of similar scope.  In the event a Bidder neglects to include this information in its Quote, the Bidder’s omission of this necessary disclosure information may be cause for rejection of the Bidder’s Quote by the State.

The Bidder should provide documented experience to demonstrate that each Subcontractor has successfully performed work on contracts of a similar size and scope to the work that the Subcontractor is designated to perform in the Bidder’s Quote.  The Bidder must provide a detailed description of services to be provided by each Subcontractor.

## PUBLIC WORKS CONTRACTOR REGISTRATION

At the time of the Quote due date, the Bidder and Subcontractors performing public work as defined in N.J.S.A. 34:11-56.26 must be registered in accordance with the Public Works Contractor Registration Act (PWCRA), N.J.S.A. 34:11-56.25 et seq.  This registration is required for all trade categories required to perform work as listed herein.

Questions regarding Public Works Contractor Registration should be addressed to:

Contractor Registration

New Jersey Department of Labor and Workforce Development Division of Wage and Hour Compliance

PO Box 369 Trenton, NJ 08625-0389

Tel. 609-292-9464

Fax: 609-633-8591

For additional information, please refer to the following web site:

https://www.nj.gov/labor/wageandhour/registration-permits/register/publicworksregistration.shtml

NOTE: All Bidders and Subcontractors performing public work must be registered at the time of Bid Opening. The Bidder should provide proof of registration on the date of Bid Opening. Failure for all Bidders and Subcontractors to be registered in accordance with the Public Works Contractor Registration Act at the time of Quote opening, shall result in the Quote being deemed non-responsive.

## ADDITIONAL QUALIFICATIONS

To demonstrate their understanding of Title 47 CFR Part 73, the Contractor shall provide:

- Detailed procedures for inspections, testing, calibration, and repair work that align with Federal Communications Commission (FCC) requirements

- Examples of completed inspection reports, test results, and repair documentation

- Certifications or training records for technicians in FCC broadcast regulations and best practices

- References from previous clients attesting to the Contractor's expertise in FCC compliance

## FINANCIAL CAPABILITY OF THE BIDDER

The Bidder should provide sufficient financial information to enable the State to assess the financial strength and creditworthiness of the Bidder and its ability to undertake and successfully complete the Contract.  In order to provide the State with the ability to evaluate the Bidder’s financial capacity and capability to undertake and successfully complete the Contract, the Bidder should submit the following:

- For publicly traded companies the Bidder should provide copies or the electronic location of the annual reports filed for the two most recent years; or

- For privately held companies the Bidder should provide the certified financial statement (audited or reviewed) in accordance with applicable standards by an independent Certified Public Accountant, including a balance sheet, income statement, and statement of cash flow, and all applicable notes for the most recent calendar year or the Bidder’s most recent fiscal year.

If the information is not supplied with the Quote, the State may still require the Bidder to submit it.  If the Bidder fails to comply with the request within seven (7) Business Days, the State may deem the Quote non-responsive.

A Bidder may designate specific financial information as not subject to disclosure when the Bidder has a good faith legal/factual basis for such assertion.  The State reserves the right to make the determination to accept the assertion and will so advise the Bidder.

## STATE-SUPPLIED PRICE SHEET INSTRUCTIONS

The Bidder must submit its pricing using the State-Supplied Price Sheet accompanying this Bid Solicitation and located on the “Attachments” Tab. Each Bidder is required to hold its pricing firm through the issuance of the Contract.

This Bid Solicitation contains thirty-four (34) Price Lines, which are grouped together and organized as follows:

| Group Number | Line Number | Description |
| --- | --- | --- |
| Group 1 Northern Region (Price Lines 1-9) | 1 | Large Transmission Facilities – Monthly Task Rate |
|  | 2 | Small Transmission Facilities – Bi-Monthly Task Rate |
|  | 3 | Small Transmission Facilities – Bi-Annual Task Rate |
|  | 4 | Straight Time – Non Prevailing Wage |
|  | 5 | Overtime Time – Non Prevailing Wage |
|  | 6 | Weekend and Holiday Time – Non Prevailing Wage |
|  | 7 | Straight Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 8 | Overtime Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 9 | Weekend and Holiday Time - Percentage (%) Up-Charge Over Prevailing Wage |
| Group 2 Central Region (Price Lines 10-19) | 10 | Large Transmission Facilities – Monthly Task Rate |
|  | 11 | Small Transmission Facilities – Monthly Task Rate |
|  | 12 | Small Transmission Facilities – Quarterly Task Rate |
|  | 13 | Small Transmission Facilities – Bi-Annual Task Rate |
|  | 14 | Straight Time – Non Prevailing Wage |
|  | 15 | Overtime Time – Non Prevailing Wage |
|  | 16 | Weekend and Holiday Time – Non Prevailing Wage |
|  | 17 | Straight Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 18 | Overtime Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 19 | Weekend and Holiday Time - Percentage (%) Up-Charge Over Prevailing Wage |
| Group 3 Southern Region (Price Lines 18-27) | 20 | Large Transmission Facilities – Monthly Task Rate |
|  | 21 | Small Transmission Facilities – Bi-Annual Task Rate |
|  | 22 | Straight Time – Non Prevailing Wage |
|  | 23 | Overtime Time – Non Prevailing Wage |
|  | 24 | Weekend and Holiday Time – Non Prevailing Wage |
|  | 25 | Straight Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 26 | Overtime Time - Percentage (%) Up-Charge Over Prevailing Wage |
|  | 27 | Weekend and Holiday Time - Percentage (%) Up-Charge Over Prevailing Wage |
| Additional Rates (Price Lines 28-33) | 28 | Hourly Rate For Administrative Cost |
|  | 29 | Hourly Rate For Project Design Fee |
|  | 30 | Hourly Rate For Decommissioning Transmission Facilities |
|  | 31 | Hourly Rate For Analysis, License Application Prep and Filing |
|  | 32 | Hourly Rate For Project Related to Project Management Fees |
|  | 33 | Hourly Rate For Project Related to Communication Circuits |
| FOR AGENCY USE ONLY NO BID REQUIRED | 34 | FOR AGENCY USE ONLY – NO BID REQUIRED Pass-Through Line For Reimbursement |

The State intends to award one (1) Contract for all Price Lines (1 – 34) to a single Bidder in accordance with Bid Solicitation Section 8.16 Contract Award. Bidders must bid on Price Lines (1-33) to be considered for award.

Note: Bidders are not required to provide a Quote for Price Line 34. Price Line 34 is blacked out on the State-Supplied Price Sheet and shall only be utilized as an Agency use net line.

- Step 1 - The Bidder should enter the company’s legal name in the field titled “Bidder Name:” and the date in the field titled “Date:” located at the top of the State-Supplied Price Sheet.

- Step 2 – For Price Lines 1, 2, 3, 10, 11, 12, 13, 20 and 21, the Bidder shall insert a firm fixed all-inclusive task rate in the corresponding columns titled “Unit Price” on the State-Supplied Price Sheet. Bidders must bid on all Price Lines (1-3, 10-13,  20-21) for the Bidder’s Quote to be considered for an award. If a Bidder does not bid on these Price Lines, the Bidder’s Quote will be considered non-responsive.

- Step 3 – For Price Lines 4, 5, 6, 14, 15, 16, 22, 23 and 24, the Bidder shall insert a firm-fixed all-inclusive hourly rate in the corresponding columns titled “Unit Price” on the State-Supplied Price Sheet. Bidders must bid on all Price Lines (4-6, 14-16, 22-24) for the Bidder’s Quote to be considered for an award. If a Bidder does not Bid on these Price Lines, the Bidder’s Quote will be considered non-responsive.

- Step 4 – For Price Lines 7, 17, and 25, the Bidder shall insert a percentage markup charge over the Prevailing Wage for Straight Time in the corresponding columns titled “Unit Price” on the State-Supplied Price Sheet. If a Bidder does not Bid on these Price Lines, the Bidder’s Quote will be considered non-responsive.

- Step 4 – For Price Lines 8, 18, and 26, the Bidder shall insert a percentage markup charge over the Prevailing Wage for Overtime Time in the corresponding columns titled “Unit Price” on the State-Supplied Price Sheet. If a Bidder does not Bid on these Price Lines, the Bidder’s Quote will be considered non-responsive.

- Step 5 – For Price Lines 9, 19, and 27, the Bidder shall insert a percentage markup charge over the Prevailing Wage for Weekend and Holiday Time in the corresponding columns titled “Unit Price” on the State-Supplied Price Sheet. If a Bidder does not Bid on these Price Lines, the Bidder’s Quote will be considered non-responsive.

- Step 7 – Price Lines 28 – 33 are Additional Rates not designated for any single or specific Region.  The Bidder shall insert an all-inclusive hourly rate for each task as listed on the State-Supplied Price Sheet:

  - For Price Line 28, the Bidder shall provide its all-inclusive hourly rate for administrative costs, which are general tasks outside of the scope of work done by the certified broadcast engineer.

  - For Price Line 29, the Bidder shall provide its all-inclusive hourly rate for project design fees, as specified by Bid Solicitation Section 4.14 Project Design and Management;

  - For Price Line 30, the Bidder shall provide its all-inclusive hourly rate for decommissioning related services, as specified by Bid Solicitation Section 4.11 Decommissioning;

  - For Price Line 31, the Bidder shall provide its all-inclusive hourly rate for analysis, license application preparation, and filing as specified by Bid Solicitation Section 4.12 Analysis, License Application and Filing; and

  - For Price Line 32, the Bidder shall provide its all-inclusive hourly rate for projects related to project management as specified by Bid Solicitation Section 4.14 Project Design and Management.

  - For Price Line 33, the Bidder shall provide its all-inclusive hourly rate for projects related to communications circuits as specified by Bid Solicitation Section 4.17 Communication Circuits Requirements.

  - Note: Price Line 34 is for Agency Use Only, and is blacked out on the State-Supplied Price Sheet.

Any price changes including hand written revisions or "white-outs" must be initialed.  Failure to initial price changes shall preclude a Contract award from being made to the Bidder pursuant to N.J.A.C. 17:12-2.2(a)(8).

Where the State-Supplied Price Sheet includes an estimated quantity column, Bidders are advised that estimated quantities may vary throughout the Contract term resulting from this Bid Solicitation. There is no guaranteed minimum or maximum volume for these price lines.

### DELIVERY TIME AND COSTS

Not applicable to this procurement.

### CASH DISCOUNTS

The Bidder is encouraged to offer cash discounts based on expedited payment by the State. The State will make efforts to take advantage of discounts, but discounts will not be considered in determining the price rankings of Quotes. Should the Bidder choose to offer cash discounts, the following shall apply:

- Discount periods shall be calculated starting from the next Business Day after the Using Agency has accepted the goods or services, received a properly signed and executed invoice and, when required, a properly executed performance security, whichever is latest; and

- The date on the check issued by the State in payment of that invoice shall be deemed the date of the State's response to that invoice.

### VOLUME DISCOUNTS

Not applicable to this procurement.

### USE OF “NO BID” VERSUS “NO CHARGE” ON THE STATE-SUPPLIED PRICE SHEET

All price lines must be filled out in accordance with the instructions above.  If the Bidder is not submitting a price for an item on a price line, the Bidder must indicate “No Bid” on the State-Supplied Price Sheet accompanying this Bid Solicitation. Bidders are cautioned that submitting “No Bid” for a required price line or group will result in the Quote being deemed non-responsive for the required price line or group. If the Bidder will supply an item on a price line free of charge, the Bidder must indicate “No Charge” on the State-Supplied Price Sheet accompanying this Bid Solicitation.  The use of any other identifier may result in the Bidder’s Quote being deemed non-responsive.

## ORAL PRESENTATIONS

Not applicable to this procurement.

# SCOPE OF WORK

## GEOGRAPHICAL REGIONS/ COUNTIES

For the purpose of this Bid Solicitation, the State has been divided into three regions - Northern, Central and Southern. Bidders shall bid on all three (3) Region(s): Northern, Central, and Southern. Bidders must service all Regions.  Any proposal for a single (1) Region shall be rejected.

| Region | Counties |
| --- | --- |
| Northern | Bergen, Essex, Hudson, Morris, Passaic, Sussex, Union, and Warren |
| Central | Hunterdon, Mercer, Middlesex, Monmouth, Ocean, and Somerset |
| Southern | Atlantic, Burlington, Camden, Cape May, Cumberland, Gloucester, and Salem |

## GENERAL AND SPECIFIC WORK REQUIREMENTS

NJPBA facilities must adhere to strict FCC guidelines regarding inspections, testing, calibration, and repair work.  Routine inspections and testing are essential for ongoing compliance, while calibration and further testing are mandated after installations or repairs to ensure that all equipment meets FCC standards and operates effectively.

The Contractor shall demonstrate their understanding of the FCC's requirements for all activities under Section 4.0 including routine inspections, testing, equipment installation, calibration, and licensing of broadcast television facilities under FCC Title 47 CFR Part 73.

### INSPECTIONS AND TESTING

The Contractor shall be familiar with the regulations surrounding inspections and testing, which includes, but is not limited to:

- Conducting regular inspections to assess the operational status of transmitters, antennas, and other critical equipment

- Performing tests to verify signal strength, frequency accuracy, and modulation levels comply with FCC technical standards

- Documenting inspection and testing procedures and results to ensure ongoing compliance

### CALIBRATION AND REPAIR WORK

The Contractor shall be familiar with the regulations surrounding the calibration and repair work, which includes, but is not limited to:

- Calibrating equipment after installation or major repairs to optimize performance and meet FCC requirements

- Conducting thorough inspections and testing following any repair work to confirm proper operation and regulatory compliance

- Maintaining detailed records of all calibration and repair activities

### DEMONSTRATING QUALIFICATIONS

To demonstrate their understanding of Title 47 CFR Part 73, the Contractor shall provide:

- Detailed procedures for inspections, testing, calibration, and repair work that align with FCC requirements

- Examples of completed inspection reports, test results, and repair documentation

- Certifications or training records for technicians in FCC broadcast regulations and best practices

- References from previous clients attesting to the Contractor's expertise in FCC compliance

## INSPECTION SCHEDULE

### LARGE TRANSMISSION FACILITIES:

The Contractor shall provide inspections, repairs and activity reports at the NJPBA Large Transmission Facilities listed below:

- Montclair - 42 Clove Rd., Montclair (Little Falls), NJ* (Northern Region, Price Line 1);

- New Brunswick - 7 Geiger Ln., Warren Twp., NJ (Northern Region, Price Line 1);

- Trenton - 301 Grovers Mill Rd., Lawrence Twp., NJ* (Central Region, Price Line 10); and

- Camden - 1647 Arrowhead Dr., Waterford Twp., NJ (Southern Region, Price Line 20).

The Contractor shall visit/inspect the NJPBA Large Transmission Facilities approximately two (2) days per week totaling a maximum of 64 hours per month.

*(Lawrenceville Site Transmitter retirement will occur during Contract term affecting scheduling and required tasks)

### SMALL TRANSMISSION FACILITIES:

#### BI-MONTHLY INSPECTION FACILITIES

The Contractor shall provide inspections, repairs and activity reports at the NJPBA Small Transmission Facilities listed below:

- Sussex - Sand Pond Rd., Hardyston Twp., NJ (Northern Region, Price Line 2);

- Brass Castle - 1 Demeter Rd., Washington, NJ (Northern Region, Price Line 2); and

- Hackettstown - Intersection of Thomas Dr. & Cheryl Dr., Hackettstown, NJ (Northern Region, Price Line 2).

The Contractor shall visit/inspect the NJPBA Small Transmission Facilities approximately twice (2) per month totaling a maximum of 12 hours per month.

#### MONTHLY INSPECTION FACILITY

The Contractor shall provide inspections, repairs, and activity reports at the NJPBA Small Transmission Facility listed below:

- Trenton Operations Center (“TOC”) - 25 South Stockton St., Trenton, NJ (Central Region, Price Line 11).

The Contractor shall visit/inspect the Trenton Operations Center NJPBA Small Transmission Facility approximately once (1) per month.

#### QUARTERLY INSPECTION FACILITY

The Contractor shall provide inspections, repairs, and activity reports at the NJPBA Small Transmission Facility listed below:

- Mt. Laurel - 1020 Briggs Rd., Mt. Laurel, NJ (Central Region, Price Line 12).

The Contractor shall visit/inspect the Mt. Laurel NJPBA Small Transmission Facility approximately once (1) per quarter.

.

#### BI-ANNUALLY INSPECTION FACILITY

The Contractor shall provide inspections, repairs, and activity reports at the NJPBA Small Transmission Facilities listed below:

- Blairstown - Hope-Blairstown Rd (Co. 521) Blairstown, NJ, Adjacent 123 Hope Road (Northern Region, Price Line 3);

- Pittstown (Croton) - Pittstown Rd (County Rd. 615) 200 Yards North of Frenchtown-Flemington Rd. (Hwy12), Frenchtown, NJ (Central Region, Price Line 13);

- Cape May Court House - J.F Kiely Construction Co. 916 N. Rte. 9, Cape May Court House,   NJ 08210 (Southern Region, Price Line 21); and

- Scott House - 61 W Jimmie Leeds Rd., Galloway, NJ (Southern Region, Price Line 21).

The Contractor shall visit/inspect the above NJPBA Small Transmission Facilities approximately once (1) every six (6) months.

## INSPECTIONS OF LARGE TRANSMISSION FACILITIES

The Contractor shall inspect, report, calibrate, and/or repair the following during each visit to the NJPBA Large Transmission Facilities:

- Buildings and grounds;

- Heating, Ventilation, and Air Conditioning (HVAC);

- Transmitter and microwave functions;

- Transmitter cooling systems;

- Transmission line systems;

- Backup power systems;

- Tower lights; and

- Tower/guy wire inspections.

### BUILDINGS AND GROUNDS

The Contractor shall inspect the following:

- The fencing surrounding the main building complex and observe the fence for breaches due to vandalism, wildlife, and/or vegetation and the need for any weed control two (2) times per week, year round, for Large Transmission Facilities. Any issues noted during inspections shall be reported to the NJPBA. The main cinder block building and client buildings shall be observed for signs of vandalism and/or damage, particularly from falling ice;

- The condition of compound grounds, driveway, fuel tank area and guy wire access for excessive vegetation (weed control). During winter months, when snow removal is necessary, the Contractor shall inspect and report the condition of the access areas, condition of driveway and fuel tank access areas as applicable. The NJPBA representative will coordinate use of the appropriate snow removal State Contract with the Contractor, as required by the NJPBA.

The Contractor shall coordinate fuel deliveries with the NJPBA representative as required by the NJPBA.  The Contractor shall be present during fuel deliveries and should make every effort to schedule fuel deliveries during routine visits set aside for weekly inspections. Unless otherwise approved by the NJPBA all fuel shall be purchased from the current State Contract T1845 – Ultra Low Sulfur Diesel and Biodiesel Fuel.

The Contractor shall coordinate scheduled visits with the NJPBA and supervise the performance of janitorial, light maintenance and pest control services.

### HVAC

The Contractor shall:

- Maintain a building temperature of 72 degrees Fahrenheit for Large Transmission Facilities with a variance of plus or minus ten (10) degrees Fahrenheit as an acceptable year-round condition.

- Conduct a visual inspection of the wall thermostats and report abnormal temperature readings to the NJPBA representative.

Any HVAC repairs needed, shall be conducted under State Contract T1372- HVAC, Refrigeration and Boiler Services – Statewide, upon NJPBA approval

### TRANSMITTER AND MICROWAVE FUNCTIONS

The NJPBA operates four (4) high power, solid state, liquid-cooled, Comark TV transmitters under the Federal Communications Commission (FCC) part 73.1350 remote operations parameters.

The Contractor shall be responsible for maintaining and assisting in the operation of the NJPBA TV broadcast facilities in a manner which complies with the technical rules of the station’s FCC authorizations.

The NJPBA and the Contractor shall review and maintain the technical provisions at the NJPBA Large Transmission Facilities listed in Bid Solicitation Section 4.3.1, Large Transmission Facilities; to ensure they are compliant with the NJPBA’s FCC authorizations.

The Contractor shall check all microwave system components for proper operating functions, including, but not limited to:

- Power output,

- Frequency calibration,

- Signal strength,

- Phase lock, and

- Data lock.

Transmission line and tower maintenance are conducted under State Contract T0125 – Tower Maintenance, and subject to NJPBA approval.

### TRANSMITTER COOLING SYSTEMS

The Contractor shall examine the transmitter cooling systems for proper operating conditions, check for leaks, examine the pumps, and pump control systems. The Contractor shall report on the condition of the transmitter cooling system in the electronic task log. The Contractor shall immediately contact the NJPBA representative and report any abnormal conditions.

### TRANSMISSION LINE SYSTEMS

The transmission line dehydration systems use positive nitrogen or dehydrated air pressure. The pressure settings of three (3) to six (6) pounds per square inch shall be observed for a five-minute period. The Contractor shall notify the NJPBA representative if any fluctuation, loss of pressure, and/or excessive pump activity is observed during the inspection period.

For each site employing a nitrogen system, the Contractor shall be required to maintain one (1) on-line gas tank and one (1) full spare on site, except the TOC where tank inventory is maintained;

The Contractor shall maintain spare tank inventory stored at the TOC transmitter at the count in place at the time the Contract takes effect.

### BACK UP POWER SYSTEMS

Inspections of the emergency generators, fuel storage and battery backup power systems shall occur at the NJPBA Large Transmission Facilities specified in Bid Solicitation Section 4.3.1, Large Transmission Facilities;

The Contractor shall inspect the emergency generator and check for locked access doors, fuel leaks and proper transfer switch mode. The generator fuel supply shall be noted and any level below ½ a tank shall be promptly communicated by the Contractor  to the NJPBA representative;

Battery backup systems are maintenance free. The Contractor shall listen for an Uninterrupted Power Supply (UPS) alarm indicating activation and shall immediately report on the condition of the battery backup system to the NJPBA representative; and

The Contractor shall provide supervision of quarterly generator and battery backup testing and inspections as provided by the NJPBA’s consultant at the Large Transmission Facilities. Backup power systems are maintained through State Contract T2848 – Preventative Maintenance and Testing of Emergency Standby Generators.

### TOWER LIGHTS

The Contractor shall:

- Make a visual maintenance inspection of all sides of the tower to determine the condition of the lighting system on a weekly basis.

- Record the tower lighting system functions. Tower lights shall be observed primarily through remote control monitoring.

- Inspect the tower lights if malfunctions are suspected from the visual maintenance inspection

- Immediately report any malfunctioning tower lights shall be immediately reported to the Lockheed Martin National Outage Reporting service at 877-487-6867 followed by a call to the NJPBA representative during business hours, or an email to the NJPBA representative for after-business hours reports.

- Coordinate the repair of the failed lighting component(s) with the NJPBA.

### TOWER AND GUY WIRE INSPECTION

The Contractor shall:

- Conduct a visual maintenance inspection around the tower and guy wire runs shall be performed by the Contractor using Field Glasses for observation.

- Inspect for loose or damaged tower components and or cables. The guy wire travel from tower to ground anchor shall be inspected by the Contractor  for excessive sway, damaged cable, or cable components.

- Inspect the fence around each guy anchor for breach due to vandalism, wildlife, vegetation, or other environmental conditions including, but not limited to the excessive rise in the surrounding water table.

## INSPECTIONS OF SMALL TRANSMISSION FACILITIES

During each visit to the NJPBA Small Transmission Facilities, the Contractor shall inspect, report, calibrate, and/or repair the following:

  - Buildings and grounds;

  - HVAC;

  - Transmitter and microwave functions;

  - Transmission line systems; and

  - Tower and grounding visual inspection.

### BUILDINGS AND GROUNDS

The Contractor shall:

- Inspect the fencing surrounding the main building complex and observe the fence for breaches due to vandalism, wildlife, and/or vegetation and the need for any weeding as needed for Small Transmission Facilities. The main cinder block building and client buildings shall be observed for signs of vandalism and/or damage, particularly from falling ice; and

- The Contractor shall inspect the condition of compound grounds, driveway, fuel tank area and guy wire access for excessive vegetation (weed control). During winter months, when snow removal is necessary, the Contractor shall inspect and report the condition of the access areas, condition of driveway and fuel tank access areas as applicable. The NJPBA representative will coordinate use of the appropriate snow removal State Contract with the Contractor, as required by the NJPBA.

### HVAC

The Contractor shall:

  - Maintain a building temperature of 70 degrees Fahrenheit for Small Transmission Facilities, with a variance of plus or minus 10 degrees Fahrenheit as an acceptable year-round condition

  - Make a visual inspection of the wall thermostats and report abnormal temperature readings to the NJPBA representative.

  - Any HVAC repairs needed shall be conducted under State Contract T1372.

### TRANSMITTER AND MICROWAVE FUNCTIONS

The NJPBA operates three (3) low power TV translators. The Contractor shall be responsible for maintaining and assisting in the operation of the NJPBA’s TV broadcast facilities in a manner which complies with the technical rules of the station’s FCC authorizations. The NJPBA and the Contractor will review and thereafter maintain the technical provisions at the applicable facilities listed in Bid Solicitation Section 4.3.2 to assure they are sufficient to maintain compliance with the NJPBA’s FCC authorizations. The Contractor shall check, at the applicable sites, all microwave system components for proper operating functions, including power output, frequency calibration, signal strength, phase lock and data lock.

### TRANSMISSION LINE AIR SYSTEM

The Transmission Line Dehydration Systems use positive nitrogen and/or dehydrated air pressure. The pressure settings of three (3) to six (6) pounds per square inch shall be observed for a five (5) minute period. The Contractor shall notify the NJPBA representative if any fluctuation, loss of pressure, and/or excessive pump activity is observed during the inspection period.  Transmission line and tower maintenance are conducted under State Contract T0125.

### TOWER AND GROUNDING VISUAL INSPECTION

The Contractor shall conduct a visual walk around the tower using Field Glasses.  The Contractor shall inspect for loose or damaged tower components and/or cables. The Contractor shall immediately contact the NJPBA representative and report any abnormal conditions.

## RESPONSE TIMES

Unless noted below, the Contractor shall make all necessary adjustments and or repairs upon discovery of an unsatisfactory condition. Any delay in an adjustment to the operating conditions of the NJPBA transmission system may result in an unauthorized FCC operating parameter. Respondents shall be required to verify their ability to simultaneously respond to multiple Level 1 or Level 2 conditions within the NJPBA facility system. The NJPBA does not require the Contractor to maintain a large staff on stand-by, however the Contractor shall assign sufficient local staff to service this Contract and anticipate that multiple Level 1 or Level 2 scenarios will most likely occur during a forecasted weather event. The NJPBA will coordinate with the Contractor to have a mix of Contractor and NJPBA staff on stand-by during forecasted events.

Outlined below are scenarios and the mandatory Contractor response times:

- Level 1 – Any threat to human life, imminent damage to property, or complete loss of air product at any of the four (4) primary sites or any anomaly in systems operation causing operation in violation of NJPBA’s FCC authorizations.

  - Response Time–  A response is required within two (2) hours of the NJPBA notification (24 hours a day, 7 days a week).

  - Notifications –  Notifications should be sent to the NJPBA representative and Program Operator with confirmation of receipt of message: upon initial assessment after arrival and every two (2) hours thereafter without required confirmation and after resolution with confirmation.

  - Escalation – After four (4) hours or as required, the Contractor shall mobilize any additional assets required for expedient repair.

- Level 2 – Failure of any primary site system for which a backup system has effectively maintained operation or failure of any secondary site system whose failure has not caused a Level 1 incident.

  - Response Time–  A response is required by the next business day.

  - Notifications – Notifications should be sent to the NJPBA representative upon discovery and resolution.

  - Escalation – Following 24 hours after initial repair assessment.

- Level 3 – All other incidents not managed in the normal course of site maintenance of which the NJPBA should reasonably be notified before the regular report period closes.

  - Response Time – A response will be sent as requested by the NJPBA.

  - Notifications – Notifications should be sent to the NJPBA representative upon resolution.

  - Escalation – Escalation will be performed as requested by the NJPBA.

No specification in Section 4.6 shall require a response that subjects the employees of the Contractor to imminent danger to life or property. In the event of forecasted weather occurrence, the NJPBA may request, and the Contractor shall be capable of supplying, Pre-Staged Assets at sites. Notifications shall be made by phone, text, or email but confirmation requirements stand for other than person-to-person or in-person contact.

## UNPLANNED AND/OR EMERGENCY SITE VISIT

The NJPBA Transmission Facilities are subject to occasional un-scheduled and/or emergency visits due to maintenance issues, weather events, power outages, security issues, or client activities.  Un-scheduled visits may also be necessary to assist with fuel deliveries and snow removal.

- All subcontracted and tower client activities shall be scheduled, by the Contractor, during the Contractor’s routine site inspection schedule, as noted in Section 4.3.

- The Contractor shall provide after-hours emergency notification information to the NJPBA representative. The NJPBA representative will use the emergency contact information to initiate all after hours un-scheduled site visits.

- The Contractor shall supply the NJPBA with an itemization of all fees associated with after-hours service.

## ADJUSTMENTS TO THE SITE VISITATION SCHEDULE

While the Contractor is required to generate and supply to the NJPBA a standard schedule for site inspections, the NJPBA also reserves the ability to make reasonable alterations in the schedule to accommodate the NJPBA operational requirements up to and including the number of visits to any given site within the month. Alterations in the schedule may also provide for a reduction in the number of scheduled sites visits.  Such schedule changes shall be accommodated within the “Monthly Task Rate”.

## ADJUSTMENTS TO SCHEDULED WORK HOURS

Due to the nature of the NJPBA broadcast schedule, operational tasks may occur anytime during a 24-hour period. The Contractor may be asked to adjust the site visitation schedule to coincide with a broadcast event, such as transmitter monitoring during an evening broadcast. Such schedule changes shall be accommodated within the “Monthly Task Rate”.

## REPAIRS AND SERVICING

The Contractor when at all possible and applicable, must utilize any existing State Contracts for system repairs and servicing to be paid for by the NJPBA. The NJPBA currently utilizes State Contracts for HVAC, tower maintenance, fuel deliveries and janitorial services as noted in Bid Solicitation Sections 4.4.1 – 4.4.3. The Contractor must receive approval for any State Contract use by the NJPBA. When a State Contract is not available the Contractor shall make all arrangements for parts required to affect the repair and contact the NJPBA representative for approval of the purchase. The Contractor shall be solely responsible for receiving the repair parts and the completion of the repair in a timely fashion. For non-critical systems, the Contractor shall provide the NJPBA representative with the time and materials estimate for the repair and proceed only after obtaining authorization from the NJPBA representative. The Contactor shall invoice the NJPBA for acceptance of the repair completion and payment. The estimates are to correspond with the awarded hourly rates. The Contractor shall provide all parts to the State at the invoice cost paid by the Contractor. There shall be no mark-up permitted for parts provided by the Contractor under this Contract.

  - Building and Grounds Light Maintenance: The Contractor shall provide light maintenance in the form of painting, carpentry, pressure washing, security lamp replacement, and vegetation control at the facilities as listed in previous sections. The NJPBA maintains and stores an inventory of equipment available to the Contractor to assist in the performance of the tasks outlined in this section. The Contractor shall be required to transport all equipment to the job site and return the NJPBA equipment to the designated NJPBA storage facility; and

  - Test Equipment: The NJPBA Large Transmission Facilities and the TOC have rack mounted test gear as well as portable spectrum analyzers to verify transmitter compliance. The Contractor is required to supply test equipment for the smaller translator sites, however, NJPBA may approve the transporting of NJPBA portable test gear to the smaller facilities, if requested by the Contractor.

Note: The Contractor will be reimbursed parts purchased via Price Line #34, subject to the approval of the NJPA representative (See Bid Solicitation Section 3.27 State-Supplied Price Sheet Instructions regarding Price Line #34).

## DECOMMISSIONING

The NJPBA will be in the process of decommissioning several of the NJPBA facilities during the term of this Contract. Temporary labor from the Contractor related to the decommissioning process will be required by the NJPBA.  The length of these projects may vary from several days to several weeks.

Skilled labor may be required for specific decommissioning projects in order to preserve on-going NJPBA operations. A NJPBA manager will supervise decommissioning projects. The NJPBA reserves the right to remove any decommissioned Transmission Facility from this Contract.

## ANALYSIS, LICENSE APPLICATION PREPARATION, AND FILING

The NJPBA facilities operate on a variety of licensed and unlicensed frequencies. The NJPBA has over 50 licenses granted to the NJPBA by the FCC which require periodic review due to FCC directives and NJPBA operational changes. The NJPBA also conducts period studies to determine the impact of viewer reception by media marketplace situations.

  - The Contractor shall assist the NJPBA with computer aided modeling and analysis tools to generate various reports used in determining the ability of digital television stations to provide over-the-air delivery of programming into the coverage areas assigned or contemplated by the NJPBA.

  - When directed, the Contractor shall provide, with each report, tables and/or maps indicating areas where reception is and is not practically available along with an authoritative narrative of the methods and conclusions for each study area.

  - The Contractor shall provide the NJPBA with an analysis summary of the options and impacts available to the NJPBA and possible mitigation steps through alternative NJPBA services. Additional analysis tools shall be provided which quantify viewer impact through population and cable penetration in the NJPBA broadcast regions.

  - The Contractor shall have the necessary analysis tools to generate interference reports, with supporting documentation that will be used for possible FCC filings. The Contractor shall have the ability to apply the latest Office of Engineering and Technology Bulletin #69 (OET-69) methodology and Longley-Rice propagation models as deemed necessary to generate the report(s).

  - The Contractor shall prepare and coordinate the filing of engineering reports necessary for FCC applications related to the NJPBA facilities;

  - The Contractor shall periodically review the NJPBA FCC licenses for accuracy and report erroneous engineering data to the NJPBA; and

  - The Contractor shall assist the NJPBA and the NJPBA’s FCC attorneys with engineering reviews and advice.

Note: The Office of Engineering and Technology Bulletin #69 (OET-69) can be located under Bid Solicitation Section 2.6 Pre-Quote Document Review, bullet #3.

## ELECTRONIC DOCUMENTATION

The Contractor shall provide electronic documentation on weekly basis for all FCC criteria and on a monthly basis for non FCC criteria of all scheduled maintenance and on-sight activities.  The monthly electronic documentation of the Contractor’s on-site activities shall include at a minimum the following:

- Transmitter facility preventative maintenance, common and emergency repairs;

- Transmitter and microwave readings;

- Confirm proper operation of all metering per FCC 73.664, check safety interlocks, and protective circuits;

- Visually and manually inspect all high power radio frequency (RF) areas for signs of arcing or overheating;

- Check operation of all cooling system components;

- Clean filters, pump screens, and cabinets internally;

- Check transmission line dehydrator and/or nitrogen gas systems for proper operation. Log pressure gauge readings;

- Reporting of site conditions, failed transmission and tower components and advise NJPBA of any adverse conditions with respect to the TV Transmission Facilities;

- Coordinate with NJPBA representative for on-site site access and supervision of client activities;

- Call NJPBA personnel from site to verify calibration of transmitter remote control unit (Station log entry required); and

- A weekly report on the status of each open repair work order, and a comprehensive report of maintenance work shall be issued upon completion.

## PROJECT DESIGN AND MANAGEMENT

At the direction of the NJPBA, the Contractor shall assist with the project design and management of the NJPBA facilities as necessary for compliance or other operational requirements, including the design, operation and maintenance of antenna combining and multi-coupling systems through which systems tenants, located on the NJPBA tower facilities, will be directed to use for signal reception and transmission. The Contractor shall provide its experience in the design, installation and management of TV and radio facilities, including Very High Frequency (VHF), Ultra High Frequency (UHF) and 700/800 Megahertz (MHz) combining and multi coupling systems.

## PREVAILING WAGE

The NJ State Prevailing Wage Act, N.J.S.A. 34:11-56.25 et seq. applies to public work and building services performed under this procurement.  This Act establishes wage standards for all workers performing public work and building services for properties or premises owned or leased by the State, requiring the payment of the State Prevailing Wage rate to all employees performing those duties. See N.J.S.A. 34:11-56.25 to -56.47; N.J.S.A. 34:11-56.58 to -56.70. Prevailing wages amounts are listed by county.  It is the responsibility of the Contractor to comply with the requirements of the State Prevailing Wage Act as well as adhere to the requirements of the Fair Labor Standards Act (FLSA) during the duration of this Contract and any extensions exercised.  Prevailing wages by county can be found on the wage determinations website at Wage & Hour Compliance | Current Prevailing Wage Rates. If it is found that any worker employed by the Contractor or any subcontractor under the Contract has been paid a rate of wages less than the prevailing wage required to be paid under the Contract, the State may terminate the Contractor and/or subcontractor’s right to proceed with the work, or such part of the work as to which there has been a failure to pay required wages and may prosecute the work to completion.

## PUBLIC WORKS CONTRACTOR REGISTRATION ACT

This act specifies that no Contractor or Subcontractor shall engage in any Contract (or part thereof) for public work which is subject to the provisions of N.J.S.A. 34:11-56.48, et seq. for the construction, reconstruction, demolition, alteration, custom fabrication, repair work, or maintenance work done under contract and paid for in whole or in part out of the funds of a public body or if the property or premises are owned by the public body, unless the Contractors and named Subcontractors maintain a valid public works certificate issued by the Department of Labor and Workforce Development during the duration of the Contract period.  All Contractors and named Subcontractors must maintain a valid public works certificate issued by the Department of Labor and Workforce Development during the duration of the Contract period.

## COMMUNICATION CIRCUITS REQUIREMENTS

The Contractor shall design, procure, install, and maintain dedicated Internet Protocol (IP) based telecommunications circuits capable of supporting broadcast-quality audio and video transmission. This scope includes conducting surveys to assess technical requirements, designing a network architecture that ensures low latency, high bandwidth, and redundancy appropriate for mission-critical broadcast applications, procuring and installing all necessary hardware and interface equipment, configuring Quality of Service (QoS) parameters to prioritize broadcast traffic, and implementing appropriate security measures including encryption and access controls.

The Contractor shall provide ongoing maintenance services and routine performance optimization, software and firmware updates, and technical support. Additionally, the Contractor shall operate the circuit in accordance with industry best practices and broadcast standards, provide performance reports to ensure compliance with all applicable telecommunications regulations and Service Level Agreements (SLAs) establishing minimum performance thresholds and remediation procedures for service degradation or outages.

# GENERAL CONTRACT TERMS

The Contractor shall have sole responsibility for the complete effort specified in this Contract. Payment will be made only to the Contractor or to the authorized dealers/distributors, if applicable. The Contractor is responsible for the professional quality, technical accuracy and timely completion and submission of all deliverables, services or commodities required to be provided under this Contract. The Contractor shall, without additional compensation, correct or revise any errors, omissions, or other deficiencies in its deliverables and other services. The approval of deliverables furnished under this Contract shall not in any way relieve the Contractor of responsibility for the technical adequacy of its work. The review, approval, Acceptance or payment for any of the deliverables, goods or services, shall not be construed as a waiver of any rights that the State may have arising out of the Contractor’s performance of this Contract.

## CONTRACT TERM AND EXTENSION OPTION

The base term of this Contract shall be for a period of three (3) years. The anticipated Contract effective date is provided on the “Summary” page of the Bid Solicitation in NJSTART.  If delays in the procurement process result in a change to the anticipated Contract effective date, the Contractor agrees to accept a Contract for the full term of this Contract.

This Contract may be extended up to two (2) years with no single extension exceeding one (1) year, by the mutual written consent of the Contractor and the Director at the same terms, conditions, and pricing at the rates in effect in the last year of this Contract or rates more favorable to the State.

## CONTRACT TRANSITION

- No Award Made --In the event that a new contract has not been awarded prior to the expiration date for this Contract, including any extensions exercised, then by written notice to the Contractor, the State may exercise its right to transition this Contract for a period of up to 180 Calendar Days (the “Initial Transition Period”).  In the event the State exercises its right pursuant to this Section, then the Contractor shall continue performance under this Contract under the same terms, conditions, and pricing until a new contract is awarded or the Initial Transition Period expires. At no time shall this Initial Transition Period extend more than 365 Calendar Days beyond the expiration date of this Contract, including any extensions exercised, unless in the opinion of the Director, it is in the best interest of the State to extend the Initial Transition Period.

- New Contract Awarded -- In the event that a new contract has been awarded prior to the expiration date for this Contract, including any extensions exercised , then by written notice to the Contractor the State may transition this Contract (the “NCA Transition Period”) and the Contractor shall continue performance under this Contract, under the same terms, conditions, and pricing, for a period of up to 365 Calendar Days beyond the expiration date of this Contract, including any extensions exercised, or until the new contract(s) can be completely operational, whichever first occurs.

## PERFORMANCE SECURITY

Not applicable to procurement.

## OWNERSHIP OF MATERIAL

- State Data – The State owns State Data. Contractor shall not obtain any right, title, or interest in any State Data, or information derived from or based on State Data.  State Data provided to Contractor shall be delivered or returned to the State of New Jersey upon thirty (30) days’ notice by the State or thirty (30) days after the expiration or termination of the Contract.  Except as specifically required by the requirements of the Bid Solicitation, State Data shall not be disclosed, sold, assigned, leased or otherwise disposed of to any person or entity other than the State unless specifically directed to do so in writing by the State Contract Manager.

- Work Product; Services – The State owns all Deliverables developed for the State in the course of providing Services under the Contract, including but not limited to, all data, technical information, materials gathered, originated, developed, prepared, used or obtained in the performance of the Contract, including but not limited to all reports, surveys, plans, charts, literature, brochures, mailings, recordings (video and/or audio), pictures, drawings, analyses, graphic representations, print-outs, notes and memoranda, written procedures and documents, regardless of the state of completion, which are prepared for or are a result of the Services required under the Contract.

- Contractor Intellectual Property; Commercial off the Shelf Software (COTS) and Customized Software – Contractor retains ownership of all Contractor Intellectual Property, and any modifications thereto and derivatives thereof, that the  Contractor supplies to the State pursuant to the Contract, and grants the State a non-exclusive, royalty-free license to use Contractor Intellectual Property delivered to the State for the purposes contemplated by the Contract for the duration of the Contract including all extensions.  In the event Contractor provides its standard license agreement terms with its Quote, such terms and conditions must comply with Bid Solicitation Section 1.4 – Order of Precedence of Contractual Terms.

- Third Party Intellectual Property – Unless otherwise specified in the Bid Solicitation that the State, on its own, will acquire and obtain a license to Third Party Intellectual Property, Contractor shall secure on the State’s behalf, in the name of the State and subject to the State’s approval, a license to Third Party Intellectual Property sufficient to fulfill the business objectives, requirements and specifications identified in the Contract at no additional cost to the State beyond that in the Quote price.  In the event Contractor is obligated to flow-down commercially standard third party terms and conditions customarily provided to the public associated with Third Party Intellectual Property and such terms and conditions conflict with Bid Solicitation requirements, including the SSTC, the State will accept such terms and conditions with the exception of the following:  indemnification, limitation of liability, choice of law, governing law, jurisdiction, and confidentiality.  The Bid Solicitation including the SSTC shall prevail with respect to such conflicting terms and conditions.  In addition, the State will not accept any provision requiring the State to indemnify a third party or to submit to arbitration.  Such terms are considered void and of no effect.  Third party terms and conditions should be submitted with the Quote. If Contractor uses Third Party Intellectual Property, Contractor must indemnify the State for infringement claims with respect to the Third Party Intellectual Property.   Contractor agrees that its use of Third Party Intellectual Property shall be consistent with the license for the Third Party Intellectual Property, whether supplied by the Contractor, secured by the State as required by the Bid Solicitation, or otherwise supplied by the State.

- Work Product; Custom Software – The State owns all Custom Software which shall be considered “work made for hire”, i.e., the State, not the Contractor, Subcontractor, or third party, shall have full and complete ownership of all such Custom Software. To the extent that any Custom Software may not, by operation of the law, be a “work made for hire” in accordance with the terms of the Contract, Contractor, Subcontractor, or third party hereby assigns to the State, or Contractor shall cause to be assigned to the State, all right, title and interest in and to any such Custom Software and any copyright thereof, and the State shall have the right to obtain and hold in its own name any copyrights, registrations and any other proprietary rights that may be available.

- State Intellectual Property – The State owns all State Intellectual Property provided to Contractor pursuant to the Contract.  State Intellectual Property shall be delivered or returned to the State of New Jersey upon thirty (30) days’ notice by the State or thirty (30) days after the expiration or termination of the Contract.  The State grants Contractor a non-exclusive, royalty-free, license to use State Intellectual Property for the purposes contemplated by the Contract.  Except as specifically required by the requirements of the Bid Solicitation, State Intellectual Property shall not  be disclosed, sold, assigned, leased or otherwise disposed of to any person or entity other than the State unless specifically directed to do so in writing by the State Contract Manager. The State’s license to Contractor is limited by the term of the Contract and the confidentiality obligations set forth in Bid Solicitation Section 6 – Data Security Requirements – Contractor Responsibility.

- No Rights – Except as expressly set forth in the Contract, nothing in the Contract shall be construed as granting to or conferring upon Contractor any right, title, or interest in State Intellectual Property or any intellectual property that is now owned or licensed to or subsequently owned by or licensed by the State.  Except as expressly set forth in the Contract, nothing in the Contract shall be construed as granting to or conferring upon the State any right, title, or interest in any Contractor Intellectual Property that is now owned or subsequently owned by Contractor.  Except as expressly set forth in the Contract, nothing in the Contract shall be construed as granting to or conferring upon the State any right, title, or interest in any Third Party Intellectual Property that is now owned or subsequently owned by a third party.

## SUBSTITUTION OF STAFF

If a Contractor needs to substitute any management, supervisory or key personnel, the Contractor shall identify the substitute personnel and the work to be performed.  The Contractor must provide detailed justification documenting the necessity for the substitution.  Resumes must be submitted for the individual(s) proposed as substitute(s) who must have qualifications and experience equal to or better than the individual(s) originally proposed or currently assigned.

The Contractor shall forward a request to substitute staff to the State Contract Manager for consideration and approval.  No substitute personnel are authorized to begin work until the Contractor has received written approval to proceed from the State Contract Manager.

## DELIVERY TIME AND COSTS

Unless otherwise noted in this Bid Solicitation or on the State-Supplied Price Sheet, all delivery times are thirty (30) Calendar Days after receipt of order (ARO) and prices for items in Quotes shall be submitted Freight On Board (F.O.B.) Destination (30 Calendar Days ARO/F.O.B.). The Contractor shall assume all costs, liability and responsibility for the delivery of merchandise in good condition to the State's Using Agency or designated purchaser. Thirty Calendar Days ARO/F.O.B. does not cover "spotting" but does include delivery on the receiving platform of the Using Agency at any destination in the State of New Jersey unless otherwise specified.  No additional charges will be allowed for any additional transportation costs resulting from partial shipments made at the Contractor’s convenience when a single shipment is ordered. The weights and measures of the State's Using Agency receiving the shipment shall govern. Collect on Delivery (C.O.D.) Terms are not permitted.

## AUTHORIZED DEALER AND/OR DISTRIBUTORS

Not applicable to this procurement.

## LIQUIDATED DAMAGES

Not applicable to this procurement.

## RETAINAGE

Not applicable to this procurement.

## ELECTRONIC PAYMENTS

With the award of this Contract, the successful Contractor(s) will be required to receive its payment(s) electronically. In order to receive payments via automatic deposit from the State of New Jersey, the Contractor must complete the EFT information within its NJSTART Vendor Profile.  Please refer to the QRG entitled “Vendor Profile Management – Company Information and User Access” for instructions.

## PROCUREMENT EFFICIENCY PROGRAM

- Quarterly Sales Reporting - The Contractor shall submit a Sales Report documenting all sales made under the Contract.  The Sales Report shall be submitted directly to Periscope no later than thirty (30) Calendar Days after the end of each calendar quarter. The calendar quarters will end March 31, June 30, September 30, and December 31. The Sales Report must contain the following information:

  - Complete and accurate details of all sales, credits, returns, refunds, and the like for the reporting quarter;

  - Purchasing entity;

  - Total of Procurement Efficiency Program Fee amount due for the reporting quarter;

  - Such other information as the State may reasonably request;

  - If no sales were made against this Contract during the reporting quarter, then a report shall be submitted showing zero sales and zero Procurement Efficiency Program Fee due; and

  - Quarterly Sales Reporting and remittance of the Procurement Efficiency Program Fee shall begin on the first calendar quarter starting after the effective date of the Contract.

- Procurement Efficiency Program Fee - For all purchases made under this Contract, that have been invoiced, the Contractor shall remit the Procurement Efficiency Program Fee in the amount of one percent (1%) of all Purchases to Periscope acting on behalf of the State of New Jersey.

- Remittance of the Procurement Efficiency Program Fee - On a quarterly basis, the Contractor shall remit the Procurement Efficiency Program Fee directly to Periscope no later than thirty (30) days after the end of each calendar quarter. The calendar quarters will end March 31, June 30, September 30, and December 31.  Failure to remit the Procurement Efficiency Program Fee timely and accurately may result in Contract termination as outlined in the “Termination of Contract” clause of the State of New Jersey Standard Terms and Conditions.

- NJSTART Marketplace Catalog Enablement - Contractor shall cooperate with State and/or Periscope as requested to upload catalog items and pricing consistent with this Contract. Contractor shall upload catalog within thirty (30) Calendar Days of the date of execution of this Contract. Failure to cooperate will result in the Contractor’s good and/or services not being represented in the NJSTART Marketplace. The Contractor shall ensure that the catalog complies with the scope, and terms and conditions of this Contract. Any identified deviation from the Contract must be corrected immediately. Any catalog that does not comply with the scope and terms and conditions of this Contract can lead to a breach of contract and will be escalated to the Division of Purchase and Property’s Contract Compliance and Audit Unit for review and possible action.

- Retention and Inspection of Records and Audit - The Contractor shall keep records of all sales made to all Using Agencies in sufficient detail to enable the State to determine the Procurement Efficiency Program Fee payable by the Contractor. The State and/or Periscope may examine and audit, at its own expense, Contractor’s sales records and Sales Reports for completeness and accuracy. If such examination reveals underpayment of the Procurement Efficiency Program Fee, the Contractor shall immediately pay to Periscope the amount of deficiency. If the examination reveals an underpayment of 5% or more, then the Contractor shall reimburse the State and/or Periscope for the cost of the audit.

# DATA SECURITY REQUIREMENTS – CONTRACTOR RESPONSIBILITY

Not applicable to this procurement.

# MODIFICATIONS TO THE STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS

## INSURANCE

Section 4.2 of the State Standard Terms and Conditions (SSTC) shall prevail.

# QUOTE EVALUATION AND AWARD

## RIGHT TO WAIVE

Pursuant to N.J.A.C. 17:12-2.7(d) the Director may waive minor irregularities or omissions in a Quote.  The Director reserves the right to waive a requirement provided that the requirement does not materially affect the procurement or the State's interests associated with the procurement.

## DIRECTOR’S RIGHT TO ACCEPT OR REJECT A QUOTE

The Director reserves the right to reject any or all Quotes, or to award in whole or in part if deemed to be in the best interest of the State to do so. The Director shall have authority to award Contracts in accordance with N.J.S.A. 52:34-12.

## RECIPROCITY FOR JURISDICTIONAL BIDDER PREFERENCE

In accordance with N.J.S.A. 52:32-1.4 and N.J.A.C. 17:12-2.13, the State of New Jersey will invoke reciprocal action against an out-of-State Bidder whose state or locality maintains a preference practice for its in-state Bidders.  The State of New Jersey will use the annual surveys compiled by the Council of State Governments, National Association of State Procurement Officials, or the National Institute of Governmental Purchasing or a State’s statutes and regulations to identify States having preference laws, regulations, or practices and to invoke reciprocal actions. The State of New Jersey may obtain additional information as it deems appropriate to supplement the stated survey information.

A Bidder may submit information related to preference practices enacted for a State or Local entity outside the State of New Jersey. This information may be submitted in writing as part of the Quote response, including name of the locality having the preference practice, as well as identification of the county and state, and should include a copy of the appropriate documentation, i.e., resolution, regulation, law, notice to Bidder, etc. It is the responsibility of the Bidder to provide documentation with the Quote or submit it to the Director within five (5) Business Days after the deadline for Quote submission. Written evidence for a specific procurement that is not provided to the Director within five (5) Business Days of the public Quote submission date may not be considered in the evaluation of that procurement, but may be retained and considered in the evaluation of subsequent procurements.

## CLARIFICATION OF QUOTE

After the Quote Opening Date, unless requested by the State as noted below, Bidder contact with the Procurement Bureau regarding this Bid Solicitation and the submitted Quote is not permitted.

After the Quotes are reviewed, one (1), some or all of the Bidders may be asked to clarify certain aspects of its Quote. A request for clarification may be made in order to resolve minor ambiguities, irregularities, informalities or clerical errors. Clarifications cannot correct any deficiencies, material omissions, or used to revise or modify a Quote.

The Director reserves the right to request that a Bidder explain, in detail, how the Quote price was determined.

## ORAL PRESENTATION

Not applicable to this procurement.

## TIE QUOTES

Tie Quotes will be awarded by the Director in accordance with N.J.A.C. 17:12-2.10.

## STATE'S RIGHT TO INSPECT BIDDER’S FACILITIES

The State reserves the right to inspect the Bidder’s establishment before making an award, for the purposes of ascertaining whether the Bidder has the necessary facilities for performing the Contract.

## STATE'S RIGHT TO CHECK REFERENCES

The State may also consult with clients of the Bidder during the evaluation of Quotes. Such consultation is intended to assist the State in making a Contract award that is most advantageous to the State.

## EVALUATION CRITERIA

The following evaluation criteria categories, not necessarily listed in order of significance, will be used to evaluate Quotes received in response to this Bid Solicitation. The evaluation criteria categories may be used to develop more detailed evaluation criteria to be used in the evaluation process.

### TECHNICAL EVALUATION CRITERIA

The following criteria will be used to evaluate and score Quotes received in response to this Bid Solicitation.  Each criterion will be scored, and each score multiplied by a predetermined weight to develop the Technical Evaluation Score:

- Personnel:  The qualifications and experience of the Bidder’s management, supervisory, and key personnel assigned to the Contract, including the candidates recommended for each of the positions/roles required;

- Experience of firm:  The Bidder’s documented experience in successfully completing Contract of a similar size and scope in relation to the work required by this Bid Solicitation; and

- Ability of firm to complete the Scope of Work based on its Technical Quote:  The Bidder’s demonstration in the Quote that the Bidder understands the requirements of the Scope of Work and presents an approach that would permit successful performance of the technical requirements of the Contract.

### PRICE EVALUATION

The Procurement Bureau will utilize a weighted consumption model to evaluate pricing. The pricing model will be date-stamped and entered into the record before Quote opening.

## QUOTE DISCREPANCIES

In evaluating Quotes, discrepancies between words and figures will be resolved in favor of words.  Discrepancies between Unit Prices and totals of Unit Prices will be resolved in favor of Unit Prices.  Discrepancies in the multiplication of units of work and Unit Prices will be resolved in favor of the Unit Prices.  Discrepancies between the indicated total of multiplied Unit Prices and units of work and the actual total will be resolved in favor of the actual total.  Discrepancies between the indicated sum of any column of figures and the correct sum thereof will be resolved in favor of the correct sum of the column of figures.

## NEGOTIATION

In accordance with N.J.S.A. 52:34-12(f) and N.J.A.C. 17:12-2-7, after evaluating Quotes, the Procurement Bureau may establish a competitive range and enter into negotiations with one (1) Bidder or multiple Bidders within this competitive range. The primary purpose of negotiations is to maximize the State’s ability to obtain the best value based on the mandatory requirements, evaluation criteria, and cost.  Multiple rounds of negotiations may be conducted with one (1) Bidder or multiple Bidders. Negotiations will be structured by the Procurement Bureau to safeguard information and ensure that all Bidders are treated fairly.

Negotiations will be conducted only in those circumstances where it is deemed by the Director to be in the State’s best interests and to maximize the State’s ability to get the best value.  Therefore, the Bidder is advised to submit its best technical and price Quote in response to this Bid Solicitation since the State may, after evaluation, make a Contract award based on the content of the initial submission.

If the Procurement Bureau contemplates negotiation, Quote prices will not be publicly read at the Quote opening.  Only the name and address of each Bidder will be publicly announced at the Quote opening.

## BEST AND FINAL OFFER (BAFO)

The Bidder is advised to submit its most competitive technical and price Quote in response to this Bid Solicitation. The State reserves the right to award a Contract based on the initial pricing submitted without requesting a Best and Final Offer (BAFO).  BAFOs will be conducted only in those circumstances where it is deemed by the Director to be in the State’s best interests and to maximize the State’s ability to get the best value.

The Procurement Bureau may invite one (1) Bidder or multiple Bidders to submit a BAFO. Said invitation will establish the time and place for submission of the BAFO.  The Division may conduct more than one (1) round of BAFO in order to attain the best value for the State. Any BAFO that does not result in more advantageous pricing to the State will not be considered, and the State will evaluate the Bidder’s most advantageous previously submitted pricing.

If the Procurement Bureau contemplates BAFOs, Quote prices will not be publicly read at the Quote opening.  Only the name and address of each Bidder will be publicly announced at the Quote opening.

## “REQUEST FOR REVISION” WITHIN NJSTART

The State may request a revision of the Bidder’s Quote within NJSTART. The Bidder shall respond to the “Request for Revision” only for the reason(s) identified by the State. Any changes made by a Bidder to the Quote other than as requested by the State shall be considered null and void.

## POOR PERFORMANCE

A Bidder with a history of performance problems may be bypassed for consideration of an award issued as a result of this Bid Solicitation. The following materials may be reviewed to determine Bidder performance:

- Contract cancellations for cause pursuant to State of New Jersey Standard Terms and Conditions Section 5.7(B);

- Information contained in Contractor performance records;

- Information obtained from audits or investigations conducted by a local, state or federal agency of the Bidder’s work experience;

- Current licensure, registration, and/or certification status and relevant history thereof; or

- Bidder’s status or rating with established business/financial reporting services, as applicable.

Bidders should note that this list is not exhaustive.

## RECOMMENDATION FOR AWARD

After the evaluation of the submitted Quotes is complete, the Procurement Bureau will recommend to the Director for award, the responsible Bidder(s) whose Quote, conforming to this Bid Solicitation, is most advantageous to the State, price and other factors considered.  The Director may accept, reject or modify the recommendation of the Procurement Bureau.

## CONTRACT AWARD

Contract award will be made with reasonable promptness by written notice to that responsible Bidder, whose Quote, conforming to this Bid Solicitation, is most advantageous to the State, price, and other factors considered.  Any or all Quotes may be rejected when the State Treasurer or the Director determines that it is in the public interest to do so.  Contract awards will be publicly posted under the relevant contract number and available on NJSTART.

The State intends to award one (1) Contract for all Price Lines (1 – 34) to one (1) responsive Bidder. Bidders must bid on Price Lines (1-33) to be considered for award.

Note: Bidders are not required to provide a Quote for Price Line 34. Price Line 34 is blacked out on the State-Supplied Price Sheet and shall only be utilized as an Agency use net line.

# GLOSSARY

## CROSSWALK

| Current DPP Template Term | Equivalent Statutory, Regulatory NJSTART and/or Legacy Term |
| --- | --- |
| Bid Solicitation | Request For Proposal (RFP)/Solicitation |
| Bid Amendment | Addendum |
| Contract | Master Blanket Purchase Order (Blanket/Blanket P.O.) |
| Contract Amendment | Change Order |
| Administrative Change Order | Change Order |
| Quote | Proposal/Bid |
| Contractor | Vendor/Contractor |
| Bidder | Bidder/Contractor |

## DEFINITIONS

Unless otherwise specified in the Bid Solicitation, the following definitions will be part of any Contract awarded, or order placed, as a result of this Bid Solicitation.  Note that not all definitions included here apply to all Bid Solicitations.

Acceptance – The written confirmation by the Using Agency that Contractor has completed a Deliverable according to the specified requirements.

Administrative Change Order – A unilateral administrative modification to the Contract in the NJSTART system by the Division. Administrative Change Orders are not to be considered formal Contract Amendments.

All-Inclusive Hourly Rate – An hourly rate comprised of all direct and indirect costs including, but not limited to: labor costs, overhead, fee or profit, clerical support, travel expenses, per diem, safety equipment, materials, supplies, managerial support and all documents, forms, and reproductions thereof.  This rate also includes portal-to-portal expenses as well as per diem expenses such as food.

Apparel – means any clothing, headwear, linens or fabric.

Apparel Contracts – include all purchases, rentals or other acquisition of apparel products by the State of New Jersey, including authorizations by the State of New Jersey for contractors to sell apparel products through cash allowances or vouchers issued by the State of New Jersey, and license agreements with a public body.

Apparel Production – includes the cutting and manufacturing of apparel products performed by the Contractor or by any Subcontractors, but not including the production of supplies or sundries such as buttons, zippers, and thread.

Approved Products – Those products that have been identified in Bid Solicitation as meeting Using Agency needs and confirmed as meeting product specifications.

Authorized Purchasers – Shall mean any State-Level government agency, department, office, instrumentality, division, unit or other entity in the Executive Branch (“State Purchasers”), Cooperative Purchasing Partners, and/or Intrastate Cooperative Purchasing Partners.

Best and Final Offer or BAFO – Pricing timely submitted by a Bidder upon invitation by the Procurement Bureau after Quote opening, with or without prior discussion or negotiation.

Bid or Bid Solicitation – The documents which establish the bidding and Contract requirements and solicits Quotes to meet the needs of the Using Agencies as identified herein, and includes the Bid Solicitation, State of New Jersey Standard Terms and Conditions (SSTC), State-Supplied Price Sheet, Attachments, and Bid Amendments.

Bid Amendment – Written clarification or revision to this Bid Solicitation issued by the Division. Bid Amendments, if any, will be issued prior to Quote opening.

Bid Opening Date – The date Quotes will be opened for evaluation and closed to further Quote submissions.

Bid Security - means a guarantee, in a form acceptable to the Division, that the bidder, if selected, will accept the contract as bid; otherwise, the bidder or, as applicable, its guarantor will be liable for the amount of the loss suffered by the State, which loss may be partially or completely recovered by the State in exercising its rights against the instrument of bid security.

Bidder – An entity offering a Quote in response to the Division’s Bid Solicitation.

Breach of Security – as defined by N.J.S.A. 56:8-161, means unauthorized access to electronic files, media, or data containing Personal Data that compromises the security, confidentiality, or integrity of Personal Data when access to the Personal Data has not been secured by encryption or by any other method or technology that renders the Personal Data unreadable or unusable.  Good faith acquisition of Personal Data by an employee or agent of the Provider for a legitimate business purpose is not a Breach of Security, provided that the Personal Data is not used for a purposes unrelated to the business or subject to further unauthorized disclosure.

Business Day – Any weekday, excluding Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Calendar Day – Any day, including Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Commercial off the Shelf Software or COTS – Software provided by Provider that is commercially available and that can be used with little or no modification.

Contract – The Contract consists of the State of NJ Standard Terms and Conditions (SSTC), the Bid Solicitation, the responsive Quote submitted by a responsible Bidder as accepted by the State, the notice of award, any Best and Final Offer, any subsequent written document memorializing the agreement, any modifications to any of these documents approved by the State and any attachments, Bid Amendment or other supporting documents, or post-award documents including Contract Amendments agreed to by the State and the Contractor, in writing.

Contract Amendment – An amendment, alteration, or modification of the terms of a Contract between the State and the Contractor(s). A Contract Amendment is not effective until it is signed and approved in writing by the person with the appropriate signing authority.  Contract Amendments are tracked using Change Orders in NJSTART. Please note that Administrative Change Orders (see definition above) are not considered Contract Amendments.

Contractor – The Bidder awarded a Contract resulting from this Bid Solicitation.

Contractor Intellectual Property – Any intellectual property that is owned by Contractor and contained in or necessary for the use of the Deliverables or which the Contractor makes available for the State to use as part of the work under the Contract.  Contractor Intellectual Property includes COTS or Customized Software owned by Contractor, Contractor’s technical documentation, and derivative works and compilations of any Contractor Intellectual Property.

Cooperative Purchasing Program – The Division’s intrastate program that provides procurement-related assistance to New Jersey local governmental entities and boards of education, State and county colleges and other public entities having statutory authority to utilize select State Contract s issued by the Division, pursuant to the provisions of N.J.S.A. 52:25-16.1 et seq.

Cooperative Purchasing Participants – These participants include quasi-State entities, counties, municipalities, school districts, volunteer fire departments, first aid squads, independent institutions of higher learning, County colleges, and State colleges.

Customized Software – COTS that is adapted or configured by Provider to meet specific requirements of the Authorized Purchaser that differ from the standard requirements of the base product. For the avoidance of doubt, “Customized Software” is not permitted to be sold to the State under the scope of this Contract.

Days After Receipt of Order (ARO) – The number of Calendar Days ‘After Receipt of Order’ in which the Using Agency will receive the ordered materials and/or services.

Dealer/Distributor – A Company authorized by a Bidder or Contractor as having the contractual ability to accept and fulfill orders and receive payments directly on behalf of the Contractor that is awarded a Contract.  Any authorized Dealer/Distributor must agree to all terms and conditions contained within the Bid Solicitation and must agree to provide all products and services in accordance with the Contract specifications, terms, conditions and pricing.

Deliverable – Goods, products, Services and Work Product that Contractor is required to deliver to the State under the Contract.

Director – Director, Division of Purchase and Property, Department of the Treasury, who by statutory authority is the Chief Contracting Officer for the State of New Jersey; or the Director’s designee.

Disabled Veterans’ Business - means a business which has its principal place of business in the State, is independently owned and operated and at least 51% of which is owned and controlled by persons who are disabled veterans or a business which has its principal place of business in this State and has been officially verified by the United States Department of Veterans Affairs as a service disabled veteran-owned business for the purposes of department contracts pursuant to federal law.  N.J.S.A. 52:32-31.2.

Disabled Veterans’ Business Set-Aside Contract – means a Contract for goods, equipment, construction or services which is designated as a Contract with respect to which bids are invited and accepted only from disabled veterans’ businesses, or a portion of a Contract when that portion has been so designated.  N.J.S.A. 52:32-31.2.

Discount – The standard price reduction applied by the Bidder to all items.

Division – The Division of Purchase and Property.

Equivalent Products – Products offered other than those identified as an Approved Product in this Bid Solicitation that meet the specifications herein. Equivalent Products will be evaluated to ensure that they meet all technical, nutritional, and packaging specifications herein as part of the Quote evaluation process.

Evaluation Committee – A group of individuals or a Division staff member assigned by the Director to review and evaluate Quotes submitted in response to this Bid Solicitation and recommend a Contract award to the Director.

Firm Fixed Price – A price that is all-inclusive of direct cost and indirect costs, including, but not limited to, direct labor costs, overhead, fee or profit, clerical support, equipment, materials, supplies, managerial (administrative) support, all documents, reports, forms, travel, reproduction and any other costs.

Hardware – Includes computer equipment and any Software provided with the Hardware that is necessary for the Hardware to operate.

Internet of Things (IoT) – the network of physical devices, vehicles, home appliances and other items embedded with electronics, software, sensors, actuators, and network connectivity which enables these objects to connect and exchange data.

Intrastate cooperative purchasing participants – refers to political subdivisions, volunteer fire departments and first aid squads, and independent institutions of higher education and school districts pursuant to N.J.S.A. 52:25-16.1 et seq., State and county colleges pursuant to N.J.S.A. 18A:64-60 and 18A:64A-25.9, quasi-State agencies and independent authorities pursuant to N.J.S.A. 52:27B-56.1, and other New Jersey public entities having statutory authority to utilize select State contracts issued by the Division.

Joint Venture – A business undertaking by two (2) or more entities to share risk and responsibility for a specific project.

Life cycle assessment – The comprehensive examination of a product’s environmental and economic aspects and potential impacts throughout its lifetime, including raw material extraction, transportation, manufacturing, use and disposal.

Life cycle cost – The amortized total cost of a product, including capital costs, installation costs, operating costs, maintenance costs, and disposal costs discounted over the lifetime of the product.

Master Blanket Purchase Order (Blanket/Blanket P.O.) – A Term Contract that allows repeated purchases from an awarded contract.

Materials in Solid Waste – Material found in the various components of the solid waste stream. General, solid waste has several components, such as municipal solid waste (MSW), construction and demolition debris (C&D), and nonhazardous industrial waste.  Under RCRA Section 6002, EPA considers materials recovered from any component of the solid waste stream when designating items containing Recovered Materials.

May – Denotes that which is permissible or recommended, not mandatory.

Mobile Device – means any device used by Provider that can move or transmit data, including but not limited to laptops, hard drives, and flash drives.

Must – Denotes that which is a mandatory requirement.

Net Purchases – means the total gross purchases, less credits, taxes, regulatory fees and separately stated shipping charges not included in unit prices, made by Intrastate Cooperative Purchasing Participants, regardless of whether or not NJSTART is used as part of the purchase process.

No Bid – The Bidder is not submitting a price Quote for an item on a price line.

No Charge – The Bidder will supply an item on a price line free of charge.

Non-Public Data – means data, other than Personal Data, that is not subject to distribution to the public as public information. Non-Public Data is data that is identified by the State as non-public information or otherwise deemed to be sensitive and confidential by the State because it contains information that is exempt by statute, ordinance or administrative rule from access by the general public as public information.

Percentage Discount or Markup – The percentage bid applied as a Markup or a Discount to a firm, fixed price contained within a price list/catalog.

Performance Security – means a guarantee, executed subsequent to award, in a form acceptable to the Division, that the successful bidder will complete the contract as agreed and that the State will be protected from loss in the event the contractor fails to complete the contract as agreed.

Personal Data means –

“Personal Information” as defined in N.J.S.A. 56:8-161, means an individual’s first name or first initial and last name linked with any one or more of the following data elements: (1) Social Security number, (2) driver’s license number or State identification card number or (3) account number or credit or debit card number, in combination with any required security code, access code, or password that would permit access to an individual’s financial account.  Dissociated data that, if linked would constitute Personal Information is Personal Information if the means to link the dissociated were accessed in connection with access to the dissociated data.  Personal Information shall not include publicly available information that is lawfully made available to the general public from federal, state or local government records, or widely distributed media; and/or

Data, either alone or in combination with other data, that includes information relating to an individual that identifies the person or entity by name, identifying number, mark or description that can be readily associated with a particular individual and which is not a public record, including but not limited to, Personally Identifiable Information (PII); government-issued identification numbers (e.g., Social Security, driver’s license, passport); Protected Health Information (PHI) as that term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 and defined below; and Education Records, as that term is defined in the Family Educational Rights and Privacy Act (FERPA), 20 U.S.C. § 1232g.

Personally Identifiable Information or PII - as defined by the U.S. Department of Commerce, National Institute of Standards and Technology, means any information about an individual maintained by an agency, including (1) any information that can be used to distinguish or trace an individual’s identity, such as name, social security number, date and place of birth, mother’s maiden name, or biometric records; and (2) any other information that is linked or linkable to an individual, such as medical, educational, financial, and employment information.

Post-Consumer Material – Material or finished product that has served its intended use and has been diverted or recovered from waste destined for disposal, having completed its life as a consumer item.  Post-Consumer Materials are part of the broader category of Recovered Materials.

Pre-Consumer Material – Materials generated in manufacturing and converting processes, such as manufacturing scrap and trimmings/cuttings.

Price List/Catalog – A document published by a manufacturer, resellers, Dealers, or Distributors that typically contains product descriptions, a list of products with fixed prices to which a Bidder’s percentage discount or markup bid is applied.

Procurement Bureau (Bureau) – The Division unit responsible for the preparation, advertisement, and issuance of Bid Solicitations, for the tabulation of Quotes and for recommending award(s) of Contract(s) to the Director and the Deputy Director.

Project – The undertakings or services that are the subject of this Bid Solicitation.

Protected Health Information or PHI – has the same meaning as the term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 means Individually Identifiable Health Information (as defined below) transmitted by electronic media, maintained in electronic media, or transmitted or maintained in any other form or medium. PHI excludes education records covered by the Family Educational Rights and Privacy Act (FERPA), as amended, 20 U.S.C. 1232g, records described at 20 U.S.C. 1232g(a)(4)(B)(iv) and employment records held by a covered entity in its role as employer. The term “Individually Identifiable Health Information” has the same meaning as the term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 and means information that is a subset of Protected Health Information, including demographic information collected from an individual, and (1) is created or received by a health care provider, health plan, employer or health care clearinghouse; and (2) relates to the past, present or future physical or mental health or condition of an individual; the provision of health care to an individual; or the past, present or future payment for the provision of health care to an individual; and (a) that identifies the individual; or (b) with respect to which there is a reasonable basis to believe the information can be used to identify the individual.

Purchases - means the total gross purchases, less credits, taxes, regulatory fees and separately stated shipping charges not included in unit prices, made regardless of whether or not NJSTART is used as part of the purchase process.

Quasi-State Agency – is any agency, commission, board, authority or other such governmental entity which is established and is allocated to a State department or any bi-state governmental entity of which the State of New Jersey is a member, as defined in N.J.S.A. 52:27B-56.1, provided that any sale to any such bi-state governmental entity is for use solely within the State of New Jersey.

Quick Reference Guides (QRGs) – Informational documents which provide Vendors with step-by-step instructions to navigate the NJSTART eProcurement System. QRGs are available on the NJSTART Vendor Support Page.

Quote – Bidder’s timely response to the Bid Solicitation including, but not limited to, technical Quote, price Quote including Best and Final Offer, any licenses, forms, certifications, clarifications, negotiated documents, and/or other documentation required by the Bid Solicitation.

Quote Opening Date – The date Quotes will be opened for evaluation and closed to further Quote submissions.

Recovered Material – Waste material and byproduct that have been recovered or diverted from solid waste, but does not include materials and byproducts generated from, and commonly reused within, an original manufacturing process.

Recycling – The series of activities, including collection, separation, and processing, by which products or other materials are recovered from the solid waste stream for use in the form of raw materials in the manufacture of new products other than fuel for producing heat or power by combustion.

Recyclability – The ability of a product or material to be recovered from, or otherwise diverted from, the solid waste stream for the purpose of recycling.

Retainage – The amount withheld from the Contractor payment that is retained and subsequently released upon satisfactory completion of performance milestones by the Contractor.

Revision – A response to a BAFO request or a requested clarification of the Bidder’s Quote.

RMAN – Recovered Materials Advisory Notices provide purchasing guidance and recommendations for Recovered and Post-Consumer Material content levels for designated items.

Security Incident – means the potential access by non-authorized person(s) to Personal Data or Non-Public Data that the Provider believes could reasonably result in the use, disclosure, or access or theft of State’s unencrypted Personal Data or Non-Public Data within the possession or control of the Provider. A Security Incident may or may not turn into a Breach of Security.

Services – Includes, without limitation (i) Information Technology (IT) professional services, (ii) Software and Hardware-related services, including without limitation, installation, configuration, and training, and (iii) Software and Hardware maintenance and support and/or Software and Hardware technical support services.

Shall – Denotes that which is a mandatory requirement.

Should – Denotes that which is permissible or recommended, not mandatory.

Small Business – Pursuant to N.J.S.A. 52:32-19, N.J.A.C. 17:13-1.2, and N.J.A.C. 17:13-2.1, “small business” means a business that meets the requirements and definitions of “small business” and has applied for and been approved by the New Jersey Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit as (i) independently owned and operated, (ii) incorporated or registered in and has its principal place of business in the State of New Jersey; (iii)  has 100 or fewer full-time employees; and has gross revenues falling in one (1) of the six (6) following categories:

For goods and services - (A) 0 to $500,000 (Category I); (B) $500,001 to $5,000,000 (Category II); and (C) $5,000,001 to $12,000,000, or the applicable federal revenue standards established at 13 CFR 121.201, whichever is higher (Category III).

For construction services: (A) 0 to $3,000,000 (Category IV); (B) gross revenues that do not exceed 50 percent of the applicable annual revenue standards established at 13 CFR 121.201 (Category V); and (C) gross revenues that do not exceed the applicable annual revenue standards established at CFR 121.201, (Category VI).

Small Business Set-Aside Contract – means (1) a Contract for goods, equipment, construction or services which is designated as a Contract with respect to which bids are invited and accepted only from small businesses, or (2) a portion of a Contract when that portion has been so designated.”  N.J.S.A. 52:32-19.

Software – means, without limitation, computer programs, source codes, routines, or subroutines supplied by Provider, including operating software, programming aids, application programs, application programming interfaces and software products, and includes COTS, unless the context indicates otherwise.

Software as a Service or SaaS – means the capability provided to a purchaser to use the Provider’s applications running on a cloud infrastructure. The applications are accessible from various client devices through a thin client interface such as a Web browser (e.g., Web-based email) or a program interface. The purchaser does not manage or control the underlying cloud infrastructure, including network, servers, operating systems, storage or even individual application capabilities, with the possible exception of limited user-specific application configuration settings.

State – The State of New Jersey.

State Confidential Information – shall consist of State Data and State Intellectual Property  supplied by the State, any information or data gathered by the Contractor in fulfillment of the Contract and any analysis thereof (whether in fulfillment of the Contract or not).

State Contract Manager or SCM – The individual, responsible for the approval of all deliverables, i.e., tasks, sub-tasks or other work elements in the Scope of Work.  The SCM cannot direct or approve a Contract Amendment.

State Data – means all data and metadata created or in any way originating with the State, and all data that is the output of computer processing of or other electronic manipulation of any data that was created by or in any way originated with the State, whether such data or output is stored on the State’s hardware, the Provider’s hardware or exists in any system owned, maintained or otherwise controlled by the State or by the Provider.  State Data includes Personal Data and Non-Public Data.

State Intellectual Property – Any intellectual property that is owned by the State.  State Intellectual Property includes any derivative works and compilations of any State Intellectual Property.

State Price Sheet or State-Supplied Price Sheet – the bidding document created by the State and attached to this Bid Solicitation on which the Bidder submits its Quote pricing as is referenced and described in the Bid Solicitation.

Subtasks – Detailed activities that comprise the actual performance of a task.

Subcontractor – An entity having an arrangement with a Contractor, whereby the Contractor uses the products and/or services of that entity to fulfill some of its obligations under its State Contract, while retaining full responsibility for the performance of all  Contractor's obligations under the Contract, including payment to the Subcontractor.  The Subcontractor has no legal relationship with the State, only with the Contractor.

Task – A discrete unit of work to be performed.

Third Party Intellectual Property – Any intellectual property owned by parties other than the State or Contractor and contained in or necessary for the use of the Deliverables.  Third Party Intellectual Property includes COTS owned by Third Parties, and derivative works and compilations of any Third Party Intellectual Property.

Unit Cost or Unit Price – All-inclusive, firm fixed price charged by the Bidder for a single unit identified on a price line.

US CERT – United States Computer Emergency Readiness Team.

USEPA – United States Environmental Protection Agency.

Using Agency[ies] – A State department or agency, a quasi-State governmental entity, or an Intrastate Cooperative Purchasing participant, authorized to purchase products and/or services under a Contract procured by the Division.

Vendor – Either the Bidder or the Contractor.

Work Product – Every invention, modification, discovery, design, development, customization, configuration, improvement, process, Software program, work of authorship, documentation, formula, datum, technique, know how, secret, or intellectual property right whatsoever or any interest therein (whether patentable or not patentable or registerable under copyright or similar statutes or subject to analogous protection) that is specifically made, conceived, discovered, or reduced to practice by Contractor or Contractor’s Subcontractors or a third party engaged by Contractor or its Subcontractor pursuant to the Contract Notwithstanding anything to the contrary in the preceding sentence, Work Product does not include State Intellectual Property, Contractor Intellectual Property or Third Party Intellectual Property.

## CONTRACT-SPECIFIC DEFINITIONS

Biannual – Twice in a calendar year.

Biweekly – Twice per week.

Bimonthly – Twice per month.

DLWD – The Department of Labor and Workforce Development.

Eight (8) Hour Work Day – Monday through Friday, beginning anywhere from 6:00AM to 10:00AM and lasting eight (8) hours, exclusive of State holidays.

Emergency Service Calls – Emergency calls are those service calls when the work consists of correcting failures that consist of an immediate danger to personnel or property involving any general construction, electrical or plumbing work.

Federal Communications Commission (FCC) – The Federal Agency that regulates communications by radio, television, wire, internet, wi-fi, satellite, and cable across the United States.

Field Glasses – Binoculars specifically designed for outdoor use.

Guy Wire – A tensioned cable that supports a free-standing structure.

Monthly Task Rate – The rate paid to the Vendor {Contractor} to perform the services specified by Bid Solicitation Section 3.2 (Large Transmission Facilities – Up to 64 Hours Monthly) and Bid Solicitation Section 3.3 (Small Transmission Facilities – Up to 12 Hours Monthly) during the Eight (8) Hour Work Day.  Work not performed during the Eight (8) Hour Work Day, or exceeding the specified maximum hours for the respective facility type, will be compensated by the corresponding hourly rate(s).

NJPBA – New Jersey Public Broadcasting Authority.

Overtime – Any work performed outside the regular Eight (8) Hour Work Day.

Pre-Staged Assets - critical resources and information gathered ahead of time to save time during a recovery/incident.

Straight Time – Any work performed outside the normal tasks and/or hours required for each Transmission Facility during the regular Eight (8) Hour Work Day. Straight Time hours are based on an eight (8) hour work day starting between 6:00 a.m and 10:00 a.m. 

Transmission Facility -  Anyone (1) of the 13 television Transmission Facilities located throughout the State of New Jersey operated by the NJPBA.

Transmission Line Dehydration Systems – A system of dehydrating gas in a continuous supply through a pipeline system.

TOC – Trenton Operations Center

TV Transmitter – Equipment that generates and transmits electromagnetic waves relaying messages or signals to a TV that can be either analog or digital.

Upcharge Rate – The percentage over the current prevailing wage as listed on the DLWD’s website including, but not limited to, direct labor costs, overhead, fee or profit, clerical support, equipment, materials, supplies, managerial (administrative) support, all documents, reports, forms, travel, reproduction and any other costs. No additional fees or costs shall be paid by the State unless there is a change in the scope of work.

UPS (Uninterruptible Power Supply) Alarm – An audible alarm signaling malfunction.

Visual Maintenance Inspection – A visual assessment that verifies functioning units and systems.

Weekend and Holiday Time – Any work done on a weekend or State holiday.