| Bid Solicitation # | 25DPP01071 |
| --- | --- |
| T2709 – Wastewater Treatment Plant Operator – Greystone Park Psychiatric Hospital |  |

|  | Date | Time |
| --- | --- | --- |
| Due Date For Electronic Questions Refer to Bid Solicitation Section 2.1 for more information. | 10/16/24 | 2:00 PM |
| Optional Pre-Quote Submission Conference Refer to Bid Solicitation Section 2.5 for more information. | 10/2/24 | 10:00 AM |
| Mandatory Site Visit Refer to Bid Solicitation Section 2.4 for more information. | 10/8/24 | 11:00 AM |
| Quote Opening Date Refer to Bid Solicitation Section 3 for more information. | 11/6/24 | 2:00 PM |

Dates are subject to change.  All times contained in the Bid Solicitation refer to Eastern Time.

All changes will be reflected in Bid Amendments to the Bid Solicitation posted on www.njstart.gov.

| SET-ASIDES |  |
| --- | --- |
| Small Business Set-Aside For Goods and Services: ☒ I ☒ II ☒ III For Construction: ☐ IV ☐ V ☐ VI | ☐ Not Applicable ☐ Entire Contract ☐ Partial Contract ☒ Subcontracting Only ☐ Preference |
| Disabled Veteran-Owned Business Set-Aside | ☒ Not Applicable ☐ Entire Contract ☐ Partial Contract ☐ Subcontracting Only ☐ Preference |

| Bid Solicitation Issued By: State of New Jersey Department of the Treasury Division of Purchase and Property Trenton, New Jersey 08625-0230 | On Behalf of: State of New Jersey NJ Department of Health Greystone Psychiatric Hospital |
| --- | --- |

Date:  9/20/2024

TABLE OF CONTENTS

1	INTRODUCTION AND SUMMARY OF THE BID SOLICITATION	1

1.1	PURPOSE AND INTENT	1

1.2	BACKGROUND	1

1.3	CONTRACT AMOUNT	2

1.4	ORDER OF PRECEDENCE OF CONTRACTUAL TERMS	2

1.5	INTRASTATE COOPERATIVE PURCHASING	2

2	PRE-QUOTE SUBMISSION INFORMATION	3

2.1	ELECTRONIC QUESTION AND ANSWER PERIOD	3

2.2	EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)	3

2.3	BID AMENDMENTS	3

2.4	MANDATORY SITE VISIT	3

2.5	OPTIONAL PRE-QUOTE CONFERENCE	3

2.6	PRE-QUOTE DOCUMENT REVIEW	4

3	QUOTE SUBMISSION REQUIREMENTS	5

3.1	QUOTE SUBMISSION	5

3.2	BIDDER RESPONSIBILITY	5

3.3	ANNOUNCEMENT OF QUOTE INFORMATION	5

3.4	QUOTE ERRORS	5

3.5	QUOTE WITHDRAWAL PRIOR TO QUOTE OPENING	5

3.6	QUOTE WITHDRAWAL AFTER QUOTE OPENING, BUT PRIOR TO CONTRACT AWARD	5

3.7	JOINT VENTURE	6

3.8	SMALL BUSINESS SET-ASIDE CONTRACTS	6

3.9	DISABLED VETERANS’ BUSINESS SET-ASIDE CONTRACT	6

3.10	BID SECURITY	6

3.11	BIDDER ADDITIONAL TERMS SUBMITTED WITH THE QUOTE	6

3.12	QUOTE CONTENT	6

3.13	FORMS, REGISTRATIONS AND CERTIFICATIONS TO BE SUBMITTED WITH QUOTE	6

3.13.1	OFFER AND ACCEPTANCE PAGE	7

3.13.2	OWNERSHIP DISCLOSURE FORM	7

3.13.3	DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN FORM	7

3.13.4	DISCLOSURE OF INVESTIGATIONS AND OTHER ACTIONS INVOLVING BIDDER FORM	7

3.13.5	MACBRIDE PRINCIPLES FORM	7

3.13.6	SERVICE PERFORMANCE WITHIN THE UNITED STATES	8

3.13.7	CONFIDENTIALITY/COMMITMENT TO DEFEND	8

3.13.8	SUBCONTRACTOR UTILIZATION PLAN	8

3.13.9	RESERVED	9

3.13.10	AFFIRMATIVE ACTION	9

3.13.11	RESERVEd	9

3.13.12	STATE OF NEW JERSEY SECURITY DUE DILIGENCE THIRD-PARTY INFORMATION SECURITY QUESTIONNAIRE	9

3.13.13	BUSINESS REGISTRATION	9

3.13.14	Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Pursuant to P.L.2022, c3	9

3.14	TECHNICAL QUOTE	9

3.15	BIDDER QUOTE OVERVIEW FORM	10

3.16	BIDDER DATA SHEET/FORM	10

3.17	MANAGEMENT OVERVIEW	10

3.18	CONTRACT MANAGEMENT	10

3.19	ORGANIZATIONAL EXPERIENCE	10

3.20	ORGANIZATION CHARTS	10

3.21	RESUMES	10

3.22	EXPERIENCE WITH CONTRACTS OF SIMILAR SIZE AND SCOPE	11

3.23	FINANCIAL CAPABILITY OF THE BIDDER	11

3.24	STATE-SUPPLIED PRICE SHEET INSTRUCTIONS	11

3.24.1	USE OF “NO BID” VERSUS “NO CHARGE” ON THE STATE-SUPPLIED PRICE SHEET	12

3.25	ORAL PRESENTATIONS	12

4	SCOPE OF WORK	13

4.1	GENERAL REQUIREMENTS	13

4.2	WASTEWATER PLANT OVERVIEW	13

4.3	NJDEP PERMIT OVERVIEW	13

4.4	STAFFING REQUIREMENTS	14

4.5	LICENSURE REQUIREMENTS	14

4.6	CONTRACT KICKOFF RESPONSIBILITIES	14

4.6.1	INITIAL INSPECTION	14

4.6.2	INITIAL MAINTENANCE PLAN	14

4.7	OPERATIONS	15

4.7.1	SCHEDULE OF DAILY OPERATIONS	16

4.7.2	SLUDGE AND RESIDUAL DISPOSAL	16

4.7.3	SLUDGE DISPOSAL AND SEWER OVERFLOWS	16

4.7.4	GROUNDS MAINTENANCE	17

4.7.5	REGULATORY REPORTING AND RECORD KEEPING REQUIREMENTS	17

4.7.6	NJDEP REPORTING	17

4.7.7	OPERATIONAL REPORTING	17

4.7.8	LICENSES AND PERMITS	18

4.7.9	LABORATORY REQUIREMENTS	18

4.7.10	ON SITE LABORATORY REQUIREMENTS	18

4.8	CHEMICALS	18

4.9	INSPECTIONS	19

4.10	EQUIPMENT MAINTENANCE, REPAIRS, REPLACEMENT, AND UPGRADES	19

4.10.1	ROUTINE EQUIPMENT Maintenance, REPAIRS, OR REPLACEMENT	19

4.10.2	EMERGENCY EQUIPMENT MAINTENANCE, REPAIRS, OR REPLACEMENT	19

4.10.3	SPECIAL PROJECTS	20

4.10.4	CONTRACTOR PERSONNEL	20

4.10.5	WORK SCHEDULE	21

4.10.6	EMERGENCY CALL-INS	21

4.10.7	ENERGY STAR REQUIREMENTS	21

4.10.8	CONTRACT EXPIRATION AND/OR TERMINATION REQUIREMENTS	21

4.10.9	VIOLATIONS	22

5	GENERAL CONTRACT TERMS	23

5.1	CONTRACT TERM AND EXTENSION OPTION	23

5.2	CONTRACT TRANSITION	23

5.3	PERFORMANCE SECURITY	23

5.4	OWNERSHIP OF MATERIAL	23

5.5	SUBSTITUTION OF STAFF	24

5.6	DELIVERY TIME AND COSTS	24

5.7	AUTHORIZED DEALER AND/OR DISTRIBUTORS	24

5.8	LIQUIDATED DAMAGES	24

5.9	ELECTRONIC PAYMENTS	24

5.10	PROCUREMENT EFFICIENCY PROGRAM	24

6	DATA SECURITY REQUIREMENTS – CONTRACTOR RESPONSIBILITY	26

7	MODIFICATIONS TO THE STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS	27

7.1	INDEMNIFICATION	27

7.2	INSURANCE	27

7.2.1	PROFESSIONAL LIABILITY INSURANCE	27

7.2.2	CYBER BREACH INSURANCE	27

7.2.3	LIMITATION OF LIABILITY OPTION	27

8	QUOTE EVALUATION AND AWARD	28

8.1	RIGHT TO WAIVE	28

8.2	DIRECTOR’S RIGHT TO ACCEPT OR REJECT A QUOTE	28

8.3	RECIPROCITY FOR JURISDICTIONAL BIDDER PREFERENCE	28

8.4	CLARIFICATION OF QUOTE	28

8.5	ORAL PRESENTATION	28

8.6	TIE QUOTES	28

8.7	STATE'S RIGHT TO INSPECT BIDDER’S FACILITIES	28

8.8	STATE'S RIGHT TO CHECK REFERENCES	28

8.9	EVALUATION CRITERIA	28

8.9.1	TECHNICAL EVALUATION CRITERIA	29

8.9.2	PRICE EVALUATION	29

8.10	QUOTE DISCREPANCIES	29

8.11	NEGOTIATION	29

8.12	BEST AND FINAL OFFER (BAFO)	29

8.13	“REQUEST FOR REVISION” WITHIN NJSTART	29

8.14	POOR PERFORMANCE	30

8.15	RECOMMENDATION FOR AWARD	30

8.16	CONTRACT AWARD	30

9	GLOSSARY	31

9.1	CROSSWALK	31

9.2	DEFINITIONS	31

ATTACHMENT 1 – State of New Jersey Standard Terms and Conditions 2/8/24

ATTACHMENT 2 – Standard Procurement Forms Packet

ATTACHMENT 3 –New Jersey Pollutant Discharge Elimination System - NJ-0026689

ATTACHMENT 4 – Sludge Quality Category 2 General Permit - NJG0212032

ATTACHMENT 5 – Quote Overview Form

ATTACHMENT 6 – Bidder Data Sheet

# INTRODUCTION AND SUMMARY OF THE BID SOLICITATION

This Bid Solicitation is issued by the Department of the Treasury, Division of Purchase and Property (Division), Procurement Bureau, on behalf of the State of New Jersey Department of Health – Greystone Psychiatric Hospital. Quotes submitted in response to this Bid Solicitation shall be through the State of New Jersey’s eProcurement system, NJSTART. Bidders are advised to thoroughly read all sections of this Bid Solicitation and follow all instructions.

Bidders are strongly encouraged to visit the NJSTART Vendor Support Page, which contains Quick Reference Guides (QRGs), supporting videos, a glossary of NJSTART terms, and helpdesk contact information. Bidders should utilize the QRGs before attempting to submit a Quote through NJSTART. It is the Bidder’s responsibility to ensure that the Quote and attachments have been properly submitted.  Inquiries concerning the use of NJSTART may be directed to njstart@treas.nj.gov. The Division will not respond to substantive questions related to the Bid Solicitation or any other Contract via this email address.

## PURPOSE AND INTENT

The purpose of this Bid Solicitation is to solicit Quotes for the operation, maintenance, inspection, repair, and monitoring of the Wastewater Treatment Plant (WWTP) located at the Greystone Park Psychiatric Hospital (GPH), including the timely submission of all required documentation as required by the State of New Jersey Department of Environmental Protection (DEP) permits governing the WWTP operation.

It is the intent of the State to award a Contract to that responsible Bidder whose Quote, conforming to this Bid Solicitation is most advantageous to the State of New Jersey (State), price and other factors considered. The State may award any or all price lines. The State, however, reserves the right to separately procure individual requirements that are the subject of the Contract during the Contract term, when deemed by the Director of the Division (Director) to be in the State’s best interest.

This Bid Solicitation consists of eight (8) price lines, grouped and itemized as follows:

| Price Lines | Descriptions |
| --- | --- |
| 1 | Waste Water Treatment Plant Operator |
| 2 | Emergency Repairs and/or Maintenance exceeding $250.00 - Overtime |
| 3 | Emergency Repairs and/or Maintenance exceeding $250.00 – Premium Time |
| 4 | Special Projects/Repairs |
| 5 | Permits/Certifications/License – (Reimbursement Line) |
| 6 | Laboratory Services – (Reimbursement Line) |
| 7 | Chemicals – (Reimbursement Line) |
| 8 | Equipment and Part Replacement – (Reimbursement Line) |

Note: Bidders are not required to provide a Quote for Price Lines 4, 5, 6, 7, and 8. Price Lines 4, 5, 6, 7, 8 and 8 are Agency Use Only net lines, and will be automatically added to the awarded Contract.

Bidders must bid on price lines (1 – 3, Years 1 -3) to be considered for award. Failure to submit pricing on price lines (1 – 3, Years 1 – 3) will result in the Bidder’s Quote being deemed nonresponsive.

Quotes will be evaluated in accordance with Bid Solicitation Section 8.0, Quote Evaluation and Award. The State intends to award one (1) Contract for all price lines.

This Bid Solicitation has been designated as a Small Business set-aside for subcontracting only. Please refer to Bid Solicitation Section 3.13.8.1, Small Business Subcontracting Set-Aside Contract.

The State of New Jersey Standard Terms and Conditions (SSTCs) included with this Bid Solicitation will apply to all Contracts made with the State.  These terms are in addition to the terms and conditions set forth in this Bid Solicitation and should be read in conjunction with them unless the Bid Solicitation specifically indicates otherwise.

## BACKGROUND

This is a reprocurement of the services under T2709 – Wastewater Treatment Plant Operator – Greystone Park Psychiatric Hospital.  Bidders interested in reviewing the expiring Contract’s specifications and pricing information may do so by following the instruction below.  Bidders should not rely upon or use data or information from the expiring Contract when preparing a response to this Bid Solicitation as this Bid Solicitation addresses the State’s current requirements.

- Go to: www.njstart.gov

- Select “Active Blankets”

- In the search bar, select “Blankets” from the drop down menu

- Enter the T2709 and click “”

- The expiring Contract list will appear under “Results”

## CONTRACT AMOUNT

The estimated amount of the Contract, if stated, shall not be construed as either the maximum or minimum amount which the State shall be obliged to order.

## ORDER OF PRECEDENCE OF CONTRACTRUAL TERMS

The Contract awarded, and the entire agreement between the parties, as a result of this Bid Solicitation shall consist of:  (1) the final Bid Solicitation, (2) the State of New Jersey Standard Terms and Conditions, (3) the Quote, and if applicable (4) any Bidder responses to clarifications; (5) a Bidder’s Best and Final Offer, (6) other negotiated document, and/or (7) third party document. In the event of a conflict in the terms and conditions among the documents comprising this Contract, the order of precedence, for purposes of interpretation thereof, shall be as listed from highest ranking to lowest ranking as noted above.

Any other terms or conditions, not included with the Bidder’s Quote and accepted by the State, shall not be incorporated into the Contract awarded. Any references to external documentation, including those documents referenced by a URL, including without limitation, technical reference manuals, technical support policies, copyright notices, additional license terms, etc., are subject to the terms and conditions of the Bid Solicitation and the State of New Jersey Standard Terms and Conditions. In the event of any conflict between the terms of a document incorporated by reference, the terms and conditions of the Bid Solicitation and the State of New Jersey Standard Terms and Conditions shall prevail.

## INTRASTATE COOPERATIVE PURCHASING

Not applicable to this procurement.

# PRE-QUOTE SUBMISSION INFORMATION

The Bidder assumes sole responsibility for the complete effort required in submitting a Quote and for reviewing the Quote submission requirements and the Scope of Work requirements.

## ELECTRONIC QUESTION AND ANSWER PERIOD

The Division will electronically accept questions and inquiries from all potential Bidders via the “Q&A” Tab of the Bid Solicitation in NJSTART.  Questions should be directly tied to a Bid Solicitation Section, the State-Supplied Price Sheet, Form or Attachment; and should reference the specific Bid Solicitation Section or document to which it relates.

The cut-off date for electronic questions and inquiries relating to this Bid Solicitation is indicated on the Bid Solicitation cover page. In the event that questions are posed by Bidders, answers to such questions will be issued by Bid Amendment.

A Bidder shall not contact the Using Agency and/or the Procurement Specialist directly, in person, by telephone or by e-mail, concerning this Bid Solicitation, prior to Contract award.

## EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)

Questions regarding the State of New Jersey Standard Terms and Conditions and exceptions to mandatory requirements MUST be posed during the Electronic Question and Answer period and shall contain the Bidder’s suggested changes and the reason(s) for the suggested change(s).

## BID AMENDMENTS

In the event that it becomes necessary to clarify or revise this Bid Solicitation, such clarification or revision will be by Bid Amendment.  Any Bid Amendment will become part of this Bid Solicitation and part of any Contract awarded. Bid Amendments will be posted as a file attachment on the “Summary” page of the Bid Solicitation in NJSTART after the cut-off date.

There are no designated dates for release of Bid Amendments.  Those Bidders who are on the bid holder list either through commodity code registration in NJSTART or by acknowledging the bid in NJSTART should receive notification of any Bid Amendment(s). If a Bidder is not on the bid holder list, Bid Amendments are still viewable on the “Summary” page of the Bid Solicitation in NJSTART.

It is the sole responsibility of the Bidder to be knowledgeable of all Bid Amendments related to this procurement. An interested Bidder should check the NJSTART “Open Bids” Tab on a daily basis to ensure review of the most updated information.

## MANDATORY SITE VISIT

A Mandatory Site Visit has been scheduled for this procurement on the date and time indicated on the Bid Solicitation cover sheet.  The location of the Mandatory Site Visit will be as follows:

Greystone Park Psychiatric Hospital

59 Koch Avenue

Morris Plains, NJ 07950

An attendee may represent only one (1) potential bidding entity.  The Mandatory Site Visit may be recorded.

A Quote from any Bidder that was not represented or failed to register properly at the Mandatory Site Visit will be rejected.

No questions or inquiries will be accepted or answered during the mandatory/optional site visit.  All questions must be submitted through the Questions and Answer process.

## OPTIONAL PRE-QUOTE CONFERENCE

The date and time of the Optional Pre-Quote Conference is indicated on the Bid Solicitation cover sheet.  Attendees may attend the Optional Pre-Quote Conference with the following call-in details:

Join the meeting now

Meeting ID: 287 742 828 726

Passcode: 5UCLoN

To call in, audio only, to the optional Pre-Quote Conference:

United States: +1 856-338-7074

Phone Conference ID: 245 998 441#

The Optional Pre-Quote Conference may be recorded.

The purpose of the Optional Pre-Quote Conference is to address procedural questions regarding the Bid Solicitation and Bidder Quote Submission Requirements only.  No substantive questions regarding the Bid Solicitation Scope of Work will be accepted or answered during the pre-Quote conference.  All questions are to be submitted during the Electronic Question and Answer Period.

## PRE-QUOTE DOCUMENT REVIEW

The following are publicly available documents that a Bidder needs to review in order to prepare and submit accurate and comprehensive Quotes:

- NJPDES (New Jersey Pollutant Discharge Elimination System) - NJ-0026689

- S2G (Sludge Quality Category 2 General Permit) - NJG0212032

The listed documents are specified as Attachments 3 and 4. Please refer to Bid Solicitation Section 4.3 NJ Permit Overview.

# QUOTE SUBMISSION REQUIREMENTS

## QUOTE SUBMISSION

In order to be considered for award, the Quote must be received electronically by the Division’s Proposal Review Unit, through NJSTART, by the required date and time.

The date and time of the Quote opening are indicated on the Bid Solicitation cover sheet and on the “Summary” Tab of the Bid Solicitation webpage within NJSTART.  If the Quote opening deadline has been revised, the new Quote opening deadline will be shown on the posted Bid Amendment and on the “Summary” Tab of the Bid Solicitation webpage within NJSTART.  Quotes not received prior to the Quote opening deadline shall be rejected.

Quotes will be publicly opened and announced by telephone conference on the date and time of the quote opening.

(Dial-in phone number: 888-204-5984 / Access code: 2602305)

When submitting a Quote through NJSTART, do not use any symbols (i.e., #, @, $, &, *) in the filename as this may prevent the Quote from being properly uploaded.  Uploaded files must be compatible with Microsoft Office and/or Adobe software applications. DO NOT UPLOAD files with extensions such as .zip, .numbers, or .pages.

When uploading the documents to NJSTART, the Bidder should select the “Confidential” option in NJSTART for attachments on the “Attachments” Tab to request that the documents not be displayed publicly through NJSTART. Marking an attachment as "Confidential" in NJSTART shall not constitute the Bidder's designation of the attachment as exempt from public disclosure under the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know.

## BIDDER RESPONSIBILITY

The Bidder assumes sole responsibility for the complete effort required in submitting a Quote in response to this Bid Solicitation.  No special consideration will be given after Quotes are opened because of a Bidder’s failure to be knowledgeable as to all of the requirements of this Bid Solicitation.  The State assumes no responsibility and bears no liability for costs incurred by a Bidder in the preparation and submittal of a Quote in response to this Bid Solicitation or any pre-contract award costs incurred.

## ANNOUNCEMENT OF QUOTE INFORMATION

On the date and time Quotes are due under the Bid Solicitation, all information concerning the Quotes submitted may be publicly announced and shall be available for inspection and copying except otherwise noted:

- Information appropriately designated as proprietary and/or confidential in a Bidder’s Quote shall not be available for inspection and copying; and

- Where negotiation is contemplated, only the names and addresses of the Bidders submitting Quotes will be announced, and the contents of the Quotes shall not be available for inspection and copying until the Notice of Intent to Award is issued by the Director.

## QUOTE ERRORS

In accordance with N.J.A.C. 17:12-2.11 “Proposal errors,” a Bidder may withdraw its Quote as described below.

## QUOTE WITHDRAWAL PRIOR TO QUOTE OPENING

A Bidder may withdraw its Quote submission in NJSTART prior to the Quote opening; however, Bidders should note that while withdrawn NJSTART Quotes remain viewable by the Bidder on its Vendor Profile Homepage, they are removed from the Division’s view and cannot be considered for Contract award. The Bidder may submit a revised Quote as long as the Quote is received prior to the announced date and time for Quote submission. Bidders may refer to the QRG “Submit a Quote” for additional instructions.

## QUOTE WITHDRAWAL AFTER QUOTE OPENING, BUT PRIOR TO CONTRACT AWARD

If, after the Quote opening, but before Contract award, a Bidder discovers an error in its Quote, the Bidder may make a written request to the Procurement Bureau to withdraw its Quote, from consideration for award. If the Bidder’s request to withdraw is made in good faith, and the State will not be significantly prejudiced by granting the withdrawal of the Quote beyond the loss of the benefit of the bargain to the State of the withdrawing Bidder’s offer, the request shall be granted.  Evidence of the Bidder’s good faith in making this request can be demonstrated by one (1) or more of the following factors: A mistake is so significant that to enforce the Contract resulting from the Quote would be unconscionable; that the mistake relates to a material feature or term of the Contract; and that the mistake occurred notwithstanding the Bidder’s exercise of reasonable care. After Quote opening, while pursuant to the provisions of this section a Bidder may request to withdraw its Quote and the Director may in his/her discretion allow said Bidder to withdraw it, the Division also may take notice of repeated or unusual requests to withdraw by a Bidder and take those prior requests to withdraw into consideration when evaluating the Bidder’s future Quotes.

The Quote withdrawal request must include the Bid Solicitation Number, Bid Solicitation Title, and the Quote submission date and should be sent to Procurement.Bureau@treas.nj.gov.

If, during a Quote evaluation process, an obvious pricing error made by a potential Contract awardee is found, the Director or his/her designee shall issue written notice to the Bidder. The Bidder will have up to five (5) Business Days after receipt of the notice to confirm its pricing. If the Bidder fails to respond, its Quote shall be considered withdrawn, and no further consideration shall be given to it.

## JOINT VENTURE

If a Joint Venture is submitting a Quote, the agreement between the parties relating to such Joint Venture should be submitted with the Joint Venture’s Quote. Authorized signatories from each party comprising the Joint Venture must sign the Offer and Acceptance Page. Each party to the Joint Venture must individually complete and comply with all the forms and certification requirements in Bid Solicitation Section 3 – Quote Submission Requirements.

## SMALL BUSINESS SET-ASIDE CONTRACTS

Not applicable to this procurement.

## DISABLED VETERANS’ BUSINESS SET-ASIDE CONTRACT

Not applicable to this procurement.

## BID SECURITY

Not applicable to this procurement.

## BIDDER ADDITIONAL TERMS SUBMITTED WITH THE QUOTE

A Bidder may submit additional terms as part of its Quote. Additional terms are Bidder-proposed terms or conditions that do not conflict with the scope of work required in this Bid Solicitation, the terms and conditions of this Bid Solicitation, or the State of New Jersey Standard Terms and Conditions. Bidder proposed terms or conditions that conflict with those contained in the State of New Jersey Standard Terms and Conditions will render a Quote non-responsive.  It is incumbent upon the Bidder to identify and remove its conflicting proposed terms and conditions prior to Quote submission.

Quotes including Bidder proposed additional terms may be accepted, rejected, or negotiated, in whole or in part, at the State’s sole discretion.

If Bidder intends to propose terms and conditions that conflict with the State of New Jersey Standard Terms and Conditions, those Bidder proposed terms and conditions shall only be considered if submitted and agreed to pursuant to the electronic question and answer procedure.  Bidders shall not submit exceptions or modifications as part of the Quote or on the “Terms and Conditions” Tab through NJSTART.

## QUOTE CONTENT

The Quote should be submitted with the attachments organized in the following manner:

- Forms

- Technical Quote

- State-Supplied Price Sheet

A Bidder should not password protect any submitted documents. Use of URLs in a Quote should be kept to a minimum and shall not be used to satisfy any material term of a Bid Solicitation. If a preprinted or other document included as part of the Quote contains a URL, a printed copy of the information should be provided and will be considered as part of the Quote.

## FORMS, REGISTRATIONS AND CERTIFICATIONS TO BE SUBMITTED WITH QUOTE

A Bidder is required to complete and submit the following forms. As an alternative to uploading certain forms with the submitted Quote, a Bidder may complete several certifications electronically in NJSTART on the “Terms and Categories” Tab within the Vendor Profile. Those forms that may be completed on the NJSTART “Terms and Categories” Tab are noted below. Additionally, a Bidder may attach completed forms to the Vendor Profile. Refer to QRGs “Vendor Forms” and “Attaching Files” for additional instructions.  VENDOR QUICK REFERENCE GUIDES

### OFFER AND ACCEPTANCE PAGE

The Bidder should complete and submit the Offer and Acceptance Page with the Quote. The Offer and Acceptance Page must be signed by an authorized representative of the Bidder. If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

### OWNERSHIP DISCLOSURE FORM

Pursuant to N.J.S.A. 52:25-24.2, in the event the Bidder is a corporation, partnership or limited liability company, the Bidder must disclose all 10% or greater owners by (a) completing and submitting the Ownership Disclosure Form with the Quote; (b) if the Bidder has submitted a signed and accurate Ownership Disclosure Form dated and received no more than six (6) months prior to the Quote submission deadline for this procurement, the Division may rely upon that form; however, if there has been a change in ownership within the last six (6) months, a new Ownership Disclosure Form must be completed, signed and submitted with the Quote; or, (c) a Bidder with any direct or indirect parent entity which is publicly traded may submit the name and address of each publicly traded entity and the name and address of each person that holds a 10 percent or greater beneficial interest in the publicly traded entity as of the last annual filing with the federal Securities and Exchange Commission or the foreign equivalent, and, if there is any person that holds a 10 percent or greater beneficial interest, also shall submit links to the websites containing the last annual filings with the federal Securities and Exchange Commission or the foreign equivalent and the relevant page numbers of the filings that contain the information on each person that holds a 10 percent or greater beneficial interest. N.J.S.A. 52:25-24.2.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this form online in NJSTART on the “Terms and Categories” Tab.

A Bidder’s failure to submit the information required by N.J.S.A. 52:25-24.2 will result in the rejection of the Quote as non-responsive and preclude the award of a Contract to said Bidder.

### DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN FORM

The Bidder should  submit Disclosure of Investment Activities in Iran form to certify that, pursuant to N.J.S.A. 52:32-58, neither the Bidder, nor one (1) of its parents, subsidiaries, and/or affiliates (as defined in N.J.S.A. 52:32-56(e)(3)), is listed on the Department of the Treasury’s List of Persons or Entities Engaging in Prohibited Investment Activities in Iran and that neither the Bidder, nor one (1) of its parents, subsidiaries, and/or affiliates, is involved in any of the investment activities set forth in N.J.S.A. 52:32-56(f). If the Bidder is unable to so certify, the Bidder shall provide a detailed and precise description of such activities as directed on the form. If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### DISCLOSURE OF INVESTIGATIONS AND OTHER ACTIONS INVOLVING BIDDER FORM

The Bidder should submit the Disclosure of Investigations and Other Actions Involving Bidder Form, with its Quote, to provide a detailed description of any investigation, litigation, including administrative complaints or other administrative proceedings, involving any public sector clients during the past five (5) years, including the nature and status of the investigation, and, for any litigation, the caption of the action, a brief description of the action, the date of inception, current status, and, if applicable, disposition. If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### MACBRIDE PRINCIPLES FORM

The Bidder should submit the MacBride Principles Form. Pursuant to N.J.S.A. 52:34-12.2, a Bidder is required to certify  that it either has no ongoing business activities in Northern Ireland and does not maintain a physical presence therein or that it will take lawful steps in good faith to conduct any business operations it has in Northern Ireland in accordance with the MacBride principles of nondiscrimination in employment as set forth in N.J.S.A. 52:18A-89.5 and in conformance with the United Kingdom’s Fair Employment (Northern Ireland) Act of 1989, and permit independent monitoring of their compliance with those principles. If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### SERVICE PERFORMANCE WITHIN THE UNITED STATES

The Bidder should submit a completed Source Disclosure Form. Pursuant to N.J.S.A. 52:34-13.2, all Contracts primarily for services shall be performed within the United States. If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

### CONFIDENTIALITY/COMMITMENT TO DEFEND

Pursuant to the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know, Quotes can be released to the public in accordance with N.J.A.C. 17:12-1.2(b) and (c).

The Bidder should submit a completed and signed Confidentiality/Commitment to Defend Form with the Quote. In the event that the Bidder does not submit the Confidentiality form with the Quote, the State reserves the right to request that the Bidder submit the form after Quote submission.

After the opening of sealed Quotes, all information submitted by a Bidder in response to a Bid Solicitation is considered public information notwithstanding any disclaimers to the contrary submitted by a Bidder. Proprietary, financial, security and confidential information may be exempt from public disclosure by OPRA and/or the common law when the Bidder has a good faith, legal/factual basis for such assertion.

When the Bid Solicitation contains a negotiation component, the Quote will not be subject to public disclosure until a notice of intent to award a Contract is announced.

As part of its Quote, a Bidder may request that portions of the Quote be exempt from public disclosure under OPRA and/or the common law. The Bidder must provide a detailed statement clearly identifying those sections of the Quote that it claims are exempt from production, and the legal and factual basis that supports said exemption(s) as a matter of law. The State will not honor any attempts by a Bidder to designate its State-Supplied Price Sheet, Price List/Catalog, and/or the entire Quote as proprietary and/or confidential, and/or to claim copyright protection for its entire Quote. If the State does not agree with a Bidder’s designation of proprietary and/or confidential information, the State will use commercially reasonable efforts to advise the Bidder. Copyright law does not prohibit access to a record which is otherwise available under OPRA.

The State reserves the right to make the determination as to what to disclose in response to an OPRA request. Any information that the State determines to be exempt from disclosure under OPRA will be redacted.

In the event of any challenge to the Bidder’s assertion of confidentiality that is contrary to the State’s determination of confidentiality, the Bidder shall be solely responsible for defending its designation, but in doing so, all costs and expenses associated therewith shall be the responsibility of the Bidder. The State assumes no such responsibility or liability.

In order not to delay consideration of the Quote or the State’s response to a request for documents, the State requires that Bidder respond to any request regarding confidentiality markings within the timeframe designated in the State’s correspondence regarding confidentiality. If no response is received by the designated date and time, the State will be permitted to release a copy of the Quote with the State making the determination regarding what may be proprietary or confidential.

### SUBCONTRACTOR UTILIZATION PLAN

Bidders intending to use Subcontractor(s) shall list all Subcontractors on the Subcontractor Utilization Plan form or may list the Subcontractor(s) on the “Subcontractor” Tab in NJSTART.

For a Quote that does NOT include the use of any Subcontractors, the Bidder is automatically certifying that, if selected for an award, the Bidder will be performing all work required by the Contract.

If it becomes necessary for the Contractor to substitute a Subcontractor, add a Subcontractor, or substitute its own staff for a Subcontractor, the Contractor will identify the proposed new Subcontractor or staff member(s) and the work to be performed. The Contractor shall forward a written request to substitute or add a Subcontractor or to substitute its own staff for a Subcontractor to the State Contract Manager for consideration. The Contractor must provide a completed Subcontractor Utilization Plan, a detailed justification documenting the necessity for the substitution or addition, and resumes of its proposed replacement staff or of the proposed Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability and experience relevant to that part of the work which the Subcontractor is to undertake. The qualifications and experience of the replacement(s) must equal or exceed those of similar personnel proposed by the Contractor in its Quote. The State Contract Manager will forward the request to the Director for approval.

NOTE: No substituted or additional Subcontractors are authorized to begin work until the Contractor has received written approval from the Director.

#### SMALL BUSINESS SUBCONTRACTING SET-ASIDE CONTRACT

This is a Contract with set-aside subcontracting for New Jersey Small Business Enterprises.

If the Bidder intends to subcontract, it must submit a Subcontractor Utilization Plan and shall take the following actions to make a good faith effort to solicit and hire eligible New Jersey Small Business Enterprises:

- The Bidder shall attempt to locate qualified potential New Jersey Small Business Enterprises Subcontractors;

- The Bidder shall request a listing of New Jersey Small Business Enterprises from the Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit, through SAVI (https://www20.state.nj.us/TYTR_SAVI/vendorSearch.jsp), if none are known to the Bidder;

- The Bidder shall keep a record of its efforts, including the names of businesses contacted and the means and results of such contacts;

- The Bidder shall provide all potential Subcontractors with detailed information regarding the specifications; and

- The Bidder shall attempt, wherever possible, to negotiate prices with potential Subcontractors submitting higher than acceptable price quotes.

A Bidder’s failure to satisfy New Jersey Small Business Enterprises set-aside subcontracting or to provide sufficient documentation of its good faith efforts within seven (7) Business Days of a request may preclude award of a Contract to the Bidder.

Each Bidder awarded a Contract which contains the set-aside subcontracting requirement shall fully cooperate in any studies or surveys which may be conducted by the State to determine the extent of the Bidder’s compliance with N.J.A.C. 17:13-1.1 et seq., and this Bid Solicitation.

### RESERVED

### AFFIRMATIVE ACTION

The intended Contractor and its named Subcontractor(s) must submit a copy of a New Jersey Certificate of Employee Information Report, or a copy of Federal Letter of Approval verifying it is operating under a federally approved or sanctioned Affirmative Action program.  If the Contractor and/or its named Subcontractor(s) are not in possession of either a New Jersey Certificate of Employee Information Report or a Federal Letter of Approval, it/they must complete and submit the Affirmative Action Employee Information Report (AA-302).  Information, instruction and the application are available at https://www.state.nj.us/treasury/contract_compliance/index.shtml.

### RESERVEd

### STATE OF NEW JERSEY SECURITY DUE DILIGENCE THIRD-PARTY INFORMATION SECURITY QUESTIONNAIRE

Not applicable to this procurement.

### BUSINESS REGISTRATION

In accordance with N.J.S.A. 52:32-44(b), a Bidder and its named Subcontractors must have a valid Business Registration Certificate (“BRC”) issued by the Department of the Treasury, Division of Revenue and Enterprise Services prior to the award of a Contract.  A Bidder should verify its Business Registration Certification Active status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Bidder’s Business Registration Certification Active status, NJSTART provides a link to take corrective action.

### 3.13.14	Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Pursuant to P.L.2022, c3

The Bidder should submit the Disclosure of Prohibited Activities in Russia / Belarus Form.  Pursuant to P.L.2022, c. 3, a person or entity seeking to enter into or renew a contract for the provision of goods or services shall certify that it is not Engaging in Prohibited Activities in Russia or Belarus as defined by P.L.2002, c. 3, sec. 1(e). If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) Business Days of the State’s request or the State may deem the Quote non-responsive.

## TECHNICAL QUOTE

The Bidder shall describe its approach and plans for accomplishing the work outlined in the Scope of Work. The Bidder must set forth its understanding of the requirements of this Bid Solicitation and its approach to successfully complete the Contract. The Bidder should include the level of detail it determines necessary to assist the Evaluation Committee in its review of the Bidder’s Quote.

## BIDDER QUOTE OVERVIEW FORM

The Bidder should submit the Bidder Quote Overview Form with its Quote. The Bidder should complete all of the information requested on the form, so that the State is able to evaluate the Bidder’s ability to complete the Scope of Work. The Bidder’s responses to the questions on the form should demonstrate to the State that the Bidder’s plans and approach to complete the Scope of Work are realistic, attainable, appropriate, and that the Bidder’s Quote will lead to the successful completion of the tasks required.

  - BIDDER DATA SHEET/FORM

The Bidder should submit the Bidder Data Sheet with its Quote.  The Bidder Data Sheet will be used to evaluate the Bidder’s ability to complete the Scope of Work.

The Bidder should provide in its response to Part I of the Bidder Data Sheet all relevant information regarding its experience in successfully completing contracts of a similar size and scope to the work required by this Bid Solicitation.

The Bidder must provide, in Part II of the Bidder Data Sheet, details of any negative actions taken by other contracting entities against it in the course of performing these projects including, but not limited to, receipt of letters of potential default, default, cure notices, termination of services for cause, or other similar notifications/processes. Additionally, the Bidder should provide details, including any negative audits, reports, or findings by any governmental agency for which the Bidder is/was the contractor on any contracts of similar scope. In the event a Bidder neglects to include this information in its Quote, the Bidder’s omission of necessary disclosure information may be cause for rejection of the Bidder’s Quote by the State.

If proposing to use a Subcontractor, the Bidder should provide as an attachment to the Bidder Data Sheet documented experience to demonstrate that each Subcontractor has successfully performed work on contracts of a similar size and scope to the work that the Subcontractor is designated to perform in the Bidder’s Quote. The Bidder must provide a detailed description of services to be provided by each Subcontractor.

## MANAGEMENT OVERVIEW

The Bidder shall set forth its overall technical approach and plans to meet the requirements of the Bid Solicitation in a narrative format.  This narrative should demonstrate to the Evaluation Committee that the Bidder understands the objectives that the Contract is intended to meet, the nature of the required work, and the level of effort necessary to successfully complete the Contract. The narrative should demonstrate that the Bidder’s approach and plans to undertake and complete the Contract are appropriate to the tasks and subtasks involved.

Mere reiterations of Bid Solicitation tasks and subtasks are strongly discouraged, as they do not provide insight into the Bidder’s approach to complete the Contract. The Bidder’s response to this section should demonstrate to the Evaluation Committee that the Bidder’s detailed plans and approach proposed to complete the Scope of Work are realistic, attainable and appropriate, and that the Bidder’s Quote will lead to successful Contract completion.

## CONTRACT MANAGEMENT

The Bidder should describe its specific plans to manage, control and supervise the Contract to ensure satisfactory Contract completion according to the required schedule. The plan should include the Bidder’s approach to communicate with the State Contract Manager including, but not limited to, status meetings, status reports, etc.

## ORGANIZATIONAL EXPERIENCE

The Bidder should include information relating to its organization, personnel, and experience, including, but not limited to, references, together with contact names and telephone numbers, evidencing the Bidder’s qualifications, and capabilities to perform the services required by this Bid Solicitation. The Bidder should include the level of detail it determines necessary to assist the Evaluation Committee in its review of Bidder’s Quote.

## ORGANIZATION CHARTS

The Bidder should include an organization chart, with names showing management, supervisory and other key personnel (including Subcontractor management, supervisory, or other key personnel) to be assigned to the Contract. The chart should include the labor category and title of each such individual.

## RESUMES

Detailed resumes should be submitted for all management, supervisory, and key personnel to be assigned to the Contract. Resumes should emphasize relevant qualifications and experience of these individuals in successfully completing Contracts of a similar size and scope to those required by this Bid Solicitation. Resumes should include the following:

- The individual's previous experience in completing each similar Contract;

- Beginning and ending dates for each similar Contract;

- A description of the Contract demonstrating how the individual's work on the completed Contract relates to the individual's ability to contribute to successfully providing the services required by this Bid Solicitation; and

- With respect to each similar Contract, the name and address of each reference together with a person to contact for a reference check and a telephone number.

The Bidder should provide detailed resumes for each Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability, and experience relevant to that part of the work which the Subcontractor is designated to perform.

## EXPERIENCE WITH CONTRACTS OF SIMILAR SIZE AND SCOPE

The Bidder should provide a comprehensive listing of contracts of similar size and scope that it has successfully completed, as evidence of the Bidder’s ability to successfully complete services similar to those required by this Bid Solicitation. Emphasis should be placed on contracts that are similar in size and scope to the work required by this Bid Solicitation. A description of all such contracts should be included and should show how such contracts relate to the ability of the firm to complete the services required by this Bid Solicitation. For each such contract listed, the Bidder should provide two (2) names and telephone numbers of individuals for contracting party. Beginning and ending dates should also be given for each contract.

The Bidder must provide details of any negative actions taken by other contracting entities against them in the course of performing these projects including, but not limited to, receipt of letters of potential default, default, cure notices, termination of services for cause, or other similar notifications/processes. Additionally, the Bidder should provide details, including any negative audits, reports, or findings by any governmental agency for which the Bidder is/was the contractor on any contracts of similar scope. In the event a Bidder neglects to include this information in its Quote, the Bidder’s omission of this necessary disclosure information may be cause for rejection of the Bidder’s Quote by the State.

The Bidder should provide documented experience to demonstrate that each Subcontractor has successfully performed work on contracts of a similar size and scope to the work that the Subcontractor is designated to perform in the Bidder’s Quote. The Bidder must provide a detailed description of services to be provided by each Subcontractor.

## FINANCIAL CAPABILITY OF THE BIDDER

The Bidder should provide sufficient financial information to enable the State to assess the financial strength and creditworthiness of the Bidder and its ability to undertake and successfully complete the Contract.  In order to provide the State with the ability to evaluate the Bidder’s financial capacity and capability to undertake and successfully complete the Contract, the Bidder should submit the following:

- For publicly traded companies the Bidder should provide copies or the electronic location of the annual reports filed for the two most recent years; or

- For privately held companies the Bidder should provide the certified financial statement (audited or reviewed) in accordance with applicable standards by an independent Certified Public Accountant, including a balance sheet, income statement, and statement of cash flow, and all applicable notes for the most recent calendar year or the Bidder’s most recent fiscal year.

If the information is not supplied with the Quote, the State may still require the Bidder to submit it. If the Bidder fails to comply with the request within seven (7) Business Days, the State may deem the Quote non-responsive.

A Bidder may designate specific financial information as not subject to disclosure when the Bidder has a good faith legal/factual basis for such assertion. The State reserves the right to make the determination to accept the assertion and will so advise the Bidder.

## STATE-SUPPLIED PRICE SHEET INSTRUCTIONS

The Bidder must submit its pricing using the State-Supplied Price Sheet accompanying this Bid Solicitation and located on the “Attachments” Tab. Each Bidder is required to hold its pricing firm through the issuance of the Contract.

The Bidder must provide firm-fixed, all-inclusive pricing for each year (Years one (1) through three (3)) on all price lines.

Price lines for this Bid Solicitation are broken down as follows:

| Price Lines | Descriptions |
| --- | --- |
| 1 | Waste Water Treatment Plant Operator |
| 2 | Emergency Repairs and/or Maintenance exceeding $250.00 - Overtime |
| 3 | Emergency Repairs and/or Maintenance exceeding $250.00 – Premium Time |
| 4 | Special Projects/Repairs |
| 5 | Permits/Certifications/License – (Reimbursement Line) |
| 6 | Laboratory Services – (Reimbursement Line) |
| 7 | Chemicals – (Reimbursement Line) |
| 8 | Equipment and Part Replacement – (Reimbursement Line) |

Note: Bidders are not required to provide a Quote for Price Lines 4, 5, 6, 7 and 8 Price Lines 4, 6, 7 and 8 are Agency Use Only net lines, and will be automatically added to the awarded Contract. Price Lines 4, 5, 6, 7 and 8 are blacked out on the State –Supplied Price Sheet.

Bidders must bid on price lines (1 – 3, Years 1 – 3) to be considered for award. Failure to submit pricing on price lines (1 – 3, Years 1 – 3) will result in the Bidder’s Quote being deemed nonresponsive.

- Step 1 – The Bidder should enter the Bidder’s name in the field titled “Bidder Name:” located at the top of the State Supplied Price Sheet.

- Step 2 – For Price Lines 1, the Bidder shall insert a firm-fixed monthly rate, in US Dollars, for all three (3) years as indicated on the State Supplied Price Sheet.

- Step 3 – For Price Lines 2 and3, the Bidder should insert a firm-fixed hourly rate, in US Dollars, for all three (3) years as indicated on the State Supplied Price Sheet.

Failure to submit pricing for all required lines will result in the Bidder’s Quote being deemed non-responsive.

Any price changes including hand written revisions or "white-outs" must be initialed.  Failure to initial price changes shall preclude a Contract award from being made to the Bidder pursuant to N.J.A.C. 17:12-2.2(a)(8).

Where the State-Supplied Price Sheet includes an estimated quantity column, Bidders are advised that estimated quantities may vary throughout the Contract term resulting from this Bid Solicitation. There is no guaranteed minimum or maximum volume for these price lines.

## USE OF “NO CHARGE” ON THE STATE-SUPPLIED PRICE SHEET

All price lines must be filled out in accordance with the instructions above.  If the Bidder will supply an item on a price line free of charge, the Bidder must indicate “No Charge” on the State-Supplied Price Sheet accompanying this Bid Solicitation.  An entry of $0.00 on a price line will be interpreted as a Bidder supplying the good or service at “No Charge.” The use of any other identifier may result in the Bidder’s Quote being deemed non-responsive.

## ORAL PRESENTATIONS

Not applicable to this procurement.

# SCOPE OF WORK

## GENERAL REQUIREMENTS

The Contractor shall be responsible for the entire operation of the Greystone Park Psychiatric Hospital (GPH) WWTP wastewater Treatment Plant (WWTP). The Contractor shall furnish all labor, materials, chemicals, and equipment and incidental services necessary for daily operations.

The Contractor shall be responsible for all inspection, maintenance adjustments, equipment operation, control testing, regulatory sampling, regulatory reporting, and all other services needed in order for the WWTP to operate at appropriate levels and in accordance with all applicable rules and regulations, including but not limited to, those promulgated by NJDEP and the United States Environmental Protection Agency (USEPA).

The Contractor shall monitor, make repairs and perform regularly scheduled maintenance to all equipment and facilities in accordance with the manufacturer’s recommended Operation and Maintenance (O&M) requirements.

The Contractor shall be responsible for the proper purchasing, usage, and storage of all chemicals necessary for the performance and operation of the WWTP, including maintaining adequate inventories to ensure plant operations. Chemical storage shall be in a manner consistent with all relevant safety regulations.

The Contractor shall conduct all activities in a manner consistent with all regulatory and permit requirements to limit penalties and fines to the greatest extent practical.

The Contractor shall perform all duties and maintain records and reports as required by N.J.A.C. 7:10A – 1.12 and in the NJDEP permits, and shall be responsible for at a minimum:

- Chemical purchases;

- Regulatory reporting;

- Quality control testing;

- All treatment services and daily inspections required by the NJDEP and USEPA;

- Maintain active communication with the GPH Coordinator of Plant Services (CPS) on a daily basis on matters regarding WWTP operations;

- Scheduling maintenance in accordance with the manufacturer’s O&M requirements;

- Maintain the Daily Operating Log that denotes incidents and potential hazards and reporting such incidents to the GPH CPS;

- Oversight of Contractor staff to ensure compliance with applicable policies and performance standards;

- Maintain a comprehensive working knowledge of the permit and all permit conditions; and

- Any related duties required to ensure safe and effective operations of the WWTP.

- Failure of the Contractor to maintain adequate Licensed Operator coverage as required by NJDEP will result in the Using Agency filing a formal complaint with the Division’s Contract Compliance and Audit Unit (CCAU), which may lead to penalties up to and including Contract termination.

## WASTEWATER PLANT OVERVIEW

The operating equipment located at the WWTP includes, but is not limited to, the following:

- Automated bar screen;

- Grit chamber;

- Comminutor;

- Primary clarifier tanks – two (2) sectioned;

- Dosing tank;

- Trickling filters, two (2);

- Secondary clarifier tanks, two (2);

- Recirculation pump station;

- Chlorine contact tank;

- Post aeration chamber;

- Sand filters, two (2); and

- Chemical building for sodium hypochlorite, sodium bisulfate, alum, and de-foamer.

## NJDEP PERMIT OVERVIEW

The State of New Jersey Department of Environmental Protection (NJDEP) regulates the operation of the Greystone WWTP under the following permits:

- NJPDES (New Jersey Pollutant Discharge Elimination System) - NJ-0026689

- S2G (Sludge Quality Category 2 General Permit) - NJG0212032

The listed permits authorize the construction and operation of the treatment facilities and the effluent disposal system. Copies of the requirements for the NJDEP permits are available for review at the GPH Engineering Office and can be reviewed in Attachments 3 and 4.

## STAFFING REQUIREMENTS

The Contractor shall:

- Employ at a minimum, a New Jersey Licensed Operator (Licensed Operator), a back-up Licensed Operator, and supporting staff in accordance with applicable NJDEP requirements, regulations, and policies; and

- Ensure that at least one (1) full-time Licensed Operator is on duty/on-site at all times during the specified hours of operation.

## LICENSURE REQUIREMENTS

The Contractor must ensure that the Licensed Operator and back-up Licensed Operator maintain, in good standing and full force, the  licenses that correspond to the most current NJDEP issued permits/requirements for each system pursuant to N.J.A.C. 7:10A-1 et seq. through the term of the Contract, inclusive of any extensions. At this time, the following licenses are required:

- Class S-2: Public Wastewater Treatment System

Information regarding qualifications and experience for these licenses can be found at http://www.nj.gov/dep/exams/wsw.htm

The Contractor shall be under a continuing obligation to provide copies of all licenses and license renewals to the SCM through the duration of the Contract term. All direct and indirect costs associated with licenses and renewals for Licensed Operators shall be the responsibility of the Contractor.

In the event that the Licensed Operator and/or back-up Licensed Operator changes during the Contract term, the Contractor must notify the SCM in writing within 24 hours and promptly submit a DEP-065 or equivalent for processing and approval, if necessary.

## CONTRACT KICKOFF RESPONSIBILITIES

### INITIAL INSPECTION

Within fifteen (15) days of Contract commencement, the Contractor shall survey the entire WWTP and operation of the facility.

Within two (2) weeks after the survey, the Contractor shall submit a written report to the CPS detailing all concerns and repair issues, and address any critical concerns and repairs that require immediate attention.

The Contractor shall have readily available written, detailed O&M procedures. The O&M procedures shall be designed to maximize preventive maintenance and operating techniques that ensure the system operates in a manner that satisfies all applicable laws, rules, regulations, licenses, and permits. The written O&M procedures shall be updated within thirty (30) days after any substantial change to the system that would warrant a change in the O&M system. The written O&M procedures shall include at a minimum the following information:

- Standard operating procedures, including, but not limited to, a description of each major treatment unit or process;

- A plan for monitoring system process controls;

- An emergency operations plan, which address facility and system security and includes a list of names and telephone numbers of facility personnel to be contacted in the event of an emergency;

- A schedule of routine inspections and preventive maintenance;

- A sampling and/or water quality monitoring plan;

- A schedule of routine meter readings, tests and chemicals used, laboratory samples; and

- An inventory of equipment and supplies necessary to properly operate and maintain the system.

### INITIAL MAINTENANCE PLAN

The Contractor shall be responsible for preparing a complete maintenance plan within 60 Calendar Days of Contract commencement to include, but not be limited to, the following:

- All equipment;

- Piping;

- Valves;

- Drainage systems;

- Controls;

- Motor control centers;

- Instrument panel; and

- Instruments.

The maintenance plan shall also, include, but not be limited to the following:

- Calibration;

- Adjustment and lubrication of equipment;

- Replacement of work parts; and

- Periodic testing of equipment.

The Contractor shall ensure that all equipment is maintained in accordance with the manufacturer’s recommendations, as contained in the O&M manual, or as recommended by the original equipment manufacturer.

The Contractor shall establish a complete maintenance management scheduling system, and shall keep complete, neat and accurate records of all work performed and tests that have been conducted.

## OPERATIONS

The Contractor shall provide one (1) full-time licensed operator, meeting the minimum licensing requirements, defined in Bid Solicitation Section 4.3 Licensure Requirements, to satisfactorily operate the plant as specified herein.

The Contractor shall supervise the operation and control of the plant, including, but not limited to, all control systems, treatment equipment and the conveyance systems.

The Contractor shall ensure that the WWTP is maintained to meet the requirements of the associated plant permits, defined in Bid Solicitation Section 4.3 NJ Permit Overview.. Any and all reporting required under this permit such as updates, amendments, and permit renewals shall be the prepared by the Contractor and submitted to the SCM for review, approval and signature.

The Contractor shall be responsible for operating the plant and process incoming wastewater continuously, throughout the course of the contract term.

The Contractor’s tasks, shall include, but not be limited to, any combination of the following tasks:

- Control flow of wastewater -

  - Chemicals;

  - Sludge;

  - Skimming; and

  - The processing of wastewater and sludge.

- Monitor gauges –

  - Meters;

  - Thermometers;

  - Control panels; and

  - Analyze readings from same, as well as test results and other relevant data, to determine and implement process requirements.

- Operate equipment –

  - Pumps;

  - Compressors;

  - Valves;

  - Gates;

  - Treatment equipment; and

  - Other devices to control and adjust flow and treatment process.

- Remove screenings –

  - Skim primary clarifiers an chlorine contact tanks;

  - Inspect all operating equipment;

  - Remove sludge from primary and final clarifiers;

  - Inspect chemicals; and if required, order chlorine, sulfur dioxide, and other chemical refills as needed.

- Samples –

  - Collect samples from influent and effluent for process control; and

  - Analyze samples using either the on-site laboratory or a commercial certified lab.

- Sludge -

  - Pump sludge from primary and secondary clarifiers;

  - Remove grit and screenings;

  - Clean clarifier walls and baffles; and

  - Clean gravel trap at communutor.

The Contractor shall be responsible for inspecting the ground above the collection system for potential leaks and/or infiltration on a weekly basis and report these findings to the CPS. Any leaks, suspected infiltration or other problems shall be immediately reported to the CPS.

The Contractor shall operate, clean and maintain the plant in such a manner to minimize odors to the fullest extent possible. The Contractor shall investigate all odor complaints and advise the CPS of the corrective measures taken as well as the final results.

The Contractor will be compensated the awarded monthly fee for the completion of all tasks outlined herein unless otherwise specified.

### SCHEDULE OF DAILY OPERATIONS

The Contractor shall be responsible for the daily performance of the following operations and for recording them as completed:

- Clean bar screen and communutor and remove debris;

- Observe the trickling filters distribution arms rotation, clean nozzles, and flush arms when

- necessary;

- Observe blower performance – run each blower by hand and note general notices level (temperature permitting);

- Observe clarified outfall, and clean contact tank;

- Hose down all walls of clarifiers, sludge ways, scum gates, and weirs;

- Observe sludge tank level and performance and schedule sludge hauling when necessary;

- Check clarifiers, motors and armature for proper operation;

- Check flow meter, record daily totalizer readings, check char recorder and pen for proper

- operation;

- Replace chart weekly;

- Run tests on plant influent and effluent for temperature, pH total, and total suspended solids (TSS), dissolved oxygen and chlorine residual as required by the permit;

- Collect samples that are required by the permit for testing to be done at the commercial laboratory;

- Ensure that the log sheet is complete and that all entries are logged the same day of the performance;

- Drain sludge from the primary tank into the sludge holding tank;

- Check chemical readings;

- Ensure that all tanks are filled with the necessary chemicals; and

- Operate and maintain the two (2) sand filters in accordance with the manufacturer’s specifications.

### SLUDGE AND RESIDUAL DISPOSAL

The Contractor shall be responsible for all regulatory testing and accurate record reporting for the following:

- Pumping;

- Hauling;

- Disposal of sludge;

- Grit;

- Screening scum;

- Tank cleaning; and

- All other residuals produced at the wastewater treatment plant in accordance with all applicable permits and regulations.

### SLUDGE DISPOSAL AND SEWER OVERFLOWS

The Contractor shall be responsible for sanitary sewer overflows directly or indirectly related to, or caused by the actions or inactions of the Contractor. GPH will be responsible for sanitary sewer overflows only if it is caused by an action outside of the control of the Contactor.

### GROUNDS MAINTENANCE

All ground maintenance, including snow removal shall be provided by GPH Grounds department personnel or designee.

### REGULATORY REPORTING AND RECORD KEEPING REQUIREMENTS

The Contractor shall, at a minimum:

- Be responsible for all record keeping and reporting to regulatory agencies as required by permits for the WWTP; and

- Be responsible for in-plant physical and chemical testing and for recordkeeping for process control not required by permits, but considered appropriate by the Water Environment Federation, American Society of Civil Engineers (ASCE). Copies of all reports shall be forwarded electronically on a monthly basis on a date to be mutually determined at the contract kickoff to the GPH CPS and the SCM.

The Contractor shall maintain daily operating logs, maintenance logs, NJDEP reports such as Discharge Monitoring Reports (DMR’s), Sludge Quality Assurance Reports (SQAR’s), raw wastewater hauling and disposal manifests. The Contractor shall furnish copies of these reports to the SCM or the GPH CPS on a monthly basis.

All reports, whether prepared by the Contractor, Certified Laboratory, or other duly authorized representative, remain the sole and exclusive property of the State in perpetuity. Associated reports and log books shall never be removed from the site for any reason.

### NJDEP REPORTING

The Contractor shall, as the State’s Authorized Agent, prepare, sign and submit to the appropriate entity, including, but not limited to, NJDEP, the following reports:

- Discharge Monitoring Reports (DMR);

- Sludge Quality Assurance Reports (Residuals DMR);

- Bio Monitoring Reports;

- Water Characterization Reports; and

- Discharge Monitoring Assurance Reports (DMR-QA), Study 29.

The Contractor shall submit a copy of each of the above reports to the SCM or the GPH CPS.

#### DEP REPORTING SCHEDULE

Monitoring shall comply with the NJDEP established timeframes listed on each individual permit.

The completed DMRs shall be submitted to NJDEP via e-filing through the Electronic Data Exchange (EDI) program at:

http://www.state.nj.us/dep/online

### OPERATIONAL REPORTING

#### DAILY OPERATIONAL REPORTING

The daily operating logs shall be kept and maintained in the WWTP Office, and shall include, at a minimum, the following information:

- Total and peak flows;

- Equipment NOT in operation;

- Operating tests of emergency equipment;

- Name and quantity of chemicals used and on hand;

- Levels of sludge and storage tank;

- Repairs and maintenance completed;

- Names and affiliations of all visitors to the plant;

- Quantities of grit, screenings, and other residuals removed;

- Operational and laboratory tests taken;

- Problems or potential problems;

- Items as required by the SCM or other regulatory agencies.

#### MONTHLY OPERATIONAL REPORTING

The Contractor shall establish and maintain complete, detailed and accurate operational procedures and schedules, which shall be delivered to the GPH CPS on a monthly basis.

This report shall contain, at a minimum the following:

- The particular task;

- The responsible individual;

- Date performed; and

- Any maintenance or operational issues or recommendations.

All records shall be submitted utilizing a computerized information system and/or manual recording system compatible to with the system used or as required by Department of Homeland Security (DHS), GPH, and NJDEP.

The monthly report that coincides with the month end report shall include a list of all chemicals expended or used during the month, and shall indicate any unusual rates of usage or special conditions.

The monthly report that coincides with the end of the calendar year, shall list the total chemicals expended or used during the year and shall indicate any unusual rates of usage or special conditions.

### LICENSES AND PERMITS

The Contractor shall be responsible for all aspects of the paperwork and documentation submittals required and related to the operating permits for the WWTP. This includes, but shall not be limited to the time and effort necessary to complete permit renewals and all other NJDEP permits. The Contractor shall complete this process at no additional cost to the State.

The Contractor shall be responsible for obtaining all appropriate construction permits, if necessary for equipment repair or replacement. GPH will pay for the associated permit fee should reimbursement be requested with any required documentation. In the event that soil study/reports or architectural/engineering documents are needed, the Contractor shall notify the GPH CPS and SCM. All requirements needed to obtain permits shall be initially reviewed by the GPH CPS and SCM.

The Contractor shall maintain permit compliance in the operation of the WWTP.

The Contractor’s Licensed Operator(s) shall maintain a comprehensive knowledge of the permit and all permit conditions. A copy of current permits, including any modifications, must be maintained and accessible at the treatment facilities ready for inspection and review at all times.

In the event the Contractor requires entry to any confined space which requires work, the Contractor should submit a list of confined spaces to the GPH CPS and the GPH Safety Office will issue a Confined Space Permit. The GPH Safety Officer will also ensure that the proper equipment is in place and is being properly used.

### LABORATORY REQUIREMENTS

All testing shall be conducted only by an approved NJ certified laboratory. The name and address of the laboratory and the parameters analyzed must be submitted with the DMR.

NJDEP must be notified of any change in the laboratory being used prior to or together with the DMR which covers the period during which the change in laboratories was made. Required sampling and testing for effluent potential of hydrogen (pH), chlorine, and dissolved oxygen (DO) must be performed by or under the supervision of a licensed operator.

Should the Contractor submit for reimbursement of lab fees, backup documentation is required. The State reserves the right to withhold payment on lab fee invoices until lab results or analysis are provided to the relevant authority having jurisdiction.

### ON SITE LABORATORY REQUIREMENTS

For certain testing that does not require the use of an outside lab, the Contractor may opt to maintain an on-site NJDEP licensed laboratory.

The Contractor shall be responsible for developing and publishing laboratory procedures appropriate for the GPH WWTP. Laboratory procedures shall be in accordance with NJDEP and USEPA requirements. In the event that the NJDEP and USEPA procedures do not apply to a particular test, the Contractor shall use industry standard testing methods.

The Contractor shall be responsible for preparing the annual renewal of the certification of the GPH WWTP laboratory. The cost of the certification shall be the responsibility of the State. If the Contractor submit for reimbursement, backup documentation is required.

The certification shall be retained at the on-site laboratory facility.

## CHEMICALS

The Contractor shall be responsible for ensuring that the proper chemicals are utilized in the performance and operation of the WWTP.

The Contractor shall properly store, handle and mix the chemicals needed for the proper operation of the WWTP. The chemicals required include, but are not limited to, the following:

- Aluminum;

- Sodium Hypo Chlorite;

- Sodium Bisulfite;

- De Foamer; and

- Other chemicals used for the treatment and testing of sewage.

The Contractor must obtain the prior written approval of the SCM or the GPH CPS prior to the procurement of any chemicals. The Contractor shall be reimbursed only after submitting a supplier invoice and proper documentation, such as the prior written approval of the SCM or the GPH CPS.

## INSPECTIONS

The Contractor shall be responsible for logging all inspections of the collection system into the logbook which shall be located in the sewer plant office.

The logbook shall contain at a minimum the following information:

- Date and time of inspection;

- The exact part of the collection system inspected;

- Observed conditions;

- Conditions that require immediate attention;

- Name of the individual that conducted the inspection;

- Name of the individual (s) notified about conditions requiring immediate attention;

- Date and time that a NJDEP representative was notified of critical events; and

- Date and time that a NJDEP representative was notified that each critical event was rectified.

The Contractor shall visually inspect the ground above the collection system for potential leaks and/or infiltration on a weekly basis and report its findings to the CPS. 

The Contractor shall report all conditions that require immediate attention and repairs to the Engineer in Charge of Maintenance, and if necessary notify the NJDEP on behalf of the SCM. 

The Contractor shall inspect the entire wastewater collection system on a monthly basis.

## EQUIPMENT MAINTENANCE, REPAIRS, REPLACEMENT, AND UPGRADES

### ROUTINE EQUIPMENT Maintenance, REPAIRS, OR REPLACEMENT

For routine equipment repairs or replacement, the Contractor shall obtain written approval from the GPH CPS prior to purchasing any equipment or repair parts which exceed $250.00. The Contractor will be reimbursed for any equipment or repair part purchases which exceed $250.00. This reimbursement will be made on a per project basis. The Contractor shall provide the GPH with a paid invoice indicating the replacement item and cost. The invoice must be directly from the place of purchase and must indicate the full company name and phone number. The Contractor shall be reimbursed only after submitting the properly executed sales invoice and the prior written approval of the GPH CPS or designated representative;

Upon Contract expiration and/or in the event of Contract termination, all equipment and parts purchased for services under this Contract which the State has reimbursed the Contractor for shall become property of the State.

### EMERGENCY EQUIPMENT MAINTENANCE, REPAIRS, OR REPLACEMENT

Upon request from the SCM or GPH CPS, the Contractor shall be required to perform emergency repairs and/or maintenance. In the event this occurs, the Contractor will be paid in accordance with its hourly awarded rates for emergency repairs and/or maintenance. Expenditures for emergency repairs over $250 to equipment must be approved by the GPH CPS or designated representative prior to purchase.

In the event that the Contractor cannot complete the emergency equipment maintenance, repair, or replacement, it shall provide the SCM with up to three (3) quotes for a Subcontractor to complete the work. Neither the Contractor nor its Subcontractor shall move forward with the completion of the special project until it has received written approval from the SCM.

In the event that the Contractor requires the service of a Subcontractor to complete the repair(s), the Contractor will be compensated the awarded mark-up percentage on the Subcontractors final invoice.

Note: The Contractor must provide the Subcontractor’s final invoice for payment.

Emergency response capability shall be maintained 24 hours a day throughout the duration of the Contract. The Contractor shall respond to the facility in person within four (4) hours of notification to emergencies. At the contract award meeting, the Contractor shall provide the SCM and GPH CPS with two (2) emergency phone numbers.

Failure to report for emergency repair/maintenance may result in a formal complaint filed with the Division’s CCAU.  Please note that judgment against the Contractor may result in the cancellation of the Contract.

### SPECIAL PROJECTS

In the event that there is a special project that the SCM deems outside of the normal monthly maintenance, as specified herein, and necessary to maintain or improve the plant operations, if capable, and upon the SCM’s approval, the Contractor shall provide the SCM with a quote for the completion of the special project. In the event that the Contractor cannot complete the special project, it shall provide the SCM with three (3) quotes for a Subcontractor to complete the work. Neither the Contractor nor its Subcontractor shall move forward with the completion of the special project until it has received written approval from the SCM.

In the event that the Contractor requires the service of a Subcontractor to complete the repair(s), the Contractor will be compensated the awarded mark-up percentage on the Subcontractors final invoice.

Note: The Contractor must provide the Subcontractor’s final invoice for payment.

### CONTRACTOR PERSONNEL

The Contractor shall supply work uniforms that contain the Contractor’s logo (or other Contractor identification) for all personnel assigned to work. Uniforms shall be worn while personnel are at the facility and on the premises of the facility.

The Contractor shall provide photo identification badges for its personnel. The badge shall be displayed on the outside of the uniform at all times when an employee is on the premises of the facility. The badge shall display the employee’s full name and Contractor’s name. A Contractor’s employee reporting to work without a uniform and an identification badge shall not be permitted to work and shall be required to leave the premises of the facility.

All of the Contractor’s personnel shall be physically able to do its assigned work and shall be free from communicable disease.

All Contractor personnel shall be thoroughly trained and qualified to perform the work assigned.

All Contractor personnel shall be required to comply with all policies in force at the facility. Under no circumstances shall the Contractor’s personnel or the personnel of any Subcontractor represent themselves as State employees.

The Contractor is fully responsible for the conduct of its employees on State premises.  The Contractor shall remove any of its personnel which the State deems to be engaged in misconduct. Examples of misconduct include, but are not limited to:

- Insobriety;

- Sleeping on the job;

- Insubordination;

- Theft;

- Tardiness;

- Failure to complete work; and/or

- Substandard performance.

The SCM or its designee may direct that the Contractor immediately replace such personnel.

The Contractor shall be fully responsible for the conduct of its employees while on State premises. If there is any need for intervention by the State security force or other State supervisory personnel because of behavior, security breaches or general misconduct, the Contractor shall immediately remove the employee from the premises and replace them on a permanent basis.

The Contractor shall be responsible for ensuring that all articles found, during the course of the work day, by its employees, in or near the premises, are turned over to the designated agency representative.

### WORK SCHEDULE

All daily operations and maintenance of the wastewater treatment plant shall be completed during the standard work day which shall be an established eight (8) hour period, exclusive of a thirty (30) minute unpaid lunch, Monday through Sunday. The following hours apply for a standard workday:

| Standard Work Day Regular Hours: | Standard Work Day Weekends and Holidays: |
| --- | --- |
| Monday through Friday: 7:30 a.m. to 4:00 p.m. | Saturday, Sundays and Holidays: 7:30 a.m. to 4:00 p.m. |

Note: The Contractor may be required to perform emergency repairs and/or maintenance outside of the standard work day hours. In the event this occurs, the Contractor shall be paid in accordance with the pricing submitted for hourly overtime and premium time rates. The following hours apply for overtime and premium time:

| Overtime Hours: | Premium time Hours |
| --- | --- |
| Monday through Friday: 4:00 p.m. to 7:29 a.m. Saturdays: 4:00 p.m. to 11:59 p.m. | Sundays and Holidays: 4 p.m. to 7:29 a.m. |

For payment purposes, only the following Holidays listed below shall be treated as Premium time:

- New Year’s Day;

- Memorial Day;

- Independence Day;

- Labor Day;

- Thanksgiving Day; and

- Christmas Day.

### EMERGENCY CALL-INS

The Contractor shall ensure that Emergency response is available twenty-four (24) hours a day throughout the duration of the contract.

The Contractor shall be on site within four (4) hours of Emergency calls notification. The Contractor’s hours shall commence upon arrival to the site.

The Contractor shall provide the State Contract Manager and the GPH CPS with a minimum of two (2) emergency phone numbers.

### ENERGY STAR REQUIREMENTS

If during the Contract term the need arises to replace or install new equipment, the Contractor must provide products that earn ENERGY STAR and meet the ENERGY STAR specifications for energy efficiency. The Contractor is encouraged to visit www.energystar.gov for complete product specifications and updated lists of qualifying products. The ENERGY STAR label must also be affixed to each delivered item.

Not all product categories may be rated by ENERGY STAR.  For those product categories that are rated, only those qualifying products that have earned ENERGY STAR are permitted to be sold to the Using Agencies.  With respect to certain items, where other energy standards are available, they will be supplied and only those products meeting those standards may be sold to the Using Agencies. However, product categories that are not currently rated by ENERGY STAR or not subject to other standards that are included in this Bid Solicitation, can be sold to the Using Agencies.

### CONTRACT EXPIRATION AND/OR TERMINATION REQUIREMENTS

Thirty (30) days prior to the Contract expiration, the Contractor shall be responsible for conducting a complete and thorough walk through of the wastewater treatment plant, with the GPH CPS and the new Contractor.

In the event the Contract is terminated, the Contractor shall be responsible for conducting a complete and thorough walk through of the wastewater treatment plant with the GPH CPS and advise of any concerns, unresolved issues and/or any incomplete projects or repairs. The walk through shall consist of a thorough inspection and address any and all issues requiring immediate attention.

The Contractor shall be responsible for ensuring that the WWTP remains in proper working condition.

The Contractor shall be responsible for the cost of all repairs that fall on GPH due to negligence on its part.

Upon Contract expiration and/or termination, all chemicals, tools, equipment and repair parts procured by the Contractor and reimbursed by GPH shall remain property of the State.

### VIOLATIONS

The Contractor shall report all violations of the NJPDES or S2G permits to the GPH CPS, the NJDEP and the USEPA, as applicable.

The Contractor shall follow verbal notification procedures with a written report, including all laboratory test results and actions taken to address each violation.

The Contractor shall be responsible for all costs that fall on Greystone Park Psychiatric Hospital resulting from fines or penalties caused by the negligence of the Contractor.

The Contractor shall comply with all of the notification requirements of all regulatory agencies regarding treatment deficiencies, bypasses, spills, plant upsets, and other related matters.

# GENERAL CONTRACT TERMS

The Contractor shall have sole responsibility for the complete effort specified in this Contract. Payment will be made only to the Contractor or to the authorized dealers/distributors, if applicable. The Contractor is responsible for the professional quality, technical accuracy and timely completion and submission of all deliverables, services or commodities required to be provided under this Contract. The Contractor shall, without additional compensation, correct or revise any errors, omissions, or other deficiencies in its deliverables and other services. The approval of deliverables furnished under this Contract shall not in any way relieve the Contractor of responsibility for the technical adequacy of its work. The review, approval, Acceptance or payment for any of the deliverables, goods or services, shall not be construed as a waiver of any rights that the State may have arising out of the Contractor’s performance of this Contract.

## CONTRACT TERM AND EXTENSION OPTION

The base term of this Contract shall be for a period of three (3) years. The anticipated Contract effective date is provided on the “Summary” page of the Bid Solicitation in NJSTART.  If delays in the procurement process result in a change to the anticipated Contract effective date, the Contractor agrees to accept a Contract for the full term of this Contract

This Contract may be extended up to two (2) years with no single extension exceeding one (1) year, by the mutual written consent of the Contractor and the Director at the same terms, conditions, and pricing at the rates in effect in the last year of this Contract or rates more favorable to the State.

## CONTRACT TRANSITION

In the event that a new Contract has not been awarded prior to the expiration date for this Contract, including any extensions exercised, and the State exercises this Contract transition, the Contractor shall continue this Contract under the same terms, conditions, and pricing until a new Contract can be completely operational. At no time shall this transition period extend more than 180 Calendar Days beyond the expiration date of this Contract, including any extensions exercised.

During the transition period, the Contractor will be required to conduct a walkthrough with any new Contractor, the SCM, and the GPH CPS in accordance with Bid Solicitation Section 4.10.8 – Contract Expiration and/or Termination Requirements.

## PERFORMANCE SECURITY

Not applicable to this procurement.

## OWNERSHIP OF MATERIAL

- State Data – The State owns State Data. Contractor shall not obtain any right, title, or interest in any State Data, or information derived from or based on State Data. State Data provided to Contractor shall be delivered or returned to the State of New Jersey upon thirty (30) days’ notice by the State or thirty (30) days after the expiration or termination of the Contract. Except as specifically required by the requirements of the Bid Solicitation, State Data shall not be disclosed, sold, assigned, leased or otherwise disposed of to any person or entity other than the State unless specifically directed to do so in writing by the State Contract Manager.

- Work Product; Services – The State owns all Deliverables developed for the State in the course of providing Services under the Contract, including but not limited to, all data, technical information, materials gathered, originated, developed, prepared, used or obtained in the performance of the Contract, including but not limited to all reports, surveys, plans, charts, literature, brochures, mailings, recordings (video and/or audio), pictures, drawings, analyses, graphic representations, print-outs, notes and memoranda, written procedures and documents, regardless of the state of completion, which are prepared for or are a result of the Services required under the Contract.

- Contractor Intellectual Property; Commercial off the Shelf Software (COTS) and Customized Software – Contractor retains ownership of all Contractor Intellectual Property, and any modifications thereto and derivatives thereof, that the  Contractor supplies to the State pursuant to the Contract, and grants the State a non-exclusive, royalty-free license to use Contractor Intellectual Property delivered to the State for the purposes contemplated by the Contract for the duration of the Contract including all extensions. In the event Contractor provides its standard license agreement terms with its Quote, such terms and conditions must comply with Bid Solicitation Section 1.4 – Order of Precedence of Contractual Terms.

- Third Party Intellectual Property – Unless otherwise specified in the Bid Solicitation that the State, on its own, will acquire and obtain a license to Third Party Intellectual Property, Contractor shall secure on the State’s behalf, in the name of the State and subject to the State’s approval, a license to Third Party Intellectual Property sufficient to fulfill the business objectives, requirements and specifications identified in the Contract at no additional cost to the State beyond that in the Quote price. In the event Contractor is obligated to flow-down commercially standard third party terms and conditions customarily provided to the public associated with Third Party Intellectual Property and such terms and conditions conflict with Bid Solicitation requirements, including the SSTC, the State will accept such terms and conditions with the exception of the following:  indemnification, limitation of liability, choice of law, governing law, jurisdiction, and confidentiality. The Bid Solicitation including the SSTC shall prevail with respect to such conflicting terms and conditions. In addition, the State will not accept any provision requiring the State to indemnify a third party or to submit to arbitration.  Such terms are considered void and of no effect. Third party terms and conditions should be submitted with the Quote. If Contractor uses Third Party Intellectual Property, Contractor must indemnify the State for infringement claims with respect to the Third Party Intellectual Property. Contractor agrees that its use of Third Party Intellectual Property shall be consistent with the license for the Third Party Intellectual Property, whether supplied by the Contractor, secured by the State as required by the Bid Solicitation, or otherwise supplied by the State.

- Work Product; Custom Software – The State owns all Custom Software which shall be considered “work made for hire”, i.e., the State, not the Contractor, Subcontractor, or third party, shall have full and complete ownership of all such Custom Software. To the extent that any Custom Software may not, by operation of the law, be a “work made for hire” in accordance with the terms of the Contract, Contractor, Subcontractor, or third party hereby assigns to the State, or Contractor shall cause to be assigned to the State, all right, title and interest in and to any such Custom Software and any copyright thereof, and the State shall have the right to obtain and hold in its own name any copyrights, registrations and any other proprietary rights that may be available.

- State Intellectual Property – The State owns all State Intellectual Property provided to Contractor pursuant to the Contract.  State Intellectual Property shall be delivered or returned to the State of New Jersey upon thirty (30) days’ notice by the State or thirty (30) days after the expiration or termination of the Contract. The State grants Contractor a non-exclusive, royalty-free, license to use State Intellectual Property for the purposes contemplated by the Contract. Except as specifically required by the requirements of the Bid Solicitation, State Intellectual Property shall not be disclosed, sold, assigned, leased or otherwise disposed of to any person or entity other than the State unless specifically directed to do so in writing by the State Contract Manager. The State’s license to Contractor is limited by the term of the Contract and the confidentiality obligations set forth in Bid Solicitation Section 6 – Data Security Requirements – Contractor Responsibility.

- No Rights – Except as expressly set forth in the Contract, nothing in the Contract shall be construed as granting to or conferring upon Contractor any right, title, or interest in State Intellectual Property or any intellectual property that is now owned or licensed to or subsequently owned by or licensed by the State. Except as expressly set forth in the Contract, nothing in the Contract shall be construed as granting to or conferring upon the State any right, title, or interest in any Contractor Intellectual Property that is now owned or subsequently owned by Contractor. Except as expressly set forth in the Contract, nothing in the Contract shall be construed as granting to or conferring upon the State any right, title, or interest in any Third Party Intellectual Property that is now owned or subsequently owned by a third party.

## SUBSTITUTION OF STAFF

If a Contractor needs to substitute any management, supervisory or key personnel, the Contractor shall identify the substitute personnel and the work to be performed. The Contractor must provide detailed justification documenting the necessity for the substitution.  Resumes must be submitted for the individual(s) proposed as substitute(s) who must have qualifications and experience equal to or better than the individual(s) originally proposed or currently assigned.

The Contractor shall forward a request to substitute staff to the State Contract Manager for consideration and approval. No substitute personnel are authorized to begin work until the Contractor has received written approval to proceed from the State Contract Manager.

## DELIVERY TIME AND COSTS

Not applicable to this procurement.

## AUTHORIZED DEALER AND/OR DISTRIBUTORS

Not applicable to this procurement.

## LIQUIDATED DAMAGES

Not applicable to this procurement.

  - ELECTRONIC PAYMENTS

With the award of this Contract, the successful Contractor(s) will be required to receive its payment(s) electronically. In order to receive payments via automatic deposit from the State of New Jersey, the Contractor must complete the EFT information within its NJSTART Vendor Profile. Please refer to the QRG entitled “Vendor Profile Management – Company Information and User Access” for instructions.

  - PROCUREMENT EFFICIENCY PROGRAM

- Quarterly Sales Reporting - The Contractor shall submit a Sales Report documenting all sales made under the Contract. The Sales Report shall be submitted directly to Periscope no later than thirty (30) Calendar Days after the end of each calendar quarter. The calendar quarters will end March 31, June 30, September 30, and December 31. The Sales Report must contain the following information:

- Complete and accurate details of all sales, credits, returns, refunds, and the like for the reporting quarter;

- Purchasing entity;

- Total of Procurement Efficiency Program Fee amount due for the reporting quarter;

- Such other information as the State may reasonably request;

- If no sales were made against this Contract during the reporting quarter, then a report shall be submitted showing zero sales and zero Procurement Efficiency Program Fee due; and

- Quarterly Sales Reporting and remittance of the Procurement Efficiency Program Fee shall begin on the first calendar quarter starting after the effective date of the Contract.

- Procurement Efficiency Program Fee - For all purchases made under this Contract, that have been invoiced, the Contractor shall remit the Procurement Efficiency Program Fee in the amount of one percent (1%) of all Purchases to Periscope acting on behalf of the State of New Jersey.

- Remittance of the Procurement Efficiency Program Fee - On a quarterly basis, the Contractor shall remit the Procurement Efficiency Program Fee directly to Periscope no later than thirty (30) days after the end of each calendar quarter. The calendar quarters will end March 31, June 30, September 30, and December 31.  Failure to remit the Procurement Efficiency Program Fee timely and accurately may result in Contract termination as outlined in the “Termination of Contract” clause of the State of New Jersey Standard Terms and Conditions.

- NJSTART Marketplace Catalog Enablement- Contractor shall cooperate with State and/or Periscope as requested to upload catalog items and pricing consistent with this Contract. Contractor shall upload catalog within (thirty) 30 Calendar Days of the date of execution of this Contract. Failure to cooperate will result in the Contractor’s good and/or services not being represented in the NJSTART Marketplace. The Contractor shall ensure that the catalog complies with the scope, and terms and conditions of this Contract. Any identified deviation from the Contract must be corrected immediately. Any catalog that does not comply with the scope and terms and conditions of this Contract can lead to a breach of contract and will be escalated to the Division of Purchase and Property’s Contract Compliance and Audit Unit for review and possible action.

- Retention and Inspection of Records and Audit - The Contractor shall keep records of all sales made to all Using Agencies in sufficient detail to enable the State to determine the Procurement Efficiency Program Fee payable by the Contractor. The State and/or Periscope may examine and audit, at its own expense, Contractor’s sales records and Sales Reports for completeness and accuracy. If such examination reveals underpayment of the Procurement Efficiency Program Fee, the Contractor shall immediately pay to Periscope the amount of deficiency. If the examination reveals an underpayment of 5% or more, then the Contractor shall reimburse the State and/or Periscope for the cost of the audit.

# DATA SECURITY REQUIREMENTS – CONTRACTOR RESPONSIBILITY

Not applicable to this procurement.

# MODIFICATIONS TO THE STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS

## INDEMNIFICATION

No alternatives are applicable to this procurement.

## INSURANCE

### PROFESSIONAL LIABILITY INSURANCE

Section 4.2 of the SSTC is supplemented with the following:

Professional Liability Insurance: The Contractor shall carry Errors and Omissions, Professional Liability Insurance, and/or Professional Liability Malpractice Insurance sufficient to protect the Contractor from any liability arising out of the professional obligations performed pursuant to the requirements of this Contract.  The insurance shall be in the amount of not less than $1,000,000 or higher if appropriate per each occurrence, and in such policy forms as shall be approved by the State. If the Contractor has claims-made coverage and subsequently changes carriers during the term of this Contract, it shall obtain from its new Errors and Omissions, Professional Liability Insurance, and/or Professional Malpractice Insurance carrier an endorsement for retroactive coverage.

### CYBER BREACH INSURANCE

Not applicable to this procurement.

### LIMITATION OF LIABILITY OPTION

4.3 LIMITATION OF LIABILITY

The Contractor’s liability to the State for actual, direct damages resulting from the Contractor’s performance or non-performance of, or in any manner related to this Contract, for any and all claims, shall be limited in the aggregate to 200% of the total value of this Contract.  This limitation of liability shall not apply to the following:

- The Contractor’s obligation to indemnify the State of New Jersey and its employees from and against any claim, demand, loss, damage, or expense relating to bodily injury or the death of any person or damage to real property or tangible personal property, incurred from the work or materials supplied by the Contractor under this Contract caused by negligence or willful misconduct of the Contractor;

- The Contractor’s breach of its obligations of confidentiality; and

- The Contractor’s liability with respect to copyright indemnification.

The Contractor’s indemnification obligation is not limited by but is in addition to the insurance obligations.

The Contractor shall not be liable for special, consequential, or incidental damages.

# QUOTE EVALUATION AND AWARD

## RIGHT TO WAIVE

Pursuant to N.J.A.C. 17:12-2.7(d) the Director may waive minor irregularities or omissions in a Quote. The Director reserves the right to waive a requirement provided that the requirement does not materially affect the procurement or the State's interests associated with the procurement.

## DIRECTOR’S RIGHT TO ACCEPT OR REJECT A QUOTE

The Director reserves the right to reject any or all Quotes, or to award in whole or in part if deemed to be in the best interest of the State to do so. The Director shall have authority to award Contracts in accordance with N.J.S.A. 52:34-12.

## RECIPROCITY FOR JURISDICTIONAL BIDDER PREFERENCE

In accordance with N.J.S.A. 52:32-1.4 and N.J.A.C. 17:12-2.13, the State of New Jersey will invoke reciprocal action against an out-of-State Bidder whose state or locality maintains a preference practice for its in-state Bidders. The State of New Jersey will use the annual surveys compiled by the Council of State Governments, National Association of State Procurement Officials, or the National Institute of Governmental Purchasing or a State’s statutes and regulations to identify States having preference laws, regulations, or practices and to invoke reciprocal actions. The State of New Jersey may obtain additional information as it deems appropriate to supplement the stated survey information.

A Bidder may submit information related to preference practices enacted for a State or Local entity outside the State of New Jersey. This information may be submitted in writing as part of the Quote response, including name of the locality having the preference practice, as well as identification of the county and state, and should include a copy of the appropriate documentation, i.e., resolution, regulation, law, notice to Bidder, etc.  It is the responsibility of the Bidder to provide documentation with the Quote or submit it to the Director within five (5) Business Days after the deadline for Quote submission.  Written evidence for a specific procurement that is not provided to the Director within five (5) Business Days of the public Quote submission date may not be considered in the evaluation of that procurement, but may be retained and considered in the evaluation of subsequent procurements.

## CLARIFICATION OF QUOTE

After the Quote Opening Date, unless requested by the State as noted below, Bidder contact with the Procurement Bureau regarding this Bid Solicitation and the submitted Quote is not permitted.

After the Quotes are reviewed, one (1), some or all of the Bidders may be asked to clarify certain aspects of its Quote.  A request for clarification may be made in order to resolve minor ambiguities, irregularities, informalities or clerical errors.  Clarifications cannot correct any deficiencies, material omissions, or used to revise or modify a Quote.

The Director reserves the right to request that a Bidder to explain, in detail, how the Quote price was determined.

## ORAL PRESENTATION

Not applicable to this procurement.

## TIE QUOTES

Tie Quotes will be awarded by the Director in accordance with N.J.A.C. 17:12-2.10.

## STATE'S RIGHT TO INSPECT BIDDER’S FACILITIES

The State reserves the right to inspect the Bidder’s establishment before making an award, for the purposes of ascertaining whether the Bidder has the necessary facilities for performing the Contract.

## STATE'S RIGHT TO CHECK REFERENCES

The State may also consult with clients of the Bidder during the evaluation of Quotes. Such consultation is intended to assist the State in making a Contract award that is most advantageous to the State.

## EVALUATION CRITERIA

The following evaluation criteria categories, not necessarily listed in order of significance, will be used to evaluate Quotes received in response to this Bid Solicitation. The evaluation criteria categories may be used to develop more detailed evaluation criteria to be used in the evaluation process.

### TECHNICAL EVALUATION CRITERIA

The following criteria will be used to evaluate and score Quotes received in response to this Bid Solicitation. Each criterion will be scored, and each score multiplied by a predetermined weight to develop the Technical Evaluation Score:

- Personnel: The qualifications and experience of the Bidder’s management, supervisory, and key personnel assigned to the Contract, including the candidates recommended for each of the positions/roles required;

- Experience of firm: The Bidder’s documented experience in successfully completing Contract of a similar size and scope in relation to the work required by this Bid Solicitation; and

- Ability of firm to complete the Scope of Work based on its Technical Quote: The Bidder’s demonstration in the Quote that the Bidder understands the requirements of the Scope of Work and presents an approach that would permit successful performance of the technical requirements of the Contract.

### PRICE EVALUATION

For evaluation purposes, Bidders will be ranked from lowest to highest according to the total Quote price located on the State-Supplied Price Sheet accompanying this Bid Solicitation.

## QUOTE DISCREPANCIES

In evaluating Quotes, discrepancies between words and figures will be resolved in favor of words. Discrepancies between Unit Prices and totals of Unit Prices will be resolved in favor of Unit Prices. Discrepancies in the multiplication of units of work and Unit Prices will be resolved in favor of the Unit Prices. Discrepancies between the indicated total of multiplied Unit Prices and units of work and the actual total will be resolved in favor of the actual total. Discrepancies between the indicated sum of any column of figures and the correct sum thereof will be resolved in favor of the correct sum of the column of figures.

## NEGOTIATION

In accordance with N.J.S.A. 52:34-12(f) and N.J.A.C. 17:12-2-7, after evaluating Quotes, the Procurement Bureau may establish a competitive range and enter into negotiations with one (1) Bidder or multiple Bidders within this competitive range. The primary purpose of negotiations is to maximize the State’s ability to obtain the best value based on the mandatory requirements, evaluation criteria, and cost. Multiple rounds of negotiations may be conducted with one (1) Bidder or multiple Bidders. Negotiations will be structured by the Procurement Bureau to safeguard information and ensure that all Bidders are treated fairly.

Negotiations will be conducted only in those circumstances where it is deemed by the Director to be in the State’s best interests and to maximize the State’s ability to get the best value. Therefore, the Bidder is advised to submit its best technical and price Quote in response to this Bid Solicitation since the State may, after evaluation, make a Contract award based on the content of the initial submission.

If the Procurement Bureau contemplates negotiation, Quote prices will not be publicly read at the Quote opening. Only the name and address of each Bidder will be publicly announced at the Quote opening.

## BEST AND FINAL OFFER (BAFO)

The Procurement Bureau may invite one (1) Bidder or multiple Bidders to submit a Best and Final Offer (BAFO). Said invitation will establish the time and place for submission of the BAFO. Any BAFO that does not result in more advantageous pricing to the State will not be considered, and the State will evaluate the Bidder’s most advantageous previously submitted pricing.

The Division may conduct more than one (1) round of BAFO in order to attain the best value for the State.

BAFOs will be conducted only in those circumstances where it is deemed by the Procurement Bureau or Director to be in the State’s best interests and to maximize the State’s ability to get the best value.  Therefore, the Bidder is advised to submit its best technical and price Quote in response to this Bid Solicitation since the State may, after evaluation, make a Contract award based on the content of the initial submission

If the Procurement Bureau contemplates BAFOs, Quote prices will not be publicly read at the Quote opening. Only the name and address of each Bidder will be publicly announced at the Quote opening.

## “REQUEST FOR REVISION” WITHIN NJSTART

The State may request a revision of the Bidder’s Quote within NJSTART. The Bidder shall respond to the “Request for Revision” only for the reason(s) identified by the State. Any changes made by a Bidder to the Quote other than as requested by the State shall be considered null and void.

## POOR PERFORMANCE

A Bidder with a history of performance problems may be bypassed for consideration of an award issued as a result of this Bid Solicitation. The following materials may be reviewed to determine Bidder performance:

- Contract cancellations for cause pursuant to State of New Jersey Standard Terms and Conditions Section 5.7(B);

- Information contained in Contractor performance records;

- Information obtained from audits or investigations conducted by a local, state or federal agency of the Bidder’s work experience;

- Current licensure, registration, and/or certification status and relevant history thereof; or

- Bidder’s status or rating with established business/financial reporting services, as applicable.

Bidders should note that this list is not exhaustive.

## RECOMMENDATION FOR AWARD

After the evaluation of the submitted Quotes is complete, the Procurement Bureau will recommend to the Director for award, the responsible Bidder(s) whose Quote, conforming to this Bid Solicitation, is most advantageous to the State, price and other factors considered. The Director may accept, reject or modify the recommendation of the Procurement Bureau.

## CONTRACT AWARD

Contract award(s) will be made with reasonable promptness by written notice to that responsible Bidder(s), whose Quote(s), conforming to this Bid Solicitation, is(are) most advantageous to the State, price, and other factors considered. Any or all Quotes may be rejected when the State Treasurer or the Director determines that it is in the public interest to do so. Contract awards will be publicly posted under the relevant contract number and available on NJSTART.

The State intends to award one (1) Contract for all price lines.

# GLOSSARY

## CROSSWALK

| Current DPP Template Term | Equivalent Statutory, Regulatory NJSTART and/or Legacy Term |
| --- | --- |
| Bid Solicitation | Request For Proposal (RFP)/Solicitation |
| Bid Amendment | Addendum |
| Contract | Master Blanket Purchase Order (Blanket/Blanket P.O.) |
| Contract Amendment | Change Order |
| Administrative Change Order | Change Order |
| Quote | Proposal/Bid |
| Contractor | Vendor/Contractor |
| Bidder | Bidder/Contractor |

## DEFINITIONS

Unless otherwise specified in the Bid Solicitation, the following definitions will be part of any Contract awarded, or order placed, as a result of this Bid Solicitation.  Note that not all definitions included here apply to all Bid Solicitations.

Acceptance – The written confirmation by the Using Agency that Contractor has completed a Deliverable according to the specified requirements.

Administrative Change Order – A unilateral administrative modification to the Contract in the NJSTART system by the Division. Administrative Change Orders are not to be considered formal Contract Amendments.

All-Inclusive Hourly Rate – An hourly rate comprised of all direct and indirect costs including, but not limited to: labor costs, overhead, fee or profit, clerical support, travel expenses, per diem, safety equipment, materials, supplies, managerial support and all documents, forms, and reproductions thereof.  This rate also includes portal-to-portal expenses as well as per diem expenses such as food.

Apparel – means any clothing, headwear, linens or fabric.

Apparel Contracts – include all purchases, rentals or other acquisition of apparel products by the State of New Jersey, including authorizations by the State of New Jersey for contractors to sell apparel products through cash allowances or vouchers issued by the State of New Jersey, and license agreements with a public body.

Apparel Production – includes the cutting and manufacturing of apparel products performed by the Contractor or by any Subcontractors, but not including the production of supplies or sundries such as buttons, zippers, and thread.

Approved Products – Those products that have been identified in Bid Solicitation as meeting Using Agency needs and confirmed as meeting product specifications.

Authorized Purchasers – shall mean any State-Level government agency, department, office, instrumentality, division, unit or other entity in the Executive Branch (“State Purchasers”), Cooperative Purchasing Partners, and/or Intrastate Cooperative Purchasing Partners.

Best and Final Offer or BAFO – Pricing timely submitted by a Bidder upon invitation by the Procurement Bureau after Quote opening, with or without prior discussion or negotiation.

Bid or Bid Solicitation – The documents which establish the bidding and Contract requirements and solicits Quotes to meet the needs of the Using Agencies as identified herein, and includes the Bid Solicitation, State of New Jersey Standard Terms and Conditions (SSTC), State-Supplied Price Sheet, Attachments, and Bid Amendments.

Bid Amendment – Written clarification or revision to this Bid Solicitation issued by the Division. Bid Amendments, if any, will be issued prior to Quote opening.

Bid Opening Date – The date Quotes will be opened for evaluation and closed to further Quote submissions.

Bid Security - means a guarantee, in a form acceptable to the Division, that the bidder, if selected, will accept the contract as bid; otherwise, the bidder or, as applicable, its guarantor will be liable for the amount of the loss suffered by the State, which loss may be partially or completely recovered by the State in exercising its rights against the instrument of bid security.

Bidder – An entity offering a Quote in response to the Division’s Bid Solicitation.

Breach of Security – as defined by N.J.S.A. 56:8-161, means unauthorized access to electronic files, media, or data containing Personal Data that compromises the security, confidentiality, or integrity of Personal Data when access to the Personal Data has not been secured by encryption or by any other method or technology that renders the Personal Data unreadable or unusable.  Good faith acquisition of Personal Data by an employee or agent of the Provider for a legitimate business purpose is not a Breach of Security, provided that the Personal Data is not used for a purposes unrelated to the business or subject to further unauthorized disclosure.

Business Day – Any weekday, excluding Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Calendar Day – Any day, including Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Contract Amendment – An amendment, alteration, or modification of the terms of a Contract between the State and the Contractor(s). A Contract Amendment is not effective until it is signed and approved in writing by the person with the appropriate signing authority.  Contract Amendments are tracked using Change Orders in NJSTART. Please note that Administrative Change Orders (see definition above) are not considered Contract Amendments.

Commercial off the Shelf Software or COTS – Software provided by Provider that is commercially available and that can be used with little or no modification.

Contract – The Contract consists of the State of NJ Standard Terms and Conditions (SSTC), the Bid Solicitation, the responsive Quote submitted by a responsible Bidder as accepted by the State, the notice of award, any Best and Final Offer, any subsequent written document memorializing the agreement, any modifications to any of these documents approved by the State and any attachments, Bid Amendment or other supporting documents, or post-award documents including Contract Amendments agreed to by the State and the Contractor, in writing.

Contractor – The Bidder awarded a Contract resulting from this Bid Solicitation.

Contractor Intellectual Property – Any intellectual property that is owned by Contractor and contained in or necessary for the use of the Deliverables or which the Contractor makes available for the State to use as part of the work under the Contract. Contractor Intellectual Property includes COTS or Customized Software owned by Contractor, Contractor’s technical documentation, and derivative works and compilations of any Contractor Intellectual Property.

Cooperative Purchasing Program – The Division’s intrastate program that provides procurement-related assistance to New Jersey local governmental entities and boards of education, State and county colleges and other public entities having statutory authority to utilize select State Contract s issued by the Division, pursuant to the provisions of N.J.S.A. 52:25-16.1 et seq.

Cooperative Purchasing Participants – These participants include quasi-State entities, counties, municipalities, school districts, volunteer fire departments, first aid squads, independent institutions of higher learning, County colleges, and State colleges.

Customized Software – COTS that is adapted or configured by Provider to meet specific requirements of the Authorized Purchaser that differ from the standard requirements of the base product. For the avoidance of doubt, “Customized Software” is not permitted to be sold to the State under the scope of this Contract.

Days After Receipt of Order (ARO) – The number of Calendar Days ‘After Receipt of Order’ in which the Using Agency will receive the ordered materials and/or services.

Dealer/Distributor – A Company authorized by a Bidder or Contractor as having the contractual ability to accept and fulfill orders and receive payments directly on behalf of the Contractor that is awarded a Contract.  Any authorized Dealer/Distributor must agree to all terms and conditions contained within the Bid Solicitation and must agree to provide all products and services in accordance with the Contract specifications, terms, conditions and pricing.

Deliverable – Goods, products, Services and Work Product that Contractor is required to deliver to the State under the Contract.

Director – Director, Division of Purchase and Property, Department of the Treasury, who by statutory authority is the Chief Contracting Officer for the State of New Jersey; or the Director’s designee.

Disabled Veterans’ Business - means a business which has its principal place of business in the State, is independently owned and operated and at least 51% of which is owned and controlled by persons who are disabled veterans or a business which has its principal place of business in this State and has been officially verified by the United States Department of Veterans Affairs as a service disabled veteran-owned business for the purposes of department contracts pursuant to federal law.  N.J.S.A. 52:32-31.2.

Disabled Veterans’ Business Set-Aside Contract – means a Contract for goods, equipment, construction or services which is designated as a Contract with respect to which bids are invited and accepted only from disabled veterans’ businesses, or a portion of a Contract when that portion has been so designated.  N.J.S.A. 52:32-31.2.

Discount – The standard price reduction applied by the Bidder to all items.

Division – The Division of Purchase and Property.

Equivalent Products – Products offered other than those identified as an Approved Product in this Bid Solicitation that meet the specifications herein. Equivalent Products will be evaluated to ensure that they meet all technical, nutritional, and packaging specifications herein as part of the Quote evaluation process.

Evaluation Committee – A group of individuals or a Division staff member assigned by the Director to review and evaluate Quotes submitted in response to this Bid Solicitation and recommend a Contract award to the Director.

Firm Fixed Price – A price that is all-inclusive of direct cost and indirect costs, including, but not limited to, direct labor costs, overhead, fee or profit, clerical support, equipment, materials, supplies, managerial (administrative) support, all documents, reports, forms, travel, reproduction and any other costs.

Hardware – Includes computer equipment and any Software provided with the Hardware that is necessary for the Hardware to operate.

Internet of Things (IoT) – the network of physical devices, vehicles, home appliances and other items embedded with electronics, software, sensors, actuators, and network connectivity which enables these objects to connect and exchange data.

Intrastate cooperative purchasing participants – refers to political subdivisions, volunteer fire departments and first aid squads, and independent institutions of higher education and school districts pursuant to N.J.S.A. 52:25-16.1 et seq., State and county colleges pursuant to N.J.S.A. 18A:64-60 and 18A:64A-25.9, quasi-State agencies and independent authorities pursuant to N.J.S.A. 52:27B-56.1, and other New Jersey public entities having statutory authority to utilize select State contracts issued by the Division.

Joint Venture – A business undertaking by two (2) or more entities to share risk and responsibility for a specific project.

Life cycle assessment – The comprehensive examination of a product’s environmental and economic aspects and potential impacts throughout its lifetime, including raw material extraction, transportation, manufacturing, use and disposal.

Life cycle cost – The amortized total cost of a product, including capital costs, installation costs, operating costs, maintenance costs, and disposal costs discounted over the lifetime of the product.

Master Blanket Purchase Order (Blanket/Blanket P.O.) – A Term Contract that allows repeated purchases from an awarded contract.

Materials in Solid Waste – Material found in the various components of the solid waste stream. General, solid waste has several components, such as municipal solid waste (MSW), construction and demolition debris (C&D), and nonhazardous industrial waste.  Under RCRA Section 6002, EPA considers materials recovered from any component of the solid waste stream when designating items containing Recovered Materials.

May – Denotes that which is permissible or recommended, not mandatory.

Mobile Device – means any device used by Provider that can move or transmit data, including but not limited to laptops, hard drives, and flash drives.

Must – Denotes that which is a mandatory requirement.

Net Purchases – means the total gross purchases, less credits, taxes, regulatory fees and separately stated shipping charges not included in unit prices, made by Intrastate Cooperative Purchasing Participants, regardless of whether or not NJSTART is used as part of the purchase process.

No Bid – The Bidder is not submitting a price Quote for an item on a price line.

No Charge – The Bidder will supply an item on a price line free of charge.

Non-Public Data – means data, other than Personal Data, that is not subject to distribution to the public as public information. Non-Public Data is data that is identified by the State as non-public information or otherwise deemed to be sensitive and confidential by the State because it contains information that is exempt by statute, ordinance or administrative rule from access by the general public as public information.

Percentage Discount or Markup – The percentage bid applied as a Markup or a Discount to a firm, fixed price contained within a price list/catalog.

Performance Security – means a guarantee, executed subsequent to award, in a form acceptable to the Division, that the successful bidder will complete the contract as agreed and that the State will be protected from loss in the event the contractor fails to complete the contract as agreed.

Personal Data means –

“Personal Information” as defined in N.J.S.A. 56:8-161, means an individual’s first name or first initial and last name linked with any one or more of the following data elements: (1) Social Security number, (2) driver’s license number or State identification card number or (3) account number or credit or debit card number, in combination with any required security code, access code, or password that would permit access to an individual’s financial account.  Dissociated data that, if linked would constitute Personal Information is Personal Information if the means to link the dissociated were accessed in connection with access to the dissociated data.  Personal Information shall not include publicly available information that is lawfully made available to the general public from federal, state or local government records, or widely distributed media; and/or

Data, either alone or in combination with other data, that includes information relating to an individual that identifies the person or entity by name, identifying number, mark or description that can be readily associated with a particular individual and which is not a public record, including but not limited to, Personally Identifiable Information (PII); government-issued identification numbers (e.g., Social Security, driver’s license, passport); Protected Health Information (PHI) as that term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 and defined below; and Education Records, as that term is defined in the Family Educational Rights and Privacy Act (FERPA), 20 U.S.C. § 1232g.

Personally Identifiable Information or PII - as defined by the U.S. Department of Commerce, National Institute of Standards and Technology, means any information about an individual maintained by an agency, including (1) any information that can be used to distinguish or trace an individual’s identity, such as name, social security number, date and place of birth, mother’s maiden name, or biometric records; and (2) any other information that is linked or linkable to an individual, such as medical, educational, financial, and employment information.

Post-Consumer Material – Material or finished product that has served its intended use and has been diverted or recovered from waste destined for disposal, having completed its life as a consumer item.  Post-Consumer Materials are part of the broader category of Recovered Materials.

Pre-Consumer Material – Materials generated in manufacturing and converting processes, such as manufacturing scrap and trimmings/cuttings.

Price List/Catalog – A document published by a manufacturer, resellers, Dealers, or Distributors that typically contains product descriptions, a list of products with fixed prices to which a Bidder’s percentage discount or markup bid is applied.

Procurement Bureau (Bureau) – The Division unit responsible for the preparation, advertisement, and issuance of Bid Solicitations, for the tabulation of Quotes and for recommending award(s) of Contract(s) to the Director and the Deputy Director.

Project – The undertakings or services that are the subject of this Bid Solicitation.

Protected Health Information or PHI – has the same meaning as the term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 means Individually Identifiable Health Information (as defined below) transmitted by electronic media, maintained in electronic media, or transmitted or maintained in any other form or medium. PHI excludes education records covered by the Family Educational Rights and Privacy Act (FERPA), as amended, 20 U.S.C. 1232g, records described at 20 U.S.C. 1232g(a)(4)(B)(iv) and employment records held by a covered entity in its role as employer. The term “Individually Identifiable Health Information” has the same meaning as the term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 and means information that is a subset of Protected Health Information, including demographic information collected from an individual, and (1) is created or received by a health care provider, health plan, employer or health care clearinghouse; and (2) relates to the past, present or future physical or mental health or condition of an individual; the provision of health care to an individual; or the past, present or future payment for the provision of health care to an individual; and (a) that identifies the individual; or (b) with respect to which there is a reasonable basis to believe the information can be used to identify the individual.

Purchases - means the total gross purchases, less credits, taxes, regulatory fees and separately stated shipping charges not included in unit prices, made regardless of whether or not NJSTART is used as part of the purchase process.

Quasi-State Agency – is any agency, commission, board, authority or other such governmental entity which is established and is allocated to a State department or any bi-state governmental entity of which the State of New Jersey is a member, as defined in N.J.S.A. 52:27B-56.1, provided that any sale to any such bi-state governmental entity is for use solely within the State of New Jersey.

Quick Reference Guides (QRGs) – Informational documents which provide Vendors with step-by-step instructions to navigate the NJSTART eProcurement System. QRGs are available on the NJSTART Vendor Support Page.

Quote – Bidder’s timely response to the Bid Solicitation including, but not limited to, technical Quote, price Quote including Best and Final Offer, any licenses, forms, certifications, clarifications, negotiated documents, and/or other documentation required by the Bid Solicitation.

Quote Opening Date – The date Quotes will be opened for evaluation and closed to further Quote submissions.

Recovered Material – Waste material and byproduct that have been recovered or diverted from solid waste, but does not include materials and byproducts generated from, and commonly reused within, an original manufacturing process.

Recycling – The series of activities, including collection, separation, and processing, by which products or other materials are recovered from the solid waste stream for use in the form of raw materials in the manufacture of new products other than fuel for producing heat or power by combustion.

Recyclability – The ability of a product or material to be recovered from, or otherwise diverted from, the solid waste stream for the purpose of recycling.

Retainage – The amount withheld from the Contractor payment that is retained and subsequently released upon satisfactory completion of performance milestones by the Contractor.

Revision – A response to a BAFO request or a requested clarification of the Bidder’s Quote.

RMAN – Recovered Materials Advisory Notices provide purchasing guidance and recommendations for Recovered and Post-Consumer Material content levels for designated items.

Security Incident – means the potential access by non-authorized person(s) to Personal Data or Non-Public Data that the Provider believes could reasonably result in the use, disclosure, or access or theft of State’s unencrypted Personal Data or Non-Public Data within the possession or control of the Provider. A Security Incident may or may not turn into a Breach of Security.

Services – Includes, without limitation (i) Information Technology (IT) professional services, (ii) Software and Hardware-related services, including without limitation, installation, configuration, and training, and (iii) Software and Hardware maintenance and support and/or Software and Hardware technical support services.

Shall – Denotes that which is a mandatory requirement.

Should – Denotes that which is permissible or recommended, not mandatory.

Small Business – Pursuant to N.J.S.A. 52:32-19, N.J.A.C. 17:13-1.2, and N.J.A.C. 17:13-2.1, “small business” means a business that meets the requirements and definitions of “small business” and has applied for and been approved by the New Jersey Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit as (i) independently owned and operated, (ii) incorporated or registered in and has its principal place of business in the State of New Jersey; (iii)  has 100 or fewer full-time employees; and has gross revenues falling in one (1) of the six (6) following categories:

For goods and services - (A) 0 to $500,000 (Category I); (B) $500,001 to $5,000,000 (Category II); and (C) $5,000,001 to $12,000,000, or the applicable federal revenue standards established at 13 CFR 121.201, whichever is higher (Category III).

For construction services: (A) 0 to $3,000,000 (Category IV); (B) gross revenues that do not exceed 50 percent of the applicable annual revenue standards established at 13 CFR 121.201 (Category V); and (C) gross revenues that do not exceed the applicable annual revenue standards established at CFR 121.201, (Category VI).

Small Business Set-Aside Contract – means (1) a Contract for goods, equipment, construction or services which is designated as a Contract with respect to which bids are invited and accepted only from small businesses, or (2) a portion of a Contract when that portion has been so designated.”  N.J.S.A. 52:32-19.

Software – means, without limitation, computer programs, source codes, routines, or subroutines supplied by Provider, including operating software, programming aids, application programs, application programming interfaces and software products, and includes COTS, unless the context indicates otherwise.

Software as a Service or SaaS – means the capability provided to a purchaser to use the Provider’s applications running on a cloud infrastructure. The applications are accessible from various client devices through a thin client interface such as a Web browser (e.g., Web-based email) or a program interface. The purchaser does not manage or control the underlying cloud infrastructure, including network, servers, operating systems, storage or even individual application capabilities, with the possible exception of limited user-specific application configuration settings.

State – The State of New Jersey.

State Confidential Information – shall consist of State Data and State Intellectual Property  supplied by the State, any information or data gathered by the Contractor in fulfillment of the Contract and any analysis thereof (whether in fulfillment of the Contract or not).

State Contract Manager or SCM – The individual, responsible for the approval of all deliverables, i.e., tasks, sub-tasks or other work elements in the Scope of Work.  The SCM cannot direct or approve a Contract Amendment.

State Data – means all data and metadata created or in any way originating with the State, and all data that is the output of computer processing of or other electronic manipulation of any data that was created by or in any way originated with the State, whether such data or output is stored on the State’s hardware, the Provider’s hardware or exists in any system owned, maintained or otherwise controlled by the State or by the Provider.  State Data includes Personal Data and Non-Public Data.

State Intellectual Property – Any intellectual property that is owned by the State.  State Intellectual Property includes any derivative works and compilations of any State Intellectual Property.

State Price Sheet or State-Supplied Price Sheet – the bidding document created by the State and attached to this Bid Solicitation on which the Bidder submits its Quote pricing as is referenced and described in the Bid Solicitation.

Subtasks – Detailed activities that comprise the actual performance of a task.

Subcontractor – An entity having an arrangement with a Contractor, whereby the Contractor uses the products and/or services of that entity to fulfill some of its obligations under its State Contract, while retaining full responsibility for the performance of all  Contractor's obligations under the Contract, including payment to the Subcontractor.  The Subcontractor has no legal relationship with the State, only with the Contractor.

Task – A discrete unit of work to be performed.

Third Party Intellectual Property – Any intellectual property owned by parties other than the State or Contractor and contained in or necessary for the use of the Deliverables.  Third Party Intellectual Property includes COTS owned by Third Parties, and derivative works and compilations of any Third Party Intellectual Property.

Unit Cost or Unit Price – All-inclusive, firm fixed price charged by the Bidder for a single unit identified on a price line.

US CERT – United States Computer Emergency Readiness Team.

USEPA – United States Environmental Protection Agency.

Using Agency[ies] – A State department or agency, a quasi-State governmental entity, or an Intrastate Cooperative Purchasing participant, authorized to purchase products and/or services under a Contract procured by the Division.

Vendor – Either the Bidder or the Contractor.

Work Product – Every invention, modification, discovery, design, development, customization, configuration, improvement, process, Software program, work of authorship, documentation, formula, datum, technique, know how, secret, or intellectual property right whatsoever or any interest therein (whether patentable or not patentable or registerable under copyright or similar statutes or subject to analogous protection) that is specifically made, conceived, discovered, or reduced to practice by Contractor or Contractor’s Subcontractors or a third party engaged by Contractor or its Subcontractor pursuant to the Contract Notwithstanding anything to the contrary in the preceding sentence, Work Product does not include State Intellectual Property, Contractor Intellectual Property or Third Party Intellectual Property.

  - 9.3 BID-SPECIFIC DEFINITIONS

CCAU – Contract Compliance and Audit Unit

Communitor – A device used to reduce the size of solid materials within wastewater by shredding them

Coordinator of Plant Services (CPS) – (Greystone staff overseeing hospital engineering department),

DMR – Discharge Monitoring Reports

GPH – Greystone Park Psychiatric Hospital

Licensed Operator – An individual approved by the NJDEP holding any local title, designation, or job description who is on-site at a system a significant amount of time, although not necessarily full time, and who has active involvement in and is responsible for the operation, maintenance, and effectiveness of the system, and who holds a license equal to or higher than that required for the system.

NJDEP – State of New Jersey’s Department of Environmental Protection

O&M – Operation and Maintenance

USEPA – United States Environmental Protection Agency

WWTP – Wastewater Treatment Plant