| Bid Solicitation # | 24DPP01046 |
| --- | --- |
| T0125 – Tower Maintenance: Land Mobile Radio & Broadcast Television Towers |  |

|  | Date | Time |
| --- | --- | --- |
| Due Date For Electronic Questions Refer to Bid Solicitation Section 2.1 for more information. | August 27, 2024 | 2:00 PM |
| Optional Pre-Quote Submission Conference Refer to Bid Solicitation Section 2.5 for more information. | August 2, 2024 | 10:00 AM |
| Optional Site Visit Refer to Bid Solicitation Section 2.4 for more information. | August 13, 2024 | 9:30 AM The New Jersey Public Broadcasting Authority 11:30 AM New Jersey State Police Princeton Barracks |
| Revised Quote Opening Date Refer to Bid Solicitation Section 3 for more information. | October 29, 2024 | 2:00 PM |

Dates are subject to change.  All times contained in the Bid Solicitation refer to Eastern Time.

All changes will be reflected in Bid Amendments to the Bid Solicitation posted on www.njstart.gov.

| SET-ASIDES |  |
| --- | --- |
| Small Business Set-Aside For Goods and Services: ☒ I ☒ II ☒ III For Construction: ☐ IV ☐ V ☐ VI | ☐ Not Applicable ☐ Entire Contract ☐ Partial Contract ☒ Subcontracting Only ☐ Preference |
| Disabled Veteran-Owned Business Set-Aside | ☒ Not Applicable ☐ Entire Contract ☐ Partial Contract ☐ Subcontracting Only ☐ Preference |

| Bid Solicitation Issued By: State of New Jersey Department of the Treasury Division of Purchase and Property Trenton, New Jersey 08625-0230 | On Behalf of: State of New Jersey Office of Information Technology New Jersey Public Broadcasting Authority |
| --- | --- |

Date:  10/7/2024

TABLE OF CONTENTS

1	INTRODUCTION AND SUMMARY OF THE BID SOLICITATION	1

1.1	PURPOSE AND INTENT	1

1.2	BACKGROUND	1

1.3	CONTRACT AMOUNT	1

1.4	ORDER OF PRECEDENCE OF CONTRACTUAL TERMS	1

1.5	INTRASTATE COOPERATIVE PURCHASING	2

2	PRE-QUOTE SUBMISSION INFORMATION	3

2.1	ELECTRONIC QUESTION AND ANSWER PERIOD	3

2.2	EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)	3

2.3	BID AMENDMENTS	3

2.4	OPTIONAL SITE VISIT	3

2.5	OPTIONAL PRE-QUOTE CONFERENCE	3

2.6	PRE-QUOTE DOCUMENT REVIEW	4

3	QUOTE SUBMISSION REQUIREMENTS	5

3.1	QUOTE SUBMISSION	5

3.2	BIDDER RESPONSIBILITY	5

3.3	ANNOUNCEMENT OF QUOTE INFORMATION	5

3.4	QUOTE ERRORS	5

3.5	QUOTE WITHDRAWAL PRIOR TO QUOTE OPENING	5

3.6	QUOTE WITHDRAWAL AFTER QUOTE OPENING, BUT PRIOR TO CONTRACT AWARD	5

3.7	JOINT VENTURE	6

3.8	SMALL BUSINESS SET-ASIDE CONTRACTS	6

3.9	DISABLED VETERANS’ BUSINESS SET-ASIDE CONTRACT	6

3.10	BID SECURITY	6

3.11	BIDDER ADDITIONAL TERMS SUBMITTED WITH THE QUOTE	6

3.12	QUOTE CONTENT	6

3.13	FORMS, REGISTRATIONS AND CERTIFICATIONS TO BE SUBMITTED WITH QUOTE	6

3.13.1	OFFER AND ACCEPTANCE PAGE	7

3.13.2	OWNERSHIP DISCLOSURE FORM	7

3.13.3	DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN FORM	7

3.13.4	DISCLOSURE OF INVESTIGATIONS AND OTHER ACTIONS INVOLVING BIDDER FORM	7

3.13.5	MACBRIDE PRINCIPLES FORM	7

3.13.6	SERVICE PERFORMANCE WITHIN THE UNITED STATES	8

3.13.7	CONFIDENTIALITY/COMMITMENT TO DEFEND	8

3.13.8	SUBCONTRACTOR UTILIZATION PLAN	8

3.13.9	RESERVED	9

3.13.10	AFFIRMATIVE ACTION	9

3.13.11	RESERVEd	9

3.13.12	STATE OF NEW JERSEY SECURITY DUE DILIGENCE THIRD-PARTY INFORMATION SECURITY QUESTIONNAIRE	9

3.13.13	BUSINESS REGISTRATION	9

3.13.14	Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Pursuant to P.L.2022, c.3	9

3.14	TECHNICAL QUOTE	9

3.14.1	LAND MOBILE RADIO TOWER SERVICES REQUIREMENTS	10

3.14.2	BROADCAST TELEVISION TOWER MAINTENANCE SERVICES REQUIREMENTS	10

3.15	MANAGEMENT OVERVIEW	10

3.16	CONTRACT MANAGEMENT	10

3.17	CONTRACT SCHEDULE	10

3.18	MOBILIZATION PLAN	10

3.19	ADDITIONAL PLAN(S)	10

3.20	ORGANIZATIONAL EXPERIENCE	10

3.21	LOCATION	10

3.22	ORGANIZATION CHARTS	11

3.23	RESUMES	11

3.24	EXPERIENCE WITH CONTRACTS OF SIMILAR SIZE AND SCOPE	11

3.25	FINANCIAL CAPABILITY OF THE BIDDER	11

3.26	STATE-SUPPLIED PRICE SHEET INSTRUCTIONS	12

3.26.1	DELIVERY TIME AND COSTS	12

3.26.2	CASH DISCOUNTS	12

3.26.3	USE OF “NO BID” VERSUS “NO CHARGE” ON THE STATE-SUPPLIED PRICE SHEET	13

3.27	ORAL PRESENTATIONS	13

4	SCOPE OF WORK	14

4.1	CATEGORIES	14

4.2	TOWER RELAMPING AND TOWER TOP AMPLIFIER REPLACEMENTS	14

4.3	TOWER INSPECTIONS	14

4.4	ANTENNA REPLACEMENT AND PERFORMANCE CAPABILITY	14

4.5	TOWER DATA	15

4.5.1	land mobile radio tower data	15

4.5.2	broadcast television tower data	17

4.6	LABOR AND EQUIPMENT REQUIREMENTS	19

4.6.1	time and material (t&M) support: labor rates	19

4.6.2	time and material (T&M) support: material costs	21

4.7	RESPONSE TIME AND COVERAGE	22

4.8	LIGHTNING PROTECTION AND GROUNDING	22

4.9	CONTRACTOR EXPERIENCE, QUALIFICATIONS, AND EQUIPMENT AVAILABILITY	22

4.9.1	LAND MOBILE TOWER EXPERIENCE AND QUALIFICATIONS	22

4.9.2	BROADCAST TELEVISION TOWER EXPERIENCE AND QUALIFICATIONS	22

4.9.3	EQUIPMENT/STAFFING AVAILABILITY	23

4.9.4	SECURITY AND CLEARANCE	23

4.9.5	CONTRACTOR RESPONSIBILITY	23

4.9.6	PROFESSIONAL ORGANIZATIONS	24

4.10	PERMITS	24

4.11	GENERAL REQUIREMENTS	24

4.11.1	compliance with the public works contractor registration (pcwr)	24

4.11.2	additions and substitutions	24

4.11.3	price updates	24

4.12	SUBSTITUTION OF DISCONTINUED OR REFORMULATED PRODUCTS	24

4.13	SUBSTITUTION OF PRODUCTS ON A TEMPORARY BASIS	24

5	GENERAL CONTRACT TERMS	26

5.1	CONTRACT TERM AND EXTENSION OPTION	26

5.2	CONTRACT TRANSITION	26

5.3	PERFORMANCE SECURITY	26

5.4	OWNERSHIP OF MATERIAL	26

5.5	SUBSTITUTION OF STAFF	27

5.6	LIQUIDATED DAMAGES	27

5.7	RETAINAGE	27

5.8	ELECTRONIC PAYMENTS	27

5.9	PROCUREMENT EFFICIENCY PROGRAM	27

6	DATA SECURITY REQUIREMENTS – CONTRACTOR RESPONSIBILITY	29

7	MODIFICATIONS TO THE STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS	30

7.1	INSURANCE	30

7.1.1	PROFESSIONAL LIABILITY INSURANCE	30

8	QUOTE EVALUATION AND AWARD	31

8.1	RIGHT TO WAIVE	31

8.2	DIRECTOR’S RIGHT TO ACCEPT OR REJECT A QUOTE	31

8.3	RECIPROCITY FOR JURISDICTIONAL BIDDER PREFERENCE	31

8.4	CLARIFICATION OF QUOTE	31

8.5	ORAL PRESENTATION	31

8.6	TIE QUOTES	31

8.7	STATE'S RIGHT TO INSPECT BIDDER’S FACILITIES	31

8.8	STATE'S RIGHT TO CHECK REFERENCES	31

8.9	EVALUATION CRITERIA	31

8.9.1	TECHNICAL EVALUATION CRITERIA	32

8.9.2	PRICE EVALUATION	32

8.10	QUOTE DISCREPANCIES	32

8.11	NEGOTIATION	32

8.12	BEST AND FINAL OFFER (BAFO)	32

8.13	“REQUEST FOR REVISION” WITHIN NJSTART	32

8.14	POOR PERFORMANCE	33

8.15	RECOMMENDATION FOR AWARD	33

8.16	CONTRACT AWARD	33

9	GLOSSARY	34

9.1	CROSSWALK	34

9.2	DEFINITIONS	34

9.3	CONTRACT-SPECIFIC DEFINITIONS	41

ATTACHMENTS:

State of New Jersey Standard Terms and Conditions (2/8/2024)

Standard Procurement Forms Packet

State-Supplied Price Sheet

EXHIBITS:

Exhibit 1 - Land Mobile Radio Tower Services Questionnaire

Exhibit 2 - Broadcast Television Tower Services Questionnaire

# INTRODUCTION AND SUMMARY OF THE BID SOLICITATION

This Bid Solicitation is issued by the Department of the Treasury, Division of Purchase and Property (Division), Procurement Bureau, on behalf of the Office of Information Technology (OIT) and the New Jersey Public Broadcasting Authority (NJPBA). Quotes submitted in response to this Bid Solicitation shall be through the State of New Jersey’s eProcurement system, NJSTART.  Bidders are advised to thoroughly read all sections of this Bid Solicitation and follow all instructions.

Bidders are strongly encouraged to visit the NJSTART Vendor Support Page, which contains Quick Reference Guides (QRGs), supporting videos, a glossary of NJSTART terms, and helpdesk contact information.  Bidders should utilize the QRGs before attempting to submit a Quote through NJSTART.   It is the Bidder’s responsibility to ensure that the Quote and attachments have been properly submitted.  Inquiries concerning the use of NJSTART may be directed to njstart@treas.nj.gov. The Division will not respond to substantive questions related to the Bid Solicitation or any other Contract via this email address.

## PURPOSE AND INTENT

The purpose of this Bid Solicitation is to solicit Quotes for the maintenance of land mobile radio and broadcast television towers.

It is the intent of the State to award up to six (6) Contracts to those responsible Bidders whose Quotes, conforming to this Bid Solicitation are most advantageous to the State of New Jersey (State), price and other factors considered.  The State may award any or all price lines.  The State, however, reserves the right to separately procure individual requirements that are the subject of the Contract during the Contract term, when deemed by the Director of the Division (Director) to be in the State’s best interest.

The intent is to award up to two (2) Contracts for the Southern Region; two (2) Contracts for the Central Region; and two (2) Contracts for the Northern Region.

The scope of this Contract does not include the installation of new towers.

There is a Small Business Subcontracting requirement as defined in Bid Solicitation Section 3.13.8.1.

The State of New Jersey Standard Terms and Conditions (SSTCs) included with this Bid Solicitation will apply to all Contracts made with the State.  These terms are in addition to the terms and conditions set forth in this Bid Solicitation and should be read in conjunction with them unless the Bid Solicitation specifically indicates otherwise.

## BACKGROUND

This is a reprocurement of the services under T0125 – Tower Maintenance: Land Mobile Radio and Television Broadcast Towers.  Bidders interested in reviewing the current Contract specifications and pricing information may do so by following the instruction below.  Bidders should not rely upon or use data or information from the contract when preparing a response to this Bid Solicitation as this Bid Solicitation addresses the State’s current requirements.

- Go to: www.njstart.gov

- Select “Active Blankets”

- In the search bar, select “Blankets” from the drop down menu

- Enter the T0125 and click “”

- The current Contract list will appear under “Results”

## CONTRACT AMOUNT

The estimated amount of the Contract, if stated, shall not be construed as either the maximum or minimum amount which the State shall be obliged to order.

## ORDER OF PRECEDENCE OF CONTRACTUAL TERMS

The Contract awarded, and the entire agreement between the parties, as a result of this Bid Solicitation shall consist of:  (1) the final Bid Solicitation, (2) the State of New Jersey Standard Terms and Conditions, (3) the Quote, and if applicable (4) any Bidder responses to clarifications; (5) a Bidder’s Best and Final Offer, (6) other negotiated document, and/or (7) third party document.  In the event of a conflict in the terms and conditions among the documents comprising this Contract, the order of precedence, for purposes of interpretation thereof, listed from highest ranking to lowest ranking as noted above.

Any other terms or conditions, not included with the Bidder’s Quote and accepted by the State, shall not be incorporated into the Contract awarded.  Any references to external documentation, including those documents referenced by a URL, including without limitation, technical reference manuals, technical support policies, copyright notices, additional license terms, etc., are subject to the terms and conditions of the Bid Solicitation and the State of New Jersey Standard Terms and Conditions.  In the event of any conflict between the terms of a document incorporated by reference, the terms and conditions of the Bid Solicitation and the State of New Jersey Standard Terms and Conditions shall prevail.

## INTRASTATE COOPERATIVE PURCHASING

The State intends to extend the Contracts awarded to the State's Intrastate Cooperative Purchasing Participants.  Although the State is making the use of any Contract resulting from this Bid Solicitation available to Intrastate Cooperative Purchasing Participants, the State makes no representation as to the acceptability of the Bid Solicitation’s terms and conditions to any Intrastate Cooperative Purchasing Participants.

# PRE-QUOTE SUBMISSION INFORMATION

The Bidder assumes sole responsibility for the complete effort required in submitting a Quote and for reviewing the Quote submission requirements and the Scope of Work requirements.

## ELECTRONIC QUESTION AND ANSWER PERIOD

The Division will electronically accept questions and inquiries from all potential Bidders via the “Q&A” Tab of the Bid Solicitation in NJSTART.  Questions should be directly tied to a Bid Solicitation Section, the Price Sheet, Form or Attachment; and should reference the specific Bid Solicitation Section or document to which it relates.

The cut-off date for electronic questions and inquiries relating to this Bid Solicitation is indicated on the Bid Solicitation cover page.  In the event that questions are posed by Bidders, answers to such questions will be issued by Bid Amendment.

A Bidder shall not contact the Using Agency and/or the Procurement Specialist directly, in person, by telephone or by e-mail, concerning this Bid Solicitation, prior to Contract award.

## EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)

Questions regarding the State of New Jersey Standard Terms and Conditions and exceptions to mandatory requirements MUST be posed during the Electronic Question and Answer period and shall contain the Bidder’s suggested changes and the reason(s) for the suggested change(s).

## BID AMENDMENTS

In the event that it becomes necessary to clarify or revise this Bid Solicitation, such clarification or revision will be by Bid Amendment.  Any Bid Amendment will become part of this Bid Solicitation and part of any Contract awarded. Bid Amendments will be posted as a file attachment on the “Summary” page of the Bid Solicitation in NJSTART after the cut-off date.

There are no designated dates for release of Bid Amendments.  Those Bidders who are on the bid holder list either through commodity code registration in NJSTART or by acknowledging the bid in NJSTART should receive notification of any Bid Amendment(s). If a Bidder is not on the bid holder list, Bid Amendments are still viewable on the “Summary” page of the Bid Solicitation in NJSTART.

It is the sole responsibility of the Bidder to be knowledgeable of all Bid Amendments related to this procurement. An interested Bidder should check the NJSTART “Open Bids” Tab on a daily basis to ensure review of the most updated information.

## OPTIONAL SITE VISIT

An Optional Site Visit has been scheduled for this procurement on the date and time indicated on the Bid Solicitation coversheet. The location of the Optional Site Visit will be as follows:

The New Jersey Public Broadcasting Authority (NJPBA)

301 Grovers Mill Road

Lawrence Township, NJ 08648

New Jersey State Police (NJSP) Princeton Barracks
3925 US-Route 1

Princeton, NJ 08540

An attendee may represent only one (1) potential bidding entity. The Optional Site Visit may be recorded.

No questions or inquiries will be accepted or answered during the mandatory/optional site visit.  All questions must be submitted through the Questions and Answer process.

## OPTIONAL PRE-QUOTE CONFERENCE

The date and time of the Optional Pre-Quote Conference is indicated on the Bid Solicitation cover sheet.  Attendees may attend the Optional Pre-Quote Conference with the following call-in details:

Microsoft Teams Need help?

Join the meeting now

Meeting ID: 281 345 853 686

Passcode: CrCsCg

Dial in by phone

+1 856-338-7074,,437112158# United States, Camden

Find a local number

Phone conference ID: 437 112 158#

For organizers: Meeting options | Reset dial-in PIN

The Optional Pre-Quote Conference may be recorded.

The purpose of the Optional Pre-Quote Conference is to address procedural questions regarding the Bid Solicitation and Bidder Quote Submission Requirements only.  No substantive questions regarding the Bid Solicitation Scope of Work will be accepted or answered during the pre-Quote conference.  All questions are to be submitted during the Electronic Question and Answer Period.

## PRE-QUOTE DOCUMENT REVIEW

The following are publicly available documents that a Bidder needs to review in order to prepare and submit accurate and comprehensive Quotes:

- The American National Standards Institute and the American Society of Safety Engineers (ANSI/ASSE) have developed the ANSI/ASSE A10.48-2016 standard for Construction, Demolition, Modification, and Maintenance of Communications Structures (available at www.asse.org).  These standards have been adopted by the New Jersey Public Broadcasting Authority (NJPBA) and will be implemented during all phases of tower projects conducted on NJPBA tower sites or projects managed by the NJPBA.

# QUOTE SUBMISSION REQUIREMENTS

## QUOTE SUBMISSION

In order to be considered for award, the Quote must be received electronically by the Division’s Proposal Review Unit, through NJSTART, by the required date and time.

The date and time of the Quote opening are indicated on the Bid Solicitation cover sheet and on the “Summary” Tab of the Bid Solicitation webpage within NJSTART.  If the Quote opening deadline has been revised, the new Quote opening deadline will be shown on the posted Bid Amendment and on the “Summary” Tab of the Bid Solicitation webpage within NJSTART.  Quotes not received prior to the Quote opening deadline shall be rejected.

Quotes will be publicly opened and announced by telephone conference on the date and time of the quote opening.

(Dial-in phone number: 888-204-5984 / Access code: 2602305)

When submitting a Quote through NJSTART, do not use any symbols (i.e., #, @, $, &, *) in the filename as this may prevent the Quote from being properly uploaded.  Uploaded files must be compatible with Microsoft Office and/or Adobe software applications. DO NOT UPLOAD files with extensions such as .zip, .numbers, or .pages.

When uploading the documents to NJSTART, the Bidder should select the “Confidential” option in NJSTART for attachments on the “Attachments” Tab to request that the documents not be displayed publicly through NJSTART. Marking an attachment as "Confidential" in NJSTART shall not constitute the Bidder's designation of the attachment as exempt from public disclosure under the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know.

## BIDDER RESPONSIBILITY

The Bidder assumes sole responsibility for the complete effort required in submitting a Quote in response to this Bid Solicitation.  No special consideration will be given after Quotes are opened because of a Bidder’s failure to be knowledgeable as to all of the requirements of this Bid Solicitation.  The State assumes no responsibility and bears no liability for costs incurred by a Bidder in the preparation and submittal of a Quote in response to this Bid Solicitation or any pre-contract award costs incurred.

## ANNOUNCEMENT OF QUOTE INFORMATION

On the date and time Quotes are due under the Bid Solicitation, all information concerning the Quotes submitted may be publicly announced and shall be available for inspection and copying except otherwise noted:

- Information appropriately designated as proprietary and/or confidential in a Bidder’s Quote shall not be available for inspection and copying; and

- Where negotiation is contemplated, only the names and addresses of the Bidders submitting Quotes will be announced, and the contents of the Quotes shall not be available for inspection and copying until the Notice of Intent to Award is issued by the Director.

## QUOTE ERRORS

In accordance with N.J.A.C. 17:12-2.11 “Proposal errors,” a Bidder may withdraw its Quote as described below.

## QUOTE WITHDRAWAL PRIOR TO QUOTE OPENING

A Bidder may withdraw its Quote submission in NJSTART prior to the Quote opening; however, Bidders should note that while withdrawn NJSTART Quotes remain viewable by the Bidder on its Vendor Profile Homepage, they are removed from the Division’s view and cannot be considered for Contract award. The Bidder may submit a revised Quote as long as the Quote is received prior to the announced date and time for Quote submission. Bidders may refer to the QRG “Submit a Quote” for additional instructions.

## QUOTE WITHDRAWAL AFTER QUOTE OPENING, BUT PRIOR TO CONTRACT AWARD

If, after the Quote opening, but before Contract award, a Bidder discovers an error in its Quote, the Bidder may make a written request to the Procurement Bureau to withdraw its Quote, or a portion thereof, from consideration for award.  If the Bidder’s request to withdraw is made in good faith, and the State will not be significantly prejudiced by granting the withdrawal of the Quote beyond the loss of the benefit of the bargain to the State of the withdrawing Bidder’s offer, the request shall be granted.  Evidence of the Bidder’s good faith in making this request can be demonstrated by one (1) or more of the following factors: A mistake is so significant that to enforce the Contract resulting from the Quote would be unconscionable; that the mistake relates to a material feature or term of the Contract; and that the mistake occurred notwithstanding the Bidder’s exercise of reasonable care.  After Quote opening, while pursuant to the provisions of this section a Bidder may request to withdraw its Quote and the Director may in his/her discretion allow said Bidder to withdraw it, the Division also may take notice of repeated or unusual requests to withdraw by a Bidder and take those prior requests to withdraw into consideration when evaluating the Bidder’s future Quotes.

The Quote withdrawal request must include the Bid Solicitation Number, Bid Solicitation Title, and the Quote submission date and should be sent to Procurement.Bureau@treas.nj.gov.

If, during a Quote evaluation process, an obvious pricing error made by a potential Contract awardee is found, the Director or his/her designee shall issue written notice to the Bidder.  The Bidder will have up to five (5) business days after receipt of the notice to confirm its pricing.  If the Bidder fails to respond, its Quote shall be considered withdrawn, and no further consideration shall be given to it.

## JOINT VENTURE

If a Joint Venture is submitting a Quote, the agreement between the parties relating to such Joint Venture should be submitted with the Joint Venture’s Quote.  Authorized signatories from each party comprising the Joint Venture must sign the Offer and Acceptance Page.  Each party to the Joint Venture must individually complete and comply with all the forms and certification requirements in Bid Solicitation Section 3 – Quote Submission Requirements.

## SMALL BUSINESS SET-ASIDE CONTRACTS

Not applicable to this procurement.

## DISABLED VETERANS’ BUSINESS SET-ASIDE CONTRACT

Not applicable to this procurement.

## BID SECURITY

Not applicable to this procurement.

## BIDDER ADDITIONAL TERMS SUBMITTED WITH THE QUOTE

A Bidder may submit additional terms as part of its Quote.  Additional terms are Bidder-proposed terms or conditions that do not conflict with the scope of work required in this Bid Solicitation, the terms and conditions of this Bid Solicitation, or the State of New Jersey Standard Terms and Conditions.  Bidder proposed terms or conditions that conflict with those contained in the State of New Jersey Standard Terms and Conditions will render a Quote non-responsive.  It is incumbent upon the Bidder to identify and remove its conflicting proposed terms and conditions prior to Quote submission.

Quotes including Bidder proposed additional terms may be accepted, rejected, or negotiated, in whole or in part, at the State’s sole discretion.

If Bidder intends to propose terms and conditions that conflict with the State of New Jersey Standard Terms and Conditions, those Bidder proposed terms and conditions shall only be considered if submitted and agreed to pursuant to the electronic question and answer procedure.  Bidders shall not submit exceptions or modifications as part of the Quote or on the “Terms and Conditions” Tab through NJSTART.

## QUOTE CONTENT

The Quote should be submitted with the attachments organized in the following manner:

- Forms

- Technical Quote

- State-Supplied Price Sheet

A Bidder should not password protect any submitted documents. Use of URLs in a Quote should be kept to a minimum and shall not be used to satisfy any material term of a Bid Solicitation. If a preprinted or other document included as part of the Quote contains a URL, a printed copy of the information should be provided and will be considered as part of the Quote.

## FORMS, REGISTRATIONS AND CERTIFICATIONS TO BE SUBMITTED WITH QUOTE

A Bidder is required to complete and submit the following forms.  As an alternative to uploading certain forms with the submitted Quote, a Bidder may complete several certifications electronically in NJSTART on the “Terms and Categories” Tab within the Vendor Profile.  Those forms that may be completed on the NJSTART “Terms and Categories” Tab are noted below. Additionally, a Bidder may attach completed forms to the Vendor Profile.  Refer to QRGs “Vendor Forms” and “Attaching Files” for additional instructions.  VENDOR QUICK REFERENCE GUIDES

### OFFER AND ACCEPTANCE PAGE

The Bidder should complete and submit the Offer and Acceptance Page with the Quote.  The Offer and Acceptance Page must be signed by an authorized representative of the Bidder.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

### OWNERSHIP DISCLOSURE FORM

Pursuant to N.J.S.A. 52:25-24.2, in the event the Bidder is a corporation, partnership or limited liability company, the Bidder must disclose all 10% or greater owners by (a) completing and submitting the Ownership Disclosure Form with the Quote; (b) if the Bidder has submitted a signed and accurate Ownership Disclosure Form dated and received no more than six (6) months prior to the Quote submission deadline for this procurement, the Division may rely upon that form; however, if there has been a change in ownership within the last six (6) months, a new Ownership Disclosure Form must be completed, signed and submitted with the Quote; or, (c) a Bidder with any direct or indirect parent entity which is publicly traded may submit the name and address of each publicly traded entity and the name and address of each person that holds a 10 percent or greater beneficial interest in the publicly traded entity as of the last annual filing with the federal Securities and Exchange Commission or the foreign equivalent, and, if there is any person that holds a 10 percent or greater beneficial interest, also shall submit links to the websites containing the last annual filings with the federal Securities and Exchange Commission or the foreign equivalent and the relevant page numbers of the filings that contain the information on each person that holds a 10 percent or greater beneficial interest. N.J.S.A. 52:25-24.2.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this form online in NJSTART on the “Terms and Categories” Tab.

A Bidder’s failure to submit the information required by N.J.S.A. 52:25-24.2 will result in the rejection of the Quote as non-responsive and preclude the award of a Contract to said Bidder.

### DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN FORM

The Bidder should  submit Disclosure of Investment Activities in Iran form to certify that, pursuant to N.J.S.A. 52:32-58, neither the Bidder, nor one (1) of its parents, subsidiaries, and/or affiliates (as defined in N.J.S.A. 52:32-56(e)(3)), is listed on the Department of the Treasury’s List of Persons or Entities Engaging in Prohibited Investment Activities in Iran and that neither the Bidder, nor one (1) of its parents, subsidiaries, and/or affiliates, is involved in any of the investment activities set forth in N.J.S.A. 52:32-56(f).  If the Bidder is unable to so certify, the Bidder shall provide a detailed and precise description of such activities as directed on the form.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### DISCLOSURE OF INVESTIGATIONS AND OTHER ACTIONS INVOLVING BIDDER FORM

The Bidder should submit the Disclosure of Investigations and Other Actions Involving Bidder Form,  with its Quote, to provide a detailed description of any investigation, litigation, including administrative complaints or other administrative proceedings, involving any public sector clients during the past five (5) years, including the nature and status of the investigation, and, for any litigation, the caption of the action, a brief description of the action, the date of inception, current status, and, if applicable, disposition.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### MACBRIDE PRINCIPLES FORM

The Bidder should submit the MacBride Principles Form.  Pursuant to N.J.S.A. 52:34-12.2, a Bidder is required to certify  that it either has no ongoing business activities in Northern Ireland and does not maintain a physical presence therein or that it will take lawful steps in good faith to conduct any business operations it has in Northern Ireland in accordance with the MacBride principles of nondiscrimination in employment as set forth in N.J.S.A. 52:18A-89.5 and in conformance with the United Kingdom’s Fair Employment (Northern Ireland) Act of 1989, and permit independent monitoring of their compliance with those principles.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### SERVICE PERFORMANCE WITHIN THE UNITED STATES

The Bidder should submit a completed Source Disclosure Form. Pursuant to N.J.S.A. 52:34-13.2, all Contracts primarily for services shall be performed within the United States. If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

### CONFIDENTIALITY/COMMITMENT TO DEFEND

Pursuant to the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know, Quotes can be released to the public in accordance with N.J.A.C. 17:12-1.2(b) and (c).

The Bidder should submit a completed and signed Confidentiality/Commitment to Defend Form with the Quote.  In the event that the Bidder does not submit the Confidentiality form with the Quote, the State reserves the right to request that the Bidder submit the form after Quote submission.

After the opening of sealed Quotes, all information submitted by a Bidder in response to a Bid Solicitation is considered public information notwithstanding any disclaimers to the contrary submitted by a Bidder.  Proprietary, financial, security and confidential information may be exempt from public disclosure by OPRA and/or the common law when the Bidder has a good faith, legal/factual basis for such assertion.

When the Bid Solicitation contains a negotiation component, the Quote will not be subject to public disclosure until a notice of intent to award a Contract is announced.

As part of its Quote, a Bidder may request that portions of the Quote be exempt from public disclosure under OPRA and/or the common law. The Bidder must provide a detailed statement clearly identifying those sections of the Quote that it claims are exempt from production, and the legal and factual basis that supports said exemption(s) as a matter of law.  The State will not honor any attempts by a Bidder to designate its price sheet, price list/catalog, and/or the entire Quote as proprietary and/or confidential, and/or to claim copyright protection for its entire Quote.  If the State does not agree with a Bidder’s designation of proprietary and/or confidential information, the State will use commercially reasonable efforts to advise the Bidder. Copyright law does not prohibit access to a record which is otherwise available under OPRA.

The State reserves the right to make the determination as to what to disclose in response to an OPRA request.  Any information that the State determines to be exempt from disclosure under OPRA will be redacted.

In the event of any challenge to the Bidder’s assertion of confidentiality that is contrary to the State’s determination of confidentiality, the Bidder shall be solely responsible for defending its designation, but in doing so, all costs and expenses associated therewith shall be the responsibility of the Bidder. The State assumes no such responsibility or liability.

In order not to delay consideration of the Quote or the State’s response to a request for documents, the State requires that Bidder respond to any request regarding confidentiality markings within the timeframe designated in the State’s correspondence regarding confidentiality.  If no response is received by the designated date and time, the State will be permitted to release a copy of the Quote with the State making the determination regarding what may be proprietary or confidential.

### SUBCONTRACTOR UTILIZATION PLAN

Bidders intending to use Subcontractor(s) shall list all subcontractors on the Subcontractor Utilization Plan form or may list the Subcontractor(s) on the “Subcontractor” Tab in NJSTART.

For a Quote that does NOT include the use of any Subcontractors, the Bidder is automatically certifying that, if selected for an award, the Bidder will be performing all work required by the Contract.

If it becomes necessary for the Contractor to substitute a Subcontractor, add a Subcontractor, or substitute its own staff for a Subcontractor, the Contractor will identify the proposed new Subcontractor or staff member(s) and the work to be performed.  The Contractor shall forward a written request to substitute or add a Subcontractor or to substitute its own staff for a Subcontractor to the State Contract Manager for consideration.    The Contractor must provide a completed Subcontractor Utilization Plan, a detailed justification documenting the necessity for the substitution or addition, and resumes of its proposed replacement staff or of the proposed Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability and experience relevant to that part of the work which the Subcontractor is to undertake. The qualifications and experience of the replacement(s) must equal or exceed those of similar personnel proposed by the Contractor in its Quote.  The State Contract Manager will forward the request to the Director for approval.

NOTE: No substituted or additional Subcontractors are authorized to begin work until the Contractor has received written approval from the Director.

#### SMALL BUSINESS SUBCONTRACTING SET-ASIDE CONTRACT

This is a Contract with set-aside subcontracting for New Jersey Small Business Enterprises.

If the Bidder intends to subcontract, it must submit a Subcontractor Utilization Plan and shall take the following actions to make a good faith effort to solicit and hire eligible New Jersey Small Business Enterprises:

- The Bidder shall attempt to locate qualified potential New Jersey Small Business subcontractors;

- The Bidder shall request a listing of New Jersey Small Business Enterprises from the Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit if none are known to the Bidder;

- The Bidder shall keep a record of its efforts, including the names of businesses contacted and the means and results of such contacts;

- The Bidder shall provide all potential subcontractors with detailed information regarding the specifications; and

- The Bidder shall attempt, wherever possible, to negotiate prices with potential subcontractors submitting higher than acceptable price quotes.

A Bidder’s failure to satisfy New Jersey Small Business Enterprises set-aside subcontracting or to provide sufficient documentation of its good faith efforts within seven (7) business days of a request may preclude award of a Contract to the Bidder.

Each Bidder awarded a Contract which contains the set-aside subcontracting requirement shall fully cooperate in any studies or surveys which may be conducted by the State to determine the extent of the Bidder’s compliance with N.J.A.C. 17:13-1.1 et seq., and this Bid Solicitation.

### RESERVED

### AFFIRMATIVE ACTION

The intended Contractor and its named Subcontractor(s) must submit a copy of a New Jersey Certificate of Employee Information Report, or a copy of Federal Letter of Approval verifying it is operating under a federally approved or sanctioned Affirmative Action program.  If the Contractor and/or its named Subcontractor(s) are not in possession of either a New Jersey Certificate of Employee Information Report or a Federal Letter of Approval, it/they must complete and submit the Affirmative Action Employee Information Report (AA-302).  Information, instruction and the application are available at https://www.state.nj.us/treasury/contract_compliance/index.shtml.

### RESERVEd

### STATE OF NEW JERSEY SECURITY DUE DILIGENCE THIRD-PARTY INFORMATION SECURITY QUESTIONNAIRE

Not applicable to this procurement.

### BUSINESS REGISTRATION

In accordance with N.J.S.A. 52:32-44(b), a Bidder and its named Subcontractors must have a valid Business Registration Certificate (“BRC”) issued by the Department of the Treasury, Division of Revenue and Enterprise Services prior to the award of a Contract.  A Bidder should verify its Business Registration Certification Active status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Bidder’s Business Registration Certification Active status, NJSTART provides a link to take corrective action.

### 3.13.14	Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Pursuant to P.L.2022, c.3

The Bidder should submit the Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Form.  Pursuant to P.L.2022, c.3, a person or entity seeking to enter into or renew a contract for the provision of goods or services shall certify that it is not Engaging in Prohibited Activities in Russia or Belarus as defined by P.L.2002, c.3, sec. 1(e).  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

## TECHNICAL QUOTE

The Bidder shall describe its approach and plans for accomplishing the work outlined in the Scope of Work.  The Bidder must set forth its understanding of the requirements of this Bid Solicitation and its approach to successfully complete the Contract. The Bidder should include the level of detail it determines necessary to assist the Evaluation Committee in its review of the Bidder’s Quote.

### LAND MOBILE RADIO TOWER SERVICES REQUIREMENTS

The Bidder submitting a Quote for Land Mobile Radio Tower Services shall submit the following items with its Quote:

- Bidder Quote Overview Form as required by Section 3.15;

- Bidder Data Sheet/Form as required by Section 3.16;

- Completed Exhibit #1 Tower Services Questionnaire, questions 1-13(a) with required documentation;

- Completed State-Supplied Price Sheet, Schedules A and B. See Bid Solicitation Section 3.26 for instructions. The Bidder must incorporate travel time into its all-inclusive hourly rates. The State will not pay for travel time as a separate item; and

- If the Bidder intends to subcontract, the Bidder must identify proposed subcontractors in its Technical Quote and on the Subcontractor Utilization Plan as required by Section 3.13.8.

### BROADCAST TELEVISION TOWER MAINTENANCE SERVICES REQUIREMENTS

The Bidder submitting a Quote for Broadcast Television Tower Maintenance Services shall submit the following items with its Quote:

- Bidder Quote Overview Form as required by Section 3.15;

- Bidder Data Sheet/Form as required by Section 3.16;

- Completed Exhibit #2 Tower Services Questionnaire, questions 1-12 and 13(b)-13(d) with required documentation;

- Completed State-Supplied Price Sheet, Schedules A and B. See Bid Solicitation Section 3.26 for instructions. The Bidder must incorporate travel time into its all-inclusive hourly rates. The State will not pay for travel time as a separate item;

- If the Bidder intends to subcontract, the Bidder must identify proposed subcontractors in its Technical Quote and on the Subcontractor Utilization Plan as required by Section 3.13.8; and

- Occupational Safety and Health Administration (OSHA) enforcement inspection reports for the past five (5) years. These reports should cover inspections conducted on the Bidder's job sites as well as those of any subcontractors who will be involved in this Contract.

## MANAGEMENT OVERVIEW

The Bidder shall set forth its overall technical approach and plans to meet the requirements of the Bid Solicitation in a narrative format. This narrative should demonstrate to the Evaluation Committee that the Bidder understands the objectives that the Contract is intended to meet, the nature of the required work, and the level of effort necessary to successfully complete the Contract. The narrative should demonstrate that the Bidder’s approach and plans to undertake and complete the Contract are appropriate to the tasks and subtasks involved.

Mere reiterations of Bid Solicitation tasks and subtasks are strongly discouraged, as they do not provide insight into the Bidder’s approach to complete the Contract. The Bidder’s response to this section should demonstrate to the Evaluation Committee that the Bidder’s detailed plans and approach proposed to complete the Scope of Work are realistic, attainable and appropriate, and that the Bidder’s Quote will lead to successful Contract completion.

## CONTRACT MANAGEMENT

The Bidder should describe its specific plans to manage, control and supervise the Contract to ensure satisfactory Contract completion according to the required schedule. The plan should include the Bidder’s approach to communicate with the State Contract Manager including, but not limited to, status meetings, status reports, etc.

## CONTRACT SCHEDULE

Not applicable to this procurement.

## MOBILIZATION PLAN

Not applicable to this procurement.

## ADDITIONAL PLAN(S)

Not applicable to this procurement.

## ORGANIZATIONAL EXPERIENCE

The Bidder should include information relating to its organization, personnel, and experience, including, but not limited to, references, together with contact names and telephone numbers, evidencing the Bidder’s qualifications, and capabilities to perform the services required by this Bid Solicitation.  The Bidder should include the level of detail it determines necessary to assist the Evaluation Committee in its review of Bidder’s Quote.

## LOCATION

The Bidder should include the address of where responsibility for managing the Contract will take place.  The Bidder should include the telephone number and name of the individual to contact.

## ORGANIZATION CHARTS

The Bidder should include an organization chart, with names showing management, supervisory and other key personnel (including Subcontractor management, supervisory, or other key personnel) to be assigned to the Contract.  The chart should include the labor category and title of each such individual.

## RESUMES

Detailed resumes should be submitted for all management, supervisory, and key personnel to be assigned to the Contract. Resumes should emphasize relevant qualifications and experience of these individuals in successfully completing Contracts of a similar size and scope to those required by this Bid Solicitation.  Resumes should include the following:

- The individual's previous experience in completing each similar Contract;

- Beginning and ending dates for each similar Contract;

- A description of the Contract demonstrating how the individual's work on the completed Contract relates to the individual's ability to contribute to successfully providing the services required by this Bid Solicitation; and

- With respect to each similar Contract, the name and address of each reference together with a person to contact for a reference check and a telephone number.

The Bidder should provide detailed resumes for each Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability, and experience relevant to that part of the work which the Subcontractor is designated to perform.

## EXPERIENCE WITH CONTRACTS OF SIMILAR SIZE AND SCOPE

The Bidder should provide a comprehensive listing of contracts of similar size and scope that it has successfully completed, as evidence of the Bidder’s ability to successfully complete services similar to those required by this Bid Solicitation. Emphasis should be placed on contracts that are similar in size and scope to the work required by this Bid Solicitation. A description of all such contracts should be included and should show how such contracts relate to the ability of the firm to complete the services required by this Bid Solicitation. For each such contract listed, the Bidder should provide two (2) named and telephone numbers of individuals for contracting party. Beginning and ending dates should also be given for each contract.

The Bidder must provide details of any negative actions taken by other contracting entities against them in the course of performing these projects including, but not limited to, receipt of letters of potential default, default, cure notices, termination of services for cause, or other similar notifications/processes. Additionally, the Bidder should provide details, including any negative audits, reports, or findings by any governmental agency for which the Bidder is/was the contractor on any contracts or similar scope. In the even a Bidder neglects to include this information in its Quote, the Bidder’s omission of this necessary disclosure information may be cause for rejection of the Bidder’s Quote by the State.

The Bidder should provide documented experience to demonstrate that each Subcontractor has successfully performed work on contracts of a similar size and scope to the work that the Subcontractor is designated to perform in the Bidder’s Quote. The Bidder must provide a detailed description of services to be provided by each Subcontractor.

## FINANCIAL CAPABILITY OF THE BIDDER

The Bidder should provide sufficient financial information to enable the State to assess the financial strength and creditworthiness of the Bidder and its ability to undertake and successfully complete the Contract.  In order to provide the State with the ability to evaluate the Bidder’s financial capacity and capability to undertake and successfully complete the Contract, the Bidder should submit the following:

- For publicly traded companies the Bidder should provide copies or the electronic location of the annual reports filed for the two most recent years; or

- For privately held companies the Bidder should provide the certified financial statement (audited or reviewed) in accordance with applicable standards by an independent Certified Public Accountant, including a balance sheet, income statement, and statement of cash flow, and all applicable notes for the most recent calendar year or the Bidder’s most recent fiscal year.

If the information is not supplied with the Quote, the State may still require the Bidder to submit it.  If the Bidder fails to comply with the request within seven (7) business days, the State may deem the Quote non-responsive.

A Bidder may designate specific financial information as not subject to disclosure when the Bidder has a good faith legal/factual basis for such assertion.  The State reserves the right to make the determination to accept the assertion and will so advise the Bidder.

## STATE-SUPPLIED PRICE SHEET INSTRUCTIONS

The Bidder must submit its pricing using the State-Supplied Price Sheet accompanying this Bid Solicitation and located on the “Attachments” Tab.

Schedule A – All-Inclusive Hourly Labor Rates

The Bidder may submit pricing for one (1) or more of the following regions:

Region A: South (Price Lines 1-24)

If the Bidder is intending to submit a Quote to provide services in the Southern Region of NJ, the Bidder shall submit All-Inclusive Hourly rates for all labor categories for years 1-3. The Bidder must submit pricing for scheduled non-emergency maintenance, weekend and holiday maintenance, and emergency maintenance. All yellow cells in Region A must be filled in with an All-Inclusive Hourly Rate.

Region B: Central (Price Lines 25-48)

If the Bidder is intending to submit a Quote to provide services in the Central Region of NJ, the Bidder shall submit All-Inclusive Hourly rates for all labor categories for years 1-3. The Bidder must submit pricing for scheduled non-emergency maintenance, weekend and holiday maintenance, and emergency maintenance. All yellow cells in Region A must be filled in with an All-Inclusive Hourly Rate.

Region C: North (Price Lines 49-72)

If the Bidder is intending to submit a Quote to provide services in the Northern Region of NJ, the Bidder shall submit All-Inclusive Hourly rates for all labor categories for years 1-3. The Bidder must submit pricing for scheduled non-emergency maintenance, weekend and holiday maintenance, and emergency maintenance. All yellow cells in Region A must be filled in with an All-Inclusive Hourly Rate.

Price Line 73 – The Bidder shall submit a Materials & Equipment % mark-up for items already not listed in Schedule B.

Price Line 74 – The Bidder shall not enter any rates into Price Line 74. This Price Line is strictly a Pass-Through Net Line for any additional costs not covered by the hourly rate, equipment costs in Schedule B, or the % Mark-Up lines.

If the Bidder is only submitting a Price Sheet for one (1) region, the Bidder may indicate “No Bid’ for the other regions in the yellow highlighted cells.

The All-Inclusive hourly labor rates include mobilization, maintenance, inspection and repair costs incurred during a site visit; materials and equipment; and additional miscellaneous costs.

The State will not pay for site visits performed for the purpose of preparing Quotes for work to be performed.

Schedule B – Equipment Cost

The Bidder shall input pricing in the yellow highlighted cells for all equipment and materials listed in Schedule B. The Bidder may add additional equipment and material that may be required to complete the Scope of Work.

Any price changes including hand written revisions or "white-outs" must be initialed.  Failure to initial price changes shall preclude a Contract award from being made to the Bidder pursuant to N.J.A.C. 17:12-2.2(a)(8).

Where the State-Supplied Price Sheet includes an estimated quantity column, Bidders are advised that estimated quantities may vary throughout the Contract term resulting from this Bid Solicitation.  There is no guaranteed minimum or maximum volume for these price lines.

### DELIVERY TIME AND COSTS

Not applicable to this procurement.

### CASH DISCOUNTS

The Bidder is encouraged to offer cash discounts based on expedited payment by the State.  The State will make efforts to take advantage of discounts, but discounts will not be considered in determining the price rankings of Quotes.  Should the Bidder choose to offer cash discounts, the following shall apply:

- Discount periods shall be calculated starting from the next business day after the Using Agency has accepted the goods or services, received a properly signed and executed invoice and, when required, a properly executed performance security, whichever is latest; and

- The date on the check issued by the State in payment of that invoice shall be deemed the date of the State's response to that invoice.

### USE OF “NO BID” VERSUS “NO CHARGE” ON THE STATE-SUPPLIED PRICE SHEET

All price lines must be filled out in accordance with the instructions above.  If the Bidder is not submitting a price for an item on a price line, the Bidder must indicate “No Bid” on the State-Supplied Price Sheet accompanying this Bid Solicitation. If the Bidder will supply an item on a price line free of charge, the Bidder must indicate “No Charge” on the State-Supplied Price Sheet accompanying this Bid Solicitation.  The use of any other identifier may result in the Bidder’s Quote being deemed non-responsive.

## ORAL PRESENTATIONS

Not applicable to this procurement.

# SCOPE OF WORK

## CATEGORIES

This Contract will cover the maintenance of land mobile radio and television broadcast towers on a time and material basis. Services shall include at a minimum, but not limited to: mobilization, inspection, installation of antennas and other equipment on existing towers, adding and removing appurtenances, repair and maintenance of tower structure, and related on-tower lines and equipment.

It will be at the Using Agency's discretion as to whether it will utilize Contractor-supplied material or State-provided material. The Contractor(s) must be able to supply all miscellaneous parts, lamps, controllers, antennas, cables, connectors, and related items for the work identified below.

The Contractor shall obtain, before commencing work on a specific tower, all necessary approvals, qualifications, and requirements at its own cost and expense.

## TOWER RELAMPING AND TOWER TOP AMPLIFIER REPLACEMENTS

The Contractor(s) shall supply and replace all lighting systems on the tower at the Using Agency's discretion.

## TOWER INSPECTIONS

Tower inspections must include an evaluation and a documented report based on current manufacturer ANSI/TIA-222 & 322 specifications and ANSI/ASSE A10.48 safety standards for the following elements:

- Condition of paint/rust;

- Condition of bolts, nuts, bracing;

- Condition of antenna(s), mount(s), transmission line, cables, connectors, and anchors;

- Lightning protection;

- Grounding;

- Foundation;

- FCC - plaque, identification of tower, serial number; and

- Safety.

Each Using Agency will manage the inspection schedule for each tower under its responsibility. Schedule(s) will be provided to the awarded Contractor(s) as appropriate.  These inspections may vary from once a year or longer.  In the absence of a tower schedule, any tower not scheduled will be inspected by a specific request from the responsible agency to the awarded Contractor.  In any case, a written report must be submitted to the Using Agency contact within three (3) Business Days detailing deficiencies and a breakdown of costs for performance restoration before work will be authorized.

## ANTENNA REPLACEMENT AND PERFORMANCE CAPABILITY

The Contractor(s) shall be capable of performing work such as, but not limited to, the following items under the current ANSI/TIA-222 & 322 specifications and ANSI/ASSE A10.48 safety standards:

- Remove/repair/install and adjust microwave antenna on towers;

- Remove/repair/install Using Agency's equipment on tower;

- Remove/repair/install antenna and transmission line on tower;

- Remove/repair/install conduit, wire, and equipment;

- Emergency lamp replacement;

- Emergency lamp fixture repair;

- Emergency lamp controllers;

- Spot welding crosses members;

- Tightening of loose bolts and replace missing bolts;

- General maintenance (i.e, rust removal, spot painting, etc.);

- Install radio tie-lines as required;

- Grounding; and

- Replacement/installation of bracing/cross members and Guidewires.

The Contractor(s) shall provide all necessary tools and equipment required to perform the work noted in this section.

## TOWER DATA

### land mobile radio tower data

Listed below are the land mobile radio towers used by State Agencies.  The Contract will include the maintenance of these towers. During the term of the Contract, the State reserves the right to add or remove towers as required.

| SOUTH |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| NEW JERSEY STATE POLICE (NJSP) – TOWER DATA: TROOP A |  |  |  |  |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | LIGHTS | GUYED or SELF SUPPORTING |  |  |  |
| 1 | Berlin | 300’ | Yes | SS |  |  |  |
| 2 | Bridgeton | 160’ | Yes | SS |  |  |  |
| 3 | Hammonton | 210’ | Yes | SS |  |  |  |
| 4 | Port Norris | 150’ | No | SS |  |  |  |
| 5 | Red Lion | 95’ | No | SS |  |  |  |
| 6 | Tuckerton | 125’ | Yes | SS |  |  |  |
| 7 | Warren Grove | 300’ | Yes | SS |  |  |  |
| 8 | Woodbine | 190’ | Yes | SS |  |  |  |
| 9 | Woodstown | 270’ | Yes | SS |  |  |  |
| NEW JERSEY DEPARTMENT OF TRANSPORTATION – RADIO TOWER DATA |  |  |  |  |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | LIGHTS | TYPE | COMMENTS |  |  |
| 10 | Toms River Yard | 165’ | Yes | SS – 4 Leg Lattice | Owned by: State Police |  |  |
| 11 | #1 Cherry Hill | 75’ | No | SS – Monoplex | Garage Arena |  |  |
| 12 | #2 Cherry Hill | 150’ | Yes | SS – Lattice | Electrical Area Co-Located Camden County |  |  |
| 13 | Petersburg Electrical | 100’ | No | SS – Lattice | Electrical Area |  |  |
| 14 | Vineland Garage | 170’ | No | SS – 4 Leg Lattice | Garage Area |  |  |
| 15 | Hammonton Electrical | 40’ | No | Aluminum Pole |  |  |  |
| 16 | Bridgeport Yard | 40’ | No | Wooden Pole |  |  |  |
| 17 | Middle Township Rio Grande Yard | 40’ | No | Aluminum Pole |  |  |  |
| 18 | Bayside State Prison | 25’ | No | Aluminum Pole |  |  |  |
| 19 | Edgewater Park Yard | 180’ | Yes | Collocated Cell Tower |  |  |  |
| NORTH |  |  |  |  |  |  |  |
| NEW JERSEY STATE POLICE (NJSP) – TOWER DATA: TROOP B |  |  |  |  |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | LIGHTS | GUYED or SELF SUPPORTING |  |  |  |
| 1 | Cherryville | 280’ | Yes | SS |  |  |  |
| 2 | High Point | 145’ | Yes | SS |  |  |  |
| 3 | Hill 1606 | 140’ | Yes | SS |  |  |  |
| 4 | Jockey Hollow | 125’ | Yes | SS |  |  |  |
| 5 | Montana Mtn. | 130’ | Yes | SS |  |  |  |
| 6 | Morris Township, Morris County | 230’ | Yes | SS |  |  |  |
| 7 | Netcong | 260’ | Yes | SS |  |  |  |
| 8 | Somerville | 185’ | No | SS |  |  |  |
| 9 | Ramapo | 180’ | No | SS |  |  |  |
| 10 | Hope | 180’ | No | SS |  |  |  |
| 11 | Blairstown | 175’ | No | SS |  |  |  |
| 12 | Totowa | 190’ | Yes | SS |  |  |  |
| NEW JERSEY DEPARTMENT OF TRANSPORTATION – RADIO TOWER DATA |  |  |  |  |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | LIGHTS | TYPE |  |  | COMMENTS |
| 13 | Netcong Garage | 170’ | No | SS |  |  | Collocated Cell Tower |
| 14 | Lodi Garage | 60’ | Yes | SS – Leg Lattice |  |  |  |
| 15 | Newark Garage | 100’ | No | SS – Lattice |  |  |  |
| 16 | Highpoint Visitors Center | 100’ | Yes | SS – 3 Leg Lattice |  |  | Owned by: Division of Parks |
| 17 | Yellow Frame Yard | 140’ | Yes | Collocated Tree Pole |  |  | NJ DOT Maintenance Yard |
| 18 | Harding Rest Area |  |  | Roof Building Mount |  |  |  |
| CENTRAL |  |  |  |  |  |  |  |
| NEW JERSEY STATE POLICE (NJSP) – TOWER DATA: TROOP C |  |  |  |  |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | LIGHTS | GUYED OR SELF SUPPORTING |  |  |  |
| 1 | Bordentown | 295’ | Yes | SS |  |  |  |
| 2 | Edison | 155’ | Yes | SS |  |  |  |
| 3 | Edgewater Park | 125’ | No | SS |  |  |  |
| 4 | Ft. Dix | 75’ | Yes | SS |  |  |  |
| 5 | Hightstown | 95’ | Yes | SS |  |  |  |
| 6 | Keyport | 125’ | Yes | SS |  |  |  |
| 7 | Kingwood | 180’ | No | GUYED |  |  |  |
| 8 | Millstone | 300’ | Yes | SS |  |  |  |
| 9 | Princeton | 260’ | Yes | SS |  |  |  |
| 10 | Sea Girt | 155’ | Yes | SS |  |  |  |
| 11 | Telegraph Hill | 180’ | Yes | SS |  |  |  |
| 12 | Toms River | 210’ | Yes | SS |  |  |  |
| 13 | W. Trenton | 150’ | Yes | SS |  |  |  |
| 14 | W. Trenton | 155’ | Yes | SS |  |  |  |
| NEW JERSEY DEPARTMENT OF TRANSPORTATION – RADIO TOWER DATA |  |  |  |  |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | LIGHTS | TYPE |  | COMMENTS |  |
| 15 | Bedminster Garage | 75’ | No | SS – Monoplex |  | State Police Trunked Mini Site |  |
| 16 | Keasby Garage | 125’ | No | SS – Lattice |  | Collocated Woodbridge PD |  |
| 17 | I-295 Sprinfield Rest Area | 100’ | Yes | Collocated Cell Tower |  | Howard Stern Rest Stop |  |
| 18 | West Amwell Yard | 80’ | No | SS – Lattice |  | Proposed |  |
| 19 | Wall Township @ RT. 35 RT. 35 RT. 70 | 160’ | Yes | Collocated Monopole |  |  |  |
| 20 | Trenton Headquarters | 10’ | No | Roof Building Mount |  |  |  |

### broadcast television tower data

Listed below are the broadcast television towers.  The Contract includes maintenance of the State-owned towers and leased tower space identified below. During the term of the Contract, the State reserves the right to add or remove towers as required.

| SOUTH |  |  |  |
| --- | --- | --- | --- |
| STATE-OWNED TOWERS |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | COMMENTS |
| 1 | Stockton Relay Tower | 100’ | - Rohn, self-supporting tower; - Location: adjacent to Stockton University’s “Scott House” on Jim Leed’s Road approximately one-half (1/2) mile west of the Garden State Parkway on Stockton University campus in Pomona; - Two (2) microwave antennas at 90 feet painted silver gray; - Tower coordinates: 39-28-11, 74-32-20. |
| 2 | Waterford Works (ASRN 1045125) | 822’ | - Stainless G-8 tower above ground; - 64-foot Dielectric TFU-30GTH-R O4 antenna FM antenna; - No elevator; - Five (5) dual sets of Guys and high-intensity lighting; - Ladder equipped with Saf-T-Climb device; - Tower coordinates: 39-43-41, 74-50-39. |
| LEASED TOWER SPACE |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | COMMENTS |
| 3 | Mays Landing | Not applicable | - Leased space from NJ Transit with New Jersey Public Broadcasting Agency (NJPBA) as the Lessor; - Location: Atlantic Cape Community College Campus 5100 Blackhorse Pike, Mays Landing. |
| 4 | Cape May | Not applicable | - Leased space via Crown Castle; - Location: J.F. Keily Construction Company, 916 N. RT. 9, Cape May Court House. |
| 5 | Mt. Laurel (ASRN 1244252) | 113’ | - Microwave relay site; - Leased space from Burlington County; - Location: 1020 Briggs Road, Mt. Laurel. |
| NORTH |  |  |  |
| STATE-OWNED TOWERS |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | COMMENTS |
| 1 | Montclair/Little Falls (ASRN 1045123) | 564’ | - Stainless, self-supporting, triangular tower above ground; - Dielectric TFU-16GTH-R antenna stacked on a Dielectric TFU-30GBH-R 08 DC antenna 90 feet high atop the tower; - High-intensity lighting; - Ladder equipped with Saf-T-Climb device; - Tower coordinates: 40-15-48, 74-12-01. |
| 2 | Warren (ASRN 1045121) | 352’ | - Stainless G-8 above ground; - Dielectric TUV-32GTH/6HV-R06/S190 antenna 49 feet high atop the tower; - Three (3) dual Guys, a dual beacon on the antenna, and set of range lights at 133 feet and 267 feet above ground; - Ladder equipped with Saf-T-Climb service; - Tower coordinates: 40-37-00, 74-30-07. |
| 3 | Sussex (ASRN 1045122) | 200’ | - Pirod, self-supporting tower; - Location: State game lands off Sand Pond Road in Hardiston Township, Sussex County, NJ (atop Hamburg mountain); - Supports an FM, LPTV, and two (2) grid dish antennas; - Equipped with safety climb system. |
| LEASED TOWER SPACE |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | COMMENTS |
| 4 | Blairstown | 140’ | - Leased space from New Jersey State Police (NJSP); - Morrison self-supporting structure; - Location: Hope-Blairstown Rd. (Co. 521) Blairstown, NJ Adjacent 123 Hope Rd; |
| 5 | Brass Castle | 140’ | - Leased space from New Jersey State Police (NJSP); - Morrison self-supporting structure; - Location: 1 Demeter Road, Washington, NJ; |
| 6 | Hackettstown | 123’ | - SSV; - Leased space from Budd Lake Tower INC.; - Location; Thomas Drive & Cheryl Drive, Hackettstown, NJ. |
| CENTRAL |  |  |  |
| STATE-OWNED TOWERS |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | COMMENTS |
| 1 | Lawrenceville (ASRN 1045124) | 900’ | - Stainless G-8 above ground; - Dielectric DCRM4C5HPF5 FM antenna stacked over a Dielectric TUA-04-12/48H-1 antenna 90 feet high atop the tower; - Dual Guyed at six (6) levels; - High-intensity lighting; - Marshall Elevator system; - Equipped with Saf-T-Climb devices; - Tower coordinates: 40-16-58, 74-41-11; |
| 2 | Trenton Operations Center (TOC) | 65’ | - Rohn, self-supporting tower; - Five (5) microwave dishes; - Location: 25 South Stockton Street, Trenton, NJ, on top of the studio building; - Contact the engineering office for site access (609-777-5165). |
| LEASED TOWER SPACE |  |  |  |
| ITEM | LOCATION | HEIGHT (FT) | COMMENTS |
| 1 | Croton | 140’ | - Leased space from New Jersey State Police (NJSP); - Morrison, self-supporting structure; - Location: Pittstown Road (County Rd 615), 200 yards North of Frenchtown-Flemington Rd (Hwy 12), Frenchtown, NJ. |

## LABOR AND EQUIPMENT REQUIREMENTS

### time and material (t&M) support: labor rates

The Contractor(s) shall provide Time and Material (T&M) support. T&M support is based on time (all-inclusive hourly labor rate) for the Tower Maintenance labor categories; materials and equipment; and additional miscellaneous costs.

Tower Maintenance Labor Categories

- Apprentice/Authorized Climber (Price Lines 1, 9, 17, 25, 33, 41, 49, and 57) - as designated by the current ANSI/ASSE A10.48 standard, is an individual with the physical capabilities to climb a communications structure and may or may not have previous climbing experience.  The Authorized Climber has been trained, at a minimum, to the latest version of the North American Tower Erectors “Tower Climber Fall Protection Training Standard” (NATE CTS).  The Authorized Climber must have documented training certifications that indicate the individual is capable of identifying hazards, inspecting equipment and has demonstrated the practical skills of an Authorized Climber.  An Authorized Climber must be supervised by a Competent Climber when working at height.

An Authorized Climber must have the following documented training certifications:

- 10 hour OSHA Occupational Safety and Health Training;

- American Red Cross First Aid, CPR, and AED training; and

- COMTRAIN Tower Rescue or equivalent

- Technician/Competent Climber (Price Lines 2, 10, 18, 25, 34, 42, 50, 58, and 66) - as designated by the current ANSI/ASSE A10.48 standard, is an individual with the physical capabilities to climb a communications structure and has 90 days of tower climbing experience.  A Competent Climber has been trained, at a minimum, to the latest version of the North American Tower Erectors “Tower Climber Fall Protection Training Standard” (NATE CTS).

The Competent Climber must:

- Have certifications that indicate the individual has been trained on the inspection of equipment that applies to tower work;

- Be capable of identifying existing and potential fall hazards,

- Have the employer’s authority to take prompt corrective action to eliminate those hazards; and

- Be responsible for the Authorized Climbers when working at height.

A Competent Climber must have the following documented training certifications:

- 30 hour OSHA Occupational Safety and Health Training;

- American Red Cross First Aid, CPR, and AED training; and

- COMTRAIN Tower Rescue or equivalent.

- Working Foreman/Competent Rescuer (Price Lines 3, 11, 19, 27, 35, and 43)  - as designated by the current ANSI/ASSE A10.48 standard, is an individual who, at a minimum, is trained and certified to the latest version of the North American Tower Erectors “Tower Climber Fall Protection Training Standard” (NATE CTS) and the ANSI/ASSE Z359.1-4 standards.  The Competent Rescuer is designated, by the Contractor, through certifications, knowledge, and experience, with implementing, supervising, and monitoring tower projects and rescues at height.  This person shall have the responsibility to implement the site rescue plan.

The minimum staffing requirements must include a Foreman qualified as a Competent Rescuer.

A Competent Rescuer must have the following documented training certifications:

- 30 hour OSHA Occupational Safety and Health Training; and

- American Red Cross First Aid, CPR, and AED training; and

- COMTRAIN Tower Rescue or equivalent.

- Foreman/Supervisor/Qualified Person (Price Lines 4, 12, 20, 28, 36, and 44) - as designated by the current ANSI/ASSE A10.48Standard, is a highly experienced tower technician.  A Qualified Person has expertise in the industry and experience supervising tower maintenance projects.  A qualified person may not have the same physical skills as a Competent Rigger but must have the same certifications, general knowledge, and understanding of the processes involved with all construction and maintenance work under their supervision.

A Qualified Person must have the following documented training certifications:

- 30 hour OSHA Occupational Safety and Health Training;

- American Red Cross First Aid, CPR, and AED training; and

- COMTRAIN Tower Rescue or equivalent.

- Heavy Equipment Operator/Competent Rigger (Price Lines 5, 13, 21, 29, 37, and 45)  –as designated by the current ANSI/ASSE A10.48 standard, must have the following, certifications, knowledge, and practical skills:

  - Certified to the latest version of the North American Tower Erectors “Tower Climber Fall Protection Training Standard” (NATE CTS), “Competent Climber,” and “Competent Rescuer,”  training programs;

  - Trained in safe work practices for managing hazards related to high energy Radio Frequency environments (RF/EME training);

  - A minimum of three (3) years' general knowledge, climbing and working experience on the installation of various tower systems;

  - A working knowledge of Health, Safety and Environmental practices related to communications workplace environments, including; radio frequency exposure, lock out/tag out procedures, and material handling procedures;

  - A working understanding of the existing standards for the installation, alteration, and maintenance of antenna supporting structures and antennas as outlined by the current American National Standard Institute and Telecommunications Industry Association ANSI/TIA-322 standard;

  - Knowledge and appropriate equipment training, installation, and operation of drum and capstan base mounted hoist systems, gin pole, and cranes, as necessary;

  - The ability to comprehend and write a detailed rigging plan;

  - Understand when operational and non-operational conditions must be part of the rigging plan;

  - Understand the various classes of work as outlined in the current ANSI/TIA-322 standard;

  - Have the knowledge and ability to calculate rigging forces applied to a tower  structure;

  - Have the knowledge and ability to determine the gross load weight;

  - Have the knowledge and ability to calculate the tag force applied to the system;

  - Understand temporary support applications for anchors, Guy wires, and structural members;

  - Understand how the construction sequence and duration affect the structure;

  - Have the knowledge and ability to complete the appropriate load testing and field monitoring;

  - A working understanding of construction drawings and scopes of work to plan a project sequence and equipment requirements;

  - Have the communication and writing skills that enable clear and precise instructions to all stakeholders;

A Competent Rigger must have the following documented training certifications:

- 30 hour OSHA Occupational Safety and Health Training;

- American Red Cross First Aid, CPR and AED training; and

- COMTRAIN Tower Rescue or equivalent.

- Electrician (Price Lines 6, 14, 22, 30, 38, and 46) – Licensed electrician with experience performing electrical work on land mobile radio towers and/or television broadcast towers;

- Mechanical/Structural/Civil Engineer (Price Lines 7, 15, 23, 31, 39, and 47) – Licensed Engineer with expertise in the analysis, design, inspection, and maintenance of communications and broadcast towers.  Experience must include an emphasis on structural steel fabrications; is knowledgeable and experienced with the structural standards for antenna supporting structures and antennas as outlined by the current Telecommunications Industry Association and the American National Standards Institutes TIA 222 standards.   The engineer shall inspect the tower Contractor(s) completed projects at the heights necessary to ensure the work has been performed to the relevant standards.  The engineer shall have the physical capabilities to climb and has been trained, at a minimum, to the latest version of the North American Tower Erectors “Tower Climber Fall Protection Training Standard (NATE CTS).

Documented training must take place that shows the individual is capable of identifying hazards, inspecting equipment and has demonstrated the practical skills similar to those of an authorized climber.  The engineer shall be supervised by a competent climber when working at height.

An Engineer, who is authorized to inspect tower projects, must have the following documented training certifications:

- 10 hour OSHA Occupational Safety and Health Training;

- American Red Cross First Aid, CPR and AED training; and

- COMTRAIN Tower Rescue or equivalent

- Project Manager (Price Lines 8, 16, 24, 32, 40, & 48) – Experienced in the overall supervision, coordination and performance of tower maintenance activities and responsible for completing tower maintenance work orders consistent with the State’s cost and scheduling requirements.

### time and material (T&M) support: material costs

The Contractor shall provide all hardware equipment (material), unless supplied by the Using Agency, including antenna and transmission line. Material shall be new and equal to or superior to the original part.  The Using Agency will advise the Contractor as to whether it will supply the hardware equipment.

Only new parts and materials are permissible where replacement of parts and materials are required in accordance with the manufacturer's guidelines to affect the necessary repairs.  Where manufacturer-specified replacement parts are unavailable, the Contractor may propose substitute brands provided such brands are equal to or better than those contained in the manufacturer's catalog.  The burden of establishing interchangeability, suitability and quality of alternate or substitute replacement parts or materials lies with the Contractor. The Contractor shall furnish at its own expense all applicable technical literature or documentation and information necessary or related thereto as required by the Using Agency.  The Using Agency will review such information as may be provided by the Contractor with respect to the comparative quality and suitability of alternate or substitute equipment, articles or materials.  The Using Agency's decision shall be final in determining the acceptability of substitute brand.

The State will allow remanufactured parts provided the remanufactured part has a "like new warranty," which is a minimum of one (1) year or for good cause if a new part is not readily available, e.g., parts no longer in current production.  The Using Agency shall make the determination to accept the parts under the aforementioned circumstances.

## RESPONSE TIME AND COVERAGE

Repair of public safety communication systems shall be the Contractor(s) first priority in the event of a terrorist incident or natural disaster. The Contractor(s) must be available 24 hours per day, seven (7) days per week and shall provide a single point of telephone contact that is staffed 24 hours per day, seven (7) days a week.

Contractor(s) must provide 24/7 hour contact information upon Contract award. This information must be updated and maintained for the duration of Contract.

The Contractor(s) must respond within one (1) hour by telephone when an emergency request is initiated by the Using Agency. A crew and equipment must be on site within four (4) hours with appropriate capability to provide required repair services.

Contractor(s) shall have sufficient personnel resources and equipment to complete two (2) separate assignments at once.

## LIGHTNING PROTECTION AND GROUNDING

Contractor(s) shall be knowledgeable and experienced concerning the latest state-of-the-art lightning protection, grounding techniques and practices as employed by the radio-communications industry.  Also, it is a requirement that Contractor(s) be knowledgeable of and experienced with the Cadweld® process*.

At a minimum, all work done must adhere to the current standards of the following organizations as they apply to this subject:

- NFPA - National Fire Protection Association;

- NEC  - National Electrical Code;

- EIA  - Electronic Industries Association;

- ANSI - American National Standards Institute;

- FCC  - Federal Communication Commission; and

- FAA  - Federal Aviation Administration.

*Registered product of Erico Products, Inc., 34600 Solon Road, Cleveland, OH.

## CONTRACTOR EXPERIENCE, QUALIFICATIONS, AND EQUIPMENT AVAILABILITY

### LAND MOBILE TOWER EXPERIENCE AND QUALIFICATIONS

Contractor(s) for land mobile tower work must be able to perform structural modifications and structural maintenance, for all brands of communications antenna installations, including Very High Frequency (VHF) through microwave, and tower maintenance on land mobile towers.

### BROADCAST TELEVISION TOWER EXPERIENCE AND QUALIFICATIONS

Contractor(s) for broadcast television tower work must be able to perform structural modifications, structural maintenance, and microwave antenna installation and tower maintenance on broadcast television towers. The Contractor(s) must be able to install rigid and semi-flexible transmission lines on the broadcast towers and maintain broadcast VHF and Ultra High Frequency (UHF) television antennae.

In addition, the awarded Contractor(s) providing maintenance for the broadcast television towers must comply with the following and perform all the duties listed below:

- Experience in the maintenance of broadcast television guyed towers of at least eight (8) 3.6.foot width/face and 350 to 900 foot height;

- Experience in the maintenance of broadcast television self-supporting towers of at least 60 foot face and 565 foot height;

- Experience in the installation and maintenance of VHF and UHF pylon broadcasting antennas of 40 to 115 feet in height and weighing up to 14 tons;

- Experience in performing structural modifications to towers as identified in paragraphs a and b above, as directed by the tower designer (Stainless Corporation of North Wales, PA), to include replacement of structural members in place, addition of structural members, replacement of Guy wires in place, and tensioning and plumbing of large broadcast towers;

- Experience in the removal, installation, and alignment of microwave parabolic antennas up to 12 feet in diameter;

- Experience in the removal, repair, and installation of rigid coaxial transmission line, six (6) to nine (9) inches nominal diameter, and in semi-flexible lines up to four (4) inches in diameter and flexible waveguide up to EW20; and

- Experience in the maintenance and adjustment of Marshall tower elevator systems as used on the WNJT (TV Channel 52) tower in Lawrence Township, New Jersey.

### EQUIPMENT/STAFFING AVAILABILITY

A.  Equipment

The Contractor(s) shall have access to all necessary heavy equipment such as cranes, powered winches, and gin poles available to perform work as outlined above.

B.  Staffing

The Contractor(s) shall have qualified aerial and ground foremen and crews to perform work.

The crew size shall be determined by the scope of work for each individual requirement but in no case be less than two (2) people.

Contractor(s) must have sufficient staffing and equipment to complete two (2) separate assignments simultaneously.

The Contractor must be able to respond and be on-site in any part of the State within four (4) hours for emergency requests.

The Contractor shall assume all responsibility for its actions, its employee actions, and subcontractor's actions while engaged in any activity connected with the Contract resulting from this Bid Solicitation.

Contractor and subcontractor personnel must observe all regulations in effect at the Using Agency, including insurance liability and safety certifications. While on State property, employees shall be subject to the control of the State, but under no circumstance shall such persons be deemed employees of the State.  The Contractor(s) personnel shall not represent themselves as employees of the State.  The State Contract Manager (SCM) or Using Agency may request the Contractor to transfer employees from the work crew who are deemed incompetent, are excessively tardy, absent, or have been accused of theft.

### SECURITY AND CLEARANCE

The Contractor, its employees, and any subcontractor’s employees utilized shall be required to pass a New Jersey State Police background check to protect the State from losses resulting from Contractor employee theft, fraud, or dishonesty. The results of the background check(s) must be made available to the State for consideration before the employee is assigned to work on the State’s project. Prospective employees with positive criminal backgrounds for cyber-crimes will not be approved to work on State projects. Refer to the National Institute of Standards and Technology (NIST) Special Publication (SP) 800-53 Revision 5, Security and Privacy Controls for Information Systems and Organization, Section 3.14 Personnel Security, https://nvlpubs.nist.gov/nistpubs/SpecialPublications/NIST.SP.800-53r5.pdf

The Contractor shall be required to provide a list of all of its employees that will be working at State sites, nuclear power plants, and correctional facilities.  This list must be updated and maintained throughout the Contract so that a State audit may verify that a background check has been performed.

When requested, the Contractor and all project staff including its Subcontractor(s) must complete and sign confidentiality and non-disclosure agreements provided by the State. The Contractor may be required to view yearly security awareness and confidentiality training modules provided by the State. Where required, it shall be the Contractor’s responsibility to ensure that any new staff sign the confidentiality agreement and complete the security awareness and confidentiality training modules within one (1) month of the employees’ start date.

### CONTRACTOR RESPONSIBILITY

When tower maintenance is requested by a Using Agency, the Contractor is required to prepare a detailed breakdown of costs, covering parts and labor, required to restore the site to full operation, both technically and physically.  A survey of the specific site indicated by the Using Agency is recommended but not required.

Prior to performing work on any State owned tower, the Contractor shall request, and be in receipt of a Letter of Authorization signed by the Using Agency.  This letter authorizes the Contractor and its employees climbing privileges for the specified tower.  This letter of authorization, once issued, shall be good for the duration of the Contract. The Contractor will need a letter of authorization for each tower it needs to perform work on.

The Contractor shall provide all hardware equipment, unless supplied by the Using Agency, including antenna and transmission line, equal to or superior to that being replaced.  The Using Agency will advise the Contractor as to whether it will supply the hardware equipment.

All labor costs must be based on rates set forth in the Contractor(s) bid response.

Equipment costs quoted will be reviewed by the requesting Using Agency and checked for reasonableness as compared to equivalent hardware equipment costs available to State Agencies from State term contracts.

In the case where the Using Agency is unaware of additional items in need of repair at a given site, it is required that the Contractor bring such items to the attention of the Using Agency before any additional work is performed.

### PROFESSIONAL ORGANIZATIONS

The Contractor should be a member of professional tower maintenance organizations in order to be kept well informed and knowledgeable of industry standards and activities.

## PERMITS

All required permits will be arranged and paid for by the Using Agencies.

## GENERAL REQUIREMENTS

### compliance with the public works contractor registration (pcwr)

All Contractor(s) must be compliant with the Public Works Contractor Registration Act (NJSA 34:11-56.48 et seq.) in order to bid or engage in the performance of work under this Contract. For more Information about the definition of public work, public bodies, types of projects subject to prevailing wage and requirements, please go to Public Works – Prevailing Wage FAQs.

### additions and substitutions

After the Contract award, additions and/or substitutions to equipment price lists may be allowed under the following conditions:

  - Written requests must be sent to the Purchase Bureau, Division of Purchase and Property, Department of the Treasury detailing each product and/or service;

  - Requests must be approved by the Purchase Bureau, Division of Purchase and Property, Department of the Treasury and OIT;

  - The product must meet or exceed performance of the original product and/or service;

  - The product must be compatible with the original contracted product and/or service; and

  - The submission for additions or substitutions must include a detailed description of the product and/or service with the page and price line number identified in the original Contract.

### price updates

The Contractor may update Schedule B pricing one (1) time every year after the first year of the original Contract Term. The Contractor must submit a request for a price increase to the SCM for consideration. The request shall include documentation to justify a price increase.

## SUBSTITUTION OF DISCONTINUED OR REFORMULATED PRODUCTS

The Contractor may offer a substitution for any product discontinued or reformulated by the manufacturer in its Contract.  The State may consider substituting the discontinued or reformulated model with a new model provided that the unit offered meets or exceeds the Contract specifications.  All substitutions must be approved by the State.

The Contractor must notify the State immediately in writing to the Division’s assigned Procurement Specialist stating that an item has been discontinued or reformulated by the manufacturer along with supporting documentation from that manufacturer that the item has been discontinued or reformulated.  The Contractor must provide in its letter the discontinued or reformulated model number, model number of the new product being offered, detailed literature for the new product being offered, the price of the discontinued or reformulated item and the price of the product being offered as a replacement.  The State will not approve the substitution of a discontinued or reformulated item without all of the above information.

The replacement product should be offered to the State at that same price as the discontinued or reformulated product.

## SUBSTITUTION OF PRODUCTS ON A TEMPORARY BASIS

A Contractor may offer a substitute product for the contracted product on a temporary basis provided that the specifications are met and the Contractor provides proper justification for the temporary substitution.  The justification provided to the Division by the Contractor must include a letter from the contracted brand manufacturer, stating that the product is not able to be offered, estimated duration of product unavailability and the reasoning for the unavailability of product. The request for temporary product substitution, with all supporting documentation, must be submitted to the Division for review and approval.  The substitute product must be offered to the State at the same or more favorable pricing. The Contractor cannot offer the substituted product until it is approved by the Division through a change order in NJSTART.  Once the originally contracted product is available again, the Contractor must immediately notify the Division in writing.  A temporary replacement of product is not meant as a permanent product replacement.

# GENERAL CONTRACT TERMS

The Contractor shall have sole responsibility for the complete effort specified in this Contract.  Payment will be made only to the Contractor or to the authorized dealers/distributors, if applicable.  The Contractor is responsible for the professional quality, technical accuracy and timely completion and submission of all deliverables, services or commodities required to be provided under this Contract.  The Contractor shall, without additional compensation, correct or revise any errors, omissions, or other deficiencies in its deliverables and other services.  The approval of deliverables furnished under this Contract shall not in any way relieve the Contractor of responsibility for the technical adequacy of its work.  The review, approval, acceptance or payment for any of the deliverables, goods or services, shall not be construed as a waiver of any rights that the State may have arising out of the Contractor’s performance of this Contract.

## CONTRACT TERM AND EXTENSION OPTION

The base term of this Contract shall be for a period of three (3) years. The anticipated Contract effective date is provided on the “Summary” page of the Bid Solicitation in NJSTART.  If delays in the procurement process result in a change to the anticipated Contract effective date, the Contractor agrees to accept a Contract for the full term of this Contract.

This Contract may be extended up to two (2) years with no single extension exceeding one (1) year, by the mutual written consent of the Contractor and the Director at the same terms, conditions, and pricing at the rates in effect in the last year of this Contract or rates more favorable to the State.

## CONTRACT TRANSITION

In the event that a new Contract has not been awarded prior to the expiration date for this Contract, including any extensions exercised, and the State exercises this Contract transition, the Contractor shall continue this Contract under the same terms, conditions, and pricing until a new Contract can be completely operational.  At no time shall this transition period extend more than 90 calendar days beyond the expiration date of this Contract, including any extensions exercised.

During the transition period, the Contractor will be required to work with the State, as necessary.

## PERFORMANCE SECURITY

Not applicable to this procurement.

## OWNERSHIP OF MATERIAL

- State Data – The State owns State Data. Contractor shall not obtain any right, title, or interest in any State Data, or information derived from or based on State Data.  State Data provided to Contractor shall be delivered or returned to the State of New Jersey upon thirty (30) days’ notice by the State or thirty (30) days after the expiration or termination of the Contract.  Except as specifically required by the requirements of the Bid Solicitation, State Data shall not be disclosed, sold, assigned, leased or otherwise disposed of to any person or entity other than the State unless specifically directed to do so in writing by the State Contract Manager.

- Work Product; Services – The State owns all Deliverables developed for the State in the course of providing Services under the Contract, including but not limited to, all data, technical information, materials gathered, originated, developed, prepared, used or obtained in the performance of the Contract, including but not limited to all reports, surveys, plans, charts, literature, brochures, mailings, recordings (video and/or audio), pictures, drawings, analyses, graphic representations, print-outs, notes and memoranda, written procedures and documents, regardless of the state of completion, which are prepared for or are a result of the Services required under the Contract.

- Contractor Intellectual Property; Commercial off the Shelf Software (COTS) and Customized Software – Contractor retains ownership of all Contractor Intellectual Property, and any modifications thereto and derivatives thereof, that the  Contractor supplies to the State pursuant to the Contract, and grants the State a non-exclusive, royalty-free license to use Contractor Intellectual Property delivered to the State for the purposes contemplated by the Contract for the duration of the Contract including all extensions.  In the event Contractor provides its standard license agreement terms with its Quote, such terms and conditions must comply with Bid Solicitation Section 1.4 – Order of Precedence of Contractual Terms.

- Third Party Intellectual Property – Unless otherwise specified in the Bid Solicitation that the State, on its own, will acquire and obtain a license to Third Party Intellectual Property, Contractor shall secure on the State’s behalf, in the name of the State and subject to the State’s approval, a license to Third Party Intellectual Property sufficient to fulfill the business objectives, requirements and specifications identified in the Contract at no additional cost to the State beyond that in the Quote price.  In the event Contractor is obligated to flow-down commercially standard third party terms and conditions customarily provided to the public associated with Third Party Intellectual Property and such terms and conditions conflict with Bid Solicitation requirements, including the SSTC, the State will accept such terms and conditions with the exception of the following:  indemnification, limitation of liability, choice of law, governing law, jurisdiction, and confidentiality.  The Bid Solicitation including the SSTC shall prevail with respect to such conflicting terms and conditions.  In addition, the State will not accept any provision requiring the State to indemnify a third party or to submit to arbitration.  Such terms are considered void and of no effect.  Third party terms and conditions should be submitted with the Quote. If Contractor uses Third Party Intellectual Property, Contractor must indemnify the State for infringement claims with respect to the Third Party Intellectual Property.   Contractor agrees that its use of Third Party Intellectual Property shall be consistent with the license for the Third Party Intellectual Property, whether supplied by the Contractor, secured by the State as required by the Bid Solicitation, or otherwise supplied by the State.

- Work Product; Custom Software – The State owns all Custom Software which shall be considered “work made for hire”, i.e., the State, not the Contractor, subcontractor, or third party, shall have full and complete ownership of all such Custom Software.  To the extent that any Custom Software may not, by operation of the law, be a “work made for hire” in accordance with the terms of the Contract, Contractor, subcontractor, or third party hereby assigns to the State, or Contractor shall cause to be assigned to the State, all right, title and interest in and to any such Custom Software and any copyright thereof, and the State shall have the right to obtain and hold in its own name any copyrights, registrations and any other proprietary rights that may be available.

- State Intellectual Property – The State owns all State Intellectual Property provided to Contractor pursuant to the Contract.  State Intellectual Property shall be delivered or returned to the State of New Jersey upon thirty (30) days’ notice by the State or thirty (30) days after the expiration or termination of the Contract.  The State grants Contractor a non-exclusive, royalty-free, license to use State Intellectual Property for the purposes contemplated by the Contract.  Except as specifically required by the requirements of the Bid Solicitation, State Intellectual Property shall not  be disclosed, sold, assigned, leased or otherwise disposed of to any person or entity other than the State unless specifically directed to do so in writing by the State Contract Manager. The State’s license to Contractor is limited by the term of the Contract and the confidentiality obligations set forth in Bid Solicitation Section 6 – Data Security Requirements – Contractor Responsibility.

- No Rights – Except as expressly set forth in the Contract, nothing in the Contract shall be construed as granting to or conferring upon Contractor any right, title, or interest in State Intellectual Property or any intellectual property that is now owned or licensed to or subsequently owned by or licensed by the State.  Except as expressly set forth in the Contract, nothing in the Contract shall be construed as granting to or conferring upon the State any right, title, or interest in any Contractor Intellectual Property that is now owned or subsequently owned by Contractor.  Except as expressly set forth in the Contract, nothing in the Contract shall be construed as granting to or conferring upon the State any right, title, or interest in any Third Party Intellectual Property that is now owned or subsequently owned by a third party.

## SUBSTITUTION OF STAFF

If a Contractor needs to substitute any management, supervisory or key personnel, the Contractor shall identify the substitute personnel and the work to be performed.  The Contractor must provide detailed justification documenting the necessity for the substitution.  Resumes must be submitted for the individual(s) proposed as substitute(s) who must have qualifications and experience equal to or better than the individual(s) originally proposed or currently assigned.

The Contractor shall forward a request to substitute staff to the State Contract Manager for consideration and approval.  No substitute personnel are authorized to begin work until the Contractor has received written approval to proceed from the State Contract Manager.

## LIQUIDATED DAMAGES

Not applicable to this procurement.

## RETAINAGE

Not applicable to this procurement.

## ELECTRONIC PAYMENTS

With the award of this Contract, the successful Contractor(s) will be required to receive its payment(s) electronically.  In order to receive payments via automatic deposit from the State of New Jersey, the Contractor must complete the EFT information within its NJSTART Vendor Profile.  Please refer to the QRG entitled “Vendor Profile Management – Company Information and User Access” for instructions.

## PROCUREMENT EFFICIENCY PROGRAM

- Quarterly Sales Reporting - The Contractor shall submit a Sales Report documenting all sales made under the Contract.  The Sales Report shall be submitted directly to Periscope no later than thirty (30) calendar days after the end of each calendar quarter. The calendar quarters will end March 31, June 30, September 30, and December 31. The Sales Report must contain the following information:

  - Complete and accurate details of all sales, credits, returns, refunds, and the like for the reporting quarter;

  - Purchasing entity;

  - Total of Procurement Efficiency Program Fee amount due for the reporting quarter;

  - Such other information as the State may reasonably request;

  - If no sales were made against this Contract during the reporting quarter, then a report shall be submitted showing zero sales and zero Procurement Efficiency Program Fee due; and

  - Quarterly Sales Reporting and remittance of the Procurement Efficiency Program Fee shall begin on the first calendar quarter starting after the effective date of the Contract.

- Procurement Efficiency Program Fee - For all purchases made under this Contract, that have been invoiced, the Contractor shall remit the Procurement Efficiency Program Fee in the amount of one percent (1%) of all Purchases to Periscope acting on behalf of the State of New Jersey.

- Remittance of the Procurement Efficiency Program Fee - On a quarterly basis, the Contractor shall remit the Procurement Efficiency Program Fee directly to Periscope no later than thirty (30) days after the end of each calendar quarter. The calendar quarters will end March 31, June 30, September 30, and December 31.  Failure to remit the Procurement Efficiency Program Fee timely and accurately may result in Contract termination as outlined in the “Termination of Contract” clause of the State of New Jersey Standard Terms and Conditions.

- NJSTART Marketplace Catalog Enablement - Contractor shall cooperate with State and/or Periscope as requested to upload catalog items and pricing consistent with this Contract. Contractor shall upload catalog within (thirty) 30 calendar days of the date of execution of this Contract. Failure to cooperate will result in the Contractor’s good and/or services not being represented in the NJSTART Marketplace. The Contractor shall ensure that the catalog complies with the scope, and terms and conditions of this Contract. Any identified deviation from the Contract must be corrected immediately. Any catalog that does not comply with the scope and terms and conditions of this Contract can lead to a breach of contract and will be escalated to the Division of Purchase and Property’s Contract Compliance and Audit Unit for review and possible action.

- Retention and Inspection of Records and Audit - The Contractor shall keep records of all sales made to all Using Agencies in sufficient detail to enable the State to determine the Procurement Efficiency Program Fee payable by the Contractor. The State and/or Periscope may examine and audit, at its own expense, Contractor’s sales records and Sales Reports for completeness and accuracy. If such examination reveals underpayment of the Procurement Efficiency Program Fee, the Contractor shall immediately pay to Periscope the amount of deficiency. If the examination reveals an underpayment of 5% or more, then the Contractor shall reimburse the State and/or Periscope for the cost of the audit.

# DATA SECURITY REQUIREMENTS – CONTRACTOR RESPONSIBILITY

Not applicable to this procurement.

# MODIFICATIONS TO THE STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS

## INSURANCE

### PROFESSIONAL LIABILITY INSURANCE

Section 4.2 of the SSTC is supplemented with the following:

Professional Liability Insurance:  The Contractor shall carry Errors and Omissions, Professional Liability Insurance, and/or Professional Liability Malpractice Insurance sufficient to protect the Contractor from any liability arising out of the professional obligations performed pursuant to the requirements of this Contract.  The insurance shall be in the amount of not less than $1,000,000 or higher if appropriate per each occurrence, and in such policy forms as shall be approved by the State.  If the Contractor has claims-made coverage and subsequently changes carriers during the term of this Contract, it shall obtain from its new Errors and Omissions, Professional Liability Insurance, and/or Professional Malpractice Insurance carrier an endorsement for retroactive coverage.

# QUOTE EVALUATION AND AWARD

## RIGHT TO WAIVE

Pursuant to N.J.A.C. 17:12-2.7(d) the Director may waive minor irregularities or omissions in a Quote.  The Director reserves the right to waive a requirement provided that the requirement does not materially affect the procurement or the State's interests associated with the procurement.

## DIRECTOR’S RIGHT TO ACCEPT OR REJECT A QUOTE

The Director reserves the right to reject any or all Quotes, or to award in whole or in part if deemed to be in the best interest of the State to do so. The Director shall have authority to award Contracts in accordance with N.J.S.A. 52:34-12.

## RECIPROCITY FOR JURISDICTIONAL BIDDER PREFERENCE

In accordance with N.J.S.A. 52:32-1.4 and N.J.A.C. 17:12-2.13, the State of New Jersey will invoke reciprocal action against an out-of-State Bidder whose state or locality maintains a preference practice for its in-state Bidders.  The State of New Jersey will use the annual surveys compiled by the Council of State Governments, National Association of State Procurement Officials, or the National Institute of Governmental Purchasing or a State’s statutes and regulations to identify States having preference laws, regulations, or practices and to invoke reciprocal actions. The State of New Jersey may obtain additional information as it deems appropriate to supplement the stated survey information.

A Bidder may submit information related to preference practices enacted for a State or Local entity outside the State of New Jersey. This information may be submitted in writing as part of the Quote response, including name of the locality having the preference practice, as well as identification of the county and state, and should include a copy of the appropriate documentation, i.e., resolution, regulation, law, notice to Bidder, etc.  It is the responsibility of the Bidder to provide documentation with the Quote or submit it to the Director within five (5) business days after the deadline for Quote submission.  Written evidence for a specific procurement that is not provided to the Director within five (5) business days of the public Quote submission date may not be considered in the evaluation of that procurement, but may be retained and considered in the evaluation of subsequent procurements.

## CLARIFICATION OF QUOTE

After the Quote Opening Date, unless requested by the State as noted below, Bidder contact with the Procurement Bureau regarding this Bid Solicitation and the submitted Quote is not permitted.

After the Quotes are reviewed, one (1), some or all of the Bidders may be asked to clarify certain aspects of its Quote.  A request for clarification may be made in order to resolve minor ambiguities, irregularities, informalities or clerical errors.  Clarifications cannot correct any deficiencies, material omissions, or used to revise or modify a Quote.

The Director reserves the right to request that a Bidder to explain, in detail, how the Quote price was determined.

## ORAL PRESENTATION

Not applicable to this procurement.

## TIE QUOTES

Tie Quotes will be awarded by the Director in accordance with N.J.A.C. 17:12-2.10.

## STATE'S RIGHT TO INSPECT BIDDER’S FACILITIES

The State reserves the right to inspect the Bidder’s establishment before making an award, for the purposes of ascertaining whether the Bidder has the necessary facilities for performing the Contract.

## STATE'S RIGHT TO CHECK REFERENCES

The State may also consult with clients of the Bidder during the evaluation of Quotes. Such consultation is intended to assist the State in making a Contract award that is most advantageous to the State.

## EVALUATION CRITERIA

The following evaluation criteria categories, not necessarily listed in order of significance, will be used to evaluate Quotes received in response to this Bid Solicitation.  The evaluation criteria categories may be used to develop more detailed evaluation criteria to be used in the evaluation process

### TECHNICAL EVALUATION CRITERIA

The following criteria will be used to evaluate and score Quotes received in response to this Bid Solicitation.  Each criterion will be scored, and each score multiplied by a predetermined weight to develop the Technical Evaluation Score:

- Personnel:  The qualifications and experience of the Bidder’s management, supervisory, and key personnel assigned to the Contract, including the candidates recommended for each of the positions/roles required;

- Experience of firm:  The Bidder’s documented experience in successfully completing Contract of a similar size and scope in relation to the work required by this Bid Solicitation; and

- Ability of firm to complete the Scope of Work based on its Technical Quote:  The Bidder’s demonstration in the Quote that the Bidder understands the requirements of the Scope of Work and presents an approach that would permit successful performance of the technical requirements of the Contract.

### PRICE EVALUATION

The Procurement Bureau will utilize a weighted consumption/market basket model to evaluate pricing.  The pricing model will be date-stamped and entered into the record before Quote opening.

## QUOTE DISCREPANCIES

In evaluating Quotes, discrepancies between words and figures will be resolved in favor of words.  Discrepancies between Unit Prices and totals of Unit Prices will be resolved in favor of Unit Prices.  Discrepancies in the multiplication of units of work and Unit Prices will be resolved in favor of the Unit Prices.  Discrepancies between the indicated total of multiplied Unit Prices and units of work and the actual total will be resolved in favor of the actual total.  Discrepancies between the indicated sum of any column of figures and the correct sum thereof will be resolved in favor of the correct sum of the column of figures.

## NEGOTIATION

In accordance with N.J.S.A. 52:34-12(f) and N.J.A.C. 17:12-2-7, after evaluating Quotes, the Procurement Bureau may establish a competitive range and enter into negotiations with one (1) Bidder or multiple Bidders within this competitive range.  The primary purpose of negotiations is to maximize the State’s ability to obtain the best value based on the mandatory requirements, evaluation criteria, and cost.  Multiple rounds of negotiations may be conducted with one (1) Bidder or multiple Bidders.  Negotiations will be structured by the Procurement Bureau to safeguard information and ensure that all Bidders are treated fairly.

Negotiations will be conducted only in those circumstances where it is deemed by the Director to be in the State’s best interests and to maximize the State’s ability to get the best value.  Therefore, the Bidder is advised to submit its best technical and price Quote in response to this Bid Solicitation since the State may, after evaluation, make a Contract award based on the content of the initial submission.

If the Procurement Bureau contemplates negotiation, Quote prices will not be publicly read at the Quote opening.  Only the name and address of each Bidder will be publicly announced at the Quote opening.

## BEST AND FINAL OFFER (BAFO)

The Procurement Bureau may invite one (1) Bidder or multiple Bidders to submit a Best and Final Offer (BAFO). Said invitation will establish the time and place for submission of the BAFO. Any BAFO that does not result in more advantageous pricing to the State will not be considered, and the State will evaluate the Bidder’s most advantageous previously submitted pricing.

The Division may conduct more than one (1) round of BAFO in order to attain the best value for the State.

BAFOs will be conducted only in those circumstances where it is deemed by the Procurement Bureau or Director to be in the State’s best interests and to maximize the State’s ability to get the best value.  Therefore, the Bidder is advised to submit its best technical and price Quote in response to this Bid Solicitation since the State may, after evaluation, make a Contract award based on the content of the initial submission

If the Procurement Bureau contemplates BAFOs, Quote prices will not be publicly read at the Quote opening.  Only the name and address of each Bidder will be publicly announced at the Quote opening.

## “REQUEST FOR REVISION” WITHIN NJSTART

The State may request a revision of the Bidder’s Quote within NJSTART. The Bidder shall respond to the “Request for Revision” only for the reason(s) identified by the State. Any changes made by a Bidder to the Quote other than as requested by the State shall be considered null and void.

## POOR PERFORMANCE

A Bidder with a history of performance problems may be bypassed for consideration of an award issued as a result of this Bid Solicitation. The following materials may be reviewed to determine Bidder performance:

- Contract cancellations for cause pursuant to State of New Jersey Standard Terms and Conditions Section 5.7(B);

- Information contained in Contractor performance records;

- Information obtained from audits or investigations conducted by a local, state or federal agency of the Bidder’s work experience;

- Current licensure, registration, and/or certification status and relevant history thereof; or

- Bidder’s status or rating with established business/financial reporting services, as applicable.

Bidders should note that this list is not exhaustive.

## RECOMMENDATION FOR AWARD

After the evaluation of the submitted Quotes is complete, the Procurement Bureau will recommend to the Director for award, the responsible Bidder(s) whose Quote, conforming to this Bid Solicitation, is most advantageous to the State, price and other factors considered.  The Director may accept, reject or modify the recommendation of the Procurement Bureau.

## CONTRACT AWARD

Contract award(s) will be made with reasonable promptness by written notice to those responsible Bidders, whose Quotes, conforming to this Bid Solicitation, is(are) most advantageous to the State, price, and other factors considered.  Any or all Quotes may be rejected when the State Treasurer or the Director determines that it is in the public interest to do so.  Contract awards will be publicly posted under the relevant contract number and available on NJSTART.

It is the intent of the State to award up to six (6) Contracts for tower maintenance services. Due to the number of installed towers and numerous locations within the State, the intent is to award up to two (2) Contracts for the Southern Region; two (2) Contracts for the Central Region; and two (2) Contracts for the Northern Region. This procurement is a Small Business/Disabled Veteran-Owned Business partial set aside.

# GLOSSARY

## CROSSWALK

| Current DPP Template Term | Equivalent Statutory, Regulatory NJSTART and/or Legacy Term |
| --- | --- |
| Bid Solicitation | Request For Proposal (RFP)/Solicitation |
| Bid Amendment | Addendum |
| Contract | Master Blanket Purchase Order (Blanket/Blanket P.O.) |
| Contract Amendment | Change Order |
| Administrative Change Order | Change Order |
| Quote | Proposal/Bid |
| Contractor | Vendor/Contractor |
| Bidder | Bidder/Contractor |

## DEFINITIONS

Unless otherwise specified in the Bid Solicitation, the following definitions will be part of any Contract awarded, or order placed, as a result of this Bid Solicitation.  Note that not all definitions included here apply to all Bid Solicitations.

Acceptance – The written confirmation by the Using Agency that Contractor has completed a Deliverable according to the specified requirements.

Administrative Change Order – A unilateral administrative modification to the Contract in the NJSTART system by the Division. Administrative Change Orders are not to be considered formal Contract Amendments.

All-Inclusive Hourly Rate – An hourly rate comprised of all direct and indirect costs including, but not limited to: labor costs, overhead, fee or profit, clerical support, travel expenses, per diem, safety equipment, materials, supplies, managerial support and all documents, forms, and reproductions thereof.  This rate also includes portal-to-portal expenses as well as per diem expenses such as food.

Apparel – means any clothing, headwear, linens or fabric.

Apparel Contracts – include all purchases, rentals or other acquisition of apparel products by the State of New Jersey, including authorizations by the State of New Jersey for contractors to sell apparel products through cash allowances or vouchers issued by the State of New Jersey, and license agreements with a public body.

Apparel Production – includes the cutting and manufacturing of apparel products performed by the contractor or by any subcontractors, but not including the production of supplies or sundries such as buttons, zippers, and thread.

Approved Products – Those products that have been identified in Bid Solicitation as meeting Using Agency needs and confirmed as meeting product specifications.

Best and Final Offer or BAFO – Pricing timely submitted by a Bidder upon invitation by the Procurement Bureau after Quote opening, with or without prior discussion or negotiation.

Bid or Bid Solicitation – The documents which establish the bidding and Contract requirements and solicits Quotes to meet the needs of the Using Agencies as identified herein, and includes the Bid Solicitation, State of New Jersey Standard Terms and Conditions (SSTC), State-Supplied Price Sheet, Attachments, and Bid Amendments.

Bid Amendment – Written clarification or revision to this Bid Solicitation issued by the Division. Bid Amendments, if any, will be issued prior to Quote opening.

Bid Opening Date – The date Quotes will be opened for evaluation and closed to further Quote submissions.

Bid Security - means a guarantee, in a form acceptable to the Division, that the bidder, if selected, will accept the contract as bid; otherwise, the bidder or, as applicable, its guarantor will be liable for the amount of the loss suffered by the State, which loss may be partially or completely recovered by the State in exercising its rights against the instrument of bid security.

Bidder – An entity offering a Quote in response to the Division’s Bid Solicitation.

Breach of Security – as defined by N.J.S.A. 56:8-161, means unauthorized access to electronic files, media, or data containing Personal Data that compromises the security, confidentiality, or integrity of Personal Data when access to the Personal Data has not been secured by encryption or by any other method or technology that renders the Personal Data unreadable or unusable.  Good faith acquisition of Personal Data by an employee or agent of the Provider for a legitimate business purpose is not a Breach of Security, provided that the Personal Data is not used for a purposes unrelated to the business or subject to further unauthorized disclosure.

Business Day – Any weekday, excluding Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Calendar Day – Any day, including Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Commercial off the Shelf Software or COTS – Software provided by Provider that is commercially available and that can be used with little or no modification.

Customized Software – COTS that is adapted or configured by Provider to meet specific requirements of the Authorized Purchaser that differ from the standard requirements of the base product. For the avoidance of doubt, “Customized Software” is not permitted to be sold to the State under the scope of this Contract.

Contract – The Contract consists of the State of NJ Standard Terms and Conditions (SSTC), the Bid Solicitation, the responsive Quote submitted by a responsible Bidder as accepted by the State, the notice of award, any Best and Final Offer, any subsequent written document memorializing the agreement, any modifications to any of these documents approved by the State and any attachments, Bid Amendment or other supporting documents, or post-award documents including Contract Amendments agreed to by the State and the Contractor, in writing.

Contract Amendment – An amendment, alteration, or modification of the terms of a Contract between the State and the Contractor(s). A Contract Amendment is not effective until it is signed and approved in writing by the person with the appropriate signing authority.  Contract Amendments are tracked using Change Orders in NJSTART. Please note that Administrative Change Orders (see definition above) are not considered Contract Amendments.

Contractor – The Bidder awarded a Contract resulting from this Bid Solicitation.

Contractor Intellectual Property – Any intellectual property that is owned by Contractor and contained in or necessary for the use of the Deliverables or which the Contractor makes available for the State to use as part of the work under the Contract.  Contractor Intellectual Property includes COTS or Customized Software owned by Contractor, Contractor’s technical documentation, and derivative works and compilations of any Contractor Intellectual Property.

Cooperative Purchasing Program – The Division’s intrastate program that provides procurement-related assistance to New Jersey local governmental entities and boards of education, State and county colleges and other public entities having statutory authority to utilize select State Contract s issued by the Division, pursuant to the provisions of N.J.S.A. 52:25-16.1 et seq.

Cooperative Purchasing Participants – These participants include quasi-State entities, counties, municipalities, school districts, volunteer fire departments, first aid squads, independent institutions of higher learning, County colleges, and State colleges.

Days After Receipt of Order (ARO) – The number of calendar days ‘After Receipt of Order’ in which the Using Agency will receive the ordered materials and/or services.

Dealer/Distributor – A Company authorized by a Bidder or Contractor as having the contractual ability to accept and fulfill orders and receive payments directly on behalf of the Contractor that is awarded a Contract.  Any authorized Dealer/Distributor must agree to all terms and conditions contained within the Bid Solicitation and must agree to provide all products and services in accordance with the Contract specifications, terms, conditions and pricing.

Deliverable – Goods, products, Services and Work Product that Contractor is required to deliver to the State under the Contract.

Director – Director, Division of Purchase and Property, Department of the Treasury, who by statutory authority is the Chief Contracting Officer for the State of New Jersey; or the Director’s designee.

Disabled Veterans’ Business - means a business which has its principal place of business in the State, is independently owned and operated and at least 51% of which is owned and controlled by persons who are disabled veterans or a business which has its principal place of business in this State and has been officially verified by the United States Department of Veterans Affairs as a service disabled veteran-owned business for the purposes of department contracts pursuant to federal law.  N.J.S.A. 52:32-31.2.

Disabled Veterans’ Business Set-Aside Contract – means a Contract for goods, equipment, construction or services which is designated as a Contract with respect to which bids are invited and accepted only from disabled veterans’ businesses, or a portion of a Contract when that portion has been so designated.  N.J.S.A. 52:32-31.2.

Discount – The standard price reduction applied by the Bidder to all items.

Division – The Division of Purchase and Property.

Equivalent Products – Products offered other than those identified as an Approved Product in this Bid Solicitation that meet the specifications herein. Equivalent Products will be evaluated to ensure that they meet all technical, nutritional, and packaging specifications herein as part of the Quote evaluation process.

Evaluation Committee – A group of individuals or a Division staff member assigned by the Director to review and evaluate Quotes submitted in response to this Bid Solicitation and recommend a Contract award to the Director.

Firm Fixed Price – A price that is all-inclusive of direct cost and indirect costs, including, but not limited to, direct labor costs, overhead, fee or profit, clerical support, equipment, materials, supplies, managerial (administrative) support, all documents, reports, forms, travel, reproduction and any other costs.

Hardware – Includes computer equipment and any Software provided with the Hardware that is necessary for the Hardware to operate.

Internet of Things (IoT) – the network of physical devices, vehicles, home appliances and other items embedded with electronics, software, sensors, actuators, and network connectivity which enables these objects to connect and exchange data.

Intrastate cooperative purchasing participants – refers to political subdivisions, volunteer fire departments and first aid squads, and independent institutions of higher education and school districts pursuant to N.J.S.A. 52:25-16.1 et seq., State and county colleges pursuant to N.J.S.A. 18A:64-60 and 18A:64A-25.9, quasi-State agencies and independent authorities pursuant to N.J.S.A. 52:27B-56.1, and other New Jersey public entities having statutory authority to utilize select State contracts issued by the Division.

Joint Venture – A business undertaking by two (2) or more entities to share risk and responsibility for a specific project.

Life cycle assessment – The comprehensive examination of a product’s environmental and economic aspects and potential impacts throughout its lifetime, including raw material extraction, transportation, manufacturing, use and disposal.

Life cycle cost – The amortized total cost of a product, including capital costs, installation costs, operating costs, maintenance costs, and disposal costs discounted over the lifetime of the product.

Master Blanket Purchase Order (Blanket/Blanket P.O.) – A Term Contract that allows repeated purchases from an awarded contract.

Materials in Solid Waste – Material found in the various components of the solid waste stream. General, solid waste has several components, such as municipal solid waste (MSW), construction and demolition debris (C&D), and nonhazardous industrial waste.  Under RCRA Section 6002, EPA considers materials recovered from any component of the solid waste stream when designating items containing Recovered Materials.

May – Denotes that which is permissible or recommended, not mandatory.

Mobile Device – means any device used by Provider that can move or transmit data, including but not limited to laptops, hard drives, and flash drives.

Must – Denotes that which is a mandatory requirement.

Net Purchases – means the total gross purchases, less credits, taxes, regulatory fees and separately stated shipping charges not included in unit prices, made by Intrastate Cooperative Purchasing Participants, regardless of whether or not NJSTART is used as part of the purchase process.

No Bid – The Bidder is not submitting a price Quote for an item on a price line.

No Charge – The Bidder will supply an item on a price line free of charge.

Non-Public Data – means data, other than Personal Data, that is not subject to distribution to the public as public information. Non-Public Data is data that is identified by the State as non-public information or otherwise deemed to be sensitive and confidential by the State because it contains information that is exempt by statute, ordinance or administrative rule from access by the general public as public information.

Percentage Discount or Markup – The percentage bid applied as a Markup or a Discount to a firm, fixed price contained within a price list/catalog.

Performance Security – means a guarantee, executed subsequent to award, in a form acceptable to the Division, that the successful bidder will complete the contract as agreed and that the State will be protected from loss in the event the contractor fails to complete the contract as agreed.

Personal Data means –

“Personal Information” as defined in N.J.S.A. 56:8-161, means an individual’s first name or first initial and last name linked with any one or more of the following data elements: (1) Social Security number, (2) driver’s license number or State identification card number or (3) account number or credit or debit card number, in combination with any required security code, access code, or password that would permit access to an individual’s financial account.  Dissociated data that, if linked would constitute Personal Information is Personal Information if the means to link the dissociated were accessed in connection with access to the dissociated data.  Personal Information shall not include publicly available information that is lawfully made available to the general public from federal, state or local government records, or widely distributed media; and/or

Data, either alone or in combination with other data, that includes information relating to an individual that identifies the person or entity by name, identifying number, mark or description that can be readily associated with a particular individual and which is not a public record, including but not limited to, Personally Identifiable Information (PII); government-issued identification numbers (e.g., Social Security, driver’s license, passport); Protected Health Information (PHI) as that term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 and defined below; and Education Records, as that term is defined in the Family Educational Rights and Privacy Act (FERPA), 20 U.S.C. § 1232g.

Personally Identifiable Information or PII - as defined by the U.S. Department of Commerce, National Institute of Standards and Technology, means any information about an individual maintained by an agency, including (1) any information that can be used to distinguish or trace an individual’s identity, such as name, social security number, date and place of birth, mother’s maiden name, or biometric records; and (2) any other information that is linked or linkable to an individual, such as medical, educational, financial, and employment information.

Post-Consumer Material – Material or finished product that has served its intended use and has been diverted or recovered from waste destined for disposal, having completed its life as a consumer item.  Post-Consumer Materials are part of the broader category of Recovered Materials.

Pre-Consumer Material – Materials generated in manufacturing and converting processes, such as manufacturing scrap and trimmings/cuttings.

Price List/Catalog – A document published by a manufacturer, resellers, Dealers, or Distributors that typically contains product descriptions, a list of products with fixed prices to which a Bidder’s percentage discount or markup bid is applied.

Procurement Bureau (Bureau) – The Division unit responsible for the preparation, advertisement, and issuance of Bid Solicitations, for the tabulation of Quotes and for recommending award(s) of Contract(s) to the Director and the Deputy Director.

Project – The undertakings or services that are the subject of this Bid Solicitation.

Protected Health Information or PHI – has the same meaning as the term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 means Individually Identifiable Health Information (as defined below) transmitted by electronic media, maintained in electronic media, or transmitted or maintained in any other form or medium. PHI excludes education records covered by the Family Educational Rights and Privacy Act (FERPA), as amended, 20 U.S.C. 1232g, records described at 20 U.S.C. 1232g(a)(4)(B)(iv) and employment records held by a covered entity in its role as employer. The term “Individually Identifiable Health Information” has the same meaning as the term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 and means information that is a subset of Protected Health Information, including demographic information collected from an individual, and (1) is created or received by a health care provider, health plan, employer or health care clearinghouse; and (2) relates to the past, present or future physical or mental health or condition of an individual; the provision of health care to an individual; or the past, present or future payment for the provision of health care to an individual; and (a) that identifies the individual; or (b) with respect to which there is a reasonable basis to believe the information can be used to identify the individual.

Purchases - means the total gross purchases, less credits, taxes, regulatory fees and separately stated shipping charges not included in unit prices, made regardless of whether or not NJSTART is used as part of the purchase process.

Quasi-State Agency – is any agency, commission, board, authority or other such governmental entity which is established and is allocated to a State department or any bi-state governmental entity of which the State of New Jersey is a member, as defined in N.J.S.A. 52:27B-56.1, provided that any sale to any such bi-state governmental entity is for use solely within the State of New Jersey.

Quick Reference Guides (QRGs) – Informational documents which provide Vendors with step-by-step instructions to navigate the NJSTART eProcurement System. QRGs are available on the NJSTART Vendor Support Page.

Quote – Bidder’s timely response to the Bid Solicitation including, but not limited to, technical Quote, price Quote including Best and Final Offer, any licenses, forms, certifications, clarifications, negotiated documents, and/or other documentation required by the Bid Solicitation.

Quote Opening Date – The date Quotes will be opened for evaluation and closed to further Quote submissions.

Recovered Material – Waste material and byproduct that have been recovered or diverted from solid waste, but does not include materials and byproducts generated from, and commonly reused within, an original manufacturing process.

Recycling – The series of activities, including collection, separation, and processing, by which products or other materials are recovered from the solid waste stream for use in the form of raw materials in the manufacture of new products other than fuel for producing heat or power by combustion.

Recyclability – The ability of a product or material to be recovered from, or otherwise diverted from, the solid waste stream for the purpose of recycling.

Retainage – The amount withheld from the Contractor payment that is retained and subsequently released upon satisfactory completion of performance milestones by the Contractor.

Revision – A response to a BAFO request or a requested clarification of the Bidder’s Quote.

RMAN – Recovered Materials Advisory Notices provide purchasing guidance and recommendations for Recovered and Post-Consumer Material content levels for designated items.

Security Incident – means the potential access by non-authorized person(s) to Personal Data or Non-Public Data that the Provider believes could reasonably result in the use, disclosure, or access or theft of State’s unencrypted Personal Data or Non-Public Data within the possession or control of the Provider. A Security Incident may or may not turn into a Breach of Security.

Services – Includes, without limitation (i) Information Technology (IT) professional services, (ii) Software and Hardware-related services, including without limitation, installation, configuration, and training, and (iii) Software and Hardware maintenance and support and/or Software and Hardware technical support services.

Shall – Denotes that which is a mandatory requirement.

Should – Denotes that which is permissible or recommended, not mandatory.

Small Business – Pursuant to N.J.S.A. 52:32-19, N.J.A.C. 17:13-1.2, and N.J.A.C. 17:13-2.1, “small business” means a business that meets the requirements and definitions of “small business” and has applied for and been approved by the New Jersey Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit as (i) independently owned and operated, (ii) incorporated or registered in and has its principal place of business in the State of New Jersey; (iii)  has 100 or fewer full-time employees; and has gross revenues falling in one (1) of the six (6) following categories:

For goods and services - (A) 0 to $500,000 (Category I); (B) $500,001 to $5,000,000 (Category II); and (C) $5,000,001 to $12,000,000, or the applicable federal revenue standards established at 13 CFR 121.201, whichever is higher (Category III).

For construction services: (A) 0 to $3,000,000 (Category IV); (B) gross revenues that do not exceed 50 percent of the applicable annual revenue standards established at 13 CFR 121.201 (Category V); and (C) gross revenues that do not exceed the applicable annual revenue standards established at CFR 121.201, (Category VI).

Small Business Set-Aside Contract – means (1) a Contract for goods, equipment, construction or services which is designated as a Contract with respect to which bids are invited and accepted only from small businesses, or (2) a portion of a Contract when that portion has been so designated.”  N.J.S.A. 52:32-19.

Software – means, without limitation, computer programs, source codes, routines, or subroutines supplied by Provider, including operating software, programming aids, application programs, application programming interfaces and software products, and includes COTS, unless the context indicates otherwise.

Software as a Service or SaaS – means the capability provided to a purchaser to use the Provider’s applications running on a cloud infrastructure. The applications are accessible from various client devices through a thin client interface such as a Web browser (e.g., Web-based email) or a program interface. The purchaser does not manage or control the underlying cloud infrastructure, including network, servers, operating systems, storage or even individual application capabilities, with the possible exception of limited user-specific application configuration settings.

State – The State of New Jersey.

State Confidential Information – shall consist of State Data and State Intellectual Property  supplied by the State, any information or data gathered by the Contractor in fulfillment of the Contract and any analysis thereof (whether in fulfillment of the Contract or not).

State Contract Manager or SCM – The individual, responsible for the approval of all deliverables, i.e., tasks, sub-tasks or other work elements in the Scope of Work.  The SCM cannot direct or approve a Contract Amendment.

State Data – means all data and metadata created or in any way originating with the State, and all data that is the output of computer processing of or other electronic manipulation of any data that was created by or in any way originated with the State, whether such data or output is stored on the State’s hardware, the Provider’s hardware or exists in any system owned, maintained or otherwise controlled by the State or by the Provider.  State Data includes Personal Data and Non-Public Data.

State Intellectual Property – Any intellectual property that is owned by the State.  State Intellectual Property includes any derivative works and compilations of any State Intellectual Property.

State Price Sheet or State-Supplied Price Sheet – the bidding document created by the State and attached to this Bid Solicitation on which the Bidder submits its Quote pricing as is referenced and described in the Bid Solicitation.

Subtasks – Detailed activities that comprise the actual performance of a task.

Subcontractor – An entity having an arrangement with a Contractor, whereby the Contractor uses the products and/or services of that entity to fulfill some of its obligations under its State Contract, while retaining full responsibility for the performance of all  Contractor's obligations under the Contract, including payment to the Subcontractor.  The Subcontractor has no legal relationship with the State, only with the Contractor.

Task – A discrete unit of work to be performed.

Third Party Intellectual Property – Any intellectual property owned by parties other than the State or Contractor and contained in or necessary for the use of the Deliverables.  Third Party Intellectual Property includes COTS owned by Third Parties, and derivative works and compilations of any Third Party Intellectual Property.

Unit Cost or Unit Price – All-inclusive, firm fixed price charged by the Bidder for a single unit identified on a price line.

US CERT – United States Computer Emergency Readiness Team.

USEPA – United States Environmental Protection Agency.

Using Agency[ies] – A State department or agency, a quasi-State governmental entity, or an Intrastate Cooperative Purchasing participant, authorized to purchase products and/or services under a Contract procured by the Division.

Vendor – Either the Bidder or the Contractor.

Work Product – Every invention, modification, discovery, design, development, customization, configuration, improvement, process, Software program, work of authorship, documentation, formula, datum, technique, know how, secret, or intellectual property right whatsoever or any interest therein (whether patentable or not patentable or registerable under copyright or similar statutes or subject to analogous protection) that is specifically made, conceived, discovered, or reduced to practice by Contractor or Contractor’s subcontractors or a third party engaged by Contractor or its subcontractor pursuant to the Contract Notwithstanding anything to the contrary in the preceding sentence, Work Product does not include State Intellectual Property, Contractor Intellectual Property or Third Party Intellectual Property.

## CONTRACT-SPECIFIC DEFINITIONS

American National Standards Institute (ANSI) – A private non-profit organization that oversees the development of voluntary consensus standards for products.

ANSI/ASSE A10.48 Standard – Criteria for Safety Practices for the Construction, Demolition, Modification and Maintenance of Communications Structures published by the National Association of Tower Erectors (NATE).

Apprentice/Authorized Climber - An individual with the physical capabilities to climb, who may or may not have previous climbing experience, has been trained in fall protection regulations, the equipment that applies to working at heights and instruction for proper Use, Selection, inspection and care of that equipment.

CADWELD® process - A method of making electrical connections of copper-to-copper or copper-to-steel in which no outside source of heat or power is required.

Electronic Industries Association (EIA) – An association of organizations that have agreed on certain data transmission standards.

ERICO CALWELD Process -  A method of making electrical connections of copper-to-copper or copper-to-steel in which no outside source of heat or power is required.

Experience Modification Rate (EMR) - A numeric representation of a business’s claims history and safety record as compared to other businesses in the same industry.

Federal Aviation Administration (FAA) – The Federal agency that is responsible for the advancement, safety, and regulation of civil aviation and the development and operation of air traffic control.

Federal Communication Commission (FCC) – The Federal agency that regulates interstate communications by radio, television, wire, satellite, and cable.

Guy, Guyed – The use of a rope, cord, or cable used to steady, guide, or secure a tower.

Heavy Equipment Operator/Competent Rigger – A person responsible for operating heavy machinery, who understands the applicable industry standards, has the knowledge, skill and ability with the procedures and equipment common to the communication structures industry and has been trained to identify hazards and is authorized to take corrective measures.

National Electrical Code (NEC) – A regionally adoptable standard for the safe installation of electrical wiring and equipment in the United States.

National Fire Protection Association (NFPA) – A trade association that creates and maintains private, copyrighted standards and codes for usage and adoption by local governments.

North American Tower Erectors “Tower Climber Fall Protection Training Standard” (NATE CTS) – Tower Climber and Rescue course curriculum is a combination of classroom sessions focused on fall protection theory and practical hands-on exercises which train workers to a competent level in fall protection and rescue for the tower industry.

Occupational Safety and Health Administration (OSHA) – A Federal agency that regulates workplace safety and health.

Technician/Competent Climber – An Authorized Climber with more than 90 actual climbing days of experience and has been trained in fall protection regulations, the equipment that applies to working at heights and instruction for proper Use, Selection, inspection and care of that equipment.

TIA Standard – Telecommunications Industry Association is a standards-developing organization accredited by the American National Standards Institute (ANSI). The TIA’s standards and technical documents are based on the guidelines established by the ANSI. ANSI/TIA standards establish Loading Criteria, Analysis, and Design Related to the Installation, Alteration, and Maintenance of Communication Structures.

Underwriters Laboratories – Safety consultation and certification company that provides safety-related certification, validation, testing, inspection, auditing, advising, and training services.

Ultra-High Frequency (UHF) – the International Telecommunication Union (ITU) designation for radio frequencies in the range between 300 Megahertz and 3 Gigahertz, also known as the decimeter band as the wavelengths range from one meter to one decimeter.

Very High Frequency (VHF) – the International Telecommunication Union (ITU) designation for the range for radio frequency electromagnetic waves from 30 Megahertz to 300 Megahertz, with corresponding wavelengths of ten to one meters.

Working Foreman/Competent Rescuer - An individual designated by the employer as a Foreman or Supervisor who, by training, knowledge, and experience is capable of the implementation, supervision, and monitoring of the employer's fall protection rescue program.