| Bid Solicitation # | 24DPP01006 |
| --- | --- |
| T0081 Gases: Medical, Specialty and Industrial, Cylinders (for Purchase or Rental) and Related Equipment - Statewide |  |

|  | Date | Time |
| --- | --- | --- |
| Due Date For Electronic Questions Refer to Bid Solicitation Section 2.1 for more information. | April 25, 2024 | 2:00 PM |
| Mandatory/Optional Pre-Quote Conference Refer to Bid Solicitation Section 2.5 for more information. | Not applicable to this procurement. |  |
| Mandatory/Optional Site Visit Refer to Bid Solicitation Section 2.4 for more information. | Not applicable to this procurement. |  |
| Quote Opening Date Refer to Bid Solicitation Section 3 for more information. | May 15, 2024 | 2:00 PM |

Dates are subject to change.  All times contained in the Bid Solicitation refer to Eastern Time.

All changes will be reflected in Bid Amendments to the Bid Solicitation posted on www.njstart.gov.

| SET-ASIDES |  |
| --- | --- |
| Small Business Set-Aside For Goods and Services: ☐ I ☐ II ☐ III For Construction: ☐ IV ☐ V ☐ VI | ☒ Not Applicable ☐ Entire Contract ☐ Partial Contract ☐ Subcontracting Only ☐ Preference |
| Disabled Veteran-Owned Business Set-Aside | ☒ Not Applicable ☐ Entire Contract ☐ Partial Contract ☐ Subcontracting Only ☐ Preference |

| Bid Solicitation Issued By: State of New Jersey Department of the Treasury Division of Purchase and Property Trenton, New Jersey 08625-0230 | On Behalf of: State of New Jersey Cooperative Purchasing Participants |
| --- | --- |

Date:  4/12/2024

TABLE OF CONTENTS

1	INTRODUCTION AND SUMMARY OF THE BID SOLICITATION	1

1.1    PURPOSE AND INTENT	1

1.2    BACKGROUND	2

1.3    CONTRACT AMOUNT	2

1.4    ORDER OF PRECEDENCE OF CONTRACTUAL TERMS	2

1.5    INTRASTATE COOPERATIVE PURCHASING	2

2	PRE-QUOTE SUBMISSION INFORMATION	2

2.1    ELECTRONIC QUESTION AND ANSWER PERIOD	2

2.2    EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)	3

2.3    BID AMENDMENTS	3

2.4    MANDATORY/OPTIONAL SITE VISIT	3

2.5    MANDATORY/OPTIONAL PRE-QUOTE CONFERENCE	3

2.6    PRE-QUOTE DOCUMENT REVIEW	3

3	QUOTE SUBMISSION REQUIREMENTS	4

3.1    QUOTE SUBMISSION	4

3.2    BIDDER RESPONSIBILITY	4

3.3    ANNOUNCEMENT OF QUOTE INFORMATION	4

3.4    QUOTE ERRORS	4

3.5    QUOTE WITHDRAWAL PRIOR TO QUOTE OPENING	4

3.6    QUOTE WITHDRAWAL AFTER QUOTE OPENING, BUT PRIOR TO CONTRACT AWARD	4

3.7    JOINT VENTURE	5

3.8     SMALL BUSINESS SET-ASIDE CONTRACTS	5

3.9     DISABLED VETERANS’ BUSINESS SET-ASIDE CONTRACT	5

3.10    BID SECURITY	5

3.11    BIDDER ADDITIONAL TERMS SUBMITTED WITH THE QUOTE	5

3.12    QUOTE CONTENT	5

3.13    FORMS, REGISTRATIONS AND CERTIFICATIONS TO BE SUBMITTED WITH QUOTE	5

3.13.1   OFFER AND ACCEPTANCE PAGE	6

3.13.2   OWNERSHIP DISCLOSURE FORM	6

3.13.3   DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN FORM	6

3.13.4   DISCLOSURE OF INVESTIGATIONS AND OTHER ACTIONS INVOLVING BIDDER FORM	6

3.13.5   MACBRIDE PRINCIPLES FORM	6

3.13.6   SERVICE PERFORMANCE WITHIN THE UNITED STATES	6

3.13.7   CONFIDENTIALITY/COMMITMENT TO DEFEND	7

3.13.8   SUBCONTRACTOR UTILIZATION PLAN	7

3.13.9   RESERVED	8

3.13.10   AFFIRMATIVE ACTION	8

3.13.11   RESERVED	8

3.13.12   STATE OF NEW JERSEY SECURITY DUE DILIGENCE THIRD-PARTY INFORMATION SECURITY QUESTIONNAIRE	8

3.13.13   BUSINESS REGISTRATION	8

3.13.14	Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Pursuant to P.L.2022, c.3	8

3.14   TECHNICAL QUOTE	8

3.15   BIDDER QUOTE OVERVIEW FORM	8

3.16   BIDDER DATA SHEET/FORM	8

3.17   AFFIDAVIT OF APPAREL PRODUCTION	8

3.18   DISCLOSURE OF PRODUCT COMPOSITION	9

3.19   SPECIFICATION DATA SHEETS	9

3.20   SAMPLES AND TESTING	9

3.21   SPECIFICATION CONFORMANCE FORM	9

3.22   MANUFACTURER’S CERTIFICATION	9

3.23   MANUFACTURER’S PUBLISHED LIST OF OPTIONS AND ATTACHMENTS/PRICE LIST	9

3.24   PRICE LIST AND/OR CATALOG	9

3.25   MANAGEMENT OVERVIEW	9

3.26   CONTRACT MANAGEMENT	10

3.27   CONTRACT SCHEDULE	10

3.28   MOBILIZATION PLAN	10

3.29   ADDITIONAL PLAN(S)	10

3.30   ORGANIZATIONAL EXPERIENCE	10

3.31   LOCATION	10

3.32   ORGANIZATION CHARTS	10

3.33   RESUMES	10

3.34   EXPERIENCE WITH CONTRACTS OF SIMILAR SIZE AND SCOPE	10

3.35   FINANCIAL CAPABILITY OF THE BIDDER	10

3.36   STATE-SUPPLIED PRICE SHEET INSTRUCTIONS	10

3.36.1   DELIVERY TIME AND COSTS	12

3.36.2  CASH DISCOUNTS	12

3.36.3   VOLUME DISCOUNTS	12

3.36.4   USE OF “NO BID” ON THE STATE-SUPPLIED PRICE SHEET	12

3.37   ORAL PRESENTATIONS	13

4	SCOPE OF WORK	14

4.1  BID SOLICITATION CATEGORIES	14

CATEGORY 1:  MEDICAL GASES AND RELATED EQUIPMENT/ACCESSORIES – PRICE LINES  1 AND 2	14

CATEGORY 2:  SPECIALTY-AUDIT GASES AND RELATED EQUIPMENT/ACCESSORIES – PRICE LINES 3 AND 4	15

CATEGORY 3:  SPECIALTY - HIGH PURITY AND GENERAL PURPOSE GASES AND RELATED EQUIPMENT/ACCESSORIES – PRICE LINES 5 AND 6	16

CATEGORY 4:  INDUSTRIAL GASES AND RELATED EQUIPMENT/ACCESSORIES – PRICE LINES 7 AND 8	17

4.2  GENERAL INFORMATION PERTAINING TO THE BID SOLICITATION CATEGORIES – GASES AND CYLINDERS	18

4.3  DELIVERY REQUIREMENTS	20

4.4  CYLINDER RENTAL	22

4.5  CYLINDER RETURN/EXCHANGE	22

4.6  AGENCY-USE NET LINES	22

4.6.1  LOSS OR DAMAGE TO A RENTED CYLINDER (PRICE LINE 9)	22

4.6.2  RETURNS AND RESTOCKING FEES (PRICE LINE 10)	22

4.6.3    EMERGENCY DELIVERIES (PRICE LINE 11)	22

4.7  PRICE LIST UPDATE	23

4.8  DISCLOSURE OF PRODUCT COMPOSITION	23

4.9  REPLACEMENT OF UNSATISFACTORY PRODUCT	23

4.10  SUBSTITUTION OF DISCONTINUED OR REFORMULATED PRODUCTS	23

4.11  SUBSTITUTION OF PRODUCTS ON A TEMPORARY BASIS	23

4.12  CURRENT PRODUCTION ITEMS	23

4.13  MANUALS AND INSTRUCTIONS	23

4.14  GUARANTEE/WARRANTY	23

4.15  CONTRACT ORDERING/MINI-BID PROCESS	24

5	GENERAL CONTRACT TERMS	25

5.1   CONTRACT TERM AND EXTENSION OPTION	25

5.2   CONTRACT TRANSITION	25

5.3   PERFORMANCE SECURITY	25

5.4   OWNERSHIP OF MATERIAL	25

5.5   SUBSTITUTION OF STAFF	25

5.6   DELIVERY TIME AND COSTS	25

5.7   AUTHORIZED DEALERS AND/OR DISTRIBUTORS	25

5.8   LIQUIDATED DAMAGES	26

5.9   RETAINAGE	26

5.10   ELECTRONIC PAYMENTS	26

5.11   REPORTING AND SUPPLIER CONVENIENCE FEE	26

6	DATA SECURITY REQUIREMENTS – CONTRACTOR RESPONSIBILITY	27

7	MODIFICATIONS TO THE STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS	27

8	QUOTE EVALUATION AND AWARD	28

8.1   RIGHT TO WAIVE	28

8.2   DIRECTOR’S RIGHT TO ACCEPT OR REJECT A QUOTE	28

8.3   RECIPROCITY FOR JURISDICTIONAL BIDDER PREFERENCE	28

8.4   CLARIFICATION OF QUOTE	28

8.5   ORAL PRESENTATION	28

8.6   TIE QUOTES	28

8.7   STATE'S RIGHT TO INSPECT BIDDER’S FACILITIES	28

8.8   STATE'S RIGHT TO CHECK REFERENCES	28

8.9   EVALUATION CRITERIA	28

8.9.1   TECHNICAL EVALUATION CRITERIA	29

8.9.2   PRICE EVALUATION	29

8.10   QUOTE DISCREPANCIES	29

8.11   NEGOTIATION	29

8.12   BEST AND FINAL OFFER (BAFO)	29

8.13   “REQUEST FOR REVISION” WITHIN NJSTART	29

8.14   POOR PERFORMANCE	29

8.15   RECOMMENDATION FOR AWARD	30

8.16   CONTRACT AWARD	30

9	GLOSSARY	31

9.1   CROSSWALK	31

9.2   DEFINITIONS	31

9.3   CONTRACT-SPECIFIC DEFINITIONS	36

ATTACHMENT 1 – State of New Jersey Standard Terms and Conditions (2/8/2024)

ATTACHMENT 2 – Standard Procurement Forms Packet

ATTACHMENT 3 – Bidder Data Sheet/Form

ATTACHMENT 4 – Specification Conformance Form

ATTACHMENT 5 – New Jersey Department of Corrections – Delivery Locations and Instructions

# INTRODUCTION AND SUMMARY OF THE BID SOLICITATION

This Bid Solicitation is issued by the Department of the Treasury, Division of Purchase and Property (Division), Procurement Bureau, on behalf of Statewide Using Agencies and Cooperative Purchasing Participants. Quotes submitted in response to this Bid Solicitation shall be through the State of New Jersey’s eProcurement system, NJSTART.  Bidders are advised to thoroughly read all sections of this Bid Solicitation and follow all instructions.

Bidders are strongly encouraged to visit the NJSTART Vendor Support Page, which contains Quick Reference Guides (QRGs), supporting videos, a glossary of NJSTART terms, and helpdesk contact information.  Bidders should utilize the QRGs before attempting to submit a Quote through NJSTART.   It is the Bidder’s responsibility to ensure that the Quote and attachments have been properly submitted.  Inquiries concerning the use of NJSTART may be directed to njstart@treas.nj.gov. The Division will not respond to substantive questions related to the Bid Solicitation or any other Contract via this email address.

## 1.1    PURPOSE AND INTENT

The purpose of this Bid Solicitation is to solicit Quotes for various medical, specialty and industrial gases, cylinders (for rental or purchase) and related equipment.

It is the intent of the State to award Contracts to each responsible Bidders whose Quotes, conforming to this Bid Solicitation are most advantageous to the State of New Jersey (State), price and other factors considered.  The State may award any or all price lines.  The State, however, reserves the right to separately procure individual requirements that are the subject of the Contract during the Contract term, when deemed by the Director of the Division (Director) to be in the State’s best interest.

The Bid Solicitation and State-Supplied Price Sheet contain four (4) categories, with two (2) price lines in each category, itemized as follows:

| Category Number | Price Line Numbers | Description |
| --- | --- | --- |
| 1 | 1 | Medical Gases, Cylinder and Bulk |
|  | 2 | Medical Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders) |
| 2 | 3 | Specialty – Audit Gases, Cylinder and Bulk |
|  | 4 | Specialty – Audit Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders) |
| 3 | 5 | Specialty – High Purity and General Purpose Gases, Cylinder and Bulk |
|  | 6 | Specialty – High Purity and General Purpose Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders) |
| 4 | 7 | Industrial Gases, Cylinder and Bulk |
|  | 8 | Industrial Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders) |

Bidders must bid on both price line items within a given category in order for their Quote to be considered responsive for the Category.  For example, a Bidder offering a Quote for Category 1 must bid on price lines 1 and 2 in order for the Quote to be considered responsive.

Bidders may bid on one, several, or all Categories on the State-Supplied Price Sheet.  Bidders are not required to bid on all Categories in order to be considered responsive.

The State intends to award a Contract to each responsive Bidder that submits a Quote that meets the category definition and requirements of the Bid Solicitation in accordance with Section 8.16 of this Bid Solicitation.

There are also three (3) Agency-Use Net Lines, as follows:

| Price Line Number | Description |
| --- | --- |
| 9 | Using Agency Payment for Loss or Damage to a Rented Cylinder |
| 10 | Using Agency Payment for Returns (Return Shipping Costs) and Restocking Fees |
| 11 | Using Agency Payment for Emergency Deliveries |

Bidders shall not bid on the Agency-Use Net Lines on the State-Supplied Price Sheets.

This Bid Solicitation is not designated as a Small Business or Disabled Veteran-Owned Business set aside.

The State of New Jersey Standard Terms and Conditions (SSTCs) included with this Bid Solicitation will apply to all Contracts made with the State.  These terms are in addition to the terms and conditions set forth in this Bid Solicitation and should be read in conjunction with them unless the Bid Solicitation specifically indicates otherwise.

## 1.2    BACKGROUND

This is a reprocurement of the products under the Gases: Medical, Specialty and Industrial – Statewide.  Bidders interested in reviewing the current Contract specifications and pricing information may do so by following the instruction below.  Bidders should not rely upon or use data or information from the Contract when preparing a response to this Bid Solicitation as this Bid Solicitation addresses the State’s current requirements.

- Go to: www.njstart.gov

- Select “Active Blankets”

- In the search bar, select “Blankets” from the drop down menu

- Enter the T0081 and click “”

- The current Contract list will appear under “Results”

## 1.3    CONTRACT AMOUNT

The estimated amount of the Contract, if stated, shall not be construed as either the maximum or minimum amount which the State shall be obligated to order.

## 1.4    ORDER OF PRECEDENCE OF CONTRACTUAL TERMS

The Contract awarded, and the entire agreement between the parties, as a result of this Bid Solicitation shall consist of:  (1) the final Bid Solicitation, (2) the State of New Jersey Standard Terms and Conditions, (3) the Quote, and if applicable (4) any Bidder responses to clarifications; (5) a Bidder’s Best and Final Offer, (6) other negotiated document, and/or (7) third party document.  In the event of a conflict in the terms and conditions among the documents comprising this Contract, the order of precedence, for purposes of interpretation thereof, are listed from highest ranking to lowest ranking as noted above.

Any other terms or conditions, not included with the Bidder’s Quote and accepted by the State, shall not be incorporated into the Contract awarded.  Any references to external documentation, including any rental agreements and / or lease agreements and those documents referenced by a URL, including without limitation, technical reference manuals, technical support policies, copyright notices, additional license terms, etc., are subject to the terms and conditions of the Bid Solicitation and the State of New Jersey Standard Terms and Conditions.  In the event of any conflict between the terms of any external document or document incorporated by reference, the terms and conditions of the Bid Solicitation and the State of New Jersey Standard Terms and Conditions shall prevail.

## 1.5    INTRASTATE COOPERATIVE PURCHASING

The State intends to extend the Contracts awarded to the State's Intrastate Cooperative Purchasing Participants.  Although the State is making the use of any Contract resulting from this Bid Solicitation available to Intrastate Cooperative Purchasing Participants, the State makes no representation as to the acceptability of the Bid Solicitation’s terms and conditions to any Intrastate Cooperative Purchasing Participants.

# PRE-QUOTE SUBMISSION INFORMATION

The Bidder assumes sole responsibility for the complete effort required in submitting a Quote and for reviewing the Quote submission requirements and the Scope of Work requirements.

## 2.1    ELECTRONIC QUESTION AND ANSWER PERIOD

The Division will electronically accept questions and inquiries from all potential Bidders via the “Q&A” Tab of the Bid Solicitation in NJSTART.  Questions should be directly tied to a Bid Solicitation Section, the Price Sheet, Form or Attachment; and should reference the specific Bid Solicitation Section or document to which it relates.

The cut-off date for electronic questions and inquiries relating to this Bid Solicitation is indicated on the Bid Solicitation cover page.  In the event that questions are posed by Bidders, answers to such questions will be issued by Bid Amendment.

A Bidder shall not contact the Using Agency and/or the Procurement Specialist directly, in person, by telephone or by e-mail, concerning this Bid Solicitation, prior to Contract award.

## 2.2    EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)

Questions regarding the State of New Jersey Standard Terms and Conditions and exceptions to mandatory requirements MUST be posed during the Electronic Question and Answer period and shall contain the Bidder’s suggested changes and the reason(s) for the suggested change(s).

## 2.3    BID AMENDMENTS

In the event that it becomes necessary to clarify or revise this Bid Solicitation, such clarification or revision will be by Bid Amendment.  Any Bid Amendment will become part of this Bid Solicitation and part of any Contract awarded. Bid Amendments will be posted as a file attachment on the “Summary” page of the Bid Solicitation in NJSTART after the cut-off date.

There are no designated dates for release of Bid Amendments.  Those Bidders who are on the bid holder list either through commodity code registration in NJSTART or by acknowledging the bid in NJSTART should receive notification of any Bid Amendment(s). If a Bidder is not on the bid holder list, Bid Amendments are still viewable on the “Summary” page of the Bid Solicitation in NJSTART.

It is the sole responsibility of the Bidder to be knowledgeable of all Bid Amendments related to this procurement. An interested Bidder should check the NJSTART “Open Bids” Tab on a daily basis to ensure review of the most updated information.

## 2.4    MANDATORY/OPTIONAL SITE VISIT

Not applicable to this procurement.

## 2.5    MANDATORY/OPTIONAL PRE-QUOTE CONFERENCE

Not applicable to this procurement.

## 2.6    PRE-QUOTE DOCUMENT REVIEW

Not applicable to this procurement.

# QUOTE SUBMISSION REQUIREMENTS

## 3.1    QUOTE SUBMISSION

In order to be considered for award, the Quote must be received electronically by the Division’s Proposal Review Unit, through NJSTART, by the required date and time.

The date and time of the Quote opening are indicated on the Bid Solicitation cover sheet and on the “Summary” Tab of the Bid Solicitation webpage within NJSTART.  If the Quote opening deadline has been revised, the new Quote opening deadline will be shown on the posted Bid Amendment and on the “Summary” Tab of the Bid Solicitation webpage within NJSTART.  Quotes not received prior to the Quote opening deadline shall be rejected.

Quotes will be publicly opened and announced by telephone conference on the date and time of the Quote opening.

(Dial-in phone number: 888-204-5984 / Access code: 2602305)

When submitting a Quote through NJSTART, do not use any symbols (i.e., #, @, $, &, *) in the filename as this may prevent the Quote from being properly uploaded.  Uploaded files must be compatible with Microsoft Office and/or Adobe software applications. DO NOT UPLOAD files with extensions such as .zip, .numbers, or .pages.

When uploading the documents to NJSTART, the Bidder should select the “Confidential” option in NJSTART for attachments on the “Attachments” Tab to request that the documents not be displayed publicly through NJSTART. Marking an attachment as "Confidential" in NJSTART shall not constitute the Bidder's designation of the attachment as exempt from public disclosure under the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know.

## 3.2    BIDDER RESPONSIBILITY

The Bidder assumes sole responsibility for the complete effort required in submitting a Quote in response to this Bid Solicitation.  No special consideration will be given after Quotes are opened because of a Bidder’s failure to be knowledgeable as to all of the requirements of this Bid Solicitation.  The State assumes no responsibility and bears no liability for costs incurred by a Bidder in the preparation and submittal of a Quote in response to this Bid Solicitation or any pre-contract award costs incurred.

## 3.3    ANNOUNCEMENT OF QUOTE INFORMATION

On the date and time Quotes are due under the Bid Solicitation, all information concerning the Quotes submitted may be publicly announced and shall be available for inspection and copying except otherwise noted:

- Information appropriately designated as proprietary and/or confidential in a Bidder’s Quote shall not be available for inspection and copying; and

- Where negotiation is contemplated, only the names and addresses of the Bidders submitting Quotes will be announced, and the contents of the Quotes shall not be available for inspection and copying until the Notice of Intent to Award is issued by the Director.

## 3.4    QUOTE ERRORS

In accordance with N.J.A.C. 17:12-2.11 “Proposal errors,” a Bidder may withdraw its Quote as described below.

## 3.5    QUOTE WITHDRAWAL PRIOR TO QUOTE OPENING

A Bidder may withdraw its Quote submission in NJSTART prior to the Quote opening; however, Bidders should note that while withdrawn NJSTART Quotes remain viewable by the Bidder on its Vendor Profile Homepage, they are removed from the Division’s view and cannot be considered for Contract award. The Bidder may submit a revised Quote as long as the Quote is received prior to the announced date and time for Quote submission. Bidders may refer to the QRG “Submit a Quote” for additional instructions.

## 3.6    QUOTE WITHDRAWAL AFTER QUOTE OPENING, BUT PRIOR TO CONTRACT AWARD

If, after the Quote opening, but before Contract award, a Bidder discovers an error in its Quote, the Bidder may make a written request to the Procurement Bureau to withdraw its Quote, or a portion thereof, from consideration for award.  If the Bidder’s request to withdraw is made in good faith, and the State will not be significantly prejudiced by granting the withdrawal of the Quote beyond the loss of the benefit of the bargain to the State of the withdrawing Bidder’s offer, the request shall be granted.  Evidence of the Bidder’s good faith in making this request can be demonstrated by one (1) or more of the following factors: A mistake is so significant that to enforce the Contract resulting from the Quote would be unconscionable; that the mistake relates to a material feature or term of the Contract; and that the mistake occurred notwithstanding the Bidder’s exercise of reasonable care.  After Quote opening, while pursuant to the provisions of this section a Bidder may request to withdraw its Quote and the Director may in his/her discretion allow said Bidder to withdraw it, the Division also may take notice of repeated or unusual requests to withdraw by a Bidder and take those prior requests to withdraw into consideration when evaluating the Bidder’s future Quotes.

The Quote withdrawal request must include the Bid Solicitation Number, Bid Solicitation Title, and the Quote submission date and should be sent to Procurement.Bureau@treas.nj.gov.

If, during a Quote evaluation process, an obvious pricing error made by a potential Contract awardee is found, the Director or his/her designee shall issue written notice to the Bidder.  The Bidder will have up to five (5) business days after receipt of the notice to confirm its pricing.  If the Bidder fails to respond, its Quote shall be considered withdrawn, and no further consideration shall be given to it.

## 3.7    JOINT VENTURE

If a Joint Venture is submitting a Quote, the agreement between the parties relating to such Joint Venture should be submitted with the Joint Venture’s Quote.  Authorized signatories from each party comprising the Joint Venture must sign the Offer and Acceptance Page.  Each party to the Joint Venture must individually complete and comply with all the forms and certification requirements in Bid Solicitation Section 3 – Quote Submission Requirements.

## 3.8     SMALL BUSINESS SET-ASIDE CONTRACTS

Not applicable to this procurement.

## 3.9     DISABLED VETERANS’ BUSINESS SET-ASIDE CONTRACT

Not applicable to this procurement.

## 3.10    BID SECURITY

Not applicable to this procurement.

## 3.11    BIDDER ADDITIONAL TERMS SUBMITTED WITH THE QUOTE

A Bidder may submit additional terms as part of its Quote.  Additional terms are Bidder-proposed terms or conditions that do not conflict with the scope of work required in this Bid Solicitation, the terms and conditions of this Bid Solicitation, or the State of New Jersey Standard Terms and Conditions.  Bidder proposed terms or conditions that conflict with those contained in the State of New Jersey Standard Terms and Conditions will render a Quote non-responsive.  It is incumbent upon the Bidder to identify and remove its conflicting proposed terms and conditions prior to Quote submission.

Quotes including Bidder proposed additional terms may be accepted, rejected, or negotiated, in whole or in part, at the State’s sole discretion.

If Bidder intends to propose terms and conditions that conflict with the State of New Jersey Standard Terms and Conditions, those Bidder proposed terms and conditions shall only be considered if submitted and agreed to pursuant to the electronic question and answer procedure.  Bidders shall not submit exceptions or modifications as part of the Quote or on the “Terms and Conditions” Tab through NJSTART.

## 3.12    QUOTE CONTENT

The Quote should be submitted with the attachments organized in the following manner:

- Forms

- State-Supplied Price Sheet

A Bidder should not password protect any submitted documents. Use of URLs in a Quote should be kept to a minimum and shall not be used to satisfy any material term of a Bid Solicitation. If a preprinted or other document included as part of the Quote contains a URL, a printed copy of the information should be provided and will be considered as part of the Quote.

## 3.13    FORMS, REGISTRATIONS AND CERTIFICATIONS TO BE SUBMITTED WITH QUOTE

A Bidder is required to complete and submit the following forms.  As an alternative to uploading certain forms with the submitted Quote, a Bidder may complete several certifications electronically in NJSTART on the “Terms and Categories” Tab within the Vendor Profile.  Those forms that may be completed on the NJSTART “Terms and Categories” Tab are noted below. Additionally, a Bidder may attach completed forms to the Vendor Profile.  Refer to QRGs “Vendor Forms” and “Attaching Files” for additional instructions.  VENDOR QUICK REFERENCE GUIDES

### 3.13.1   OFFER AND ACCEPTANCE PAGE

The Bidder should complete and submit the Offer and Acceptance Page with the Quote.  The Offer and Acceptance Page must be signed by an authorized representative of the Bidder.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

### 3.13.2   OWNERSHIP DISCLOSURE FORM

Pursuant to N.J.S.A. 52:25-24.2, in the event the Bidder is a corporation, partnership or limited liability company, the Bidder must disclose all 10% or greater owners by (a) completing and submitting the Ownership Disclosure Form with the Quote; (b) if the Bidder has submitted a signed and accurate Ownership Disclosure Form dated and received no more than six (6) months prior to the Quote submission deadline for this procurement, the Division may rely upon that form; however, if there has been a change in ownership within the last six (6) months, a new Ownership Disclosure Form must be completed, signed and submitted with the Quote; or, (c) a Bidder with any direct or indirect parent entity which is publicly traded may submit the name and address of each publicly traded entity and the name and address of each person that holds a 10 percent or greater beneficial interest in the publicly traded entity as of the last annual filing with the federal Securities and Exchange Commission or the foreign equivalent, and, if there is any person that holds a 10 percent or greater beneficial interest, also shall submit links to the websites containing the last annual filings with the federal Securities and Exchange Commission or the foreign equivalent and the relevant page numbers of the filings that contain the information on each person that holds a 10 percent or greater beneficial interest. N.J.S.A. 52:25-24.2.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this form online in NJSTART on the “Terms and Categories” Tab.

A Bidder’s failure to submit the information required by N.J.S.A. 52:25-24.2 will result in the rejection of the Quote as non-responsive and preclude the award of a Contract to said Bidder.

### 3.13.3   DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN FORM

The Bidder should  submit Disclosure of Investment Activities in Iran form to certify that, pursuant to N.J.S.A. 52:32-58, neither the Bidder, nor one (1) of its parents, subsidiaries, and/or affiliates (as defined in N.J.S.A. 52:32-56(e)(3)), is listed on the Department of the Treasury’s List of Persons or Entities Engaging in Prohibited Investment Activities in Iran and that neither the Bidder, nor one (1) of its parents, subsidiaries, and/or affiliates, is involved in any of the investment activities set forth in N.J.S.A. 52:32-56(f).  If the Bidder is unable to so certify, the Bidder shall provide a detailed and precise description of such activities as directed on the form.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### 3.13.4   DISCLOSURE OF INVESTIGATIONS AND OTHER ACTIONS INVOLVING BIDDER FORM

The Bidder should submit the Disclosure of Investigations and Other Actions Involving Bidder Form,  with its Quote, to provide a detailed description of any investigation, litigation, including administrative complaints or other administrative proceedings, involving any public sector clients during the past five (5) years, including the nature and status of the investigation, and, for any litigation, the caption of the action, a brief description of the action, the date of inception, current status, and, if applicable, disposition.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### 3.13.5   MACBRIDE PRINCIPLES FORM

The Bidder should submit the MacBride Principles Form.  Pursuant to N.J.S.A. 52:34-12.2, a Bidder is required to certify  that it either has no ongoing business activities in Northern Ireland and does not maintain a physical presence therein or that it will take lawful steps in good faith to conduct any business operations it has in Northern Ireland in accordance with the MacBride principles of nondiscrimination in employment as set forth in N.J.S.A. 52:18A-89.5 and in conformance with the United Kingdom’s Fair Employment (Northern Ireland) Act of 1989, and permit independent monitoring of their compliance with those principles.  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

NOTE: In lieu of completing and submitting the paper-based form, the Bidder has the option to complete this certification online in NJSTART on the “Terms and Categories” Tab.

### 3.13.6   SERVICE PERFORMANCE WITHIN THE UNITED STATES

Not applicable to this procurement.

### 3.13.7   CONFIDENTIALITY/COMMITMENT TO DEFEND

Pursuant to the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know, Quotes can be released to the public in accordance with N.J.A.C. 17:12-1.2(b) and (c).

The Bidder should submit a completed and signed Confidentiality/Commitment to Defend Form with the Quote.  In the event that the Bidder does not submit the Confidentiality form with the Quote, the State reserves the right to request that the Bidder submit the form after Quote submission.

After the opening of sealed Quotes, all information submitted by a Bidder in response to a Bid Solicitation is considered public information notwithstanding any disclaimers to the contrary submitted by a Bidder.  Proprietary, financial, security and confidential information may be exempt from public disclosure by OPRA and/or the common law when the Bidder has a good faith, legal/factual basis for such assertion.

When the Bid Solicitation contains a negotiation component, the Quote will not be subject to public disclosure until a notice of intent to award a Contract is announced.

As part of its Quote, a Bidder may request that portions of the Quote be exempt from public disclosure under OPRA and/or the common law. The Bidder must provide a detailed statement clearly identifying those sections of the Quote that it claims are exempt from production, and the legal and factual basis that supports said exemption(s) as a matter of law.  The State will not honor any attempts by a Bidder to designate its price sheet, price list/catalog, and/or the entire Quote as proprietary and/or confidential, and/or to claim copyright protection for its entire Quote.  If the State does not agree with a Bidder’s designation of proprietary and/or confidential information, the State will use commercially reasonable efforts to advise the Bidder. Copyright law does not prohibit access to a record which is otherwise available under OPRA.

The State reserves the right to make the determination as to what to disclose in response to an OPRA request.  Any information that the State determines to be exempt from disclosure under OPRA will be redacted.

In the event of any challenge to the Bidder’s assertion of confidentiality that is contrary to the State’s determination of confidentiality, the Bidder shall be solely responsible for defending its designation, but in doing so, all costs and expenses associated therewith shall be the responsibility of the Bidder. The State assumes no such responsibility or liability.

In order not to delay consideration of the Quote or the State’s response to a request for documents, the State requires that Bidder respond to any request regarding confidentiality markings within the timeframe designated in the State’s correspondence regarding confidentiality.  If no response is received by the designated date and time, the State will be permitted to release a copy of the Quote with the State making the determination regarding what may be proprietary or confidential.

### 3.13.8   SUBCONTRACTOR UTILIZATION PLAN

Bidders intending to use Subcontractor(s) shall list all subcontractors on the Subcontractor Utilization Plan form or may list the Subcontractor(s) on the “Subcontractor” Tab in NJSTART.

For a Quote that does NOT include the use of any Subcontractors, the Bidder is automatically certifying that, if selected for an award, the Bidder will be performing all work required by the Contract.

If it becomes necessary for the Contractor to substitute a Subcontractor, add a Subcontractor, or substitute its own staff for a Subcontractor, the Contractor will identify the proposed new Subcontractor or staff member(s) and the work to be performed.  The Contractor shall forward a written request to substitute or add a Subcontractor or to substitute its own staff for a Subcontractor to the State Contract Manager for consideration.    The Contractor must provide a completed Subcontractor Utilization Plan, a detailed justification documenting the necessity for the substitution or addition, and resumes of its proposed replacement staff or of the proposed Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability and experience relevant to that part of the work which the Subcontractor is to undertake. The qualifications and experience of the replacement(s) must equal or exceed those of similar personnel proposed by the Contractor in its Quote.  The State Contract Manager will forward the request to the Director for approval.

NOTE: No substituted or additional Subcontractors are authorized to begin work until the Contractor has received written approval from the Director.

#### 3.13.8.1  SMALL BUSINESS AND/OR DISABLED VETERANS’ BUSINESS SUBCONTRACTING SET-ASIDE CONTRACT

Not applicable to this procurement.

### 3.13.9   RESERVED

### 3.13.10   AFFIRMATIVE ACTION

The intended Contractor and its named Subcontractor(s) must submit a copy of a New Jersey Certificate of Employee Information Report, or a copy of Federal Letter of Approval verifying it is operating under a federally approved or sanctioned Affirmative Action program.  If the Contractor and/or its named Subcontractor(s) are not in possession of either a New Jersey Certificate of Employee Information Report or a Federal Letter of Approval, it/they must complete and submit the Affirmative Action Employee Information Report (AA-302).  Information, instruction and the application are available at https://www.state.nj.us/treasury/contract_compliance/index.shtml.

### 3.13.11   RESERVED

### 3.13.12   STATE OF NEW JERSEY SECURITY DUE DILIGENCE THIRD-PARTY INFORMATION SECURITY QUESTIONNAIRE

Not applicable to this procurement.

### 3.13.13   BUSINESS REGISTRATION

In accordance with N.J.S.A. 52:32-44(b), a Bidder and its named Subcontractors must have a valid Business Registration Certificate (“BRC”) issued by the Department of the Treasury, Division of Revenue and Enterprise Services prior to the award of a Contract.  A Bidder should verify its Business Registration Certification Active status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Bidder’s Business Registration Certification Active status, NJSTART provides a link to take corrective action.

### 3.13.14	Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Pursuant to P.L.2022, c.3

The Bidder should submit the Certification of Non-Involvement in Prohibited Activities in Russia or Belarus Form.  Pursuant to P.L.2022, c.3, a person or entity seeking to enter into or renew a Contract for the provision of goods or services shall certify that it is not Engaging in Prohibited Activities in Russia or Belarus as defined by P.L.2002, c.3, sec. 1(e).  If a Bidder does not submit the form with the Quote, the Bidder must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

## 3.14   TECHNICAL QUOTE

Not applicable to this procurement.

## 3.15   BIDDER QUOTE OVERVIEW FORM

Not applicable to this procurement.

## 3.16   BIDDER DATA SHEET/FORM

The Bidder should submit the Bidder Data Sheet with its Quote.  The Bidder Data Sheet will be used to evaluate the Bidder’s ability to complete the Scope of Work.

The Bidder should provide in its response to Part I of the Bidder Data Sheet all relevant information regarding its experience in successfully completing contracts of a similar size and scope to the work required by this Bid Solicitation.

The Bidder must provide, in Part II of the Bidder Data Sheet, details of any negative actions taken by other contracting entities against it in the course of performing these projects including, but not limited to, receipt of letters of potential default, default, cure notices, termination of services for cause, or other similar notifications/processes.  Additionally, the Bidder should provide details, including any negative audits, reports, or findings by any governmental agency for which the Bidder is/was the contractor on any contracts of similar scope.  In the event a Bidder neglects to include this information in its Quote, the Bidder’s omission of necessary disclosure information may be cause for rejection of the Bidder’s Quote by the State.

If proposing to use a Subcontractor, the Bidder should provide as an attachment to the Bidder Data Sheet documented experience to demonstrate that each Subcontractor has successfully performed work on contracts of a similar size and scope to the work that the Subcontractor is designated to perform in the Bidder’s Quote.  The Bidder must provide a detailed description of services to be provided by each Subcontractor.

## 3.17   AFFIDAVIT OF APPAREL PRODUCTION

Not applicable to this procurement.

## 3.18   DISCLOSURE OF PRODUCT COMPOSITION

Not applicable to this procurement.

## 3.19   SPECIFICATION DATA SHEETS

Not applicable to this procurement.

## 3.20   SAMPLES AND TESTING

Not applicable to this procurement.

## 3.21   SPECIFICATION CONFORMANCE FORM

The Bidder shall submit with its Quote the Specification Conformance Form.  By submitting this form, the Bidder certifies that all items offered in response to this Bid Solicitation conform to the requirements set forth in the Bid Solicitation.

## 3.22   MANUFACTURER’S CERTIFICATION

Upon the State’s request, the Bidder should submit a letter of certification from the manufacturer whose product is supplied, certifying that the Bidder is authorized by the manufacturer to supply the goods specified.  The certification must indicate that the Bidder was authorized by the manufacturer to supply the goods specified as of the Quote Opening Date. The State reserves the right to request such certification and to require that such certification be provided within five (5) business days from the time it is requested.

## 3.23   MANUFACTURER’S PUBLISHED LIST OF OPTIONS AND ATTACHMENTS/PRICE LIST

Not applicable to this procurement.

## 3.24   PRICE LIST AND/OR CATALOG

A Bidder should submit a preprinted price list or catalog for each category and brand bid.  The price list and/or catalog submitted must clearly indicate the products and brands offered and the firm, fixed pricing associated with the products, such that the applicable Bid Solicitation category/price line may be determined.

The price list(s) or catalog(s) should be uploaded to the Attachments tab of the Quote in NJSTART.

To avoid any confusion, the price list provided by the Bidder for the brand(s) bid should only contain one price column, to which the discount or markup bid on the State-Supplied Price Sheet will be applied.

A Bidder must redact those products which do not apply to the category bid.  In lieu of redacting a price list, a Bidder may choose to offer only the pages of the price list that correspond with the category bid.

The Bidder acknowledges that any references to, minimum orders, brand/manufacturers additional terms and conditions, order threshold charges, service charges, price escalation clauses, sales or other applicable taxes, manufacturers additional terms and conditions, shipping point limitations, and shipping charges, contained in the preprinted price lists, catalogs, and/or literature, shall not apply to this Bid Solicitation and any Contract award.

If a price list is not published, then the list of products for the brand, including product description, product item/ID numbers and prices, listed on the Bidder’s letterhead, dated and with authorized signature are acceptable.  The letter should include the Bid Solicitation number.

If a Bidder does not provide the preprinted price list or catalog for each category and brand bid with its Quote, the State reserves the right to request such information from the Bidder.  The Bidder must respond to such request by providing all requested information within forty-eight (48) hours.  If the information requested is not received within forty-eight (48) hours, the Quote may be deemed non-responsive.

The submission of price lists are required in order for the State to confirm that the brand bid meets the category description and Bid Solicitation requirements.  These price lists will not be published as part of the Contract award.  However, a Contractor must provide the latest price list for the contracted brand upon the Using Agency’s request.   Please refer to Bid Solicitation Section 4.16 (Contract Ordering/Mini-Bid Process).

## 3.25   MANAGEMENT OVERVIEW

Not applicable to this procurement.

## 3.26   CONTRACT MANAGEMENT

Not applicable to this procurement.

## 3.27   CONTRACT SCHEDULE

Not applicable to this procurement.

## 3.28   MOBILIZATION PLAN

Not applicable to this procurement.

## 3.29   ADDITIONAL PLAN(S)

Not applicable to this procurement.

## 3.30   ORGANIZATIONAL EXPERIENCE

Not applicable to this procurement.

## 3.31   LOCATION

Not applicable to this procurement.

## 3.32   ORGANIZATION CHARTS

Not applicable to this procurement.

## 3.33   RESUMES

Not applicable to this procurement.

## 3.34   EXPERIENCE WITH CONTRACTS OF SIMILAR SIZE AND SCOPE

Not applicable to this procurement.

## 3.35   FINANCIAL CAPABILITY OF THE BIDDER

The Bidder should provide sufficient financial information to enable the State to assess the financial strength and creditworthiness of the Bidder and its ability to undertake and successfully complete the Contract.  In order to provide the State with the ability to evaluate the Bidder’s financial capacity and capability to undertake and successfully complete the Contract, the Bidder should submit the following:

- For publicly traded companies the Bidder should provide copies or the electronic location of the annual reports filed for the two most recent years; or

- For privately held companies the Bidder should provide the certified financial statement (audited or reviewed) in accordance with applicable standards by an independent Certified Public Accountant, including a balance sheet, income statement, and statement of cash flow, and all applicable notes for the most recent calendar year or the Bidder’s most recent fiscal year.

If the information is not supplied with the Quote, the State may still require the Bidder to submit it.  If the Bidder fails to comply with the request within seven (7) business days, the State may deem the Quote non-responsive.

A Bidder may designate specific financial information as not subject to disclosure when the Bidder has a good faith legal/factual basis for such assertion.  The State reserves the right to make the determination to accept the assertion and will so advise the Bidder.

## 3.36   STATE-SUPPLIED PRICE SHEET INSTRUCTIONS

The Bidder must submit its pricing using the State-Supplied Price Sheet accompanying this Bid Solicitation and located on the “Attachments” Tab.

In order for the State to make sound business judgments regarding products and prices offered in response to this Bid Solicitation, the Bidder must supply, with its Quote, the information requested on the Bid Solicitation’s pricing lines in sufficient detail as to allow the State to determine the firm, fixed Quote pricing and the precise product or service being offered, i.e., with no possible misinterpretation of the price or product/service being offered by the Bidder.  A Bidder’s failure to provide, within its Quote, the information deemed by the State to be essential for product identification or price determination shall result in rejection of that Bidder’s Quote.  Notwithstanding the aforementioned material obligation, in order to support the State's decision-making process, the State may require a Bidder to provide additional information or documentation that has been deemed not to be material to product identification or price determination, in which case, the Bidder shall, within the time limit set forth in the written request, comply with said request.  Each Bidder is required to hold its prices firm through issuance of the Contract.

The Bid Solicitation and State-Supplied Price Sheet contain four (4) categories, with two (2) price lines in each category, itemized as follows:

| Category Number | Price Line Numbers | Description |
| --- | --- | --- |
| 1 | 1 | Medical Gases, Cylinder and Bulk |
|  | 2 | Medical Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders) |
| 2 | 3 | Specialty – Audit Gases, Cylinder and Bulk |
|  | 4 | Specialty – Audit Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders) |
| 3 | 5 | Specialty – High Purity and General Purpose Gases, Cylinder and Bulk |
|  | 6 | Specialty – High Purity and General Purpose Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders) |
| 4 | 7 | Industrial Gases, Cylinder and Bulk |
|  | 8 | Industrial Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders) |

Bidders must bid on both price line items within a given category in order for their Quote to be considered responsive for the Category.  For example, a Bidder offering a Quote for Category 1 must bid on price lines 1 and 2 in order for the Quote to be considered responsive.

Bidders may bid on one, several, or all Categories on the State-Supplied Price Sheet.  Bidders are not required to bid on all Categories in order to be considered responsive.

The State intends to award a Contract to each responsive Bidder that submits a Quote that meets the category definition and requirements of the Bid Solicitation in accordance with Section 8.16 of this Bid Solicitation.

There are also three (3) Agency-Use Net Lines, as follows:

| Price Line Number | Description |
| --- | --- |
| 9 | Using Agency Payment for Loss or Damage to a Rented Cylinder |
| 10 | Using Agency Payment for Returns (Return Shipping Costs) and Restocking Fees |
| 11 | Using Agency Payment for Emergency Deliveries |

Bidders shall not bid on the Agency-Use Net Lines on the State-Supplied Price Sheets.

Step 1 – The Bidder should enter the Bidder’s name in the “Bidders Name” field located at the top of the State-Supplied Price Sheet.

Step 2 – The Bidder should enter the cash discount for expedited payments, pursuant to Bid Solicitation Section 3.36.2, in the “Cash Discounts for Expedited Payment” field located at the top of the State-Supplied Price Sheet.

If the Bidder leaves the “Cash Discount for Expedited Payment” field blank, it shall mean that the Bidder is not offering a cash discount.

Step 3 – The Bidder shall insert a firm, fixed percentage (%) discount or mark-up from the product catalog/price list, by entering the percentage discount or mark-up bid in the "Percentage (%) Discount (-) or Mark-Up (+)” field on the price line on the State-Supplied Price Sheet.  A Bidder's entry in the "Percentage (%) Discount (-) or Mark-Up (+)” field shall be considered a percentage (%).   For example, an entry of "50" shall be considered "50%" and that of "0.50" shall be considered "0.50%".

The State will accept up to two (2) decimal places to the right of the decimal point.  Percentages may be offered on the State-Supplied Price Sheet up to two (2) decimal places to the right of the decimal point.  Price Sheet formatting will automatically round percentages containing more than two (2) decimal places to the right of the decimal point so as not to exceed this limit.

A Bidder’s entry in the “Percentage (%) Discount (-) or Markup (+)” field shall include a plus (+) sign for markup or minus (-) sign for discount.  If a Bidder does not include a plus (+) sign for markup or minus (-) sign for discount, the State will consider the percentage offered as a discount.

If a Bidder leaves the "Percentage (%) Discount (-) or Markup (+)” field blank on the price line, it shall be considered that the Bidder provided no Quote for the price line item.

A series or a range of discounts/markups or fixed prices (firm dollar amount) on the price line shall not be acceptable and shall result in rejection of the Quote for that price line only.

If a Bidder is offering its pricing at the same pricing listed in the product catalog/price list, the Bidder should provide 0% in the “Percentage (%) Discount (-) or Markup (+)” field on the State-Supplied Price Sheet.

Note:  Bidders must bid on both price line items within a given category in order for their Quote to be considered responsive for the Category.  For example, a Bidder offering a Quote for Category 1 must bid on price lines 1 and 2 in order for the Quote to be considered responsive.

Step 4 – The Bidder shall enter the brand name under the “Brand Name” field on the State-Supplied Price Sheet.  In some instances, the brand name may be the same as the manufacturers name; inserting the manufacturers name in this field is acceptable.

NOTE:  Steps 3 and 4 are required fields that must be completed on the State-Supplied Price Sheet.

Step 5 – The Bidder should enter the days required to make delivery upon receipt of an order in the “Delivery Days After Receipt of Order (ARO)” field on the State-Supplied Price Sheet.  If the “Delivery Days After Receipt of Order (ARO)” field is left blank, then the delivery days shall default to the delivery days set forth in Bid Solicitation Section 5.6 Delivery Time and Costs.

When there is a discrepancy between the delivery days listed in the General Tab in NJSTART and the State-Supplied Price Sheet, the State-Supplied Price Sheet delivery days shall govern.

Important:  A Bidder may bid multiple product brands for a given category/price line.  A Bidder should copy the State-Supplied Price Sheet and complete it for each brand bid.  As an alternative, a Bidder may add tabs at the bottom of the State-Supplied Price Sheet for each additional brand offered within the Category/Price Line (by copying the text and information from the original Price Sheet).  The Bidder must follow all instructions and provide all required information contained within Bid Solicitation Section 3.36 for each additional brand offered.

### 3.36.1   DELIVERY TIME AND COSTS

Unless otherwise noted elsewhere in the Bid Solicitation or State Price sheet, all delivery times are as noted in Bid Solicitation Section 5.6 Delivery Time and Costs.  The Bidder may submit alternate delivery days on the State Price Sheet.  Alternate delivery times shall not exceed the delivery days noted in Bid Solicitation Section 4.3 Delivery Requirements, as applicable.  Quotes that exceed the delivery days of Bid Solicitation Section 4.3 Delivery Requirements may be deemed non-responsive.

When there is a discrepancy between the delivery days listed in the General Tab in the Quote in NJSTART and the State-Supplied Price Sheet, the State-Supplied Price Sheet delivery days shall govern.

### 3.36.2  CASH DISCOUNTS

The Bidder is encouraged to offer cash discounts based on expedited payment by the State.  The State will make efforts to take advantage of discounts, but discounts will not be considered in determining the price rankings of Quotes.  Should the Bidder choose to offer cash discounts, the following shall apply:

- Discount periods shall be calculated starting from the next business day after the Using Agency has accepted the goods or services, received a properly signed and executed invoice and, when required, a properly executed performance security, whichever is latest; and

- The date on the check issued by the State in payment of that invoice shall be deemed the date of the State's response to that invoice.

### 3.36.3   VOLUME DISCOUNTS

Not applicable to this procurement.

### 3.36.4   USE OF “NO BID” ON THE STATE-SUPPLIED PRICE SHEET

All price lines must be filled out in accordance with the instructions above.  If the Bidder is not submitting a price for an item on a price line, the Bidder must indicate “No Bid” on the State-Supplied Price Sheet accompanying this Bid Solicitation. The use of any other identifier may result in the Bidder’s Quote being deemed non-responsive.

## 3.37   ORAL PRESENTATIONS

Not applicable to this procurement.

# SCOPE OF WORK

The following is a list of the categories included in this Bid Solicitation.  Products offered must only be for the categories identified below.  No other categories of gases (medical, specialty and industrial) and gas equipment will be considered as part of this Bid Solicitation.  All products offered in a category shall meet the description of that category.  The State reserves the right to redact any products within a price list/catalog that do not meet the category.

## 4.1  BID SOLICITATION CATEGORIES

### CATEGORY 1:  MEDICAL GASES AND RELATED EQUIPMENT/ACCESSORIES – PRICE LINES  1 AND 2

Price Line 1: Medical Gases, Cylinder and Bulk

Price Line 2:  Medical Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders)

The category shall consist of medical gases and shall include, but is not limited to, the following items:

- Oxygen (O2)

- Carbon Dioxide (CO2)

- Nitrous Oxide (N20)

- Nitrogen (N2)

- Air (N2)

- Carbon Dioxide in Oxygen

Known manufacturers/brands that meet the State’s needs for this category include, but are not limited to:

- Linde

- Airgas

- AGL

This list is to denote some of the Using Agencies more frequently utilized brands of medical gases but is not meant to limit a Bidder’s brand offering for the category/price line.

Cylinder Sizes: Using Agencies typically purchase or rent various cylinder sizes, including, but not limited to, small, medium and large cylinders.

Rentals:  Using Agencies typically rent cylinders on a monthly or yearly basis.

Equipment and Accessories:  The category also consists of equipment and accessories for medical gases for purchase and shall include, but is not limited to, the following items:

- Cylinder replacement parts and accessories, including but not limited to: valves, diaphragms, pins, connections, fittings, adapters, pigtails, hoses, gauges, disposable cylinders, manifolds, flowmeters, purifiers, filters, purge assemblies, safety snap caps, alarm systems, tools, leak detectors, etc.

- Regulators

- Safety supplies, including cryogenic gloves, face shields, safety glasses.

- Any additional gas handling equipment that may be required for use with gas cylinders.  This may include items such as cylinder carts, cylinder brackets, clamps, bases and stands, cylinder racks, cylinder cages, cylinder heaters, cylinder scales, etc.

Delivery Fees:  As part of the price list, Contractors may offer any additional delivery fees associated with the delivery of these medical gases and related equipment/accessories.  These delivery fees may consist of platform/loading dock/front door delivery or spot delivery to a specific floor/indoor or outdoor location.  These delivery fees may vary based on the size of the delivery.  Contractors should offer the delivery fee as a flat rate within the price list.  A Contractors percentage discount or markup bid will not be applied to these flat rate delivery fees.

### CATEGORY 2:  SPECIALTY-AUDIT GASES AND RELATED EQUIPMENT/ACCESSORIES – PRICE LINES 3 AND 4

Price Line 3: Specialty – Audit Gases, Cylinder and Bulk

Price Line 4:  Specialty – Audit Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders)

The category shall consist of specialty – audit gases and shall include, but is not limited to, the following items:

- Carbon Dioxide

- Carbon Monoxide

- Nitric Oxide (NOx)

- Hydrocarbons

- Helium (He)

- Propane (C3H8)

- Vehicle Emission Zero (VEZ)

- Zero-Air

- Low-Range Bar 97 Audit

- Low-Middle #1 Range Bar 97 Audit

- High-Middle #2 Range Bar 97 Audit

- High-Range Bar 97 Audit

- Flame Ionization Detection (FID) Fluid

- Low Analyzer Support/Calibration Gas

- Analyzer Support/Calibration Gas

- High Analyzer Support Calibration Gas – High Range Audit Gas

Known manufacturers/brands that meet the State’s needs for this category include, but are not limited to:

- Linde

- Praxair

- Airgas

- AGL

This list is to denote some of the Using Agencies more frequently utilized brands of specialty - audit gases but is not meant to limit a Bidder’s brand offering for the category/price line.

Cylinder Sizes: Using Agencies typically purchase or rent various cylinder sizes, including, but not limited to, small, medium and large cylinders.

Rentals:  Using Agencies typically rent cylinders on a monthly or yearly basis.

Equipment and Accessories:  The category also consists of equipment and accessories for specialty – audit gases for purchase and shall include, but is not limited to, the following items:

- Cylinder replacement parts and accessories, including but not limited to: valves, diaphragms, pins, connections, fittings, adapters, pigtails, hoses, gauges, disposable cylinders, manifolds, flowmeters, purifiers, filters, purge assemblies, safety snap caps, alarm systems, tools, leak detectors, etc.

- Regulators

- Safety supplies, including cryogenic gloves, face shields, safety glasses.

- Any additional gas handling equipment that may be required for use with gas cylinders.  This may include items such as cylinder carts, cylinder brackets, clamps, bases and stands, cylinder racks, cylinder cages, cylinder heaters, cylinder scales, etc.

Delivery Fees:  As part of the price list, Contractors may offer any additional delivery fees associated with the delivery of these specialty – audit gases and related equipment/accessories.  These delivery fees may consist of platform/loading dock/front door delivery or spot delivery to a specific floor/indoor or outdoor location.  These delivery fees may vary based on the size of the delivery.  Contractors should offer the delivery fee as a flat rate within the price list.  A Contractors percentage discount or markup bid will not be applied to these flat rate delivery fees.

### CATEGORY 3:  SPECIALTY - HIGH PURITY AND GENERAL PURPOSE GASES AND RELATED EQUIPMENT/ACCESSORIES – PRICE LINES 5 AND 6

Price Line 5: Specialty – High Purity and General Purpose Gases, Cylinder and Bulk

Price Line 6:  Specialty – High Purity and General Purpose Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders)

The category shall consist of specialty – high purity and general purpose gases and shall include, but is not limited to, the following items:

- Ultra Zero Air – Hydrocarbon free

- Argon (Ar) Ultra High Purity

- Carbon Dioxide (CO2)

- Carbon Monoxide in Air (at various PPMs)

- Chlorine

- Ethyl Chloride

- Ethane

- Helium (He) - Ultra High Purity

- Helium-Research/Chromatography

- Helium – Ultra High Purity

- Hydrogen Chloride

- Isobutylene

- Nitrogen – Liquid – Low Pressure

- Nitrogen – Liquid – High Pressure

- Nitrogen

- Nitrogen Ultra High Purity (UHP)

- Nitric Oxide in Nitrogen

- Oxygen (O2) Research Grade 99.9999% min.

- Propylene

- Sulfur Dioxide in Nitrogen (at various PPMs)

- Sulfur Dioxide Anhydrous

- Zero Compressed Air of ‘FID-AIR’

- P-10 Gas Mixture

- Ultra Zero Air – Hydrocarbon Free

Known manufacturers/brands that meet the State’s needs for this category include, but are not limited to:

- Linde

- Airgas

- AGL

This list is to denote some of the Using Agencies more frequently utilized brands of specialty - high purity and general purpose gases but is not meant to limit a Bidder’s brand offering for the category/price line.

Cylinder Sizes: Using Agencies typically purchase or rent various cylinder sizes, including, but not limited to, small, medium and large cylinders.

Rentals:  Using Agencies typically rent cylinders on a monthly or yearly basis.

Equipment and Accessories:  The category also consists of equipment and accessories for specialty – high purity and general purpose gases for purchase and shall include, but is not limited to, the following items:

- Cylinder replacement parts and accessories, including but not limited to: valves, diaphragms, pins, connections, fittings, adapters, pigtails, hoses, gauges, disposable cylinders, manifolds, flowmeters, purifiers, filters, purge assemblies, safety snap caps, alarm systems, tools, leak detectors, etc.

- Regulators

- Safety supplies, including cryogenic gloves, face shields, safety glasses.

- Any additional gas handling equipment that may be required for use with gas cylinders.  This may include items such as cylinder carts, cylinder brackets, clamps, bases and stands, cylinder racks, cylinder cages, cylinder heaters, cylinder scales, etc.

Delivery Fees:  As part of the price list, Contractors may offer any additional delivery fees associated with the delivery of these specialty – high purity and general purpose gases and related equipment/ accessories.  These delivery fees may consist of platform/loading dock/front door delivery or spot delivery to a specific floor/indoor or outdoor location.  These delivery fees may vary based on the size of the delivery.  Contractors should offer the delivery fee as a flat rate within the price list.  A Contractors percentage discount or markup bid will not be applied to these flat rate delivery fees.

### CATEGORY 4:  INDUSTRIAL GASES AND RELATED EQUIPMENT/ACCESSORIES – PRICE LINES 7 AND 8

Price Line 7:  Industrial Gases, Cylinder and Bulk

Price Line 8:  Industrial Gas Equipment Purchase (Cylinders, Equipment and Accessories) and Rental (Cylinders)

The category shall consist of industrial gases and shall include, but is not limited to, the following items:

- Acetylene (C2H2)

- Argon (Ar) 100%

- Argon (Ar) 75%/ Carbon Dioxide (CO2) 25%

- Carbon Dioxide (CO2)

- Carbon Dioxide (CO2) Bone Dry GR 3.0

- Chlorine

- Ethyl Chloride

- Ethane

- Helium (He)

- Hydrogen (H2)

- Hydrogen Chloride

- Isobutylene

- Nitrogen (N2)

- Oxygen (O2)

- Propylene

- Sulfur Dioxide Anhydrous

Known manufacturers/brands that meet the State’s needs for this category include, but are not limited to:

- Linde

- Airgas

- AGL

This list is to denote some of the Using Agencies more frequently utilized brands of industrial gases but is not meant to limit a Bidder’s brand offering for the category/price line.

Cylinder Sizes: Using Agencies typically purchase or rent various cylinder sizes, including, but not limited to, small, medium and large cylinders.

Rentals:  Using Agencies typically rent cylinders on a monthly or yearly basis.

Equipment and Accessories:  The category also consists of equipment and accessories for industrial gases for purchase and shall include, but is not limited to, the following items:

- Cylinder replacement parts and accessories, including but not limited to: valves, diaphragms, pins, connections, fittings, adapters, pigtails, hoses, gauges, disposable cylinders, manifolds, flowmeters, purifiers, filters, purge assemblies, safety snap caps, alarm systems, tools, leak detectors, etc.

- Regulators

- Safety supplies, including cryogenic gloves, face shields, safety glasses.

- Any additional gas handling equipment that may be required for use with gas cylinders.  This may include items such as cylinder carts, cylinder brackets, clamps, bases and stands, cylinder racks, cylinder cages, cylinder heaters, cylinder scales, etc.

Delivery Fees:  As part of the price list, Contractors may offer any additional delivery fees associated with the delivery of these industrial gases and related equipment/ accessories.  These delivery fees may consist of platform/loading dock/front door delivery or spot delivery to a specific floor/indoor or outdoor location.  These delivery fees may vary based on the size of the delivery.  Contractors should offer the delivery fee as a flat rate within the price list.  A Contractors percentage discount or markup bid will not be applied to these flat rate delivery fees.

## 4.2  GENERAL INFORMATION PERTAINING TO THE BID SOLICITATION CATEGORIES – GASES AND CYLINDERS

Contractors are advised that Using Agencies will utilize catalog pricing and/or price lists, along with the contracted percentage discount or markup, in accordance with the Contract Ordering/Mini-Bid Process.  Please see Bid Solicitation Section 4.15.

4.2.1  APPLICABLE LAWS, REGULATIONS AND STANDARDS REGARDING GASES

Where applicable by law, items supplied must comply with all pertinent Federal, State and OSHA requirements.

All gas cylinders shall be manufactured in accordance with the rules and regulations promulgated by the Interstate Commerce Commission and / or the United States Department of Transportation.

All products must meet regulatory guidelines and any amendments therein, as promulgated under, but not limited to:  NIOSH, UL, NEMA, NFPA, DOT, EPA, ASTM, CGA and JCAHO.

4.2.2  CYLINDER LABELING AND IDENTIFICATION

A label meeting the requirements of the United States Department of Transportation shall be affixed to each cylinder. Each cylinder label must legibly list contents, grade, size, the content of each cylinder, including but not be limited to each component, concentration and size designation of each cylinder.

All labels shall have a date indicating the content’s expiration date and/or the date the gas would be expected to have deteriorated to the point that the contents contained therein are outside the required standards set forth in the Bid Solicitation. The expiration date must be at a minimum twelve (12) months from the date of delivery to the Using Agency.

Medical cylinders must be labeled in accordance with the USP requirements. Labels must display accepted technical terminology, batch and control numbers, etc.

Labels must be designed so that they will not fall off during delivery or at any time during the State’s custody.

For all rental cylinders shall be affixed with a label identifying Contractors’ name, address and telephone number, to ensure that the correct cylinders are returned to the appropriate Contractor.

A cylinder delivered without a proper identifying label will be rejected by the Using Agency.

4.2.3  CYLINDER REQUIREMENTS

All cylinders shall have a valve protection cap properly installed when shipped and delivered. The caps must remain in place during transportation and unloading, and secured in place until the cylinder has the regulator attached.

Cylinder valves are to be of high quality to ensure not only the proper release of gas, but also that the pressure pop-off devices do not release under normal operation conditions and that valves fit tightly when attached to the regulators.

All cylinders shall be complete with all fittings, valves and caps, in good working order and free of dirt, debris and rust.

A cylinder that leaks, is bulged, has defective valves or safety devices, bears evidence of physical abuse, fire or heat damage, or detrimental rusting or corrosion, will be rejected by the Using Agency and must be replaced at no cost to the Using Agency.

All cylinders shall be delivered with a full/empty identification tag.  All cylinders delivered not completely full shall be rejected by the Using Agency.  All cylinders that have been rejected by the Using Agency shall be replaced by the Contractor at no additional charge to the State.

All cylinders used to deliver gases must be compatible/non-reactive with the gases enclosed.  The Contractor shall warrantee that no gases will be delivered in any cylinder made from materials that will react or in any way degrade the content of gases within the cylinders.  Should a Contractor deliver any cylinders made from substances that react with or degrade the content of gas, the entire order shall be replaced by the Contractor at no additional charge to the State.

4.2.4  REQUIREMENTS FOR GASES

MEDICAL GASES

All medical gases referenced herein shall be medical-grade gases.  All medical gases must meet USP, NFPA and CGA regulations.

All medical gases shall be tested in accordance with FDA requirements.  The purity of medical gases must equal or exceed USP specifications.  All medical gas cylinders shall be properly purged of gases and impurities prior to filling.

A label shall be affixed to each cylinder stating the type of gas and the degree of purity of the gas or gases contained in the cylinder.

SPECIALTY GASES

Specialty gases referenced herein shall be defined as audit gases, high purity gases, general-purpose gases and miscellaneous gases.

All audit gas specifications and requirements must meet 40 CFR Part 86.114 and California BAR97 for content, purity and blend tolerance, precision and accuracy.

Audit Gases must meet an analytical accuracy of 1% (one-percent) and a blend tolerance of 2% (two-percent).

Traceability – all of the audit gases shall be traceable to the National Institute of Standards and Technology +/-1% (one percent) gases shall have a 2% (two percent) blend tolerance.

Contractors supplying BAR97 audit gases shall, upon request by the Using Agency, supply proof it is a certified BAR97 certified blender/supplier within five (5) business days of request.

Upon the Using Agency’s request, for any high purity, ultra-high purity, specialty gases as well as gas mixtures referenced herein, the Contractor shall provide, at no additional cost to the State, a Certificate of Analysis and/or batch analysis for a given delivery.

INDUSTRIAL GASES

The purity of industrial gases referenced herein shall meet the CGA specifications. The gases shall be industrial grade, unless otherwise noted.

## 4.3  DELIVERY REQUIREMENTS

The Contractor shall be required to deliver products to Using Agencies on an as-needed basis. The Contractor shall make arrangements for delivery of products upon receipt of a purchase order.  All products must be delivered in accordance with the Contractor’s delivery schedule and in strict accordance with the instructions from the Using Agency.

When there is a discrepancy between the delivery days listed in the General Tab in NJSTART and the State-Supplied Price Sheet, the State-Supplied Price Sheet delivery days shall govern.

All deliveries must be made as instructed by the Using Agency, during working hours, except on legal holidays.

Contractors shall follow all special delivery instructions as required by Using Agencies to comply with Using Agency operations.

Deliveries shall not be made on the following State observed holidays, which may be updated from time to time:

- New Year’s Day;

- Martin Luther King Jr. Day;

- Presidents Day;

- Good Friday;

- Memorial Day;

- Juneteenth;

- Independence Day;

- Labor Day;

- Columbus Day;

- Election Day;

- Veterans Day;

- Thanksgiving Day; and

- Christmas Day.

Using Agencies may specify alternate delivery sites and /or hours, when necessary.

The Contractor shall package and protect all material so that they are delivered to the Using Agency in a first-class, undamaged condition.  The State reserves the right to reject any material which is damaged or delivered or received in an otherwise unacceptable condition.  Any charges incurred due to damaged materials shall be the responsibility of the Contractor.

Shipping cases shall be marked to show the name of the supplier, name and address of receiving agency and State purchase order number (if applicable).

The Contractor shall, upon delivery, present to the assigned receiving agent documentation (i.e. picking ticket or invoice etc.) to be signed and dated by the receiver confirming the number of cylinders, size, type of gas received and any delivery issues i.e. damage, etc.

The Contractor must secure all cylinders and/or dewars at the time of delivery.  All cylinders and/or dewars must be tied with chains and shall not be left unattended.

The State will order any quantity necessary to meet its requirements.  No guarantee is made by the State to purchase any amount of product from any Contractor.  The State guarantees neither minimum, nor average, nor maximum quantities per order, nor total quantity during the Contract term, including any extension(s) thereof.

4.3.1  DELIVERY HOURS

The Contractor shall deliver items to the Using Agency between the hours of 8:00 am and 4:00 pm on regularly scheduled work days. Deliveries outside of these hours shall not be accepted unless with the prior approval of the Using Agency.

4.3.2  DELIVERY TIMEFRAME

The Contractor shall deliver all gases and/or equipment within the timeframe noted on the State-Supplied Price Sheet.  Delivery days should not exceed five (5) business days upon receipt of purchase order.  In the event the Contractor is unable to comply with this time frame, the Contractor shall contact the Using Agency immediately and obtain written approval to extend the delivery time.

4.3.3  BULK GAS DELIVERY

Bulk gas deliveries shall be made from metered trucks in accordance with all Federal, State and local laws and regulations.

4.3.4  DELIVERY TO THE NEW JERSEY DEPARTMENT OF CORRECTIONS (NJDOC)

Based on the unique operations of the New Jersey Department of Corrections, attached to this Bid Solicitation and labeled Attachment #5, is a complete list of all correctional facilities listing delivery days, receiving hours, and driver requirements.

Due to unforeseen incidents that may occur at any of the correctional facilities, it shall be the responsibility of the Contractor to contact the designated representative listed for the specific facility Attachment #5 prior to making all deliveries.  A complete list of contacts and telephone numbers for these individual NJDOC locations will be published upon Contract award as part of the Contract’s Method of Operation.

Security Measures:

The Contractor and its personnel shall be subject to and shall comply with all security regulations and procedures at each correctional facility.   All Contractor drivers and carrier drivers (including UPS and similar delivery services) will be subject to all security regulations and requirements at each individual correctional facility.  This may include body and vehicle searches for contraband, as well as prohibited items.

The Contractor shall be aware that maximum security facilities have the most stringent security requirements.  Compliance with these requirements may require driver time and patience, but must be followed explicitly.  Failure to deliver due to driver non-compliance with regard to required security measures at any correctional facility will result in the filing of a formal complaint against the Contractor.

4.3.5  INSPECTION OF DELIVERED ITEMS

The Using Agency will inspect each delivery to ensure compliance with contractual requirements.

Please refer to Bid Solicitation Section 4.9 for the replacement of unsatisfactory product.

## 4.4  CYLINDER RENTAL

The Contractor shall be responsible for all material, maintenance and upkeep on rental cylinders at no additional cost to the State.

The Contractor will repair, adjust and maintain pumps, under warranty, at no charge to the agencies renting / leasing equipment in conjunction with this State contract. If it is necessary to remove a cylinder, the Contractor must supply similar replacement equipment to the Using Agency free of charge.  All repair, maintenance and adjustment services must be in a timely manner.

The Contractor shall bear all responsibility for the repair and replacement of faulty or malfunctioning cylinders.  These repairs are not separately reimbursable, but are included in the rental / lease payment for the equipment.  All equipment malfunctions are to be fixed or equipment replaced with operationally the same equipment within 24 hours of notification by the State.

## 4.5  CYLINDER RETURN/EXCHANGE

Empty cylinders shall be picked up by the Contractor within two (2) weeks of written notification by the Using Agency.  Acceptable written notification shall be in the form of email.

The Contractor shall submit to the designated agency representative a copy of the manifest or invoice listing the number of cylinders scheduled to be picked up.  This manifest or invoice shall be signed and dated by the authorized State employee confirming the amount of cylinders picked up by the Contractor.

The State shall not be responsible for any additional rental fees if the Contractor fails to pick up all empty cylinders within the two (2) weeks of notification.

The Contractor shall, upon request by the Using Agency, pick-up empty cylinders only from the Using Agency.

## 4.6  AGENCY-USE NET LINES

## 4.6.1  LOSS OR DAMAGE TO A RENTED CYLINDER (PRICE LINE 9)

The State will pay the Contractor for the loss of or damage to, any cylinder resulting from a lack of ordinary care while in the custody of the State; however, this shall not include damage due to normal use, such as handling and transportation of the containers.

The price the State will pay the Contractor for such loss or damage will be based on the current catalog/price list price and size of the cylinder at the time the cylinder is damaged.  The Contractor shall submit the current manufacturers price/list catalog price for the cylinder to be replaced, with the actual cost to the Contractor for the cylinder.

### 4.6.2  RETURNS AND RESTOCKING FEES (PRICE LINE 10)

The Contractor may charge a restocking fee for products ordered in error by the Using Agency and returned by the Using Agency.  Return shipping fees will be at the Using Agency expense for products ordered in error.

An Agency-Use Price Line (Price Line 10) will be added to all Contracts to allow for the Using Agency payment of these restocking fees and return shipping charges.

### 4.6.3    EMERGENCY DELIVERIES (PRICE LINE 11)

In addition to routine delivery requirements, Using Agencies may have emergencies requiring expedited delivery.  The Using Agency will be responsible for any costs associated with expedited delivery.  For emergency orders, the Contractor shall make its best commercially reasonable efforts to provide delivery within forty-eight (48) hours.

An Agency-Use Price Line (Price Line 11) will be added to all Contracts to allow for the Using Agency payment of these expedited delivery charges.

Due to product availability issues, expedited deliveries may not be available for a given order.  Using Agencies must receive confirmation from the Contractor, in writing, through an e-mail or as part of the mini-bid Quote, that expedited delivery is available as part of the mini-bid Quote/order prior to placing the purchase order.

Note:  Payment will only be made for expedited delivery charges.

## 4.7  PRICE LIST UPDATE

Not applicable to this procurement.

Note:  A Contractor must, upon request, provide the Using Agency with the most recent version of the price list for the contracted brand during the mini-bid process.  Please refer to Bid Solicitation Section 4.15 for more information regarding the mini-bid process.

## 4.8  DISCLOSURE OF PRODUCT COMPOSITION

At the request of the Using Agency, and as applicable to the product(s) ordered, the Contractor must furnish material safety data sheets (MSDS) or an equivalent manufacturer’s information sheet for the goods provided under the Contract awarded.

## 4.9  REPLACEMENT OF UNSATISFACTORY PRODUCT

In the event the product delivered does not meet the approved product specifications or is damaged prior to or at the time of delivery, as determined by the Using Agency, the Contractor shall immediately remove and replace the unsatisfactory product, at no cost to the Using Agency. The timeframe for the replacement shall not exceed the delivery days ARO listed on the State-Supplied Price Sheet.  Failure to comply may result in the product being removed from the Contract and a similar product obtained from another Contractor with any additional costs assumed by the original Contractor.

## 4.10  SUBSTITUTION OF DISCONTINUED OR REFORMULATED PRODUCTS

The Contractor may offer a substitution for any product discontinued or reformulated by the manufacturer in its Contract.  The State may consider substituting the discontinued or reformulated model with a new model provided that the unit offered meets or exceeds the Contract specifications.  All substitutions must be approved by the State.

The Contractor must notify the State immediately in writing to the Division’s assigned Procurement Specialist stating that an item has been discontinued or reformulated by the manufacturer along with supporting documentation from that manufacturer that the item has been discontinued or reformulated.  The Contractor must provide in its letter the discontinued or reformulated model number, model number of the new product being offered, detailed literature for the new product being offered, the price of the discontinued or reformulated item and the price of the product being offered as a replacement.  The State will not approve the substitution of a discontinued or reformulated item without all of the above information.

The replacement product should be offered to the State at that same price as the discontinued or reformulated product.

## 4.11  SUBSTITUTION OF PRODUCTS ON A TEMPORARY BASIS

Not applicable to this procurement.

## 4.12  CURRENT PRODUCTION ITEMS

Contractors must provide new and current production items. Failure to comply with this requirement will be cause for termination of the Contract in whole or in part with the Contractor responsible for any and all additional costs incurred by the Using Agencies as a result of such termination, including but not limited to the cost of purchasing a similar item from another Vendor.

## 4.13  MANUALS AND INSTRUCTIONS

Upon request, the Contractor must supply a shop repair manual, parts manual, service manual and/or operator’s manual at no additional cost.  Any instructions for the installation or operation of the item must be provided where applicable.

## 4.14  GUARANTEE/WARRANTY

The Contractor shall guarantee that the equipment and/or components supplied will be free from any defects and operate satisfactorily and in accordance with the guidelines of the manufacturer’s warranty from the date of acceptance by the Using Agency.

All products furnished must be new and in the manufacturer’s original standard package.  Products provided shall be guaranteed against faulty material and workmanship in accordance with the manufacturer’s standard warranty.  Any faulty product or item must be replaced by the Contractor at no cost.

All products shall carry the manufacturer's standard warranty. The warranty statement/document shall be included with each product delivery.

If any product fails to perform satisfactorily within the warranty period, it shall be replaced with the same make and model at no additional cost to the Using Agency.

## 4.15  CONTRACT ORDERING/MINI-BID PROCESS

A Method of Operation, as may be amended from time to time, shall be posted by the Division of Purchase and Property upon award of the Contracts resulting from this Bid Solicitation. The Method of Operation will be posted to the “Attachments” Tab of the Contract’s NJSTART page. The Method of Operation applies to Using Agencies and MUST always be followed.

The Method of Operation will include an award summary which will identify Contractors for each brand/category awarded.

Using Agency shall initiate a Contract purchase on an as-needed basis by preparing clear and unambiguous requirements for the goods and/or services to be ordered, based solely upon the Using Agency’s needs.

Using Agencies may, among other factors, consider the following when selecting Contractors from whom mini-bids are solicited:

- Equipment uniformity and/or continuity

Using Agencies are advised that multiple Contractors may be awarded the same brand/product.  As such, Using Agencies should solicit mini-bid responses from all Contractors awarded the brand/product required.  The Using Agency shall establish the date and time for all Contractors to respond to the mini-bid request and inform all Contractors of the same.  All selected Contractors shall respond to the mini-bid request with a pricing response or a “no bid” response.  In response to a request for a mini-bid, Contractors may provide better pricing to the Using Agency than that submitted on the Price Sheet.

Note:  A Contractor must, upon request, provide the Using Agency with the most recent version of the price list for the contracted brand during the mini-bid process.

The Using Agency shall utilize the Contractor offering the lowest price for the product required. The Using Agency may bypass the Contractor offering the lowest price for the product required only when that Contractor is not able to provide the requested product, when the Contractor cannot meet its contracted delivery commitment.

At the time of auditing, Using Agency will be required to demonstrate that the establishment of the purchase requirements is free from any bias or inclination against or in favor of any Contractor.  Using its purchase requirements, current price list and Contract discount or markup, the Using Agency shall determine the final purchase price for each Contract price line item. The Using Agency must document all phases of its Contract selection process for each purchase under any Contract resulting from this Bid Solicitation.

# GENERAL CONTRACT TERMS

The Contractor shall have sole responsibility for the complete effort specified in this Contract.  Payment will be made only to the Contractor or to the authorized dealers/distributors, if applicable.  The Contractor is responsible for the professional quality, technical accuracy and timely completion and submission of all deliverables, services or commodities required to be provided under this Contract.  The Contractor shall, without additional compensation, correct or revise any errors, omissions, or other deficiencies in its deliverables and other services.  The approval of deliverables furnished under this Contract shall not in any way relieve the Contractor of responsibility for the technical adequacy of its work.  The review, approval, acceptance or payment for any of the deliverables, goods or services, shall not be construed as a waiver of any rights that the State may have arising out of the Contractor’s performance of this Contract.

## 5.1   CONTRACT TERM AND EXTENSION OPTION

The base term of this Contract shall be for a period of four (4) years.  The anticipated Contract effective date is provided on the “Summary” page of the Bid Solicitation in NJSTART.  If delays in the procurement process result in a change to the anticipated Contract effective date, the Contractor agrees to accept a Contract for the full term of this Contract.

This Contract may be extended up to three (3) years with no single extension exceeding one (1) year, by the mutual written consent of the Contractor and the Director at the same terms, conditions, and pricing at the rates in effect in the last year of this Contract or rates more favorable to the State.

## 5.2   CONTRACT TRANSITION

In the event that a new Contract has not been awarded prior to the expiration date for this Contract, including any extensions exercised, and the State exercises this Contract transition, the Contractor shall continue this Contract under the same terms, conditions, and pricing until a new Contract can be completely operational.  At no time shall this transition period extend more than 180 calendar days beyond the expiration date of this Contract, including any extensions exercised.

## 5.3   PERFORMANCE SECURITY

Not applicable to this procurement.

## 5.4   OWNERSHIP OF MATERIAL

Not applicable to this procurement.

## 5.5   SUBSTITUTION OF STAFF

Not applicable to this procurement.

## 5.6   DELIVERY TIME AND COSTS

Unless otherwise noted in this Bid Solicitation or on the State-Supplied Price Sheet, all delivery times are five (5) calendar days after receipt of order (ARO).  The Contractor shall assume all costs, liability and responsibility for the delivery of merchandise in good condition to the State's Using Agency or designated purchaser.  No additional charges will be allowed for any additional transportation costs resulting from partial shipments made at the Contractor’s convenience when a single shipment is ordered.  The weights and measures of the State's Using Agency receiving the shipment shall govern.  Collect on Delivery (C.O.D.) Terms are not permitted.

## 5.7   AUTHORIZED DEALERS AND/OR DISTRIBUTORS

The Contractor must provide a list of the Dealer(s)/Distributor(s) that will service the Contract.  The Contractor will be required to submit the following forms for each Dealer/Distributor, prior to the Dealer/Distributor being permitted to perform any work on the Contract:

- Ownership Disclosure (N.J.S.A. 52:25-24.2);

- Disclosure of Investment Activities in Iran (N.J.S.A. 52:32-55 et. seq.);

- Disclosure of Investigations and Actions Involving Bidder Form;

- MacBride Principles  (N.J.S.A. 52:34-12.2);

- Source Disclosure Certification (N.J.S.A. 52:34-13.2);

- Vendor Certification (P.L. 2005, c.271);

- New Jersey Business Registration (N.J.S.A. 52:32-44);

- Proof of insurance as specified herein;

- Proof of compliance with New Jersey Affirmative Action requirements (N.J.A.C. 17:27-1.1 et. seq.):

    - New Jersey Form AA-302 Affirmative Action Employee Information Report; or

    - New Jersey Affirmative Action Certificate; or

    - Federal Affirmative Action Approval Letter; and

J.	Certification of Non-Involvement of Prohibited Activities in Russia or Belarus Pursuant to P.L.2022, c.3

A Contractor may submit a request to add or remove Dealers/Distributors at any time during the Contract term, including any extension(s) thereof.  Any such request should be emailed to the Procurement Specialist assigned to this procurement.

## 5.8   LIQUIDATED DAMAGES

Not applicable to this procurement.

## 5.9   RETAINAGE

Not applicable to this procurement.

## 5.10   ELECTRONIC PAYMENTS

With the award of this Contract, the successful Contractor(s) will be required to receive its payment(s) electronically.  In order to receive payments via automatic deposit from the State of New Jersey, the Contractor must complete the EFT information within its NJSTART Vendor Profile.  Please refer to the QRG titled “Vendor Profile Management – Company Information and User Access” for instructions.

## 5.11   REPORTING AND SUPPLIER CONVENIENCE FEE

- Quarterly Sales Reporting - The Contractor shall submit a Sales Report documenting all sales made under the Contract.  The Sales Report shall be submitted directly to Periscope no later than thirty (30) calendar days after the end of each calendar quarter. The calendar quarters will end March 31, June 30, September 30, and December 31. The Sales Report must contain the following information:

  - Complete and accurate details of all sales, credits, returns, refunds, and the like for the reporting quarter;

  - Purchasing entity;

  - Total of Procurement Efficiency Program Fee amount due for the reporting quarter;

  - Such other information as the State may reasonably request;

  - If no sales were made against this Contract during the reporting quarter, then a report shall be submitted showing zero sales and zero Procurement Efficiency Program Fee due; and

  - Quarterly Sales Reporting and remittance of the Procurement Efficiency Program Fee shall begin on the first calendar quarter starting after the effective date of the Contract.

- Procurement Efficiency Program Fee - For all purchases made under this Contract, that have been invoiced, the Contractor shall remit the Procurement Efficiency Program Fee in the amount of one percent (1%) of all Purchases to Periscope acting on behalf of the State of New Jersey.

- Remittance of the Procurement Efficiency Program Fee - On a quarterly basis, the Contractor shall remit the Procurement Efficiency Program Fee directly to Periscope no later than thirty (30) days after the end of each calendar quarter. The calendar quarters will end March 31, June 30, September 30, and December 31.  Failure to remit the Procurement Efficiency Program Fee timely and accurately may result in Contract termination as outlined in the “Termination of Contract” clause of the State of New Jersey Standard Terms and Conditions.

- NJSTART Marketplace Catalog Enablement - Contractor shall cooperate with State and/or Periscope as requested to upload catalog items and pricing consistent with this Contract. Contractor shall upload catalog within (thirty) 30 calendar days of the date of execution of this Contract. Failure to cooperate will result in the Contractor’s good and/or services not being represented in the NJSTART Marketplace. The Contractor shall ensure that the catalog complies with the scope, and terms and conditions of this Contract. Any identified deviation from the Contract must be corrected immediately. Any catalog that does not comply with the scope and terms and conditions of this Contract can lead to a breach of contract and will be escalated to the Division of Purchase and Property’s Contract Compliance and Audit Unit for review and possible action.

- Retention and Inspection of Records and Audit - The Contractor shall keep records of all sales made to all Using Agencies in sufficient detail to enable the State to determine the Procurement Efficiency Program Fee payable by the Contractor. The State and/or Periscope may examine and audit, at its own expense, Contractor’s sales records and Sales Reports for completeness and accuracy. If such examination reveals underpayment of the Procurement Efficiency Program Fee, the Contractor shall immediately pay to Periscope the amount of deficiency. If the examination reveals an underpayment of 5% or more, then the Contractor shall reimburse the State and/or Periscope for the cost of the audit.

# DATA SECURITY REQUIREMENTS – CONTRACTOR RESPONSIBILITY

Not applicable to this procurement.

# MODIFICATIONS TO THE STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS

Not applicable to this procurement.

# QUOTE EVALUATION AND AWARD

## 8.1   RIGHT TO WAIVE

Pursuant to N.J.A.C. 17:12-2.7(d) the Director may waive minor irregularities or omissions in a Quote.  The Director reserves the right to waive a requirement provided that the requirement does not materially affect the procurement or the State's interests associated with the procurement.

## 8.2   DIRECTOR’S RIGHT TO ACCEPT OR REJECT A QUOTE

The Director reserves the right to reject any or all Quotes, or to award in whole or in part if deemed to be in the best interest of the State to do so. The Director shall have authority to award Contracts in accordance with N.J.S.A. 52:34-12.

## 8.3   RECIPROCITY FOR JURISDICTIONAL BIDDER PREFERENCE

In accordance with N.J.S.A. 52:32-1.4 and N.J.A.C. 17:12-2.13, the State of New Jersey will invoke reciprocal action against an out-of-State Bidder whose state or locality maintains a preference practice for its in-state Bidders.  The State of New Jersey will use the annual surveys compiled by the Council of State Governments, National Association of State Procurement Officials, or the National Institute of Governmental Purchasing or a State’s statutes and regulations to identify States having preference laws, regulations, or practices and to invoke reciprocal actions. The State of New Jersey may obtain additional information as it deems appropriate to supplement the stated survey information.

A Bidder may submit information related to preference practices enacted for a State or Local entity outside the State of New Jersey. This information may be submitted in writing as part of the Quote response, including name of the locality having the preference practice, as well as identification of the county and state, and should include a copy of the appropriate documentation, i.e., resolution, regulation, law, notice to Bidder, etc.  It is the responsibility of the Bidder to provide documentation with the Quote or submit it to the Director within five (5) business days after the deadline for Quote submission.  Written evidence for a specific procurement that is not provided to the Director within five (5) business days of the public Quote submission date may not be considered in the evaluation of that procurement, but may be retained and considered in the evaluation of subsequent procurements.

## 8.4   CLARIFICATION OF QUOTE

After the Quote Opening Date, unless requested by the State as noted below, Bidder contact with the Procurement Bureau regarding this Bid Solicitation and the submitted Quote is not permitted.

After the Quotes are reviewed, one (1), some or all of the Bidders may be asked to clarify certain aspects of its Quote.  A request for clarification may be made in order to resolve minor ambiguities, irregularities, informalities or clerical errors.  Clarifications cannot correct any deficiencies, material omissions, or used to revise or modify a Quote.

The Director reserves the right to request that a Bidder to explain, in detail, how the Quote price was determined.

## 8.5   ORAL PRESENTATION

Not applicable to this procurement.

## 8.6   TIE QUOTES

Tie Quotes will be awarded by the Director in accordance with N.J.A.C. 17:12-2.10.

## 8.7   STATE'S RIGHT TO INSPECT BIDDER’S FACILITIES

The State reserves the right to inspect the Bidder’s establishment before making an award, for the purposes of ascertaining whether the Bidder has the necessary facilities for performing the Contract.

## 8.8   STATE'S RIGHT TO CHECK REFERENCES

The State may also consult with clients of the Bidder during the evaluation of Quotes. Such consultation is intended to assist the State in making a Contract award that is most advantageous to the State.

## 8.9   EVALUATION CRITERIA

The following evaluation criteria categories, not necessarily listed in order of significance, will be used to evaluate Quotes received in response to this Bid Solicitation.  The evaluation criteria categories may be used to develop more detailed evaluation criteria to be used in the evaluation process.

### 8.9.1   TECHNICAL EVALUATION CRITERIA

The following criteria will be used to evaluate Quotes received in response to this Bid Solicitation:

- The Bidder’s demonstration in the Quote that the Bidder understands and is able to complete the requirements of the Scope of Work as sought.

### 8.9.2   PRICE EVALUATION

The State intends to award a Contract to each responsive Bidder that submits a Quote that meets the category bid and requirements of the Bid Solicitation.

Contract users will conduct a Contract selection process as outlined in Bid Solicitation Section 4.15.

## 8.10   QUOTE DISCREPANCIES

In evaluating Quotes, discrepancies between words and figures will be resolved in favor of words.  Discrepancies between Unit Prices and totals of Unit Prices will be resolved in favor of Unit Prices.  Discrepancies in the multiplication of units of work and Unit Prices will be resolved in favor of the Unit Prices.  Discrepancies between the indicated total of multiplied Unit Prices and units of work and the actual total will be resolved in favor of the actual total.  Discrepancies between the indicated sum of any column of figures and the correct sum thereof will be resolved in favor of the correct sum of the column of figures.

## 8.11   NEGOTIATION

In accordance with N.J.S.A. 52:34-12(f) and N.J.A.C. 17:12-2-7, after evaluating Quotes, the Procurement Bureau may establish a competitive range and enter into negotiations with one (1) Bidder or multiple Bidders within this competitive range.  The primary purpose of negotiations is to maximize the State’s ability to obtain the best value based on the mandatory requirements, evaluation criteria, and cost.  Multiple rounds of negotiations may be conducted with one (1) Bidder or multiple Bidders.  Negotiations will be structured by the Procurement Bureau to safeguard information and ensure that all Bidders are treated fairly.

Negotiations will be conducted only in those circumstances where it is deemed by the Director to be in the State’s best interests and to maximize the State’s ability to get the best value.  Therefore, the Bidder is advised to submit its best technical and price Quote in response to this Bid Solicitation since the State may, after evaluation, make a Contract award based on the content of the initial submission.

## 8.12   BEST AND FINAL OFFER (BAFO)

The Procurement Bureau may invite one (1) Bidder or multiple Bidders to submit a Best and Final Offer (BAFO). Said invitation will establish the time and place for submission of the BAFO. Any BAFO that does not result in more advantageous pricing to the State will not be considered, and the State will evaluate the Bidder’s most advantageous previously submitted pricing.

The Division may conduct more than one (1) round of BAFO in order to attain the best value for the State.

BAFOs will be conducted only in those circumstances where it is deemed by the Procurement Bureau or Director to be in the State’s best interests and to maximize the State’s ability to get the best value.  Therefore, the Bidder is advised to submit its best technical and price Quote in response to this Bid Solicitation since the State may, after evaluation, make a Contract award based on the content of the initial submission

If the Procurement Bureau contemplates BAFOs, Quote prices will not be publicly read at the Quote opening.  Only the name and address of each Bidder will be publicly announced at the Quote opening.

## 8.13   “REQUEST FOR REVISION” WITHIN NJSTART

The State may request a revision of the Bidder’s Quote within NJSTART. The Bidder shall respond to the “Request for Revision” only for the reason(s) identified by the State. Any changes made by a Bidder to the Quote other than as requested by the State shall be considered null and void.

## 8.14   POOR PERFORMANCE

A Bidder with a history of performance problems may be bypassed for consideration of an award issued as a result of this Bid Solicitation. The following materials may be reviewed to determine Bidder performance:

- Contract cancellations for cause pursuant to State of New Jersey Standard Terms and Conditions Section 5.7(B);

- Information contained in Contractor performance records;

- Information obtained from audits or investigations conducted by a local, state or federal agency of the Bidder’s work experience;

- Current licensure, registration, and/or certification status and relevant history thereof; or

- Bidder’s status or rating with established business/financial reporting services, as applicable.

Bidders should note that this list is not exhaustive.

## 8.15   RECOMMENDATION FOR AWARD

After the evaluation of the submitted Quotes is complete, the Procurement Bureau will recommend to the Director for award, the responsible Bidder(s) whose Quote, conforming to this Bid Solicitation, is most advantageous to the State, price and other factors considered.  The Director may accept, reject or modify the recommendation of the Procurement Bureau.

## 8.16   CONTRACT AWARD

Contract award(s) will be made with reasonable promptness by written notice to those responsible Bidders, whose Quotes, conforming to this Bid Solicitation, are most advantageous to the State, price, and other factors considered.  Any or all Quotes may be rejected when the State Treasurer or the Director determines that it is in the public interest to do so.  Contract awards will be publicly posted under the relevant Contract number and available on NJSTART.

The State intends to make Contract awards to each responsive Bidder that meets the category bid and the Bid Solicitation requirements.

The following Agency-Use Price Lines will be added to all Contracts:

Price Line 9 – Using Agency Payment for Loss or Damage to a Rented Cylinder

Price Line 10 – Using Agency Payment for Returns (Return Shipping Costs) and Restocking Fees

Price Line 11 – Using Agency Payment for Emergency Deliveries

Using Agencies will utilize Contracts in accordance with Bid Solicitation Section 4.15 (Contract Ordering/ Mini-Bid Process.)

# GLOSSARY

## 9.1   CROSSWALK

| Current DPP Template Term | Equivalent Statutory, Regulatory NJSTART and/or Legacy Term |
| --- | --- |
| Bid Solicitation | Request For Proposal (RFP)/Solicitation |
| Bid Amendment | Addendum |
| Contract | Master Blanket Purchase Order (Blanket/Blanket P.O.) |
| Contract Amendment | Change Order |
| Administrative Change Order | Change Order |
| Quote | Proposal/Bid |
| Contractor | Vendor/Contractor |
| Bidder | Bidder/Contractor |

## 9.2   DEFINITIONS

Unless otherwise specified in the Bid Solicitation, the following definitions will be part of any Contract awarded, or order placed, as a result of this Bid Solicitation.  Note that not all definitions included here apply to all Bid Solicitations.

Acceptance – The written confirmation by the Using Agency that Contractor has completed a Deliverable according to the specified requirements.

Administrative Change Order – A unilateral administrative modification to the Contract in the NJSTART system by the Division. Administrative Change Orders are not to be considered formal Contract Amendments.

All-Inclusive Hourly Rate – An hourly rate comprised of all direct and indirect costs including, but not limited to: labor costs, overhead, fee or profit, clerical support, travel expenses, per diem, safety equipment, materials, supplies, managerial support and all documents, forms, and reproductions thereof.  This rate also includes portal-to-portal expenses as well as per diem expenses such as food.

Apparel – means any clothing, headwear, linens or fabric.

Apparel Contracts – include all purchases, rentals or other acquisition of apparel products by the State of New Jersey, including authorizations by the State of New Jersey for contractors to sell apparel products through cash allowances or vouchers issued by the State of New Jersey, and license agreements with a public body.

Apparel Production – includes the cutting and manufacturing of apparel products performed by the contractor or by any subcontractors, but not including the production of supplies or sundries such as buttons, zippers, and thread.

Approved Products – Those products that have been identified in Bid Solicitation as meeting Using Agency needs and confirmed as meeting product specifications.

Best and Final Offer or BAFO – Pricing timely submitted by a Bidder upon invitation by the Procurement Bureau after Quote opening, with or without prior discussion or negotiation.

Bid or Bid Solicitation – The documents which establish the bidding and Contract requirements and solicits Quotes to meet the needs of the Using Agencies as identified herein, and includes the Bid Solicitation, State of New Jersey Standard Terms and Conditions (SSTC), State-Supplied Price Sheet, Attachments, and Bid Amendments.

Bid Amendment – Written clarification or revision to this Bid Solicitation issued by the Division. Bid Amendments, if any, will be issued prior to Quote opening.

Bid Opening Date – The date Quotes will be opened for evaluation and closed to further Quote submissions.

Bid Security - means a guarantee, in a form acceptable to the Division, that the bidder, if selected, will accept the contract as bid; otherwise, the bidder or, as applicable, its guarantor will be liable for the amount of the loss suffered by the State, which loss may be partially or completely recovered by the State in exercising its rights against the instrument of bid security.

Bidder – An entity offering a Quote in response to the Division’s Bid Solicitation.

Breach of Security – as defined by N.J.S.A. 56:8-161, means unauthorized access to electronic files, media, or data containing Personal Data that compromises the security, confidentiality, or integrity of Personal Data when access to the Personal Data has not been secured by encryption or by any other method or technology that renders the Personal Data unreadable or unusable.  Good faith acquisition of Personal Data by an employee or agent of the Provider for a legitimate business purpose is not a Breach of Security, provided that the Personal Data is not used for a purposes unrelated to the business or subject to further unauthorized disclosure.

Business Day – Any weekday, excluding Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Calendar Day – Any day, including Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Commercial off the Shelf Software or COTS – Software provided by Provider that is commercially available and that can be used with little or no modification.

Customized Software – COTS that is adapted or configured by Provider to meet specific requirements of the Authorized Purchaser that differ from the standard requirements of the base product. For the avoidance of doubt, “Customized Software” is not permitted to be sold to the State under the scope of this Contract.

Contract – The Contract consists of the State of NJ Standard Terms and Conditions (SSTC), the Bid Solicitation, the responsive Quote submitted by a responsible Bidder as accepted by the State, the notice of award, any Best and Final Offer, any subsequent written document memorializing the agreement, any modifications to any of these documents approved by the State and any attachments, Bid Amendment or other supporting documents, or post-award documents including Contract Amendments agreed to by the State and the Contractor, in writing.

Contract Amendment – An amendment, alteration, or modification of the terms of a Contract between the State and the Contractor(s). A Contract Amendment is not effective until it is signed and approved in writing by the person with the appropriate signing authority.  Contract Amendments are tracked using Change Orders in NJSTART. Please note that Administrative Change Orders (see definition above) are not considered Contract Amendments.

Contractor – The Bidder awarded a Contract resulting from this Bid Solicitation.

Contractor Intellectual Property – Any intellectual property that is owned by Contractor and contained in or necessary for the use of the Deliverables or which the Contractor makes available for the State to use as part of the work under the Contract.  Contractor Intellectual Property includes COTS or Customized Software owned by Contractor, Contractor’s technical documentation, and derivative works and compilations of any Contractor Intellectual Property.

Cooperative Purchasing Program – The Division’s intrastate program that provides procurement-related assistance to New Jersey local governmental entities and boards of education, State and county colleges and other public entities having statutory authority to utilize select State Contract s issued by the Division, pursuant to the provisions of N.J.S.A. 52:25-16.1 et seq.

Cooperative Purchasing Participants – These participants include quasi-State entities, counties, municipalities, school districts, volunteer fire departments, first aid squads, independent institutions of higher learning, County colleges, and State colleges.

Days After Receipt of Order (ARO) – The number of calendar days ‘After Receipt of Order’ in which the Using Agency will receive the ordered materials and/or services.

Dealer/Distributor – A Company authorized by a Bidder or Contractor as having the contractual ability to accept and fulfill orders and receive payments directly on behalf of the Contractor that is awarded a Contract.  Any authorized Dealer/Distributor must agree to all terms and conditions contained within the Bid Solicitation and must agree to provide all products and services in accordance with the Contract specifications, terms, conditions and pricing.

Deliverable – Goods, products, Services and Work Product that Contractor is required to deliver to the State under the Contract.

Director – Director, Division of Purchase and Property, Department of the Treasury, who by statutory authority is the Chief Contracting Officer for the State of New Jersey; or the Director’s designee.

Disabled Veterans’ Business - means a business which has its principal place of business in the State, is independently owned and operated and at least 51% of which is owned and controlled by persons who are disabled veterans or a business which has its principal place of business in this State and has been officially verified by the United States Department of Veterans Affairs as a service disabled veteran-owned business for the purposes of department contracts pursuant to federal law.  N.J.S.A. 52:32-31.2.

Disabled Veterans’ Business Set-Aside Contract – means a Contract for goods, equipment, construction or services which is designated as a Contract with respect to which bids are invited and accepted only from disabled veterans’ businesses, or a portion of a Contract when that portion has been so designated.  N.J.S.A. 52:32-31.2.

Discount – The standard price reduction applied by the Bidder to all items.

Division – The Division of Purchase and Property.

Equivalent Products – Products offered other than those identified as an Approved Product in this Bid Solicitation that meet the specifications herein. Equivalent Products will be evaluated to ensure that they meet all technical, nutritional, and packaging specifications herein as part of the Quote evaluation process.

Evaluation Committee – A group of individuals or a Division staff member assigned by the Director to review and evaluate Quotes submitted in response to this Bid Solicitation and recommend a Contract award to the Director.

Firm Fixed Price – A price that is all-inclusive of direct cost and indirect costs, including, but not limited to, direct labor costs, overhead, fee or profit, clerical support, equipment, materials, supplies, managerial (administrative) support, all documents, reports, forms, travel, reproduction and any other costs.

Hardware – Includes computer equipment and any Software provided with the Hardware that is necessary for the Hardware to operate.

Internet of Things (IoT) – the network of physical devices, vehicles, home appliances and other items embedded with electronics, software, sensors, actuators, and network connectivity which enables these objects to connect and exchange data.

Intrastate cooperative purchasing participants – refers to political subdivisions, volunteer fire departments and first aid squads, and independent institutions of higher education and school districts pursuant to N.J.S.A. 52:25-16.1 et seq., State and county colleges pursuant to N.J.S.A. 18A:64-60 and 18A:64A-25.9, quasi-State agencies and independent authorities pursuant to N.J.S.A. 52:27B-56.1, and other New Jersey public entities having statutory authority to utilize select State contracts issued by the Division.

Joint Venture – A business undertaking by two (2) or more entities to share risk and responsibility for a specific project.

Life cycle assessment – The comprehensive examination of a product’s environmental and economic aspects and potential impacts throughout its lifetime, including raw material extraction, transportation, manufacturing, use and disposal.

Life cycle cost – The amortized total cost of a product, including capital costs, installation costs, operating costs, maintenance costs, and disposal costs discounted over the lifetime of the product.

Master Blanket Purchase Order (Blanket/Blanket P.O.) – A Term Contract that allows repeated purchases from an awarded contract.

Materials in Solid Waste – Material found in the various components of the solid waste stream. General, solid waste has several components, such as municipal solid waste (MSW), construction and demolition debris (C&D), and nonhazardous industrial waste.  Under RCRA Section 6002, EPA considers materials recovered from any component of the solid waste stream when designating items containing Recovered Materials.

May – Denotes that which is permissible or recommended, not mandatory.

Mobile Device – means any device used by Provider that can move or transmit data, including but not limited to laptops, hard drives, and flash drives.

Must – Denotes that which is a mandatory requirement.

Net Purchases – means the total gross purchases, less credits, taxes, regulatory fees and separately stated shipping charges not included in unit prices, made by Intrastate Cooperative Purchasing Participants, regardless of whether or not NJSTART is used as part of the purchase process.

No Bid – The Bidder is not submitting a price Quote for an item on a price line.

No Charge – The Bidder will supply an item on a price line free of charge.

Non-Public Data – means data, other than Personal Data, that is not subject to distribution to the public as public information. Non-Public Data is data that is identified by the State as non-public information or otherwise deemed to be sensitive and confidential by the State because it contains information that is exempt by statute, ordinance or administrative rule from access by the general public as public information.

Percentage Discount or Markup – The percentage bid applied as a Markup or a Discount to a firm, fixed price contained within a price list/catalog.

Performance Security – means a guarantee, executed subsequent to award, in a form acceptable to the Division, that the successful bidder will complete the contract as agreed and that the State will be protected from loss in the event the contractor fails to complete the contract as agreed.

Personal Data means –

“Personal Information” as defined in N.J.S.A. 56:8-161, means an individual’s first name or first initial and last name linked with any one or more of the following data elements: (1) Social Security number, (2) driver’s license number or State identification card number or (3) account number or credit or debit card number, in combination with any required security code, access code, or password that would permit access to an individual’s financial account.  Dissociated data that, if linked would constitute Personal Information is Personal Information if the means to link the dissociated were accessed in connection with access to the dissociated data.  Personal Information shall not include publicly available information that is lawfully made available to the general public from federal, state or local government records, or widely distributed media; and/or

Data, either alone or in combination with other data, that includes information relating to an individual that identifies the person or entity by name, identifying number, mark or description that can be readily associated with a particular individual and which is not a public record, including but not limited to, Personally Identifiable Information (PII); government-issued identification numbers (e.g., Social Security, driver’s license, passport); Protected Health Information (PHI) as that term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 and defined below; and Education Records, as that term is defined in the Family Educational Rights and Privacy Act (FERPA), 20 U.S.C. § 1232g.

Personally Identifiable Information or PII - as defined by the U.S. Department of Commerce, National Institute of Standards and Technology, means any information about an individual maintained by an agency, including (1) any information that can be used to distinguish or trace an individual’s identity, such as name, social security number, date and place of birth, mother’s maiden name, or biometric records; and (2) any other information that is linked or linkable to an individual, such as medical, educational, financial, and employment information.

Post-Consumer Material – Material or finished product that has served its intended use and has been diverted or recovered from waste destined for disposal, having completed its life as a consumer item.  Post-Consumer Materials are part of the broader category of Recovered Materials.

Pre-Consumer Material – Materials generated in manufacturing and converting processes, such as manufacturing scrap and trimmings/cuttings.

Price List/Catalog – A document published by a manufacturer, resellers, Dealers, or Distributors that typically contains product descriptions, a list of products with fixed prices to which a Bidder’s percentage discount or markup bid is applied.

Procurement Bureau (Bureau) – The Division unit responsible for the preparation, advertisement, and issuance of Bid Solicitations, for the tabulation of Quotes and for recommending award(s) of Contract(s) to the Director and the Deputy Director.

Project – The undertakings or services that are the subject of this Bid Solicitation.

Protected Health Information or PHI – has the same meaning as the term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 means Individually Identifiable Health Information (as defined below) transmitted by electronic media, maintained in electronic media, or transmitted or maintained in any other form or medium. PHI excludes education records covered by the Family Educational Rights and Privacy Act (FERPA), as amended, 20 U.S.C. 1232g, records described at 20 U.S.C. 1232g(a)(4)(B)(iv) and employment records held by a covered entity in its role as employer. The term “Individually Identifiable Health Information” has the same meaning as the term is defined in the regulations adopted pursuant to the Health Insurance Portability and Accountability Act of 1996, P.L. No. 104-191 (1996) and found in 45 CFR Parts 160 to 164 and means information that is a subset of Protected Health Information, including demographic information collected from an individual, and (1) is created or received by a health care provider, health plan, employer or health care clearinghouse; and (2) relates to the past, present or future physical or mental health or condition of an individual; the provision of health care to an individual; or the past, present or future payment for the provision of health care to an individual; and (a) that identifies the individual; or (b) with respect to which there is a reasonable basis to believe the information can be used to identify the individual.

Purchases - means the total gross purchases, less credits, taxes, regulatory fees and separately stated shipping charges not included in unit prices, made regardless of whether or not NJSTART is used as part of the purchase process.

Quasi-State Agency – is any agency, commission, board, authority or other such governmental entity which is established and is allocated to a State department or any bi-state governmental entity of which the State of New Jersey is a member, as defined in N.J.S.A. 52:27B-56.1, provided that any sale to any such bi-state governmental entity is for use solely within the State of New Jersey.

Quick Reference Guides (QRGs) – Informational documents which provide Vendors with step-by-step instructions to navigate the NJSTART eProcurement System. QRGs are available on the NJSTART Vendor Support Page.

Quote – Bidder’s timely response to the Bid Solicitation including, but not limited to, technical Quote, price Quote including Best and Final Offer, any licenses, forms, certifications, clarifications, negotiated documents, and/or other documentation required by the Bid Solicitation.

Quote Opening Date – The date Quotes will be opened for evaluation and closed to further Quote submissions.

Recovered Material – Waste material and byproduct that have been recovered or diverted from solid waste, but does not include materials and byproducts generated from, and commonly reused within, an original manufacturing process.

Recycling – The series of activities, including collection, separation, and processing, by which products or other materials are recovered from the solid waste stream for use in the form of raw materials in the manufacture of new products other than fuel for producing heat or power by combustion.

Recyclability – The ability of a product or material to be recovered from, or otherwise diverted from, the solid waste stream for the purpose of recycling.

Retainage – The amount withheld from the Contractor payment that is retained and subsequently released upon satisfactory completion of performance milestones by the Contractor.

Revision – A response to a BAFO request or a requested clarification of the Bidder’s Quote.

RMAN – Recovered Materials Advisory Notices provide purchasing guidance and recommendations for Recovered and Post-Consumer Material content levels for designated items.

Security Incident – means the potential access by non-authorized person(s) to Personal Data or Non-Public Data that the Provider believes could reasonably result in the use, disclosure, or access or theft of State’s unencrypted Personal Data or Non-Public Data within the possession or control of the Provider. A Security Incident may or may not turn into a Breach of Security.

Services – Includes, without limitation (i) Information Technology (IT) professional services, (ii) Software and Hardware-related services, including without limitation, installation, configuration, and training, and (iii) Software and Hardware maintenance and support and/or Software and Hardware technical support services.

Shall – Denotes that which is a mandatory requirement.

Should – Denotes that which is permissible or recommended, not mandatory.

Small Business – Pursuant to N.J.S.A. 52:32-19, N.J.A.C. 17:13-1.2, and N.J.A.C. 17:13-2.1, “small business” means a business that meets the requirements and definitions of “small business” and has applied for and been approved by the New Jersey Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit as (i) independently owned and operated, (ii) incorporated or registered in and has its principal place of business in the State of New Jersey; (iii)  has 100 or fewer full-time employees; and has gross revenues falling in one (1) of the six (6) following categories:

For goods and services - (A) 0 to $500,000 (Category I); (B) $500,001 to $5,000,000 (Category II); and (C) $5,000,001 to $12,000,000, or the applicable federal revenue standards established at 13 CFR 121.201, whichever is higher (Category III).

For construction services: (A) 0 to $3,000,000 (Category IV); (B) gross revenues that do not exceed 50 percent of the applicable annual revenue standards established at 13 CFR 121.201 (Category V); and (C) gross revenues that do not exceed the applicable annual revenue standards established at CFR 121.201, (Category VI).

Small Business Set-Aside Contract – means (1) a Contract for goods, equipment, construction or services which is designated as a Contract with respect to which bids are invited and accepted only from small businesses, or (2) a portion of a Contract when that portion has been so designated.”  N.J.S.A. 52:32-19.

Software – means, without limitation, computer programs, source codes, routines, or subroutines supplied by Provider, including operating software, programming aids, application programs, application programming interfaces and software products, and includes COTS, unless the context indicates otherwise.

Software as a Service or SaaS – means the capability provided to a purchaser to use the Provider’s applications running on a cloud infrastructure. The applications are accessible from various client devices through a thin client interface such as a Web browser (e.g., Web-based email) or a program interface. The purchaser does not manage or control the underlying cloud infrastructure, including network, servers, operating systems, storage or even individual application capabilities, with the possible exception of limited user-specific application configuration settings.

State – The State of New Jersey.

State Confidential Information – shall consist of State Data and State Intellectual Property  supplied by the State, any information or data gathered by the Contractor in fulfillment of the Contract and any analysis thereof (whether in fulfillment of the Contract or not).

State Contract Manager or SCM – The individual, responsible for the approval of all deliverables, i.e., tasks, sub-tasks or other work elements in the Scope of Work.  The SCM cannot direct or approve a Contract Amendment.

State Data – means all data and metadata created or in any way originating with the State, and all data that is the output of computer processing of or other electronic manipulation of any data that was created by or in any way originated with the State, whether such data or output is stored on the State’s hardware, the Provider’s hardware or exists in any system owned, maintained or otherwise controlled by the State or by the Provider.  State Data includes Personal Data and Non-Public Data.

State Intellectual Property – Any intellectual property that is owned by the State.  State Intellectual Property includes any derivative works and compilations of any State Intellectual Property.

State Price Sheet or State-Supplied Price Sheet – the bidding document created by the State and attached to this Bid Solicitation on which the Bidder submits its Quote pricing as is referenced and described in the Bid Solicitation.

Subtasks – Detailed activities that comprise the actual performance of a task.

Subcontractor – An entity having an arrangement with a Contractor, whereby the Contractor uses the products and/or services of that entity to fulfill some of its obligations under its State Contract, while retaining full responsibility for the performance of all  Contractor's obligations under the Contract, including payment to the Subcontractor.  The Subcontractor has no legal relationship with the State, only with the Contractor.

Task – A discrete unit of work to be performed.

Third Party Intellectual Property – Any intellectual property owned by parties other than the State or Contractor and contained in or necessary for the use of the Deliverables.  Third Party Intellectual Property includes COTS owned by Third Parties, and derivative works and compilations of any Third Party Intellectual Property.

Unit Cost or Unit Price – All-inclusive, firm fixed price charged by the Bidder for a single unit identified on a price line.

US CERT – United States Computer Emergency Readiness Team.

USEPA – United States Environmental Protection Agency.

Using Agency[ies] – A State department or agency, a quasi-State governmental entity, or an Intrastate Cooperative Purchasing participant, authorized to purchase products and/or services under a Contract procured by the Division.

Vendor – Either the Bidder or the Contractor.

Work Product – Every invention, modification, discovery, design, development, customization, configuration, improvement, process, Software program, work of authorship, documentation, formula, datum, technique, know how, secret, or intellectual property right whatsoever or any interest therein (whether patentable or not patentable or registerable under copyright or similar statutes or subject to analogous protection) that is specifically made, conceived, discovered, or reduced to practice by Contractor or Contractor’s subcontractors or a third party engaged by Contractor or its subcontractor pursuant to the Contract Notwithstanding anything to the contrary in the preceding sentence, Work Product does not include State Intellectual Property, Contractor Intellectual Property or Third Party Intellectual Property.

## 9.3   CONTRACT-SPECIFIC DEFINITIONS

Unless otherwise specified in the Bid Solicitation, the following Contract-specific definitions will be part of any Contract awarded, or order placed, as a result of this Bid Solicitation.

ANSI – American National Standards Institute.  Website: ANSI Introduction

ASTM – American Society for Testing and Materials.  Website:  Standards & Publications - Products & Services (astm.org)

CFR – Code of Federal Regulations.  The CFR for medical gases, for instance, is located here: eCFR :: 21 CFR 201.161 -- Medical gases.

CGA – Compressed Gas Association.  Website: Compressed Gas Association (cganet.com)

EPA – United States Environmental Protection Agency.  Website: U.S. Environmental Protection Agency | US EPA

JCAHO – Joint Commission on Accreditation of Healthcare Organizations.

NEMA – National Electrical Manufacturers Association.  NEMA is an ANSI-accredited Standards Developing Organization.  Website:  NEMA

NFPA – National Fire Protection Association.  Website: NFPA Products and Solutions

NIOSH – National Institute for Occupational Safety and Health.  Website:  Pocket Guide to Chemical Hazards | NIOSH | CDC

OSHA – Occupational Safety and Health Organization.  Website: Home | Occupational Safety and Health Administration (osha.gov)

PPB – Parts per billion.  This is a unit used in atmospheric chemistry to describe concentration of gases.

PPM – Parts of gas per million parts of air.  This is a unit used in atmospheric chemistry to describe concentration of gases.

UL – Underwriters Laboratory.  Underwriters Laboratories (UL) is a safety organization that sets industry-wide standards for new products. UL testing ensures that wire sizes are correct and that electronics devices can handle the amount of current claimed by the manufacturer. UL is one of several companies approved to perform safety testing by the Occupational Safety and Health Administration (OSHA), but doesn’t always test the products themselves. UL can authorize manufacturers to conduct their own tests and UL follows up regularly to ensure the proper product tests and guidelines are being followed. The UL stamp or mark is placed on products after testing is passed.

USDOT – United States Department of Transportation.  Website: Department of Transportation

USP – United States Pharmacopeia.  USP grade chemicals comply with the standards of the United States Pharmacopeia and National Formulary (USP-NF). USP Grade chemicals are fit for use in food, drugs, and medicines. They are subject to stringent testing and are typically required to have the highest level of purity.