## Master
Equipment Inventory NJPHEAL
Qty | Description | Manufacturer | Model | Serial | Asset # | Location | Notes
1 | Portable Dehumidifier | DriEaz | F203-A | 99165 |  | PH
1 | Portable Dehumidifier | DriEaz | F203-A | 96236 |  | PH | At Medical Examiners office, Newark NJ Per Kevin Jennings
1 | Portable Dehumidifier | DriEaz | F203-A | 96113 |  | PH
1 | Portable Dehumidifier | DriEaz | F203-A | 99153 |  | PH
1 | Portable Dehumidifier | DriEaz | F203-A | 98236 |  | PH
1 | Portable Dehumidifier | DriEaz | F203-A | 99164 |  | PH
7 | Floor Fans | Dayton | 5UMP5 | Not Listed |  | PH
1 | Large Portable Dehumidifier | Dayton | 5KN27A | Not Listed |  | PH
1 | Generator 10,000 watt | Briggs & Stratton | 30207 | 1020094980 |  | PH
1 | Steam Pressure Washer | Chore Master | GPH-2500-0M1R | 15074936 |  | PH
1 | Radiant tube heater | Dayton | 5VD71 | Not Listed |  | PH
1 | Dehumidifier small | Dayton | SEAJ9 | Not Listed | P11004 | PH
1 | Pressure Washer | Mi-T-M | GC-4000-OMHB | 10578270 |  | PH
1 | Round Fan 36" | Dayton | 1YNW5 | Not Listed |  | PH
1 | Round Fan 42" | Dayton | 1YNW6 | Not Listed |  | PH
1 | Pressure Washer | Coil Pro | CC-400HF-60 | 4061 |  | PH
1 | Confined Space fan | Allegro | 9533 | 95418741 |  | PH
3 | Wet/Dry Vac | Dayton | 1VHG2 | Not Listed |  | PH
1 | 10' Platform Ladder | Werner | Tag Damaged | Not Listed |  | PH | Left By Contractor
1 | 6' Platform Ladder | Werner | P7406 | Not Listed |  | PH
1 | 32' Extension Ladder | Werner | D6232-2 | Not Listed |  | PH
2 | Pipe Stands | Rigid | VJ99 | Not Listed |  | PH
3 | Hand Trucks | Gemini | MAGLINER | Not Listed | H00257 | PH | Only One asset Tag
1 | Drain Snake (Large) | Rigid | K820D | VBF040520412 |  | Boiler Room
1 | Rolling tool cabinet | Westward | Not Listed | Not Listed | P12631 | PH | See Pics
1 | Set Combination wrenches 3/8 to 1 1/4 | Proto | Not Listed | Not Listed |  | PH
1 | Set ratchet head wrenches 3/8 to 3/4 | Proto | Not Listed | Not Listed |  | PH
1 | Fluke 332 Clamp Meter | Fluke | 332 | 97850473 |  | PH
2 | Plastic leaf rakes | Westward | Not Listed | Not Listed |  | PH
2 | Pointed shovels | Westward | Not Listed | Not Listed |  | PH
2 | Flat Shovels | Westward | Not Listed | Not Listed |  | PH
1 | Post Hole Digger | Fiskars | Not Listed | Not Listed |  | PH
2 | Metal Rakes | Westward | Not Listed | Not Listed |  | PH
1 | 12" poly scoop shovel | Westward | Not Listed | Not Listed |  | PH
1 | Drum Cart Green | HARPER | Not Listed | Not Listed |  | PH
1 | Air Compressor AC-2 20 gallon | Ingersoll Rand | P1.5iU-A9 | P20382T10225 |  | PH
1 | Drywall Cart | Not Listed | Not Listed | Not Listed |  | PH | Left By Contractor
1 | Baker Scaffold Large | Not Listed | Not Listed | Not Listed |  | PH | Left By Contractor
1 | Baker Scaffold Small | Not Listed | Not Listed | Not Listed |  | PH | Left By Contractor
1 | Man Lift #2 Large Platform | JLG | 20MSP | 130016705 |  | PH
1 | Steam Pressure Washer | Chore Master | GPH-2500-0M1R | 15060573 |  | WH
1 | Drywall Cart Green | Not Listed | Not Listed | Not Listed |  | WH
1 | 8' Platform Ladder | Michigan Ladder | 380308 | Not Listed |  | WH | Left By Contractor
1 | Hand truck | Dayton | 3W088K | Not Listed | H00264 | WH
1 | Hand truck | Dayton | 3W088K | Not Listed | H00265 | WH
1 | Hand truck | Gemini | MAGLINER | Not Listed | H00256 | WH | Not able to locate in WH
1 | Drum Hand truck | Dayton | 6W854H | Not Listed |  | WH
1 | Hand truck | Gemini | MAGLINER | Not Listed |  | WH
1 | Hand truck | Gemini | MAGLINER | Not Listed |  | WH
1 | 32' Extension Ladder | Michigan Ladder | 386132 | Not Listed |  | WH | Left By Contractor
1 | 10' A Frame Ladder Single Side | Huskey | 01-41000-00 | Not Listed |  | WH | Left By Contractor
1 | Electric Pallet Jack | Dayton | 2LEB8 | 10081081-2/13 | H00258 | WH
3 | 10' A Frame Ladder | Louisville | FM1410HD | Not Listed |  | WH
1 | 8' Platform Ladder | Werner | P7408 | Not Listed |  | WH
1 | Manual Pallet Jack (Large) | Titan | Liftrite | Not Listed | H00260 | WH
1 | Manual Pallet Jack (Small) | Dayton | 2TUR8 | Not Listed | H00259 | WH
1 | 4' A Frame Ladder | Louisville | FK1404HD | Not Listed |  | WH
1 | Drum Dolly | Wesco | 1ABW1 | Not Listed |  | WH
1 | Cylinder Rack Forklift mount Blue | Not Listed | 4 Cylinder | Not Listed | H00261 | WH
1 | Cylinder Cart Grey | Little Giant | 8 Cylinder | Not Listed |  | WH | In DEP cage
1 | Plastic Cylinder Cart | ENPAC | 7301-BK-A | Not Listed | H00262 | WH
1 | Wet/Dry Vac | Dayton | 1VHG2 | Not Listed |  | 4th Flr
1 | 4' A Frame Ladder | Michigan Ladder | FM1404HD | Not Listed |  | 4th Flr
1 | 6' A Frame Single Side | Not Listed | Not Listed | Not Listed |  | 4th Flr | Left By Contractor
1 | 4' Platform Ladder | Not Listed | Not Listed | Not Listed |  | 3rd Flr | Left By Contractor
1 | 10" A Frame Ladder | Michigan Ladder | FM1410HD | Not Listed |  | 3rd Flr
1 | 6' A Frame | Michigan Ladder | FM1406HD | Not Listed |  | 3rd Flr
1 | 8' A Frame Single Side | Michigan Ladder | 371508 | Not Listed |  | 2nd Flr | Left By Contractor
1 | 4' Platform Ladder | Werner | P7404 | Not Listed |  | 2nd Flr
1 | 6' A Frame Ladder | Michigan Ladder | FM1406HD | Not Listed |  | 2nd Flr Admin
1 | Small Drain Snake | Rigid | 35473 | VBP29918 |  | Shop
1 | Circular Saw Battery powered | DeWalt | DC390 | Not Listed | P10536 | Shop
1 | Large grinder Electric | DeWalt | DW840 | Not Listed | P10521 | Shop
1 | Small Grinder Electric | DeWalt | D28114 | Not Listed | P10520 | Shop
1 | Sawzall | DeWalt | DC385 | Not Listed | P10535 | Shop
1 | Cordless Drill | DeWalt | DC725 | Not Listed |  | Shop
1 | Impact Gun Electric | DeWalt | DW292 | Not Listed | P10519 | Shop
1 | Cut out tool | DeWalt | DC550 | Not Listed | P10533 | Shop
1 | Cordless Drill | DeWalt | DCD950 | Not Listed |  | Shop
1 | Flash Light Rechargeable | DeWalt | DW919 | Not Listed |  | Shop
1 | Small Grinder battery powered | DeWalt | DC411 | Not Listed | P10537 | Shop
1 | Electric Drill | DeWalt | DWD210G | Not Listed | P12630 | Shop
1 | Solder Gun | Weller | D550PK | Not Listed |  | Shop
1 | Impact Gun Battery Operated | DeWalt | DW059 | Not Listed | P10530 | Shop
1 | Electric Drill | DeWalt | DWD210G | Not Listed | P10531 | Shop
1 | Jig Saw cordless | DeWalt | DC330 | Not Listed | P10532 | Shop
1 | Heat Gun | Milwaukee | 8975 | 731-896353 |  | Shop
1 | Concrete Cutoff saw | Husqvarna | K3000 | Not Listed | P12628 | Shop
1 | Band Saw Electric | Milwaukee | 6232-21 | 051AD11501097 | P12629 | Shop
1 | Sawzall Electric | Milwaukee | 6536-21 | A66D611080975 | P10517 | Shop
1 | ProPress Head Kit | Rigid | XL-Ckit | Not Listed | H00268 | Shop
1 | ProPress Tool | Rigid | RP330 | Not Listed | P10540 | Shop
1 | Small Rotary Hammer Drill | Bosch | 11224VSR | Not Listed | P10523 | Shop
1 | Large Rotary Hammer Drill | Bosch | 1125EVS | Not Listed | P10522 | Shop
1 | Circular Saw Electric | DeWalt | DW368 | 881577 | P10518 | Shop
1 | Drill Doctor | Drill Doctor | 750 | Not Listed |  | Shop
1 | Deep Impact Socket Set | Westward | 4PRG7 | Not Listed |  | Shop
2 | Hole Saw Kit | Lenox | 25477701G | Not Listed |  | Shop
1 | Engraver | Dayton | 2LKU6 | Not Listed |  | Shop
1 | Pipe Tap Set | Irwin | 1924ZR | Not Listed |  | Shop
1 | Hole Saw Kit | Morse | AVPLU01 | Not Listed |  | Shop
1 | Knockout Set | Greenlee | 735BB | Not Listed |  | Shop
1 | Step Bit Kit 2 pieces | GreenLee | 35884 | Not Listed |  | Shop
1 | Tap Kit 7 Piece | GreenLee | none | Not Listed |  | Shop
1 | Metal Fish 204Ft | GreenLee | FTS438-240 | Not Listed |  | Shop
1 | Fiberglass Fish Tape | GreenLee | FTN536-100 | Not Listed |  | Shop
1 | Acetylene solder Kit | Lenox | AA500 | Not Listed |  | Shop
1 | Conduit Bender1/2 inch | Ideal | 74-031 | Not Listed |  | Shop
1 | 18Ft fish Pole | Greenlee | FP18 | Not Listed |  | Shop
1 | Torque Wrench Large | Westward | 4DA97 | Not Listed |  | Shop
1 | Torque Wrench Small | Westward | 4DA96 | Not Listed |  | Shop
1 | Rivet Set | Emhart Tek | PS15 | Not Listed |  | Shop
1 | Retaining Ring Plier Set | Proto | 380 | Not Listed |  | Shop
1 | Retaining ring Pliers Set 6 pc | Proto | 360A | Not Listed |  | Shop
1 | 150Ft Straight Line | Irwin | Not Listed | Not Listed |  | Shop
1 | 100 Ft open Reel Fiberglass Tape | Westward | 4YP86 | Not Listed |  | Shop
1 | 3pc steel pipe wrench set 18,14, 10 | Rigid | Not Listed | Not Listed |  | Shop
1 | 3pc Alum pipe wrench set 18,14, 10 | Rigid | Not Listed | Not Listed |  | Shop
1 | Strap Wrench #5 size | Rigid | Not Listed | Not Listed |  | Shop
1 | Extractor Set | Proto | J69X00 | Not Listed |  | Shop
1 | impact Driver Set | Proto | 7099A | Not Listed |  | Shop
1 | Screwdriver Bit Set | Proto | 61929 | Not Listed |  | Shop
1 | Insulated Electrical Tool Set | Westward | Not Listed | Not Listed |  | Shop
1 | Ratchet cutter cable | Klein | 63060 | Not Listed |  | Shop
1 | Pipe Vise | Rigid | 460-6 | Not Listed |  | Shop
1 | Battery Charger | Associated Equipment | 6001A | 10266 | P12632 | Shop
1 | Bench Grinder | Dayton | 91001420 | Not Listed | P10524 | Shop
1 | Combination Grinder/Sander | Dayton | 3NYA7 | Not Listed | P10526 | Shop
1 | Appliance Dolly | Dayton | 4XKJ3A | Not Listed |  | Shop
1 | Hand truck | Gemini | MAGLINER | Not Listed |  | Shop
1 | Air Compressor | Ingersoll Rand | P11U-A9 | P20318T10070 |  | Shop
2 | Wet/Dry Vac | Dayton | 1VHG2 | Not Listed |  | Shop
1 | Hydraulic Lift | Vestil | HYD-10 | S837573 | P12633 | Shop
1 | Hydraulic Ram Kit 10 Ton | Westward | 3ZC69A | Not Listed |  | Shop
1 | Portable Tool Cart | Mobil E-Shop | Not Listed | Not Listed |  | Shop
1 | Impact Driver Cordless | DeWalt | DC825 | Not Listed | P10534 | Shop
1 | Volt Alert | Fluke | 1AC-A | Not Listed |  | Shop
1 | MultiMeter True RMS | Fluke | 117 | Not Listed | P10528 | Shop
1 | Volt Amp Meter | Fluke | T5-600 | 19711019 |  | Shop
1 | Infrared Gun | Extech | 42510A | 10010578 |  | Shop
1 | Clamp Meter | Fluke | 322 | 15440021 |  | Shop
1 | Rolling Tool Cabinet 13 Drawer | Proto | Not Listed | Not Listed | P10541 | Shop | See Pics
1 | Battery Jump Pack Charger 12v | Westward | 1YMN2A | Not Listed |  | Shop
3 | Battery Chargers | DeWalt | Not Listed | Not Listed |  | Shop
1 | Large Bolt Cutter 36" | Klein | Not Listed | Not Listed |  | Shop
1 | Battery Charger | Milwaukee | Not Listed | Not Listed |  | Shop
1 | Screw Driver Cordless | Milwaukee | 0490-20 | B13AD12081423 |  | Shop
1 | Heat Gun with Base | MasterFlow | AH-301 | Not Listed |  | Shop
1 | Bearing Puller Set (Red Case) | Proto | Not Listed | Not Listed |  | Shop
1 | Caulk Tool | Hilti | CF-DS1 | Not Listed |  | Shop
1 | Torx Set 7 Pc | Wiha | 4NB70 | Not Listed |  | Shop
3 | Nut Driver Set 11Pc | Proto | J9200DB | Not Listed |  | Shop
1 | Pry Bar Set | Westward | 4PM09 | Not Listed |  | Shop
1 | Small Bolt Cutter Set 2 pc | Westward | 1YNC1 | Not Listed |  | Shop
1 | Impact Sockets 19Pc | Westward | 4PRC5 | Not Listed |  | Shop
1 | 5pc Channel Lock Set | Channel Lock | 3UWD3 | Not Listed |  | Shop
1 | 4Lb Engineer Hammer | Stanley | Not Listed | Not Listed |  | Shop
1 | Pipe Cutter Quick Adjust | Rigid | 31642 | Not Listed |  | Shop
1 | T Handle Allen Wrench Set | Ekland | 60811 | Not Listed |  | Shop
1 | File Set 9pc | Nichloson | 22030N | Not Listed |  | Shop
1 | Electrical Tool Set Multi Piece Set | GreenLee | 0158-12 | Not Listed |  | Shop
1 | Bench Vise | Wilton |  | Not Listed | P10527 | Shop
1 | 10 lb Sledge Hammer | Nupla | Not Listed | Not Listed |  | Shop
2 | 2ft Levels | Stanley | Not Listed | Not Listed |  | Shop
1 | Small Bolt Cutter | Not Listed | Not Listed | Not Listed |  | Shop
1 | Combination Wrench Set 3/8 to 1 1/4 | Proto | Not Listed | Not Listed |  | Shop | Missing 7/16
1 | Safety Shower Test Cart | Bradley | Not Listed | Not Listed |  | Shop
1 | Johnson Bar | Not Listed | E60RT | Not Listed |  | Shop
2 | Arc Flash Suits 40 Kelvin | National Safety Apearal | Not Listed | Not Listed |  | Shop
2 | High Voltage Gloves | Salisbury | GB-112 | Not Listed |  | Shop
1 | Impact Socket Set 1/2 & 3/4 Red Case | Proto | Not Listed | Not Listed |  | Shop
1 | 3/4 Conduit Bender | Ideal | 74-032 | Not Listed |  | Shop
1 | 8' A Frame Ladder | Louisville | FM1408HD | Not Listed |  | Shop
1 | 6' A Frame Ladder | Louisville | FM1406HD | Not Listed |  | Shop
2 | 4' A Frame Ladder | Louisville | FM1404HD | Not Listed |  | Shop
1 | Box End Set 7mm to 32mm | Proto | None Listed | Not Listed |  | Shop
1 | Combination Wrench Set 7mm to 24mm | Proto | None Listed | Not Listed |  | Shop
1 | Open End Wrench Set 6mm to 26mm | Proto | None Listed | Not Listed |  | Shop
1 | Flare End Wrench Set 7mm to 17mm | Proto | None Listed | Not Listed |  | Shop
1 | 90deg head /Open End Set 9mm to 19mm | Proto | None Listed | Not Listed |  | Shop
1 | Ratcheting Closed Set 7mm to 17mm | Proto | None Listed | Not Listed |  | Shop
1 | Combination Wrench Set 5/32 to 3/8 | Proto | None Listed | Not Listed |  | Shop
1 | 90deg head /Open End Set 15/64 to 1/2 | Proto | None Listed | Not Listed |  | Shop
1 | Open End/ Socket Combo Set 3/8 to 3/4 | Proto | None Listed | Not Listed |  | Shop
1 | Box End Set 3/8 to 1 1/2 | Proto | None Listed | Not Listed |  | Shop
1 | Ratcheting Closed Set 1/4 to 7/8 | Proto | None Listed | Not Listed |  | Shop
1 | Flare End / Open Wrench Set 3/8 to 3/4 | Proto | None Listed | Not Listed |  | Shop
1 | 90deg head /Open End Set 7/16 to 1 1/4 | Proto | None Listed | Not Listed |  | Shop
1 | Open End Set 1/4 to 1 1/4 | Proto | None Listed | Not Listed |  | Shop
1 | Combination Set 5/16 to 1 1/4 | Proto | None Listed | Not Listed |  | Shop
2 | Chistle - Punch Set | Proto | None Listed | Not Listed |  | Shop
1 | Tap & Die Set | Proto | 23642 | Not Listed |  | Shop
2 | Wet/Dry Vac | Dayton | 1VHG2 | Not Listed |  | Boiler Room
1 | Chain Hoist | Westward | 1VW60 | Not Listed |  | Boiler Room
2 | 8" c clamps | Westward | Not Listed | Not Listed |  | Boiler Room
2 | 4" c clamps | Westward | Not Listed | Not Listed |  | Boiler Room
2 | 2" c clamps | Westward | Not Listed | Not Listed |  | Boiler Room
2 | 12 1/4 C Clamps | Westward | Not Listed | Not Listed |  | Boiler Room
1 | Round Fan 36" | Dayton | 1YNW5 | Not Listed |  | Boiler Room
1 | Round Fan 42" | Dayton | 1YNW6 | Not Listed |  | Boiler Room
1 | Socket Set | Westward | 4LXA6 | Not Listed |  | Boiler Room
1 | Rolling tool cabinet 13 Drawer | Westward | Not Listed | Not Listed |  | Boiler Room
1 | Socket set | Proto | NB1427LC | Not Listed |  | Boiler Room
1 | Razor Knife Kit | Westward | Not Listed | Not Listed |  | Boiler Room
1 | Socket Set | Westward | 6XZ82 | Not Listed |  | Boiler Room
1 | Multi Meter | Extech | EX505 | 11129370 |  | Boiler Room
1 | Clamp Meter | Extech | MA620 | 11129835 |  | Boiler Room
1 | Flare Kit | Westward | 3CYTZ | Not Listed |  | Boiler Room
1 | Gasket Cutter | AllPax | Not Listed | Not Listed |  | Boiler Room
1 | Hole Saw Kit | Lenox | Not Listed | Not Listed |  | Boiler Room
1 | Nut Driver Set | Proto | J9200B8 | Not Listed |  | Boiler Room
2 | Halogen Work Lights 150 watt | LumaPro | Not Listed | Not Listed |  | Boiler Room
1 | Caliper | Starett | Not Listed | Not Listed |  | Boiler Room
1 | Torque Wrench | Westward | 4DA94 | Not Listed |  | Boiler Room
1 | Drive Pin- Punch Set | Starett | S5665WB | Not Listed |  | Boiler Room
1 | Torque Wrench | Blackhawk | 38925A | 5120179353 |  | Boiler Room
1 | Letter Stamp Set | Westward | 2CDY2B | Not Listed |  | Boiler Room
1 | Hollow punch set 6 pc | Westward | 2AJK8 | Not Listed |  | Boiler Room
1 | Drill Bit set | Dewalt | Not Listed | Not Listed |  | Boiler Room
1 | Dial Indicator Set with Accessories | Starett | 2ZUK4-2ZUL3 | Not Listed |  | Boiler Room
1 | Snap Ring Set | Knipex | Not Listed | Not Listed |  | Boiler Room | Broken
1 | Punch Die Set | Precision Brand | Not Listed | Not Listed |  | Boiler Room
1 | Roll Pin Punch set 7pc | Westward | 2AJL9 | Not Listed |  | Boiler Room
1 | Allen Key Set 18 Pc | Ekland | 6VEP9 | Not Listed |  | Boiler Room
1 | Flare Nut Set 9mm to 17mm/ 3/8 to 7/8 | Westward | Not Listed | Not Listed |  | Boiler Room
1 | Box Wrench 5/16 to 1 1/8 | Proto | Not Listed | Not Listed |  | Boiler Room | Missing
1 | Combination Wrench Set 16 pc Standard | Westward | Not Listed | Not Listed |  | Boiler Room
1 | Combination Wrench Set 16 pc Metric | Westward | Not Listed | Not Listed |  | Boiler Room
1 | Ratcheting box wrench set 5pc | Westward | Not Listed | Not Listed |  | Boiler Room
2 | Pipe Stands | Rigid | Not Listed | Not Listed |  | Boiler Room
1 | Bench Grinder | Dayton | 2LKR7 | Not Listed |  | Boiler Room
1 | Punch Chistle Set | Proto | Not Listed | Not Listed |  | Boiler Room
1 | T handle allen wrench set | Ekland | Not Listed | Not Listed |  | Boiler Room
1 | File Set 9pc | Nichloson | Not Listed | Not Listed |  | Boiler Room
1 | Locking Pliers set 5pc | Westward | Not Listed | Not Listed |  | Boiler Room
1 | Bench Vise | Wilton | Not Listed | Not Listed |  | Boiler Room
1 | Grinder | Makita | GD0800C | Not Listed |  | Boiler Room
1 | Band Saw | Milwaukee | 6232-21 | Not Listed |  | Boiler Room
1 | 4 1/2 Grinder | Milwaukee | 6140-30 | Not Listed |  | Boiler Room | Missing
1 | 1/2 Drill corded | Dewalt | DWD210G | Not Listed |  | Boiler Room
1 | Welding Outfit Kit | Smith | 6FKT4 | Not Listed |  | Boiler Room
1 | Torque Wrench | Proto | 16014C | Not Listed |  | Boiler Room
1 | Electric Welder | Miller | Maxstar 150 | Not Listed |  | Boiler Room
1 | 4 Ft Level | Westward | Not Listed | Not Listed |  | Boiler Room
1 | 2 ft Level | Westward | Not Listed | Not Listed |  | Boiler Room
1 | 2" Open End wrench | Westward | Not Listed | Not Listed |  | Boiler Room
1 | 1 7/8" Open End wrench | Westward | Not Listed | Not Listed |  | Boiler Room
1 | Circuit Setter Gauge | Bell & Gossett | Not Listed | 2100278 |  | Boiler Room
1 | Pry bar Set | Proto | 3R545 | Not Listed |  | Boiler Room
1 | Pipe Threader | Rigid | Not Listed | Not Listed |  | Boiler Room | 2 heads not in case
1 | 10 lb Sledge Hammer | Nupla | Not Listed | Not Listed |  | Boiler Room
1 | Chiller tube cleaning machine | Speedclean | SCTC50 | Not Listed |  | Boiler Room
1 | 20 Gallon parts washer | Westward | Not Listed | Not Listed |  | Boiler Room
1 | Pipe Threader Electric | Rigid | 300 | ED273860710 | P10538 | Boiler Room
1 | Oiler Pan for threading machine | Rigid | Not Listed | Not Listed |  | Boiler Room
1 | Pipe Vise Tripod | Rigid | 460 | Not Listed |  | Boiler Room
1 | Drum Lift | Vestil Corp | DCR-880-M | S89905B |  | Boiler Room | Broken by pervious boiler room contractor
1 | Rolling Ladder 59" | Cotterman | Not Listed | Not Listed |  | Boiler Room
1 | Man Lift #1 Small Platform | JLG | 20MVL | 130016706 |  | Boiler Room
1 | 32Ft Extension Ladder | Not Listed | Not Listed | Not Listed |  | Boiler Room | Left By Contractor
1 | 48" Pipe Wrench | Rigid | Not Listed | Not Listed |  | Boiler Room
1 | 36" Pipe Wrench | Rigid | Not Listed | Not Listed |  | Boiler Room
1 | Drum Dolly |  | 3PU24 | Not Listed |  | Boiler Room
1 | 4' A Frame Ladder | Werner | 7404 | Not Listed |  | Boiler Room
1 | 4' Platform Ladder | Werner | P7404 | Not Listed |  | Boiler Room
1 | 6' Platform Ladder | Werner | P7406 | Not Listed |  | Boiler Room
1 | 8' Platform Ladder | Werner | P7408 | Not Listed |  | Boiler Room
1 | 8' A Frame Ladder | Louisville | FM1408HD | Not Listed |  | Boiler Room
1 | Aluminum Gantry Crane | Dayton | 2000 lbs max | Not Listed |  | Boiler Room
1 | 3/4 Ton Chain Hoist - come along | Dayton | Not Listed | Not Listed |  | Boiler Room
1 | Multi Meter | Ideal | 61-310 | 10054739 |  | Key Room
2 | Humidity Temp Meter | Extech | HD500 | N010074674 |  | Key Room
1 | GFCI Circuit Tester | Greenlee | S708 | Not Listed |  | Key Room
1 | Flexible Circuit Probe | Fluke | I2500-18 | Not Listed |  | Key Room
3 | Voltage Tickers | Fluke | 1ACII | Not Listed |  | Key Room
1 | Megger Meter | AEMC | 1026 | 27867JLCT |  | Key Room
1 | Circuit Tracer | Amprobe | T4000 | 20630047 |  | Key Room
3 | MultiMeter True RMS | Fluke | 117 | Not Listed |  | Key Room
1 | MultiMeter True RMS | Fluke | 332 | Not Listed |  | Key Room
1 | Clamp Meter | Fluke | 117 | Not Listed |  | Key Room
1 | Light Meter | SPER Scientific | 85008 | Q569225 |  | Key Room
1 | Digital Vane Hot Wire Anometer | Fipi | 575 | 1642130028 |  | Key Room
1 | Flow Control Test kit | Autoflow Inc | Not Listed | Not Listed |  | Key Room
1 | Full Function Test Kit | Square D | S33595 | 48155-330-50 |  | Key Room
1 | Backflow Preventer Test Kit | Watts | TK-9A | 2947406 |  | Key Room
1 | Miniature Vise | Panavise | Not Listed | Not Listed |  | Key Room
1 | Mini H2S Hydrogen Sulfide Indication | MSA | AltAir 4X | 160932 |  | Key Room
1 | Sub Scanner M12 Detection Kit | Milwaukee | 2290-21 | B92A911260386 |  | Key Room | John Herman ?
1 | Traceable Hydrometer/Thermometer/ Dew Point | Control Comp | 4189 | 111675587 |  | Key Room
1 | Clamp Meter | Fluke | 322 | 15380944 |  | Key Room
1 | Digital Manometer | Dwyer | 475 Mark 3 | Not Listed |  | Key Room
1 | Pipe Clamp Temp Probe | Fluke | 80PK-8 | Not Listed |  | Key Room
1 | Thermocouple Probe General Purpose | Fluke | 80PJ-9 Type K | Not Listed |  | Key Room
1 | Thermocouple Probe | Atkins | 31901 | Not Listed |  | Key Room
2 | Moisture Meter | Extech | MO210 | Not Listed |  | Key Room
1 | Moisture Seeker | General | MMD5NP | Not Listed |  | Key Room
3 | Data Logger | Supco | SL300TH | Not Listed |  | Key Room
1 | Portable Refractometer | Extech | Not Listed | Not Listed |  | Key Room
1 | Sound Level Meter | Radio Shack | 33-2055 | Not Listed |  | Key Room
1 | Key Cutting Machine | Ilco | 044HD | Not Listed | P10525 | Key Room
1 | Regulator General Purpose | Fisher Brand | 10-572-D | Not Listed |  | Key Room
1 | Thermometer (Thermocouple) | Fluke | 51/52 II | Not Listed |  | Key Room
1 | Leak Detector | Bacharach | 19-7067 | RT1336 |  | Key Room
1 | Laser Level | Bosch | 12-0311 | 81763 |  | Key Room
1 | Digital moisture meter | Sonin | 50218 | Not Listed |  | Key Room
1 | Micromanometer | Alnor | AXD530 | 10272 |  | Key Room
1 | Volt/ Ma Calibrator | Fluke | 715 | 2070101 |  | Key Room
1 | Loop Calibrator | Fluke | 707 | 2063008 |  | Key Room
1 | Relative humidity and temp probe | Amprobe | TH-1 | Not Listed |  | Key Room
1 | Laser Measuring meter | Stanley | 77-018 | Not Listed |  | Key Room
1 | Boroscope Inspection camera | Extech | BR100 | 2011031200071 |  | Key Room
1 | Digital stroboscope/tachometer | Extech | 461830 | 231714 |  | PH
1 | Pneumatic test pump | Fluke | 700PTP-1 | 2811824 |  | Key Room
1 | Infrared Camera | Extech | I5 | Not Listed |  | Key Room
1 | Portable label maker | Brady | TLS2200 | GHHMK1104105292 |  | Key Room
1 | Clamp Meter | Fluke | 322 | Not Listed |  | Key Room
1 | Caliper | Westward | 1AAU4 | Not Listed |  | Shop
1 | MultiMeter True RMS | Fluke | 117 | Not Listed |  | Key Room
3 | Tool Sets Misc 172 Pcs - Open Boxes | Stanley | JTS-0172RR | Not Listed |  | Key Room | Boxes previously opened some tools possibly removed
1 | Bag Misc hand Tools in BSL-3 in L265 Open Lab | Proto | Not Listed | Not Listed |  | L-265 BSL-3 | Misc hand tools
1 | 16ft Extension Ladder | Louisville | FE3216 | Not Listed |  | Shop
2 | Wet/Dry Vac | Dayton | 1VHG2 | Not Listed |  | H&A | John Herman
1 | Floor Fan | Dayton | 5UMP5 | Not Listed |  | H&A | John Herman
15 | Misc Hand Tools 15 pcs | Misc | Not Listed | Not Listed |  | H&A | John Herman
1 | Extension Ladder | Not Listed | Not Listed | Not Listed |  | PH
1 | Shop Press | Sunex | 5712 | Not Listed |  | Shop
1 | Sheer/ Brake, Roller | KaKa | 3-in-1/760 | KA173141 |  | Shop
1 | Drill Press | Jet | JDP-17MF | 17020383 |  | Shop
1 | Band Saw | Jet | J-8201K | 16110090 |  | Shop
1 | Drywall Cart | GypTool |  |  |  | PH | Orange Cart
1 | Key Punch Tool | Corbin | System 70 | BPX80438-IC |  | Key Room
1 | Oxy/Acetylene Small Welding Kit | Harris | Not Listed | Not Listed |  | Shop
1 | Stock Picker Lift- Warehouse | Ballymore Company | PS12DRVS | DBA190312-5 |  | WH
1 | 2 ton chain hoist on gantry |  |  |  |  | Boiler Room
1 | 28 pc Center punch set | UI Pro Tools |  |  |  | Shop
1 | 6 pc Quick change tool post for lathe | Accusize
1 | Lincoln Welding Jacket | Lincoln | XL |  |  | Shop
1 | Lincoln Welding Jacket | Lincoln | XXL |  |  | Shop
1 | Lincoln Welding Jacket | Lincoln | XXXL |  |  | Shop
1 | Welding helmet | Yeswelder |  |  |  | Shop
1 | Welding Gloves | Deko | 14 inch |  |  | Shop
1 | 3/4 Mill shank arbor adaptor |  |  |  |  | Shop
1 | Edge Finder double end | Brown & Sharp |  |  |  | Shop
1 | HSS Shell end mill 2" |  |  |  |  | Shop
1 | Dust Pand and Broom |  |  |  |  | Shop
1 | Panasonic Microwave 1000watt | Panasonic |  |  |  | Shop
1 | Tire Inflator with pressure guage | Gerchway |  |  |  | Shop
1 | Quick release magnet sweeper combo |  |  |  |  | Shop
1 | Mop bucket with side press | Carlile |  |  |  | Shop
1 | Janitorial cart | Rubbermaid |  |  |  | Shop
1 | Air chuck 1/4 inch |  |  |  |  | Shop
1 | Right angle drill adaptor | Dewalt |  |  |  | Shop
1 | 2 flute end mill 1.375" | F&D Tool |  |  |  | Shop
1 | 58 pc clamping kit | Alimaxicom |  |  |  | Shop
1 | Rotary Table Horz milling | Best Equip |  |  |  | Shop
1 | 6 inch tilt vise | Techtongda |  |  |  | Shop
1 | Vertical Milling Machine | Jet | 690182 |  |  | Shop
1 | Pair 10" vacuum Suction cup lifters | Damo |  |  |  | Shop
1 | Screwdriver Bit set 40 pcs | Dewalt |  |  |  | Shop
1 | Endoscope Camera Cable 10ft | Teslong |  |  |  | Shop
1 | Screwdriver Bit set 45 pcs | Dewalt |  |  |  | Shop
1 | Endoscope monitor 5" |  |  |  |  | Shop
1 | Cordless screwdriver Gyroscopic | Dewalt |  |  |  | Shop
1 | Magnepull wire fishing kit | Magnepull |  |  |  | Shop
1 | Drain Gun with Co2 Cartridges | RedRock |  |  |  | Shop
1 | Impact nut driver bit set 6 pcs | Nelco |  |  |  | Shop
1 | Bosch cross line laser level | Bosch |  |  |  | Shop
1 | 2 Ton Floor Jack | Arcan |  |  |  | Shop
1 | Kool mist unit | Kool Mist |  |  |  | Shop
1 | 5/32 radius End Mill | Accusize |  |  |  | Shop
1 | 2 flute Ball nose end mill 6pc | HHIP |  |  |  | Shop
1 | Corner rounding end mill set | Accusize |  |  |  | Shop
1 | Tool cleaning kit | Falco Tactical |  |  |  | Shop
1 | Square end mill 15 pcs | SGS |  |  |  | Shop
1 | Drill chuck morse taper 1/32 to 5/8 | Z live center |  |  |  | Shop
1 | Center set morse taper | MT3 |  |  |  | Shop
1 | 20pc Has tin coated end mill set | Accusize |  |  |  | Shop
1 | Center drill countersink set 5pc | Anytime |  |  |  | Shop
1 | Edge Finder .200in dia | Mitutoyo |  |  |  | Shop
1 | 3/16 to 3/4 Drill chuck | Z live center |  |  |  | Shop
1 | Aluminum Cutting inserts/tool | Gaobajja |  |  |  | Shop
1 | 7 pc carbide turning tool set | Accusize |  |  |  | Shop
1 | Mill vise 6 x 5 1/2 |  |  |  |  | Shop
1 | 114 pc tap and die set | Gearwrench |  |  |  | Shop
1 | 4 pc 90 deg indexiable end mill set | Accusize |  |  |  | Shop
1 | 13 pc collett set 1/8 to 7/8 mill chuck | SZBRT |  |  |  | Shop
1 | Steel parallel set 9 pair 1/4 thick | M&H global |  |  |  | Shop
1 | End mills 6 1/8 - 6 1/4 | Accusize |  |  |  | Shop
1 | 10pc carbide inserts tin coated | Accusize |  |  |  | Shop
1 | 4"Tilting rotary table 65mm chuck | Global Tools |  |  |  | Shop
1 | Ultrasonic leak detector |  | PCE-LDC 10 |  |  | Shop
1 | Lift Table |  | 1800U |  |  | Shop
1 | Metal Cutting Band Saw 9" X 16" | Grizzly | G0811 |  |  | Shop
1 | Blast Cabinet | Grizzly | G0707 |  |  | Shop
1 | Metal Lathe | Jet | GHB-1340A |  |  | Shop
1 | Drywall Cart | Metaltech | 3000lb |  |  | Shop
2 | 172pc tool set | Dewalt |  |  |  | Shop
1 | Wind Indicator/Smok Detector | Cirrus |  |  |  | Shop
1 | Metric and SAE hex keys | Stanley |  |  |  | Shop
3 | 2 3/4 wobble socket adaptors 3pc | Titan |  |  |  | Shop
1 | File & Rasp set 5pc | YUFUTOL |  |  |  | Shop
1 | Step bit set 5pc | Tacklife |  |  |  | Shop
1 | T handle allen wrench 8pc set | Eklind |  |  |  | Shop
1 | Adjustable wrench set 4pc | Irwin |  |  |  | Shop
1 | 5pc magnetic impact nutsetter |  |  |  |  | Shop
1 | T handle tap Rachet wrench | Grizzly |  |  |  | Shop
2 | 6 in 1 nut drivers | Klein |  |  |  | Shop
2 | 15 in 1 tamperproof drivers | Megapro |  |  |  | Shop
1 | Ratchet handbend kit | Yellowjacket |  |  |  | Shop
1 | Precision screwdriver set 6pc | Steelman |  |  |  | Shop
4 | 4 in 1 precision electronics screwdriver | Klein |  |  |  | Shop
4 | Bearing Haulers- Moving dollies | Hudson |  |  |  | Shop
2 | Appliance Sliders |  |  |  |  | Shop
12 | Moving Blankets | Sure Max |  |  |  | Shop
2 | 12x18 moving dollies | WEN |  |  |  | Shop
4 | 15" carpeted moving dolies | Milwaukee |  |  |  | Shop
2 | Stub 2-1 screwdrivers | BWT |  |  |  | Shop
2 | Precision pick and hook sets | Tekton |  |  |  | Shop
2 | Wire strippers | Irwin |  |  |  | Shop
4 | 11-1 screwdrivers | Klein |  |  |  | Shop
2 | Razor Knifes | Stanley |  |  |  | Shop
1 | 12 ton bottle jack | Torin |  |  |  | Shop
1 | Safety shower cart 5 gallon | Bradley |  |  |  | Shop
1 | Safety shower tester | Bradley |  |  |  | Shop
1 | Vehicle Jump tarter | NOCO Boost Plus | GB150 |  |  | Shop
1 | Portable CO2 Pipe Freezing Equipment | Qwik-Freezer | QF840 |  |  | Shop
1 | Oselating cutting tool | Fein | AFSC18Q | 2020-01005159 |  | Shop
1 | Tool Cart with a 4” Wilton vice, with 4 new 8” rubber casters. |  |  |  |  | Shop | Refrigeration Tools
1 | Low Temperature soldering torch kit. |  |  |  |  | Shop | Refrigeration Tools
1 | High Temperature brazing torch kit. |  |  |  |  | Shop | Refrigeration Tools
2 | High Temp. Tips 5 & 8. |  |  |  |  | Shop | Refrigeration Tools
2 | Low Pressure “shortie” gauges. |  |  |  |  | Shop | Refrigeration Tools
3 | High Pressure “shortie” gauges. |  |  |  |  | Shop | Refrigeration Tools
1 | Oil pressure “shortie” gauge. |  |  |  |  | Shop | Refrigeration Tools
1 | CPS Vacuum gauge kit. | CPS |  |  |  | Shop | Refrigeration Tools
1 | Appion full port access tool. | Appion |  |  |  | Shop | Refrigeration Tools
1 | Richie access port tool. | Richie |  |  |  | Shop | Refrigeration Tools
1 | Sporlan Solenoid service Magnet. | Sporlan |  |  |  | Shop | Refrigeration Tools
1 | Emerson Solenoid valve service Spanner / Magnet. | Emerson |  |  |  | Shop | Refrigeration Tools
1 | Sporlan Test all acid Kit. | Sporlan |  |  |  | Shop | Refrigeration Tools
1 | Fluke IR temperature meter with aux. “T” couple port Kit # 561. | Fluke |  |  |  | Shop | Refrigeration Tools
1 | Spectronics Oil dye leak detection kit # OLK-40OBE/ZE | Spectronics | OLK-400BE/ZE |  |  | Shop | Refrigeration Tools
1 | Yellow Jacket Infuser 8oz. | YellowJacket |  |  |  | Shop | Refrigeration Tools
1 | 3’ shortie utility / charging hose set (3 hoses red, yellow, blue). |  |  |  |  | Shop | Refrigeration Tools
1 | Utility shortie utility / charging hose (3 yellow). |  |  |  |  | Shop | Refrigeration Tools
1 | Utility shortie utility / charging HD hose with valves (Black). |  |  |  |  | Shop | Refrigeration Tools
1 | 12’ X ¼ HD charging hose (Black). |  |  |  |  | Shop | Refrigeration Tools
3 | 5’ X 3/8 HD Vacuum hose (Black). |  |  |  |  | Shop | Refrigeration Tools
1 | Drain Dawg Kit with accessory kit. |  |  |  |  | Shop | Refrigeration Tools
4 | 5’ X 3/8 & ¼ with valve HD vacuum hose (Black). |  |  |  |  | Shop | Refrigeration Tools
1 | CPS # MT69 Serial # 043171 Refrigerant Molecular Transformator. | CPS | MT69 | 43171 |  | Shop | Refrigeration Tools
1 | D-Tec-3 Electronic Leak Detector kit. | D-Tec |  |  |  | Shop | Refrigeration Tools
1 | Robbin Aire refrigerant scale | Robbin Aire |  |  |  | Shop | Refrigeration Tools
1 | Appion G5 Twin recovery machine S # J20GDO041 | Appion |  | J20GDO041 |  | Shop | Refrigeration Tools
1 | JB PLATINUM Vacuum pump 10 CFM S# DV 285 N | JB |  | DV285N |  | Shop | Refrigeration Tools
1 | JB Zeppelin 4 valve refrigeration gauge manifold set. | JB |  |  |  | Shop | Refrigeration Tools
1 | JB Revolver 4 valve refrigeration gauge manifold set. | JB |  |  |  | Shop | Refrigeration Tools
1 | RMQ Refrigerant oil charging station. |  |  |  |  | Shop | Refrigeration Tools
2 | Yellow Jacket oil pump kits. | Yellow Jacket |  |  |  | Shop | Refrigeration Tools
1 | Robbin Aire 3CFM vacuum pump. | Robbin Aire |  |  |  | Shop | Refrigeration Tools
1 | Robbin Aire refrigerant reclaimer. | Robbin Aire |  |  |  | Shop | Refrigeration Tools
1 | Yellow Jacket Vacuum pump manifold. | Yellow Jacket |  |  |  | Shop | Refrigeration Tools
1 | Nitrogen HVAC/R regulator and tank. |  |  |  |  | Shop | Refrigeration Tools
1 | Lenox AA800 Quick connect turbo brazing tip. | Lenox | AA800 |  |  | Shop | Refrigeration Tools
1 | Lenox AA500 Quick connect turbo brazing tip. | Lenox | AA500 |  |  | Shop | Refrigeration Tools
1 | NRP AA1000 Quick connect turbo brazing tip. | NRP | AA1000 |  |  | Shop | Refrigeration Tools
1 | NRP AA300 Quick connect turbo brazing tip. | NRP | AA300 |  |  | Shop | Refrigeration Tools
1 | Rigid Cup style deburring tool. | Rigid |  |  |  | Shop | Refrigeration Tools
1 | Rigid flint ignitor. | Rigid |  |  |  | Shop | Refrigeration Tools
3 | Inspection mirrors, 2 large 1 small magnifying |  |  |  |  | Shop | Refrigeration Tools
1 | Lenox Baby NIP 1/8 to 5/8 tubing cutter. | Lenox |  |  |  | Shop | Refrigeration Tools
1 | Lenox Small ¼ to 1 1/8 tubing cutter. | Lenox |  |  |  | Shop | Refrigeration Tools
1 | Imperial TC 1000 Stop Press roller / tubing cutter ¼ to 1 ½. | Imperial | TC1000 |  |  | Shop | Refrigeration Tools
1 | Yellow Jacket TXV adjuster tool/ spanner service tool. | Yellow Jacket |  |  |  | Shop | Refrigeration Tools
1 | Yellow Jacket service valve wrench (large). | Yellow Jacket |  |  |  | Shop | Refrigeration Tools
1 | Yellow Jacket service valve wrench (small offset) | Yellow Jacket |  |  |  | Shop | Refrigeration Tools