## North Region
Revised Central Region State-Supplied Price Sheet Bid Solicitation #23DPP00816 T0640 Fence: Chain Link, Wooden, Vinyl, and Ornamental (Install & Replace)
Bidder Name:
Date:
Instructions | Refer to Bid Solicitation Section 3.19 for Bidder instructions. The Bidder must provide Unit Pricing in the highlighted cells below. The rest will calculate automatically. The Bidder MUST submit pricing for all price lines in a Category to be considered for an award for that Category. The Bidder MUST submit pricing for Category IV - Preventative Maintenance to be considered for an award for the North Region. Preventative Maintenance shall apply to Categories I to III. The Bidder cannot bid solely on Category IV. *Estimated annual quantities are based on an estmated annual number of projects. Estimated annual quantities are estimates only.
Line No | Commodity-Service Description | Estimated Annual Quantity* | Unit | Unit Price Year 1 | Unit Price Year 2 | Unit Price Year 3 | Estimated Total for Three (3) Year Term
CENTRAL REGION
CATEGORY I - STANDARD CHAIN-LINK FENCING
188 | LANE CLOSURES AND SAFETY-RELATED SET UP FOR BOTH SIDES OF BARRIER FENCE | 2030 | HOUR |  |  |  | 0
189 | ADDITIONAL LANE CLOSURE WHEN ADDITIONAL SAFETY BEYOND BOTH SIDES OF BARRIER FENCE IS REQUIRED MINIMUM OF 4 HOURS. REFER TO BID SOLICITATION SECTION 4.17.2, ROADWAY LANE CLOSURE. | 16 | HOUR |  |  |  | 0
190 | NON-NJDOC EMERGENCY SERVICE REQUESTS FOR CATEGORY I - PER SITE |  | EACH
TYPE I - ALUMINUM-COATED AND VINYL-COATED CHAIN LINK FENCE AND INSTALLATION
191 | FENCE, CHAIN LINK, COMPLETE, INSTALL, 4' OR 5' HIGH, ALUMINUM COATED PROJECTS LESS THAN 500 LN. FT. | 386 | LN. FT. |  |  |  | 0
192 | FENCE, CHAIN, LINK, COMPLETE, INSTALL, 4' OR 5' HIGH HIGH ALUMINUM COATED PROJECTS 500 LN. FT. AND OVER | 19 | LN. FT. |  |  |  | 0
193 | FENCE, CHAIN, LINK, COMPLETE, INSTALL, 6', 7', OR 8' HIGH ALUMINUM COATED PROJECTS LESS THAN 500 LN. FT. | 374 | LN. FT. |  |  |  | 0
194 | FENCE, CHAIN, LINK, COMPLETE, INSTALL, 6', 7', OR 8' HIGH ALUMINUM COATED PROJECTS 500 LN. FT. AND OVER | 206 | LN. FT. |  |  |  | 0
195 | FENCE, CHAIN, LINK, COMPLETE, INSTALL, 4' OR 5' HIGH VINYL COATED PROJECTS LESS THAN 500 LN. FT. | 62 | LN. FT. |  |  |  | 0
196 | FENCE, CHAIN, LINK, COMPLETE, INSTALL, 4' OR 5' HIGH VINYL COATED PROJECTS 500 LN. FT. AND OVER | 39 | LN. FT. |  |  |  | 0
197 | FENCE, CHAIN, LINK, COMPLETE, INSTALL, 6', 7', OR 8' HIGH VINYL COATED PROJECTS LESS THAN 500 LN. FT. | 125 | LN. FT. |  |  |  | 0
198 | FENCE, CHAIN, LINK, COMPLETE, INSTALL, 6', 7', OR 8' HIGH VINYL COATED PROJECTS 500 LN. FT. AND OVER | 36 | LN. FT. |  |  |  | 0
199 | INSTALLATION OF TOP RAIL FOR 4' OR 5' HIGH ALUMINUM OR VINYL COATED FOR PROJECTS OF ALL LENGTHS (PAID IN ADDITION TO PRICE LINES #191, 192, 195, AND 196) | 231 | LN. FT. |  |  |  | 0
200 | INSTALLATION OF TOP RAIL FOR 6', 7', OR 8' HIGH ALUMINUM OR VINYL COATED FOR PROJECTS OF ALL LENGTHS (PAID IN ADDITION TO PRICE LINES #193, 194, 197, AND 198) | 231 | LN. FT. |  |  |  | 0
201 | FENCE, CHAIN LINK, INSTALL, REPLACE, 4' OR 5' HIGH FABRIC ONLY, ALUMINUM COATED PROJECTS LESS THAN 500 LN. FT. | 12 | LN. FT. |  |  |  | 0
202 | FENCE, CHAIN LINK, INSTALL, REPLACE, 4' OR 5' HIGH FABRIC ONLY, ALUMINUM COATED PROJECTS 500 LN. FT. AND OVER | 6 | LN. FT. |  |  |  | 0
203 | FENCE, CHAIN LINK, INSTALL, REPLACE, 6', 7' OR 8' HIGH FABRIC ONLY, ALUMINUM COATED PROJECTS LESS THAN 500 LN. FT. | 222 | LN. FT. |  |  |  | 0
204 | FENCE, CHAIN LINK, INSTALL, REPLACE, 6', 7', OR 8' HIGH FABRIC ONLY, ALUMINUM COATED PROJECTS 500 LN. FT. AND OVER | 34 | LN. FT. |  |  |  | 0
205 | FENCE, CHAIN, LINK, INSTALL, REPLACE, 4' OR 5' HIGH FABRIC ONLY, VINYL COATED PROJECTS LESS THAN 500 LN. FT.. | 19 | LN. FT. |  |  |  | 0
206 | FENCE, CHAIN, LINK, INSTALL, REPLACE, 4' OR 5' HIGH FABRIC ONLY, VINYL COATED PROJECTS 500 LN. FT. AND OVER | 9 | LN. FT. |  |  |  | 0
207 | FENCE, CHAIN, LINK, INSTALL, REPLACE, 6', 7' OR 8' HIGH FABRIC ONLY, VINYL COATED PROJECTS LESS THAN 500 LN. FT. | 136 | LN. FT. |  |  |  | 0
208 | FENCE, CHAIN, LINK, INSTALL, REPLACE, 6', 7' OR 8' HIGH FABRIC ONLY, VINYL COATED PROJECTS 500 LN. FT. AND OVER | 29 | LN. FT. |  |  |  | 0
209 | FENCE, CHAIN LINK, INSTALL, COMPLETE ALUMINUM COATED 10'-20' HIGH BACKSTOPS STRAIGHT STYLE ONLY (NO ANGLED TOPS) PROJECTS 500 LN. FT. AND OVER | 111 | SQ FT |  |  |  | 0
210 | FENCE REMOVAL EXISTING AND ALL COMPONENTS PROJECTS OF ALL LENGTHS, LN. FT. | 35 | LN. FT. |  |  |  | 0
211 | FENCE, CHAIN LINK RESET EXISTING (ALL HEIGHTS FROM 4' TO 8') PROJECTS LESS THAN 500 LN. FT. | 256 | LN. FT. |  |  |  | 0
212 | FENCE, CHAIN LINK RESET EXISTING (ALL HEIGHTS FROM 4' TO 8') PROJECTS 500 LN. FT. AND OVER | 13 | LN. FT. |  |  |  | 0
213 | FENCE LINE POST, 2 5/8", INSTALL ALL HEIGHTS 4' TO 8' HIGH GALVANIZED NEW | 78 | EACH |  |  |  | 0
214 | FENCE LINE POST, INSTALL ALL HEIGHTS 4' TO 8' HIGH VINYL COATED NEW | 78 | EACH |  |  |  | 0
215 | FENCE CORNER POST, INSTALL ALL HEIGHTS 4' TO 8' HIGH GALVANIZED NEW | 18 | EACH |  |  |  | 0
216 | FENCE CORNER POST, INSTALL ALL HEIGHTS 4' TO 8' HIGH VINYL COATED NEW | 28 | EACH |  |  |  | 0
217 | FENCE GATE POST, NEW INSTALL ALL HEIGHTS FROM 4' TO 8' HIGH GALVANIZED NEW | 44 | EACH |  |  |  | 0
218 | FENCE GATE POST, NEW INSTALL ALL HEIGHTS FROM 4' TO 8' HIGH VINYL COATED NEW | 44 | EACH |  |  |  | 0
219 | GATE ALUMINUM COATED, INSTALL 3' WIDE X 4' TO 5' HIGH | 44 | EACH |  |  |  | 0
220 | GATE VINYL COATED, INSTALL 3' WIDE X 4' TO 5' HIGH | 28 | EACH |  |  |  | 0
221 | GATE ALUMINUM COATED, INSTALL 3' WIDE X 5'1" TO 8' HIGH | 28 | EACH |  |  |  | 0
222 | GATE VINYL COATED, INSTALL 3' WIDE X 5'1" TO 8' HIGH | 33 | EACH |  |  |  | 0
223 | GATE ALUMINUM COATED, INSTALL 10' TO 11' WIDE X 4' TO 5' HIGH | 8 | EACH |  |  |  | 0
224 | GATE VINYL COATED, INSTALL 10' TO 11' WIDE X 4' TO 5' HIGH | 11 | EACH |  |  |  | 0
225 | GATE ALUMINUM COATED, INSTALL 10' TO 11' WIDE X 5'1" TO 8' HIGH | 32 | EACH |  |  |  | 0
226 | GATE VINYL COATED, INSTALL 10' TO 11' WIDE X 5'1" TO 8' HIGH | 5 | EACH |  |  |  | 0
227 | GATE ALUMINUM COATED, INSTALL 12' TO 14' WIDE X 4' TO 5' HIGH | 11 | EACH |  |  |  | 0
228 | GATE VINYL COATED, INSTALL 12' TO 14' WIDE X 4' TO 5' HIGH | 2 | EACH |  |  |  | 0
229 | GATE ALUMINUM COATED, INSTALL 12' TO 14' WIDE X 5'1" TO 8' HIGH | 5 | EACH |  |  |  | 0
230 | GATE VINYL COATED, INSTALL 12' TO 14' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
231 | GATE ALUMINUM COATED, INSTALL 15' TO 16' WIDE X 4' TO 5' HIGH | 5 | EACH |  |  |  | 0
232 | GATE VINYL COATED, INSTALL 15' TO 16' WIDE X 4' TO 5' HIGH | 1 | EACH |  |  |  | 0
233 | GATE ALUMINUM COATED, INSTALL 15' TO 16' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
234 | GATE VINYL COATED, INSTALL 15' TO 16' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
235 | GATE ALUMINUM COATED, INSTALL 17' TO 18' WIDE X 4' TO 5' HIGH | 1 | EACH |  |  |  | 0
236 | GATE VINYL COATED, INSTALL 17' TO 18' WIDE X 4' TO 5' HIGH | 1 | EACH |  |  |  | 0
237 | GATE ALUMNIUM COATED, INSTALL 17' TO 18' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
238 | GATE VINYL COATED, INSTALL 17' TO 18' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
239 | GATE ALUMINUM COATED, INSTALL 19' TO 20' WIDE X 4' TO 5' HIGH | 1 | EACH |  |  |  | 0
240 | GATE VINYL COATED, INSTALL 19' TO 20' WIDE X 4' TO 5' HIGH | 1 | EACH |  |  |  | 0
241 | GATE ALUMINUM COATED, INSTALL 19' TO 20' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
242 | GATE VINYL COATED, INSTALL 19' TO 20’ WIDE X 5' 1” TO 8’HIGH | 1 | EACH |  |  |  | 0
243 | GATE ALUMINUM COATED, INSTALL 21' TO 22' WIDE 4' TO 5' HIGH | 1 | EACH |  |  |  | 0
244 | GATE VINYL COATED, INSTALL 21' TO 22' WIDE X 4' TO 5' HIGH | 1 | EACH |  |  |  | 0
245 | GATE ALUMINUM COATED, INSTALL 21' TO 22' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
246 | GATE VINYL COATED, INSTALL 21' TO 22' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
247 | GATE ALUMINUM COATED, INSTALL 23' TO 24' WIDE X 4' TO 5' HIGH | 1 | EACH |  |  |  | 0
248 | GATE VINYL COATED, INSTALL 23' TO 24' WIDE X 4' TO 5' HIGH | 1 | EACH |  |  |  | 0
249 | GATE ALUMINUM COATED, INSTALL 23' TO 24' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
250 | GATE VINYL COATED, INSTALL 23' TO 24' WIDE X 5'1" TO 8' HIGH | 1 | EACH |  |  |  | 0
251 | GATE ALUMINUM COATED, SLIDING, INSTALL ALL OTHER SIZES (PER SQ. FT.) | 256 | SQ FT |  |  |  | 0
252 | GATE, VINYL COATED, SLIDING, INSTALL ALL OTHER SUZES (PER SQ. FT.) | 256 | SQ FT |  |  |  | 0
253 | GATE, ALUMINIUM COATED, SWING, INSTALL ALL OTHER SIZES (PER SQ. FT.) | 194 | SQ FT |  |  |  | 0
254 | GATE, VINYL COATED, SWING, INSTALL ALL OTHER SIZES (PER SQ. FT.) | 194 | SQ FT |  |  |  | 0
255 | DRIVE ANCHORS PROJECTS OF ALL LENGTHS LN. FT. INCLUDING DELIVERY | 1 | EACH |  |  |  | 0
256 | WIRE, BARBED, INSTALL PROJECTS LESS THAN 500 LN. FT. | 304 | LN. FT. |  |  |  | 0
257 | WIRE, BARBED, INSTALL PROJECTS 500 LN. FT. AND OVER | 304 | LN. FT. |  |  |  | 0
258 | WIRE, BARBED, REMOVAL PROJECTS LESS THAN 500 LN. FT. | 304 | LN. FT. |  |  |  | 0
259 | WIRE, BARBED, REMOVAL PROJECTS 500 LN. FT. AND OVER | 304 | LN. FT. |  |  |  | 0
260 | DRILLING THROUGH SOLID ROCK PER EACH HOLE (SUBJECT TO THE VERIFICATION AND APPROVAL OF THE SITE ENGINEER) | 89 | EACH |  |  |  | 0
261 | SURE-LOC FABRIC FASTENER | 176 | EACH |  |  |  | 0
262 | TOP RAIL FOR 4’, 5’, 6', 7’, OR 8’ HIGH ALUMINUM OR VINYL COATED NEW, WITH DELIVERY OF A MINIMUM OF 100 LN. FT. NO INSTALLATION. | 238 | LN. FT. |  |  |  | 0
263 | FENCE, CHAIN LINK, 4', 5’, 6’, 7’, AND 8’ HIGH, FABRIC ONLY, ALUMINUM OR VINYL COATED NEW, WITH DELIVERY OF A MINIMUM OF 500 LN. FT. NO INSTALLATION. | 200 | LN. FT. |  |  |  | 0
264 | FENCE LINE POST, 2 5/8", ALL HEIGHTS 4' TO 8’ HIGH, GALVANIZED NEW, WITH DELIVERY. NO INSTALLATION. | 7 | EACH |  |  |  | 0
265 | FENCE LINE POST ALL HEIGHTS 4' TO 8’ HIGH, VINYL COATED NEW, WITH DELIVERY. NO INSTALLATION. | 5 | EACH |  |  |  | 0
266 | FENCE CORNER POST, ALL HEIGHTS 4' TO 8’ HIGH, GALVANIZED NEW, WITH DELIVERY. NO INSTALLATION. | 1 | EACH |  |  |  | 0
267 | FENCE CORNER POST, ALL HEIGHTS 4' TO 8’ HIGH, VINYL NEW, WITH DELIVERY. NO INSTALLATION. | 1 | EACH |  |  |  | 0
268 | FENCE GATE POST, ALL HEIGHTS FROM 4' TO 8’ HIGH, VINYL COATED NEW, WITH DELIVERY. NO INSTALLATION. | 4 | EACH |  |  |  | 0
269 | FENCE GATE POST, ALL HEIGHTS FROM 4' TO 8’ HIGH, GALVANIZED NEW, WITH DELIVERY. NO INSTALLATION. | 4 | EACH |  |  |  | 0
TYPE II - SPECIALTY FENCING AND INSTALLATION
270 | PRIVACY SLATS PERCENTAGE (%) MARKUP SHALL NOT EXCEED 8% |  | PCNT |  |  |  | 0
271 | FENCE, CHAIN LINK, ALUMINUM BRIDGE TYPE (WITH CURVED TOP), INSTALL, COMPLETE AS PER SECTION 4.7 AND 4.7.1.1 OF THE BID SOLICITATION INDICATE SERVICE REGIONS (CATEGORY II) | 3 | LN. FT. |  |  |  | 0
272 | FENCE, CHAIN LINK, ALUMINUM, INSTALL BRIDGE TYPE (6'3" HIGH), COMPLETE AS PER SECTION 4.7.1.1 OF THE BID SOLICITATION | 3 | LN. FT. |  |  |  | 0
273 | HORIZONTAL BAR ON BRIDGE CURVED TOP FENCE, INSTALLATION | 16 | LN. FT. |  |  |  | 0
274 | FENCE, CHAIN LINK, ALUMINUM, INSTALL, BRIDGE TYPE (CAGING), COMPLETE AS PER SECTION 4.7 AND 4.7.1.1 OF THE BID SOLICITATION | 190 | SQ FT |  |  |  | 0
275 | BRIDGE RAIL, REMOVAL AS PER SECTION 4.7.1.1 OF THE BID SOLICITATION SPECIFICATIONS (PER LINEAR FOOT) | 22 | LN. FT. |  |  |  | 0
276 | BRIDGE FENCE, REMOVAL AS PER SECTION 4.7.1.1 OF THE BID SOLICITATION SPECIFICATIONS (PER LINEAR FOOT) | 16 | LN. FT. |  |  |  | 0
277 | MEDIAN BARRIER CHAIN LINK FENCE, ALUMINUM COATED, 3' OR 4' HIGH, 1" MESH, 2.5" DIAMETER ROUND POSTS. INSTALL COMPLETE AS PER SECTIONS 4.5.2, 4.5.4, 4.7, AND 4.7.1.1 OF THE BID SOLICITATION (PER LINEAR FOOT) | 17 | LN. FT. |  |  |  | 0
278 | MEDIAN BARRIER CHAIN LINK FENCE, PVC COATED, 3' OR 4' HIGH, 1" MESH, 2.5" DIAMETER ROUND POSTS, INSTALL COMPLETE AS PER SECTIONS 4.5.4, 4.7, AND 4.7.1.1 OF THE BID SOLICIATION (PER LINEAR FOOT) | 10 | LN. FT. |  |  |  | 0
279 | MEDIAN BARRIER CHAIN LINK FENCE, ALUMINUM COATED, 3' OR 4' HIGH, 2" MESH, 2.5" DIAMETER ROUND POSTS, INSTALL COMPLETE AS PER SECTIONS 4.5.2, 4.5.4, 4.7, AND 4.7.1.1 OF THE BID SOLICITATION (PER LINEAR FOOT) | 58 | LN. FT. |  |  |  | 0
280 | MEDIAN BARRIER CHAIN LINK FENCE, PVC COATED, 3' OR 4' HIGH, 2" MESH, 2.5" DIAMETER ROUND POSTS, INSTALL COMPLETE WITH SAFETY AS PER SECTIONS 4.5.4, 4.7, AND 4.7.1.1 OF THE BID SOLICITATION (PER LINEAR FOOT) | 17 | LN. FT. |  |  |  | 0
281 | MEDIAN BARRIER CHAIN LINK FENCE, ALUMINUM COATED, 3' OR 4' HIGH, 1" MESH, 2 INCH SQUARE POSTS, INSTALL COMPLETE AS PER SECTIONS 4.5.2, 4.5.4, 4.7, AND 4.7.1.1 OF THE BID SOLICITATION (PER LINEAR FOOT) | 11 | LN. FT. |  |  |  | 0
282 | MEDIAN BARRIER CHAIN LINK FENCE, PVC COATED, 3' OR 4' HIGH, 1" MESH, 2 INCH SQUARE POSTS, INSTALL COMPLETE AS PER SECTIONS 4.5.4, 4.7, AND 4.7.1.1 OF THE BID SOLICITATION (PER LINEAR FOOR) | 11 | LN. FT. |  |  |  | 0
283 | MEDIAN BARRIER CHAIN LINK FENCE, ALUMINUM COATED, 3' OR 4' HIGH, 2" MESH, 2 INCH SQUARE POSTS, INSTALL COMPLETE WITH SAFETY AS PER SECTIONS 4.5.2, 4.5.4, 4.7, AND 4.7.1.1 OF THE BID SOlICITATION (PER LINEAR FOOT) | 5 | LN. FT. |  |  |  | 0
284 | MEDIAN BARRIER CHAIN LINK FENCE, PVC COATED, 3' OR 4' HIGH, 2" MESH, 2 INCH SQUARE POSTS, INSTALL COMPLETE AS PER SECTIONS 4.5.4, 4.7, AND 4.7.1.1 BID SOLICITATION (PER LINEAR FOOT) | 1 | LN. FT. |  |  |  | 0
285 | MEDIAN BARRIER CHAIN LINK FENCE, ALUMINUM COATED, 6' HIGH, 1" MESH AS PER BID SOLICITATION (PER LINEAR FOOT) AS PER ATTACHMENT 2 - EXHBIIT 2. | 5 | LN. FT. |  |  |  | 0
286 | MEDIAN BARRIER CHAIN LINK FENCE END ASSEMBLY WITH BREAKAWAY POSTS ON APPROACH AND TRAILING ENDS. ALUMINUM COATED, 6' HIGH, 10' FENCE POST SPACING, AND INSTALL COMPLETE AS PER SECTIONS 4.5.4 AND 4.7.1.1 OF THE BID SOLICITATION AND ATTACHMENT 2 - EXHIBIT 2. | 7 | EACH |  |  |  | 0
287 | MEDIAN BARRIER CHAIN LINK FENCE END ASSEMBLY WITH BREAKAWAY POSTS FOR APPORACH AND TRAILING ENDS. VINYL COATED 6' HIGH, 10' FENCE POST SPACING, AND INSTALL COMPLETE AS PER SECTIONS 4.5.4 AND 4.7.1.1 OF THE BID SOLICITATION AND ATTACHMENT 2 - EXHIBIT 2. | 5 | EACH |  |  |  | 0
288 | INTERMEDIATE MEDIAN BARRIER BREAKAWAY FENCE POSTS, SINGLE POST OF THE END TREATMENT DETAIL WITH TOP CABLE GUIDE. TO BE USED AS AN INTERIM RUN ANCHORAGE OR WHERE RUN OF FENCE CHANGES DIRECTION. | 11 | EACH |  |  |  | 0
289 | NON-VEGETATIVE POLYESTER SURFACE MATTING. INCLUDES ALL ANCHOR PINS, FENCE POST TEMPLATES, ADHESIVE, AND DELIVERY. NO INSTALLATION. | 11 | SQ YD |  |  |  | 0
290 | NON-VEGETATIVE ASPHALT SURFACE 4” THICK AS PER SECTION 4.5.5 OF THE BID SOLICITATION | 13 | SQ YD |  |  |  | 0
291 | BRIDGE TYPE CAGING ALUMINUM, CHAIN LINK FENCE 4' - 6' HIGH PER SECTION 4.7.1.1 OF THE BID SOLICITATION (PER LINEAR FOOT) | 3 | LN. FT. |  |  |  | 0
292 | CHAIN LINK FENCE ALUMINUM COATED, 3' OR 4’ HIGH, 1'' MESH, WITH DELIVERY, AS PER ATTACHMENT 2 - EXHIBIT 2. NO INSTALLATION. | 7 | LN. FT. |  |  |  | 0
293 | CHAIN LINK FENCE ALUMINUM COATED, 3' OR 4’ HIGH, 2'' MESH, WITH DELIVERY, AS PER ATTACHMENT 2 - EXHIBIT 2. NO INSTALLATION. | 7 | LN. FT. |  |  |  | 0
294 | ROUND POST NEW, 2.5'' DIAMETER, WITH DELIVERY, AS PER ATTACHMENT 2 - EXHIBIT 2. NO INSTALLATION. | 1 | EACH |  |  |  | 0
295 | SQUARE POST NEW, 2 INCH, WITH DELIVERY, AS PER ATTACHMENT 2 - EXHIBIT 2. NO INSTALLATION. | 1 | EACH |  |  |  | 0
296 | CHAIN LINK FENCE PVC COATED, 3' OR 4’ HIGH, 1" MESH, WITH DELIVERY, AS PER ATTACHMENT 2 - EXHIBIT 2. NO INSTALLATION. | 7 | LN. FT. |  |  |  | 0
297 | CHAIN LINK FENCE PVC COATED, 3' OR 4’ HIGH, 2" MESH, WITH DELIVERY, AS PER ATTACHMENT 2 - EXHIBIT 2. NO INSTALLATION. | 7 | LN. FT. |  |  |  | 0
TOTAL CATEGORY I COST = | [6 empty] | 0
CATEGORY II - ADDITIONAL FENCING
298 | LANE CLOSURES AND SAFETY-RELATED SET UP FOR BOTH SIDES OF BARRIER FENCE | 80 | HOUR |  |  |  | 0
299 | ADDITIONAL LANE CLOSURE WHEN ADDITIONAL SAFETY BEYOND BOTH SIDES OF BARRIER FENCE IS REQUIRED MINIMUM OF 4 HOURS. REFER TO BID SOLICITATION SECTION 4.17.2, ROADWAY LANE CLOSURE. | 16 | HOUR |  |  |  | 0
300 | NON-NJDOC EMERGENCY SERVICE REQUESTS FOR CATEGORY II - PER SITE |  | EACH
TYPE I - ORNAMENTAL METAL FENCE
301 | FENCE: ORNAMENTAL (METAL) INSTALL, NEW WROUGHT IRON, ALUMINUM, AND STEEL FENCES, OF ALL STYLES AND ALL COLORS. PROJECTS OF 150 LINEAR FEET OR LESS PERCENTAGE (%) MARKUP % MARKUP ON PARTS COST - NOT TO EXCEED 8% |  | PCNT |  |  |  | 0
302 | FENCE: ORNAMENTAL (METAL) INSTALL, NEW WROUGHT IRON, ALUMINUM, STEEL FENCE, OF ALL STYLES AND ALL COLORS. PROJECTS OF MORE THAN 150 LINEAR FEET PERCENTAGE (%) MARKUP % MARKUP ON PARTS COST - NOT TO EXCEED 8% |  | PCNT |  |  |  | 0
303 | HOURLY WAGE RATE FOR INSTALLATION OF NEW ORNAMENTAL (METAL) WROUGHT IRON, ALUMINUM, STEEL FENCES, OF ALL STYLES AND ALL COLORS | 19 | HOUR |  |  |  | 0
TYPE II - VINYL FENCE INCLUDING PLASTIC SNOW AND PVC TYPE
304 | FENCE: VINYL/PVC, INSTALL, NEW VINYL PICKET, PRIVACY, RAILINGS, AND SNOW FENCES, OF ALL STYLES AND ALL COLORS. PROJECTS OF 150 LINEAR FEET OR LESS. PERCENTAGE (%) MARKUP % MARKUP ON PARTS COST - NOT TO EXCEED 8% |  | PCNT |  |  |  | 0
305 | FENCE: VINYL/PVC, INSTALL, NEW VINYL PICKET, PRIVACY, RAILINGS, AND SNOW FENCES, OF ALL STYLES AND ALL COLORS. PROJECTS MORE THAN 150 LINEAR FEET PERCENTAGE (%) MARKUP % MARKUP ON PARTS COST - NOT TO EXCEED 8% |  | PCNT |  |  |  | 0
306 | HOURLY WAGE RATE FOR INSTALLATION OF NEW VINYL PICKET, PRIVACY, RAILINGS, SNOW FENCE, OF ALL STYLES AND ALL COLORS | 37 | HOUR |  |  |  | 0
TYPE III - WOODEN FENCE
307 | FENCE: WOODEN, INSTALL, NEW POST & RAIL, STOCKADE, PICKET FENCE ALL STYLES AND ALL COLORS PROJECTS OF 150 LINEAR FEET OR LESS. PERCENTAGE (%) MARKUP % MARKUP ON PARTS COST - NOT TO EXCEED 8% |  | PCNT |  |  |  | 0
308 | FENCE: WOODEN, INSTALL, NEW POST & RAIL, STOCKADE, AND PICKET FENCES, OF ALL STYLES AND ALL COLORS. PROJECTS OF MORE THAN 150 LINEAR FT. PERCENTAGE (%) MARKUP % MARKUP ON PARTS COST - NOT TO EXCEED 8% |  | PCNT |  |  |  | 0
309 | HOURLY WAGE RATE TO INSTALL NEW WOODEN FENCE POST & RAIL, STOCKADE, PICKET FENCE, ALL STYLES | 40 | HOUR |  |  |  | 0
TYPE IV - MOTORIZED AUTOMATIC FENCE GATES
310 | HOURLY WAGE RATE FOR INSTALLATION OF MOTORIZED AUTOMATIC FENCE GATES | 24 | HOUR |  |  |  | 0
311 | MOTORIZED AUTOMATIC FENCE GATES INSTALLATION PARTS PERCENTAGE (%) MARKUP % MARKUP ON PARTS COST - NOT TO EXCEED 8% |  | PCNT |  |  |  | 0
312 | HOURLY WAGE RATE FOR MOTORIZED AUTOMATIC FENCE GATES REPAIR | 24 | HOUR |  |  |  | 0
313 | MOTORIZED AUTOMATIC FENCE GATES REPLACEMENT PARTS PERCENTAGE (%) MARKUP % MARKUP ON PARTS COST - NOT TO EXCEED 8% |  | PCNT |  |  |  | 0
TYPE V - STEEL BARRICADE
314 | STEEL BARRICADE, WITH DELIVERY, NO INSTALLATION. MINIMUM OF 10 | 3 | EACH |  |  |  | 0
TOTAL CATEGORY II COST = | [6 empty] | 0
CATEGORY III - EMERGENCY REPAIRS TO SECURITY FENCING
TYPE I - STANDARD FABRIC
315 | FENCE, CHAIN LINK, INSTALL, FABRIC, 8' HIGH STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 5 | LN. FT. |  |  |  | 0
316 | FENCE, CHAIN LINK, INSTALL, FABRIC, 8'HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 5 | LN. FT. |  |  |  | 0
317 | FENCE, CHAIN LINK, INSTALL, FABRIC, 10' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 7 | LN. FT. |  |  |  | 0
318 | FENCE, CHAIN LINK, INSTALL, FABRIC, 10' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 4 | LN. FT. |  |  |  | 0
319 | FENCE, CHAIN LINK, INSTALL, FABRIC, 12' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
320 | FENCE, CHAIN LINK, INSTALL, FABRIC, 12' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
321 | FENCE, CHAIN LINK, INSTALL, FABRIC, 14' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
322 | FENCE, CHAIN LINK, INSTALL, FABRIC, 14' HIGH WITH 24’ BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THEN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
323 | FENCE, CHAIN LINK, INSTALL, FABRIC, 16' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 16 | LN. FT. |  |  |  | 0
324 | FENCE, CHAIN LINK, INSTALL, FABRIC, 16' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 2" MESH - 9GA WIRE WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
TYPE II - ANTI-CLIMB SECURITY FENCING FABRIC
325 | FENCE, CHAIN LINK, INSTALL, FABRIC, 8' HIGH REPAIR OR REPLACE STEEL WELDED WIRE 3/8" MESH 11GA WIRE ANTI-CLIMB WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
326 | FENCE, CHAIN LINK, INSTALL, FABRIC, 8'HIGH REPAIR OR REPLACE STEEL WELDED WIRE 3/8" MESH 11GA WIRE ANTI-CLIMB WITH VINYL POLYMER COATING ASTM F668 BLACK OR GREEN TO MATCH EXISTING FENCE. PROJECTS LESS THAN 500 LN. FT. | 4 | LN. FT. |  |  |  | 0
327 | FENCE, CHAIN LINK, INSTALL, FABRIC, 8'HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8' MESH - 11GA WIRE ANTI-CLIMB WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
328 | FENCE, CHAIN LINK, INSTALL, FABRIC, 8' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8' MESH - 11GA WIRE ANTI-CLIMB WITH VINYL POLYMER COATING ASTM F668 BLACK OR GREEN, TO MATCH EXISTING FENCE. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
329 | FENCE, CHAIN LINK, INSTALL, FABRIC, 10' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043 PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
330 | FENCE, CHAIN LINK, INSTALL, FABRIC, 10' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH VINYL POLYMER COATING ASTM F668 BLACK OR GREEN TO MATCH EXISTING FENCE. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
331 | FENCE, CHAIN LINK, INSTALL, FABRIC, 10' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
332 | FENCE, CHAIN LINK, INSTALL, FABRIC, 10' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH VINYL POLYMER COATING ASTM F668 BLACK OR GREEN TO MATCH EXISTING FENCE. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
333 | FENCE, CHAIN LINK, INSTALL, FABRIC, 12' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 4 | LN. FT. |  |  |  | 0
334 | FENCE, CHAIN LINK, INSTALL, FABRIC, 12' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH VINYL POLYMER COATING ASTM F668 BLACK OR GREEN TO MATCH EXISTING FENCE. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
335 | FENCE, CHAIN LINK, INSTALL, FABRIC, 12' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
336 | FENCE, CHAIN LINK, INSTALL, FABRIC, 12' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH VINYL POLYMER COATING ASTM F668 BLACK OR GREEN TO MATCH EXISTING FENCE. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
337 | FENCE, CHAIN LINK, INSTALL, FABRIC, 14' HIGH REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THEN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
338 | FENCE, CHAIN LINK, INSTALL, FABRIC, 14' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8”MESH-11GA ANTI-CLIMB BLACK OR GREEN TO MATCH EXISTING FENCE PROJECTS. LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
339 | FENCE, CHAIN LINK, INSTALL, FABRIC, 14' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
340 | FENCE, CHAIN LINK, INSTALL, FABRIC, 14' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB VINYL WITH POLYMER COATING ASTM F668 BLACK OR GREEN TO MATCH EXISTING FENCE. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
341 | FENCE, CHAIN LINK, INSTALL, FABRIC, 16' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
342 | FENCE, CHAIN LINK, INSTALL, FABRIC, 16' HIGH. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH VINYL POLYMER COATING ASTM F668 BLACK OR GREEN TO MATCH EXISTING FENCE. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
343 | FENCE, CHAIN LINK, INSTALL, FABRIC, 16'HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH 1.2 OZ. ZINC COATING /SQ FT. ASTM F1043. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
344 | FENCE, CHAIN LINK, INSTALL, FABRIC, 16' HIGH WITH 24" BURIED FABRIC. REPAIR OR REPLACE STANDARD STEEL WELDED WIRE 3/8" MESH - 11GA WIRE ANTI-CLIMB WITH VINYL POLYMER COATING ASTM F668 BLACK OR GREEN TO MATCH EXISTING FENCE. PROJECTS LESS THAN 500 LN. FT. | 3 | LN. FT. |  |  |  | 0
TYPE III - FRAMING
345 | LINE POST PIPE, 2 1/2" X 8' HIGH GALVANIZED INSTALL / REPLACE 2.375" OD DIAMETER TYPE II, ASTM F669 50,000# MINIMUM YIELD STRENGTH TYPE B GALVANIZED COATING ASTM 1234 .9 OZ ZINC PER SQ. FT. IN/OUT | 4 | LN. FT. |  |  |  | 0
346 | GATE POST PIPE, 4" X 8' HIGH GALVANIZED INSTALL / REPLACE 4" OD DIAMETER, TYPE II, ASTM F669 50,000# MINIMUM YIELD STRENGTH TYPE B GALVANIZED COATING ASTM 1234 .9 OZ / SQ. FT. IN/OUT | 3 | LN. FT. |  |  |  | 0
347 | LINE POST PIPE, 2 1/2" X 10' HIGH GALVANIZED INSTALL / REPLACE 2.375" OD DIAMETER, ASTM F669 50,000# MINIMUM YIELD STRENGTH TYPE B GALVANIZED COATING ASTM 1234 .9 OZ. ZINC / SQ. FT | 3 | LN. FT. |  |  |  | 0
348 | GATE POST PIPE, 4" X 10' HIGH GALVANIZED INSTALL / REPLACE 4" OD DIAMETER, TYPE II, ASTM F669 50,000# MIN YIELD STRENGTH TYPE B GALVANIZED COATING ASTM 1234 .9 OZ / SQ. FT. IN/OUT | 3 | LN. FT. |  |  |  | 0
349 | LINE POST PIPE, 2 1/2" X 12' HIGH GALVANIZED INSTALL / REPLACE 2.375" OD DIAMETER TYPE II, ASTM F669 50,000# MINIMUM YIELD TYPE B GALVANIZED COATING ASTM 1234 .9 OZ ZINC PER SQ. FT. IN/OUT | 3 | LN. FT. |  |  |  | 0
350 | GATE POST PIPE, 4" X 12' HIGH GALVANIZED INSTALL / REPLACE 4" OD DIAMETER, TYPE II, ASTM F669 50,000# MINIMUM YIELD STRENGTH TYPE B GALVANIZED COATING ASTM 1234 .9 OZ / SQ. FT. IN/OUT | 3 | LN. FT. |  |  |  | 0
351 | LINE POST PIPE, 2 1/2" X 14' HIGH GALVANIZED INSTALL / REPLACE 2.375" OD DIAMETER TYPE II, ASTM F669 50,000# MINIMUM YIELD STRENGTH TYPE B GALVANIZED COATING ASTM 1234 .9 OZ ZINC PER SQ. FT. IN/OUT | 3 | LN. FT. |  |  |  | 0
352 | GATE POST PIPE, 4" X 14' HIGH GALVANIZED INSTALL / REPLACE 4" OD DIAMETER, TYPE II, ASTM F669 50,000# MINIMUM YIELD STRENGTH TYPE B GALVANIZED COATING ASTM 1234 .9 OZ / SQ. FT. IN/OUT | 3 | LN. FT. |  |  |  | 0
353 | LINE POST PIPE, 2 1/2" X 16' HIGH GALVANIZED INSTALL / REPLACE 2.375" OD DIAMETER TYPE II, ASTM F669 50,000# MINIMUM YIELD STRENGTH TYPE B GALVANIZED COATING ASTM 1234 .9 OZ ZINC PER SQ. FT. IN/OUT | 3 | LN. FT. |  |  |  | 0
354 | GATE POST PIPE, 4" X 16' HIGH GALVANIZED INSTALL / REPLACE 4" OD DIAMETER, TYPE II, ASTM F669 50,000# MINIMUM YIELD STRENGTH TYPE B GALVANIZED COATING ASTM 1234 .9 OZ / SQ. FT. IN/OUT | 4 | LN. FT. |  |  |  | 0
TYPE IV - FITTING AND ACCESSORIES
355 | POST CAP FOR POST 2 1/2" POST ASTM F626 STEEL HOT DIP GALVANIZED 1.2 OZ. ZINC PER SQ. FT. PER ASTM A90 | 1 | EACH |  |  |  | 0
356 | POST CAP FOR POST 4" OD ASTM F626 STEEL HOT DIP GALVANIZED 1.2 OZ. ZINC PER SQ. FT. PER ASTM A90 | 2529 | EACH |  |  |  | 0
357 | LINE POST TOP FOR 2 1/2" POST WITH POST LOOP | 3 | EACH |  |  |  | 0
358 | RAIL END FOR 1 1/2 TOP RAIL | 1 | EACH |  |  |  | 0
359 | RAIL END BAND FOR 2 1/2" POST | 1 | EACH |  |  |  | 0
360 | TENSION BAND FOR 2 1/2" POST | 1 | EACH |  |  |  | 0
361 | CHAIN LINK FENCE TIES (STEEL HOT-DIPPED GALVANIZED STEEL) NO ALUMINUM TIES ACCEPTABLE | 47 | EACH |  |  |  | 0
362 | BOTTOM TENSION WIRE (STEEL) | 3 | EACH |  |  |  | 0
363 | TENSION WIRE CLIPS | 1 | EACH |  |  |  | 0
364 | TENSION BAR X 8' REPAIR / REPLACE | 1 | EACH |  |  |  | 0
365 | TENSION BAR X 10' REPAIR / REPLACE | 1 | EACH |  |  |  | 0
366 | TENSION BAR X 12' REPAIR / REPLACE | 1 | EACH |  |  |  | 0
367 | TENSION BAR X 14' REPAIR / REPLACE | 1 | EACH |  |  |  | 0
368 | TENSION BAR X 16' REPAIR / REPLACE | 1 | EACH |  |  |  | 0
369 | BOTTOM TENSION WIRE (STEEL) NEW, WITH DELIVERY OF A MINIMUM 200 LN. FT. NO INSTALLATION. | 70 | LN. FT. |  |  |  | 0
TYPE V - BARBED TAPE
370 | BARBED TAPE SUPPORT ARMS FOR 2 1/2" POST V TYPE WITH 2 ARMS AT 45 DEGREE ANGLES ASTM F626 MUST WITHSTAND 250 LBS PULL TYPE B GALV COATING ASTM 1234 REPAIR / REPLACE | 1 | EACH |  |  |  | 0
371 | BARBED TAPE - DOUBLE MAZE CONCERTINA 24" DIAMETER INNER COIL / 30" DIA OUTER COIL REPAIR / REPLACE CONTINUOUS HELICAL COILS ASTM F1379 ANSI 430 STAINLESS; 40-45 ROCKWELL .025" THICK X 1" WIDE W/ 4 NEEDLE SHARP BARBS MINIMUM 1.25" LONG IN CLUSTERS OF 4" CENTERS | 11 | LN. FT. |  |  |  | 0
372 | BARBED TAPE - SINGLE MAZE CONCERTINA 24" DIAMETER REPAIR / REPLACE CONTINUOUS HELICAL COILS ASTM F1379 ANSI 430 STAINLESS; 40-45 ROCKWELL .025" THICK X 1" WIDE W/ 4 NEEDLE SHARP BARBS MINIMUM 1.25" LONG IN CLUSTERS OF 4" CENTERS CORE WIRE .098 DIAMETER, HIGH TENSILE, ZINC COATED OR SS PER ASTM A478 | 304 | LN. FT. |  |  |  | 0
TOTAL CATEGORY III COST = | [6 empty] | 0
CATEGORY IV - PREVENTATIVE MAINTENANCE
373 | PREVENTIVE MAINTENANCE SERVICES REFER TO SECTION 4.10.1, PREVENTATIVE MAINTENANCE, OF THE BID SOLICITATION |  | HOUR |  |  |  | 0
374 | PREVENTIVE MAINTENANCE REPLACEMENT PARTS PERCENTAGE (%) MARKUP % MARKUP ON PARTS COST - NOT TO EXCEED 8% |  | PCNT |  |  |  | 0
* The State makes no guarantee of work volume.