SOF CONSTRUCT SIMULATOR FACILITY MC-130J

Pennsylvania Air National Guard

Harrisburg Air National Guard Base, Middletown, Pennsylvania

Project No. SHYQ149104

ADDENDUM #2

#### REVISIONS TO SPECIFICATIONS

  - Section 23 09 23 – DIRECT DIGITAL CONTROL SYSTEM FOR HVAC

    - MODIFY Article 2.01 to read as follows

2.01 MANUFACTURERS

A.  Building Automation System controls shall be an extension of the existing site controls by Automated Logic Corp, WebCTRL.

B.  No Substitution.

#### REVISIONS TO DRAWINGS

None