## Sheet1
REVISED Price Schedule Bid Solicitation 20DPP00481 T2700 NJDEP Remediation System Operations and Maintenance Services
Vendor {Bidder} Name:
Refer to Bid Solicitation Section 4.4.5 for Vendor {Bidder} instructions. The Vendor {Bidder} shall provide pricing in the yellow highlighted cells.
Line # | Description - Plans and Reporting (Fixed Price - Bid Solicitation Sections 3.4, 3.4.1, 3.10.8, and 3.10.9) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
1 | Programmatic Health and Safety Plan (HASP) - Once per Blanket P.O. Term | Each | 2500 | N/A | N/A | N/A | N/A
2 | E-Z HASP - One for Each Specific Site Engagement | Each | 500 | 500 | 500 | 500 | 500
3 | E-Z HASP - Annual Update | Each | 150 | 150 | 150 | 150 | 150
4 | Master Quality Assurance Program Plan (QAPP), Once Per Blanket P.O. Term | Each | 2500 | N/A | N/A | N/A | N/A
5 | Site Specific QAPP - One for each Specific Site Engagement | Each | 500 | 500 | 500 | 500 | 500
Line # | Description - Labor Rates (Bid Solicitation Section 3.10.1) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
(All Inclusive Hourly Rates)
6 | Supervisor | Hour
7 | Hydrogeologist | Hour
8 | Environmental Science Specialist | Hour
9 | New Jersey Licensed Professional Engineer (PE) | Hour
10 | Health and Safety Officer | Hour
11 | Systems Technician | Hour
12 | Licensed Site Remediation Professional (LSRP) | Hour
13 | N-1 Licensed Operator | Hour
14 | N-2 Licensed Operator | Hour
15 | N-3 Licensed Operator | Hour
16 | N-4 Licensed Operator | Hour
REVISED Price Schedule Bid Solicitation 20DPP00481 T2700 NJDEP Remediation System Operations and Maintenance Services
Vendor {Bidder} Name:
Line # | Description - Labor Rates (Bid Solicitation Section 3.10.1) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
(All Inclusive Hourly Rates)
17 | New Jersey Licensed Pump Installer | Hour
18 | New Jersey Licensed Plumber | Hour
19 | New Jersey Licensed Electrician | Hour
20 | Engineering Assistant | Hour
21 | Labor -Maintenance | Hour
22 | Environmental Sampling Technician | Hour
23 | Administrative Assitant - Clerical, Special Projects Only | Hour
24 | Geographic Information System/Mapping Technician | Hour
25 | Heavy Equipment Operator | Hour
Line # | Description - Equipment & Materials (Bid Solicitation Section 3.13.2.3) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
26 | Backhoe, Case 580M or equivalent, Digging depth 13 ft. min. | Day
27 | Skid Steer Loader, Bobcat 773 w/ 66" Front Utility Bucket | Day
28 | Forklift 2,000-4000 Pound Lift Capacity | Day
29 | Rough Terrain Forklift, 2,000 - 4,000 Pound Lift Capacity | Day
30 | Dump Truck, 8-10 yd | Day
31 | Dump Truck, 12-18 yd | Day
32 | Vac Truck, 1,000 to 5,000 gal | Day
33 | Vac Truck, 5,001 to 7,000 gal | Day
34 | Tank Truck, 5,001 to 7,000 gal | Day
35 | Boom truck, 10,000 lbs. min. lifting capacity | Day
36 | Rack Truck / Stake Body, 1 ton min., hydraulic lift gate | Day
37 | Vac-n-Dig System 3, Vacuum Excavation/Material Handling System | Day
38 | Total Fluids Recovery, Internal Combustion Engine, 140 scfm @ 20" Mercury min.** | Day
REVISED Price Schedule Bid Solicitation 20DPP00481 T2700 NJDEP Remediation System Operations and Maintenance Services
Vendor {Bidder} Name:
Line # | Description - Equipment & Materials (Bid Solicitation Section 3.13.2.3) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
39 | Total Fluids Recovery, Internal Combustion Engine, 140 scfm @ 20" Mercury min.** | Month
40 | Analyze Immediate Field Instrumentation | Day
41 | Volatile Organic Chemical (VOC) Photoionization Dector (PID) | Day
42 | Volatile Organic Chemical (VOC) PID Monitor - Low Range Calibration Gas | Each
43 | Landfill Gas Monitor Analyzer | Day
44 | PID/FID Flame Ionization Detector | Day
45 | Multi-gas Meter | Day
46 | Carbon recharge 90 lb, Including Residential POETS | LBS
47 | Carbon recharge, 1 to 500 | LBS
48 | Carbon recharge, 501 to 1500 | LBS
49 | Carbon recharge, 1501 to 2500 | LBS
50 | Carbon recharge, 2501 to 4,999 | LBS
51 | Carbon recharge, 5000 lbs and Larger Vapor Phase Units | LBS
52 | Spent Carbon Disposal, Non-Hazardous | LBS
53 | Bag Filter, 2" Flanged Inlet and Outlet | Each
54 | Extra Bag Filter, 2" Flanged Inlet and Outlet, 10 or 25 micron | Each
55 | Pressure Washer or Steam Cleaner (>1,000 PSI) | Day
56 | Bottle Water Supply Service, Weekly Delivery, Three (3) Five (5) Gallon Bottles. | Each
57 | Bottle Water Supply Service, Bi-weekly Delivery, Three (3) Five (5) Gallon Bottles. | Each
58 | Bottle Water Supply Service, Monthly Delivery, Three (3) Five (5) Gallon Bottles. | Each
59 | Sorbent Booms, Oil-Selective - 5" Dia x 10' L, 4 Per Bale | Each
60 | Five (5) Cubic Yard Dumpster, Non-hazardous, Including Disposal | Month
REVISED Price Schedule Bid Solicitation 20DPP00481 T2700 NJDEP Remediation System Operations and Maintenance Services
Vendor {Bidder} Name:
Line # | Description - Equipment & Materials (Bid Solicitation Section 3.13.2.3) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
61 | Ten (10) Cubic Yard Roll-off, Non-hazardous, Including Disposal | Month
62 | 20 Cubic Yard Roll-Off, Non-hazardous, Including Disposal | Month
63 | Boomlift, Diesel or Electric Powered Self Propelled, 45' lift, 6 to 8 foot platform | Day
64 | Vacuum Gauge, Fluke 922 Airflow Meter/Kit, or Approved Equal | Day
Line # | Description - Analytical Services (Bid Solicitation Section 3.10.5 and 3.13.3.2) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
65 | Heterotrophic Plate Count, Method(s): SM 9215B or SM 9215C or SM9215D | Each
66 | Fecal Coliform, Method(s): EPA pages 132 or 124 or SM 9221C&E or SM 9222D | Each
67 | Alkalinity as CaCO3+A630, Method(s): EPA 310.2 or SM 2320B | Each
68 | Ammonia, Method(s): SM 4500-NH3-B+C(18th ed), or SM4500-NH3-B+C (20th ed.), or SM 4500-NH3-B+D( 20th ed), or SM 4500-NH3-B+G (20th ed) | Each
69 | BOD, Method(s): SM 5210B | Each
70 | Bromide, Method(s): EPA 300.0 or EPA 320.1 | Each
71 | Carbonaceous BOD, Method: SM 5210B | Each
72 | COD, Method(s): EPA 410.3 or EPA 410.4 or SM 5220C or SM 5220D | Each
73 | Chloride, Method(s): EPA 300.0 or EPA 325.2, or SM 4500-Cl-B or C or E | Each
74 | Cyanide, Method(s): EPA 335.4 | Each
75 | Fluoride, Methods(s) EPA 300.0 or EPA 340.1 or EPA 340.2 or EPA 340.3 or SM4500,F B,C or SM4500-F B,D or SM4500-F,B,E | Each
76 | Hardness: SM 2340C | Each
77 | Nitrogen, Total, Kjeldhal, Method(s): EPA 351.2 or SM 4500-N org B or C | Each
78 | Nitrate-Nitrite, Method(s): EPA 353.2 or SM 4500-NO3-E or SM 4500-NO3-F or SM 4500-NO3-H | Each
79 | Orthophosphate, Method(s): EPA 300.0 or EPA 365.3 | Each
REVISED Price Schedule Bid Solicitation 20DPP00481 T2700 NJDEP Remediation System Operations and Maintenance Services
Vendor {Bidder} Name:
Line # | Description - Analytical Services (Bid Solicitation Section 3.10.5 and 3.13.3.2) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
80 | Phenols, Total, Methods(s) EPA 420.1 or EPA 420.1+.2 or 420.4 | Each
81 | Phosphorus (Total), Method(s): EPA 365.1or EPA 365.3 or EPA 365.4 or SM 4500-P B5+E or SM 4500-P B5+F | Each
82 | Residue - Total, Method(s): SM 2540B | Each
83 | Residue - Filterable (TDS), Method(s): SM 2540C | Each
84 | Residue - Nonfilterable (TSS), Method(s): SM 2540D | Each
85 | Residue - Settleable, Method(s): SM 2540F | Each
86 | Residue - Volatile, Method: EPA 160.4 | Each
87 | Specific Conductance, Method(s) EPA 120.1 or SM 2510B | Each
88 | Sulfate, Method(s): EPA 300.0 or EPA 375.2 or SM 4500-SO4D | Each
89 | Sulfide, Method(s): SM 4500-S-D or SM 4500-S-E or F | Each
90 | Surfactants, Method(s): SM 5540C or SM 5540D | Each
91 | TOC, Method(s): SM 5310B or SM5310C or SM5310D | Each
92 | ICP-OES Trace Metals/Total ICP-MS, Methods 6010D/6020B for GW and Permit requirements. Both methods required for all engagements | Each
93 | Any Individual ICP Metals, Method: 6010D | Each
94 | Any Individual ICP-MS Metals, Method: 6020B | Each
95 | Mercury, Total, Method(s) 7470A | Each
96 | Chlorine, Method(s): SM 4500-Cl F or G | Each
97 | Oxygen, Dissolved (DO), Method(s) EPA 360.1, EPA 360.2, or EPA 410.4 or SM 4500-OC or SM4500-OG | Each
98 | pH, Hydrogen Ion, Method(s) EPA 150.1, EPA 150.2 or SM 4500-HB | Each
99 | Sulfite, SO3, Method(s): SM 4500-SO3B | Each
REVISED Price Schedule Bid Solicitation 20DPP00481 T2700 NJDEP Remediation System Operations and Maintenance Services
Vendor {Bidder} Name:
Line # | Description - Analytical Services (Bid Solicitation Section 3.10.5 and 3.13.3.2) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
100 | Eh, Method: ASTM D1498-93 ORP | Each
101 | Specific Conductance, Method(s): 120.1 or SM 2510B | Each
102 | Temperature, Degrees C, Method(s): 170.1 or SM 2550B | Each
103 | Organochlorine Pesticides, Method 8081B | Each
104 | PCBs, Method: 8082/8082A | Each
105 | Volatile Organics (VOCs), Method: 8260C/D | Each
106 | Semivolatile Organics, Method: 8270D/E with SIM | Each
107 | 2,3,7,8-Tetrachlorodibenzo-p-dioxin (2,3,7,8-TCDD): Method(s): 1613B or 8290A | Each
108 | Oil and Grease, Method: 1664A HEM-LL or HEM-SPE | Each
109 | Gasoline Method: 8015D GRO | Each
110 | Kerosene: OQA-QAM-025 rev. 7 | Each
111 | Diesel Fuel/Fuel Oil #2 Method 8015D DRO | Each
112 | Air Toxics, VO in Specially Prepared Canisters, 6 liter, GS/MS, Method(s): TO-15 or NJDEP-LLTO-15 | Each
113 | Air Toxics, VO in Specially Prepared Canisters, 1 liter, GS/MS, Method(s): TO-15 or NJDEP-LLTO-15 | Each
114 | 1,4 Dioxane, Method: 522 | Each
115 | 1,2,3 Trichloropropane ,2-dibromoethane, 1,2-dibromo-3-chloropropane, Method: 504.1 | Each
116 | PFAS, Method: 537.1 | Each
Line # | Description - Survey Labor and Services (Bid Solicitation Section 3.13.3.3) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
117 | Two Person Survey Crew | Hour
118 | Field Services by Extra Survey Technician | Hour
REVISED Price Schedule Bid Solicitation 20DPP00481 T2700 NJDEP Remediation System Operations and Maintenance Services
Vendor {Bidder} Name:
Line # | Description - Survey Labor and Services (Bid Solicitation Section 3.13.3.3) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
119 | Survey Deliverables | Each
120 | GPSR Usage Rate | Day
121 | Office Time by New Jersey Licensed Land Surveyor | Hour
122 | Office Time by Survey Technician | Hour
Line # | Description - Well Services (Bid Solicitation Section 3.10.17 and 3.14) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
123 | Well Development and Rehabilitation | Hour
Line # | Description - Mark-Up (Bid Solicitation Section 3.14) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
124 | Mark-up, not to exceed 10% | Percent
Line # | Description - Turnaround Time (Bid Solicitation Section 3.10.5.16A) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
125 | Mark-up for Priority Turnaround, not to exceed 100% | Percent
Line # | Description - Additional Sampling (Bid Solcitation Section 3.10.4) | Unit of Measure | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
126 | Net Line for Additional Sampling | Net