The following modifications have been made to the Fire Extinguishers, Maintenance & Repair Services ITQ Contract 4400027046:

Paragraph in the Qualifications Section A. Experience 1. of the Contract Statement of Work is deleted in its entirety and replaced with the following:

- Experience

  - Contractors must utilize service technicians that have National Fire Protection Association (NFPA) Standard 10 Certification, ICC/NAFED, or equivalent, to provide services to the Commonwealth. Contractors must provide a copy of the certification documents for each service technician who will provide services to the Commonwealth.

This amendment is effective March 17, 2023.  Except as amended by this Contract Amendment Number #1, all other parts of the Statement of Work of the Contract shall remain as originally written.