Vendors will inspect towers using ANSI/TIA-222-H Maintenance and Condition Assessment (Checklist).

|  | Description |
| --- | --- |
| Structure Condition |  |
| A.1 | Damaged members (legs and bracing) |
| A.2 | Loose members |
| A.3 | Missing members |
| A.4 | Climbing facilities, platforms, catwalks secure |
| A.5 | Loose and/or missing bolts and/or nut locking devices |
| A.6 | Visible cracks in welded connections |
| Finish |  |
| B.1 | Paint and/or galvanizing condition |
| B.2 | Rust and/or corrosion condition of mounts |
| B.3 | FAA or ICAO color marking conditions |
| B.4 | Water collection in members |
| Lighting |  |
| C.1 | Conduit, junction boxes, and fasteners |
| C.2 | Drains and vents openings (unobstructed) |
| C.3 | Wiring Condition |
| C.4 | Light lenses |
| C.5 | Bulb condition |
| C.6.a | Controllers functioning (Flasher) |
| C.6.b | Controllers functioning (Photo control) |
| C.6.c | Controllers functioning (Alarms) |
| Grounding |  |
| D.1 | Connections |
| D.2 | Corrosion |
| D.3 | Lightning protection (secured to structure) |
| Antennas |  |
| E.1 | Antenna condition |
| E.2 | Mount and/or ice shield condition (bent, loose) |
| E.3 | Feed line condition (flanges, seals, dents, jacket damage) |
| E.4 | Hanger condition (snap-ins, bolt on, kellum grips, etc.) |
| E.5 | Secured to structure |
| Platforms |  |
| F.1 | Condition |
| F.2 | Secured to structure |
| Insulator Condition |  |
| G.1 | Cracking and chipping |
| G.2 | Cleanliness of insulators |
| G.3 | Spark gaps set properly |
| G.4 | Isolation transformer condition |
| G.5 | Bolts and connection secure |
| Guys |  |
| H.1 | Strand condition (corrosion, breaks, nicks, kinks, etc.) |
| H.2.a | Guy Hardware Conditions (Turnbuckles or equivalent (secure and safety properly applied) |
| H.2.b | Guy Hardware Conditions (Cable thimbles properly in place (if required)) |
| H.2.c | Guy Hardware Conditions (Service sleeves properly in place (if required)) |
| H.2.d.i | Guy Hardware Conditions (Cable connectors (end fittings) (Cable clamps applied properly and bolts tight) |
| H.2.d.ii | Guy Hardware Conditions (Cable connectors (end fittings) (Wire serving properly applied)) |
| H.2.d.iii | Guy Hardware Conditions (Cable connectors (end fittings) (No signs of slippage or damaged strands)) |
| H.2.d.iv | Guy Hardware Conditions (Cable connectors (Preformed wraps – properly applied, fully wrapped, and sleeve in place)) |
| H.2.d.v | Guy Hardware Conditions (Cable connectors (end fittings) (Poured sockets secure and showing no separation)) |
| H.2.d.vi | Guy Hardware Conditions (Cable connectors (Shackles, bolts, pins, and cotter pins secure and in good condition)) |
| H.3 | Guy tensions |
| H.4 | Measure guy tensions |
| H.5 | Record temperature, wind speed and wind direction |
| Concrete Foundations |  |
| I.1.a | Ground condition (Settlement, movement or earth cracks) |
| I.1.b | Ground condition (Erosion) |
| I.1.c | Ground condition (Site condition (standing water, drainage, trees)) |
| I.2.a | Anchorage condition (Nuts and/or nut locking device) |
| I.2.b | Anchorage condition (Grout condition) |
| 1.2.c | Anchorage condition (Anchorage or anchor rod condition) |
| I.3.a | Concrete condition (Cracking, spalling, or splitting) |
| I.3.b | Concrete condition (Chipped or broken concrete) |
| I.3.c | Concrete condition (Honeycombing) |
| I.3.d | Concrete condition (Low spots to collect moisture) |
| Guyed Mast Anchors |  |
| J.1 | Settlement, movement or earth cracks |
| J.2 | Backfill heaped over concrete for water shedding |
| J.3 | Anchor rod condition below earth |
| J.4 | Corrosion control measures |
| J.5 | Anchor heads clear of earth |
| Twist & Plumb |  |
| K.1 | Tower Plumb and Twist |