| No. | Questions and Answers |
| --- | --- |
| 1 | Question Please confirm whether the awarded contractor may use an independent licensed Professional Engineer only for structural review/sign-off of the inspection report, or whether the PE must be a direct employee of the bidder Answer The Professional Engineer is a service for reviewing the findings of the inspection report, and is not considered a sub-contractor. |
| 2 | Question Please confirm whether all lamp replacement materials are to be supplied by the contractor and included in the quote price. Answer The SOW states that excessive repair costs are not required during inspection, and we recognize that any tower that needs incandescent lamps replaced is an excessive repair cost. An LED lighting replacement should be recommended in the inspection report. |