| No. | Questions and Answers |
| --- | --- |
| 1 | Question Will you accept a Licensed Professional Engineer review and sealing of the reports or does the design professional need to be a structural engineer? Answer: Must be signed off by a Professional Engineer |
| 2 | Question Are you wanting complete new lighting systems at the tower sites? It’s not very clear if you’re wanting bulbs changed at the inspected sites or new systems Answer: Replacing the incandescent bulbs is an excessive repair cost. Defects in the tower lighting indicate a need to replace the incandescent lighting with more reliable and affordable LED lighting. This should be reflected in the inspection report. |
| 3 | Question Do you want the controllers to have alarm ports that they can connect to or are they wanting modems installed also? Answer Controllers should have alarm ports for monitoring purposes. Modems are not needed. |