Bid Solicitation #	19DPP00342

| For: | REVISED T2580 – Facilities Management Services Asbury Park and Freehold |
| --- | --- |

| Event | Date | Time |
| --- | --- | --- |
| Vendor’s {Bidder’s} Electronic Question Due Date (Refer to Bid Solicitation Section 1.3.1 for more information.) | 9/26/19 | 2:00 PM |
| Mandatory/Optional Pre-Quote Submission Conference (Refer to Bid Solicitation Section 1.3.5 for more information.) | N/A | N/A |
| Mandatory Site Visit (Refer to Bid Solicitation Section 1.3.4 for more information.) | 9/12/19 | 10:00 AM & 1:30 PM |
| Quote Submission Date (Refer to Bid Solicitation Section 1.3.2 for more information.) | 1/3/20 | 2:00 PM |

Dates are subject to change.  All times contained in the Bid Solicitation refer to Eastern Time. All changes will be reflected in Bid Amendments to the Bid Solicitation posted on www.njstart.gov.

| ☒ Small Business Set-Aside Category For Goods and Services: ☒ I ☒ II ☒ III For Construction: ☐ IV ☐ V ☐ VI | Status ☐ Not Applicable ☐ Entire Blanket P.O. ☐ Partial Blanket P.O. ☒ Subcontracting Only |
| --- | --- |
| ☐ Disabled Veteran-Owned Business Set-Aside |  |

| Bid Solicitation Issued By: State of New Jersey Department of the Treasury Division of Purchase and Property Trenton, New Jersey 08625-0230 | Using Agency/Agencies: State of New Jersey Division of Property Management and Construction |
| --- | --- |

Date:  12/13/19

Table of Contents

1.0	INFORMATION FOR VENDORS {BIDDERS}	8

1.1	PURPOSE AND INTENT	8

1.2	BACKGROUND	8

1.3	KEY EVENTS	9

1.3.1	ELECTRONIC QUESTION AND ANSWER PERIOD	9

1.3.2	SUBMISSION OF QUOTES	9

1.3.3	VENDOR {BIDDER} SUPPORT	10

1.3.4	MANDATORY SITE VISIT	10

1.3.5	MANDATORY/OPTIONAL PRE-QUOTE CONFERENCE	10

1.3.6	PRE-QUOTE DOCUMENT REVIEW	11

1.4	ADDITIONAL INFORMATION	11

1.4.1	BID AMENDMENTS: Revisions to this BID SOLICITATION	11

1.4.2	VENDOR {BIDDER} Responsibility	11

1.4.3	COST LIABILITY	11

1.4.4	CONTENTS OF QUOTE	11

1.4.5	ANNOUNCEMENT OF QUOTE INFORMATION	12

1.4.6	PRICE ALTERATION IN QUOTES	12

1.4.7	QUOTE ERRORS	12

1.4.8	JOINT VENTURE	13

1.4.9	RECIPROCITY FOR JURISDICTIONAL VENDOR {BIDDER} PREFERENCE	14

1.4.10	QUOTE ACCEPTANCES AND REJECTIONS	14

1.4.11	ELECTRONIC SIGNATURES	14

2.0	DEFINITIONS	15

2.1	CROSSWALK	15

2.2	GENERAL DEFINITIONS	15

2.3	BLANKET P.O. SPECIFIC DEFINITIONS/ACRONYMS	18

3.0	SCOPE OF WORK	20

3.1	GENERAL REQUIREMENTS	20

3.1.1	inspections, reports, records	20

3.1.2	disruption	20

3.1.3	vehicles	21

3.1.4	PUBLIC WORKS CONTRACTOR REGISTRATION ACT	21

3.1.5	PREVAILING WAGE	21

3.2	EXCLUSIONS	21

3.3	FACILITY OPERATION PLAN AND OPERATING REPORTS	22

3.3.1	ANNUAL Facility Operating Plan	22

3.3.2	Quality Control	22

3.3.3	Inspection of Services	23

3.3.4	Customer Satisfaction Surveys	23

3.3.5	Reports and Records	23

3.4	CONTINUITY OF OPERATIONS	24

3.5	OPERATING HOURS	25

3.6	VENDOR {CONTRACTOR} PERSONNEL	25

3.6.1	SUPERVISION	25

3.6.2	STAFFING	25

3.6.3	VENDOR {CONTRACTOR} STAFFING RESPONSIBILITIES	25

3.6.4	UNIFORMS	26

3.6.5	PHOTO IDENTIFICATION BADGES	26

3.6.6	DISMISSAL	26

3.6.7	COMMUNICIATION EQUIPMENT	26

3.6.8	REPLACEMENT OF STAFF	26

3.7	FACILITY SUPERVISOR	26

3.8	SECURITY CLEARANCES	26

3.9	SPECIAL PROJECTS	27

3.9.1	Codes, Permits & Records	27

3.9.2	Labor/Material Costs	27

3.10	TOOLS, EQUIPMENT, MATERIALS AND SUPPLIES	28

3.10.1	INVENTORY	28

3.10.2	FURNISHINGS	28

3.10.3	REPAIRS	28

3.10.4	use of chemicals	28

3.11	ADMINISTRATION AND PROJECT SUPPORT	29

3.11.1	Project Coordination and Support	29

3.11.2	FMS Programs	29

3.11.3	Technical Library	29

3.11.4	Warranty Administration	29

3.11.5	Off-Site Support	30

3.12	WORK ORDERS	30

3.12.1	Emergency Service Calls	31

3.12.2	Urgent Service Calls	31

3.12.3	Routine Service Calls	31

3.13	FACILITY MAINTENANCE	31

3.13.1	REPAIRS	31

3.14	FACILITIES SERVICE CENTER (CALL CENTER)	32

3.15	OPERATIONS	32

3.15.1	Non-Operational Equipment	32

3.16	MONTHLY MANAGEMENT FEE AND REIMBURSABLES	32

3.17	MAINTENANCE	32

3.17.1	Preventive Maintenance (PM)	33

3.17.2	Preventive Maintenance Tasks and Frequencies	33

3.17.3	Preventive Maintenance Program	33

3.17.4	Repair Maintenance	33

3.17.5	Maintenance Records	34

3.18	UTILITY MANAGEMENT	34

3.18.1	Energy Conservation Program	34

3.18.2	Utility Maintenance	34

3.19	HVAC SYSTEMS	35

3.19.1	HVAC Operations	35

3.19.2	HVAC Maintenance	35

3.19.3	Water Treatment	36

3.19.4	Indoor Air Quality	36

3.19.5	Controls Maintenance	37

3.19.6	Consumables	37

3.20	PLUMBING SYSTEMS	37

3.20.1	Water Supply & Waste	37

3.21	ELECTRICAL SYSTEMS	38

3.21.1	Electrical Switchgear	38

3.21.2	Lighting	38

3.22	ELEVATORS	39

3.22.1	Elevator Maintenance	39

3.22.2	Elevator Inspections and Tests	39

3.22.3	Emergency Communication System	39

3.22.4	Elevator Incident Reports	39

3.23	FIRE, SECURITY & SAFETY	40

3.23.1	Inspections	40

3.23.2	Fire Suppression Systems	40

3.23.3	Fire Alarm Systems	40

3.23.4	Smoke Evacuation Systems	41

3.23.5	Fire Drills	41

3.23.6	Emergency Generators	41

3.23.7	Lightning Protection System	41

3.23.8	Security Personnel	42

3.23.9	Incidents	42

3.24	ARCHITECTURAL AND STRUCTURAL	42

3.24.1	Painting	42

3.24.2	Doors	42

3.24.3	Keys and Locks	42

3.25	PEST CONTROL	43

3.25.1	Insects	43

3.25.2	Rodents	43

3.25.3	Performance	43

3.26	JANITORIAL SERVICES	44

3.26.1	Cleaning Hours	44

3.26.2	Cleaning Supplies	44

3.26.3	Daily Cleaning Tasks and Level of Cleanliness	44

3.26.4	Periodic Task Work	45

3.26.5	Inspection	45

3.27	SNOW AND ICE REMOVAL	46

3.27.1	SALTING AND USE OF CHEMICALS	46

3.27.2	USE OF SALT	46

3.27.3	REIMBURSEMENT	46

3.28	TRASH AND RECYCLING REMOVAL	46

3.28.1	Performance Requirements	46

3.28.2	Waste Containers	47

3.29	GROUNDS MAINTENANCE	47

3.29.1	Lawn Maintenance	47

3.30	RE-STRIPING	47

3.31	ASBURY PARK PARKING LOT MAINTENANCE	48

3.31.1	Parking Lot Requirements	48

3.31.2	Parking Lot Sweeping	48

3.31.3	Snow and Ice Removal	48

3.32	PARKING GARAGE MANAGEMENT – ASBURY PARK	49

3.32.1	Description of Facility	49

3.32.2	Vendor {Contractor} Requirements	49

3.32.3	Parking Fee Collection	50

3.32.4	Hours of Operation	50

3.32.5	VENDOR {Contractor} Personnel	51

3.32.6	Janitorial Duties	51

3.32.7	Exterior Housekeeping	51

3.32.8	Paved Surfaces	51

3.32.9	Re-lamping	51

3.32.10	Paint Striping	52

3.33	PAYMENT	52

4.0	QUOTE PREPARATION AND SUBMISSION	53

4.1	GENERAL	53

4.2	QUOTE DELIVERY AND IDENTIFICATION	53

4.3	NJSTART ELECTRONIC SUBMISSION VS. HARD COPY SUBMISSION INSTRUCTION	53

4.3.1	NJSTART SUBMISSION OF QUOTE	53

4.3.2	HARD COPY SUBMISSION	54

4.4	QUOTE CONTENT	55

4.4.1	FORMS, REGISTRATIONS AND CERTIFICATIONS REQUIRED WITH QUOTE	55

4.4.2	FORMS, REGISTRATIONS AND CERTIFICATIONS REQUIRED BEFORE BLANKET P.O. AWARD AND THAT SHOULD BE SUBMITTED WITH THE QUOTE	61

4.4.3	TECHNICAL QUOTE	62

4.4.4	ORGANIZATIONAL SUPPORT AND EXPERIENCE	64

4.4.5	STATE-SUPPLIED PRICE SHEET	66

4.4.6	COOPERATIVE PURCHASING PROGRAM	69

4.4.7	ORAL PRESENTATIONS	69

5.0	SPECIAL CONTRACTUAL TERMS AND CONDITIONS APPLICABLE TO THE BLANKET P.O.	70

5.1	PRECEDENCE OF SPECIAL CONTRACTUAL TERMS AND CONDITIONS	70

5.2	BLANKET P.O. TERM AND EXTENSION OPTION	70

5.3	BLANKET P.O. TRANSITION	70

5.4	CHANGE ORDER	70

5.5	VENDOR {CONTRACTOR} RESPONSIBILITIES	71

5.6	SUBSTITUTION OF STAFF	71

5.7	SUBSTITUTION OR ADDITION OF SUBCONTRACTOR(S)	71

5.8	OWNERSHIP OF MATERIAL	72

5.9	SECURITY AND CONFIDENTIALITY	73

5.9.1	DATA CONFIDENTIALITY	73

5.9.2	DATA SECURITY STANDARDS	74

5.9.3	SECURITY PLAN	74

5.10	NEWS RELEASES	75

5.11	ADVERTISING	75

5.12	LICENSES AND PERMITS	75

5.13	CLAIMS AND REMEDIES	75

5.13.1	CLAIMS	75

5.13.2	REMEDIES	75

5.13.3	REMEDIES FOR FAILURE TO COMPLY WITH MATERIAL BLANKET P.O. REQUIREMENTS	75

5.14	LIQUIDATED DAMAGES	75

5.15	RETAINAGE	75

5.16	ADDITIONAL WORK AND/OR SPECIAL PROJECTS	76

5.17	MODIFICATIONS AND CHANGES TO THE State of NJ STANDARD TERMS AND CONDITIONS (SSTC)	76

5.18	ACCESSIBILITY COMPLIANCE	76

5.19	BLANKET P.O. ACTIVITY REPORT	76

5.20	ELECTRONIC PAYMENTS	77

5.21	PROGRAM EFFICIENCY ASSESSMENT FOR STATE USING AGENCIES	77

6.0	QUOTE EVALUATION	78

6.1	RIGHT TO WAIVE	78

6.2	DIRECTOR’S RIGHT OF FINAL Quote ACCEPTANCE	78

6.3	STATE'S RIGHT TO INSPECT VENDOR (BIDDER) FACILITIES	78

6.4	Clarification of Quote / STATE'S RIGHT TO REQUEST FURTHER INFORMATION	78

6.5	QUOTE EVALUATION COMMITTEE	78

6.6	ORAL PRESENTATION	78

6.7	EVALUATION CRITERIA	79

6.7.1	TECHNICAL EVALUATION CRITERIA	79

6.7.2	VENDOR’S {BIDDER’S} STATE-SUPPLIED PRICE SHEET	79

6.7.3	QUOTE DISCREPANCIES	79

6.7.4	EVALUATION OF THE QUOTES	79

6.8	NEGOTIATION AND BEST AND FINAL OFFER (BAFO)	80

6.9	“REQUEST FOR REVISION” WITHIN NJSTART	80

6.10	POOR PERFORMANCE	80

7.0	BLANKET P.O. AWARD	82

7.1	DOCUMENTS REQUIRED BEFORE BLANKET P.O. AWARD	82

7.1.1	REQUIREMENTS OF PUBLIC LAW 2005, CHAPTER 51, N.J.S.A. 19:44A-20.13 - N.J.S.A. 19:44A-20.25 (FORMERLY EXECUTIVE ORDER NO. 134), EXECUTIVE ORDER NO. 117 (2008) AND N.J.A.C. 17:12-5 ET SEQ.	82

7.1.2	SOURCE DISCLOSURE REQUIREMENTS	83

7.1.3	AFFIRMATIVE ACTION	83

7.1.4	BUSINESS REGISTRATION	83

7.2	FINAL BLANKET P.O. AWARD	84

7.3	INSURANCE CERTIFICATES	84

7.4	PERFORMANCE SECURITY	84

8.0	BLANKET P.O. ADMINISTRATION	85

8.1	STATE CONTRACT MANAGER	85

8.1.1	STATE CONTRACT MANAGER RESPONSIBILITIES	85

8.1.2	COORDINATION WITH THE STATE CONTRACT MANAGER	85

9.0	STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS	86

1. STANDARD TERMS AND CONDITIONS APPLICABLE TO THE CONTRACT	86

1.1 contract terms CROSSWALK	86

2.	STATE LAW REQUIRING MANDATORY COMPLIANCE BY ALL CONTRACTORS	86

2.1	BUSINESS REGISTRATION	86

2.2	ANTI-DISCRIMINATION	87

2.3	PREVAILING WAGE ACT	87

2.5	MACBRIDE PRINCIPLES	87

2.6	PAY TO PLAY PROHIBITIONS	87

2.7	POLITICAL CONTRIBUTION DISCLOSURE	88

2.8	STANDARDS PROHIBITING CONFLICTS OF INTEREST	88

2.9	NOTICE TO ALL CONTRACTORS SET-OFF FOR STATE TAX NOTICE	89

2.10	COMPLIANCE - LAWS	89

2.11	COMPLIANCE - STATE LAWS	89

2.12	Warranty of no solicitation on commission or contingent fee basis	89

3.	STATE LAW REQUIRING MANDATORY COMPLIANCE BY CONTRACTORS UNDER CIRCUMSTANCES SET FORTH IN LAW OR BASED ON THE TYPE OF CONTRACT	89

3.1	COMPLIANCE - CODES	89

3.2	PUBLIC WORKS CONTRACTOR REGISTRATION ACT	90

3.3	PUBLIC WORKS CONTRACT - ADDITIONAL AFFIRMATIVE ACTION REQUIREMENTS	90

3.4	BUILDING SERVICE	91

3.5	THE WORKER AND COMMUNITY RIGHT TO KNOW ACT	91

3.6	SERVICE PERFORMANCE WITHIN U.S.	91

3.7	BUY AMERICAN	92

4.	INDEMNIFICATION AND INSURANCE	92

4.1	INDEMNIFICATION	92

4.2	INSURANCE	92

5.	TERMS GOVERNING ALL CONTRACTS	93

5.1	CONTRACTOR IS INDEPENDENT CONTRACTOR	93

5.2	CONTRACT AMOUNT	93

5.3	CONTRACT TERM AND EXTENSION OPTION	93

5.4	STATE’S OPTION TO REDUCE SCOPE OF WORK	93

5.5	CHANGE IN LAW	94

5.6	SUSPENSION OF WORK	94

5.7	TERMINATION OF CONTRACT	94

5.8	SUBCONTRACTING OR ASSIGNMENT	95

5.9	NO CONTRACTUAL RELATIONSHIP BETWEEN SUBCONTRACTORS AND STATE	95

5.10	MERGERS, ACQUISITIONS	95

5.11	PERFORMANCE GUARANTEE OF CONTRACTOR	95

5.12	DELIVERY REQUIREMENTS	96

5.13	APPLICABLE LAW AND JURISDICTION	96

5.14	CONTRACT AMENDMENT	96

5.15	MAINTENANCE OF RECORDS	96

5.16	ASSIGNMENT OF ANTITRUST CLAIM(S)	96

6	97

6.1	PRICE FLUCTUATION DURING CONTRACT	97

6.2	TAX CHARGES	97

6.3	PAYMENT TO VENDORS	97

6.4	OPTIONAL PAYMENT METHOD: P-CARD	98

6.5	NEW JERSEY PROMPT PAYMENT ACT	98

6.6	AVAILABILITY OF FUNDS	98

7.	TERMS RELATING TO ALL CONTRACTS FUNDED, IN WHOLE OR IN PART, BY FEDERAL FUNDS	98

7.1	PROCUREMENT OF RECOVERED MATERIALS	99

7.2	EQUAL EMPLOYMENT OPPORTUNITY	100

7.3	DAVIS-BACON ACT, 40 U.S.C. 3141-3148, AS AMENDED	102

7.4	CONTRACT WORK HOURS AND SAFETY STANDARDS ACT, 40 U.S.C. 3701-3708	102

7.5	RIGHTS TO INVENTIONS MADE UNDER A CONTRACT OR AGREEMENT	102

7.6	CLEAN AIR ACT, 42 U.S.C. 7401-7671Q, AND THE FEDERAL WATER POLLUTION CONTROL ACT, 33 U.S.C. 1251-1387, AS AMENDED	102

7.7	DEBARMENT AND SUSPENSION (EXECUTIVE ORDERS 12549 AND 12689)	103

7.8	BYRD ANTI-LOBBYING AMENDMENT, 31 U.S.C. 1352	103

Bid-Specific Documents/Attachments/Appendices:

- State-Supplied Price Sheet;

- Attachment 1 – Facility and Equipment Information;

- Attachment 2a – Asbury Park Location Floor Plans;

- Attachment 2b – Freehold Location Floor Plans;

- Offer & Acceptance Page;

- Subcontractor Utilization Form;

- Disclosure of Investments in Iran Form;

- Ownership Disclosure Form;

- Bid Solicitation Checklist.

# INFORMATION FOR VENDORS {BIDDERS}

NOTICE: This Bid Solicitation is part of the NJSTART Procurement Program. The Vendor {Bidder} is advised to thoroughly read all sections, as many have been revised, and follow all instructions contained in this Bid Solicitation, including the instructions on the Bid Solicitation’s Offer and Acceptance Page and read through all Quick Reference Guides (QRGs) located on the NJSTART Vendor Support Page (https://www.state.nj.us/treasury/purchase/vendor.shtml), before preparing and submitting its Quote.

## PURPOSE AND INTENT

This Bid Solicitation is issued by the Procurement Bureau, Division of Purchase and Property (Division), Department of the Treasury on behalf of the Division of Property Management and Construction (DPMC).  The purpose of this Bid Solicitation is to solicit Quotes for all aspects of the management, operation and maintenance of the Asbury Park State Office Building and Parking Garage and the Freehold State Office Building.

The intent of this Bid Solicitation is to award a Master Blanket Purchase Order (Blanket P.O.) to that responsible Vendor {Bidder} whose Quote, conforming to this Bid Solicitation is most advantageous to the State, price and other factors considered.  The State may award any and all price lines.  The State, however, reserves the right to separately procure individual requirements that are the subject of the Blanket P.O. during the Blanket P.O. term, when deemed by the Director of the Division of Purchase and Property (Director) to be in the State’s best interest.

Quotes will be evaluated in accordance with Bid Solicitation Section 6.0, Quote Evaluation.  The Division intends to award all price lines to one (1) responsive Vendor {Bidder}.

The State of NJ Standard Terms and Conditions (SSTCs) accompanying this Bid Solicitation will apply to all Blanket P.O.s made with the State of New Jersey.  These terms are in addition to the terms and conditions set forth in this Bid Solicitation and should be read in conjunction with them unless the Bid Solicitation specifically indicates otherwise.

At no time shall any project exceed the threshold amount established under N.J.S.A. 52:34-7. All projects that exceed the threshold must be achieved through open competitive bidding through DPMC. The current threshold amount is $65,000.00 and is subject to change. All public bidding threshold amounts can be located at the following website: http://www.state.nj.us/treasury/purchase/adjpubbid05.shtml.

## BACKGROUND

The Asbury Park State Office Building and Parking Garage are located at 630 Bangs Avenue, Asbury Park, NJ. The office building has three (3) stories and is approximately 44,790 square feet. Across the street from the office building is the parking garage with approximately 300 parking spaces. There is (1) one elevator in the office building and (1) one elevator in the parking garage. There is also a small parking lot (20 spaces) adjacent to the building used for employee parking.

The Freehold State Office Building is located at 100 Daniels Way, Freehold, NJ.  The two-story building was constructed in 1985 and is approximately 36,000 square feet.  There is one (1) hydraulic elevator.

This is a reprocurement of the services under Facilities Management Services Asbury Park and Freehold, presently due to expire on November 30, 2019.  Vendors {Bidders} interested in the current Blanket P.O. specifications and pricing information may review the current Blanket P.O. T2580 at www.njstart.gov by following these steps:

Go to: www.njstart.gov

Select “Contract & Bid Search”

Select “Contracts/Blankets”

Under “Contract/Blanket Description” type in T2580, Click “Find It”

The current Blanket P.O.s will appear under “Results”.

Vendors {Bidders} are cautioned that this new Bid Solicitation addresses current requirements.

## KEY EVENTS

### ELECTRONIC QUESTION AND ANSWER PERIOD

The Division will electronically accept questions and inquiries from all potential Vendors {Bidders} via the “Q&A” Tab of the Bid Solicitation in NJSTART.

- Questions should be directly tied to the Bid Solicitation and asked in consecutive order, from beginning to end, following the organization of the Bid Solicitation; and

- Each question should begin by referencing the Bid Solicitation page number and section number to which it relates.

Vendors {Bidders} may refer to the QRG “Submit a Quote” for additional instruction. QRGs are located on the NJSTART Vendor Support Page.

A Vendor {Bidder} shall not contact the Using Agency and/or the Procurement Specialist directly, in person, by telephone or by e-mail, concerning this Bid Solicitation, prior to the final award of the Blanket P.O.

The cut-off date for electronic questions and inquiries relating to this Bid Solicitation is indicated on the Bid Solicitation cover sheet.  In the event that questions are posed by Vendors {Bidders}, answers to such questions will be issued by Bid Amendment.  Any Bid Amendment to this Bid Solicitation will become part of this Bid Solicitation and part of any Blanket P.O. awarded as a result of this Bid Solicitation. Bid Amendments {Addenda} to this Bid Solicitation, if any, will be posted as a File Attachment on the “Summary” page of the Bid Solicitation in NJSTART after the cut-off date.  (See Bid Solicitation Section 1.4.1 for further information.)

#### EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)

Questions regarding the State of New Jersey Standard Terms and Conditions (SSTC) and exceptions to mandatory requirements must be posed during this Electronic Question and Answer period and shall contain the Vendor’s {Bidder’s} suggested changes and the reason(s) for the suggested changes.

### SUBMISSION OF QUOTES

In order to be considered for award, the Quote must be received by the Procurement Bureau of the Division at the appropriate location by the required time.

Vendors {Bidders} shall submit a Quote either electronically through NJSTART or via hard copy.

QUOTES NOT RECEIVED PRIOR TO THE QUOTE OPENING DEADLINE SHALL BE REJECTED.  THE DATE AND TIME OF THE QUOTE OPENING ARE INDICATED ON THE BID SOLICITATION COVER SHEET AND ON THE “SUMMARY” TAB OF THE BID SOLICITATION WEBPAGE WITHIN NJSTART.

IF THE QUOTE OPENING DEADLINE HAS BEEN REVISED, THE NEW QUOTE OPENING DEADLINE SHALL BE SHOWN ON THE POSTED BID AMENDMENT AND ON THE “SUMMARY” TAB OF THE BID SOLICITATION WEBPAGE WITHIN NJSTART.

Procedural inquiries concerning the use of NJSTART may be directed to njstart@treas.nj.gov and/or (609) 341-3500.

The Division will not respond to substantive questions related to the Bid Solicitation or any other Blanket P.O. via this e-mail address or phone number.  For inquiries related to substantive questions refer to Section 1.3.1 (Electronic Question and Answer Period).

### VENDOR {BIDDER} SUPPORT

Vendors {Bidders} are strongly encouraged to visit the NJSTART Vendor Support Page, which contains Quick Reference Guides (QRGs), supporting videos, a glossary of NJSTART terms, and helpdesk contact information.

The Vendor {Bidder} should utilize the QRGs before attempting to submit its Quote using the NJSTART process.   It is the Vendor’s {Bidder’s} responsibility to ensure that the NJSTART Quote and attachments have been properly submitted.

### MANDATORY SITE VISIT

Mandatory Site Visits have been scheduled for this procurement on the date and times indicated on the Bid Solicitation cover sheet.  The time and location of the Mandatory Site Visits will be as follows:

September 12, 2019 at 10:00 AM

Freehold State Office Building

100 Daniels Way

Freehold, NJ 07728

NOTE: All Vendors {Bidders} shall meet in the lobby to sign-in with the Division representative. This building is currently completely occupied.

September 12, 2019 at 1:30 PM

Asbury Park State Office Building and Parking Garage

630 Bangs Avenue

Asbury Park, NJ 07712

NOTE: All Vendors {Bidders} shall meet in the lobby to sign-in with the Division representative. All Vendors {Bidders} must stay for the entire duration of BOTH Mandatory Site Visits.

A Quote from any Vendor {Bidder} that was not represented or failed to register properly at BOTH Mandatory Site Visits will be rejected.

An attendee may represent only one (1) potential bidding entity.

NO QUESTIONS OR INQUIRIES WILL BE ACCEPTED OR ANSWERED DURING THE MANDATORY SITE VISITS.  ALL QUESTIONS ARE TO BE HELD AND SUBMITTED IN ACCORDANCE WITH BID SOLICITATION SECTION 1.3.1.

### MANDATORY/OPTIONAL PRE-QUOTE CONFERENCE

Not applicable to this procurement.

### PRE-QUOTE DOCUMENT REVIEW

Not applicable to this procurement.

## ADDITIONAL INFORMATION

### BID AMENDMENTS: Revisions to this BID SOLICITATION

In the event that it becomes necessary to clarify or revise this Bid Solicitation, such clarification or revision will be by Bid Amendment.  Any Bid Amendment to this Bid Solicitation will become part of this Bid Solicitation and part of any Blanket P.O. awarded as a result of this Bid Solicitation.

There are no designated dates for release of Bid Amendments.  Those Vendors {Bidders} who are on the bid holder list either through commodity code registration in NJSTART or by acknowledging the bid in NJSTART should receive notification of any Bid Amendment(s). If a Vendor {Bidder} is not on the bid holder list to receive notifications related to a Bid Solicitation, Bid Amendments are still viewable on the “Summary” page of the Bid Solicitation in NJSTART.

BID AMENDMENTS WILL BE ISSUED AS FILE ATTACHMENTS, AND ARE VIEWABLE ON THE “SUMMARY” PAGE OF THE BID SOLICITATION IN NJSTART.  Vendors {Bidders} may refer to the QRG “Submit a Quote” for additional instructions. QRGs are located on the NJSTART Support Page.

It is the sole responsibility of the Vendor {Bidder} to be knowledgeable of all Bid Amendments related to this procurement. An interested Vendor {Bidder} should check the NJSTART “Open Bids” Tab on a daily basis to ensure review of the most updated information.

### VENDOR {BIDDER} Responsibility

The Vendor {Bidder} assumes sole responsibility for the complete effort required in submitting a Quote in response to this Bid Solicitation.  No special consideration will be given after Quotes are opened because of a Vendor’s {Bidder’s} failure to be knowledgeable as to all of the requirements of this Bid Solicitation.

### COST LIABILITY

The State assumes no responsibility and bears no liability for costs incurred by a Vendor {Bidder} in the preparation and submittal of a Quote in response to this Bid Solicitation.

### CONTENTS OF QUOTE

Quotes can be released to the public pursuant to N.J.A.C. 17:12-1.2(b) and (c), or under the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know.

After the opening of sealed Quotes, including Quotes submitted through the NJSTART electronic process, all information submitted by a Vendor {Bidder} in response to a Bid Solicitation is considered public information notwithstanding any disclaimers to the contrary submitted by a Vendor {Bidder}. Proprietary and confidential information may be exempt from public disclosure by OPRA and/or the common law. When the Bid Solicitation contains a negotiation component, the Quote will not be subject to public disclosure until a notice of intent to award a Blanket P.O. is announced.

As part of its Quote, a Vendor {Bidder} may designate any data or materials it asserts are exempt from public disclosure under OPRA and/or the common law, explaining the basis for such assertion. Vendor {Bidder} must provide a detailed statement clearly identifying those sections of the Quote that it claims are exempt from production, and the legal and factual basis that supports said exemption(s) as a matter of law.  Please include a redacted copy of the Quote indicating the sections identified as confidential.  The State will not honor any attempts by a Vendor {Bidder} to designate its entire Quote as proprietary, confidential and/or to claim copyright protection for its entire Quote.

The State reserves the right to make the determination as to what is proprietary or confidential, and will advise the Vendor {Bidder} accordingly.  Any proprietary and/or confidential information in a Quote will be redacted by the State.  Copyright law does not prohibit access to a record which is otherwise available under OPRA.

In the event of any challenge to the Vendor’s {Bidder’s} assertion of confidentiality with which the State does not concur, the Vendor {Bidder} shall be solely responsible for defending its designation, but in doing so, all costs and expenses associated therewith shall be the responsibility of the Vendor {Bidder}. The State assumes no such responsibility or liability.

A Vendor {Bidder} shall not designate any price lists and/or catalogs submitted as exempt from public disclosure as the same must be accessible to State Using Agencies and Cooperative Purchasing Program participants (if the Bid Solicitation has been extended to these participants) and thus must be made public to allow all eligible purchasing entities access to the pricing information.

In order not to delay consideration of the Quote or the State’s response to a request for documents, the State requires that Vendor {Bidder} respond to any request regarding confidentiality markings within the timeframe designated in the State’s correspondence regarding confidentiality.  If no response is received by the designated date and time, the State will be permitted to release a copy of the Quote with the State making the determination regarding what may be proprietary or confidential.

### ANNOUNCEMENT OF QUOTE INFORMATION

On the date and time Quotes are due under the Bid Solicitation, all information concerning the Quotes submitted may be publicly announced and shall be available for inspection and copying except as noted below:

- Information appropriately designated as proprietary and/or confidential shall not be available for inspection and copying; and

- Where negotiation is contemplated, only the names and addresses of the 
Vendors {Bidders} submitting Quotes will be announced, and the contents of the Quotes shall not be available for inspection and copying until the Notice of Intent to Award is issued by the Director.

### PRICE ALTERATION IN QUOTES

Any price changes including hand written revisions or "white-outs" must be initialed.  Failure to initial price changes shall preclude a Blanket P.O. award from being made to the Vendor {Bidder} pursuant to N.J.A.C. 17:12-2.2(a)(8).

### QUOTE ERRORS

In accordance with N.J.A.C. 17:12-2.11 “Proposal errors,” a Vendor {Bidder} may withdraw its Quote as described below.

#### QUOTE WITHDRAWAL PRIOR TO QUOTE OPENING

NJSTART: A Vendor {Bidder} may withdraw its Quote submission in NJSTART prior to the Quote opening; however, Vendors {Bidders} should note that while withdrawn NJSTART Quotes remain viewable by the Vendor {Bidder} on its Vendor Profile Homepage, they are removed from the Division’s view and cannot be considered for Blanket P.O. award. The Vendor {Bidder} may submit a revised Quote as long as the Quote is received prior to the announced date and time for Quote submission. Vendors {Bidders} may refer to the QRG “Submit a Quote” for additional instruction. QRGs are located on the NJSTART Vendor Support Page.

Hard Copy: A Vendor {Bidder} may request that its hard copy Quote be withdrawn prior to the Quote opening.  Such request must be made, in writing, to the Supervisor of the Proposal Review Unit at the address provided in Section 1.4.7.2 below.  The Vendor {Bidder} may submit a revised Quote as long as the Quote is received prior to the announced date and time for Quote submission and at the place specified.

#### QUOTE WITHDRAWAL AFTER QUOTE OPENING, BUT PRIOR TO BLANKET P.O. AWARD

NJSTART and Hard Copy: If, after the Quote opening, but before Blanket P.O. award, a Vendor {Bidder} discovers an error in its Quote, the Vendor {Bidder} may make a written request to the Supervisor of the Proposal Review Unit to withdraw its Quote from consideration for award.  If the Vendor’s {Bidder’s} request to withdraw is made in good faith, and the State will not be significantly prejudiced by granting the withdrawal of the Quote beyond the loss of the benefit of the bargain to the State of the withdrawing Vendor’s {Bidder’s} offer, the request shall be granted.   Evidence of the Vendor’s {Bidder’s} good faith in making this request can be demonstrated by one (1) or more of the following factors: A mistake is so significant that to enforce the Blanket P.O. resulting from the Quote would be unconscionable; that the mistake relates to a material feature or term of the Blanket P.O.; and that the mistake occurred notwithstanding the Vendor’s {Bidder’s} exercise of reasonable care.  After Quote opening, while pursuant to the provisions of this section a Vendor {Bidder} may request to withdraw its Quote and the Director may in his/her discretion allow said Vendor {Bidder} to withdraw it, the Division also may take notice of repeated or unusual requests to withdraw by a Vendor {Bidder} and take those prior requests to withdraw into consideration when evaluating the Vendor’s {Bidder’s} future Quotes.

All Quote withdrawal requests must include the Bid Solicitation identification number and the final Quote submission date and be sent to the following address:

Department of the Treasury

Division of Purchase and Property

PO Box 230

33 West State Street – 9th Floor

Trenton, New Jersey 08625-0039

Attention:  Supervisor, Proposal Review Unit

If during a Quote evaluation process, an obvious pricing error made by a potential Blanket P.O. awardee is found, the Director or his/her designee shall issue written notice to the Vendor {Bidder}.  The Vendor {Bidder} will have up to five (5) business days after receipt of the notice to confirm its pricing.  If the Vendor {Bidder} fails to respond, its Quote shall be considered withdrawn, and no further consideration shall be given to it.

### JOINT VENTURE

If a Joint Venture is submitting a Quote, the agreement between the parties relating to such Joint Venture should be submitted with the Joint Venture’s Quote.  Authorized signatories from each party comprising the Joint Venture must sign the Offer and Acceptance Page.  Each party to the Joint Venture must individually comply with all the forms and certification requirements in Sections 4.4.1 and 4.4.2 of this Bid Solicitation.

### RECIPROCITY FOR JURISDICTIONAL VENDOR {BIDDER} PREFERENCE

In accordance with N.J.S.A. 52:32-1.4 and N.J.A.C. 17:12-2.13, the State of New Jersey will invoke reciprocal action against an out-of-State Vendor {Bidder} whose state or locality maintains a preference practice for its in-state Vendors {Bidders}.  The State of New Jersey will use the annual surveys compiled by the Council of State Governments, National Association of State Procurement Officials, or the National Institute of Governmental Purchasing or a State’s statutes and regulations to identify States having preference laws, regulations, or practices and to invoke reciprocal actions. The State of New Jersey may obtain additional information as it deems appropriate to supplement the stated survey information.

A Vendor {Bidder} may submit information related to preference practices enacted for a State or Local entity outside the State of New Jersey. This information may be submitted in writing as part of the Quote response, including name of the locality having the preference practice, as well as identification of the county and state, and should include a copy of the appropriate documentation, i.e., resolution, regulation, law, notice to Vendor {Bidder}, etc.  It is the responsibility of the Vendor {Bidder} to provide documentation with the Quote or submit it to the Director within five (5) business days after the deadline for Quote submission.  Written evidence for a specific procurement that is not provided to the Director within five (5) business days of the public Quote submission date may not be considered in the evaluation of that procurement, but may be retained and considered in the evaluation of subsequent procurements.

### QUOTE ACCEPTANCES AND REJECTIONS

N.J.A.C. 17:12-2.7(d), the Director’s right to waive minor irregularities or omissions in a Quote and N.J.A.C. 17:12-2.2 which defines causes for Quote rejection, apply to all Quotes.

### ELECTRONIC SIGNATURES

Vendors {Bidders} submitting Quotes through NJSTART may sign the forms listed in Section 4.4.1 (Forms, Registrations and Certifications Required with Quote) and Section 4.4.2 (Forms, Registrations and Certifications Required Before Blanket P.O. Award and That Should Be Submitted with the Quote) of this Bid Solicitation electronically by typing the name of the authorized signatory in the “Signature” block as an alternative to downloading, physically signing the form, scanning the form, and uploading the form to NJSTART.

Vendors {Bidders} submitting Quotes in hard copy format, must provide forms with original, physical signatures, otherwise its Quote may be deemed non-responsive.

# DEFINITIONS

## CROSSWALK

| NJSTART Term | Equivalent Statutory, Regulatory and/or Legacy Term |
| --- | --- |
| Bid/Bid Solicitation | Request For Proposal (RFP)/Solicitation |
| Bid Amendment | Addendum |
| Change Order | Contract Amendment |
| Master Blanket Purchase Order (Blanket P.O.) | Contract |
| Offer and Acceptance Page | Signatory Page |
| Quote | Proposal |
| Vendor | Bidder/Contractor |

## GENERAL DEFINITIONS

The following definitions will be part of any Blanket P.O. awarded or order placed as a result of this Bid Solicitation.

All-Inclusive Hourly Rate – An hourly rate comprised of all direct and indirect costs including, but not limited to:  labor costs, overhead, fee or profit, clerical support, travel expenses, per diem, safety equipment, materials, supplies, managerial support and all documents, forms, and reproductions thereof.  This rate also includes portal-to-portal expenses as well as per diem expenses such as food.

Best and Final Offer or BAFO – Pricing timely submitted by a Vendor {Bidder} upon invitation by the Bureau after Quote opening, with or without prior discussion or negotiation.

Bid or Bid Solicitation – This series of documents, which establish the bidding and Blanket P.O. requirements and solicits Quotes to meet the needs of the Using Agencies as identified herein, and includes the Bid Solicitation, State of NJ Standard Terms and Conditions (SSTC), State-Supplied Price Sheet, attachments, and Bid Amendments.

Bid Amendment – Written clarification or revision to this Bid Solicitation issued by the Division. Bid Amendments, if any, will be issued prior to Quote opening.

Business Day – Any weekday, excluding Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Calendar Day – Any day, including Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Change Order – An amendment, alteration, or modification of the terms of a Blanket P.O. between the State and the Vendor(s) {Contractor(s)}.  A Change Order is not effective until it is signed and approved in writing by the Director or Deputy Director, Division of Purchase and Property.

Cooperative Purchasing Program – The Division’s intrastate program that provides procurement-related assistance to New Jersey local governmental entities and boards of education, State and county colleges and other public entities having statutory authority to utilize select State Blanket P.O.s issued by the Division, pursuant to the provisions of N.J.S.A. 52:25-16.1 et seq.

Days After Receipt of Order (ARO) – The number of calendar days ‘After Receipt of Order’ in which the Using Agency will receive the ordered materials and/or services.

Director – Director, Division of Purchase and Property, Department of the Treasury, who by statutory authority is the Chief Contracting Officer for the State of New Jersey.

Disabled veterans’ business - means a business which has its principal place of business in the State, is independently owned and operated and at least 51% of which is owned and controlled by persons who are disabled veterans or a business which has its principal place of business in this State and has been officially verified by the United States Department of Veterans Affairs as a service disabled veteran-owned business for the purposes of department contracts pursuant to federal law.  N.J.S.A. 52:32-31.2.

Disabled veterans’ business set-aside contract - means a contract for goods, equipment, construction or services which is designated as a contract with respect to which bids are invited and accepted only from disabled veterans’ businesses, or a portion of a contract when that portion has been so designated.  N.J.S.A. 52:32-31.2.

Discount – The standard price reduction applied by the Vendor {Bidder} to all items.

Division – The Division of Purchase and Property.

Evaluation Committee – A committee established or Division staff member assigned by the Director to review and evaluate Quotes submitted in response to this Bid Solicitation and recommend a Blanket P.O. award to the Director.

Firm Fixed Price – A price that is all-inclusive of direct cost and indirect costs, including, but not limited to, direct labor costs, overhead, fee or profit, clerical support, equipment, materials, supplies, managerial (administrative) support, all documents, reports, forms, travel, reproduction and any other costs.

Joint Venture – A business undertaking by two (2) or more entities to share risk and responsibility for a specific project.

Master Blanket Purchase Order (Blanket P.O.) – The Blanket P.O. consists of the State of NJ Standard Terms and Conditions (SSTC), the Bid Solicitation, the responsive Quote submitted by a responsible Vendor {Bidder} as accepted by the State, the notice of award, any Best and Final Offer, any subsequent written document memorializing the agreement, any modifications to any of these documents approved by the State and any attachments, Bid Amendment or other supporting documents, or post-award documents including Change Orders agreed to by the State and the Vendor {Contractor}, in writing.

May – Denotes that which is permissible or recommended, not mandatory.

Must – Denotes that which is a mandatory requirement.

No Bid – The Vendor {Bidder} is not submitting a price Quote for an item on a price line.

No Charge – The Vendor {Bidder} will supply an item on a price line free of charge.

Primary Form – An electronic form contained within a Vendor’s {Bidder’s} NJSTART profile designated by the Vendor {Bidder} as the primary or principal version of the required form.

Procurement Bureau (Bureau) – The Division unit responsible for the preparation, advertisement, and issuance of Bid Solicitations, for the tabulation of Quotes and for recommending award(s) of Blanket P.O.(s) to the Director and the Deputy Director.

Project – The undertakings or services that are the subject of this Bid Solicitation.

QRGs – Quick Reference Guides.

Quote – Vendor’s {Bidder’s} timely response to the Bid Solicitation including, but not limited to, technical Quote, price Quote, and any licenses, forms, certifications, or other documentation required by the Bid Solicitation.

Retainage – The amount withheld from the Vendor {Contractor} payment that is retained and subsequently released upon satisfactory completion of performance milestones by the Vendor {Contractor}.

Revision – A response to a BAFO request or a requested clarification of the Vendors {Bidders} Quote.

Shall – Denotes that which is a mandatory requirement.

Should – Denotes that which is permissible or recommended, not mandatory.

Small Business – Pursuant to N.J.S.A. 52:32-19, N.J.A.C. 17:13-1.2, and N.J.A.C. 17:13-2.1, “small business” means a business that meets the requirements and definitions of “small business” and has applied for and been approved by the New Jersey Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit as (i) independently owned and operated, (ii) incorporated or registered in and has its principal place of business in the State of New Jersey; (iii)  has 100 or fewer full-time employees; and has gross revenues falling in one (1) of the three (3) following categories:

- For goods and services - (A) 0 to $500,000 (Category I); (B) $500,001 to $5,000,000 (Category II); and (C) $5,000,001 to $12,000,000, or the applicable federal revenue standards established at 13 CFR 121.201, whichever is higher (Category III).

- For construction services: (A) 0 to $3,000,000 (Category IV); (B) gross revenues that do not exceed 50 percent of the applicable annual revenue standards established at 13 CFR 121.201 (Category V); and (C) gross revenues that do not exceed the applicable annual revenue standards established at CFR 121.201, (Category VI).

Small business set-aside contract – “means (1) a contract for goods, equipment, construction or services which is designated as a contract with respect to which bids are invited and accepted only from small businesses, or (2) a portion of a contract when that portion has been so designated.”  N.J.S.A. 52:32-19.

State – The State of New Jersey.

State Contract Manager or SCM – The individual, as set forth in Section 8.0, responsible for the approval of all deliverables, i.e., tasks, sub-tasks or other work elements in the Scope of Work.  The SCM cannot direct or approve a Change Order.

State-Supplied Price Sheet – The bidding document created by the State and attached to this Bid Solicitation on which the Vendor {Bidder} submits its Quote pricing as is referenced and described in Bid Solicitation Section 4.4.5.

Subtasks – Detailed activities that comprise the actual performance of a task.

Subcontractor – An entity having an arrangement with a Vendor {Contractor}, whereby the Vendor {Contractor} uses the products and/or services of that entity to fulfill some of its obligations under its State Blanket P.O., while retaining full responsibility for the performance of all [the Vendor’s {Contractor's}] obligations under the Blanket P.O., including payment to the Subcontractor.  The Subcontractor has no legal relationship with the State, only with the Vendor {Contractor}.

Task – A discrete unit of work to be performed.

Unit Cost or Unit Price – All-inclusive, firm fixed price charged by the Vendor {Bidder} for a single unit identified on a price line.

Using Agency[ies] – A State department or agency, a quasi-State governmental entity, or a Cooperative Purchasing Program participant, authorized to purchase products and/or services under a Blanket P.O. procured by the Division.

Vendor {Bidder} – An entity offering a Quote in response to the Division’s Bid Solicitation.

Vendor {Contractor} – The Vendor {Bidder} awarded a Blanket P.O. resulting from this Bid Solicitation.

## BLANKET P.O. SPECIFIC DEFINITIONS/ACRONYMS

ASHRAE – American Society of Heating, Refrigeration and Air-Conditioning Engineers.

ASME – American Society of Mechanical Engineers.

DLWD – Department of Labor and Workforce Development.

DPMC – Division of Property Management and Construction.

Emergency Operating Plan – A plan that includes actions to be taken to ensure the facilities are adequately maintained and protected in an emergency situation.

Emergency Services Calls – Emergency Service Calls are those service calls when the work consists of correcting failures that constitute an immediate danger to personnel or property including, but not limited to, broken water pipes, stalled elevators with trapped passengers, electrical power outages, electrical problems which may cause fire or shock, gas or oil leaks, and major air-conditioning problems.

EPA – Environmental Protection Agency.

Facilities Management Services (FMS) – Tasks necessary to operate the building in a safe and economical manner.

Facilities Manager – The individual responsible for performing tasks to operate the building.

Facility Operating Plan – A plan demonstrating how the Vendor {Contractor} intends to accomplish the Blanket P.O. requirements.

IPM – Integrated Pest Management. An effective economical and environmentally sensitive approach to pest management.

NFPA – National Fire Protection Association.

Occupants – Building tenants.

Operating Hours – 7:00 AM to 7:00 PM.

OSHA – Occupational Safety and Health Administration.

Preventative Maintenance – A program with supporting logs and records to ensure regular inspections and maintenance tasks are accomplished on all buildings and equipment.

Routine Service Calls – Calls not classified as Emergency Service Calls or as Urgent Service Calls.

Special Projects – Include renovations and other capital projects, and support of occasional State sponsored special events. Special Projects occur after normal business hours.

Technical Library – All applicable records, such as “as-built" drawings, equipment manuals, elevator control schematic diagrams, manufacturers' spare part lists, and warranty certificates.

UL – Underwriters Laboratories, a nonprofit safety testing organization.

Upcharge Rate – The percentage the Vendor {Contractor} will charge the State over the current applicable prevailing wage as listed on the DLWD’s website including, but not limited to, direct labor costs, overhead, fee or profit, clerical support, equipment, materials, supplies, managerial (administrative) support, all documents, reports, forms, travel, reproduction and any other costs. No additional fees or costs shall be paid by the State unless there is a change in the scope of work. This percentage must be held firm for the life of the Blanket P.O. and any extensions thereof.

UPS – Uninterruptable power supply.

Urgent Services Calls – Circumstances that interrupt or otherwise adversely affect State operations.

# SCOPE OF WORK

## GENERAL REQUIREMENTS

The Vendor {Contractor}, as Facilities Manager, shall be fully responsible for the operation and maintenance of the Asbury Park State Office Building & Parking Garage and the Freehold State Office Building, including building structures and operating systems. Please see Attachment 2a – Asbury Park Location Floor Plans and Attachment 2b – Freehold Location Floor Plans for building layouts. The Vendor {Contractor} shall furnish all management, administration, labor, materials, supplies, tools, and technical support for the effective and timely accomplishment of the following facility management functions:

- Facilities administration and supervision;

- Operation and maintenance of mechanical, electrical, plumbing and utility equipment and systems;

- HVAC system preventive maintenance and routine servicing;

- Janitorial services and window washing;

- Emergency generator maintenance;

- Maintenance of fire detection and suppression (sprinkler) systems, fire panels, and fire

extinguishers;

- Central Station Monitoring (fire and security);

- Elevator maintenance and repair;

- Water treatment;

- Pest control services;

- Landscape and grounds maintenance;

- Trash and recyclables removal;

- Snow and ice removal;

- Parking;

- Small repairs valued at under $250; and

- Quality control plan development and implementation.

The Vendor {Contractor} may be required to perform other services and duties related to the above from time to time that have not been listed specifically. The Vendor {Contractor} shall manage and supervise day-to-day operations of the facilities through a variety of programs designed to operate and maintain the facilities in the most efficient manner possible. The Vendor {Contractor} shall be required to generate preventive maintenance tasks using data provided by the State.

To consistently maintain an appropriate business atmosphere that conveys the State's high standards to employees and visitors, the Vendor {Contractor} shall ensure that all work meets or exceeds the highest standards of facility operation and maintenance. The Vendor {Contractor} shall be held responsible for achieving such standards.

### inspections, reports, records

The Vendor {Contractor} shall:

- Ensure that all inspections and tests per federal, State, and local requirements are completed;

- Be aware of all federal, State, and local required tests and inspections;

- Provide copies of reports to the SCM within two (2) business days of receipt; and

- Maintain and turn over all required records to the State at Blanket P.O. completion.

### disruption

The Vendor {Contractor} shall schedule all work that may disrupt State operations to occur afterhours, including, but not limited to: routine maintenance and repair, preventative maintenance (PM), and cleaning tasks. The Vendor {Contractor} shall coordinate with the SCM on any work that is to be performed that would be disruptive to building Occupants or interfere with normal operations at the facilities, and when maintenance or repair work is scheduled which requires opening or dismantling equipment.

### vehicles

The Vendor {Contractor} shall provide vehicles for its staff as required to perform the services specified by this Bid Solicitation. All drivers must have a valid drivers’ license. The Vendor {Contractor} is not permitted to operate a State vehicle at any time. There shall be no separate charges for vehicular use permitted.

### PUBLIC WORKS CONTRACTOR REGISTRATION ACT

This act specifies that no Vendor {Contractor} or Subcontractor shall engage in, any Blanket P.O. (or part thereof) for public work which is subject to the provisions of N.J.S.A. 34:11-56.48, et seq. for the construction, reconstruction, demolition, alteration, custom fabrication, repair work, or maintenance work done under contract and paid for in whole or in part out of the funds of a public body or if the property or premises are owned by the public body, unless the Vendors {Contractors} and named Subcontractors maintain a valid public works certificate issued by the Department of Labor and Workforce Development during the duration of the Blanket P.O. period.  The Vendor {Contractor} and all named Subcontractors performing public work must maintain a valid public works certificate issued by the Department of Labor and Workforce Development during the duration of the Blanket P.O. period.

### PREVAILING WAGE

The NJ State Prevailing Wage Act, N.J.S.A. 34:11-56.25 et seq. applies to public work and building services performed under this procurement.  This Act establishes wage standards for all workers performing public work and building services for properties or premises owned or leased by the State, requiring the payment of the State Prevailing Wage rate to all employees performing those duties. See N.J.S.A. 34:11-56.25 to -56.47; N.J.S.A. 34:11-56.58 to -56.70. Prevailing wages amounts are listed by county.  It is the responsibility of the Vendor {Contractor} to comply with the requirements of the State Prevailing Wage Act as well as adhere to the requirements of the Fair Labor Standards Act (FLSA) during the duration of this Blanket P.O. and any extensions exercised.  Prevailing wages by county can be found on the wage determinations website at https://www.nj.gov/labor/wagehour/wagerate/CurrentWageRates.html.  If it is found that any worker employed by the Vendor {Contractor} or any Subcontractor under the Blanket P.O. has been paid a rate of wages less than the prevailing wage required to be paid under the Blanket P.O., the State may terminate the Vendor {Contractor} and/or Subcontractor’s right to proceed with the work, or such part of the work as to which there has been a failure to pay required wages and may prosecute the work to completion.

#### Certified Payroll Records

N.J.A.C. 12:60-5.1 of the New Jersey Prevailing Wage Act and N.J.S.A. 34:11-56.25 et seq. requires that certified payroll records must be submitted to the public body, by all Vendors {Contractors} and Subcontractors, for each employee on the project within ten (10) days of the payment of wages. The public body shall receive, file and make these records available for inspection during normal business hours.

## EXCLUSIONS

The following facility functions are excluded from this Blanket P.O. and are not the responsibility of the Vendor {Contractor}:

- Furniture and furniture systems;

- Computers and office equipment;

- Voice and data lines;

- Security guard services;

- Major system or facility repairs (over $250); and

- UPS systems.

## FACILITY OPERATION PLAN AND OPERATING REPORTS

Upon award of the Blanket P.O., the Vendor {Contractor} shall develop and submit a Facility Operation Plan for each facility, demonstrating how the Vendor {Contractor} intends to accomplish the Blanket P.O. requirements. This Facility Operation Plan shall be submitted for approval to the State within two (2) weeks of Blanket P.O. award. The Vendor {Contractor} shall plan, organize, schedule, coordinate, and control all resources, programs and activities to ensure the effective and economical management, operation and maintenance of the facilities, and their component systems and equipment. The Vendor {Contractor} is responsible for estimating, planning, scheduling, budgeting and accumulating all costs of materials and manpower associated with Blanket P.O. activities, including procurement functions. The SCM reserves the right to reject the plan and require re-submittal within a designated timeframe.

### ANNUAL Facility Operating Plan

Separate from the Facility Operation Plan, the Vendor {Contractor} shall also prepare an annual Facilities Operating Plan for each fiscal year (July 1 – June 30), and submit it to the SCM:

- First Draft - September 1 unless otherwise agreed by the SCM; and

- Final Plan – September 30 unless otherwise agreed by the SCM.

This Annual Facilities Operating Plan shall outline the Vendor’s {Contractor’s} operating, maintenance and repair objectives for the coming 12 months, such as budgeted utility consumptions and proposed non-routine maintenance; and will update the Vendor’s {Contractor’s} facility management programs and include categories specified for monthly reports. The Annual Facilities Operating Plan for the balance of the first fiscal year is due:

- First Draft - within 30 calendar days of commencement of the Blanket P.O.; and

- Final Plan - within 60 calendar days of commencement of the Blanket P.O.

The Vendor {Contractor} shall account for all operating expenses incurred and paid by the Vendor  {Contractor} through monthly reports using the State’s chart of accounts.

Meetings of senior management of the Vendor {Contractor} and the State shall include budget issues.

### Quality Control

The Vendor {Contractor} shall submit to the SCM a detailed description of the Vendor’s {Contractor’s} quality control methodology to measure and perform to the highest possible standards of service 30 calendar days after Blanket P.O. award. This quality control description shall indicate how the Vendor {Contractor} will ensure that all work meets or exceeds the highest standards of facility operation and maintenance. The quality control description shall delineate the methods the Vendor {Contractor} will use to encourage personnel to prevent work defects and to control the processes that are key to performing quality services. The quality control program shall include measures and reporting to enable both the State and the Vendor {Contractor} to monitor performance.

### Inspection of Services

The Vendor {Contractor} shall establish and maintain an inspection system acceptable to the State covering the services under this Blanket P.O. Complete records of all inspection work performed by the Vendor {Contractor} shall be maintained and made available to the State during Blanket P.O. performance and shall become the State’s property. All inspection records are to remain on site at termination of the Blanket P.O.

Services comprise both workmanship and materials. The Vendor {Contractor} shall be responsible for day-to-day monitoring and inspection of all work performed to ensure compliance with Blanket P.O. standards. Results of inspections shall be documented in inspection report format for submission to the State. The Vendor {Contractor} shall follow through to ensure that all defects or omissions are corrected.

The State has the right to inspect and test all services required by the Blanket P.O. to the extent practicable at all times and places during the term of the Blanket P.O. The State will perform inspections and tests in a manner that will not unduly delay the work.

If any services do not conform to Blanket P.O. requirements, the State will require the Vendor {Contractor} to perform the services again in conformity with the Blanket P.O. requirements and at no additional cost to the State.

### Customer Satisfaction Surveys

The Vendor {Contractor} shall establish a program of regularly surveying the facility occupants for feedback on their satisfaction with facilities services including, but not limited to, conference room scheduling, and space temperatures. The SCM reserves the right to approve or reject these programs and surveys.

### Reports and Records

The Vendor {Contractor} shall prepare written reports for each month of the Blanket P.O. and submit them to the SCM on or before the 15th day of the following month. Generally, these monthly reports shall outline Facility Management Services (FMS) that the Vendor {Contractor} has scheduled and completed, explain the results of these FMS services, and indicate performance of the facilities. This monthly report shall cover routine as well as emergency activities.

The Vendor {Contractor} shall furnish three (3) levels of reporting:

- Detailed Reports on each O&M department for the Vendor’s {Contractor’s} site management team;

- Summary Reports, for the State’s and the Vendor’s {Contractor’s} Facility Managers; and

- Executive Summary Reports for the State’s senior executives.

The State shall receive all three (3) levels of reports. Categories of reports shall include, but not be limited to:

#### CATEGORIES OF REPORTS

- Financial:

  - Total expenditures;

  - Labor expenditures;

  - Staffing - Full-time employee by operation & management department; and

  - Hours analysis - Regular & overtime.

- Operations:

  - Work orders;

  - PM work orders;

  - Demand work orders;

  - Program status;

  - Process improvements;

  - Quality administration;

  - Blanket P.O. administration;

  - Project administration; and

  - Recorded accidents.

Reports shall highlight significant variances from plans and budgets and shall explain variances and status. Summary reports, tables, and graphs are expected. The Vendor {Contractor} shall furnish color graphs in Microsoft Excel format to display all categories for which such graphs are feasible, especially to display utility consumptions and costs for 12 months. Support for summary information shall be available on site for review by the SCM. The Vendor {Contractor} shall include such other related information as the SCM may request from time to time.

#### Annual Facilities Operating Report

By August 1 of each fiscal year (July 1-June 30), the Vendor {Contractor} shall prepare and submit an Annual Facilities Operating Report, summarizing the previous fiscal year’s operating results. In addition to the year-end monthly report discussed above, the Vendor {Contractor} will prepare an Annual Report about the Facilities and the Vendor’s {Contractor’s} activities during the previous year and submit it to the SCM. This Annual Facilities Operating Report must include, but not be limited to:

- Annual summary of each monthly report category;

- Update of the Vendor’s {Contractor’s} FMS Programs;

- Up-to-date inventory of the Vendor’s {Contractor’s} furnishings;

- Updated directory of contents in the Technical Library;

- Annual inspections and tests of fire and life safety equipment and systems;

- Elevator time intervals and dispatch times on various programs, door standing times; and

- Door opening and closing speeds.

The Vendor {Contractor} shall maintain complete records, paper or electronic, on the operation and maintenance of the facilities. Electronic files shall receive periodic backups and separate secure storage. Records must be available to the State at all times and shall be turned over to the State at the termination of the Blanket P.O.

## CONTINUITY OF OPERATIONS

The services provided by this Blanket P.O. are vital to the State’s mission and the Vendor {Contractor} must maintain continuity of the services at the utmost proficiency and without interruption.

The Vendor {Contractor} shall manage the facilities during any emergency situations such as fires, accident and rescue operations, strikes, civil disturbances, acts of terrorism, natural disasters, and military contingency operations. Under such emergency situations, workers shall be under the direction and supervision of first responders.  First responders will instruct the Vendor {Contractor} and its employees on when to enter the building or buildings.

The Vendor {Contractor} shall develop and submit to the SCM an Emergency Operating Plan 90 days after the annual Facilities Operating Plan is submitted. In this plan, the Vendor {Contractor} shall include actions to be taken to ensure the facilities are adequately maintained and protected in an emergency situation. The Vendor {Contractor} also shall develop a Disaster Recovery Plan to protect the facilities from further damage and to restore operations at the Facilities as soon as possible. These plans shall be integrated into the State’s contingency plans. Participation in emergency operations and in disaster recovery is mandatory during a building related emergency or natural disaster, regardless of the time of occurrence. The SCM reserves the right to reject the aforementioned plans.

## OPERATING HOURS

The official working hours of office building occupants is 7:00 a.m. to 7:00 p.m., Monday through Friday. However, the Vendor {Contractor} shall be responsible for monitoring all building systems 24 hours per day, seven (7) days per week, including holidays. The following holidays recognized by the State can be found at https://www.state.nj.us/nj/about/facts/holidays/ and are subject to change.

NOTE: These recognized holidays are subject to change based upon Legislative approval. Should a holiday fall on a weekend, the day designated by the State shall be recognized as the holiday.

The Vendor {Contractor} must schedule operating, maintenance, and repair personnel to be on site during the specified Operating Hours and to be on call at other hours. The Vendor {Contractor} shall adjust coverage to conform to work schedules as directed.

Periodically, building occupants may work on holidays, Saturdays, Sundays or evenings, or during any emergency situation that may occur. In such cases, it may be necessary to provide cleaning, air-conditioning, or other operating and maintenance services at times other than those specified.

With prior additional authorization of the SCM, confirmed in writing, the Vendor {Contractor} shall furnish the necessary additional services and shall give the State a detailed breakdown of the costs associated with the additional service(s).

The Vendor {Contractor} must schedule operating, maintenance, and repair personnel to be on site during the specified Operating Hours and to be on call at other hours. The Vendor {Contractor} shall adjust coverage to conform to work schedules as directed.

## VENDOR {CONTRACTOR} PERSONNEL

### SUPERVISION

The Vendor {Contractor} shall furnish and supervise an on-site staff to handle day-to-day management, operating, and maintenance duties. Maintenance and repair of more sophisticated equipment such as chillers, fire alarms, and elevators may require specialized training and occasional outside support.

### STAFFING

The Vendor {Contractor} shall ensure the facilities are manned at all times with sufficient personnel to enable the Vendor {Contractor} to properly, adequately, safely, and economically operate and maintain the facilities, and to respond promptly to service calls.

### VENDOR {CONTRACTOR} STAFFING RESPONSIBILITIES

All matters pertaining to the employment, supervision, compensation, promotion, and discharge of on-site personnel are the responsibility of the Vendor {Contractor}, which is in all respects the employer of such personnel.

### UNIFORMS

All Vendor {Contractor} and Subcontractor employees must wear neat, clean uniforms approved by the SCM and bearing the Vendor’s {Contractor's} name or logo over the breast pocket during work hours.

### PHOTO IDENTIFICATION BADGES

The Vendor {Contractor} shall provide photo identification badges to each employee. Vendor {Contractor} and Subcontractor employees shall display a photo identification badge on the outside of the outermost article of clothing at all times while the employee is on duty. Any employee reporting to work without a company identification badge shall not be permitted to enter the building.

### DISMISSAL

The SCM reserves the right to require dismissal from the facilities of any employee who is identified as a potential threat to the health, safety, security, general well-being, or operational mission of the facilities and occupants.

### COMMUNICIATION EQUIPMENT

The Vendor {Contractor} shall maintain communications equipment such as cellular phones, and/or two-way radios at no additional cost to the State. Each key employee of the Vendor {Contractor} and of Subcontractors assigned during core hours shall carry a two-way radio. The on-site supervisor shall carry a cellular phone when off-site during Operating Hours. After-hours on-call persons shall carry a cellular phone.

### REPLACEMENT OF STAFF

Replacing key management and on-site staff is disruptive to consistent and effective delivery of facility management services. The Vendor {Contractor} will endeavor to maintain key personnel assigned to the facilities. The State expects no changes by the Vendor {Contractor} in the Vendor’s {Contractor’s} key management and on-site staff during the first year of the Blanket P.O. All substitution of staff must be done in accordance with Section 5.6, Substitution of Staff.  The Vendor {Contractor} must not allow any key position to go unfilled more than 60 days. The Vendor {Contractor} shall coordinate vacation schedules with the SCM.

## FACILITY SUPERVISOR

The Vendor {Contractor} shall ensure all work required by this Blanket P.O. is satisfactorily supervised by an on-site facilities supervisor. A supervisor shall be available on-site at all times during normal operating hours. Supervisors are covered under the monthly management fee except in cases concerning Special Projects (see Section 3.9, Special Projects), which are covered by the applicable price line. On-site supervisors shall carry a two-way radio and/or cellular phone. The supervisor must be on-call 24 hours a day, seven (7) days a week.

Supervisors must be able to read, write, and speak English.

The SCM, or its designee, is the only person authorized to exercise either direct or indirect control over the on-site supervisor in the performance of this Blanket P.O.

## SECURITY CLEARANCES

As a condition of employment at any State facility, the Vendor {Contractor} shall ensure that all personnel assigned under this Blanket P.O. are subject to a New Jersey State Police Criminal History Record Background Check (Background Check). Information regarding Background Checks may be found at N.J.A.C. 13:59 and at: http://www.njsp.org/criminal-history-records.

The Vendor {Contractor} shall, at a minimum:

- Bear the cost of Background Checks;

- Adhere to all instructions for obtaining a Background Check as provided by the New Jersey State Police at: http://www.njsp.org/criminal-history-records/;

- Ensure that any newly hired, rehired, or transferred personnel are not permitted to work in any State facility until the results of the Background Check have been furnished to the Vendor {Contractor}. The Vendor {Contractor} must review the results of the Background Check prior to assigning personnel; and

- Retain the result of each individual’s criminal history Background Check for as long as that individual is assigned to a State facility. The results of the criminal history Background Check shall be made available to the SCM upon request.

Note: If the Vendor {Contractor} has previously conducted a State Police background, criminal and fingerprinting check for an employee, the SCM may accept the results of said Background Check, provided that the check was performed during the Blanket P.O. period or no earlier than six (6) months prior to the Blanket P.O. start date. Be advised that acceptance of previously acquired Background Checks is at the sole discretion of the SCM.

In addition, the Vendor {Contractor} shall follow all additional Using Agency security clearance requirements, as required.

## SPECIAL PROJECTS

Special Projects shall be conducted off-hours and include renovations and other capital projects, and support of occasional State sponsored special events. A supervisor shall oversee Special Projects.  The Vendor {Contractor} shall perform all work and provide all services requested by the SCM. The State reserves the right to perform, or have performed by others, any work within the scope of Special Projects. Doing so shall not breach or otherwise violate this Blanket P.O.

When directed by the SCM, the Vendor {Contractor} shall develop and/or obtain estimates for Special Projects, and shall furnish management/supervision for employees and Subcontractors, and for procurement of materials.

Under no circumstances is the Vendor {Contractor} to perform any Special Projects work, or any additional work not covered by this Scope of Work, when the value of this work exceeds $250, without written approval of the SCM.

### Codes, Permits & Records

All work must be completed in accordance with all applicable codes. The Vendor {Contractor} must obtain required permits when necessary. Either the DPMC or the tenant agency will pay for the necessary permits.

At the completion of Special Projects, the Vendor {Contractor} will update all as-built drawings and other facilities records.

### Labor/Material Costs

Special Projects shall be individually priced by the Vendor {Contractor} as a lump sum fee. The Vendor {Contractor} shall not add any fee or up-charge to Special Projects costs.

## TOOLS, EQUIPMENT, MATERIALS AND SUPPLIES

The Vendor {Contractor} shall be responsible for procuring, at its expense, any tools, equipment, materials, and supplies (furnishings) necessary for the proper and complete management, operation, and maintenance of these facilities. Furnishings shall be purchased, transported, stored, used and disposed only in accordance with all applicable federal, State, and local laws and regulations.

The State shall, at all times, be the owner of all furnishings paid for by the State. All furnishings specifically approved in writing by the SCM as furnishings to remain property of the Vendor {Contractor}, or furnishings paid for by the Vendor {Contractor}, shall remain property of the Vendor {Contractor}. The Vendor {Contractor} shall be responsible for any loss or damage to furnishings due to the Vendor’s {Contractor’s} negligence. Upon expiration or termination of the Blanket P.O., the Vendor {Contractor} shall not remove any furnishings purchased by the State or items permanently installed.

### INVENTORY

The Vendor {Contractor} shall maintain an up-to-date inventory of all assigned spaces, tools and equipment, and materials and supplies (“Furnishings”); and shall store and use these furnishings in a manner that maximizes their usefulness to the operation of the facilities.

### FURNISHINGS

Furnishings must be of high quality and must meet the standards established in this Bid Solicitation. Furnishings for which specifications are not otherwise established in this Bid Solicitation must meet standards common to the operation and maintenance of first class office buildings.

### REPAIRS

Materials and replacement parts used in the maintenance and repair of systems and equipment shall meet specifications established by the manufacturer of the systems and equipment. Supplies and materials procured and stocked by the Vendor {Contractor} shall be equal to or better than the items they replace.

### use of chemicals

The purchase, transport, storage, use, and disposal of furnishings must, at all times, meet all applicable Federal, State, and local laws and regulations, including those specified by Occupational Safety and Health Administration (OSHA) and the Environmental Protection Agency (EPA). The Vendor {Contractor} shall only employ and apply chemicals that are considered appropriate by regulating governmental agencies and in accordance with manufacturers’ instructions. Hazardous materials must not be used except with prior written approval of the SCM.

The Vendor {Contractor} must meet all applicable legal requirements for labeling chemicals and hazardous materials. The Vendor {Contractor} must properly store all hazardous materials in minimal quantities in approved and secure containers in compliance with all laws and regulations. The Vendor {Contractor} must dispose of any hazardous wastes generated from the operation of the facilities in a manner which is safe to health and the environment and that is in accordance with all applicable laws and regulations including reports and records.

The Vendor {Contractor} shall submit to the SCM a list of materials proposed for use in accomplishing the work under this Blanket P.O., together with manufacturers’ recommendations for use, material safety data sheets, and applicability to local conditions and intended use. All materials are subject to final approval by the SCM.

## ADMINISTRATION AND PROJECT SUPPORT

In conjunction with managing the operation and maintenance of the buildings, building systems, and grounds of the facilities, the Vendor {Contractor} shall furnish administrative support, including but not limited to the following:

### Project Coordination and Support

The State requires project coordination as needed and support from the Vendor’s {Contractor’s} home office staff in:

- Promptly establishing each facility management, operation, and maintenance program at

the inception of the assignment;

- Quickly resolving problems that inevitably arise in day-to-day facility management; and

- Regularly scheduling meetings among senior management that follow a meaningful agenda and result in written minutes, interim follow-up, and written status reports on open items.

### FMS Programs

The Vendor {Contractor} shall implement various programs of Facility Management Services  (FMS) that are specified in this Bid Solicitation. These requirements will be detailed in the Vendor’s {Contractor’s} Facility Operating Plan, which is to be submitted for approval to the State within two (2) weeks of Blanket P.O. award, as according to Section 3.3. Following submittal of the Facility Operating Plan, the SCM will review and indicate if the proposed plan is approved. The Vendor {Contractor} shall implement each program task in accordance with the approved schedule.

### Technical Library

The Vendor {Contractor} must maintain a Technical Library consisting of all applicable records, such as “as-built" drawings, equipment manuals, elevator control schematic diagrams, manufacturers' spare part lists, and warranty certificates. The Technical Library must be maintained up-to-date and kept in a manner prescribed and/or approved by the SCM.

The Technical Library is, at all times, the property of the State and must remain on-site during the term and at termination of this Blanket P.O. The Vendor {Contractor} shall be responsible for the replacement of any missing documents that existed during the term of the Blanket P.O.

### Warranty Administration

The Vendor {Contractor} shall administer, coordinate, and enforce all warranties provided by suppliers and installers. The Vendor {Contractor} shall prepare and maintain a warranty log, which shall be integrated with the preventive maintenance program, to include:

- Component, identification and location;

- Manufacturer, supplier and installer;

- Purchase order number and cost;

- Installation date;

- Warranty term and commencement;

- Warranty conditions/extended warranty; and

- Warranty/repair agency.

Upon acceptance of any building component by the State, the Vendor {Contractor} must immediately initiate warranty administration, and operations and maintenance activities. The Vendor {Contractor} shall report monthly on warranty activities and status.

Components under warranty shall be operated and maintained in accordance with warranty instructions and conditions.

### Off-Site Support

Off-site staff (management and technical personnel in Regional and National offices) and other resources of the Vendor {Contractor} for supervising and supporting an account shall be available to:

- Promptly implement the Vendor’s {Contractor’s} Facility Operating Plan programs at  commencement of this Blanket P.O;

- Help resolve operating and maintenance problems promptly; and

- Provide interim replacements for key vacant positions or absent personnel.

In addition to day-to-day informal interaction and formal meetings between the Vendor’s {Contractor’s} on-site personnel and the State’s facilities personnel, senior management of the Vendor {Contractor} shall schedule meetings with senior management of DPMC on a frequency specified by the State, but not less than quarterly. These meetings shall follow an agenda relevant to the current status of the Vendor’s {Contractor’s} facility management, operation, and maintenance services. Initially, at least for the first 12 months of the Blanket P.O., these meetings shall be monthly and will include discussions of each deliverable (service, program, and report) under this Blanket P.O. Agendas shall also focus on current issues, objectives, and results. The Vendor {Contractor} shall furnish the agenda in writing at least a day in advance and shall follow each meeting with minutes of issues discussed and actions to be taken with deadlines, and with interim follow-up and monthly written status reports on open items.

## WORK ORDERS

Two (2) types of work orders are:

- Scheduled work orders to carry out planned preventive maintenance; and

- Demand work orders to respond to requests for service (service calls).

The Vendor {Contractor} shall maintain a facility management work order system to schedule and perform planned preventive maintenance tasks and to receive, record, respond to, and track service calls.

Electronic work orders shall be generated as required to schedule preventive maintenance and to respond to service calls as they occur. Except in response to Occupant, or building tenant, complaints or safety requirements, work orders shall be scheduled for completion depending on priority, availability of parts, workload, and convenience of Occupant. Response to service work orders depends on the nature of the service call:

- Emergency;

- Urgent; and

- Routine.

A service call is a report of mechanical, electrical, plumbing, elevator, building system or architectural/structural malfunction, and/or related maintenance or repair problem, and the Vendor’s {Contractor’s} subsequent response to and the correction of the problem including any needed repairs.

The Vendor {Contractor} shall respond to service calls as specified below.

### Emergency Service Calls

Emergency Service Calls are service calls to correct failures which constitute an immediate danger to personnel or property including, but not limited to, broken water pipes, stalled elevators with trapped passengers, electrical power outages, electrical problems which may cause fire or shock, gas or oil leaks, and major air-conditioning problems. Any work considered by the SCM to be of an emergency nature shall also be classified as an Emergency Service Call. The Vendor {Contractor} shall respond to emergency service calls immediately within 15 minutes during normal working hours and within one (1) hour after normal working hours, on weekends, and on holidays. The Vendor {Contractor} shall remain on the job until the emergency has been resolved or until the SCM releases the Vendor {Contractor}.

### Urgent Service Calls

Urgent Service Calls are circumstances that interrupt or otherwise adversely affect State operations. When the buildings are occupied, the Vendor {Contractor} shall respond within 30 minutes and remain on the job until the problem is resolved or until the SCM releases the Vendor {Contractor}. Urgent service calls include, but are not limited to, inoperative electrical circuits, temperature complaints, inoperative lighting above a work station, flush valve stuck open, and spills. Any work considered by the SCM to be of an urgent nature shall be classified as an Urgent Service Call.

### Routine Service Calls

Routine Service Calls are all calls not classified as Emergency Service Calls or as Urgent Service Calls. The Vendor {Contractor} shall respond promptly to all Routine Service Calls and complete the work required within 24 hours during business days. In those instances where a service call cannot be resolved within 24 hours due to circumstances beyond the Vendor’s {Contractor’s} control, Vendor {Contractor} shall immediately notify the SCM of the time and date corrective action will be completed.

## FACILITY MAINTENANCE

The Vendor {Contractor} shall ensure the facilities are kept operational in a cost-effective manner, by performing tasks required to preserve buildings, grounds, utilities, systems, and equipment in their original condition or in such a condition that they can be used effectively for their intended purposes. Direct maintenance activities shall include:

- General building maintenance;

- Preventive maintenance;

- Predictive maintenance; and

- Repair maintenance.

These specifications are structured to allow flexibility in the methods employed by the Vendor {Contractor}. Where possible, performance standards (the results you are to achieve) rather than prescriptive requirements (how and when you are to perform tasks) are used. Frequencies are provided only as guidelines. The State requires that the Vendor {Contractor} employ the best facility management, operation and maintenance practices in providing superior services at reasonable costs at these State owned facilities.

### REPAIRS

The Vendor {Contractor} shall be responsible for all repairs under $250.00. For all work over the $250.00 threshold, the State shall be informed and will either complete the work in-house, request separate bids from the Vendor {Contractor}, or have the work performed by a third party, whichever is most advantageous to the State.

## FACILITIES SERVICE CENTER (CALL CENTER)

The Vendor {Contractor} shall operate a central point to which State employees can call, fax or e-mail orders to request services, such as maintenance, technology assistance, audio/visual equipment, etc. The Vendor {Contractor} shall staff and operate this facilities service center using administrative tools and processes that support and follow facilities activities through integrated:

- Communications;

- Information technologies;

- Reporting and analysis; and

- Performance measurements.

The Vendor {Contractor} shall also maintain a log documenting the services requested and performed.

## OPERATIONS

The Vendor {Contractor} will observe and regulate the daily operation of the facilities through activities including, but not limited to:

- Turn systems and equipment ON and OFF;

- Monitor systems and equipment operations;

- Troubleshoot divergences from normal operations; and

- Adjust to improve performance.

Personnel responsible for the operation of heating, ventilating, and air-conditioning systems shall be required to be available at earlier or later times than specified for start-up and shut-down of equipment if requested by the SCM.

### Non-Operational Equipment

On a daily basis, the Vendor {Contractor} shall report to the SCM the status of any major equipment or systems that are not operational or that become non-operational during the workday. Any system or equipment, including elevators, not operational by the official start time of Occupant hours shall be reported immediately. Malfunctions of security, fire, and life safety systems shall be reported immediately to the SCM and to security personnel.

## MONTHLY MANAGEMENT FEE AND REIMBURSABLES

The monthly management fee covers all normal operations, or operations that occur during normal business hours, of the buildings. Repair parts and supplies under $250 are part of the monthly management fee and are not reimbursable.

The Vendor {Contractor} will be reimbursed for all supplies and repair parts exceeding $250, unless otherwise stated. All repair parts and supplies exceeding $250 require the approval of the SCM.

If each task can be done during normal business hours, the supervisor is covered by the monthly management fee. Tasks that can only be done after business hours are Special Projects.

## MAINTENANCE

The Vendor {Contractor} shall perform scheduled maintenance and repairs as and when necessary. The level of maintenance shall assure that the property is free of defects or missing components which affect the safety, appearance, or intended use of the facilities or would prevent any electrical, mechanical, plumbing, or structural system from functioning in accordance with design intent.

All work must be completed with workmanship and materials equal to the best of the kind and quality standard in the industry. All work is subject to the prior approval and final inspection of the SCM.

If any equipment must be shut down for maintenance or repair, the Vendor {Contractor} shall coordinate the shut-down schedule with the SCM.

### Preventive Maintenance (PM)

The Vendor {Contractor} shall execute a computerized Preventive Maintenance (PM) program with supporting logs and records to ensure regular inspections and maintenance tasks are accomplished on all buildings and equipment.

The PM program shall include, but not be limited to, periodic inspection, testing, cleaning, lubrication, adjustment, parts replacement, and repairs to keep the systems and equipment in optimum operating condition. Manufacturers' recommended PM shall be the minimum accepted level.

This PM program shall utilize the specified software programs for recording and scheduling PM activities. At all times, the database shall be the property of the State, and all components of the program and the database shall remain at the facility beyond the expiration of the Blanket P.O.

Monthly reports shall summarize work scheduled, completed, deferred, and rescheduled.

### Preventive Maintenance Tasks and Frequencies

The Vendor {Contractor} shall develop for each system or component the individual PM tasks to be performed and the frequency for performing each task. The Vendor {Contractor} shall schedule the interval of PM tasks by both calendar periods and operating hours (run time), as applicable to each piece of equipment.

### Preventive Maintenance Program

As part of its Facilities Operation Plan, the Vendor {Contractor} shall submit to the State a comprehensive PM program designed for the equipment and systems including, but not limited to, those listed in this Bid Solicitation. The Vendor {Contractor} shall identify those items on which PM will be performed, a description of the tasks to be done, and the frequency the tasks that shall be performed. After the SCM has returned the reviewed copy of the Vendor’s {Contractor’s} PM program, the Vendor {Contractor} shall submit an annual PM schedule for all PM. For each piece of equipment, the PM schedule shall state:

- Identification of equipment, manufacturer, model number and serial number;

- Location of equipment;

- Equipment identification number;

- Maintenance tasks to be performed;

- Frequency for scheduled maintenance tasks; and

- Time frame for completion of each PM task.

### Repair Maintenance

Repair maintenance includes all repair, replacement, and adjustment of equipment in response to conditions discovered through scheduled PM, unscheduled equipment breakdown, improper operation, or Occupant complaint. Repair work shall be carried to completion, including touch-up painting and operational checks. The Vendor {Contractor} shall not perform repairs outside of the scope of this Blanket P.O. exceeding $250 without the written approval of the SCM.  All repair and replacement parts over $250 are reimbursable.

### Maintenance Records

The Vendor {Contractor} must maintain PM records for each piece of equipment or system. Records must include, when available:

- Name-plate data;

- Installer and installation date;

- Installed cost;

- Warranty information;

- Periodic maintenance performed and dates thereof; and

- Repair and cost histories.

The Vendor {Contractor} must update the PM records and equipment history files on a monthly basis, and submit a monthly report.

All PM records and electronic databases shall be turned over to the State upon termination of the Blanket P.O.

## UTILITY MANAGEMENT

The Vendor {Contractor} shall manage the use of utilities (electricity, gas, fuel oil, water and sewer) at the facility through programs that consider:

- Supply-side management;

- Rate analysis;

- Deregulation opportunities;

- Demand-side management;

- Consumptions and costs;

- Energy conservation; and

- Maintenance.

### Energy Conservation Program

The Vendor {Contractor} shall assist the SCM with carrying out the State’s Energy Conservation Program:

- Review schedules and set points for heating, ventilating, and air-conditioning systems. Set comfort levels according to the different needs of the Occupants based on business function, location, equipment and personnel;

- Review schedules and set points for occupied and unoccupied cycles;

- Reduce set points for domestic hot water heaters serving restrooms and pantries;

- Reduce lighting levels in all non-task areas. Replace energy-wasting incandescent lighting whenever possible. Review and adjust lighting schedules for occupied and non-occupied cycles; and

- Service photocells and other lighting controls to assure proper functioning.

### Utility Maintenance

The Vendor {Contractor} shall perform PM services as required and applicable to keep utility systems operating properly, including but not limited to:

- Mapping the layout of utility systems and label controls for a partial or a complete emergency shutdown;

- Developing and maintaining current utility system operational plans to ensure reliability, minimize risks, and reduce failures;

- Establishing emergency procedures for utility system disruptions or failures, including identification of alternative sources of essential utilities;

- Inspecting, testing, and maintaining critical operating components;

- Investigate utility systems problems, failures, or user errors and reporting incidents and corrective actions; and

- Identifying potential hazards to personnel and clearly marking them.

## HVAC SYSTEMS

### HVAC Operations

The facility HVAC systems shall be operated in an energy efficient manner to provide the following environmental conditions:

- Temperatures - During operating hours, maintain temperatures at energy guideline levels in accordance with the most recent edition of the Quality Standards in the American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE) Standard 90.1, Energy Code for Buildings, which can be found in the following link: https://www.ashrae.org/technical-resources/bookstore/standard-90-1;

- Ventilation - Ventilation shall be in accordance with the most recent edition of the Quality

Standards in the American Society of Heating, Refrigerating, and Air-Conditioning Engineers (ASHRAE) Standard 62, Ventilation for Acceptable Indoor Air Quality, which can be found in the following link: https://www.ashrae.org/technical-resources/bookstore/standards-62-1-62-2;

- Outside Air - Outside air shall be used to the maximum during moderate seasons based on outside temperatures and humidity conditions, the operating capabilities of HVAC systems, and the above ASHRAE standards;

- Operating Time - The normal operating time for building equipment and systems will be considered as the time to operate the buildings' HVAC equipment to provide space temperatures mandated by the State. Starting time for HVAC equipment must be based on weather conditions to provide proper interior conditions at the beginning of Operating Hours. Equipment shall not be operated unnecessarily during evening, overnight, weekend or holiday hours, or when entire buildings or specific areas of buildings are not in use; and

- Operating Log(s) - The Vendor {Contractor} shall record equipment operating temperatures and pressures for each major operating unit at regular and consistent intervals each day of systems operation.

### HVAC Maintenance

The Vendor {Contractor} shall perform PM services as required and applicable to keep systems operating properly, including but not limited to:

- General:

  - Checking and logging operating data for all components;

  - Recording volts and amps for all motors;

  - Testing safety relief valves;

  - Calibrating temperature and pressure controls;

  - Checking all system interlocks;

  - Performing air filter service detailed below;

  - Cleaning, lubricating, and adjusting system components, motors, starters, drives, pumps, and accessories per manufacturer’s standards/recommendations;

  - Maintaining all equipment housings free of accumulated dirt and corrosion, and applying additional protective coating to prevent corrosion;

  - Checking and cleaning grills for HVAC supply air, return air, and exhaust air; and

  - Power/chemical washing air handler and fan coils to maintain current conditions and manufacturers’ design air flows.

- Refrigeration machines:

  - Checking for refrigerant leaks; repair and recharge. Follow current refrigerant management procedures;

  - Maintaining refrigerants and compressor oil free from contaminants. Test at least annually; and

  - Power/chemical washing evaporator coils to maintain clean conditions and manufacturers’ design air flows.

- The Vendor {Contractor} shall also maintain:

  - All interconnecting fuel, refrigerant, and water lines, valves, and connections;

  - All insulation on equipment and piping;

  - All capacity, temperature, and safety devices, including thermometers and gauges, which control the equipment;

  - All indicator lamps and gauges;

  - Electrical panels and wiring to pumps, blowers, and other components; and

  - All damper linkages, bearings, and damper motors for air handling apparatus.

### Water Treatment

The Vendor {Contractor} shall furnish a complete water treatment service:

- Boiler Water Systems - Supply all chemicals to boilers for the prevention of scale, corrosion, and oxygen pitting under normal water use; perform on-site testing and submit a complete monthly report. All boiler operators must possess applicable licenses;

- Closed Hot and Chilled Water Systems - Supply cleaner and treatment chemicals to prevent corrosion under normal water use; perform on-site testing and submit a complete monthly report;

- Cooling (Condenser) Water Systems - Supply all chemicals to cooling towers to prevent scale, corrosion, and algae formation under normal water use; perform on-site testing and submit a complete written report monthly. As part of a program for monitoring and preventing water-borne disease, provide monthly testing of the cooling water for Total Plate Count of Bacteria and quarterly testing of the cooling water for Legionella (Legionnaire Disease). Submit a written monthly report; and

- Drinking Water (potable water) - As part of a program for monitoring and preventing waterborne disease, test the potable water within the facilities annually for:

  - Bacteria - TPC, coliform;

  - Metals - iron, copper, lead, manganese, and zinc; and

  - Inorganics - pH, hardness, total dissolved solids, calcium, alkalinity, and chlorides.

The Vendor {Contractor} shall submit its proposed water treatment program with a monthly report to the SCM on the initial water analysis. The Vendor {Contractor} shall provide monthly service reports and maintain complete records of the water testing and treatment program. The Vendor {Contractor} shall install water meters on make-up water supply lines to chilled water and condenser water loops to measure the use of make-up water. The Vendor {Contractor} shall apply for a credit on sewer charges for water lost to evaporation from cooling towers.

### Indoor Air Quality

The State is committed to providing its employees with a safe and environmentally friendly workplace. The Vendor {Contractor} shall test the facilities semi-annually or as directed by the SCM for general air quality, including airborne allergens and biologicals, temperature, humidity, carbon monoxide (CO), carbon dioxide (CO2), and volatile organic compounds (VOCs).

### Controls Maintenance

The Vendor {Contractor} shall operate and maintain HVAC controls and computer-based energy management systems in accordance with their original designs and all upgrades and with manufacturer’s specifications.

The Vendor {Contractor} shall maintain detailed records of any control problems and shall coordinate service and repairs to the facility automation and control system.

### Consumables

The Vendor {Contractor} shall only employ and apply consumables which are considered appropriate by regulating governmental agencies, and shall only employ and apply consumables in accordance with manufacturers’ instructions. Hazardous materials must not be used except with the prior written approval of the SCM, and in strict accordance with all applicable statutes, rules, and regulations.

Refrigerants - The Vendor {Contractor} shall establish a refrigerant management program, including written records of refrigerant use. The Vendor {Contractor} shall insure that all ozone depleting substances encountered during maintenance or repair of HVAC equipment are recovered and recycled, reclaimed, or disposed of by environmentally safe methods, all in accordance with applicable regulations.

Lubricants - Lubricants and frequency of lubrication shall meet standards established by equipment manufacturers.

Filter Media - Filter media in HVAC air handling equipment shall be UL Class II. Filters must be sized and configured to fully occupy the filter racks provided. Pleated filters must be used in units with 2-inch and 4-inch filter racks.

## PLUMBING SYSTEMS

The Vendor {Contractor} shall maintain all components of plumbing supply and drainage systems free of leaks.

### Water Supply & Waste

The Vendor {Contractor} shall provide the following related to water supply and waste:

- Key components - Develop a valve chart and clearly label valves and other key components;

- Testing - Periodically test the potable water to confirm its quality;

- Shut-off valves - Maintain each valve in good operating condition free from internal or external leakage. Exercise each valve at least annually;

- Pressure reducing valves (PRV) - Maintain PRV stations to provide proper pressure and flow for efficient fixture operation. Calibrate at least annually;

- Back-flow preventers - Maintain in accordance with manufacturer's instructions. Test at least annually;

- Flush valves - Maintain each flush valve at the minimum flow rate necessary for proper fixture operation;

- Mixing valves - Maintain temperature of water at a level to ensure occupant safety;

- Hot water heater - Flush each hot water heater as necessary to maintain it free from foreign matter. Maintain temperature of water at a level to ensure occupant safety;

- Drinking fountains - Maintain drinking fountain water flows at 12 gallons per minute, or GPM, and 50ºF at 90ºF ambient. Keep drain free from any foreign material and chiller unit free from dust and dirt; and

- Sanitary drains - Keep all drain lines and related components free from any foreign matter, obstruction, and odors through regularly scheduled servicing.

## ELECTRICAL SYSTEMS

The Vendor {Contractor} must maintain electrical equipment in accordance with NFPA Standard No. 70B: Recommended Practice for Electrical Equipment Maintenance, found at https://www.nfpa.org/codes-and-standards/all-codes-and-standards/list-of-codes-and-standards/detail?code=70B.

Inoperative lights, switches, and receptacles are considered part of normal repair maintenance. The Vendor’s {Contractor’s} response to work orders shall reflect the nature of the service problem and its effect on operations.

### Electrical Switchgear

Switchgear maintenance is not included in the Vendor’s {Contractor’s} monthly fee. The Vendor {Contractor} will be asked to submit a separate estimate for this work when requested by the SCM and will be reimbursed separately if it is directed to perform the testing. The State reserves the right to award this work to another contractor at its discretion.

### Lighting

The Vendor {Contractor} shall maintain all lighting fixtures attached to the buildings, grounds, and systems furniture.

Lighting shall be operational at all times, subject to lighting schedules furnished to the Vendor {Contractor} by the SCM.

The Vendor {Contractor} shall maintain records of lamp, ballast, and lighting controls failures, and shall submit a summary monthly report to the SCM.

#### Relamping

The Vendor {Contractor} shall replace burned-out lamps as Urgent Service Calls or as Routine Service Calls, depending on the location. The Vendor {Contractor} shall determine the location.

Group relamping shall be employed for fluorescent fixtures based on percent of lamp burnouts. Group relamping shall include washing of fixtures and lenses and shall be scheduled with the SCM.

#### Replacement Lamps and Ballasts

- Fluorescent ballasts shall be U.L. listed, rated by the Certified Ballast Manufacturer's Association, and conform to listing requirements;

- The lamp and ballasts shall be selected as an energy efficient system. The relative light output shall equal 97% with a power input reduction of 80% minimum for 4 ft. lamp systems;

- Ballasts shall have thermal protective U.L. "Class P" devices; and

- Disposal of lamps and ballasts shall be in accordance with State and Federal regulations, and shall be recycled if possible.

#### Lighting Controls

The Vendor {Contractor} shall maintain lighting controls for these facilities. The Vendor {Contractor} shall maintain detailed records of any control problems and coordinate service and repairs to the lighting control system.

## ELEVATORS

The Vendor {Contractor} shall respond immediately to all reports of elevator problems where life or property are endangered, and shall respond in no later than 30 minutes to all reports involving passengers on a stalled elevator, and within one (1) hour to all other problems or malfunctions related to elevators.

### Elevator Maintenance

The Vendor {Contractor} shall prove, to the satisfaction of the SCM, that elevator systems function properly. Dispatching, scheduling, and emergency service features will be tested and adjusted in accordance with manufacturer's literature. A report of time intervals and dispatch times on various programs, door standing times, and door opening and closing speeds shall be furnished at least annually to the SCM. All work must be performed with no inconveniences to occupants.

The Vendor {Contractor} shall immediately notify the SCM in writing of the existence or development of any defects or repairs required to the elevators which is outside of the scope of this Blanket P.O. The Vendor {Contractor} shall be responsible for all repair items under $250. Under no circumstances shall the Vendor {Contractor} proceed with repairs over this threshold without prior written approval of the SCM.

The Vendor {Contractor} must maintain a copy of elevator control schematic diagrams in the Technical Library. Elevator control schematic diagrams are the property of the State and must remain on-site after termination of this Blanket P.O.

### Elevator Inspections and Tests

The Vendor {Contractor} shall schedule, and have performed, periodic safety tests and inspections of all elevators as required by the latest edition of ASME A-17.1, NJ Uniform Construction Code, and by any other applicable governing authorities. Once the Vendor {Contractor} has received the Elevator Inspection Report, which shall be in accordance with the American Society of Mechanical Engineers (ASME) standards and State codes, the Vendor {Contractor} shall furnish a copy of said report to the SCM.

The Vendor {Contractor} shall be responsible for the correction of all listed deficiencies by the date specified in the report or as determined by the SCM. Any deficiencies marked "Emergency" must be corrected immediately as Emergency Service Calls. When all listed deficiencies have been corrected, the Vendor {Contractor} shall sign and date the inspection report and return it to the SCM.

The Vendor {Contractor} shall obtain and post signed standard forms in the elevator car and/or in the elevator machine room as required. A copy shall be provided to the SCM.

### Emergency Communication System

The Vendor {Contractor} must maintain and test elevator emergency communication equipment.

### Elevator Incident Reports

The Vendor {Contractor} shall submit the original of a written incident report within 24 hours of any elevator incident involving people such as entrapment of one or more persons on an elevator. Reports on elevator incidents shall include date and time, identities and addresses, notification of elevator contractor and its response, notification of authorities (if any) and their response, the Vendor’s {Contractor’s} response, and information as to the cause of the incident.

## FIRE, SECURITY & SAFETY

### Inspections

The Vendor {Contractor} shall establish weekly written inspections and checks of components of fire and life safety systems:

- Sprinklers and standpipes;

- Every control valve;

- Pressure gauges;

- Fire extinguishers;

- Location, condition, gauge and tag;

- Fire alarm system;

- Panel indicators;

- Test;

- Emergency generator;

- Fluid levels (fuel, coolant, oil & battery);

- Operate;

- Record operating data;

- Elevators;

- Alarm bells;

- Communications;

- Door tracks; and

- Exit signs.

### Fire Suppression Systems

- Sprinklers - The Vendor {Contractor} shall test and maintain automatic sprinkler and standpipe systems in accordance with NFPA Standard No. 25: Inspection, Testing and Maintenance of Fire Protection Systems, found at https://www.nfpa.org/codes-and-standards/all-codes-and-standards/list-of-codes-and-standards/detail?code=25, and applicable State and local codes and regulations;

- Fire extinguishers - The Vendor {Contractor} shall maintain portable fire extinguishers in accordance with NFPA Standard No. 10: Portable Fire Extinguishers, found at https://www.nfpa.org/codes-and-standards/all-codes-and-standards/list-of-codes-and-standards/detail?code=10, and applicable State and local codes and regulations; and

- Certified technicians shall perform tests and maintenance of fire suppression systems where applicable.

### Fire Alarm Systems

The Vendor {Contractor} shall furnish all maintenance services required to keep fire alarm systems in good operating condition. Work performed must conform to the latest publication of applicable sections of NFPA 72, found at https://www.nfpa.org/codes-and-standards/all-codes-and-standards/list-of-codes-and-standards/detail?code=72, and relevant State and local codes and regulations.

The Vendor {Contractor} shall test fire alarm systems in accordance with NFPA 72 to include, but not be limited to:

- Verify proper operation of central station sending and receiving equipment including alarm and trouble conditions as prescribed by NFPA 72;

- Conduct a 100% peripheral inspection and test with a minimum of 50% of all devices tested in not greater than a six (6) month period, and with all devices tested in not greater than a one (1) year period;

- Submit a written report of the work performed upon submittal of the inspector’s report; and

- Tag or label each piece of equipment that is serviced at the time of service. This tag shall show the name of the Vendor {Contractor} or Subcontractor, the date and type of service performed, and the name and signature of the technician who performed the work.

### Smoke Evacuation Systems

The Vendor {Contractor} shall maintain fire smoke evacuation systems in good operating condition. Work performed must conform to the latest publication of applicable sections of NFPA standards and State codes. Qualified technicians must perform tests, maintenance, and repair of smoke evacuation systems.

Maintenance of the systems shall include, but not be limited to:

- Verifying proper operation of each component in response to initiating devices;

- Confirming response times and air flows;

- Submitting a written report of the work performed upon completion of the work; and

- Tagging or labeling each piece of equipment that is serviced at the time of service. This tag shall show the name of the Vendor {Contractor} or Subcontractor, the date and type of service performed, and the name and signature of the technician who performed the work.

### Fire Drills

The Vendor {Contractor} shall cooperate and coordinate with the SCM in scheduling and conducting fire drills. The Vendor {Contractor} shall check proper operation of alarm initiating and indicating devices and interfaces with other systems such as HVAC.

### Emergency Generators

The Vendor {Contractor} must maintain and test emergency generators in accordance with NFPA Standard No. 110: Emergency and Standby Power Systems, found at https://www.nfpa.org/codes-and-standards/all-codes-and-standards/list-of-codes-and-standards/detail?code=110, and in accordance with applicable State and local codes and regulations. A qualified generator service contractor, who must certify to the SCM that the system is in proper working order, must perform tests. Any failures must be reported immediately and treated as emergency service calls.

The Vendor {Contractor} will operate the emergency generator weekly and record all gauge and fuel level readings. The Vendor {Contractor} shall schedule operating and testing the emergency generator at times to avoid disruption to occupants.

The Vendor {Contractor} must maintain the fuel level for the emergency generators at a minimum of 90% full. The Vendor {Contractor} shall supply the generator fuel and batteries. If rental of load banks is required for generator testing, the Vendor {Contractor} shall be reimbursed separately.

### Lightning Protection System

The Vendor {Contractor} shall maintain the integrity of the lightning protection system by:

- Annual physical inspection, electrical continuity, and resistance measuring of conductors, connectors, and air terminals;

- Annual earth testing; and

- Other maintenance and repair procedures in accordance with the most recent edition of NFPA 780: Lightning Protection Code, found at https://www.nfpa.org/codes-and-standards/all-codes-and-standards/list-of-codes-and-standards/detail?code=780, and other applicable codes.

### Security Personnel

The State has contracted for security personnel services at all sites. The Vendor {Contractor} shall cooperate with the State’s security contractor and its assigned personnel on all matters affecting the facilities.

Security personnel will be present on site at both facilities as follows:

- Freehold - Monday to Friday 8 a.m. to 5 p.m.; and

- Asbury Park - Monday to Friday 7 a.m. to 7 p.m.

### Incidents

The Vendor {Contractor} shall submit written reports of all incidents at the facilities. The Vendor {Contractor} shall report any incidents via telephone to the New Jersey State Police and to the SCM or designee and shall submit the original of a written incident report within 24 hours. Reports on fire incidents shall include time of discovery, of notification of authorities, of arrival of any police units and other responding apparatus, and of final departure of all. Include any pertinent information as to probable cause of the incident and an account of the Vendor’s {Contractor’s} actions during the emergency.

## ARCHITECTURAL AND STRUCTURAL

The Vendor {Contractor} shall be responsible for accomplishing minor architectural and structural repairs and replacements only authorized by the SCM. The State reserves the right to solicit competitive prices. Architectural and structural responsibilities under this Blanket P.O. are expected to be extremely minor. DPMC contracts separately with various architects and engineers to maintain its facilities. The Vendor {Contractor} will be required only to address minor (under $250) repairs.

All replacements shall match existing dimensions, materials, quality of work, finish, color, design, and appearance. Wherever the term "appearance" is used in this or subsequent clauses, it shall be construed to mean an appearance similar to the original finished appearance with only minor, unobjectionable deterioration resulting from normal use.

During and at completion of work, debris shall not be allowed to spread into adjacent areas or accumulate in the work area itself. All debris, excess material, and parts shall be cleaned up and removed at the end of each day while work is in progress and/or at the completion of the job. Upon completion of work, any stains and other unsightly marks shall be removed.

### Painting

Painting will be considered a Special Project work under this Blanket P.O. If painting is required, the Vendor {Contractor} shall invoice separately for this work using the loaded hourly price line for “painter” and the price line for material reimbursement (if necessary).

### Doors

The Vendor {Contractor} shall maintain all doors in a safe and usable condition including, but not limited to, power doors such as garage and loading dock doors, revolving doors, sliding or swinging doors, and attached hardware. These shall be maintained in good repair in accordance with manufacturers' recommendations.

### Keys and Locks

The State’s security contractor and its personnel will administer a master key system to cover all locks including padlocks used at the facilities.

The Vendor {Contractor} shall perform lockset changes as requested in cooperation with the State’s security contractor.

## PEST CONTROL

The Vendor {Contractor} shall maintain the facility free from objectionable pests using the principles of Integrated Pest Management (IPM) where reasonably applicable. The Vendor {Contractor} or its Subcontractor must possess a valid pesticide applicator business license with the Department of Environmental Protection’s Pesticide Control Program. The Vendor {Contractor} shall employ only certified pest control personnel to perform this service.

To exterminate rodents, insects, and other pests, the Vendor {Contractor} shall use only those pesticides which comply with the provisions of the Federal Insecticide, Fungicide, and Rodenticide Act (USC 136 et seq.) as amended by the Federal Environmental Pesticide Control Act of 1972 and the regulations issued there under.

### Insects

Insect control is defined as those measures that are necessary to suppress crawling and flying insect populations within the facilities through the use of IPM and/or properly registered and labeled pesticide products and approved devices.

### Rodents

Rodent control is defined as those measures necessary to suppress populations of rats, mice and/or any other species that become a pest within or around the facility.

Rodent control measures include repelling, trapping, and poisoning programs directed at providing environmentally safe space for occupants.

### Performance

The Vendor {Contractor} shall:

- During the first month of Blanket P.O., conduct a thorough inspection of the facilities to locate any infestation. Intensive treatment must follow to eliminate any existing problems;

- Perform follow-up inspections and treatment;

- Perform additional inspections and treatment as required to maintain quality standards. The Vendor {Contractor} shall also respond to and resolve complaints within 24 hours of receipt;

- To safeguard both life and property, the Vendor {Contractor} shall adhere to the following safety precautions:

  - Prior to use, submit a list of all pesticides to be used, with material safety data sheets, to the SCM;

  - Schedule treatment only when premises are unoccupied;

  - Properly label all containers holding pesticides with the name and strength of the chemical agent therein;

  - All chemicals shall be nonflammable, secured when unattended, and registered by the U. S. Environmental Protection Agency and the State;

  - Properly remove and dispose of all excess and/or unneeded chemicals, materials or equipment after application is completed; and

  - Comply with all federal and State safety and employee right-to-know regulations.

- Quality Requirements:

  - Perform all work under this Blanket P.O. in a safe and hazard-free manner;

  - Programs for the control of rodents, insects and other pests shall be continually in effect;

  - There shall be no obvious signs of these infestations; and

  - Perform all work in a timely manner.

## JANITORIAL SERVICES

The Vendor {Contractor} shall regularly clean all areas of the facilities to maintain the facilities free from dirt, debris, foreign material, and in a first class condition. The cost for janitorial work shall be incorporated into the Vendor’s {Contractor’s} monthly management fee and the breakdown of costs per building shall be included with the other building tasks on the price sheet. The cost of cleaning materials and equipment are not reimbursable. The Vendor {Contractor} may perform this work by its own staff or by a qualified Subcontractor.

The monthly management fee shall include all janitorial tasks required to keep the buildings clean and free of clutter and debris unless otherwise stated. The Vendor {Contractor} is responsible for maintaining a high level of cleanliness in the buildings even when such tasks are not expressly listed. Any unsatisfactory work must be remedied as soon as possible with no additional compensation due to the Vendor {Contractor}.

### Cleaning Hours

Cleaning services shall be performed after normal working hours of each facility unless otherwise specified by the SCM.

### Cleaning Supplies

Cleaning services shall include all equipment, materials, supplies, and other consumables to include liquid hand soap of a bactericidal type, paper towels, toilet tissue, walk-off mats, ash urns, plastic bags for wastepaper baskets, waste removal containers and all cleaners, waxes, deodorants, and other cleaning materials to perform the cleaning services. (Please note: sanitary napkin/tampon dispensers are not provided in any of the facilities). Supplies shall be of sufficient quality to meet office building industry standards; environmentally sensitive cleaning products shall be used where available. Equipment, supplies, and materials must be approved by the SCM and stored in a clean, neat, and safe manner within designated areas.

The Vendor {Contractor} shall keep soap, paper towels, and toilet tissue dispensers adequately filled at all times without overfilling. Paper towels and toilet tissue shall be sized to fit into furnished dispensers. Paper towels shall be not less than 4 millimeters in thickness. Toilet tissue shall be at least 2-ply.

Prior to the commencement  of the Blanket P.O., the Vendor {Contractor} shall furnish the SCM with a complete list of all cleaning agents and chemicals it proposes to use in this Blanket P.O. along with material safety data sheets for each facility. Only cleaning agents and chemicals which are not harmful to surface finishes, occupants, or the environment shall be used. The final list of cleaning agents and chemicals is subject to the approval of the SCM.

### Daily Cleaning Tasks and Level of Cleanliness

- Bathrooms – Vendor {Contractor} shall keep clean all floors, walls, stall partitions, fixtures, and receptacles. There shall be no dust, smudges, stains, or mold present. All supply dispensers shall be filled. Liner bags shall be replaced daily. Glass shall be clean and free of dust, smudges, or spots. Floor drains shall be flushed daily;

- General office, tenant & storage space – All surfaces shall be kept clean and free of dust, smudges, or spots. Carpeted surfaces shall be free of dirt, dust, and debris, and spot-cleaned where necessary. Floor surfaces shall be clean and free of debris and foreign matter. All spillages, dirt accumulation, or crust materials shall be removed along with spots and stains. All waste generated in the building shall be collected and removed to the designated areas specified by the State. The Vendor {Contractor} shall remove all trash and recyclables from facility receptacles and will be responsible for collecting, separating, and placing all waste in the designated areas for disposal. The SCM will review with the Vendor {Contractor} the trash and recycling procedures in each building prior to the start of the Blanket P.O.;

- Entrances, lobbies & corridors – Floor surfaces shall be clean and free of debris, including corners, near baseboards, behind doors, and under furniture. Railings, ledges, and doors shall be free of dust and debris. All exterior glass doors shall be cleaned on both sides daily. Carpeted surfaces shall be kept clean. Metal surfaces shall be clean and polished to a uniform luster. Exterior ash urns shall be emptied and wiped down as necessary. Exterior sidewalks shall be kept free of paper, trash, cigarette butts and other debris;

- Stairways, landings & treads – Stairway areas shall also be kept free of dirt and debris;

- Elevators – All elevator cars and doors shall be clean and smudge-free. Floor tracks and elevator flooring shall also be kept clean; and

- Glass – Interior and exterior windows are not included in the daily tasks. These are separate tasks that are to be scheduled and performed with the approval and coordination of the SCM (see below). However, all other glass surfaces shall be kept clean and smudge-free and wiped free of drippings, and water marks as part of daily cleaning.

### Periodic Task Work

The SCM will determine when periodic janitorial tasks are required. The Vendor {Contractor} shall only perform these services when directed by the SCM. These services shall be reimbursed at the appropriate rate specified on the Vendor’s {Contractor’s} price sheet. These rates must be fully loaded, including all labor and materials. These tasks include:

- Carpet shampooing – Thoroughly clean by either dry or wet extraction methods. The Vendor {Contractor} shall provide a price per square foot for this work;

- Stripping & waxing of resilient floors – Strip and apply floor finish as directed. The Vendor {Contractor} shall provide a price per square foot for this work;

- Bathroom deep cleaning – Including more thorough washing of walls (ceiling to floor), ceilings, baseboard, cabinets, light fixtures and covers, duct vents, and other tasks as directed by the SCM. The Vendor {Contractor} shall provide a price per square foot for this work;

- High cleaning - This is cleaning surfaces or objects approximately 70” or more from the floor, including but not limited to upper walls, ceilings, ventilation/AC outlets, transoms, clocks, ceiling moldings, partition tops, overhead pipes, ceiling fans, pictures, plaques, and diffusers. The Vendor {Contractor} shall provide a price per square foot for this cleaning;

- Interior window washing – Interior window washing includes cleaning of window panes, sills, surrounding casement, blinds, cords, and treatments. Glass surfaces shall be cleaned without streaks or cloudiness. Window sashes, sills, woodwork, and other surroundings of interior glass shall be wiped free of drippings and water marks. The Vendor {Contractor} shall provide a price per window for this work; and

- Exterior window washing – The Vendor {Contractor} shall provide a price per window for cleaning of exterior windows, including all labor, cleaning solutions, squeegees, and scaffolding/lifts or other equipment. The Vendor {Contractor} must take all necessary safety precautions in the use of scaffolding, anchors, and harnesses. This work shall  be scheduled in advance and performed to provide the least inconvenience of the building occupants.

### Inspection

Periodic formal cleaning inspections of the facilities shall be performed at random by the SCM with a representative(s) of the Vendor {Contractor}. The SCM will maintain a file of these inspections as a reference of performance.

## SNOW AND ICE REMOVAL

The Vendor {Contractor} shall provide snow plowing and salting services from all entrance steps, landings, sidewalks, and the parking lot before building occupants report for work and on a continuous basis thereafter. The Vendor {Contractor} shall furnish the necessary personnel, tools, supplies, equipment, and vehicles determined to be necessary for snow plowing and salting services.

### SALTING AND USE OF CHEMICALS

Chemicals and/or salt shall be used to reduce safety hazards due to ice and snow. All chemicals shall be in accordance with federal specifications. The Vendor {Contractor} shall furnish MSDS or manufacturers equivalent information sheets to the SCM.

### USE OF SALT

At the start of accumulation of snow, sleet, or freezing rain, a salt mixture must be applied to the parking lot. At two (2) inches of snow accumulation, snow plowing equipment must be brought on site to clear snow. After the initial snow clearance process, the Vendor {Contractor} must continue the snow plowing process until the snow ends.

### REIMBURSEMENT

The Vendor {Contractor} will be reimbursed for snow removal after two (2) inches of accumulation at the hourly rates award. The Vendor {Contractor} will also be reimbursed for materials used after two (2) inches of accumulation. Snow accumulation levels shall be determined as reported by the National Weather Service for this particular area of New Jersey.

## TRASH AND RECYCLING REMOVAL

The Vendor {Contractor} shall furnish all necessary labor, equipment, and supervision to provide waste and incidental debris removal and disposal services as outlined herein and shall facilitate and coordinate a recycling program. The Vendor {Contractor} shall comply with any and all federal, State, or local laws, now in effect or hereafter promulgated, which apply to waste recycling and removal operations.

In addition, the Vendor {Contractor} shall be responsible for the collection of all trash and recycling in trash receptacles and dumpsters for both locations. However, the Vendor {Contractor} shall only be responsible for the disposal or removal of collected trash for the Asbury Park location. The Vendor {Contractor} shall keep all dumpsters in the Asbury Park location free from overflowing and unsightly trash. All trash receptacles in both locations must be replaced with a new trash liner daily, Monday through Friday.

The Vendor {Contractor} shall be required to provide trash receptacles and dumpsters for the Asbury Park location only.

Trash and recycling removal are covered under the monthly management fee.

### Performance Requirements

- All trash spilled in the collection or removal process must be picked up immediately by the Vendor {Contractor};

- Containers are to be emptied as required and at all times specified by the SCM;

- All containers are to be supplied and maintained by the Vendor {Contractor}; and

- Provider will check overhead and side clearances at locations of containers/compactors.

### Waste Containers

The Vendor {Contractor} shall maintain all waste containers in good working order. The Vendor {Contractor} shall use fireproof waste removal containers and dumpsters. The appearance/design of waste containers is subject to approval of the SCM.

Containers must be clean and free from objectionable odors. Openings on waste containers must be closed after deposit and removal of trash.

## GROUNDS MAINTENANCE

Services shall include cleaning of the entrances, steps, sidewalks, parking lot, courts, and policing lawns extending to the established property line. Benches, light fixtures and lamps, signs, flag poles, and other exterior furnishings shall also be kept clean. Grounds maintenance is not a reimbursable.

- Weeds on building grounds shall be eradicated and removed to present a neat, well-maintained appearance;

- Sidewalks, gutters, roadways, and other surfaces surrounding the buildings shall be free

of leaves and other debris;

- Trees and shrubs shall be pruned to remove all dead or dying limbs and branches. Tree branches shall be thinned and elevated as needed. Shrubs shall be trimmed to a neat appearance;

- The Vendor {Contractor} shall furnish the necessary tools, supplies, equipment, and vehicles determined to be necessary for the cleaning, weeding, policing, trimming, and pruning; and

- The Vendor {Contractor} shall remove and properly dispose of all weeds, trimmings from shrubs and trees, or other debris generated by or collected from the facilities’ grounds.

### Lawn Maintenance

The Vendor {Contractor} shall furnish the necessary personnel, tools, supplies, equipment, and vehicles determined to be necessary for lawn trimming and clean-up.

All turf areas shall be neatly and uniformly cut. Trimming around light poles, fence lines, retention areas, drainage inlets, and trees shall be performed by the Vendor {Contractor} at no additional charge. Clean-up of heavy grass accumulation on lawns and clippings on sidewalk and roadways shall be performed by the Vendor {Contractor} before it leaves the property during every cut.

#### Mulch

Mulch shall be used under shrubs around the Freehold location. The depth of mulch used shall be sufficient enough to help suppress the growth of weeds. The Vendor {Contractor} must obtain approval of the mulch used from the SCM.

## RE-STRIPING

The Vendor {Contractor} shall be responsible for re-striping the entire or portion of the parking lot for the Freehold location upon the request and at the discretion of the SCM including but not limited to parking lanes, handicapped spaces, no larking areas, fire zones, pedestrian walkways, and such other places that define traffic flow. For each re-striping service requested by the SCM, unless otherwise stated, all repair parts and supplies under the Blanket P.O. are reimbursable if they exceed $250 and have obtained approval of the SCM. As such, the Vendor {Contractor} will be reimbursed for the repair parts and supplies used in the re-striping of the Freehold Office Building Parking Lot if the cumulative cost of re-striping exceeds $250. However, all repair parts and supplies under $250 shall be included in the monthly management fee.

Paint shall be of the same or original color. The Vendor {Contractor} shall be responsible for maintenance of the paint coverage on repainted surfaces during the life time of the Blanket P.O.

## ASBURY PARK PARKING LOT MAINTENANCE

The Asbury Park Parking Lot is part of and covered under the Asbury Park Office Building.

### Parking Lot Requirements

- The Vendor {Contractor} shall provide all labor, equipment, and materials to maintain the parking lot;

- The Vendor {Contractor} shall responsible for patching cracks and holes on all surfaces as needed;

- The Vendor {Contractor} shall be responsible for re-striping portions or the entire parking lot determined by and upon request of the SCM including but not limited to parking lanes, handicapped spaces, no larking areas, fire zones, pedestrian walkways, and such other places that define traffic flow. Paint shall be of the same or original color. For each re-striping service requested by the SCM, unless otherwise stated, all repair parts and supplies under the Blanket P.O. are reimbursable if they exceed $250 and have obtained approval of the SCM. As such, the Vendor {Contractor} will be reimbursed for the repair parts and supplies used in the re-striping of the Asbury Park Parking Lot if the cumulative cost of re-striping exceeds $250. However, all repair parts and supplies under $250 shall be included in the monthly management fee;

- The Vendor {Contractor} shall be responsible for maintenance of the paint coverage on repainted surfaces during the life time of the Blanket P.O.; and

- The Vendor {Contractor} shall keep the premises clean at all times by policing the area on a daily basis or more for broken glass, trash, and cigarette butts.

### Parking Lot Sweeping

The Vendor {Contractor} shall be responsible for power sweeping the entire lot three (3) times per year as follows:

- All areas are to be swept to remove debris including all corners and areas not accessible to the sweepers;

- There is no dumping allowed on State Property. The Vendor {Contractor} must remove sweepings form the State property in accordance with local laws or ordinances;

- Vendor’s {Contractor’s} vehicles and sweeping equipment shall be maintained properly, with lights and reflectors installed and in proper working order; and

- The Vendor {Contractor} shall be responsible for ensuring that all articles found by employees on or near the premises are turned in at a designated place.

### Snow and Ice Removal

The Vendor {Contractor} shall be responsible for the removal of snow and ice before the start of the workday, during working hours, and on a continuous basis thereafter for the Asbury Park facility parking lot. At the start of accumulation of snow, sleet, or freezing rain, a salt mixture must be applied to the parking lot. At two (2) inches of snow accumulation, snow clearance equipment must be brought on site to clear the snow. The Vendor {Contractor} must continue the snow clearance process until the snow ends. The Vendor {Contractor} will be reimbursed for this service after (2) inches of accumulation in accordance with awarded pricing. Snow accumulation levels shall be determined as reported by the National Weather Service for the particular area of New Jersey.

## PARKING GARAGE MANAGEMENT – ASBURY PARK

### Description of Facility

The Asbury Park Garage is a five (5) level pre-cast concrete structure. Each level is approximately 20,000 square feet.

The parking space tabulation for the parking garage is as follows:

Standard: 293

Handicap: 5

Total: 298

All authorized users of the garage have been assigned access cards by the State. Currently there are agreements in place for the utilization of 50 parking spaces by non-State personnel. A copy of the parking agreement between the State and the City of Asbury Park will be provided upon request.

### Vendor {Contractor} Requirements

Pertaining only to the garage, the Vendor {Contractor} shall:

- Manage, operate, direct, maintain, and supervise all aspects and activities concerning the operation and maintenance of the garage. All services rendered must be in accordance with all applicable codes and standards;

- Be responsible for monitoring and enforcing all applicable laws regarding handicapped spaces. The Vendor {Contractor} shall be responsible to notify the State Police and the City of Asbury Park Police if necessary to enforce all applicable laws;

- Be responsible for routine and general maintenance of the garage, including but not limited to the following:

  - Landscape services;

  - Elevator maintenance;

  - Pest control;

  - Maintenance of grass and upkeep of flower beds;

  - Trash removal;

  - Maintenance and winterization of utilities;

  - Sweeping of parking areas;

  - Replacement of lamps;

  - Snow and ice removal;

  - Fire protection systems including fire extinguishers/alarms;

  - Cleaning of sidewalks, grounds, stairwells, office space, restrooms and lobby windows;

  - Repair of operating equipment;

  - Re-striping of parking lanes, fire zones, pedestrian walkways, and handicap spaces;

  - Painting; and

  - PM.

- The garage must be maintained free of dirt, debris, dust, car drippings, and ice;

- The Vendor {Contractor} must maintain all State equipment in good working condition and upon Blanket P.O. expiration or termination return the same equipment to the State in good condition and repair. Reasonable wear and tear is expected. The SCM will conduct a thorough inspection 30 days prior to Blanket P.O. expiration to confirm that the equipment is in proper condition. If repairs are needed, the Vendor {Contractor} shall immediately do so at its own expense. Only problems that can be verified by the State to have occurred prior to the start of the Vendor {Contract} will not be the obligation of the Vendor {Contractor};

- The Vendor {Contractor} shall provide for the maintenance and repair of all operating systems, including but not limited to: plumbing, alarms, booths, and watch guard security systems. A maintenance log that details all routine and PM activity must be developed by the Vendor {Contractor} and approved by the SCM;

- Within five (5) days after final Blanket P.O. award, the SCM and the Vendor {Contractor} must make a complete inspection of all mechanical, electrical, utility systems and equipment security and fire alarm systems, roofs, windows, doors and other structural features for the purposes of developing a deficiency report. The report must be prepared as the inspection is conducted and must be signed when completed by the representatives of both parties;

- Within 30 days after inspection completion, the Vendor {Contractor} must prepare and submit to the SCM a copy of the deficiency report with an attached list of the repairs needed to correct each deficiency, including the Vendor’s {Contractor’s} cost. It shall be the Vendor’s {Contractor’s} responsibility to correct noted deficiencies on the terms of this Blanket P.O. period. The State may elect to have all or any part of this work performed by the Vendor {Contractor} at the price or prices quotes or by the State employees or other contractors;

- Within 60 days after Blanket P.O. award, the Vendor {Contractor} shall provide to the SCM an operating procedures handbook and maintenance scheduled for the garage. The maintenance scheduled must include all OEM required maintenance activity, services, and parts/supplies replacement; and

- The Vendor {Contractor} will have no obligation to pay for the following:

  - Real estate taxes;

  - Parking fees to the City of Asbury; and

  - Utilities including electric, water, gas and sewer.

### Parking Fee Collection

- The State collects parking fees from hourly and daily users during the hours of 7:00 AM to 7:00 PM on normal State work days. The Vendor {Contractor} shall be responsible for operating the garage as a revenue-producing operation. The Vendor {Contractor} shall purchase all necessary equipment such as a cash register and a ticket issuing machine. For audit purposes, the cash register must provide duplicate receipts. The Vendor {Contractor} shall deposit all monies received from the operation of the garage in a bank account at the end of each day. On the first day of each month the Vendor {Contractor} shall forward a check made out to “Treasurer, State of New Jersey” for all monies collected for the previous month. The Vendor {Contractor} shall also submit a detailed account of all monies collected. At no time are any of these funds to be utilized by the State or the Vendor {Contractor} for any purpose;

- The Vendor {Contractor} shall be responsible for the safe-keeping of funds prior to being deposited. The Vendor {Contractor} shall be liable for the loss of any revenue received for any reason prior to being deposited. In accordance with the user agreement, the City of Asbury Park may operate and collect parking fees for all other hours; nights, weekends, and holidays. The City procures the Vendor {Contractor} for this service using its own purchasing procedures. The user agreements also state that if a customer arrives during the State operated shift and departs on the City operated shift, the City receives the revenue. If the situation is reversed, then the State receives the revenue. At no time shall the funds be commingled;

- Rates to be changed for parking shall correspond to the rates being charged in other parking facilities operated by the City of Asbury Park; and

- At any time during the Blanket P.O. period, changes may be made in the scope of work related to the parking garage which may even include deleting the parking garage operation and management from the Blanket P.O.

### Hours of Operation

- The parking garage shall be operated and managed by the Vendor {Contractor} as a self-park facility on a 24-hour basis. The parking garage will be opened and manned with a full complement of employees five (5) days a week, Monday through Friday, from 7:00 AM to 7:00 PM; and

- An operating schedule must be submitted and approved by the SCM within 30 days of Blanket P.O. award and the Vendor {Contractor} must maintain and operate the garage according to that schedule. The State may, from time to time, revise the operating schedule, provided that written notice of significant changes is given to the Vendor {Contractor} at least 30 days in advance. However, if the duration of the change is no more than five (5) days, the Vendor {Contractor} will be given three (3) days’ notice.

### VENDOR {Contractor} Personnel

- The Vendor {Contractor} must provide one (1) on-site manager for the garage, subject to approval by the SCM. The manager or designee must be available on-call 24 hours per day, seven (7) days per week to report to the facility as required;

- The Vendor {Contractor} must employ experienced, qualified, efficient, and courteous employees necessary to operate the garage. Vendor {Contractor} employees must comply with the security clearances as described in Section 3.9, Special Projects;

- The Vendor {Contractor} must submit a detailed staffing schedule of the personnel intended to be used in the day-to day management and operation of the garage;

  - The Vendor {Contractor} must include in the staffing schedule the number of employees needed to ensure that the garage is manned during the hours of operation. This shall include the number of employees necessary for the maintenance and security of the garage; and

  - Vehicle exit locations at the garage must have staff coverage during all operating hours.

- The Vendor {Contractor} shall not permit any union conflict to arise in connection with the provision of service in the parking garage. Union conflict in this case refers to any activity either internally or externally that may be directed towards the State or the Vendor {Contractor} that interferes with the Vendor {Contractor} providing service; and

- The Vendor {Contractor} must ensure that employees be in uniform and present a neat and clean appearance. The uniform must contain the company name or logo and the employee’s

name on or over the pockets (or where pockets normally are located) of the shirts.

### Janitorial Duties

The Vendor {Contractor} shall be responsible for cleaning of the stairwells, manager’s office, facility offices, and booths.

### Exterior Housekeeping

Posters, advertisements, or any printed material will not be permitted on any surfaces, posts, lights, or trees located on State property without prior written consent from the State. All unauthorized postings must be removed daily. All graffiti must be removed with chemical cleaners within 48 hours of discovery.

### Paved Surfaces

The Vendor {Contractor} shall be responsible for the regular cleaning of all paved surfaces including, but not limited to: walks, ramps, and lanes.

The Vendor {Contractor} shall be responsible for patching cracks and holes in all surfaces. The Vendor {Contractor} shall notify the State immediately of any major structural problems.

### Re-lamping

The Vendor {Contractor} shall be responsible for replacing all lamps and ballasts as needed. The Vendor {Contractor} shall be required to provide a 40 foot lift bucket truck for some exterior re-lamping. All labor and lift truck costs to complete the re-lamping and replacement of ballasts must be included in the monthly fee. The State will reimburse the Vendor {Contractor} for materials only. The State has the option of providing the materials or purchasing directly from the Vendor {Contractor}.

### Paint Striping

The Vendor {Contractor} shall be responsible for re-striping portions or the entire parking garage determined by and upon request of the SCM, including but not limited to, parking lanes, handicapped spaces, no parking zones, fire zones, pedestrian walkways, and all other places that define traffic flow. For each re-striping service requested by the SCM, unless otherwise stated, all repair parts and supplies under the Blanket P.O. are reimbursable if they exceed $250 and have obtained approval of the SCM. As such, the Vendor {Contractor} will be reimbursed for the repair parts and supplies used in the re-striping of the Asbury Park Parking Garage if the cumulative cost of re-striping exceeds $250. However, all repair parts and supplies under $250 shall be included in the monthly management fee.

The Vendor {Contractor} shall be responsible for maintenance of the paint coverage on repainted surfaces, and is to paint with the same or original color. This repainting is to be done after normal hours of vehicle occupancy.

## PAYMENT

The Vendor {Contractor} will be paid for services, tasks, and labor hours that have been satisfactorily performed and properly authorized by the SCM. It shall be the responsibility of the Vendor {Contractor} to make payments to its employees in accordance with the DLWD prevailing wage determination rate for the specific trade and county.

The Vendor {Contractor} shall be paid the upcharge rate awarded for additional labor over the current prevailing wage including supplemental benefits. The prevailing wage shall be what is listed for the date the work is performed in the county it is completed.

This upcharge rate shall be all-inclusive, and be comprised of all direct and indirect costs including but not limited to: overhead, fee or profit, travel expenses, per diem, managerial/administrative/clerical support, safety equipment, supplies, tools, and employee benefits. This rate shall include portal-to-portal expenses as well as per diem expense such as food. Below is an example:

Plumber Journeyman, Regular time – Monmouth County

Work performed in 2019, wages are $89.84/hour

Vendor {Contractor} percentage upcharge is 60%

Total payment: $143.74/hour

# QUOTE PREPARATION AND SUBMISSION

Failure to submit information as indicated below may result in your Quote being deemed non-responsive.

## GENERAL

A Vendor {Bidder} may submit additional terms as part of its Quote and Quotes including Vendor {Bidder} proposed terms and conditions may be accepted, but Vendor {Bidder} proposed terms or conditions that conflict with those contained in the Bid Solicitation, as defined in Section 2.0 of this Bid Solicitation, or that diminish the State’s rights under any Blanket P.O. resulting from the Bid Solicitation, may render a Quote non-responsive.  It is incumbent upon the Vendor {Bidder} to identify and remove its conflicting proposed terms and conditions prior to Quote submission. Where additional terms are submitted they may be accepted, rejected, or negotiated, in whole or in part, at the State’s sole discretion where the terms do not conflict with material terms of the Bid Solicitation or do not diminish the State’s rights under the Blanket P.O. resulting from the Bid Solicitation.

In the event that a Vendor {Bidder} intends to propose terms and conditions that conflict with the Bid Solicitation, those Vendor {Bidder} proposed terms and conditions shall only be considered if submitted and agreed to pursuant to the electronic question and answer procedure set forth in Section 1.3.1 of this Bid Solicitation.  Vendors {Bidders} shall not submit exceptions in the Quote or on the “Terms and Conditions” Tab through NJSTART.

After award of the Blanket P.O., if a conflict arises between a Vendor’s {Bidder’s} additional terms included in the Quote and a term or condition of the Bid Solicitation, the term or condition of the Bid Solicitation will prevail.

Use of URLs in a Quote should be kept to a minimum and shall not be used to satisfy any material term of a Bid Solicitation. If a preprinted or other document included as part of the Quote contains a URL, a printed copy of the URL page shall be provided and will be considered as part of the Quote.

The forms discussed herein and required for submission of a Quote in response to this Bid Solicitation are available on the Division’s website (http://www.state.nj.us/treasury/purchase/forms.shtml) unless noted otherwise.

## QUOTE DELIVERY AND IDENTIFICATION

A Quote must arrive at the Division in accordance with this Bid Solicitation’s  instructions within the time frames noted on the Bid Solicitation cover sheet and on the “Summary” page of the Bid Solicitation in NJSTART, or as indicated on the posted Bid Amendment if the Quote Opening Date has been changed.  Vendors {Bidders} submitting electronic Quotes via NJSTART are cautioned to allow adequate time to ensure timely uploads of all Quote documents to mitigate unforeseen delays or issues. Vendors {Bidders} submitting hard copy Quotes are cautioned to allow adequate delivery time to ensure timely delivery of Quotes.  State regulation mandates that late Quotes, regardless of submission method, are ineligible for consideration.

## NJSTART ELECTRONIC SUBMISSION VS. HARD COPY SUBMISSION INSTRUCTION

### NJSTART SUBMISSION OF QUOTE

Vendors {Bidders} may refer to the “Vendor Registration” and “Submit a Quote” QRGs for additional instructions detailing how to enroll in NJSTART and submit a NJSTART electronic Quote.  QRGs are located on the NJSTART Vendor Support Page.  If the Vendor {Bidder} submits both a NJSTART and a hard copy of the Vendor’s {Bidder’s} Quote, the NJSTART Quote will prevail in the event of a discrepancy between the electronic and paper versions.

When submitting a NJSTART Quote, do not use any symbols (i.e., #, @, $, &, *) in the filename.

Uploaded files should be compatible with Microsoft Office and/or Adobe software applications.

DO NOT UPLOAD files with extensions such as .zip, .numbers, or .pages.

If the Vendor {Bidder} submits a Quote electronically through NJSTART, the Vendor {Bidder} should select the “Confidential” option in NJSTART for attachments on the “Attachments” Tab to request that the documents not be displayed publicly through NJSTART.

Note: Marking an attachment as "Confidential" in NJSTART shall not constitute the Vendor's {Bidder's} designation of the attachment as exempt from public disclosure under OPRA and/or the common law as outlined in Section 1.4.4.

If a Vendor {Bidder} has designated any data or materials it asserts are exempt from public disclosure under OPRA and/or the common law, the Vendor {Bidder} should include a redacted copy of the Quote indicating the sections identified as confidential.

### HARD COPY SUBMISSION

If the Vendor {Bidder} is submitting a hard copy Quote, the Vendor {Bidder} must submit the following:

- One (1) complete Quote, comprising all volumes and including original, physical signature, clearly marked as the “ORIGINAL” Quote;

- Two (2) complete and exact ELECTRONIC copies of the original Quote in PDF file format on CD, DVD, or USB Drive. These should be cover to cover copies, and should not be password protected. THE STATE-SUPPLIED PRICE SHEET (VOLUME 3) SHALL NOT BE INCLUDED ON THIS ELECTRONIC COPY; and

- One (1) complete and exact ELECTRONIC copy of the original State-Supplied Price Sheet (Volume 3) in Microsoft Excel file format on CD, DVD, or USB Drive . This should be a cover to cover copy, and should not be password protected.

If a Vendor {Bidder} has designated any data or materials it asserts are exempt from public disclosure under OPRA and/or the common law, the Vendor {Bidder} should include a redacted copy of the Quote indicating the sections identified as confidential.

THE EXTERIOR OF ALL QUOTE PACKAGES SHALL BE LABELED WITH THE BID SOLICITATION IDENTIFICATION NUMBER AND THE FINAL QUOTE SUBMISSION DATE OR RISK NOT BEING RECEIVED IN TIME.

Copies are necessary in the evaluation of the Quote and for record retention purposes.  A Vendor {Bidder} failing to provide the requested number of copies will be charged the cost incurred by the State in producing the requested number of copies.  The Vendor {Bidder} should make and retain a copy of its Quote.

Hard copy Quote must be submitted to the physical location noted below:

PROPOSAL RECEIVING ROOM – 9TH FLOOR

DIVISION OF PURCHASE AND PROPERTY

DEPARTMENT OF THE TREASURY

33 WEST STATE STREET, P.O. BOX 230

TRENTON, NJ 08625-0230

Directions to the Division are available on the web at http://www.state.nj.us/treasury/purchase/directions.shtml.

QUOTES NOT RECEIVED PRIOR TO THE QUOTE OPENING DEADLINE SHALL BE REJECTED.  THE DATE AND TIME OF THE QUOTE OPENING IS INDICATED ON THE BID SOLICITATION COVER SHEET AND ON THE “SUMMARY” TAB OF THE BID SOLICITATION WEBPAGE WITHIN NJSTART .

IF THE QUOTE OPENING DEADLINE HAS BEEN REVISED, THE NEW QUOTE OPENING DEADLINE SHALL BE SHOWN ON THE POSTED BID AMENDMENT AND ON THE “SUMMARY” TAB OF THE BID SOLICITATION WEBPAGE WITHIN NJSTART .

Note:  A Vendor {Bidder} using U.S. Postal Service regular or express mail services should allow additional time since the U.S. Postal Service does not deliver directly to the proposal receiving room. A Vendor {Bidder} should make every effort to submit its Quote well ahead of the Quote submission deadline to mitigate unforeseen delays or issues.  The Vendor {Bidder} is solely responsible for the timely submission of its Quote in response to this Bid Solicitation.

## QUOTE CONTENT

The Quote should be submitted in three (3) volumes with the content of each volume as indicated below.

- Volume 1

Section 1 - Forms (Sections 4.4.1 and 4.4.2).

Note: In general, Volume 1 applies to hard copy submissions; however, there may be instances where Bid Solicitation specific forms are required through NJSTART electronic submission as well.

- Volume 2

Section 2 - Technical Quote (Section 4.4.3);

Section 3 - Organizational Support and Experience (Section 4.4.4); and

Section 3A - Any other miscellaneous documents to be included by the Vendor {Bidder}.

- Volume 3

Section 4 – State-Supplied Price Sheet (Section 4.4.5).

Note: Vendors {Bidders} submitting Quotes through NJSTART  must complete the State-Supplied Price Sheet (Volume 3) accompanying this Bid Solicitation and upload it as an attachment on the “Attachments” Tab (See Section 4.4.5 of this Bid Solicitation).

The Vendor {Bidder} must enter a Unit Cost of $1.00 for each price line item on the “Items” Tab in NJSTART . The Vendor {Bidder} is instructed to do so only as a mechanism to comply with Bid Solicitation Section 6.8 and prevent all pricing from being publicly displayed in NJSTART .

In the event that a Vendor {Bidder} uploads a State-Supplied Price Sheet and completes the Items Tab in NJSTART  (instead of entering a Unit Cost of $1.00 as instructed), the State-Supplied Price Sheet attachment will govern.

### FORMS, REGISTRATIONS AND CERTIFICATIONS REQUIRED WITH QUOTE

Vendors {Bidders} should refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation through NJSTART. Vendors {Bidders} may also refer to the QRG “Vendor Categories and Certifications” for additional instructions on completing shortened versions of required forms by completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

In the event that a Vendor {Bidder} fails to attach a required form, or the attached form is deemed deficient, the Division may access the Primary Form to be considered as part of the Quote.

Vendors {Bidders} submitting forms through hard copy must complete the full version of the form and may refer to instructions included within the forms on the Division’s website.

Vendors {Bidders} are under a continuing obligation to report updates to the information contained in its required forms whether submitting through NJSTART or as a hard copy.

Unless otherwise specified, forms must contain an original, physical signature, or an electronic signature pursuant to Section 1.4.11 of this Bid Solicitation.

#### OFFER AND ACCEPTANCE PAGE

The Vendor {Bidder} shall complete and submit the Offer and Acceptance Page accompanying this Bid Solicitation prior to the initiation of negotiation.  The Vendor {Bidder} should submit the Offer and Acceptance Page with the Quote.  All information requested on the Offer and Acceptance Page must be submitted.

If the Offer and Acceptance Page is not submitted with the Quote or is incomplete, the State will require the Vendor {Bidder} to submit the Offer and Acceptance Page.  If the Vendor {Bidder} fails to comply with the requirement within seven (7) business days of the demand, the State may deem the Quote non-responsive.

The Offer and Acceptance Page must be signed by an authorized representative of the Vendor {Bidder}.  If the Vendor {Bidder} is a limited partnership, the Offer and Acceptance Page must be signed by a general partner.  If the Vendor {Bidder} is a joint venture, the Offer and Acceptance Page must be signed by a principal of each party to the joint venture.

##### MACBRIDE PRINCIPLES CERTIFICATION

The Vendor {Bidder} must certify pursuant to N.J.S.A. 52:34-12.2 that it is in compliance with the MacBride principles of nondiscrimination in employment as set forth in N.J.S.A. 52:18A-89.5 and in conformance with the United Kingdom’s Fair Employment (Northern Ireland) Act of 1989, and permit independent monitoring of its compliance with those principles.  See Section 2.5 of the SSTC and N.J.S.A. 52:34-12.2 for additional information about the MacBride principles.

By signing the Bid Solicitation Offer and Acceptance Page, the Vendor {Bidder} is automatically certifying that either:

- The Vendor {Bidder} has no operations in Northern Ireland; or

- The Vendor {Bidder} has business operations in Northern Ireland and is committed to compliance with the MacBride principles.

A Vendor {Bidder} electing not to certify to the MacBride Principles must nonetheless sign the Bid Solicitation Offer and Acceptance Page AND must include, as part of its Quote, a statement indicating its refusal to comply with the provisions of this Act.

##### NON-COLLUSION

By submitting a Quote and signing the Bid Solicitation Offer and Acceptance Page, the Vendor {Bidder} certifies as follows:

- The price(s) and amount of its Quote have been arrived at independently and without consultation, communication or agreement with any other Vendor {Contractor, Bidder} or any other party;

- Neither the price(s) nor the amount of its Quote, and neither the approximate price(s) nor approximate amount of this Quote, have been disclosed to any other firm or person who is a Vendor {Bidder} or potential Vendor {Bidder}, and they will not be disclosed before the Quote submission;

- No attempt has been made or will be made to induce any firm or person to refrain from bidding on this Blanket P.O., or to submit a Quote higher than this Quote, or to submit any intentionally high or noncompetitive Quote or other form of complementary Quote;

- The Quote of the firm is made in good faith and not pursuant to any agreement or discussion with, or inducement from, any firm or person to submit a complementary or other noncompetitive Quote; and

- The Vendor {Bidder}, its affiliates, subsidiaries, officers, directors, and employees are not, to Vendor’s {Bidder’s} knowledge, currently under investigation by any governmental agency for alleged conspiracy or collusion with respect to bidding on any Blanket P.O./public contract and have not in the last five (5) years been convicted or found liable for any act prohibited by state or federal law in any jurisdiction involving conspiracy or collusion with respect to bidding on any Blanket P.O./public contract.

##### NEW JERSEY BUSINESS ETHICS GUIDE CERTIFICATION

The Treasurer has established a business ethics guide to be followed by Vendors {Bidders/Contractors} in its dealings with the State.  The guide provides further information about compliance with Section 2.7 of the SSTC.  The guide can be found at: https://www.state.nj.us/treasury/purchase/ethics.shtml

By signing the Bid Solicitation Offer and Acceptance Page, the Vendor {Bidder} is automatically certifying that it has complied with all applicable laws and regulations governing the provision of State goods and services, including the Conflicts of Interest Law, N.J.S.A. 52:13D-12 to 28.

#### NJ STANDARD BID SOLICITATION FORMS REQUIRED WITH THE QUOTE

Vendor’s {Bidder’s} failure to complete, sign and submit the forms in Section 4.4.1.2 shall be cause to reject its Quote as non-responsive.

##### OWNERSHIP DISCLOSURE FORM

Pursuant to N.J.S.A. 52:25-24.2, in the event the Vendor {Bidder} is a corporation, partnership or limited liability company, the Vendor {Bidder} must complete an Ownership Disclosure Form.

A current completed Ownership Disclosure Form must be received prior to or accompany the submitted Quote.  A Vendor’s {Bidder’s} failure to submit the completed and signed form with its Quote will result in the rejection of the Quote as non-responsive and preclude the award of a Blanket P.O. to said Vendor {Bidder} unless the Division has on file a signed and accurate Ownership Disclosure Form dated and received no more than six (6) months prior to the Quote submission deadline for this procurement.  If any ownership change has occurred within the last six (6) months, a new Ownership Disclosure Form must be completed, signed and submitted with the Quote.

In the alternative, to comply with this section, a Vendor {Bidder} with any direct or indirect parent entity which is publicly traded may submit the name and address of each publicly traded entity and the name and address of each person that holds a 10 percent or greater beneficial interest in the publicly traded entity as of the last annual filing with the federal Securities and Exchange Commission or the foreign equivalent, and, if there is any person that holds a 10 percent or greater beneficial interest, also shall submit links to the websites containing the last annual filings with the federal Securities and Exchange Commission or the foreign equivalent and the relevant page numbers of the filings that contain the information on each person that holds a 10 percent or greater beneficial interest. N.J.S.A. 52:25-24.2.

Vendors {Bidders} using NJSTART to submit a Quote shall make the appropriate certification on the “Maintain Terms and Categories” Tab within its profile by checking the applicable box and, if required, completing and attaching the shortened Ownership Disclosure Form. Vendors {Bidders} not using NJSTART to submit a Quote must complete the full Ownership Disclosure Form located on the Division’s website.

Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation through NJSTART. Vendors {Bidders} may also refer to the QRG “Vendor Categories and Certifications” for additional instructions on completing shortened versions of required forms by completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

Vendors {Bidders} utilizing NJSTART should designate one (1) version of the Ownership Disclosure Form as the Primary Form.  In the event that a Vendor {Bidder} fails to attach an Ownership Disclosure Form, or the attached Ownership Disclosure Form is deemed deficient, the Division may access the Primary Form and consider it as part of the Quote.  Note: The Primary Form must have a Date Created within six (6) months of the Quote submission deadline to be considered valid.

##### DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN form

Pursuant to N.J.S.A. 52:32-58, the Vendor {Bidder} must utilize this Disclosure of Investment Activities in Iran form to certify that neither the Vendor {Bidder}, nor one (1) of its parents, subsidiaries, and/or affiliates (as defined in N.J.S.A. 52:32-56(e)(3)), is listed on the Department of the Treasury’s List of Persons or Entities Engaging in Prohibited Investment Activities in Iran and that neither the Vendor {Bidder}, nor one (1) of its parents, subsidiaries, and/or affiliates, is involved in any of the investment activities set forth in N.J.S.A. 52:32-56(f).  If the Vendor {Bidder} is unable to so certify, the Vendor {Bidder} shall provide a detailed and precise description of such activities as directed on the form. A Vendor’s {Bidder’s} failure to submit the completed and signed form with its Quote will result in the rejection of the Quote as non-responsive and preclude the award of a Blanket P.O. to said Vendor {Bidder}.

Vendors {Bidders} using NJSTART to submit a Quote shall make the appropriate certification on the “Maintain Terms and Categories” Tab within its profile by checking the applicable box and, if required, completing and attaching the shortened Disclosure of Investment Activities in Iran form. Vendors {Bidders} not using NJSTART to submit a Quote must complete the full Disclosure of Investment Activities in Iran form located on the Division’s website.

Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation through NJSTART. Vendors {Bidders} may also refer to the QRG “Vendor Categories and Certifications” for additional instructions on completing shortened versions of required forms by completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

Vendors {Bidders} utilizing NJSTART should designate the most current version of the Disclosure of Investment Activities in Iran form as the Primary Form.  In the event that a Vendor {Bidder} fails to attach a Disclosure of Investment Activities in Iran form, or the attached Disclosure of Investment Activities in Iran form is deemed deficient, the Division may access the Primary Form, as designed in the Vendor {Bidder} profile, to be considered as part of the Quote.

#### SUBCONTRACTOR UTILIZATION PLAN

Please note that the State of New Jersey will not be utilizing the “Subcontractor” Tab in NJSTART. Vendors {Bidders} intending to use a Subcontractor shall submit a Subcontractor Utilization Plan form. The Subcontractor Utilization Plan form is located on the Division’s website. Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation through NJSTART. QRGs are located on the NJSTART Vendor Support Page.

NOTE: If the Blanket P.O. is a small business subcontracting set-aside, the Vendor {Bidder} certifies that in engaging Subcontractors, it shall make a good faith effort to achieve the subcontracting set-aside goals, and shall attach to the Subcontractor Utilization Plan documentation of such efforts in accordance with N.J.A.C. 17:13-4.1 et seq.

For a Quote that does NOT include the use of any Subcontractors, by signing the Bid Solicitation Offer and Acceptance Page, the Vendor {Bidder} is automatically certifying that in the event the award is granted to the Vendor’s {Bidder’s} firm and the Vendor {Bidder} later determines at any time during the term of the Blanket P.O. to engage Subcontractors to provide certain goods and/or services, pursuant to Section 5.8 of the SSTC, the Vendor {Bidder} shall submit a Subcontractor Utilization Plan form for approval to the Division in advance of any such engagement of Subcontractors.

#### SMALL BUSINESS SET-ASIDE BLANKET P.O.

Not applicable to this procurement.

#### DISABLED VETERANS’ BUSINESS SET-ASIDE BLANKET P.O.

Not applicable to this procurement.

#### SMALL BUSINESS SUBCONTRACTING SET-ASIDE BLANKET P.O.

NOTE: THE VENDOR {BIDDER} SHALL NOT USE THE “SUBCONTRACTOR” TAB IN NJSTART.

This is a Blanket P.O. with set-aside subcontracting goals for New Jersey Small Business Enterprises.

If the Vendor {Bidder} intends to subcontract, it must submit a Subcontractor Utilization Plan and shall take the following actions to achieve the set-aside subcontracting goal requirements:

- Attempt to locate eligible small businesses in Categories I, II, and/or III as appropriate to the Bid Solicitation;

- Request a listing of New Jersey Small Business Enterprises from the New Jersey Division of Revenue and Enterprise Services, Small Business  Registration and M/WBE Certification Services Unit;

- Record efforts to locate eligible businesses, including the names of businesses contacted and the means and results of such contacts;

- Provide all potential Subcontractors with detailed information regarding the specifications;

- Attempt, whenever possible, to negotiate prices with potential Subcontractors submitting higher than acceptable price Quotes;

- Obtain, in writing, the consent of any proposed Subcontractor to use its name in response to the Bid Solicitation; and

- Maintain adequate records documenting efforts to achieve the set-aside subcontracting goals.

Quotes should also contain a copy of the Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit’s proof of registration as a small business for any business proposed as a Subcontractor; and documentation of the Vendor’s {Bidder’s} good faith effort to meet the set-aside subcontracting goal in sufficient detail to permit the Division to effectively assess the Vendor’s {Bidder’s} efforts to comply if the Vendor {Bidder} has failed to attain the goals.

If the Vendor {Bidder} chooses to use Subcontractors and fails to meet the small business subcontracting targets set forth above, the Vendor {Bidder} must submit documentation demonstrating its good faith effort to meet the targets with its Quote or within seven (7) business days upon request.

NOTE: A VENDOR’S {BIDDER’S} FAILURE TO SATISFY THE SMALL BUSINESS SUBCONTRACTING GOAL OR TO PROVIDE SUFFICIENT DOCUMENTATION OF ITS GOOD FAITH EFFORTS TO MEET THE TARGETS WITH THE QUOTE OR WITHIN SEVEN (7) BUSINESS DAYS UPON REQUEST SHALL PRECLUDE AWARD OF A BLANKET P.O. TO THE VENDOR {BIDDER}.

Each Vendor {Bidder} awarded a Blanket P.O. for a procurement which contains the set-aside subcontracting goal requirement shall fully cooperate in any studies or surveys which may be conducted by the State to determine the extent of the Vendor’s {Bidder’s} compliance with N.J.A.C. 17:13-1.1 et seq., and this Bid Solicitation.

#### BID SECURITY

Not applicable to this procurement.

#### Public Works Contractor Registration

At the time of the Quote due date, the Vendor {Bidder} and Subcontractors performing public work as defined in N.J.S.A. 34:11-56.26 must  be registered in accordance with the Public Works Contractor Registration Act (PWCRA), N.J.S.A. 34:11-56.48 et seq.  This registration is required for all trade categories required to perform work as listed herein.

Questions regarding Public Works Contractor Registration should be addressed to:

Contractor Registration

New Jersey Department of Labor and Workforce Development Division of Wage and Hour Compliance

PO Bo 369 Trenton, NJ 08625-0389

Tel. 609-292-9464

Fax: 609-633-8591

For additional information, please reference the following web site:  https://www.nj.gov/labor/wagehour/regperm/pw_cont_reg.html.

NOTE:	 All Vendors {Bidders} and Subcontractors performing public work must be registered at the time of Bid Opening. The Vendor {Bidder} should provide proof of registration ON THE DATE OF BID OPENING.

### FORMS, REGISTRATIONS AND CERTIFICATIONS REQUIRED BEFORE BLANKET P.O. AWARD AND THAT SHOULD BE SUBMITTED WITH THE QUOTE

Unless otherwise specified, forms must contain an original, physical signature, or an electronic signature pursuant to Section 1.4.11 of this Bid Solicitation.

#### BUSINESS REGISTRATION

In accordance with N.J.S.A. 52:32-44(b), a Vendor {Bidder} and its named Subcontractors must have a valid Business Registration Certificate (“BRC”) issued by the Department of the Treasury, Division of Revenue and Enterprise Services prior to the award of a Blanket P.O.  To facilitate the Quote evaluation and Blanket P.O. award process, the Vendor {Bidder} should submit a copy of its valid BRC and those of any named Subcontractors with its Quote.  See Section 2.1 of the SSTC.

Any Vendor {Bidder}, inclusive of any named Subcontractors, not having a valid business registration at the time of the Quote opening, or whose BRC was revoked prior to the submission of the Quote, should proceed immediately to register its business or seek reinstatement of a revoked BRC.  Vendors {Bidders} should verify its BRC status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} BRC, NJSTART provides a link to take corrective action.

The Vendor {Bidder} is cautioned that it may require a significant amount of time to secure the reinstatement of a revoked BRC. The process can require actions by both the Division of Revenue and Enterprise Services and the Division of Taxation.  For this reason, a Vendor’s {Bidder’s} early attention to this requirement is highly recommended.  The Vendor {Bidder} and its named Subcontractors may register with the Division of Revenue and Enterprise Services, obtain a copy of an existing BRC or obtain information necessary to seek re-instatement of a revoked BRC online at http://www.state.nj.us/treasury/revenue/busregcert.shtml.

A Vendor {Bidder} otherwise identified by the Division as a responsive and responsible Vendor {Bidder}, inclusive of any named Subcontractors, but that was not business registered at the time of submission of its Quote must be so registered and in possession of a valid BRC by a deadline to be specified in writing by the Division.  A Vendor {Bidder} failing to comply with this requirement by the deadline specified by the Division will be deemed ineligible for Blanket P.O. award.  Under any circumstance, the Division will rely upon information available from computerized systems maintained by the State as a basis to verify independently compliance with the requirement for business registration.

A Vendor {Bidder} receiving a Blanket P.O. award as a result of this procurement and any Subcontractors named by that Vendor {Bidder} will be required to maintain a valid business registration with the Division of Revenue and Enterprise Services for the duration of the executed Blanket P.O., inclusive of any Blanket P.O. extensions.

#### DISCLOSURE OF INVESTIGATIONS AND OTHER ACTIONS INVOLVING BIDDER FORM

The Vendor {Bidder} should  submit the Disclosure of Investigations and Other Actions Involving Bidder Form,  with its Quote, to provide a detailed description of any investigation, litigation, including administrative complaints or other administrative proceedings, involving any public sector clients during the past five (5) years, including the nature and status of the investigation, and, for any litigation, the caption of the action, a brief description of the action, the date of inception, current status, and, if applicable, disposition.  If a Vendor {Bidder} does not submit the form with the Quote, the Vendor {Bidder} must comply within seven (7) business days of the State’s request or the State may deem the Quote non-responsive.

Vendors {Bidders} using NJSTART to submit a Quote shall make the appropriate certification on the “Maintain Terms and Categories” Tab within its profile by checking the applicable box and, if required, complete and attach the shortened NJSTART form. Vendors {Bidders} not using NJSTART to submit a Quote must complete the full version of the form located on the Division’s website.

Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation through NJSTART. Vendors {Bidders} may also refer to the QRG “Vendor Categories and Certifications” for additional instructions on completing shortened versions of required forms by completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

#### SOURCE DISCLOSURE

Pursuant to N.J.S.A. 52:34-13.2, prior to an award of Blanket P.O., the Vendor {Bidder} is required to submit a completed Source Disclosure Form.  The Vendor’s {Bidder’s} inclusion of the completed Source Disclosure Form with the Quote is requested and advised.   See Bid Solicitation Section 7.1.2 for additional information concerning this requirement.

The Source Disclosure Form is located on the Division’s website. The form is also available in NJSTART. Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation through NJSTART. QRGs are located on the NJSTART Vendor Support Page.

### TECHNICAL QUOTE

In this section, the Vendor {Bidder} shall describe its approach and plans for accomplishing the work outlined in the Scope of Work section, i.e., Section 3.0.  The Vendor {Bidder} must set forth its understanding of the requirements of this Bid Solicitation and its approach to successfully complete the Blanket P.O. The Vendor {Bidder} should include the level of detail it determines necessary to assist the evaluation committee in its review of the Vendor’s {Bidder’s} Quote.

Vendors {Bidders} may refer to the QRG “Submit a Quote” for instructions detailing how to submit a NJSTART electronic Quote. QRGs are located on the NJSTART Vendor Support Page.

#### MANAGEMENT OVERVIEW

The Vendor {Bidder} shall set forth its overall technical approach and plans to meet the requirements of the Bid Solicitation in a narrative format.  This narrative should demonstrate to the State that the Vendor {Bidder} understands the objectives that the Blanket P.O. is intended to meet, the nature of the required work, and the level of effort necessary to successfully complete the Blanket P.O.  This narrative should demonstrate to the State that the Vendor’s {Bidder’s} general approach and plans to undertake and complete the Blanket P.O. are appropriate to the tasks and subtasks involved.

Mere reiterations of Bid Solicitation tasks and subtasks are strongly discouraged, as they do not provide insight into the Vendor’s {Bidder’s} approach to complete the Blanket P.O. The Vendor’s {Bidder’s} response to this section should be designed to demonstrate to the State that the Vendor’s {Bidder’s} detailed plans and approach proposed to complete the Scope of Work are realistic, attainable and appropriate and that the Vendor’s {Bidder’s} Quote will lead to successful Blanket P.O. completion.

#### BLANKET P.O. MANAGEMENT

The Vendor {Bidder} should describe its specific plans to manage, control and supervise the Blanket P.O. to ensure satisfactory Blanket P.O. completion according to the required schedule.  The plan should include the Vendor’s {Bidder’s} approach to communicate with the State Contract Manager including, but not limited to, status meetings, status reports, etc.

#### BLANKET P.O. SCHEDULE AND PLANS

##### BLANKET P.O. SCHEDULE

The Vendor {Bidder} should include a draft Blanket P.O. schedule.  If key dates are a part of this Bid Solicitation, the Vendor’s {Bidder’s} schedule should incorporate such key dates and should identify the completion date for each task and sub-task required by the Scope of Work.  Such schedule should also identify the associated deliverable item(s) to be submitted as evidence of completion of each task and/or subtask.

The Vendor {Bidder} should identify the Blanket P.O. scheduling and control methodology to be used and should provide the rationale for choosing such methodology.  The use of Gantt, PERT or other charts is at the option of the Vendor {Bidder}.

##### MOBILIZATION PLAN

It is essential that the State have quick use of the functionality this Blanket P.O. is to provide. Therefore, each Vendor {Bidder} must include as part of its Quote a mobilization plan, beginning with the date of notification of Blanket P.O. award and lasting no longer than four (4) weeks.

Such mobilization plan should include the following elements:

- A detailed timetable for the mobilization period of four (4) weeks.  This timetable should be designed to demonstrate how the Vendor {Bidder} will have the personnel and equipment it needs to begin work on the Blanket P.O. up and operational from the date of notification of award;

- The Vendor’s {Bidder’s} plan for the deployment and use of management, supervisory or other key personnel during the mobilization period. The plan should show all management, supervisory and key personnel that will be assigned to manage, supervise and monitor the Vendor’s {Bidder’s} mobilization of the Blanket P.O. within the period of four (4) weeks;

- NOTE: The Vendor {Bidder} should clearly identify management, supervisory or other key staff that will be assigned only during the mobilization;

- The Vendor’s {Bidder’s} plan for recruitment of staff required to provide all services required by the Bid Solicitation on the Blanket P.O. start date at the end of the mobilization period covering four (4) weeks; and

- The Vendor’s {Bidder’s} plan for the purchase and distribution of equipment, inventory, supplies, materials, etc. that will be required to begin work on the Blanket P.O. on the required start date.

##### TECHNOLOGY PROJECT PLAN

Not applicable to this procurement.

##### CONTINGENCY PLAN

Not applicable to this procurement.

### ORGANIZATIONAL SUPPORT AND EXPERIENCE

The Vendor {Bidder} should include information relating to its organization, personnel, and experience, including, but not limited to, references, together with contact names and telephone numbers, evidencing the Vendor’s {Bidder’s} qualifications, and capabilities to perform the services required by this Bid Solicitation.

The Vendor {Bidder} should include the level of detail it determines necessary to assist the evaluation committee in its review of Vendor’s {Bidder’s} Quote.

#### LOCATION

The Vendor {Bidder} should include the address of the Vendor’s {Bidder’s} office where responsibility for managing the Blanket P.O. will take place.  The Vendor {Bidder} should include the telephone number and name of the individual to contact.

#### ORGANIZATION CHARTS

- Blanket P.O.-Specific Chart.  The Vendor {Bidder} should include a Blanket P.O. organization chart, with names showing management, supervisory and other key personnel (including Subcontractor management, supervisory, or other key personnel) to be assigned to the Blanket P.O.  The chart should include the labor category and title of each such individual; and

- Chart for Entire Firm.  The Vendor {Bidder} should include an organization chart showing the Vendor’s {Bidder’s} entire organizational structure.  This chart should show the relationship of the individuals assigned to the Blanket P.O. to the Vendor’s {Bidder’s} overall organizational structure.

#### RESUMES

Detailed resumes should be submitted for all management, supervisory, and key personnel to be assigned to the Blanket P.O.  Resumes should emphasize relevant qualifications and experience of these individuals in successfully completing Blanket P.O.s of a similar size and scope to those required by this Bid Solicitation.  Resumes should include the following:

- The individual's previous experience in completing each similar Blanket P.O.;

- Beginning and ending dates for each similar Blanket P.O.;

- A description of the Blanket P.O. demonstrating how the individual's work on the completed Blanket P.O. relates to the individual's ability to contribute to successfully providing the services required by this Bid Solicitation; and

- With respect to each similar Blanket P.O., the name and address of each reference together with a person to contact for a reference check and a telephone number.

The Vendor {Bidder} should provide detailed resumes for each Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability, and experience relevant to that part of the work which the Subcontractor is designated to perform.  When a Vendor {Bidder} submits resumes pursuant to this paragraph, the Vendor {Bidder} shall redact the social security numbers, home addresses, personal telephone numbers, and any other personally identifying information other than the individual’s name from the resume.

#### BACKUP STAFF

The Vendor {Bidder} should include a list of backup staff that may be called upon to assist or replace primary individuals assigned.  Backup staff must be clearly identified as backup staff.

In the event the Vendor {Bidder} must hire management, supervisory and/or key personnel if awarded the Blanket P.O., the Vendor {Bidder} should include, as part of its recruitment plan, a plan to secure backup staff in the event personnel initially recruited need assistance or need to be replaced during the Blanket P.O. term.

#### EXPERIENCE WITH CONTRACTS OF SIMILAR SIZE AND SCOPE

The Vendor {Bidder} should provide a comprehensive listing of contracts of similar size and scope that it has successfully completed, as evidence of the Vendor’s {Bidder’s} ability to successfully complete services similar to those required by this Bid Solicitation.  Emphasis should be placed on contracts that are similar in size and scope to the work required by this Bid Solicitation.  A description of all such contracts should be included and should show how such contracts relate to the ability of the firm to complete the services required by this Bid Solicitation.  For each such contract listed, the Vendor {Bidder} should provide two (2) names and telephone numbers of individuals for contracting party. Beginning and ending dates should also be given for each contract.

The Vendor {Bidder} must provide details of any negative actions taken by other contracting entities against them in the course of performing these projects including, but not limited to, receipt of letters of potential default, default, cure notices, termination of services for cause, or other similar notifications/processes.  Additionally, the Vendor {Bidder} should provide details, including any negative audits, reports, or findings by any governmental agency for which the Vendor {Bidder} is/was the Vendor {Contractor} on any contracts of similar scope.  In the event a Vendor {Bidder} neglects to include this information in its Quote, the Vendor’s {Bidder’s} omission of necessary disclosure information may be cause for rejection of the Vendor’s {Bidder’s} Quote by the State.

The Vendor {Bidder} should provide documented experience to demonstrate that each Subcontractor has successfully performed work on contracts of a similar size and scope to the work that the Subcontractor is designated to perform in the Vendor’s {Bidder’s} Quote.  The Vendor {Bidder} must provide a detailed description of services to be provided by each Subcontractor.

#### FINANCIAL CAPABILITY OF THE VENDOR {BIDDER}

The Vendor {Bidder} should provide sufficient financial information to enable the State to assess the financial strength and creditworthiness of the Vendor {Bidder} and its ability to undertake and successfully complete the Blanket P.O.  In order to provide the State with the ability to evaluate the Vendor’s {Bidder’s} financial capacity and capability to undertake and successfully complete the Blanket P.O., the Vendor {Bidder} should submit the following:

- For publicly traded companies the Vendor {Bidder} should provide copies or the electronic location of the annual reports filed for the two most recent years; or

- For privately held companies the Vendor {Bidder} should provide the certified financial statement (audited or reviewed) in accordance with applicable standards by an independent Certified Public Accountant which include a balance sheet, income statement, and statement of cash flow, and all applicable notes for the most recent calendar year or the Vendor’s {Bidder’s} most recent fiscal year.

If the information is not supplied with the Quote, the State may still require the Vendor {Bidder} to submit it.  If the Vendor {Bidder} fails to comply with the request within seven (7) business days, the State may deem the Quote non-responsive.

A Vendor {Bidder} may designate specific financial information as not subject to disclosure when the Vendor {Bidder} has a good faith legal/factual basis for such assertion.  A Vendor {Bidder} may submit specific financial documents in a separate, sealed package clearly marked “Confidential-Financial Information” along with the Quote.

The State reserves the right to make the determination to accept the assertion and shall so advise the Vendor {Bidder}.

#### ADDITIONAL SUBMISSION(S)

The Vendor {Bidder} should submit the following information with its Quote:

- On-Site Supervisor Qualifications

  - The on-site supervisor, who is required to be full-time on-site, should possess at least 10 years of recent (within the past 15 years) responsible experience in managing the operation and maintenance of buildings, and building equipment and systems, of the approximate size and characteristics as the facilities. The Vendor {Bidder} should have employed the supervisor in a similar position for at least one (1) year during the past five (5) years; and

  - Resume – See Section 4.4.4.3, Resumes.

- Vehicles

The Vendor {Bidder} should provide the number of vehicles it proposes to provide to perform Blanket P.O.

- Monthly Reports

The Vendor {Bidder} should submit an example of the Vendor {Bidder’s} typical monthly reports of computerized preventative maintenance and work order activities. These monthly reports should be from other services provided by the Vendor {Bidder}.

- Draft Facility Operating Plan

The Vendor {Bidder} should submit a draft Facility Operating Plan (see Section 3.3.1 Annual Facility Operating Plan).

### STATE-SUPPLIED PRICE SHEET

The Vendor {Bidder} must submit its pricing using the State-Supplied Price Sheet accompanying this Bid Solicitation and located on the “Attachments” Tab.

Vendors {Bidders} may refer to the QRG “Submit a Quote” for instructions detailing how to submit a NJSTART electronic Quote. QRGs are located on the NJSTART Vendor Support Page.

#### NJSTART PRICING SUBMISSION INSTRUCTIONS

If the Vendor {Bidder} is submitting a NJSTART Quote, the Vendor {Bidder} must enter a Unit Cost of $1.00 for each price line item on the “Items” Tab in NJSTART. The Vendor {Bidder} is instructed to do so only as a mechanism to comply with Bid Solicitation Section 6.8 and prevent all pricing from being publicly displayed in NJSTART.

#### STATE-SUPPLIED PRICE SHEET INSTRUCTIONS

Vendors {Bidders} must submit the REVISED State-Supplied Price Sheet accompanying this Bid Solicitation.  Vendors {Bidders} must submit pricing using the format set forth in the REVISED State-Supplied Price Sheet.  Vendors {Bidders} must bid on all price lines for the Asbury Park Office Building & Parking Garage and the Freehold Office Building.  Vendors {Bidders} must complete all price lines for all locations to be considered for an award.

- Asbury Park Office Building

  - Price Line 1 – The Vendor {Bidder} must provide a monthly management fee for the

Asbury Park Office Building;

  - Price Line 2 – The Vendor {Bidder} must bid a markup percentage (%) over supplier

invoice for reimbursables (See Section 3.16, Monthly Management Fee and Reimbursables);

  - Price Lines 3 – The Vendor {Bidder} must provide an hourly rate for re-striping of the Asbury Park Office Building parking lot;

  - Price Lines 4 – 7 – The Vendor {Bidder} must provide pricing per square foot (sq ft.)

for the designated task;

  - Price Lines 8 and 9 – The Vendor {Bidder} must provide pricing for each window to

be washed;

  - Price Line 10 – The Vendor {Bidder} must provide an hourly rate for ‘Facility

supervisor for Special Projects (See Section 3.7, Facility Supervisor and Section 3.9,

Special Projects)’; and

  - Price Lines 11 – 13 – The Vendor {Bidder} must provide hourly rates for the  specified snow removal over 2” services.

- Asbury Park Parking Garage

1.  Price Line 14 – The Vendor {Bidder} must provide a monthly management fee for  the Asbury Park Parking Garage;

2.   Price Line 15 – The Vendor {Bidder} must bid a markup percentage (%) over supplier   invoice for reimbursables (See Section 3.16, Monthly Management Fee and      Reimbursables);

3.  Price Line 16 – The Vendor {Bidder} must provide an hourly rate for re-striping of the Asbury Park Parking Garage; and

4.  Price Line 17 – 19 – The Vendor {Bidder} must provide hourly rates for the specified snow removal over 2” services.

C.  Asbury Park Office Building and Asbury Park Parking Garage

  - Price Lines 20 – 29 – The Vendor {Bidder} must bid a percentage (%) up charge over prevailing wage for the specified trades.

- Freehold Office Building

  - Price Line 30 – The Vendor {Bidder} must provide a monthly management fee for the Freehold Office Building;

  - Price Line 31 – The Vendor {Bidder} must bid a markup percentage (%) over supplier invoice for for reimbursables (See Section 3.16, Monthly Management Fee and Reimbursables);

  - Price Lines 32 – The Vendor {Bidder} must provide an hourly rate for re-striping of the Freehold Office Building parking lot;

  - Price Line 33 – 36 – The Vendor {Bidder} must provide pricing per square foot (sq ft.) for the designated task;

  - Price Lines 37 and 38 – The Vendor {Bidder} must provide pricing for each window to be washed;

  - Price Line 39 – The Vendor {Bidder} must provide an hourly rate for ‘Facility supervisor for Special Projects (See Section 3.7, Facility Supervisor and Section 3.9, Special Projects)’;

  - Price Line 40 – The Vendor {Contractor} must provide an hourly rate for grounds/lawn maintenance;

  - Price Lines 41 – 43 – The Vendor {Bidder} must provide hourly rates for the specified snow removal over 2” services; and

  - Price Lines 44 – 53 – The Vendor {Bidder} must bid a percentage (%) up charge over prevailing wage for the specified trades.

For Price Lines 20 – 29 and 44 – 53, the percent (%) upcharge rate will be added to the DLWD prevailing total wage rates (wages and benefits) for payment purposes.  Please refer to the following web address for information regarding current Prevailing Wage Rates in Monmouth County: https://www.nj.gov/labor/wagehour/wagerate/CurrentWageRates.html. For the Wage Determination Building Service Act, please refer to the following web address: https://www.nj.gov/labor/wagehour/wagerate/state_bldg_svc_wage_determination.html. It is also noted that the prevailing wage rates as cited do not include FICA, Workers Compensation, SUI, insurance, profits, administrative costs, etc. These costs should be factored into the upcharge rates.

For Price Lines 2, 15, and 31, Vendors {Bidders} are to submit a percentage markup for all supplies and equipment needed for a reimbursable charge.  The markup percentage (%) for all supplies and equipment will be added to the price paid by the Vendor {Contractor} supplies and equipment for any service or task work at the Asbury or Freehold location.

All services under this Blanket P.O. are paid on the applicable monthly management fee unless specified otherwise by the Bid Solicitation and/or the State-Supplied Price Sheet. Please see Section 3.16, Monthly Management Fee and Reimbursables.

Failure to submit all information required will result in a Quote being considered non-responsive.  Each Vendor {Bidder} is required to hold its pricing firm through issurance of Blanket P.O..

Pricing submitted by the Vendors {Bidders} shall be all-inclusive and firm fixed.  No additional fees or costs will be paid by the State unless there is a change in the scope of work, approved in writing by the Director.  The State will not accept any assumptions with regard to all-inclusive pricing.  The Vendor {Bidder} MUST provide a unit price for each Price Line or its Quote will be considered non-responsive.

In the event that a Vendor {Bidder} using NJSTART to submit a Quote uploads a State-Supplied Price Sheet and completes the “Items” Tab in NJSTART (instead of entering a Unit Cost of $1.00 as instructed), the State-Supplied Price Sheet will govern.

#### USE OF “NO BID” VERSUS “NO CHARGE” ON THE STATE-SUPPLIED PRICE SHEET

All price lines must be filled out in accordance with Section 4.4.5.2.  If the Vendor {Bidder} is not submitting a price for an item on a price line, the Vendor {Bidder} must indicate “No Bid” on the State-Supplied Price Sheet accompanying this Bid Solicitation. If the Vendor {Bidder} will supply an item on a price line free of charge, the Vendor {Bidder} must indicate “No Charge” on the State-Supplied Price Sheet accompanying this Bid Solicitation.  The use of any other identifier may result in the Vendor’s {Bidder’s} Quote being deemed non-responsive.

#### DELIVERY TIME AND COSTS

Unless otherwise noted elsewhere in the Bid Solicitation, all delivery times are 30 calendar days after receipt of order (ARO) and prices for items in Quotes shall be submitted Freight On Board (F.O.B.) Destination (30 calendar days ARO/F.O.B.).  Quotes submitted other than 30 calendar days ARO/F.O.B. may be deemed non-responsive.  The Vendor {Contractor} shall assume all costs, liability and responsibility for the delivery of merchandise in good condition to the State's Using Agency or designated purchaser.  30 calendar days ARO/F.O.B. does not cover "spotting" but does include delivery on the receiving platform of the Using Agency at any destination in the State of New Jersey unless otherwise specified.

No additional charges will be allowed for any additional transportation costs resulting from partial shipments made at the Vendor’s {Contractor’s} convenience when a single shipment is ordered.

The weights and measures of the State's Using Agency receiving the shipment shall govern.

#### COLLECT ON DELIVERY (C.O.D.) TERMS

C.O.D. terms are not acceptable as part of a Quote and shall be deemed non-responsive.

#### CASH DISCOUNTS

The Vendor {Bidder} is encouraged to offer cash discounts based on expedited payment by the State.  The State will make efforts to take advantage of discounts, but discounts will not be considered in determining the price rankings of Quotes.

Should the Vendor {Bidder} choose to offer cash discounts the following shall apply:

- Discount periods shall be calculated starting from the next business day after the Using Agency has accepted the goods or services, received a properly signed and executed invoice and, when required, a properly executed performance security, whichever is latest; and

- The date on the check issued by the State in payment of that invoice shall be deemed the date of the State's response to that invoice.

### COOPERATIVE PURCHASING PROGRAM

Not applicable to this procurement.

### ORAL PRESENTATIONS

Not applicable to this procurement.

# SPECIAL CONTRACTUAL TERMS AND CONDITIONS APPLICABLE TO THE BLANKET P.O.

## PRECEDENCE OF SPECIAL CONTRACTUAL TERMS AND CONDITIONS

This Blanket P.O. awarded, and the entire agreement between the parties, as a result of this Bid Solicitation shall consist of this Bid Solicitation, SSTC, Bid Amendment to this Bid Solicitation, the Vendor’s {Contractor’s} Quote, any Best and Final Offer, and the Division's Notice of Award.

In the event of a conflict in the terms and conditions among the documents comprising this Blanket P.O., the order of precedence, for purposes of interpretation thereof, listed from highest ranking to lowest ranking, shall be:

- Executed Offer and Acceptance Page;

- Bid Solicitation Section 5, as may be amended by Bid Amendment;

- The State of NJ Standard Terms and Conditions (SSTC) accompanying this Bid Solicitation;

- All remaining sections of the Bid Solicitation, as may be amended by Bid Amendment;

- The Vendor’s {Contractor’s} final submitted Best and Final Offer; and

- The Vendor’s {Contractor’s} Quote as accepted by the State.

Note: In the event of conflicting information between the Bid Solicitation and fields contained in NJSTART, the Bid Solicitation will govern and NJSTART will be updated via Bid Amendment or Change Order.

## BLANKET P.O. TERM AND EXTENSION OPTION

The base term of this Blanket P.O. shall be for a period of three (3) years.  The anticipated "Blanket P.O. Effective Date" is provided on the “Summary” page the Bid Solicitation in NJSTART.  If delays in the procurement process result in a change to the anticipated Blanket P.O. Effective Date, the Vendor {Bidder} agrees to accept a Blanket P.O. for the full term of this Blanket P.O.

This Blanket P.O. may be extended up to two (2) years with no single extension exceeding one (1) year, by the mutual written consent of the Vendor {Contractor} and the Director at the same terms, conditions, and pricing at the rates in effect in the last year of this Blanket P.O. or rates more favorable to the State.

## BLANKET P.O. TRANSITION

In the event that a new Blanket P.O. has not been awarded prior to this Blanket P.O. expiration date, including any extensions exercised, and the State exercises this Blanket P.O. transition, the Vendor {Contractor} shall continue this Blanket P.O. under the same terms, conditions, and pricing until a new Blanket P.O. can be completely operational.  At no time shall this transition period extend more than 180 days beyond the expiration date of this Blanket P.O., including any extensions exercised.

## CHANGE ORDER

Any changes or modifications to the terms of this Blanket P.O. shall be valid only when they have been reduced to writing and signed by the Vendor {Contractor} and the Director.

## VENDOR {CONTRACTOR} RESPONSIBILITIES

The Vendor {Contractor} shall have sole responsibility for the complete effort specified in this Blanket P.O.  Payment will be made only to the Vendor {Contractor}.  The Vendor {Contractor} shall have sole responsibility for all payments due any Subcontractor.

The Vendor {Contractor} is responsible for the professional quality, technical accuracy and timely completion and submission of all deliverables, services or commodities required to be provided under this Blanket P.O.  The Vendor {Contractor} shall, without additional compensation, correct or revise any errors, omissions, or other deficiencies in its deliverables and other services.  The approval of deliverables furnished under this Blanket P.O. shall not in any way relieve the Vendor {Contractor} of responsibility for the technical adequacy of its work.  The review, approval, acceptance or payment for any of the services shall not be construed as a waiver of any rights that the State may have arising out of the Vendor’s {Contractor’s} performance of this Blanket P.O.

## SUBSTITUTION OF STAFF

If it becomes necessary for the Vendor {Contractor} to substitute any management, supervisory or key personnel, the Vendor {Contractor} shall identify the substitute personnel and the work to be performed.  The Vendor {Contractor} must provide detailed justification documenting the necessity for the substitution.  Resumes must be submitted evidencing that the individual(s) proposed as substitute(s) have qualifications and experience equal to or better than the individual(s) originally proposed or currently assigned.

The Vendor {Contractor} shall forward a request to substitute staff to the State Contract Manager for consideration and approval.  No substitute personnel are authorized to begin work until the Vendor {Contractor} has received written approval to proceed from the State Contract Manager.

## SUBSTITUTION OR ADDITION OF SUBCONTRACTOR(S)

This Subsection serves to supplement but not to supersede Sections 5.8 and 5.9 of the SSTC accompanying this Bid Solicitation.

The Vendor {Contractor} shall forward a written request to substitute or add a Subcontractor or to substitute its own staff for a Subcontractor to the State Contract Manager for consideration.  If the State Contract Manager approves the request, the State Contract Manager will forward the request to the Director for final approval.  No substituted or additional Subcontractors are authorized to begin work until the Vendor {Contractor} has received written approval from the Director.

If it becomes necessary for the Vendor {Contractor} to substitute a Subcontractor, add a Subcontractor, or substitute its own staff for a Subcontractor, the Vendor {Contractor} will identify the proposed new Subcontractor or staff member(s) and the work to be performed.  The Vendor {Contractor} must provide detailed justification documenting the necessity for the substitution or addition.

The Vendor {Contractor} must provide detailed resumes of its proposed replacement staff or of the proposed Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability and experience relevant to that part of the work which the Subcontractor is to undertake.

The qualifications and experience of the replacement(s) must equal or exceed those of similar personnel proposed by the Vendor {Contractor} in its Quote.

## OWNERSHIP OF MATERIAL

- State Ownership of Data

All data, technical information, materials gathered, originated, developed, prepared, used or obtained in the performance of this Blanket P.O., including, but not limited to, all reports, surveys, plans, charts, literature, brochures, mailings, recordings (video and/or audio), pictures, drawings, analyses, graphic representations, notes and memoranda, written procedures and documents, regardless of the state of completion, which are prepared for or are a result of the services required under this Blanket P.O. shall be and remain the property of the State of New Jersey and shall be delivered to the State of New Jersey upon 30 days’ notice by the State.

- Intellectual Property Rights in Deliverables – Excluding Software

- If the Vendor {Bidder} anticipates using pre-existing intellectual property (“Background IP”) within the deliverables called for under the Blanket P.O., the Background IP must be identified in the Quote.  If the Vendor {Bidder} identifies such Background IP in its Quote, then the Background IP owned by the Vendor {Bidder} on the date of this Blanket P.O. and any modifications or adaptations thereto remain the property of the Vendor {Bidder}.

- If in the course of performance of the Blanket P.O., Vendor {Contractor} encounters a need to incorporate Background IP into a deliverable, but the Background IP was not identified in the Quote, the Vendor {Contractor} must notify the State Contract Manager in writing, identifying the specific Background IP to be incorporated into the deliverable, and requesting approval thereof.  Where approval is granted in writing, the Background IP owned by the Vendor {Contractor} as well as any modifications or adaptions thereto remain the property of the Vendor {Contractor}.  If approval is not granted, the parties will negotiate mutually acceptable intellectual property rights to accomplish the State’s goals for the affected deliverable(s).

- The Vendor {Bidder/Contractor} grants the State a nonexclusive, irrevocable, royalty free license to use the Vendor’s {Bidder’s/Contractor's} Background IP delivered to the State for the purposes contemplated by this Blanket P.O.

- Vendor {Bidder/Contractor} software computer programs and other methodologies used by Vendor {Bidder/Contractor} in the preparation of deliverables called for under the Blanket P.O., but not incorporated into the deliverable itself do not need to be identified as Background IP, and the Vendor {Contractor} retains all ownership therein, as applicable.

- Intellectual Property Rights in Software Deliverables

- Where the Blanket P.O. requires the development and delivery of software computer programs, the State requires only the rights necessary to accomplish the purposes of the software as set forth in the Bid Solicitation.  Accordingly, unless the Bid Solicitation requires Vendors {Contractors} to provide full ownership of the software computer programs, the Vendor {Bidder} proposing commercial off the shelf software, or customized/configured commercial off the shelf software (collectively “COTS”) may license the COTS to the State on the same terms customarily provided to the public, provided that the license customarily provided to the public is:

  - included within the Quote; and

  - sufficient to meet the State’s needs as set forth in the Bid Solicitation.

- A license customarily provided to the public will necessarily include terms and conditions that conflict with the Bid Solicitation.  Accordingly, where a license agreement is included with the Quote pursuant to the terms of this section, the Vendor {Bidder} by including the license agreement with its Quote, expressly agrees that terms within the Vendor’s {Bidder’s} license agreement regarding indemnification, limitation of liability, choice of law, governing law, and confidentiality which conflict with the terms of the Blanket P.O. and are void and have no effect.  The State expressly reserves the right to negotiate all other terms and conditions of the license agreement.

- Where the Bid Solicitation advises that the State seeks full ownership of the computer software program, the work shall be considered “work for hire”, i.e., the State, not the Vendor {Contractor} or Subcontractor, shall have full and complete ownership of all software computer programs and/or source codes developed for or are a result of the services required under this Blanket P.O. To the extent that any of such materials may not, by operation of the law, be a work made for hire in accordance with the terms of this Blanket P.O., Vendor {Contractor} or Subcontractor hereby assigns to the State all right, title and interest in and to any such material, and the State shall have the right to obtain and hold in its own name and copyrights, registrations and any other proprietary rights that may be available.

## SECURITY AND CONFIDENTIALITY

### DATA CONFIDENTIALITY

All financial, statistical, personnel, customer and/or technical data supplied by the State to the Vendor {Contractor} are confidential (State Confidential Information).  The Vendor {Contractor} must secure all data from manipulation, sabotage, theft or breach of confidentiality.  The Vendor {Contractor} is prohibited from releasing any financial, statistical, personnel, customer and/or technical data supplied by the State that is deemed confidential.  Any use, sale, or offering of this data in any form by the Vendor {Contractor}, or any individual or entity in the Vendor’s {Contractor’s} charge or employ, will be considered a violation of this Blanket P.O. and may result in Blanket P.O. termination and the Vendor’s {Contractor’s} suspension or debarment from State contracting.  In addition, such conduct may be reported to the State Attorney General for possible criminal prosecution.

The Vendor {Contractor} shall assume total financial liability incurred by the Vendor {Contractor} associated with any breach of confidentiality.

When requested, the Vendor {Contractor} and all project staff including its Subcontractor(s) must complete and sign confidentiality and non-disclosure agreements provided by the State. The Vendor {Contractor} may be required to view yearly security awareness and confidentiality training modules provided by the State. Where required, it shall be the Vendor’s {Contractor’s} responsibility to ensure that any new staff sign the confidentiality agreement and complete the security awareness and confidentiality training modules within one (1) month of the employees’ start date.

The State reserves the right to obtain, or require the Vendor {Contractor} to obtain, criminal history background checks from the New Jersey State Police for all Vendor {Contractor} and project staff (to protect the State of New Jersey from losses resulting from Vendor {Contractor} employee theft, fraud or dishonesty).  If the State exercises this right, the results of the background check(s) must be made available to the State for consideration before the employee is assigned to work on the State’s project.  Prospective employees with positive criminal backgrounds for cyber-crimes will not be approved to work on State Projects.  Refer to the National Institute of Standards and Technology (NIST) Special Publication (SP) 800-12, An Introduction to Computer Security:  The NIST Handbook, Section 10.1.3, Filling the Position – Screening and Selecting.

#### VENDOR’s {CONTRACTOR’S} CONFIDENTIAL INFORMATION

- The obligations of the State under this provision are subject to the New Jersey Open Public Records Act (“OPRA”), N.J.S.A. 47:1A-1 et seq., the New Jersey common law right to know, and any other lawful document request or subpoena;

- By virtue of this Blanket P.O., the parties may have access to information that is confidential to one another.  The parties agree to disclose to each other only information that is required for the performance of their obligations under this Blanket P.O.  Vendor’s {Contractor’s} Confidential Information, to the extent not expressly prohibited by law, shall consist of all information clearly identified as confidential at the time of disclosure and anything identified in Vendor’s {Contractor’s} Quote as Background IP (“Vendor {Contractor} Confidential Information”).  Notwithstanding the previous sentence, the terms and pricing of this Blanket P.O. are subject to disclosure under OPRA, the common law right to know, and any other lawful document request or subpoena;

- A party’s Confidential Information shall not include information that: (a) is or becomes a part of the public domain through no act or omission of the other party; (b) was in the other party’s lawful possession prior to the disclosure and had not been obtained by the other party either directly or indirectly from the disclosing party; (c) is lawfully disclosed to the other party by a third party without restriction on the disclosure; or (d) is independently developed by the other party;

- The State agrees to hold Vendor’s {Contractor’s} Confidential Information in confidence, using at least the same degree of care used to protect its own Confidential Information;

- In the event that the State receives a request for Vendor {Contractor} Confidential Information related to this Blanket P.O. pursuant to a court order, subpoena, or other operation of law, the State agrees, if permitted by law, to provide Vendor {Contractor} with as much notice, in writing, as is reasonably practicable and the State’s intended response to such order of law.  Vendor {Contractor} shall take any action it deems appropriate to protect its documents and/or information;

- In addition, in the event Vendor {Contractor} receives a request for State Confidential Information pursuant to a court order, subpoena, or other operation of law, Vendor {Contractor} shall, if permitted by law, provide the State with as much notice, in writing, as is reasonably practicable and Vendor’s {Contractor’s} intended response to such order of law.  The State shall take any action it deems appropriate to protect its documents and/or information; and

- Notwithstanding the requirements of nondisclosure described in these Sections 5.9.1 and 5.9.1.1, either party may release the other party’s Confidential Information:

- if directed to do so by a court or arbitrator of competent jurisdiction; or

- pursuant to a lawfully issued subpoena or other lawful document request:

(a)	in the case of the State, if the State determines the documents or information are subject to disclosure and Vendor {Contractor} does not exercise its rights as described in Section 5.9.1.1(E), or if Vendor {Contractor} is unsuccessful in defending its rights as described in Section 5.9.1.1(E); or

(b)	in the case of Vendor {Contractor}, if Vendor {Contractor} determines the documents or information are subject to disclosure and the State does not exercise its rights described in Section 5.9.1.1(F), or if the State is unsuccessful in defending its rights as described in Section 5.9.1.1(F).

### DATA SECURITY STANDARDS

Not applicable to this procurement.

### SECURITY PLAN

Not applicable to this procurement.

## NEWS RELEASES

The Vendor {Contractor} is not permitted to issue news releases pertaining to any aspect of the services being provided under this Blanket P.O. without the prior written consent of the Director.

## ADVERTISING

The Vendor {Contractor} shall not use the State’s name, logos, images, or any data or results arising from this Blanket P.O. as a part of any commercial advertising without first obtaining the prior written consent of the Director.

## LICENSES AND PERMITS

The Vendor {Contractor} shall obtain and maintain in full force and effect all required licenses, permits, and authorizations necessary to perform this Blanket P.O.  Notwithstanding the requirements of the Bid Solicitation, the Vendor {Contractor} shall supply the State Contract Manager with evidence of all such licenses, permits and authorizations.  This evidence shall be submitted subsequent to this Blanket P.O. award.  All costs associated with any such licenses, permits, and authorizations must be considered by the Vendor {Bidder} in its Quote.

## CLAIMS AND REMEDIES

### CLAIMS

All claims asserted against the State by the Vendor {Contractor} shall be subject to the New Jersey Tort Claims Act, N.J.S.A. 59:1-1, et seq., and/or the New Jersey Contractual Liability Act, N.J.S.A. 59:13-1, et seq.

### REMEDIES

Nothing in this Blanket P.O. shall be construed to be a waiver by the State of any warranty, expressed or implied, of any remedy at law or equity, except as specifically and expressly stated in a writing executed by the Director.

### REMEDIES FOR FAILURE TO COMPLY WITH MATERIAL BLANKET P.O. REQUIREMENTS

In the event that the Vendor {Contractor} fails to comply with any material Blanket P.O. requirements, the Director may take steps to terminate this Blanket P.O. in accordance with the SSTC,  authorize the delivery of Blanket P.O. items by any available means, with the difference between the price paid and the defaulting Vendor’s {Contractor’s} price either being deducted from any monies due the defaulting Vendor {Contractor} or being an obligation owed the State by the defaulting Vendor {Contractor}, as provided for in the State administrative code, or take any other action or seek any other remedies available at law or in equity.

## LIQUIDATED DAMAGES

Not applicable to this procurement.

## RETAINAGE

Not applicable to this procurement.

## ADDITIONAL WORK AND/OR SPECIAL PROJECTS

The Vendor {Contractor} shall not begin performing any additional work or Special Projects without first obtaining  the State Contract Manager’s recommendation and the Director’s written approval.

In the event of additional work and/or Special Projects, the Vendor {Contractor} must present a written Quote to perform the additional work to the State Contract Manager.  The Quote should provide justification for the necessity of the additional work.  The relationship between the additional work and the base Blanket P.O. work must be clearly established by the Vendor {Contractor} in its Quote.

The Vendor’s {Contractor’s} written Quote must provide a detailed description of the work to be performed broken down by task and subtask.  The Quote should also contain details on the level of effort, including hours, labor categories, etc., necessary to complete the additional work.

The written Quote must detail the cost necessary to complete the additional work in a manner consistent with this Blanket P.O.  The written price schedule must be based upon the hourly rates, unit costs or other cost elements submitted by the Vendor {Contractor} in the Vendor’s {Contractor’s} original Quote submitted in response to this Bid Solicitation.  Whenever possible, the price schedule should be a firm, fixed price to perform the required work.  The firm, fixed price should specifically reference and be tied directly to costs submitted by the Vendor {Contractor} in its original Quote.  A payment schedule, tied to successful completion of tasks and subtasks, must be included.

Upon receipt and approval of the Vendor’s {Contractor’s} written Quote, the State Contract Manager shall forward same to the Director for the Director’s written approval.  Complete documentation from the Using Agency, confirming the need for the additional work, must be submitted.  Documentation forwarded by the State Contract Manager to the Director must include all other required State approvals, such as those that may be required from the State of New Jersey’s Office of Management and Budget and Office of Information Technology.

In the event the Vendor {Contractor} proceeds with additional work and/or Special Projects without the Director’s written approval, it shall be at the Vendor’s {Contractor’s} sole risk.  The State shall be under no obligation to pay for work performed without the Director’s written approval.

## MODIFICATIONS AND CHANGES TO THE State of NJ STANDARD TERMS AND CONDITIONS (SSTC)

The indemnification provisions set forth in the SSTC, Section 4.1 shall prevail.

## ACCESSIBILITY COMPLIANCE

The Vendor {Contractor} shall meet the established and testable standards Level AA of the Web Content Accessibility Guidelines 2.0 (WCAG) per the Revised Standard in Section 508 of the Rehabilitation Act of 1973 for any web-based systems.  The Vendor is solely responsible for resolving any operational deficiencies the State reports regarding the accessibility of content available on its products or through its services for the duration of the contract.

## BLANKET P.O. ACTIVITY REPORT

The Vendor {Contractor} must provide, on a biannual basis, a record of all purchases made under this Blanket P.O. resulting from this Bid Solicitation.  This reporting requirement includes sales to State Using Agencies, political sub-divisions thereof and, if permitted under the terms of this Blanket P.O., sales to counties, municipalities, school districts, volunteer fire departments, first aid squads and rescue squads, independent institutions of higher education, state and county colleges and quasi-State entities.  Quasi-State entities include any agency, commission, board, authority or other such governmental entity which is established and is allocated to a State department or any bi-state governmental entity of which the State of New Jersey is a member.

This information must be provided in Microsoft Excel such that an analysis can be made to determine the following:

- Vendor’s {Contractor’s} total sales volume, with line item detail, to each purchaser under this Blanket P.O.;

- Subtotals by product, including, if applicable, catalog number and description, price list with appropriate page reference, and/or Blanket P.O. discount applied; and

- Total dollars paid to Subcontractors.

Submission of purchase orders, confirmations, and/or invoices do not fulfill this Blanket P.O. requirement for information.  Failure to report this mandated information may be a factor in future award decisions.

The Vendor {Contractor} must submit the required information in Microsoft Excel format to NJSupplierReports@treas.nj.gov.

Reports are due:

January 1st through June 30th – due by July 30th; and

July1st through December 31st – due by January 30th.

## ELECTRONIC PAYMENTS

With the award of this Blanket P.O., the successful Vendor(s) {Contractor(s)} will be required to receive its payment(s) electronically.  In order to receive your payments via automatic deposit from the State of New Jersey, you must complete the EFT information within your NJSTART Vendor Profile.  Please refer to Section 5.2 of the QRG entitled “Vendor Profile Management – Company Information and User Access” for instructions. QRGs are located on the NJSTART Vendor Support Page.

## PROGRAM EFFICIENCY ASSESSMENT FOR STATE USING AGENCIES

The Program Efficiency Assessment shall not be charged against the winning Vendor {Contractor} and therefore is not to be included in the Vendor’s {Bidder’s} pricing. The State Using Agencies shall be charged an assessment equal to one-quarter of one (1) percent (0.25%) of the value of all transactions under this Blanket P.O.  This assessment is authorized by N.J.S.A. 52:27B-56 and N.J.A.C. 17:12-1.5, to maintain the State’s procurement system at a level to meet industry standards of efficiency.

For purposes of this section, “transaction” is defined as the payment or remuneration to the Vendor {Contractor} for services rendered or products provided to the State pursuant to the terms of this Blanket P.O., including but not limited to the following: purchase orders, invoices, hourly rates, firm fixed price, commission payments, progress payments and contingency payments.

# QUOTE EVALUATION

## RIGHT TO WAIVE

Pursuant to N.J.A.C. 17:12-2.7(d) the Director may waive minor irregularities or omissions in a Quote.    The Director also reserves the right to waive a requirement provided that the requirement does not materially affect the procurement or the State's interests associated with the procurement.

## DIRECTOR’S RIGHT OF FINAL Quote ACCEPTANCE

The Director reserves the right to reject any or all Quotes, or to award in whole or in part if deemed to be in the best interest of the State to do so. The Director shall have authority to award orders or Blanket P.O.s in accordance with N.J.S.A. 52:34-12. Tie Quotes will be awarded by the Director in accordance with N.J.A.C. 17:12-2.10.

## STATE'S RIGHT TO INSPECT VENDOR (BIDDER) FACILITIES

The State reserves the right to inspect the Vendor’s {Bidder’s} establishment before making an award, for the purposes of ascertaining whether the Vendor {Bidder} has the necessary facilities for performing the Blanket P.O.

The State may also consult with clients of the Vendor {Bidder} during the evaluation of Quotes. Such consultation is intended to assist the State in making a Blanket P.O. award that is most advantageous to the State.

## Clarification of Quote / STATE'S RIGHT TO REQUEST FURTHER INFORMATION

After the submission of Quotes, unless requested by the State as noted below, Vendor {Bidder} contact with the State is not permitted.

After the Quotes are reviewed, one (1), some or all of the Vendors {Bidders} may be asked to clarify certain aspects of its Quote.  A request for clarification may be made in order to resolve minor ambiguities, irregularities, informalities or clerical errors.  Clarifications cannot correct any deficiencies or material omissions, or revise or modify a Quote.

Further, the Director reserves the right to request a Vendor {Bidder} to explain, in detail, how the Quote price was determined.

## QUOTE EVALUATION COMMITTEE

Quotes may be evaluated by an Evaluation Committee composed of members of affected departments and agencies together with representative(s) from the Division.  Representatives from other governmental agencies may also serve on the Evaluation Committee.  On occasion, the Evaluation Committee may choose to make use of the expertise of outside consultant(s) in an advisory role.

## ORAL PRESENTATION

After the Quotes are reviewed, one (1), some or all of the Vendors {Bidders} may be required to give an oral presentation to the State concerning its Quote.

A Vendor {Bidder} may not attend the oral presentations of its competitors.

It is within the State’s discretion whether to require the Vendor {Bidder} to give an oral presentation or require the Vendor {Bidder} to submit written responses to questions regarding its Quote.  Action by the State in this regard should not be construed to imply acceptance or rejection of a Quote. The Division will be the sole point of contact regarding any request for an oral presentation or clarification.

## EVALUATION CRITERIA

The following evaluation criteria categories, not necessarily listed in order of significance, will be used to evaluate Quotes received in response to this Bid Solicitation.  The evaluation criteria categories may be used to develop more detailed evaluation criteria to be used in the evaluation process.

### TECHNICAL EVALUATION CRITERIA

Each criterion will be scored and each score multiplied by a predetermined weight to develop the Technical Evaluation Score.

- Personnel:  The qualifications and experience of the Vendor’s {Bidder’s} management, supervisory, and key personnel assigned to the Blanket P.O., including the candidates recommended for each of the positions/roles required;

- Experience of firm:  The Vendor’s {Bidder’s} documented experience in successfully completing Blanket P.O.s of a similar size and scope in relation to the work required by this Bid Solicitation; and

- Ability of firm to complete the Scope of Work based on its Technical Quote:  The Vendor’s {Bidder’s} demonstration in the Quote that the Vendor {Bidder} understands the requirements of the Scope of Work and presents an approach that would permit successful performance of the technical requirements of the Blanket P.O.

### VENDOR’S {BIDDER’S} STATE-SUPPLIED PRICE SHEET

The Bureau will utilize a weighted consumption model to evaluate pricing. The pricing model will be time stamped and entered into the record before Quote opening.

### QUOTE DISCREPANCIES

In evaluating Quotes, discrepancies between words and figures will be resolved in favor of words.  Discrepancies between Unit Prices and totals of Unit Prices will be resolved in favor of Unit Prices.  Discrepancies in the multiplication of units of work and Unit Prices will be resolved in favor of the Unit Prices.  Discrepancies between the indicated total of multiplied Unit Prices and units of work and the actual total will be resolved in favor of the actual total.  Discrepancies between the indicated sum of any column of figures and the correct sum thereof will be resolved in favor of the correct sum of the column of figures.

In the event that a Vendor {Bidder} using NJSTART to submit a Quote uploads a State-Supplied Price Sheet and completes the “Items” Tab in NJSTART (instead of entering a Unit Cost of $1.00 as instructed), the State-Supplied Price Sheet will govern.

### EVALUATION OF THE QUOTES

After the Evaluation Committee completes its evaluation, it recommends to the Director for award the responsible Vendor(s) {Bidder(s)} whose Quote, conforming to this Bid Solicitation, is most advantageous to the State, price and other factors considered. The Evaluation Committee considers and assesses price, technical criteria, and other factors during the evaluation process and makes a recommendation to the Director.  The Director may accept, reject or modify the recommendation of the Evaluation Committee. Whether or not there has been a negotiation process as outlined in Section 6.8 below, the Director reserves the right to negotiate price reductions with the selected Vendor {Bidder}.

## NEGOTIATION AND BEST AND FINAL OFFER (BAFO)

In accordance with N.J.S.A. 52:34-12(f) and N.J.A.C. 17:12-2-7, after evaluating Quotes, the Bureau may establish a competitive range and enter into negotiations with one (1)  Vendor {Bidder} or multiple Vendors {Bidders} within this competitive range.  The primary purpose of negotiations is to maximize the State’s ability to obtain the best value based on the mandatory requirements, evaluation criteria, and cost.  Multiple rounds of negotiations may be conducted with one (1) Vendor {Bidder} or multiple Vendors {Bidders}.  Negotiations will be structured by the Bureau to safeguard information and ensure that all Vendors {Bidders} are treated fairly.

Similarly, the Bureau may invite one (1) Vendor {Bidder} or multiple Vendors {Bidders} to submit a Best and Final Offer (BAFO). Said invitation will establish the time and place for submission of the BAFO. Any BAFO that does not result in more advantageous pricing to the State will not be considered, and the State will evaluate the Vendor’s {Bidder’s} most advantageous previously submitted pricing.

If required, after review of the BAFO(s), clarification may be sought from the Vendor(s) {Bidder(s)}.  The Division may conduct more than one (1) round of negotiation and/or BAFO in order to attain the best value for the State.

After evaluation of Quotes and as applicable, negotiation(s), and/or BAFO(s), the Bureau will recommend, to the Director, the responsible Vendor(s) {Bidder(s)} whose Quote(s), conforming to the Bid Solicitation, is/are most advantageous to the State, price, and other factors considered. The Director may accept, reject or modify the recommendation of the Bureau. The Director may initiate additional negotiation or BAFO procedures with the selected Vendor(s) {Bidder(s)}.

Negotiations will be conducted only in those circumstances where it is deemed by the Bureau or Director to be in the State’s best interests and to maximize the State’s ability to get the best value.  Therefore, the Vendor {Bidder} is advised to submit its best technical and price Quote in response to this Bid Solicitation since the State may, after evaluation, make a Blanket P.O. award based on the content of the initial submission, without further negotiation and/or BAFO with any Vendor {Bidder}.

All contacts, records of initial evaluations, any correspondence with a Vendor {Bidder} related to any request for clarification, negotiation or BAFO, any revised technical and/or price Quotes, and related documents will remain confidential until a Notice of Intent to Award a Blanket P.O. is issued.

If the Bureau contemplates negotiation, Quote prices will not be publicly read at the Quote opening.  Only the name and address of each Vendor {Bidder} will be publicly announced at the Quote opening.

## “REQUEST FOR REVISION” WITHIN NJSTART

The State may request a revision of the Vendor’s {Bidder’s} Quote within NJSTART. The Vendor {Bidder} shall respond to the “Request for Revision” (e.g., to reduce pricing if a BAFO is requested) only for the reason(s) identified by the State. Any changes made by a Vendor {Bidder} to the Quote other than as requested by the State shall be considered null and void.

## POOR PERFORMANCE

A Vendor {Bidder} with a history of performance problems may be bypassed for consideration of an award issued as a result of this Bid Solicitation. The following materials may be reviewed to determine Vendor {Bidder} performance:  Blanket P.O. cancellations for cause pursuant to Section 5.7(B) of the SSTC; information contained in Vendor performance records; information obtained from audits or investigations conducted by a local, state or federal agency of the Vendor’s {Bidder’s} work experience; current licensure, registration, and/or certification status and relevant history thereof; or its status or rating with established business/financial reporting services, as applicable.  Vendors {Bidders} should note that this list is not exhaustive.

# BLANKET P.O. AWARD

## DOCUMENTS REQUIRED BEFORE BLANKET P.O. AWARD

### REQUIREMENTS OF PUBLIC LAW 2005, CHAPTER 51, N.J.S.A. 19:44A-20.13 - N.J.S.A. 19:44A-20.25 (FORMERLY EXECUTIVE ORDER NO. 134), EXECUTIVE ORDER NO. 117 (2008) AND N.J.A.C. 17:12-5 ET SEQ.

- The State shall not enter into a Blanket P.O. to procure services or any material, supplies or equipment, or to acquire, sell, or lease any land or building from any Business Entity, where the value of the transaction exceeds $17,500, if that Business Entity has solicited or made any contribution of money, or pledge of contribution, including in-kind contributions, to a candidate committee and/or election fund of any candidate for or holder of the public office of Governor or Lieutenant Governor, to any State, county, municipal political party committee, or to any legislative leadership committee during certain specified time periods;

- Prior to awarding any Blanket P.O. or agreement to any Business Entity, the Business Entity proposed as the intended Vendor {Contractor} of the Blanket P.O. shall submit the Two-Year Chapter 51/Executive Order 117 Vendor Certification and Disclosure of Political Contributions form, certifying that no contributions prohibited by either Chapter 51 or Executive Order No. 117 have been made by the Business Entity and reporting all qualifying contributions made by the Business Entity or any person or entity whose contributions are attributable to the Business Entity. The required form and instructions, available for review on the Division’s website at http://www.state.nj.us/treasury/purchase/forms/eo134/Chapter51.pdf, shall be provided to the intended Vendor {Contractor} for completion and submission to the Division with the Notice of Intent to Award. Upon receipt of a Notice of Intent to Award a Blanket P.O., the intended Vendor {Contractor} shall submit to the Division, in care of the Division Procurement Specialist, the Certification and Disclosure(s) within five (5) business days of the State’s request.  The Certification and Disclosure(s) may be executed electronically by typing the name of the authorized signatory in the “Signature” block as an alternative to downloading, physically signing the form, scanning the form, and uploading the form.  Failure to submit the required forms will preclude award of a Blanket P.O. under this Bid Solicitation, as well as future Blanket P.O. opportunities; and

- Further, the Vendor {Contractor} is required, on a continuing basis, to report any contributions it makes during the term of the Blanket P.O., and any extension(s) thereof, at the time any such contribution is made. The required form and instructions, available for review on the Division’s website at http://www.state.nj.us/treasury/purchase/forms/eo134/Chapter51.pdf, shall be provided to the intended Vendor {Contractor} with the Notice of Intent to Award.

The Two-Year Chapter 51/Executive Order 117 Vendor Certification and Disclosure of Political Contributions form is located on the Division’s website. The form is also available in NJSTART.

Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation through NJSTART. QRGs are located on the NJSTART Vendor Support Page.

Vendors {Bidders} should verify its Chapter 51 Compliance status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} Chapter 51 Compliance status, NJSTART provides a link to take corrective action.

### SOURCE DISCLOSURE REQUIREMENTS

Pursuant to N.J.S.A. 52:34-13.2, all Blanket P.O.s primarily for services awarded by the Director shall be performed within the United States, except when the Director certifies in writing a finding that a required service cannot be provided by a Vendor {Contractor} or Subcontractor within the United States and the certification is approved by the State Treasurer.  Also refer to Section 3.6 Service Performance within U.S. of the SSTC.

Pursuant to the statutory requirements, the intended Vendor {Contractor} of a Blanket P.O. primarily for services with the State of New Jersey must disclose the location by country where services under the Blanket P.O., including subcontracted services, will be performed.  The Source Disclosure Form accompanies the subject Bid Solicitation. FAILURE TO SUBMIT SOURCING INFORMATION WHEN REQUESTED BY THE STATE SHALL PRECLUDE AWARD OF A BLANKET P.O. TO THE INTENDED VENDOR {BIDDER}.

If any of the services cannot be performed within the United States, the Vendor {Bidder} shall state with specificity the reasons why the services cannot be so performed.  The Director shall determine whether sufficient justification has been provided by the Vendor {Bidder} to form the basis of his or her certification that the services cannot be performed in the United States and whether to seek the approval of the Treasurer.

The Source Disclosure Form is located on the Division’s website. The form is also available in NJSTART. Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation through NJSTART. QRGs are located on the NJSTART Vendor Support Page.

#### BREACH OF BLANKET P.O.

A SHIFT TO PROVISION OF SERVICES OUTSIDE THE UNITED STATES DURING THE TERM OF THE BLANKET P.O. SHALL BE DEEMED A BREACH OF BLANKET P.O.  If, during the term of the Blanket P.O., or any extension thereof, the Vendor {Contractor} or Subcontractor, who had upon Blanket P.O. award declared that services would be performed in the United States, proceeds to shift the performance of any of the services outside the United States, the Vendor {Contractor} shall be deemed to be in breach of its Blanket P.O. Such Blanket P.O. shall be subject to termination for cause pursuant to Section 5.7b.1 of the SSTC, unless such shift in performance was previously approved by the Director and the Treasurer.

### AFFIRMATIVE ACTION

The intended Vendor {Contractor} must submit a copy of a New Jersey Certificate of Employee Information Report, or a copy of Federal Letter of Approval verifying it is operating under a federally approved or sanctioned Affirmative Action program.  Intended Vendors {Contractors} not in possession of either a New Jersey Certificate of Employee Information Report or a Federal Letter of Approval  must complete the Affirmative Action Employee Information Report (AA-302) located on the web at http://www.nj.gov/treasury/purchase/forms/AA_%20Supplement.pdf.

Vendors {Bidders} should verify its Affirmative Action Compliance status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} Affirmative Action Compliance status, NJSTART provides a link to take corrective action.

### BUSINESS REGISTRATION

In accordance with N.J.S.A. 52:32-44(b), a Vendor {Bidder} and its named Subcontractors must have a valid Business Registration Certificate (“BRC”) issued by the Department of the Treasury, Division of Revenue and Enterprise Services prior to the award of a Blanket P.O.  See Section 4.4.2.1 of this Bid Solicitation for further information.

Vendors {Bidders} should verify its Business Registration Certification Active status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} Business Registration Certification Active status, NJSTART provides a link to take corrective action. Vendors {Bidders} may refer to the QRG “Vendor Categories and Certifications” for instructions on completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

## FINAL BLANKET P.O. AWARD

Blanket P.O. award will be made with reasonable promptness by written notice to that responsible Vendor {Bidder}, whose Quote, conforming to this Bid Solicitation, is most advantageous to the State, price, and other factors considered.  Any or all Quotes may be rejected when the State Treasurer or the Director determines that it is in the public interest to do so.

The Division intends to award all price lines to one (1) responsive Vendor {Bidder}.

## INSURANCE CERTIFICATES

The Vendor {Contractor} shall provide the State with current certificates of insurance for all coverages required by the terms of this Blanket P.O., naming the State as an Additional Insured.   See Section 4.2 of the SSTC accompanying this Bid Solicitation.

Vendors {Bidders} should verify its Insurance Certification Compliance status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} Insurance Certification Compliance status, contact the Division Procurement Specialist.

## PERFORMANCE SECURITY

Not applicable to this procurement.

# BLANKET P.O. ADMINISTRATION

## STATE CONTRACT MANAGER

The State Contract Manager (SCM) is the State employee responsible for the overall management and administration of the Blanket P.O.

The SCM for this project will be identified at the time of execution of Blanket P.O.  At that time, the Vendor {Contractor} will be provided with the State Contract Manager’s name, department, division, agency, address, telephone number, fax phone number, and e-mail address.

### STATE CONTRACT MANAGER RESPONSIBILITIES

For an agency Blanket P.O. where only one (1) State office uses the Blanket P.O., the SCM will be responsible for engaging the Vendor {Contractor}, assuring that Purchase Orders are issued to the Vendor {Contractor}, directing the Vendor {Contractor} to perform the work of the Blanket P.O., approving the deliverables and approving payment vouchers.  The SCM is the person who the Vendor {Contractor} will contact after the Blanket P.O. is executed for answers to any questions and concerns about any aspect of the Blanket P.O.  The SCM is responsible for coordinating the use of the Blanket P.O. and resolving minor disputes between the Vendor {Contractor} and any component part of the SCM's Department.  The SCM is also responsible for notifying Office of Information Technology (OIT)  and other appropriate parties of security and privacy violations or incidents.  The SCM cannot modify the Blanket P.O., direct or approve a Change Order.

If the Blanket P.O. has multiple users, the SCM shall be the central coordinator of the use of the Blanket P.O. for all Using Agencies, while other State employees engage and pay the Vendor {Contractor}.  All persons and agencies using the Blanket P.O. must notify and coordinate the use of the Blanket P.O. with the SCM.

### COORDINATION WITH THE STATE CONTRACT MANAGER

Any Blanket P.O. user that is unable to resolve disputes with a Vendor {Contractor} shall refer those disputes to the SCM for resolution.  Any questions related to performance of the work of the Blanket P.O. by Blanket P.O. users shall be directed to the SCM.  The Vendor {Contractor} may contact the SCM if the Vendor {Contractor} cannot resolve a dispute with Blanket P.O. users.

# STATE OF NEW JERSEY STANDARD TERMS AND CONDITIONS

(Rev: 10/22/19)

## 1. STANDARD TERMS AND CONDITIONS APPLICABLE TO THE CONTRACT

Unless the bidder/offeror is specifically instructed otherwise in the Request for Proposals (RFP), the following terms and conditions shall apply to all contracts or purchase agreements made with the State of New Jersey. These terms are in addition to the terms and conditions set forth in the RFP and should be read in conjunction with same unless the RFP specifically indicates otherwise. In the event that the bidder/offeror would like to present terms and conditions that are in conflict with either these terms and conditions or those set forth in the RFP, the bidder/offeror must present those conflicts during the Question and Answer period for the State to consider. Any conflicting terms and conditions that the State is willing to accept will be reflected in an addendum to the RFP. The State's terms and conditions shall prevail over any conflicts set forth in a bidder/offeror's Proposal that were not submitted through the question and answer process and approved by the State. Nothing in these terms and conditions shall prohibit the Director of the Division of Purchase and Property (Director) from amending a contract when the Director determines it is in the best interests of the State.

## 1.1 contract terms CROSSWALK

| NJSTART Term | Equivalent Statutory, Regulatory and/or Legacy Term |
| --- | --- |
| Bid/Bid Solicitation | Request For Proposal (RFP)/Solicitation |
| Bid Amendment | Addendum |
| Change Order | Contract Amendment |
| Master Blanket Purchase Order (Blanket P.O.) | Contract |
| Offer and Acceptance Page | Signatory Page |
| Quote | Proposal |
| Vendor | Bidder/Contractor |

2.	STATE LAW REQUIRING MANDATORY COMPLIANCE BY ALL CONTRACTORS

The statutes, laws or codes cited herein are available for review at the New Jersey State Library, 185 West State Street, Trenton, New Jersey 08625.

2.1	BUSINESS REGISTRATION

Pursuant to N.J.S.A. 52:32-44, the State is prohibited from entering into a contract with an entity unless the bidder and each subcontractor named in the proposal have a valid Business Registration Certificate on file with the Division of Revenue and Enterprise Services.  A subcontractor named in a bid or other proposal shall provide a copy of its business registration to the bidder who shall provide it to the State.

The contractor shall maintain and submit to the State a list of subcontractors and their addresses that may be updated from time to time with the prior written consent of the Director during the course of contract performance.  The contractor shall submit to the State a complete and accurate list of all subcontractors used and their addresses before final payment is made under the contract.

Pursuant to N.J.S.A. 54:49-4.1, a business organization that fails to provide a copy of a business registration, or that provides false business registration information, shall be liable for a penalty of $25 for each day of violation, not to exceed $50,000 for each business registration copy not properly provided under a contract with a contracting agency.

The contractor and any subcontractor providing goods or performing services under the contract, and each of their affiliates, shall, during the term of the contract, collect and remit to the Director of the Division of Taxation in the Department of the Treasury, the Use Tax due pursuant to the “Sales and Use Tax Act, P.L. 1966, c. 30 (N.J.S.A. 54:32B-1 et seq.) on all sales of tangible personal property delivered into the State. Any questions in this regard can be directed to the Division of Revenue at (609) 292-1730. Form NJ-REG can be filed online at http://www.state.nj.us/treasury/revenue/busregcert.shtml.

2.2	ANTI-DISCRIMINATION

All parties to any contract with the State agree not to discriminate in employment and agree to abide by all anti-discrimination laws including those contained within N.J.S.A. 10:2-1 through N.J.S.A. 10:2-4, N.J.S.A. 10:5-1 et seq. and N.J.S.A. 10:5-31 through 10:5-38, and all rules and regulations issued thereunder are hereby incorporated by reference. The agreement to abide by the provisions of N.J.S.A. 10:5-31 through 10:5-38 include those provisions indicated for Goods, Professional Service and General Service Contracts (Exhibit A, attached) and Constructions Contracts (Exhibit B and Executive Order 151, August 28, 2009, attached) as appropriate.

The contractor or subcontractor, where applicable, agrees to comply with any regulations promulgated by the Treasurer pursuant to N.J.S.A. 10:5-31 et seq., as amended and supplemented from time to time.

2.3	PREVAILING WAGE ACT

The New Jersey Prevailing Wage Act, N.J.S.A. 34: 11-56.25 et seq. is hereby made part of every contract entered into on behalf of the State of New Jersey through the Division of Purchase and Property, except those contracts which are not within the contemplation of the Act. The bidder's signature on [this proposal] is his/her guarantee that neither he/she nor any subcontractors he/she might employ to perform the work covered by [this proposal] has been suspended or debarred by the Commissioner, Department of Labor and Workforce Development for violation of the provisions of the Prevailing Wage Act and/or the Public Works Contractor Registration Acts; the bidder’s signature on the proposal is also his/her guarantee that he/she and any subcontractors he/she might employ to perform the work covered by [this proposal] shall comply with the provisions of the Prevailing Wage and Public Works Contractor Registration Acts, where required.

2.4	AMERICANS WITH DISABILITIES ACT

The contractor must comply with all provisions of the Americans with Disabilities Act (ADA), P.L 101-336, in accordance with 42 U.S.C. 12101, et seq.

2.5	MACBRIDE PRINCIPLES

The bidder must certify pursuant to N.J.S.A. 52:34-12.2 that it either has no ongoing business activities in Northern Ireland and does not maintain a physical presence therein or that it will take lawful steps in good faith to conduct any business operations it has in Northern Ireland in accordance with the MacBride principles of nondiscrimination in employment as set forth in N.J.S.A. 52:18A-89.5 and in conformance with the United Kingdom’s Fair Employment (Northern Ireland) Act of 1989, and permit independent monitoring of their compliance with those principles.

2.6	PAY TO PLAY PROHIBITIONS

Pursuant to N.J.S.A. 19:44A-20.13 et seq. (P.L. 2005, c. 51), and specifically, N.J.S.A. 19:44A-20.21, it shall be a breach of the terms of the contract for the business entity to:

- Make or solicit a contribution in violation of the statute;

- Knowingly conceal or misrepresent a contribution given or received;

- Make or solicit contributions through intermediaries for the purpose of concealing or misrepresenting the source of the contribution;

- Make or solicit any contribution on the condition or with the agreement that it will be contributed to a campaign committee or any candidate of holder of the public office of Governor or Lieutenant Governor, or to any State or county party committee;

- Engage or employ a lobbyist or consultant with the intent or understanding that such lobbyist or consultant would make or solicit any contribution, which if made or solicited by the business entity itself, would subject that entity to the restrictions of the Legislation;

- Fund contributions made by third parties, including consultants, attorneys, family members, and employees;

- Engage in any exchange of contributions to circumvent the intent of the Legislation; or

- Directly or indirectly through or by any other person or means, do any act which would subject that entity to the restrictions of the Legislation.

2.7	POLITICAL CONTRIBUTION DISCLOSURE

The contractor is advised of its responsibility to file an annual disclosure statement on political contributions with the New Jersey Election Law Enforcement Commission (ELEC), pursuant to N.J.S.A. 19:44A-20.27 (P.L. 2005, c. 271, §3 as amended) if in a calendar year the contractor receives one (1) or more contracts valued at $50,000.00 or more. It is the contractor’s responsibility to determine if filing is necessary. Failure to file can result in the imposition of penalties by ELEC. Additional information about this requirement is available from ELEC by calling 1(888)313-3532 or on the internet at http://www.elec.state.nj.us/.

2.8	STANDARDS PROHIBITING CONFLICTS OF INTEREST

The following prohibitions on contractor activities shall apply to all contracts or purchase agreements made with the State of New Jersey, pursuant to Executive Order No. 189 (1988).

No vendor shall pay, offer to pay, or agree to pay, either directly or indirectly, any fee, commission, compensation, gift, gratuity, or other thing of value of any kind to any State officer or employee or special State officer or employee, as defined by N.J.S.A. 52:13D-13b. and e., in the Department of the Treasury or any other agency with which such vendor transacts or offers or proposes to transact business, or to any member of the immediate family, as defined by N.J.S.A. 52:13D-13i., of any such officer or employee, or partnership, firm or corporation with which they are employed or associated, or in which such officer or employee has an interest within the meaning of N.J.S.A. 52: 13D-13g;

The solicitation of any fee, commission, compensation, gift, gratuity or other thing of value by any State officer or employee or special State officer or employee from any State vendor shall be reported in writing forthwith by the vendor to the New Jersey Office of the Attorney General and the Executive Commission on Ethical Standards, now known as the State Ethics Commission;

No vendor may, directly or indirectly, undertake any private business, commercial or entrepreneurial relationship with, whether or not pursuant to employment, contract or other agreement, express or implied, or sell any interest in such vendor to, any State officer or employee or special State officer or employee having any duties or responsibilities in connection with the purchase, acquisition or sale of any property or services by or to any State agency or any instrumentality thereof, or with any person, firm or entity with which he/she is employed or associated or in which he/she has an interest within the meaning of N.J.S.A. 52:13D-13g. Any relationships subject to this provision shall be reported in writing forthwith to the Executive Commission on Ethical Standards, now known as the State Ethics Commission, which may grant a waiver of this restriction upon application of the State officer or employee or special State officer or employee upon a finding that the present or proposed relationship does not present the potential, actuality or appearance of a conflict of interest;

No vendor shall influence, or attempt to influence or cause to be influenced, any State officer or employee or special State officer or employee in his/her official capacity in any manner which might tend to impair the objectivity or independence of judgment of said officer or employee;

No vendor shall cause or influence, or attempt to cause or influence, any State officer or employee or special State officer or employee to use, or attempt to use, his/her official position to secure unwarranted privileges or advantages for the vendor or any other person; and

The provisions cited above in paragraphs 2.8a through 2.8e shall not be construed to prohibit a State officer or employee or Special State officer or employee from receiving gifts from or contracting with vendors under the same terms and conditions as are offered or made available to members of the general public subject to any guidelines the Executive Commission on Ethical Standards, now known as the State Ethics Commission may promulgate under paragraph 3c of Executive Order No. 189.

2.9	NOTICE TO ALL CONTRACTORS SET-OFF FOR STATE TAX NOTICE

Pursuant to N.J.S.A. 54:49-19, effective January 1, 1996, and notwithstanding any provision of the law to the contrary, whenever any taxpayer, partnership or S corporation under contract to provide goods or services or construction projects to the State of New Jersey or its agencies or instrumentalities, including the legislative and judicial branches of State government, is entitled to payment for those goods or services at the same time a taxpayer, partner or shareholder of that entity is indebted for any State tax, the Director of the Division of Taxation shall seek to set off that taxpayer’s or shareholder’s share of the payment due the taxpayer, partnership, or S corporation. The amount set off shall not allow for the deduction of any expenses or other deductions which might be attributable to the taxpayer, partner or shareholder subject to set-off under this act.

The Director of the Division of Taxation shall give notice to the set-off to the taxpayer and provide an opportunity for a hearing within 30 days of such notice under the procedures for protests established under R.S. 54:49-18. No requests for conference, protest, or subsequent appeal to the Tax Court from any protest under this section shall stay the collection of the indebtedness. Interest that may be payable by the State, pursuant to P.L. 1987, c.184 (c.52:32-32 et seq.), to the taxpayer shall be stayed.

2.10	COMPLIANCE - LAWS

The contractor must comply with all local, State and Federal laws, rules and regulations applicable to this contract and to the goods delivered and/or services performed hereunder.

2.11	COMPLIANCE - STATE LAWS

It is agreed and understood that any contracts and/or orders placed as a result of [this proposal] shall be governed and construed and the rights and obligations of the parties hereto shall be determined in accordance with the laws of the State of New Jersey.

2.12	Warranty of no solicitation on commission or contingent fee basis

The contractor warrants that no person or selling agency has been employed or retained to solicit or secure the contract upon an agreement or understanding for a commission, percentage, brokerage or contingent fee, except bona fide employees or bona fide established commercial or selling agencies maintained by the contractor for the purpose of securing business.  If a breach or violation of this section occurs, the State shall have the right to terminate the contract without liability or in its discretion to deduct from the contract price or consideration the full amount of such commission, percentage, brokerage or contingent fee.

3.	STATE LAW REQUIRING MANDATORY COMPLIANCE BY CONTRACTORS UNDER CIRCUMSTANCES SET FORTH IN LAW OR BASED ON THE TYPE OF CONTRACT

## 3.1	COMPLIANCE - CODES

The contractor must comply with NJUCC and the latest NEC70, B.O.C.A. Basic Building code, OSHA and all applicable codes for this requirement. The contractor shall be responsible for securing and paying all necessary permits, where applicable.

## 3.2	PUBLIC WORKS CONTRACTOR REGISTRATION ACT

The New Jersey Public Works Contractor Registration Act requires all contractors, subcontractors and lower tier subcontractor(s) who engage in any contract for public work as defined in N.J.S.A. 34:11-56.26 be first registered with the New Jersey Department of Labor and Workforce Development pursuant to N.J.S.A. 34:11-56.51. Any questions regarding the registration process should be directed to the Division of Wage and Hour Compliance at (609) 292-9464.

## 3.3	PUBLIC WORKS CONTRACT - ADDITIONAL AFFIRMATIVE ACTION REQUIREMENTS

N.J.S.A. 10:2-1 requires that during the performance of this contract, the contractor must agree as follows:

- In the hiring of persons for the performance of work under this contract or any subcontract hereunder, or for the procurement, manufacture, assembling or furnishing of any such materials, equipment, supplies or services to be acquired under this contract, no contractor, nor any person acting on behalf of such contractor or subcontractor, shall, by reason of race, creed, color, national origin, ancestry, marital status, gender identity or expression, affectional or sexual orientation or sex, discriminate against any person who is qualified and available to perform the work to which the employment relates;

- No contractor, subcontractor, nor any person on his/her behalf shall, in any manner, discriminate against or intimidate any employee engaged in the performance of work under this contract or any subcontract hereunder, or engaged in the procurement, manufacture, assembling or furnishing of any such materials, equipment, supplies or services to be acquired under such contract, on account of race, creed, color, national origin, ancestry, marital status, gender identity or expression, affectional or sexual orientation or sex;

- There may be deducted from the amount payable to the contractor by the contracting public agency, under this contract, a penalty of $50.00 for each person for each calendar day during which such person is discriminated against or intimidated in violation of the provisions of the contract; and

- This contract may be canceled or terminated by the contracting public agency, and all money due or to become due hereunder may be forfeited, for any violation of this section of the contract occurring after notice to the contractor from the contracting public agency of any prior violation of this section of the contract.

N.J.S.A. 10:5-33 and N.J.A.C. 17:27-3.5 require that during the performance of this contract, the contractor must agree as follows:

- The contractor or subcontractor, where applicable, will not discriminate against any employee or applicant for employment because of age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex. Except with respect to affectional or sexual orientation and gender identity or expression, the contractor will take affirmative action to ensure that such applicants are recruited and employed, and that employees are treated during employment, without regard to their age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex. Such action shall include, but not be limited to the following: employment, upgrading, demotion, or transfer; recruitment or recruitment advertising; layoff or termination; rates of pay or other forms of compensation; and selection for training, including apprenticeship. The contractor agrees to post in conspicuous places, available to employees and applicants for employment, notices to be provided by the contracting officer setting forth the provisions of this nondiscrimination clause;

- The contractor or subcontractor, where applicable will, in all solicitations or advertisements for employees placed by or on behalf of the contractor, state that all qualified applicants will receive consideration for employment without regard to age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex;

- The contractor or subcontractor where applicable, will send to each labor union or representative of workers with which it has a collective bargaining agreement or other contract or understanding, a notice, to be provided by the agency contracting officer, advising the labor union or workers' representative of the contractor's commitments under this act and shall post copies of the notice in conspicuous places available to employees and applicants for employment, N.J.A.C. 17:27-3.7 requires all contractors and subcontractors, if any, to further agree as follows:

  - The contractor or subcontractor agrees to make good faith efforts to meet targeted county employment goals established in accordance with N.J.A.C. 17:27-5.2;

  - The contractor or subcontractor agrees to inform in writing its appropriate recruitment agencies including, but not limited to, employment agencies, placement bureaus, colleges, universities, and labor unions, that it does not discriminate on the basis of age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex, and that it will discontinue the use of any recruitment agency which engages in direct or indirect discriminatory practices;

  - The contractor or subcontractor agrees to revise any of its testing procedures, if necessary, to assure that all personnel testing conforms with the principles of job-related testing, as established by the statutes and court decisions of the State of New Jersey and as established by applicable Federal law and applicable Federal court decisions; and

  - In conforming with the targeted employment goals, the contractor or subcontractor agrees to review all procedures relating to transfer, upgrading, downgrading and layoff to ensure that all such actions are taken without regard to age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex, consistent with the statutes and court decisions of the State of New Jersey, and applicable Federal law and applicable Federal court decisions.

## 3.4	BUILDING SERVICE

Pursuant to N.J.S.A. 34:11-56.58 et seq., in any contract for building services, as defined in N.J.S.A. 34:11-56.59, the employees of the contractor or subcontractors shall be paid prevailing wage for building services rates, as defined in N.J.S.A. 34:11.56.59. The prevailing wage shall be adjusted annually during the term of the contract.

## 3.5	THE WORKER AND COMMUNITY RIGHT TO KNOW ACT

The provisions of N.J.S.A. 34:5A-1 et seq. which require the labeling of all containers of hazardous substances are applicable to this contract. Therefore, all goods offered for purchase to the State must be labeled by the contractor in compliance with the provisions of the statute.

## 3.6	SERVICE PERFORMANCE WITHIN U.S.

Under N.J.S.A. 52:34-13.2, all contracts primarily for services awarded by the Director shall be performed within the United States, except when the Director certifies in writing a finding that a required service cannot be provided by a contractor or subcontractor within the United States and the certification is approved by the State Treasurer.

A shift to performance of services outside the United States during the term of the contract shall be deemed a breach of contract. If, during the term of the contract, the contractor or subcontractor, proceeds to shift the performance of any of the services outside the United States, the contractor shall be deemed to be in breach of its contract, which contract shall be subject to termination for cause pursuant to Section 5.7(b) (1) of the Standard Terms and Conditions, unless previously approved by the Director and the Treasurer.

## 3.7	BUY AMERICAN

Pursuant to N.J.S.A. 52:32-1, if manufactured items or farm products will be provided under this contract to be used in a public work, they shall be manufactured or produced in the United States and the contractor shall be required to so certify.

3.8	DIANE B. ALLEN EQUAL PAY ACT

Pursuant to N.J.S.A. 34:11-56.14, a contractor performing “qualifying services” or “public work” to the State or any agency or instrumentality of the State shall provide the Commissioner of Labor and Workforce Development a report regarding the compensation and hours worked by employees categorized by gender, race, ethnicity, and job category.  For more information and report templates see https://nj.gov/labor/equalpay/equalpay.html.

## 4.	INDEMNIFICATION AND INSURANCE

## 4.1	INDEMNIFICATION

The contractor’s liability to the State and its employees in third party suits shall be as follows:

      - Indemnification for Third Party Claims - The contractor shall assume all risk of and responsibility for, and agrees to indemnify, defend, and save harmless the State of New Jersey and its employees from and against any and all claims, demands, suits, actions, recoveries, judgments and costs and expenses in connection therewith which shall arise from or result directly or indirectly from the work and/or materials supplied under this contract, including liability of any nature or kind for or on account of the use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in the performance of this contract;

      - The contractor’s indemnification and liability under subsection (a) is not limited by, but is in addition to the insurance obligations contained in Section 4.2 of these Terms and Conditions; and

      - In the event of a patent and copyright claim or suit, the contractor, at its option, may: (1) procure for the State of New Jersey the legal right to continue the use of the product; (2) replace or modify the product to provide a non-infringing product that is the functional equivalent; or (3) refund the purchase price less a reasonable allowance for use that is agreed to by both parties.

## 4.2	INSURANCE

The contractor shall secure and maintain in force for the term of the contract insurance as provided herein. All required insurance shall be provided by insurance companies with an A-VIII or better rating by A.M. Best & Company. All policies must be endorsed to provide 30 days’ written notice of cancellation or material change to the State of New Jersey at the address shown below. If the contractor’s insurer cannot provide 30 days written notice, then it will become the obligation of the contractor to provide the same.  The contractor shall provide the State with current certificates of insurance for all coverages and renewals thereof. Renewal certificates shall be provided within 30 days of the expiration of the insurance. The contractor shall not begin to provide services or goods to the State until evidence of the required insurance is provided. The certificates of insurance shall indicate the contract number or purchase order number and title of the contract in the Description of Operations box and shall list the State of New Jersey, Department of the Treasury, Division of Purchase & Property, Contract Compliance & Audit Unit, P.O. Box 236, Trenton, New Jersey 08625 in the Certificate Holder box. The certificates and any notice of cancelation shall be emailed to the State at:

ccau.certificate@treas.nj.gov

The insurance to be provided by the contractor shall be as follows:

- Occurrence Form Commercial General Liability Insurance or its equivalent: The minimum limit of liability shall be $1,000,000 per occurrence as a combined single limit for bodily injury and property damage. The above required Commercial General Liability Insurance policy or its equivalent shall name the State, its officers, and employees as “Additional Insureds” and include the blanket additional insured endorsement or its equivalent. The coverage to be provided under these policies shall be at least as broad as that provided by the standard basic Commercial General Liability Insurance occurrence coverage forms or its equivalent currently in use in the State of New Jersey, which shall not be circumscribed by any endorsement limiting the breadth of coverage;

- Automobile Liability Insurance which shall be written to cover any automobile used by the insured. Limits of liability for bodily injury and property damage shall not be less than $1,000,000 per occurrence as a combined single limit. The State must be named as an “Additional Insured” and a blanket additional insured endorsement or its equivalent must be provided when the services being procured involve vehicle use on the State’s behalf or on State controlled property;

- Worker’s Compensation Insurance applicable to the laws of the State of New Jersey and Employers Liability Insurance with limits not less than:

- $1,000,000 BODILY INJURY, EACH OCCURRENCE;

- $1,000,000 DISEASE EACH EMPLOYEE; and

- $1,000,000 DISEASE AGGREGATE LIMIT.

  - This $1,000,000 amount may have been raised by the RFP when deemed necessary by the Director; and

  - In the case of a contract entered into pursuant to N.J.S.A. 52:32-17 et seq., (small business set asides) the minimum amount of insurance coverage in subsections a., b., and c. above may have been lowered in the RFP for certain commodities when deemed in the best interests of the State by the Director.

## 5.	TERMS GOVERNING ALL CONTRACTS

## 5.1	CONTRACTOR IS INDEPENDENT CONTRACTOR

The contractor's status shall be that of any independent contractor and not as an employee of the State.

## 5.2	CONTRACT AMOUNT

The estimated amount of the contract(s), when stated on the RFP form, shall not be construed as either the maximum or minimum amount which the State shall be obliged to order as the result of the RFP or any contract entered into as a result of the RFP.

## 5.3	CONTRACT TERM AND EXTENSION OPTION

If, in the opinion of the Director, it is in the best interest of the State to extend a contract, the contractor shall be so notified of the Director’s Intent at least 30 days prior to the expiration date of the existing contract. The contractor shall have 15 calendar days to respond to the Director's request to extend the term and period of performance of the contract. If the contractor agrees to the extension, all terms and conditions of the original contract shall apply unless more favorable terms for the State have been negotiated.

## 5.4	STATE’S OPTION TO REDUCE SCOPE OF WORK

The State has the option, in its sole discretion, to reduce the scope of work for any deliverable, task or subtask called for under this contract. In such an event, the Director shall provide to the contractor advance written notice of the change in scope of work and what the Director believes should be the corresponding adjusted contract price. Within five (5) business days of receipt of such written notice, if either is applicable:

- If the contractor does not agree with the Director’s proposed adjusted contract price, the contractor shall submit to the Director any additional information that the contractor believes impacts the adjusted contract price with a request that the Director reconsider the proposed adjusted contract price. The parties shall negotiate the adjusted contract price. If the parties are unable to agree on an adjusted contract price, the Director shall make a prompt decision taking all such information into account, and shall notify the contractor of the final adjusted contract price; and

- If the contractor has undertaken any work effort toward a deliverable, task or subtask that is being changed or eliminated such that it would not be compensated under the adjusted contract, the contractor shall be compensated for such work effort according to the applicable portions of its price schedule and the contractor shall submit to the Director an itemization of the work effort already completed by deliverable, task or subtask within the scope of work, and any additional information the Director may request. The Director shall make a prompt decision taking all such information into account, and shall notify the contractor of the compensation to be paid for such work effort.

## 5.5	CHANGE IN LAW

If, after award, a change in applicable law or regulation occurs which affects the Contract, the parties may amend the Contract, including pricing, in order to provide equitable relief for the party disadvantaged by the change in law.  The parties shall negotiate in good faith, however if agreement is not possible after reasonable efforts, the Director shall make a prompt decision as to an equitable adjustment, taking all relevant information into account, and shall notify the Vendor {Contractor} of the final adjusted contract price.

## 5.6	SUSPENSION OF WORK

The State may, for valid reason, issue a stop order directing the contractor to suspend work under the contract for a specific time. The contractor shall be paid for goods ordered, goods delivered, or services requested and performed until the effective date of the stop order. The contractor shall resume work upon the date specified in the stop order, or upon such other date as the State Contract Manager may thereafter direct in writing. The period of suspension shall be deemed added to the contractor's approved schedule of performance. The Director shall make an equitable adjustment, if any is required, to the contract price. The contractor shall provide whatever information that Director may require related to the equitable adjustment.

## 5.7	TERMINATION OF CONTRACT

- For Convenience:

Notwithstanding any provision or language in this contract to the contrary, the Director may terminate this contract at any time, in whole or in part, for the convenience of the State, upon no less than 30 days written notice to the contractor;

- For Cause:

  - Where a contractor fails to perform or comply with a contract or a portion thereof, and/or fails to comply with the complaints procedure in N.J.A.C. 17:12-4.2 et seq., the Director may terminate the contract, in whole or in part, upon ten (10) days’ notice to the contractor with an opportunity to respond; and

  - Where in the reasonable opinion of the Director, a contractor continues to perform a contract poorly as demonstrated by e.g., formal complaints, late delivery, poor performance of service, short-shipping, so that the Director is required to use the complaints procedure in N.J.A.C. 17:12-4.2 et seq., and there has been a failure on the part of the contractor to make progress towards ameliorating the issue(s) or problem(s) set forth in the complaint, the Director may terminate the contract, in whole or in part, upon ten (10) days’ notice to the contractor with an opportunity to respond.

- In cases of emergency the Director may shorten the time periods of notification and may dispense with an opportunity to respond; and

- In the event of termination under this section, the contractor shall be compensated for work performed in accordance with the contract, up to the date of termination. Such compensation may be subject to adjustments.

## 5.8	SUBCONTRACTING OR ASSIGNMENT

- Subcontracting: The contractor may not subcontract other than as identified in the contractor’s proposal without the prior written consent of the Director. Such consent, if granted in part, shall not relieve the contractor of any of his/her responsibilities under the contract, nor shall it create privity of contract between the State and any subcontractor. If the contractor uses a subcontractor to fulfill any of its obligations, the contractor shall be responsible for the subcontractor’s: (a) performance; (b) compliance with all of the terms and conditions of the contract; and (c) compliance with the requirements of all applicable laws; and

- Assignment: The contractor may not assign its responsibilities under the contract, in whole or in part, without the prior written consent of the Director.

## 5.9	NO CONTRACTUAL RELATIONSHIP BETWEEN SUBCONTRACTORS AND STATE

Nothing contained in any of the contract documents, including the RFP and vendor’s bid or proposal shall be construed as creating any contractual relationship between any subcontractor and the State.

## 5.10	MERGERS, ACQUISITIONS

If, during the term of this contract, the contractor shall merge with or be acquired by another firm, the contractor shall give notice to the Director as soon as practicable and in no event longer than 30 days after said merger or acquisition. The contractor shall provide such documents as may be requested by the Director, which may include but need not be limited to the following: corporate resolutions prepared by the awarded contractor and new entity ratifying acceptance of the original contract, terms, conditions and prices; updated information including ownership disclosure and Federal Employer Identification Number. The documents must be submitted within 30 days of the request. Failure to do so may result in termination of the contract for cause.

If, at any time during the term of the contract, the contractor's partnership, limited liability company, limited liability partnership, professional corporation, or corporation shall dissolve, the Director must be so notified. All responsible parties of the dissolved business entity must submit to the Director in writing, the names of the parties proposed to perform the contract, and the names of the parties to whom payment should be made. No payment shall be made until all parties to the dissolved business entity submit the required documents to the Director.

## 5.11	PERFORMANCE GUARANTEE OF CONTRACTOR

The contractor hereby certifies that:

- The equipment offered is standard new equipment, and is the manufacturer's latest model in production, with parts regularly used for the type of equipment offered; that such parts are all in production and not likely to be discontinued; and that no attachment or part has been substituted or applied contrary to manufacturer's recommendations and standard practice;

- All equipment supplied to the State and operated by electrical current is UL listed where applicable;

- All new machines are to be guaranteed as fully operational for the period stated in the contract from time of written acceptance by the State. The contractor shall render prompt service without charge, regardless of geographic location;

- Sufficient quantities of parts necessary for proper service to equipment shall be maintained at distribution points and service headquarters;

- Trained mechanics are regularly employed to make necessary repairs to equipment in the territory from which the service request might emanate within a 48-hour period or within the time accepted as industry practice;

- During the warranty period the contractor shall replace immediately any material which is rejected for failure to meet the requirements of the contract; and

- All services rendered to the State shall be performed in strict and full accordance with the specifications stated in the contract. The contract shall not be considered complete until final approval by the State's using agency is rendered.

## 5.12	DELIVERY REQUIREMENTS

  - Deliveries shall be made at such time and in such quantities as ordered in strict accordance with conditions contained in the contract;

  - The contractor shall be responsible for the delivery of material in first class condition to the State's using agency or the purchaser under this contract and in accordance with good commercial practice;

  - Items delivered must be strictly in accordance with the contract; and

  - In the event delivery of goods or services is not made within the number of days stipulated or under the schedule defined in the contract, the using agency shall be authorized to obtain the material or service from any available source, the difference in price, if any, to be paid by the contractor.

## 5.13	APPLICABLE LAW AND JURISDICTION

This contract and any and all litigation arising therefrom or related thereto shall be governed by the applicable laws, regulations and rules of evidence of the State of New Jersey without reference to conflict of laws principles and shall be filed in the appropriate Division of the New Jersey Superior Court.

## 5.14	CONTRACT AMENDMENT

Except as provided herein, the contract may only be amended by written agreement of the State and the contractor.

## 5.15	MAINTENANCE OF RECORDS

The contractor shall maintain records for products and/or services delivered against the contract for a period of five (5) years from the date of final payment unless a longer period is required by law. Such records shall be made available to the State, including the Comptroller, for audit and review.

## 5.16	ASSIGNMENT OF ANTITRUST CLAIM(S)

The contractor recognizes that in actual economic practice, overcharges resulting from antitrust violations are in fact usually borne by the ultimate purchaser. Therefore, and as consideration for executing this contract, the contractor, acting herein by and through its duly authorized agent, hereby conveys, sells, assigns, and transfers to the State of New Jersey, for itself and on behalf of its political subdivisions and public agencies, all right, title and interest to all claims and causes of action it may now or hereafter acquire under the antitrust laws of the United States or the State of New Jersey, relating to the particular goods and services purchased or acquired by the State of New Jersey or any of its political subdivisions or public agencies pursuant to this contract.

In connection with this assignment, the following are the express obligations of the contractor:

  - It shall take no action that will in any way diminish the value of the rights conveyed or assigned hereunder;

  - It shall advise the Attorney General of New Jersey:

1. In advance of its intention to commence any action on its own behalf regarding any such claim or cause(s) of action; and

2. Immediately upon becoming aware of the fact that an action has been commenced on its behalf by some other person(s) of the pendency of such action.

  - It shall notify the defendants in any antitrust suit of the within assignment at the earliest practicable opportunity after the contractor has initiated an action on its own behalf or becomes aware that such an action has been filed on its behalf by another person. A copy of such notice shall be sent to the Attorney General of New Jersey; and

  - It is understood and agreed that in the event any payment under any such claim or cause of action is made to the contractor, it shall promptly pay over to the State of New Jersey the allotted share thereof, if any, assigned to the State hereunder.

6.	TERMS RELATING TO PRICE AND PAYMENT

## 6.1	PRICE FLUCTUATION DURING CONTRACT

Unless otherwise agreed to in writing by the State, all prices quoted shall be firm through issuance of contract or purchase order and shall not be subject to increase during the period of the contract.

In the event of a manufacturer's or contractor's price decrease during the contract period, the State shall receive the full benefit of such price reduction on any undelivered purchase order and on any subsequent order placed during the contract period. The Director must be notified, in writing, of any price reduction within five (5) days of the effective date.

Failure to report price reductions may result in cancellation of contract for cause, pursuant to provision 5.7(b)1.

In an exceptional situation the State may consider a price adjustment. Requests for price adjustments must include justification and documentation.

## 6.2	TAX CHARGES

The State of New Jersey is exempt from State sales or use taxes and Federal excise taxes. Therefore, price quotations must not include such taxes. The State's Federal Excise Tax Exemption number is 22-75-0050K.

## 6.3	PAYMENT TO VENDORS

- The using agency(ies) is (are) authorized to order and the contractor is authorized to ship only those items covered by the contract resulting from the RFP. If a review of orders placed by the using agency(ies) reveals that goods and/or services other than that covered by the contract have been ordered and delivered, such delivery shall be a violation of the terms of the contract and may be considered by the Director as a basis to terminate the contract and/or not award the contractor a subsequent contract. The Director may take such steps as are necessary to have the items returned by the agency, regardless of the time between the date of delivery and discovery of the violation. In such event, the contractor shall reimburse the State the full purchase price;

- The contractor must submit invoices to the using agency with supporting documentation evidencing that work or goods for which payment is sought has been satisfactorily completed or delivered. For commodity contracts, the invoice, together with the original Bill of Lading, express receipt and other related papers must be sent to the State Contract Manager or using agency on the date of each delivery. For contracts featuring services, invoices must reference the tasks or subtasks detailed in the Scope of Work section of the RFP and must be in strict accordance with the firm, fixed prices submitted for each task or subtask on the RFP pricing sheets. When applicable, invoices should reference the appropriate RFP price sheet line number from the contractor’s bid proposal. All invoices must be approved by the State Contract Manager or using agency before payment will be authorized;

- In all time and materials contracts, the State Contract Manager or designee shall monitor and approve the hours of work and the work accomplished by contractor and shall document both the work and the approval. Payment shall not be made without such documentation. A form of timekeeping record that should be adapted as appropriate for the Scope of Work being performed can be found at www.nj.gov/treasury/purchase/forms/Vendor_Timesheet.xls; and

- The contractor shall provide, on a monthly and cumulative basis, a breakdown in accordance with the budget submitted, of all monies paid to any small business, minority or woman-owned subcontractor(s). This breakdown shall be sent to the Chief of Operations, Division of Revenue, P.O. Box 628, Trenton, NJ 08646.

## 6.4	OPTIONAL PAYMENT METHOD: P-CARD

The State offers contractors the opportunity to be paid through the MasterCard procurement card (p-card). A contractor’s acceptance and a State agency’s use of the p-card are optional. P-card transactions do not require the submission of a contractor invoice; purchasing transactions using the p-card will usually result in payment to a contractor in three (3) days. A contractor should take note that there will be a transaction-processing fee for each p-card transaction. To participate, a contractor must be capable of accepting the MasterCard. Additional information can be obtained from banks or merchant service companies.

## 6.5	NEW JERSEY PROMPT PAYMENT ACT

The New Jersey Prompt Payment Act, N.J.S.A. 52:32-32 et seq., requires state agencies to pay for goods and services within 60 days of the agency's receipt of a properly executed State Payment Voucher or within 60 days of receipt and acceptance of goods and services, whichever is later. Properly executed performance security, when required, must be received by the State prior to processing any payments for goods and services accepted by state agencies. Interest will be paid on delinquent accounts at a rate established by the State Treasurer. Interest shall not be paid until it exceeds $5.00 per properly executed invoice.

Cash discounts and other payment terms included as part of the original agreement are not affected by the Prompt Payment Act.

## 6.6	AVAILABILITY OF FUNDS

The State’s obligation to make payment under this contract is contingent upon the availability of appropriated funds and receipt of revenues from which payment for contract purposes can be made. No legal liability on the part of the State for payment of any money shall arise unless and until funds are appropriated each fiscal year to the using agency by the State Legislature and made available through receipt of revenue.

## 7.	TERMS RELATING TO ALL CONTRACTS FUNDED, IN WHOLE OR IN PART, BY FEDERAL FUNDS

The provisions set forth in this Section 7 of the Standard Terms and Conditions apply to all contracts funded, in whole or in part, by Federal funds as required by 2 CFR 200.317.

## 7.1	PROCUREMENT OF RECOVERED MATERIALS

To the extent that the scope of work or specifications in the contract requires the contractor to provide any of the following items, this Section 7.1 of the Standard Terms and Conditions modifies the terms of the scope of work or specification.

Pursuant to 2 CFR 200.322, the contractor must comply with section 6002 of the Solid Waste Disposal Act, as amended by the Resource Conservation and Recovery Act, 42 U.S.C. § 6962. The requirements of Section 6002 include procuring only items designated in guidelines of the Environmental Protection Agency (EPA) at 40 CFR Part 247 that contain the highest percentage of recovered materials practicable, consistent with maintaining a satisfactory level of competition, where the purchase price of the item exceeds $ 10,000 or the value of the quantity acquired during the preceding fiscal year exceeded $ 10,000; procuring solid waste management services in a manner that maximizes energy and resource recovery; and establishing an affirmative procurement program for procurement of recovered materials identified in the EPA guidelines.

- Designated items are those set forth in 40 CFR 247 subpart B, as may be amended from time to time, including:

  - Paper and paper products listed in 40 C.F.R. 247.10;

  - Certain vehicular products as listed in 40 CFR 247.11;

  - Certain construction products listed in 40 C.F.R. 247.12;

  - Certain transportation products listed in 40 C.F.R. 247.13;

  - Certain park and recreation products, 40 C.F.R. 247.14;

  - Certain landscaping products listed in 40 C.F.R. 247.15;

  - Certain non-paper office products listed in 40 C.F.R. 247.16; and

  - Other miscellaneous products listed in 40 C.F.R. 247.17.

- As defined in 40 CFR 247.3, “recovered material” means:

  - waste materials and byproducts which have been recovered or diverted from solid waste, but such term does not include those materials and byproducts generated from, and commonly reused within, an original manufacturing process; and

  - for purposes of purchasing paper and paper products, means waste material and byproducts that have been recovered or diverted from solid waste, but such term does not include those materials and byproducts generated from, and commonly reused within, an original manufacturing process. In the case of paper and paper products, the term recovered materials includes:

    - Postconsumer materials such as --

        - Paper, paperboard, and fibrous wastes from retail stores, office buildings, homes, and so forth, after they have passed through their end-usage as a consumer item, including: used corrugated boxes; old newspapers; old magazines; mixed waste paper; tabulating cards; and used cordage; and

        - All paper, paperboard, and fibrous wastes that enter and are collected from municipal solid waste, and

    - Manufacturing, forest residues, and other wastes such as --

    - Dry paper and paperboard waste generated after completion of the papermaking process (that is, those manufacturing operations up to and including the cutting and trimming of the paper machine reel in smaller rolls of rough sheets) including: envelope cuttings, bindery trimmings, and other paper and paperboard waste, resulting from printing, cutting, forming, and other converting operations; bag, box, and carton manufacturing wastes; and butt rolls, mill wrappers, and rejected unused stock; and

    - Finished paper and paperboard from obsolete inventories of paper and paperboard manufacturers, merchants, wholesalers, dealers, printers, converters, or others;

    - Fibrous byproducts of harvesting, manufacturing, extractive, or wood-cutting processes, flax, straw, linters, bagasse, slash, and other forest residues;

    - Wastes generated by the conversion of goods made from fibrous material (that is, waste rope from cordage manufacture, textile mill waste, and cuttings); and

    - Fibers recovered from waste water which otherwise would enter the waste stream.

- For contracts in an amount greater than $ 100,000, at the beginning of each contract year, contractor shall provide the State estimates of the total percentage of recovered material utilized in the performance of its contract for each of the categories listed is subsection (A). For all contracts subject to this Section 7.1 of the Standard Terms and Conditions, at the conclusion of each contract year, contractor shall certify to the State the minimum recovered material content actually utilized in the prior contract year.

## 7.2	EQUAL EMPLOYMENT OPPORTUNITY

Except as otherwise provided under 41 CFR Part 60, all contracts that meet the definition of "federally assisted construction contract" in 41 CFR Part 60-1.3 must include the equal opportunity clause provided under 41 CFR 60-1.4(b), in accordance with Executive Order 11246, "Equal Employment Opportunity" (30 FR 12319, 12935, 3 CFR Part, 1964-1965 Comp., p. 339), as amended by Executive Order 11375, "Amending Executive Order 11246 Relating to Equal Employment Opportunity," and implementing regulations at 41 CFR part 60, "Office of Federal Contract Compliance Programs, Equal Employment Opportunity, Department of Labor."

During the performance of this contract, the contractor agrees as follows:

- The contractor will not discriminate against any employee or applicant for employment because of race, color, religion, sex, sexual orientation, gender identity, or national origin. The contractor will take affirmative action to ensure that applicants are employed, and that employees are treated during employment without regard to their race, color, religion, sex, sexual orientation, gender identity, or national origin. Such action shall include, but not be limited to the following:

Employment, upgrading, demotion, or transfer; recruitment or recruitment advertising; layoff or termination; rates of pay or other forms of compensation; and selection for training, including apprenticeship. The contractor agrees to post in conspicuous places, available to employees and applicants for employment, notices to be provided setting forth the provisions of this nondiscrimination clause.

- The contractor will, in all solicitations or advertisements for employees placed by or on behalf of the contractor, state that all qualified applicants will receive consideration for employment without regard to race, color, religion, sex, sexual orientation, gender identity, or national origin.

- The contractor will not discharge or in any other manner discriminate against any employee or applicant for employment because such employee or applicant has inquired about, discussed, or disclosed the compensation of the employee or applicant or another employee or applicant. This provision shall not apply to instances in which an employee who has access to the compensation information of other employees or applicants as a part of such employee's essential job functions discloses the compensation of such other employees or applicants to individuals who do not otherwise have access to such information, unless such disclosure is in response to a formal complaint or charge, in furtherance of an investigation, proceeding, hearing, or action, including an investigation conducted by the employer, or is consistent with the contractor's legal duty to furnish information.

- The contractor will send to each labor union or representative of workers with which he/she has a collective bargaining agreement or other contract or understanding, a notice to be provided advising the said labor union or workers' representatives of the contractor's commitments under this section, and shall post copies of the notice in conspicuous places available to employees and applicants for employment.

- The contractor will comply with all provisions of Executive Order 11246 of September 24, 1965, and of the rules, regulations, and relevant orders of the Secretary of Labor.

- The contractor will furnish all information and reports required by Executive Order 11246 of September 24, 1965, and by rules, regulations, and orders of the Secretary of Labor, or pursuant thereto, and will permit access to his/her books, records, and accounts by the administering agency and the Secretary of Labor for purposes of investigation to ascertain compliance with such rules, regulations, and orders.

- In the event of the contractor's noncompliance with the nondiscrimination clauses of this contract or with any of the said rules, regulations, or orders, this contract may be canceled, terminated, or suspended in whole or in part and the contractor may be declared ineligible for further Government contracts or federally assisted construction contracts in accordance with procedures authorized in Executive Order 11246 of September 24, 1965, and such other sanctions may be imposed and remedies invoked as provided in Executive Order 11246 of September 24, 1965, or by rule, regulation, or order of the Secretary of Labor, or as otherwise provided by law.

- The contractor will include the portion of the sentence immediately preceding paragraph (1) and the provisions of paragraphs (1) through (8) in every subcontract or purchase order unless exempted by rules, regulations, or orders of the Secretary of Labor issued pursuant to section 204 of Executive Order 11246 of September 24, 1965, so that such provisions will be binding upon each subcontractor or vendor. The contractor will take such action with respect to any subcontract or purchase order as the administering agency may direct as a means of enforcing such provisions, including sanctions for noncompliance:

Provided, however, that in the event a contractor becomes involved in, or is threatened with, litigation with a subcontractor or vendor as a result of such direction by the administering agency, the contractor may request the United States to enter into such litigation to protect the interests of the United States.

The applicant further agrees that it will be bound by the above equal opportunity clause with respect to its own employment practices when it participates in federally assisted construction work: Provided, That if the applicant so participating is a State or local government, the above equal opportunity clause is not applicable to any agency, instrumentality or subdivision of such government which does not participate in work on or under the contract.

The applicant agrees that it will assist and cooperate actively with the administering agency and the Secretary of Labor in obtaining the compliance of contractors and subcontractors with the equal opportunity clause and the rules, regulations, and relevant orders of the Secretary of Labor, that it will furnish the administering agency and the Secretary of Labor such information as they may require for the supervision of such compliance, and that it will otherwise assist the administering agency in the discharge of the agency's primary responsibility for securing compliance.

The applicant further agrees that it will refrain from entering into any contract or contract modification subject to Executive Order 11246 of September 24, 1965, with a contractor debarred from, or who has not demonstrated eligibility for, Government contracts and federally assisted construction contracts pursuant to the Executive Order and will carry out such sanctions and penalties for violation of the equal opportunity clause as may be imposed upon contractors and subcontractors by the administering agency or the Secretary of Labor pursuant to Part II, Subpart D of the Executive Order. In addition, the applicant agrees that if it fails or refuses to comply with these undertakings, the administering agency may take any or all of the following actions: Cancel, terminate, or suspend in whole or in part this grant (contract, loan, insurance, guarantee); refrain from extending any further assistance to the applicant under the program with respect to which the failure or refund occurred until satisfactory assurance of future compliance has been received from such applicant; and refer the case to the Department of Justice for appropriate legal proceedings.

## 7.3	DAVIS-BACON ACT, 40 U.S.C. 3141-3148, AS AMENDED

When required by Federal program legislation, all prime construction contracts in excess of $ 2,000 awarded by non-Federal entities must include a provision for compliance with the Davis-Bacon Act (40 U.S.C. 3141-3144, and 3146-3148) as supplemented by Department of Labor regulations (29 CFR Part 5, "Labor Standards Provisions Applicable to Contracts Covering Federally Financed and Assisted Construction"). In accordance with the statute, contractors must be required to pay wages to laborers and mechanics at a rate not less than the prevailing wages specified in a wage determination made by the Secretary of Labor. In addition, contractors must be required to pay wages not less than once a week. The non-Federal entity must place a copy of the current prevailing wage determination issued by the Department of Labor in each solicitation. The decision to award a contract or subcontract must be conditioned upon the acceptance of the wage determination. The non-Federal entity must report all suspected or reported violations to the Federal awarding agency. The contracts must also include a provision for compliance with the Copeland "Anti-Kickback" Act (40 U.S.C. 3145), as supplemented by Department of Labor regulations (29 CFR Part 3, "Contractors and Subcontractors on Public Building or Public Work Financed in Whole or in Part by Loans or Grants from the United States"). The Act provides that each contractor or subrecipient must be prohibited from inducing, by any means, any person employed in the construction, completion, or repair of public work, to give up any part of the compensation to which he or she is otherwise entitled. The non-Federal entity must report all suspected or reported violations to the Federal awarding agency.

## 7.4	CONTRACT WORK HOURS AND SAFETY STANDARDS ACT, 40 U.S.C. 3701-3708

Where applicable, all contracts awarded by the non-Federal entity in excess of $ 100,000 that involve the employment of mechanics or laborers must include a provision for compliance with 40 U.S.C. 3702 and 3704, as supplemented by Department of Labor regulations (29 CFR Part 5). Under 40 U.S.C. 3702 of the Act, each contractor must be required to compute the wages of every mechanic and laborer on the basis of a standard work week of 40 hours. Work in excess of the standard work week is permissible provided that the worker is compensated at a rate of not less than one and a half times the basic rate of pay for all hours worked in excess of 40 hours in the work week. The requirements of 40 U.S.C. 3704 are applicable to construction work and provide that no laborer or mechanic must be required to work in surroundings or under working conditions which are unsanitary, hazardous or dangerous. These requirements do not apply to the purchases of supplies or materials or articles ordinarily available on the open market, or contracts for transportation or transmission of intelligence.

## 7.5	RIGHTS TO INVENTIONS MADE UNDER A CONTRACT OR AGREEMENT

If the Federal award meets the definition of "funding agreement" under 37 CFR § 401.2 (a) and the recipient or subrecipient wishes to enter into a contract with a small business firm or nonprofit organization regarding the substitution of parties, assignment or performance of experimental, developmental, or research work under that "funding agreement," the recipient or subrecipient must comply with the requirements of 37 CFR Part 401, "Rights to Inventions Made by Nonprofit Organizations and Small Business Firms Under Government Grants, Contracts and Cooperative Agreements," and any implementing regulations issued by the awarding agency.

## 7.6	CLEAN AIR ACT, 42 U.S.C. 7401-7671Q, AND THE FEDERAL WATER POLLUTION CONTROL ACT, 33 U.S.C. 1251-1387, AS AMENDED

Contracts and subgrants of amounts in excess of $ 150,000 must contain a provision that requires the non-Federal award to agree to comply with all applicable standards, orders or regulations issued pursuant to the Clean Air Act (42 U.S.C. 7401-7671q) and the Federal Water Pollution Control Act as amended (33 U.S.C. 1251-1387). Violations must be reported to the Federal awarding agency and the Regional Office of the Environmental Protection Agency (EPA).

## 7.7	DEBARMENT AND SUSPENSION (EXECUTIVE ORDERS 12549 AND 12689)

A contract award (see 2 CFR 180.220) must not be made to parties listed on the government wide exclusions in the System for Award Management (SAM), in accordance with the OMB guidelines at 2 CFR 180 that implement Executive Orders 12549 (3 CFR part 1986 Comp., p. 189) and 12689 (3 CFR part 1989 Comp., p. 235), "Debarment and Suspension." SAM Exclusions contains the names of parties debarred, suspended, or otherwise excluded by agencies, as well as parties declared ineligible under statutory or regulatory authority other than Executive Order 12549.

## 7.8	BYRD ANTI-LOBBYING AMENDMENT, 31 U.S.C. 1352

Contractors that apply or bid for an award exceeding $ 100,000 must file the required certification. Each tier certifies to the tier above that it will not and has not used Federal appropriated funds to pay any person or organization for influencing or attempting to influence an officer or employee of any agency, a member of Congress, officer or employee of Congress, or an employee of a member of Congress in connection with obtaining any Federal contract, grant or any other award covered by 31 U.S.C. 1352. Each tier must also disclose any lobbying with non-Federal funds that takes place in connection with obtaining any Federal award. Such disclosures are forwarded from tier to tier up to the non-Federal award.

EXHIBIT A

MANDATORY EQUAL EMPLOYMENT OPPORTUNITY LANGUAGE

N.J.S.A. 10:5-31 et seq. (P.L. 1975, c. 127)

N.J.A.C. 17:27 et seq.

GOODS, GENERAL SERVICE AND PROFESSIONAL SERVICES CONTRACTS

During the performance of this contract, the contractor agrees as follows:

The contractor or subcontractor, where applicable, will not discriminate against any employee or applicant for employment because of age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex. Except with respect to affectional or sexual orientation and gender identity or expression, the contractor will ensure that equal employment opportunity is afforded to such applicants in recruitment and employment, and that employees are treated during employment, without regard to their age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex.  Such equal employment opportunity shall include, but not be limited to the following: employment, upgrading, demotion, or transfer; recruitment or recruitment advertising; layoff or termination; rates of pay or other forms of compensation; and selection for training, including apprenticeship.  The contractor agrees to post in conspicuous places, available to employees and applicants for employment, notices to be provided by the Public Agency Compliance Officer setting forth provisions of this nondiscrimination clause.

The contractor or subcontractor, where applicable will, in all solicitations or advertisements for employees placed by or on behalf of the contractor, state that all qualified applicants will receive consideration for employment without regard to age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex.

The contractor or subcontractor will send to each labor union, with which it has a collective bargaining agreement, a notice, to be provided by the agency contracting officer, advising the labor union of the contractor's commitments under this chapter and shall post copies of the notice in conspicuous places available to employees and applicants for employment.

The contractor or subcontractor, where applicable, agrees to comply with any regulations promulgated by the Treasurer pursuant to N.J.S.A. 10:5-31 et seq., as amended and supplemented from time to time and the Americans with Disabilities Act.

The contractor or subcontractor agrees to make good faith efforts to meet targeted county employment goals established in accordance with N.J.A.C. 17:27-5.2.

The contractor or subcontractor agrees to inform in writing its appropriate recruitment agencies including, but not limited to, employment agencies, placement bureaus, colleges, universities, and labor unions, that it does not discriminate on the basis of age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex, and that it will discontinue the use of any recruitment agency which engages in direct or indirect discriminatory practices.

The contractor or subcontractor agrees to revise any of its testing procedures, if necessary, to assure that all personnel testing conforms with the principles of job related testing, as established by the statutes and court decisions of the State of New Jersey and as established by applicable Federal law and applicable Federal court decisions.

In conforming with the targeted employment goals, the contractor or subcontractor agrees to review all procedures relating to transfer, upgrading, downgrading and layoff to ensure that all such actions are taken without regard to age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex, consistent with the statutes and court decisions of the State of New Jersey, and applicable Federal law and applicable Federal court decisions.

The contractor shall submit to the public agency, after notification of award but prior to execution of a goods and services contract, one of the following three documents:

Letter of Federal Affirmative Action Plan Approval;

Certificate of Employee Information Report; or

Employee Information Report Form AA302 (electronically provided by the Division and distributed to the public agency through the Division’s website at http://www.state.nj.us/treasury/contract_compliance).

The contractor and its subcontractors shall furnish such reports or other documents to the Division of Purchase an Property, CCAU, EEO Monitoring Program as may be requested by the office from time to time in order to carry out the purposes of these regulations, and public agencies shall furnish such information as may be requested by the Division of Purchase an Property, CCAU, EEO Monitoring Program for conducting a compliance investigation pursuant to N.J.A.C. 17:27-1 et seq.

EXHIBIT B

MANDATORY EQUAL EMPLOYMENT OPPORTUNITY LANGUAGE

N.J.S.A. 10:5-31 et seq. (P.L. 1975, c. 127)

N.J.S.A. 10:5-39 et. seq. (P.L. 1983, c. 197)

N.J.A.C. 17:27-1.1 et seq.

CONSTRUCTION CONTRACTS

During the performance of this contract, the contractor agrees as follows:

The contractor or subcontractor, where applicable, will not 	discriminate against any employee or applicant for employment because of age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex. Except with respect to affectional or sexual orientation and gender identity or expression, the contractor will ensure that equal employment opportunity is afforded to such applicants in recruitment and employment, and that employees are treated during employment, without regard to their age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex. Such equal employment opportunity shall include, but not be limited to the following: employment, up grading, demotion, or transfer; recruitment or recruitment advertising; layoff or termination; rates of pay or other forms of compensation; and selection for training, including apprenticeship. The contractor agrees to post in conspicuous places, available to employees and applicants for employment, notices to be provided by the Public Agency Compliance Officer setting forth provisions of this nondiscrimination clause.

The contractor or subcontractor, where applicable will, in all solicitations or advertisements for employees placed by or on behalf of the contractor, state that all qualified applicants will receive consideration for employment without regard to age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex.

N.J.S.A. 10:5-39 et seq. requires contractors, subcontractors, and permitted assignees performing construction, alteration, or repair of any building or public work in excess of $250,000 to guarantee equal employment opportunity to veterans.

The contractor or subcontractor will send to each labor union, with which it has a collective bargaining agreement, a notice, to be provided by the agency contracting officer, advising the labor union or workers' representative of the contractor's commitments under this act and shall post copies of the notice in conspicuous places available to employees and applicants for employment.

The contractor or subcontractor, where applicable, agrees to comply with any regulations promulgated by the Treasurer, pursuant to N.J.S.A. 10:5-31 et seq., as amended and supplemented from time to time and the Americans with Disabilities Act.

When hiring or scheduling workers in each construction trade, the contractor or subcontractor agrees to make good faith efforts to employ 	minority and women workers in each construction trade consistent with the targeted employment goal prescribed by N.J.A.C. 17:27-7.2; provided, however, that the Dept. of LWD, Construction EEO Monitoring Program may, in its discretion, exempt a contractor or subcontractor from compliance with the good faith procedures prescribed by the following provisions, A, B and C, as long as the Dept. of LWD, Construction EEO Monitoring Program is satisfied that the contractor or subcontractor is employing workers provided by a union which provides evidence, in accordance with standards prescribed by the Dept. of LWD, Construction EEO Monitoring Program, that its percentage of active "card carrying" members who are minority and women workers is equal to or greater than the targeted employment goal established in accordance with N.J.A.C. 17:27-7.2.  The contractor or subcontractor agrees that a good faith effort shall include compliance with the following procedures:

(A)	If the contractor or subcontractor has a referral agreement or arrangement with a union for a construction trade, the contractor or subcontractor shall, within three business days of the contract award, seek assurances from the union that it will cooperate with the contractor or subcontractor as it fulfills its affirmative action obligations under this contract and in accordance with the rules promulgated by the Treasurer pursuant to N.J.S.A. 10:5-31 et. seq., as supplemented and amended from time to time and the Americans with Disabilities Act.  If the contractor or subcontractor is unable to obtain said assurances from the construction trade union at least five business days prior to the commencement of construction work, the contractor or subcontractor agrees to afford equal employment opportunities minority and women workers directly, consistent with this chapter.  If the contractor's or subcontractor's prior experience with a construction trade union, regardless of whether the union has provided said assurances, indicates a significant possibility that the trade union will not refer sufficient minority and women workers consistent with affording equal employment opportunities as specified in this chapter, the contractor or subcontractor agrees to be prepared to provide such opportunities to minority and women workers directly, consistent with this chapter, by complying with the hiring or scheduling procedures prescribed under (B) below; and the contractor or subcontractor further agrees to take said action immediately if it determines that the union is not referring minority and women workers consistent with the equal employment opportunity goals set forth in this chapter.

(B)	If good faith efforts to meet targeted employment goals have not or cannot be met for each construction trade by adhering to the procedures of (A) above, or if the contractor does not have a referral agreement or arrangement with a union for a construction trade, the contractor or subcontractor agrees to take the following actions:

(1) To notify the public agency compliance officer, the Dept. of LWD, Construction EEO Monitoring Program, and minority and women referral organizations listed by the Division pursuant to N.J.A.C. 17:27-5.3, of its workforce needs, and request referral of minority and women workers;

(2) To notify any minority and women workers who have been listed with it as awaiting available vacancies;

(3) Prior to commencement of work, to request that the local construction trade union refer minority and women workers to fill job openings, provided the contractor or subcontractor has a referral agreement or arrangement with a union for the construction trade;

(4) To leave standing requests for additional referral to minority and women workers with the local construction trade union, provided the contractor or subcontractor has a referral agreement or arrangement with a union for the construction trade, the State Training and Employment Service and other approved referral sources in the area;

(5) If it is necessary to lay off some of the workers in a given trade on the construction site, layoffs shall be conducted in compliance with the equal employment opportunity and non-discrimination standards set forth in this regulation, as well as with applicable Federal and State court decisions;

(6) To adhere to the following procedure when minority and women workers apply or are referred to the contractor or subcontractor:

(i) The contactor or subcontractor shall interview the referred minority or women worker.

(ii) If said individuals have never previously received any document or certification signifying a level of qualification lower than that required in order to perform the work of the construction trade, the contractor or subcontractor shall in good faith determine the qualifications of such individuals. The contractor or subcontractor shall hire or schedule those individuals who satisfy appropriate qualification standards in conformity with the equal employment opportunity and non-discrimination principles set forth in this chapter. However, a contractor or subcontractor shall determine that the individual at least possesses the requisite skills, and experience recognized by a union, apprentice program or a referral agency, provided the referral agency is acceptable to the Dept. of LWD, Construction EEO Monitoring Program. If necessary, the contractor or subcontractor shall hire or schedule minority and women workers who qualify as trainees pursuant to these rules. All of the requirements, however, are limited by the provisions of (C) below.

(iii) The name of any interested women or minority individual shall be maintained on a waiting list, and shall be considered for employment as described in (i) above, whenever vacancies occur. At the request of the Dept. of LWD, Construction EEO Monitoring Program, the contractor or subcontractor shall provide evidence of its good faith efforts to employ women and minorities from the list to fill vacancies.

(iv) If, for any reason, said contractor or subcontractor determines that a minority individual or a woman is not qualified or if the individual qualifies as an advanced trainee or apprentice, the contractor or subcontractor shall inform the individual in writing of the reasons for the determination, maintain a copy of the determination in its files, and send a copy to the public agency compliance officer and to the Dept. of LWD, Construction EEO Monitoring Program.

(7) To keep a complete and accurate record of all requests made for the referral of workers in any trade covered by the contract, on forms made available by the Dept. of LWD, Construction EEO Monitoring Program and submitted promptly to the Dept. of LWD, Construction EEO Monitoring Program upon request.

(C)	The contractor or subcontractor agrees that nothing contained in (B) above shall preclude the contractor or subcontractor from complying with the union hiring hall or apprenticeship policies in any applicable collective bargaining agreement or union hiring hall arrangement, and, where required by custom or agreement, it shall send journeymen and trainees to the union for referral, or to the apprenticeship program for admission, pursuant to such agreement or arrangement. However, where the practices of a union or apprenticeship program will result in the exclusion of minorities and women or the failure to refer minorities and women consistent with the targeted county employment goal, the contractor or subcontractor shall consider for employment persons referred pursuant to (B) above without regard to such agreement or arrangement; provided further, however, that the contractor or subcontractor shall not be required to employ women and minority advanced trainees and trainees in numbers which result in the employment of advanced trainees and trainees as a percentage of the total workforce for the construction trade, which percentage significantly exceeds the apprentice to journey worker ratio specified in the applicable collective bargaining agreement, or in the absence of a collective bargaining agreement, exceeds the ratio established by practice in the area for said construction trade.  Also, the contractor or subcontractor agrees that, in implementing the procedures of (B) above, it shall, where applicable, employ minority and women workers residing within the geographical jurisdiction of the union.

After notification of award, but prior to signing a construction contract, the contractor shall submit to the public agency compliance officer and the Dept. of LWD, Construction EEO Monitoring Program an initial project workforce report (Form AA-201) electronically provided to the public agency by the Dept. of LWD, Construction EEO Monitoring Program, through its website, for distribution to and completion by the contractor, in accordance with N.J.A.C. 17:27-7.

The contractor also agrees to submit a copy of the Monthly Project Workforce Report once a month thereafter for the duration of this contract to the Dept. of LWD, Construction EEO Monitoring Program and to the public agency compliance officer.

The contractor agrees to cooperate with the public agency in the payment of budgeted funds, as is necessary, for on the job and/or off the job programs for outreach and training of minorities and women.

(D)	The contractor and its subcontractors shall furnish such reports or other documents to the  Dept. of LWD, Construction EEO Monitoring Program as may be requested by the Dept. of LWD, Construction EEO Monitoring Program from time to time in order to carry out the purposes of these regulations, and public agencies shall furnish such information as may be requested by the Dept. of LWD, Construction EEO Monitoring Program for conducting a compliance investigation pursuant to N.J.A.C. 17:27-1.1 et seq.

EXECUTIVE ORDER NO. 151 REQUIREMENTS

It is the policy of the Division of Purchase and Property that its contracts should create a workforce that reflects the diversity of the State of New Jersey. Therefore, contractors engaged by the Division of Purchase and Property to perform under a construction contract shall put forth a good faith effort to engage in recruitment and employment practices that further the goal of fostering equal opportunities to minorities and women.

The contractor must demonstrate to the Division of Purchase and Property’s satisfaction that a good faith effort was made to ensure that minorities and women have been afforded equal opportunity to gain employment under the Division of Purchase and Property’s contract with the contractor. Payment may be withheld from a contractor’s contract for failure to comply with these provisions.

Evidence of a “good faith effort” includes, but is not limited to:

- The Contractor shall recruit prospective employees through the State Job bank website, managed by the Department of Labor and Workforce Development, available online at http://NJ.gov/http://NJ.gov/JobCentralNJ;

- The Contractor shall keep specific records of its efforts, including records of all individuals interviewed and hired, including the specific numbers of minorities and women;

- The Contractor shall actively solicit and shall provide the Division of Purchase and Property with proof of solicitations for employment, including but not limited to advertisements in general circulation media, professional service publications and electronic media; and

- The Contractor shall provide evidence of efforts described at 2 above to the Division of Purchase and Property no less frequently than once every 12 months.

- The Contractor shall comply with the requirements set forth at N.J.A.C. 17:27.

This language is in addition to and does not replace good faith efforts requirements for construction contracts required by N.J.A.C. 17:27-3.6, 3.7 and 3.8, also known as Exhibit B.