### April 12, 2019

# To:	All Interested Vendors {Bidders}

## Re:	Bid Solicitation # 19DPP00341

HVAC Computerized Systems Maintenance Main Office Complex – DOT

Quote Submission Due Date: April 25, 2019 (2:00 p.m. Eastern Time)

# Bid Amendment #5

The following constitutes Bid Amendment #5 to the above referenced Bid Solicitation:

- This Bid Amendment includes answers to questions; and

- Please note that for all additions, deletions, clarifications and modifications to the Bid Solicitation, please refer to the Revised Bid Solicitation entitled “T1157 REVISED Bid Solicitation 041219”.

It is the sole responsibility of the Vendor {Bidder} to be knowledgeable of all of the additions, deletions, clarifications, and modifications to the Bid Solicitation and/or the New Jersey Standard Terms and Conditions relative to this Bid Solicitation as set forth in all Bid Amendments.

All other instructions, terms, and conditions of the Bid Solicitation shall remain the same.

## Bid Solicitation #19DPP00341

Bid Solicitation HVAC Computerized Systems Maintenance Main Office Complex - DOT

#### Answers to Questions

Where applicable, each question references the appropriate Bid Solicitation section.

| # | Bid Solicitation Section Reference | Question (Bolded) and Answer |
| --- | --- | --- |
| 1 | Section 4.4.5.2 State-Supplied Price Sheet Instructions | The REVISED State-Supplied Price Schedule calls for "% UPCHARGE FOR THE PREVAILING HOURLY RATE FOR A TECHNICIAN". This is invalid because: - there is no prevailing wage classification for a controls technician; and - in some companies, the controls technicians are salaried employees, not hourly. We recommend line 1 of the price schedule being changed to "Hourly Rate". Please advise. - It is the responsibility of the Vendor {Contractor} to determine the prevailing wage craft applicable to the work being performed, which may vary depending on the service being performed. Please refer to the following web address for information regarding current Prevailing Wage Rates: https://www.nj.gov/labor/wagehour/wagerate/CurrentWageRates.html If it is determined by the Vendor {Contractor} that a service being performed does not fall into a prevailing wage classification, the default classification for the purposes of payment for this Blanket P.O. shall be Journeyman (Mechanic) for the craft of Air Conditioning & Refrigeration – Service and Repair, plus the awarded percent (%) upcharge. Please refer to the above-referenced web address for current prevailing wage rates. - The Vendor {Bidder} must submit its Quote in the format shown in the Revised State-Supplied Price Schedule. It is the Vendor’s {Bidder’s) responsibility to make a business decision regarding the percentage (%) upcharge that will be provided on the Revised State-Supplied Price Schedule. The Vendor {Bidder} is not to provide the prevailing wage rate on the Revised State-Supplied Price Schedule, but rather the percent (%) upcharge to be added to the applicable prevailing wage craft. This percent (%) upcharge will be uniform for all technicians. Please refer to Section 3.0 of the Revised Bid Solicitation, dated 4/12/2019, as this section has been revised. Note: This question has been paraphrased in the interest of readability and clarity. |