## Sheet1
ATTACHMENT A - 19DPP00303 T1845 ULTRA-LOW SULFUR DIESEL AND BIODIESEL FUEL
Number | Name of Location Fuel is Delivered | Address of Location Fuel is Delivered | County of Location | Type of Fuel Delivered: (Please Check) |  | Number of Tanks per Location | Gallons per Tank Size | Above or Below Ground per Tank
1 | New Jersey Dept Of Environmental Protection, Forest Fire Service | 5555 Atlantic Ave, Mays Landing NJ 08330 | Atlantic | Ultra Low Sulfur Diesel | X | 1 | 2000 | Above
2 | New Jersey Department of Transportation | Buena Maintenance Yard, Route 40,Near Catherine Avenue, Buena, NJ, 08310 | Atlantic | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
3 | New Jersey Department of Transportation | Folsom maintenance yard, RT 54 S at RT 651 S, Folsom, NJ, 08037 | Atlantic | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
4 | New Jersey Department of Transportation | Pomona Maintenance Yard, Route 30 & W. McKinley Ave., Pomona, NJ, 08240 | Atlantic | Ultra Low Sulfur Diesel | X | 1 | 2000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
5 | New Jersey Department of Transportation | Mays Landing Maintenance Yard, East of Route 50, North of Route 322, Mays Landing NJ, 08330 | Atlantic | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
6 | New Jersey Department of Military and Veterans Affairs, NJ Veterans Home at Paramus | 1 Veterans Drive, Paramus, NJ 07652 | Bergen | Ultra Low Sulfur Diesel Dyed | X | 2 | 500 | Above
7 | New Jersey Veterans Home at Paramus | 1 Veterans Drive, Paramus, NJ 07652 | Bergen | Ultra Low Sulfur Diesel Dyed | X | 2 | 500 | Above
8 | New Jersey Department of Transportation | Fort Lee Maintenance Yard, RT 4 at Fletcher Ave, Fort Lee, NJ, 07605 | Bergen | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
9 | New Jersey Department of Transportation | Lodi Maintenance yard, Gregg Street, 1 Block off Route 17, Lodi, NJ, 07644 | Bergen | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
10 | New Jersey Department of Transportation | Ramsey Maintenance Yard, 15 Arrow Road, Ramsey, NJ, 07446 | Bergen | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
11 | New Jersey Department of Transportation | Bordentown Maintenance Yard, Dunns Mill Road, Route 130, Bordentown, NJ, 08505 | Burlington | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
12 | New Jersey Department of Transportation | Red Lion maintenance Yard, Route 70, West of circle, Red Lion, NJ, 08088 | Burlington | Ultra Low Sulfur Diesel | X | 1 | 40000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
13 | New Jersey Department of Transportation | Edgewater Park maintenance Yard, Route 130, Rear of NJ State Police Barracks, Edgewater Park, NJ, 08020 | Burlington | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
14 | New Jersey Department of Transportation | Mount Laurel Maintenance Yard, Route 38, East of Route 295, Mount Laurel, NJ, 08054 | Burlington | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
15 | New Lisbon Developmental Center | P. O. Box 130, 104 Route 72, New Lisbon, New Jersey , 08064, (Maintenance Fenced in Yard) | Burlington | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above
16 | Department of Corrections, ACW | 500 Ward Ave, Bordentown, NJ 08505 | Burlington | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above
17 | Department of Corrections, MS | 8401 Range Road, Wrightstown, NJ 08652 | Burlington | Ultra Low Sulfur Diesel Dyed | X | 4 | 122, 122, 1,000 & 15,000 | Above
18 | New Jersey Department of Environmental Protection, Brendan Byrne Maintenance Facility | Mike's Cause Way Woodland, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
19 | New Jersey Department of Environmental Protection, Bass River Maintenance Facility | Green Bush Road New Gretna, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
20 | New Jersey Department of Environmental Protection, Green Bank Maintenance Facility | 8 Lovers lane Egg Harbor City, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
21 | New Jersey Department of Environmental Protection, Atsion Family Camp | Atsion Road Shamong, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
22 | New Jersey Department of Environmental Protection, Atsion Maintenance Shop | Atsion Road Shamong, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
23 | New Jersey Dept Of Environmental Protection, Forest Fire Service | Route 72, PO Box 239, New Lisbon NJ 08064 | Burlington | Ultra Low Sulfur Diesel | X | 1 | 2000 | Above
24 | New Jersey Dept Of Environmental Protection, Forest Fire Service | Coyle Field, 1052 Rte 72, Chats worth NJ 08019 | Burlington | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
25 | New Jersey Department of Environmental Protection, Bass River Maintenance Facility | Green Bush Road New Gretna, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
26 | New Jersey Department of Environmental Protection, Green Bank Maintenance Facility | 8 Lovers lane Egg Harbor City, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
27 | New Jersey Department of Environmental Protection, Atsion Family Camp | Atsion Road Shamong, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
28 | New Jersey Department of Environmental Protection, Atsion Maintenance Shop | Atsion Road Shamong, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
29 | New Jersey Department of Environmental Protection, Brendan Byrne Maintenance Facility | Mike's Cause Way Woodland, NJ | Burlington | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
30 | New Jersey Department of Human Services, Ancora Psychiatric Hospital | 301 Spring Garden Road, Ancora, NJ, 08037-9699 | Camden | Ultra Low Sulfur Diesel | X | 1 | 2000 | Above
31 | New Jersey Department of Transportation | Berlin Township Maintenance Yard, Route 501, Walker Road, Berlin NJ, 08009 | Camden | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
32 | New Jersey Department of Transportation | Cherry Hill Township maintenance Yard, Route 70 and Frontage Road, Cherry Hill, NJ, 08034 | Camden | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
33 | New Jersey Department of Transportation | Pennsauken Maintenance Yard, Route 30 and Federal Street, Pennsauken, NJ, 08110 | Camden | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
34 | New Jersey Department of Transportation | Middle Township Maintenance Yard, Route 9 and W. Edgewood Ave, Rio Grande, NJ, 08242 | Cape May | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
35 | New Jersey Department of Transportation | Petersburg Maintenance Yard, 400 Old Tuckahoe Road, Off Route 50, Petersburg NJ, 08245 | Cape May | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
36 | New Jersey Dept. of Human Services, Woodbine Developmental Center | 1175 DeHirsch & Fantail Woodbine, NJ 08720-0601 | Cape May | Ultra Low Sulfur Diesel Dyed | X | 1 | 2000 | Above
37 | New Jersey Department of Military and Veterans Affairs, NJ Veterans Memorial Home at Vineland | 524 North West Blvd, Vineland NJ 08360 | Cumberland | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
38 | Department of Corrections, Southwoods State Prison | 1 North Industrial Blvd. & 215 South Burlington Rd. Bridgeton NJ 08302 | Cumberland | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
39 | Department of the Treasury, Bayside Motor Pool | Bayside Correctional Facility, 4295 Route 47 Leesburg NJ 08327 | Cumberland | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
40 | Department of Corrections, BSP | 4793 Rte. 47 Delsea Drive, Leesburg, NJ 08327 | Cumberland | Ultra Low Sulfur Diesel | X | 1 | 15000 | Above
41 |  |  |  | Biodiesel B5 Blend | X | 1 | 500 | Above
42 | Department of Corrections, SSCF | 4295 RTE 47 Delsea Drive Leesburg NJ 08327 | Cumberland | Ultra Low Sulfur Diesel Dyed | X | 3 | 500, 10,000, & 15,000 | 500 above, 10,000 & 15,000 below
43 | Department of Corrections, South Woods State Prison | 215 S. Burlington Rd. Bridgeton. NJ. 08302 | Cumberland | Ultra Low Sulfur Diesel | X | 2 | 10000 | Above (Generators)
44 |  |  |  | Ultra Low Sulfur Diesel Dyed | X | 3 | 30000 | Above (Boilers)
45 | Department of Corrections, South Woods State Prison | 215 S. Burlington Rd. Bridgeton. NJ. 08302 | Cumberland | Ultra Low Sulfur Diesel Dyed | X | 1 | 25000 | Above (Boilers)
46 | Department of Corrections, South Woods State Prison | 215 S. Burlington Rd. Bridgeton. NJ. 08302 | Cumberland | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above (fuel station)
47 | NJ Veterans Memorial Home at Vineland | 524 North West Blvd, Vineland NJ 08360 | Cumberland | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
48 | New Jersey Department of Environmental Protection, Haskins Shellfish Lab - Rutgers University | 6959 Miller Avenue Bivalve, NJ 08349 | Cumberland | Ultra Low Sulfur Diesel Dyed | X | 1 | 225 | Above
49 | New Jersey Department of Environmental Protection, Millville Wildlife Management Area | 1670 E. Buckshutem Road Millville, NJ 08332 | Cumberland | Ultra Low Sulfur Diesel | X | 1 | 550 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
50 | New Jersey Department of Transportation | Cumberland Maintenance Yard, Route 49 & Hesstown Road, Cumberland, NJ, 08304 | Cumberland | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
51 | New Jersey Department of Transportation | Vineland Garage, Delsea Drive & Elmer Road, Vineland, NJ, 08360 | Cumberland | Ultra Low Sulfur Diesel | X | 1 | 8000 | Below
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
52 | New Jersey Department of Transportation | Newark Regional Maintenance Complex, Junction route 1,9, 21 & 22, Newark, NJ, 07114 | Essex | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
53 | New Jersey Department of Transportation | West Orange Maintenance Yard, 1255 Pleasant Valley Way, West Orange, NJ, 07052 | Essex | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
54 | New Jersey Department of Transportation | Deptford Maintenance Yard, Route 41 & 42, Deptford, NJ, 08096 | Gloucester | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
55 | New Jersey Department of Transportation | Glassboro Maintenance Yard, Grove Street at Route 47, Glassboro, NJ, 08028 | Gloucester | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
56 | New Jersey Department of Transportation | West Deptford Maintenance Yard, Route 130 at Texaco Refinery, West Deptford, NJ, 08096 | Gloucester | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
57 | New Jersey Department of Transportation | Bridgeport Maintenance Yard, Route 130 & 322, Bridgeport, NJ, 08014 | Gloucester | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
58 | New Jersey Department of Transportation | Secaucus Maintenance Yard, 25 Meadowland Parkway, Secaucus, NJ, 07094 | Hudson | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
59 | New Jersey Department of Transportation | Jersey City Maintenance Yard, 401 Route 1 & 9 Truck Road South, Jersey City, NJ, 07302 | Hudson | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
60 | New Jersey Department of Environmental Protection, LIBERTY STATE PARK | MAINTENANCE YARD | Hudson | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
61 | New Jersey Department of Environmental Protection, ROUND VALLEY RECREATION AREA | 1220 Lebanon-Stanton Road Lebanon, NJ 08833-3115 | Hunterdon | Ultra Low Sulfur Diesel Dyed | X | 1 | 250 | Above
62 | New Jersey Department of Environmental Protection, SPRUCE RUN RECREATION AREA | 68 Van Syckels Road Clinton, NJ 08809 | Hunterdon | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above
63 | New Jersey Department of Environmental Protection, VOORHEES STATE PARK | 251 County Route 513 Glen Gardner, NJ 08826 | Hunterdon | Ultra Low Sulfur Diesel Dyed | X | 1 | 250 | Above
64 | New Jersey Department of Environmental Protection, BULL’S ISLAND RECREATION AREA | 2185 Daniel Bray Highway (Route 29) Stockton, NJ 08559 | Hunterdon | Ultra Low Sulfur Diesel Dyed | X | 1 | 250 | Above
65 | Department of the Treasury, DPM&C Hagedorn Facility, (Main Backup Generator), Bldg.# 22, | 200 Sanatorium Road, Glen Gardner, NJ 08826 | Hunterdon | Ultra Low Sulfur Diesel | X | 1 | 3000 | Above
66 | Department of the Treasury, DPM&C Hagedorn Facility, (Waste Water Treatment Plant Generator), Bldg.#32 | 200 Sanatorium Road, Glen Gardner, NJ 08826 | Hunterdon | Ultra Low Sulfur Diesel Dyed | X | 1 | 150 | Above
67 | Department of the Treasury, DPM&C Hagedorn Facility, (East Hall Chiller Generator), Bldg.#33 | 200 Sanatorium Road, Glen Gardner, NJ 08826 | Hunterdon | Ultra Low Sulfur Diesel Dyed | X | 1 | 600 | Above
68 | Department of the Treasury, DPM&C Hagedorn Facility, (North Hall Generator), Bldg.#1 | 200 Sanatorium Road, Glen Gardner, NJ 08826 | Hunterdon | Ultra Low Sulfur Diesel Dyed | X | 1 | 4000 | Above
69 | Department of Corrections, Agri Industries | 31 Petticoat Lane, Annandale NJ 08011 | Hunterdon | Ultra Low Sulfur Diesel Dyed | X | 3 | 500 | Above
70 | Department of Corrections, EMCF | 30 County Road 513, Clinton NJ 08809 | Hunterdon | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X | 1 | 30000 | Above
71 | New Jersey Department of Transportation | Bloomsbury Maintenance Yard, 1000 Rt. 173, Bloomsbury, NJ, 07840 | Hunterdon | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
72 | New Jersey Department of Transportation | Clinton Maintenance Yard, 84 Beaver Ave, Clinton NJ, 08809 | Hunterdon | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
73 | New Jersey Department of Transportation | Flemington Maintenance Yard, Route 31 at Railroad Crossing, Flemington NJ, 08822 | Hunterdon | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
74 | New Jersey Department of Transportation | West Amwell Maintenance Yard, 1406 Rt. 179, Lambertville, NJ, 08530 | Hunterdon | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
75 | New Jersey Department of Transportation | Hamilton Twp. Maintenance Yard, 2779 Kuser Road, Route 130 & I-195, Hamilton Township NJ, 08615 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
76 | New Jersey Department of Transportation | Fernwood Services Station, 999 Parkway Avenue, Trenton NJ, 08625 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 10000 | Below
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
77 | New Jersey Department of Transportation | West Trenton Maintenance Yard, 780 Bear Tevern Road, West Trenton, NJ, 08628 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
78 | New Jersey Department of Transportation | Lawrence township maintenance Yard, Route 1, 2798 Brunswick Avenue, Lawrenceville, NJ, 08648 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
79 | New Jersey Department of Transportation | Washington Township Maintenance Yard, Route 130 & Voebel Road, Robbinsville, NJ, 08520 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
80 | Division of State Police, West Trenton Headquarters | RT 29 River Road, West Trenton, NJ 08628 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
Ultra Low Sulfur Diesel Dyed
81 | New Jersey Dept. of Human Services, Trenton Psychiatric Hospital | 100 Sullivan Way West Trenton NJ 08628 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above
82 | New Jersey Department of Environmental Protection, WASHINGTON CROSSING STATE PARK | 355 Washington Crossing Pennington Road, Titusville, NJ 08560-1517 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above
83 | Department of Environmental Protection | 401 E State Street, Trenton, NJ 08625 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 11000 | Above
84 | William Ashby | 101 S Broad Street, Trenton, NJ 08625 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 1000 | Below
85 | Capital Place One | 222 S Warren Street, Trenton, NJ, 08625 | Mercer | Ultra Low Sulfur Diesel | X | 3 | 50, 75, & 150 | Above
86 | New Jersey State Library | 195 West State Street, Trenton, NJ 08625 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 375 | Above
87 | R.J. Hughes Justice Complex | 25 Market St. Trenton, NJ 08625 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 10000 | Below
88 | Taxation Building | 50 Barrack Street Trenton NJ 08625 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 500 | Above (located in basement )
89 | Mary Roebling Building | 20 W. State Street, Trenton, NJ. 08625 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 500 | Below (will be replaced by above ground)
90 | State Office Building | 135 W. Hanover Street, Trenton, NJ 08625 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 500 | Above (below genset)
91 | NJ State Police - Division Headquarters (OIT Hub) | 1 Schwarzkopf Drive, West Trenton, NJ 08628 | Mercer | Ultra Low Sulfur Diesel | X | 2 | 8,000 Gallons Each | Below
92 | Pump House for diesel Fire Pump | Ester Ave, Ewing, NJ 08618 | Mercer | Ultra Low Sulfur Diesel | #2 Diesel | 2 | 110 Gallons Each | Above
93 | Distribution Center | 1620 Stuyvesant Ave, Ewing, NJ 08618 | Mercer | Ultra Low Sulfur Diesel | #2 Diesel | 3 | 5000 (generator), 3000 (Boilers), & 340 (belly tank) | Above
94 | Department of Corrections, Deptcor/State Use Industries | 163 N Olden Ave Trenton NJ 08625 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
95 | Department of Corrections, Central Office | Whittlesey Rd., Trenton, NJ 08625 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 5000 | Below (Generator 1)
96 | Department of Corrections, Central Office | Whittlesey Rd Trenton NJ 08625 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above (Generator 2)
97 | Department of Corrections, Central Office | Whittlesey Rd Trenton NJ 08625 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above (Generator 3)
98 | Department of Corrections, Central Office | Whittlesey Rd Trenton NJ 08625 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above (Fuel Supply Tank 1)
99 | Department of Corrections, Knights Farm (SID) | 435 Sullivan Way Trenton NJ 08628 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 275 | Above
100 | Department of Corrections, Agri Industries | 721 Bear Tavern Rd., Ewing NJ 08628 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
101 | Department of Corrections, Agri Industries | 435 Sullivan Way, Ewing, NJ 08928 | Mercer | Ultra Low Sulfur Diesel Dyed | X | 1 | 1500 | Above
102 | Department of Corrections, CRAF | 2301 Stuyvesant Ave West Trenton NJ 08628 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
103 | Department of Corrections, CRAF | Jones Farm 721 Bear Tavern Rd West Trenton NJ 08628 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 250 | Above
104 | Insect Lab | 20 Cosey Rd W. Trenton NJ 08628 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 450 | Above
105 | New Jersey Department of Environmental Protection, Assunpink Wildlife Management Area | 1 Eldridge Road, Robbinsville, NJ, 08691 | Mercer | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
106 | New Jersey Department of Military and Veterans Affairs, NJ Veterans Memorial Home at Menlo Park | 132 Evergreen Rd. Edison, NJ 08818 | Middlesex | Ultra Low Sulfur Diesel Dyed | X | 1 | 1000 | Above
107 | New Jersey Department of Environmental Protection, CHEESEQUAKE STATE PARK | 300 Gordon Road Matawan, NJ 07747 | Middlesex | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above
108 | East Jersey State Prison/Woodbridge | Woodbridge Developmental Center 1275 Rahway Avenue Avenel NJ 07001 | Middlesex | Ultra Low Sulfur Diesel Dyed | X | 1 | 2000 | Above
109 | Department of Corrections | Adult Diagnostic & Treatment Center 8 Production Way, Avenel, NJ 07001 | Middlesex | Ultra Low Sulfur Diesel Dyed | X | 1 | 10000 | Above (Main Generator)
110 | Department of Corrections | Adult Diagnostic & Treatment Center 8 Production Way, Avenel, NJ 07001 | Middlesex | Ultra Low Sulfur Diesel Dyed | X | 1 | 5000 | Above (STU Generator)
111 | Department of Corrections | Adult Diagnostic & Treatment Center 8 Production Way, Avenel, NJ 07001 | Middlesex | Ultra Low Sulfur Diesel Dyed | X | 1 | 2000 | Above (STU Annex Generator)
112 | Department of Corrections, East Jersey State Prison | 1485 Rahway Ave Rahway NJ | Middlesex | Ultra Low Sulfur Diesel Dyed | X | 2 | 10,000 & 5,000 | Above
113 | Department of Corrections, East Jersey State Prison | 1275 Rahway Ave Rahway NJ | Middlesex | Ultra Low Sulfur Diesel Dyed | X | 2 | 5,000 & 2,000 | Above
114 | NJ Veterans Memorial Home at Menlo Park | 132 Evergreen Rd. Edison, NJ 08818 | Middlesex | Ultra Low Sulfur Diesel Dyed | X | 1 | 1000 | Above
115 | New Jersey Department of Transportation | New Brunswick Maintenance Yard, Route 1 at College Farm Road, New Brunswick , NJ 08902 | Middlesex | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
116 | New Jersey Department of Transportation | Sand Hill Maintenance Yard, 3919 Route 1 & Sand Hill Road, South Brunswick, NJ, 08804 | Middlesex | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
117 | New Jersey Department of Transportation | Keasbey/ Woodbridge Maintenance Yard, 90 Crown Mill Road, Keasbey, NJ 08904 | Middlesex | Ultra Low Sulfur Diesel | X | 1 | 4000 | Below
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
118 | New Jersey Department of Transportation | Sayreville Maintenance Yard, 25 Melrose Avenue, Sayreville, NJ, 08871 | Middlesex | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
119 | New Jersey Department of Transportation | Wall Township Maintenance Yard, 2436 Paynters Road, NJ, Wall, NJ, 08730 | Monmouth | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
120 | New Jersey Department of Transportation | Freehold Maintenance Yard, 200 Daniels Way off Route 79, Freehold, NJ, 07728 | Monmouth | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
121 | New Jersey Department of Environmental Protection, MONMOUTH BATTLEFIELD STATE PARK | 16 Business Route 33 Manalapan, NJ 07726 | Monmouth | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above
122 | New Jersey Department of Environmental Protection, ALLAIRE STATE PARK | 4265 Atlantic Ave Farmingdale, NJ 07727 | Monmouth | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above
123 | New Jersey Department of Transportation | Ocean Township Maintenance Yard, 100 Bowne Road & Route 66, Ocean, NJ, 07712 | Monmouth | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
124 | New Jersey Department of Transportation | Hazlet Maintenance Yard, 370 Clark Street, Hazlet, NJ, 07730 | Monmouth | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
125 | New Jersey Department of Transportation | Rockaway Township maintenance Yard, 200 Route 15 South, Rockaway NJ, 07866 | Morris | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
126 | New Jersey Department of Transportation | Riverdale Maintenance Yard, 1 Riverdale Road, Behind National Guard Armory, Riverdale, NJ, 07457 | Morris | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
127 | New Jersey Department of Transportation | Netcong Regional Maintenance Yard, 90 Route 183, Netcong, NJ, 07857 | Morris | Ultra Low Sulfur Diesel | X | 1 | 10000 | Below
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
128 | New Jersey Department of Transportation | Hanover Township Maintenance Yard, Route 87 & Eden Lane, East Hanover, NJ, 07936 | Morris | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
129 | New Jersey Dept. of Human Services, Greystone Park Psychiatric Hospital | 59 Koch Avenue Greystone Park NJ 07950 | Morris | Ultra Low Sulfur Diesel Dyed | X | 1 | 1000 | Above
130 | New Jersey Department of Environmental Protection, Hopatcong State Park - Maintenance Shop | 6 Lakeside Boulevard, Landing NJ 07850 | Morris | Ultra Low Sulfur Diesel |  | 1 | 275 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
131 | New Jersey Department of Environmental Protection, Hopatcong State Park - Weed Harvesting Program - Soccor Field | 6 Lakeside Boulevard, Landing NJ 07850 | Morris | Ultra Low Sulfur Diesel |  | 1 | 550 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
132 | New Jersey Department of Environmental Protection, Black River Wildlife Management Area | 275 North Rd., Chester NJ 07930 | Morris | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
133 | Division of State Police, Point Pleasant Marine Police (Site is offline under construction) | 2001 Loveland Place, Point Pleasant, NJ 08742 | Ocean | Ultra Low Sulfur Diesel Dyed | X | 1 | 4000 | Above
134 | New Jersey Department of Environmental Protection, ISLAND BEACH STATE PARK | MAINTENANCE YARD | Ocean | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
135 | New Jersey Department of Environmental Protection | Colliers Mill Wildlife Management Area, 401 Hawkins Road, New Egypt, NJ, 08533 | Ocean | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
136 | New Jersey Dept Of Environmental Protection, State Nursery | 370 East Veterans Hwy. Jackson, NJ 08527 | Ocean | Ultra Low Sulfur Diesel Dyed | X | 1 | 250 | Above
137 | New Jersey Department of Transportation | Toms River Garage, 743 Route 37 West, Toms River, NJ, 08754 | Ocean | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
138 | New Jersey Department of Transportation | Manahawkin Maintenance Yard, Route 9 & 72, Grassy Hollow Road, Manahawkin, NJ, 08050 | Ocean | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
139 | New Jersey Department of Transportation | Lakewood Maintenance Yard, 45 Honey Locust Drive, Behind 84 Lumber, Lakewood, NJ, 08755 | Ocean | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
140 | New Jersey Department of Transportation | Paterson Maintenance Yard, 1 Mclean Blvd (route 20 South), Paterson, NJ, 07059 | Passaic | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
141 | New Jersey Department of Transportation | Clifton Maintenance Yard, Route 3 & Bloomfield Avenue, Clifton, NJ, 07011 | Passaic | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
142 | New Jersey Department of Transportation | Totowa Maintenance Yard, 300 Minisink Road off Rt. 80 west bound, Totowa, NJ, 07512 | Passaic | Ultra Low Sulfur Diesel | X | 1 | 4000 | Below
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
143 | New Jersey Department of Environmental Protection, Ringwood Manor | 1304 Sloatsburg Rd. Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 2500 | Below
144 | New Jersey Department of Environmental Protection, Coffee Shop | 1304 Sloatsburg Rd. Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 275 | Above
145 | New Jersey Department of Environmental Protection, Ringwood Greenhouse | 1304 Sloatsburg Rd. Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 1000 | Above
146 | New Jersey Department of Environmental Protection, Sewer Plant | Morris Rd Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 550 | Above
147 | New Jersey Department of Environmental Protection, Shepherd Lake Bathhouse | Shepherd lake rd. Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 2000 | Below
148 | New Jersey Department of Environmental Protection, Volunteer Greenhouse | Morris Rd Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 550 | Below
149 | New Jersey Department of Environmental Protection, Carriage House | Morris Rd Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 1000 | Below
150 | New Jersey Department of Environmental Protection, Skylands Manor | Morris Rd Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 2000 | Below
151 | New Jersey Department of Environmental Protection, Skylands Fire Pump House | Morris Rd Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 550 | Above
152 | New Jersey Department of Environmental Protection, Skylands Greenhouse | Morris Rd Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 2000 | Below
153 | New Jersey Department of Environmental Protection, 015 Grounds Bldg. | Morris Rd Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 2 | each 275=550 | Above
154 | New Jersey Department of Environmental Protection, Auto Shop | Morris Rd Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 2 | each275=550 | Above
155 | New Jersey Department of Environmental Protection, Shepherd Lake Fire Pump House | Shepherd Lake Rd. Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 1 | 550 | Above
156 | New Jersey Department of Environmental Protection, Bussink House | Morris Rd Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel Dyed | X | 2 | each275=550 | Above
157 | New Jersey Department of Environmental Protection, Diesel Fuel Tank | Morris Rd. Ringwood, NJ | Passaic | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
158 | New Jersey Department of Environmental Protection, Parvin Maintenance Facility | Almond Road Pittsgrove, NJ | Salem | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
159 | New Jersey Department of Environmental Protection, Fort Mott Maintenance Facility | Fort Mott Road Pennsville, NJ | Salem | Ultra Low Sulfur Diesel | X | 1 | 300 | Above
160 | New Jersey Department of Transportation | Elmer Maintenance Yard, 355 Route 40, Elmer, NJ, 08318 | Salem | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
161 | New Jersey Department of Transportation | Deepwater Maintenance Yard, Route 96 & Hook Road, Deepwater, NJ, 08023 | Salem | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
162 | New Jersey Department of Transportation | Bridgewater Maintenance Yard, 150 Commons Way, Bridgewater, NJ, 08807 | Somerset | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
163 | New Jersey Department of Transportation | Bedminster Garage Complex, 455 route 202/206 South, Pluckemin, NJ, 07978 | Somerset | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
164 | New Jersey Department of Environmental Protection, DELAWARE & RARITAN CANAL STATE PARK | 145 Mapleton Road Princeton, NJ 08540 | Somerset | Ultra Low Sulfur Diesel Dyed | X | 1 | 500 | Above
165 | New Jersey Department of Environmental Protection, Historic Waterloo Village | 525 Waterloo Road Stanhope, NJ 07874 | Sussex | Ultra Low Sulfur Diesel | X | 1 | 330 | Above
166 | New Jersey Department of Environmental Protection, Kittatinny Valley State Park | 7 Lake aeroflex Newton, NJ 07860 | Sussex | Ultra Low Sulfur Diesel | X | 1 | 330 | Above
167 | New Jersey Dept Of Environmental Protection, Forest Fire Service | 240 Main Street, Andover NJ | Sussex | Ultra Low Sulfur Diesel | X | 1 | 2000 | Above
168 | New Jersey Department of Environmental Protection, Flatbrook Wildlife Management Area | 11 Kuhn Rd., Layton NJ 07851 | Sussex | Ultra Low Sulfur Diesel | X | 1 | 250 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
169 | New Jersey Department of Environmental Protection, Whittingham Wildlife Management Area | 150 Fredon Springdale Rd., Newton NJ 07860 | Sussex | Ultra Low Sulfur Diesel | X | 1 | 550 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
170 | New Jersey Department of Environmental Protection, Swartswood State Park | 1091 RT. 619 E Shors Rd Swartswwod NJ 07877 | Sussex | Ultra Low Sulfur Diesel |  | 1 | 275 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
171 | New Jersey Department of Environmental Protection, High Point State Park - Maintenance Complex | High Point State Park 1480 State Route 23 Sussex, NJ 07461 | Sussex | Ultra Low Sulfur Diesel |  | 1 | 250 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
172 | New Jersey Department of Environmental Protection, High Point State Park - Maintenance Complex | High Point State Park 1480 State Route 23 Sussex, NJ 07461 | Sussex | Ultra Low Sulfur Diesel |  | 1 | 2000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
173 | New Jersey Department of Environmental Protection, High Point State Park - Resident House | High Point State Park 1490 State Route 23 Sussex, NJ 07461 | Sussex | Ultra Low Sulfur Diesel |  | 2 | 275 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
174 | New Jersey Department of Environmental Protection, High Point State Park - Lusscroft Farm | High Point State Park 50 Neilson Road Wantage, NJ 07461 | Sussex | Ultra Low Sulfur Diesel |  | 1 | 275 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
175 | New Jersey Department of Environmental Protection, High Point State Park - Lusscroft Farm | High Point State Park 50 Neilson Road Wantage, NJ 07461 | Sussex | Ultra Low Sulfur Diesel |  | 2 | 275 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
176 | New Jersey Department of Transportation | Sussex Maintenance Yard, Route 23 Morth at County Road 565, Sussex, NJ, 07461 | Sussex | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
177 | New Jersey Department of Transportation | Lafayette Garage, 38 Route 94 at Route 15, Lafayette, NJ, 07848 | Sussex | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
178 | New Jersey Department of Transportation | Branchville Maintenance Yard, 349 Route 206, Branchville, NJ, 07826 | Sussex | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
179 | New Jersey Department of Transportation | High Point Maintenance Yard, Route 23 High Point State Park | Sussex | Ultra Low Sulfur Diesel | X | 1 | 300 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
180 | New Jersey Department of Transportation | Summit Maintenance Yard, 46 Spring Ave, Summit, NJ, 07081 | Union | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
181 | New Jersey Department of Transportation | Elizabeth Maintenance Yard, 906 North Ave, Elizabeth, NJ, 07201 | Union | Ultra Low Sulfur Diesel | X | 1 | 4000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
182 | New Jersey Department of Transportation | Columbia Maintenance Yard, 24 Simpson Road, Columbia, NJ, 07832 | Warren | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
183 | New Jersey Department of Transportation | Port Colden Maintenance Yard, 619 Route 57 Behind State Police Bldg., Washington NJ, 07882 | Warren | Ultra Low Sulfur Diesel | X | 1 | 6000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
184 | New Jersey Department of Transportation | Yellow Frame Maintenance Yard, Route 94 Between Mott Road & Kerr Road, Frelinghuysen, NJ, 07825 | Warren | Ultra Low Sulfur Diesel | X | 1 | 2000 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
185 | New Jersey Department of Environmental Protection, PEQUEST STATE TROUT HATCHERY TRUCK GARAGE | 605 Pequest Road, Oxford, NJ 07863 | Warren | Ultra Low Sulfur Diesel | X | 1 | 1000 | Above
186 | New Jersey Department of Environmental Protection PEQUEST STATE TROUT HATCHERY NURSERY BUILDING GENERATOR | 605 Pequest Road, Oxford, NJ 07863 | Warren | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
187 | New Jersey Department of Environmental Protection, PEQUEST STATE TROUT HATCHERY WELL #1 BACK UP GENERATOR | 605 Pequest Road, Oxford, NJ 07863 | Warren | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
188 | New Jersey Department of Environmental Protection, PEQUEST STATE TROUT HATCHERY WELL #2 BACK UP GENERATOR | 605 Pequest Road, Oxford, NJ 07863 | Warren | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
189 | New Jersey Department of Environmental Protection, PEQUEST STATE TROUT HATCHERY WELL #5 BACK UP GENERATOR | 605 Pequest Road, Oxford, NJ 07863 | Warren | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
190 | New Jersey Department of Environmental Protection, PEQUEST STATE TROUT HATCHERY WELL #7BACK UP GENERATOR | 605 Pequest Road, Oxford, NJ 07863 | Warren | Ultra Low Sulfur Diesel | X | 1 | 500 | Above
191 | New Jersey Department of Environmental Protection, Stephens State Park - Maintenance Shop | 800 Willow Grove Street, Hackettstown NJ 07840 | Warren | Ultra Low Sulfur Diesel |  | 1 | 275 | Above
|  |  |  | Ultra Low Sulfur Diesel Dyed | X
192 | New Jersey Department of Environmental Protection, Worthington State Forest Maintenance Shop | HC 62 Box 2 Old Mine Road Columbia, NJ 07832 | Warren | Ultra Low Sulfur Diesel Dyed | X | 1 | 330 | Above