### May 18, 2018

# To:	All Interested Vendors {Bidders}

## Re:	Bid Solicitation # 18DPP00218

Bid Solicitation T3083 – 10 PRINT LIVE SCAN SYSTEM (LSS)

NEW JERSEY STATE POLICE (NJSP)

# Original Quote Submission Due Date: April 25, 2018	(2:00 p.m. Eastern Time)

# Revised Quote Submission Due Date: June 7, 2018	(2:00 p.m. Eastern Time)

# Bid Amendment #04

The following constitutes Bid Amendment #04 to the above referenced Bid Solicitation:

- Includes answers to questions;

- Please note that for all additions, deletions, clarifications and modifications to the Bid Solicitation #18DPP00218, please refer to the Revised Bid Solicitation titled T3083 Revised Bid Solicitation 051818; and

- Please refer to the Revised State-Supplied Price Sheet titled T3083 Revised Price Sheet 051818.

It is the sole responsibility of the Vendor {Bidder} to be knowledgeable of all of the additions, deletions, clarifications, and modifications to the Bid Solicitation and/or the New Jersey Standard Terms and Conditions relative to this Bid Solicitation as set forth in all Bid Amendments.

All other instructions, terms, and conditions of the Bid Solicitation shall remain the same.

## Bid Solicitation # 18DPP00218

# T3083 – 10 PRINT LIVE SCAN SYSTEM (LSS)

#### Answers to Questions

Note: These questions may have been paraphrased in the interest of readability and clarity.

| # | RFP Section Reference | Question (Bolded) and Answer |
| --- | --- | --- |
| 1 | General | Does the Bid Solicitation require Vendors {Bidders} to propose support and related costs for 680 Live Scans already currently maintained by the incumbent? No. Please refer to Section 3.0 of the Revised Bid Solicitation dated 051818. |
| 2 | General | Is the MSPS required to be offered separately and installed on pre-existing LSSs purchased as a result of an award associated with this Bid Solicitation? No. LSSs are not pre-existing. They may be purchased from the awarded Vendor {Contractor} as a result of an award associated with this Bid Solicitation. Please refer to Section 3.0 of the Revised Bid Solicitation dated 051818. |
| 3 | General | Is the addition of mugshot equipment to a pre-existing system? This presents compatibility issues which would require any Vendor {Bidder} other than the incumbent to replace the entire system. No. Please refer to Section 3.0 of the Revised Bid Solicitation dated 051818. |
| 4 | General | Is remedial and on-site preventive maintenance for all Hardware, software, and software licensing required at each individual pre-existing live scan site by the Vendor {Contractor}? A non-incumbent Vendor {Bidder} could not simply update the system with its own software, the entire system would need to be replaced due to compatibility issues with the scanner. No. Please refer to Section 3.0 of the Revised Bid Solicitation dated 051818. |
| 5 | General | Is additional yearly post warranty maintenance and support required to the Using Agency indefinitely, unless the State Contract Manager specifies, in writing, that a specific pre-existing LSS or LSS Site does not require post warranty maintenance and support? A non-incumbent Vendor {Bidder} would have to replace every Livescan in the State. No. Please refer to Section 3.0 of the Revised Bid Solicitation dated 051818. |
| 6 | General | Does the LSS have to be capable of accepting table updates via a Vendor {Contractor} owned central server or manually updated by the Vendor {Contractor}? While it's possible to have a centralized server in the State for table updates, we don't have the ability to perform table updates on the incumbent's systems. No. Please refer to Section 3.0 of the Revised Bid Solicitation dated 051818. |
| 7 | General | Is the Vendor (Contractor) required to provide additional on-site or remote training as requested by the Using Agency? It is not possible for a non-incumbent Vendor {Bidder} to train on an incumbent system, especially "upon request." No. Please refer to Section 3.0 of the Revised Bid Solicitation dated 051818. |