### May 24, 2018

# To:	All Interested Vendors {Bidders}

## Re:	Bid Solicitation {RFP} #18DPP00170

# T#2532 – COMBE Fill South Landfill Operations & Maintenance Treatment Plant - DEP

# Original Quote {Proposal} Submission Due Date: May 30, 2018 (2:00 p.m. Eastern Time)

# Revised Quote {Proposal} Submission Due Date: June 13, 2018 (2:00 p.m. Eastern Time)

# Bid Amendment {Addendum} #3

The following constitutes Bid Amendment {Addendum} #3 to the above referenced Bid Solicitation {RFP}:

- This Bid Amendment {Addendum} includes answers to questions;

- Revises the Quote {Proposal} Submission Due Date to June 13, 2018 (2:00 p.m. Eastern Time); and

- Please note that for all additions, deletions, clarifications and modifications to the Bid Solicitation {RFP}, please refer to the Revised Bid Solicitation {RFP} entitled “Revised RFP T2532 052418”).

It is the sole responsibility of the Vendor {Bidder} to be knowledgeable of all of the additions, deletions, clarifications, and modifications to the Bid Solicitation {RFP} and/or the New Jersey Standard Terms and Conditions relative to this Bid Solicitation {RFP} as set forth in all Bid Amendments {Addenda}.

All other instructions, terms, and conditions of the Bid Solicitation shall remain the same.

## Bid Solicitation {RFP} #18DPP00170

# T#2532 – COMBE Fill South Landfill Operations & Maintenance Treatment Plant - DEP

#### Answers to Questions

Where applicable, each question references the appropriate Bid Solicitation {RFP} section.

Note: These questions have been paraphrased in the interest of readability and clarity.

| # | Bid Solicitation Section Reference | Question (Bolded) and Answer |
| --- | --- | --- |
| 1 | PDF Documents | When trying to open a Portable Document Format (PDF) document I am receiving an error message and are unable to access the PDF document. How should I proceed? It is recommended that users utilize Internet Explorer to view PDF documents. Certain PDF forms cannot be opened in the Chrome or Firefox built in PDF viewers that are enabled by default. If using Chrome or Firefox it is recommended that the file is downloaded instead by clicking the download button in the upper-right hand corner of the browser after an error message is received. An alternative option is to disable the built in PDF viewers in Chrome or Firefox. |
| 2 | Section 1.3.4 Mandatory Site Visit | We were unable to attend the mandatory site meeting on the 3rd, will there be another site meeting? My company would like to submit a proposal for this work but if I'm correct, since we weren't able to attend the 4/3 site meeting we missed our opportunity to bid on this request for proposal? The Mandatory Site Visit was held on April 3, 2018 at 10:00AM. As specified by Section 1.3.4 of the Bid Solicitation {RFP}, a Quote {Proposal} from any Vendor {Bidder} that was not represented or failed to register properly at the Mandatory Site Visit will be rejected. No additional site visits will be held. |
| 3 | Section 2.3 Blanket P.O. {Contract}-Specific Definitions/Acronyms | Definition of Hazardous Waste. Is the term flammability as presented in the definition of hazardous waste equivalent to ignitability? Yes. |
| 4 | Section 3.0 Scope of Work | Are there any instances where sales tax would apply to the services provided by this Blanket P.O. {Contract}? In accordance with N.J.S.A. 54:32B-8.22 et seq., a Vendor {Contractor} (or subcontractor) improving, altering, or repairing the real property of an exempt organization or exempt government entity is exempt from Sales and Use tax on qualifying purchases. The State of New Jersey is an exempt government entity for these purposes. Qualifying purchases include construction materials, construction supplies, and a few qualifying services, when exclusively used for, and entirely consumed in erecting structures or building on, or otherwise improving, altering, or repairing real property belonging to an exempt entity. Construction materials refer to items of tangible property purchased by a Vendor {Contractor} (or subcontractor) for incorporation into property as a physical component of such property. In short, any item that will be permanently affixed to any remediation system will not be subject to sales tax. Consumables that do not become a physical component part of such systems are subject to sales tax. The exemption also does not apply to leases, rentals, purchases or uses of construction equipment per N.J.A.C. 18:24-5.4(a). However, if said lease, rental, purchase, or use includes an operator for the proper function of said equipment it is considered a service transaction and NOT subject to sales tax. The Vendor {Contractor} and subcontractor must submit a form ST-13 that will be provided by the State to make tax exempt purchases. Failure of a Vendor {Contractor} or subcontractor to submit an ST-13 when making purchases shall not create a liability to the State for sales taxes paid by the Vendor {Contractor} or subcontractor. |
| 5 | Section 3.0 Scope of Work (L) | Vendor is responsible for the collection and analysis of all samples as necessary for process monitoring, permit compliance, potable water quality monitoring or disposal... Is the potable water quality monitoring required since the site uses a public water source? No. Please refer to Section 3.0(L) of the Revised Bid Solicitation {RFP}, as this section has been revised in response to this question. |
| 6 | Section 3.1.3 Vendor {Contractor} Licenses and Certifications | "At a minimum, the Vendor or its Subcontractors must provide and maintain the following for work under this Blanket P.O." Are other licenses or certifications anticipated? In accordance with Section 5.12 of the Bid Solicitation {RFP}, the Vendor {Contractor} must maintain all licenses, permits, and authorizations necessary to perform this Blanket P.O. {Contract}. The absence of a license or certification from those specified in Section 3.1.3 of the Bid Solicitation {RFP} does not eliminate the Vendor’s {Contractor’s} responsibility to meet the aforementioned requirements specified by Section 5.12 of the Bid Solicitation {RFP}. |
| 7 | Section 3.3 Vendor {Contractor} Licenses and Certifications | Page 5, Section 1.1 Purpose and Intent. As part of this engagement, the Vendor shall perform all operation and maintenance activities required by this Bid Solicitation , including the Price Schedule F. Waste Testing and Disposal@ This is an affirmative statement that the vendor is being contracted to perform waste disposal. As such, in accordance with Page 7, Section 1.3.1.1. Exceptions to the State of New Jersey Standard Terms and Conditions (SSTC), please reference the SSTC Section 2.10/2.11 Compliance-Laws/Compliance-State Laws. Will this include N.J.S.A. 13:1E-126 et seq. and N.J.S.A. 48:13A-1 et. seq. regarding the requirement for a contracted company who performs waste disposal to have a Certificate of Public Convenience and Necessity (CPCN)? Further reference to waste disposal is found on Page 38, Section 3.5.7 Waste Removal and Disposal for which this question applies. Under this Blanket P.O., DEP will make the decision regarding where solid waste is transported to and disposed of. Subsequently, the Vendor {Contractor} will not be acting as a broker, and therefore, is not required to hold an A-901 license or a CPCN as the Vendor {Contractor} performing Operations and Maintenance services at the Combe landfill. However, all entities transporting solid and hazardous waste require licensure under A-901 pursuant to N.J.S.A. 13:1E-126 et seq. and a Certificate of Public Convenience and Necessity pursuant to N.J.S.A. 48:13A. |
| 8 | Section 3.7.12 NJDES Permit Equivalent Analytes and Certifications | Beginning July 1, 2018 Method SW-846-8270C will no longer be "acceptable" and the new Method 8270D is replacing 8270C by commercial laboratories. In general and specifically will new methods such as 8270D be required or will the Vendor (Contractor) be held to the method(s) written in the contract? Please refer to Sections 3.7.12 and 3.7.14 of the Revised Bid Solicitation {RFP}, as these sections have been revised in response to this question. Concerning analytical method citations, please refer to Section 3.7.4 wherein it states the following: SW-846 methods may have more than one (1) acceptable revision for which certifications exist even though method citations below indicate a specific revision number (such as 8270C). If the NJDEP offers certification for a different revision than that which appears in this Blanket P.O. {Contract} and a laboratory holds certification in that revision, then the laboratory would be permitted to perform work under the terms of this Blanket P.O. {Contract}. |
| 9 | Section 3.7.12 NJDES Permit Equivalent Analytes and Certifications | Regarding Trans-1,2-Dichloroethene, there are no labs listed in “Laboratories Certified by Parameter” in the DEP Data Miner. If there is no lab certified to perform this analysis, what are the Vendor options? Trans-1,2-dichloroethene appears twice in the DEP Data Miner database. In the drop-down menu under “Laboratories Certified by Parameter”, select “Dichloroethene (trans-1,2-)” for a list of certified laboratories and approved methods. |
| 10 | Section 3.7.12 NJDES Permit Equivalent Analytes and Certifications | Applicable certification on Beta BHC lists 8081, should that be 8081A? Please see the answer to Question #8 and refer to Section 3.7.12 of the Revised Bid Solicitation {RFP}. |
| 11 | Section 3.8.1 Payment – Price Schedule Line Items (D) | Within the RFP there are a number of references to tasks that are described as being compensable under the "Monthly Plant Operations Fee". Is it correct that the performance of these tasks will be compensated to the Vendor under the Price Schedule Price Line Number 5 - Monthly Plant Operations (Excluding Core Labor)? Please confirm. Many of these tasks account for a majority (if not all) of each core labor crew's time on the site. The Price Schedule presents core labor crew hourly billing rates and total hours billable per year (2,080, a full-time year) under Price Line Numbers 6, 7 or 8. The last paragraph in item 4. of Section 3.8.1 Payment - Price Schedule Line Items (D) further describes these labor items and specifies that the core labor crew be on-site (normally) 35 hours per week, with compensation allowable up to 40 hours per week. Please clarify what tasks the core labor crew are to be compensated for under these line items if a majority of their work (specific to their licensing/training) is presented as compensable under the "Monthly Plant Operations Fee". Similar questions arise within items 5-20 of the same section 3.8.1 Payment - Price Schedule Line Items (D) or when searching the RFP for "Monthly Plant Operations Fee". The Bid Solicitation’s {RFP’s} references to “Monthly Plant Operations Fee” specifies to the Vendor {Contractor} that the costs for the given work being described are to be allocated within Line Items 5-8. The direct labor in carrying out the on-site work as specified by the Bid Solicitation {RFP} is compensated for under Line Items 6-8. Line Item 5 is for the Monthly Plant Operations costs that are of an administrative, overhead, and/or site carrying cost nature not compensated for under the direct labor Line Items. Note that Section 3.8.1(D-6) (Monthly Plant Operations) includes all work under Section 3.5.4(A-R). Please refer to Section 3.8.1 of the Revised Bid Solicitation {RFP}, as this section has been revised. |
| 12 | Section 3.10 Project Modifications | What project modifications are anticipated for this Blanket P.O. as there are no specifications cited? Project modifications refer to the procurement of non-scheduled equipment, materials, and/or services that are not specified by the Bid Solicitation {RFP} and are not covered by Bid Solicitation {RFP} Section 3.9, Cost Reimbursable Ancillary Purchases of Non-Scheduled Items. Due to the nature of the work encompassed by the Blanket P.O. {Contract}, the State cannot predict what project modifications, if any, will be required during the Blanket P.O. {Contract} term. |
| 13 | Section 3.12.1 Prevailing Wage | Does a member of the Core Labor Crew get prevailing wage for that portions of the work that could be considered "Building Services"? As specified by Section 3.12.1 of the Bid Solicitation {RFP}, it is the responsibility of the Vendor {Contractor} to comply with the requirements of the State Prevailing Wage Act as well as adhere to the requirements of the Fair Labor Standards Act (FLSA) during the duration of this Blanket P.O. {Contract} and any extensions exercised. |
| 14 | State Standard Terms and Conditions - Section 6.3 Payment to Vendors (B) | Page 119, Section 6.3 Payment to Vendors (B). "For commodity contracts, the invoice, together with the original Bill of Lading, express receipt and other related papers must be sent to the State Contract Manager or using agency on the date of each delivery" Is this a commodity contract? Please confirm/clarify the State's requirement presented here. This Blanket P.O. {Contract} is primarily for services; however, the referenced clause specified by the question would apply to commodities purchased in accordance with the requirements of this Bid Solicitation {RFP}. |
| 15 | State Standard Terms and Conditions - Section 6.3 Payment to Vendors (D) | "The contractor shall provide, on a monthly and cumulative basis, a breakdown in accordance with the budget submitted, of all monies paid to any small business, minority or woman-owned subcontractor(s). This breakdown shall be sent to the Chief of Operations, Division of Revenue, P.O. Box 628, Trenton, NJ 08646." Is this in reference to the quarterly SBE/DBE reporting to NJDEP Site Remediation Program & Office of Equal Opportunity and Contract Assistance Small Business Enterprise Program? Section 6.3(D) of the SSTC refers to separate reporting requirements than those referenced under Section 3.5.10 of the Bid Solicitation {RFP}. |
| 16 | State Standard Terms and Conditions - Section 7.1 Procurement of Recovered Materials | Procurement of Recovered Materials. Please confirm/clarify the State's requirement presented here. The State declines to provide additional information and refers Vendors {Bidders} to the referenced section of the SSTC as written. |
| 17 | State Standard Terms and Conditions - Section 7.1 Procurement of Recovered Materials | Procurement of Recovered Materials (C). Please confirm/clarify the State's requirement presented here. The State declines to provide additional information and refers Vendors {Bidders} to the referenced section of the SSTC as written. |
| 18 | Attachment #2 Statement of Assurances | Attachment #2 Statement of Assurances. Is this project funded in whole or in part by Community Development Block Grant-Disaster Recovery funds received from the U.S. Department of Housing and Urban Development? If so what are the requirements listed in the Statement of Assurances for Contractor/Consultant that apply to the work under this Contract. The State does not intend to utilize federal funding, including CDBG-DR funding, for this Blanket P.O. {Contract}. |