Bid Solicitation/Request for Proposal

Bid #	17DPP00036

| For: | NJDEP MSLA 1D Landfill Site- |
| --- | --- |
|  | Landfill Closure Construction |

| Event | Date | Time |
| --- | --- | --- |
| Vendor’s {Bidder’s} Electronic Question Due Date (Refer to Bid Solicitation (RFP) Section 1.3.1 for more information.) | July 27, 2016 | 2:00 PM |
| Mandatory/Optional Pre-Quote {Proposal} Submission Conference (Refer to Bid Solicitation (RFP) Section 1.3.6 for more information.) | Not Applicable | Not Applicable |
| Mandatory Site Visit (Refer to Bid Solicitation (RFP) Section 1.3.5 for more information.) | July 21, 2016 | 10:00 AM |
| Quote {Proposal} Submission Date (Refer to Bid Solicitation (RFP) Section 1.3.2 for more information.) | August 26, 2016 | 2:00 PM |

Dates are subject to change.  All times contained in the Bid Solicitation {RFP} refer to Eastern Time. All changes will be reflected in Bid Amendments {Addenda} to the Bid Solicitation {RFP} posted on the Division of Purchase and Property website and on www.njstart.gov.

| Small Business Set-Aside | Status Not Applicable Entire Blanket P.O. {Contract} Partial Blanket P.O. {Contract} Subcontracting Only | Category I IV II V II VI |
| --- | --- | --- |

Bid Solicitation {RFP} Issued By:			Using Agency:

State of New Jersey					State of New Jersey

Department of the Treasury				Department of Environmental Protection

Division of Purchase and Property			Date:  June 30, 2016

Trenton, New Jersey 08625-0230

Table of Contents

1.0	INFORMATION FOR VENDORS {BIDDERS}	9

1.1	PURPOSE AND INTENT	9

1.2	BACKGROUND	9

1.3	Key Events	10

1.3.1	ELECTRONIC QUESTION AND ANSWER PERIOD	10

1.3.2	SUBMISSION OF QUOTES {PROPOSALS}	11

1.3.3	NJSTART	11

1.3.4	ELECTRONIC SIGNATURES	12

1.3.5	MANDATORY SITE VISIT	12

1.3.6	MANDATORY/OPTIONAL PRE-QUOTE {PROPOSAL} CONFERENCE	13

1.3.7	PRE-QUOTE {PROPOSAL} DOCUMENT REVIEW	13

1.4	ADDITIONAL Information	13

1.4.1	BID AMENDMENTS {ADDENDA}: Revisions to this BID SOLICITATION {RFP}	13

1.4.2	VENDOR {BIDDER} Responsibility	13

1.4.3	COST Liability	14

1.4.4	CONTENTS of QUOTE {Proposal}	15

1.4.5	ANNOUNCEMENT OF QUOTE {PROPOSAL} INFORMATION	15

1.4.6	PRICE Alteration In Hard copy QUOTES {Proposals}	15

1.4.7	QUOTE {Proposal} ERRORS	15

1.4.8	JOINT Venture	17

1.4.9	Reciprocity for Jurisdictional Vendor {Bidder} Preference	17

1.4.10	QUOTE {PROPOSAL} ACCEPTANCES AND REJECTIONS	17

2.0	DEFINITIONS	18

2.1	CROSSWALK	18

2.2	General Definitions	18

2.3	BLANKET P.O. {contract}-specific definitions/ACRONYMS	21

3.0	SCOPE OF WORK	24

3.1	Public Works Contractor Registration Act	24

3.1.1	Certified Payroll Records	24

4.0	QUOTE {PROPOSAL} PREPARATION AND SUBMISSION	25

4.1	General	25

4.2	QUOTE {Proposal} Delivery and Identification	25

4.3	njstart electronic submission VS. hard copy SUBMISSION INSTRUCTION	26

4.3.1	NJSTART SUBMISSION OF QUOTE {PROPOSAL}	26

4.3.2	HARD COPY SUBMISSION	26

4.4	QUOTE {Proposal} Content	27

4.4.1	Forms, rEGISTRATIONS and CERTIFICATIONS required with QUOTE {Proposal}	27

4.4.2	Forms, REGISTRATIONS AND CERTIFICATIONS REQUIRED before BLANKET P.O. {contract} award and THAT SHOULD BE SUBMITTED with the QUOTE {Proposal}	33

4.4.3	submittals	35

4.4.4	Financial Capability of the Vendor {Bidder}	35

4.4.5	PRICE schedule/SHEET	35

4.4.6	COOPERATIVE PURCHASING PROGRAM	37

5.0	SPECIAL CONTRACTUAL TERMS AND CONDITIONS APPLICABLE TO THE BLANKET P.O.	38

5.1	PRECEDENCE OF SPECIAL CONTRACTUAL TERMS AND CONDITIONS	38

5.2	BLANKET P.O. {Contract} Term	38

5.2.1	Commencement of blanket p.o. {Contract Time}; Notice to Proceed	39

5.2.2	Starting the Project	39

5.3	BLANKET P.O. {Contract} Transition	39

5.4	CHANGE ORDER {Contract AMENDMENT}	39

5.4.1	REDUCTION orders	39

5.5	Vendor {CONTRACTOR} RESPONSIBILITIES	41

5.5.1	SUPERVISION AND SUPERINTENDENT	41

5.5.2	LABOR, MATERIALS AND EQUIPMENT	42

5.5.3	"Or Equal" Materials and Equipment Value Engineering and Substitutions	42

5.5.4	Before Starting Construction	46

5.5.5	Use of Premises	47

5.5.6	Record Documents/DRAWINGS	48

5.5.7	Safety and Protection	48

5.5.8	Shop Drawings and Samples	49

5.5.9	WARRANTY AND GUARANTEE; TESTS AND INSPECTIONS CORRECTION, REMOVAL OR ACCEPTANCE OF DEFECTIVE WORK	50

5.5.10	Concerning Subcontractors	53

5.5.11	Continuing The Work	53

5.5.12	SALES, USE AND SIMILAR TAX	53

5.6	Vendor {contractor} Responsibilities	53

5.7	Substitution of Staff	53

5.8	Substitution or Addition of SubCONTRACTOR(s)	54

5.9	OWNERSHIP OF MATERIAL	54

5.10	security and Confidentiality	55

5.10.1	DATA CONFIDENTIALITY	55

5.10.2	DATA SECURITY STANDARDS	56

5.11	News Releases	57

5.12	Advertising	58

5.13	Licenses and Permits	58

5.14	Claims and Remedies	58

5.14.1	Claims	58

5.14.2	Remedies	58

5.14.3	Remedies for failure to comply with material Blanket P.O. {contract} requirements	59

5.15	Liquidated Damages	59

5.15.1	NOTIFICATION OF LIQUIDATED DAMAGES	59

5.15.2	CONDITIONS FOR TERMINATION OF LIQUIDATED DAMAGES	59

5.15.3	SEVERABILITY OF INDIVIDUAL LIQUIDATED DAMAGES	60

5.15.4	WAIVER OF LIQUIDATED DAMAGES/LIQUIDATED DAMAGES NOT EXCLUSIVE REMEDY	60

5.15.5	PAYMENT OF LIQUIDATED DAMAGES	60

5.16	Retainage	60

5.17	Additional Work and/or Special PROJECTS	60

5.18	MODIFICATIONS AND CHANGES TO THE State of NJ STANDARD TERMS AND CONDITIONS (SSTC)	61

5.18.1	INSURANCE - PROFESSIONAL LIABILITY INSURANCE	61

5.18.2	POLLUTION LIABILITY INSURANCE	61

5.18.3	MAINTENaNCE OF INSURANCE	62

5.19	ACCESSIBILITY COMPLIANCE	62

5.20	BLANKET P.O. {Contract} Activity Report	62

5.21	ELECTRONIC PAYMENTS	62

5.22	PROGRAM EFFICIENCY ASSESSMENT FOR STATE USING AGENCIES	62

5.23	BLANKET P.O. {CONTRACT} DOCUMENTS – INTENT, USE, REUSE	63

5.24	BLANKET P.O. {CONTRACT} PRICE UNDER CHANGE ORDERS/AMENDMENTS	63

5.24.1	CHANGE IN BLANKET P.O.{CONTRACT} PRICE	64

5.25	CHANGES IN blanket p.o. {CONTRACT] TIME	67

5.25.1	REQUIRED NOTICE	67

5.25.2	blanket P.O. {CONTRACT} TIME AND UNANTICIPATED DELAYS	67

5.25.3	SUBSTANTIAL COMPLETION AND FINAL COMPLETION: TIME LIMITS	67

5.25.4	compensation for EXTENSION OF THE blanket p.o. {CONTRACT} TIME OR DELAYS	67

5.25.5	ADDITIONAL COMPENSATION	68

5.25.6	EXTENSION OF blanket P.O. {CONTRACT} TIME DUE TO WEATHER	68

5.25.7	COMPENSABLE COSTS CAUSED BY STATE DELAY AND REIMBURSABLE TO THE vendor {CONTRACTOR}	68

5.25.8	ACCELERATION OF WORK	69

6.0	QUOTE {PROPOSAL} EVALUATION	70

6.1	RIGHT TO WAIVE	70

6.2	DIRECTOR’S RIGHT OF FINAL Quote {Proposal} ACCEPTANCE	70

6.3	STATE'S RIGHT TO INSPECT VENDOR (BIDDER) FACILITIES	70

6.4	STATE'S RIGHT TO REQUEST FURTHER INFORMATION	70

6.5	QUOTE {Proposal} Evaluation Committee	70

6.6	Oral Presentation and/or Clarification of Quote {Proposal}	70

6.7	Evaluation Criteria	71

6.7.1	evaluation criteria	71

6.7.2	Vendor’S {Bidder’s} Price schedule	71

6.7.3	QUOTE (PROPOSAL) discrepancies	71

6.7.4	Evaluation of the QUOTES {Proposals}	71

6.8	Negotiation and Best and Final Offer (BAFO)	72

6.9	“REQUEST FOR REVISION” WITHIN NJSTART	72

6.10	POOR PERFORMANCE	72

7.0	BLANKET P.O. {CONTRACT} AWARD	74

7.1	DOCUMENTS REQUIRED BEFORE BLANKET P.O. {CONTRACT} AWARD	74

7.1.1	Requirements of Public Law 2005, CHAPTER 51, N.J.S.A. 19:44A-20.13 - N.J.S.A. 19:44A-20.25 (Formerly Executive Order NO. 134), EXECUTIVE ORDER No. 117 (2008) and N.J.A.C. 17:12-5 et seq.	74

7.1.2	SOURCE DISCLOSURE REQUIREMENTS	74

7.1.3	AFFIRMATIVE Action	75

7.1.4	BUSINESS REGISTRATION	75

7.2	FINAL BLANKET P.O. {CONTRACT} AWARD	76

7.3	INSURANCE CERTIFICATES	76

7.4	Performance SECURITY	76

7.5	PAYMENT SECURITY	77

8.0	BLANKET P.O. {CONTRACT} ADMINISTRATION	78

8.1	STATE CONTRACT MANAGER	78

8.1.1	state contract manager responsibilities	78

8.1.2	Coordination with the State Contract manager	78

8.1.3	construction manager (cm) RESPONSIBILITIES	78

8.2	Copies of Documents	79

8.3	Availability of Lands	79

8.4	additional work by others	79

8.5	Differing Site Conditions	80

8.6	MISCELLANEOUS requirements	80

8.6.1	Giving Notice	80

8.6.2	Computation of Time	80

8.6.3	New Jersey Department of Transportation (NJDOT) Specifications	80

8.6.4	Ongoing Obligation to Inform	81

8.6.5	VENDOR”S {Contractor’s} Means and Methods	81

8.6.6	Ommissions by the Vendor {Contractor}	81

8.7	Construction Conferences	81

8.8	additional REQUIREMENTS	81

8.8.1	Evidence Documentation	81

8.8.2	Confidential and NONCONFIDENTIAL INFORMATION	82

8.8.3	Access to Records and Audit	82

9.0	ENGINEER’S STATUS DURING CONSTRUCTION	84

9.1	Visits to Site	84

9.2	Clarifications and Interpretations	84

9.3	Special Inspections	84

9.4	Project Representation	84

9.5	Limitations on Engineer’s Responsibilities TO VENDOR {CONTRACTOR}	85

10.0	VENDOR {CONTRACTOR} PAYMENT APPLICATION AND PAYMENTS	86

10.1	Application for Progress Payment	86

10.2	Review of Applications for Progress Payments	86

10.3	VENDOR’S {Contractor’s} Warranty of Title	87

10.4	Substantial Completion	87

10.5	Partial Utilization	87

10.6	Final Inspection	88

10.7	Final Application for Payment	88

10.8	Final Payment and Acceptance	89

10.9	VENDOR’S {Contractor’s} Continuing Obligation	89

10.10	Waiver of Claims	90

10.11	SUBMISSION OF PAYMENT VOUCHERS (VENDOR INVOICES)	90

10.12	SUSPENSION OF WORK AND TERMINATION	90

11.0	State of New Jersey Standard Terms and Conditions	91

- ATTACHMENTS

- State Mandatory Hazardous Waste Site Inspection Attendance/Liability Form

- MSLA 1-D Landfill Closure Project Technical Specifications

- Submission Invoices and Backup Documentation

- Bid Security Certification (Bid Bond)

- Bid Bond Format

- Vendor {Bidder} Qualification Statement

- APPENDICIES

- Health and Safety Plan – Minimum Requirements

- Site Access Agreements

- DOCUMENTS AVAILABLE FOR BIDDER REVIEW

(Will Be Distributed at the Mandatory Site Visit)

- Final Background Investigation and Design Recommendations Report, by The Louis Berger Group, dated 7/1999

- NJDEP Remedial Action Plan, dated 11/1999

- ConeTec Field Report (CPTU Test Results), by ConeTec, dated 11/30/2000

- Final Subsurface Investigation Results Report, by The Louis Berger Group, dated 5/2002

- Final Geotechnical Field Investigation Report, by The Louis Berger Group, dated 10/2006

- Final Surface Water and Sediment Investigation Report, by The Louis Berger Group, dated 7/2007

- Final Results and Evaluations of the Slurry Wall Mix Design Studies, by The Louis Berger Group, dated 2/2008

- Operations and Maintenance Manual, MSLA 1-D Landfill Pumping Station, by Hatch Mott MacDonald, dated 7/2011

- Landfill Closure Design Report, MSLA 1D Landfill, by The Louis Berger Group, dated 11/2011

- Permits, Agreements and Application Forms

- INDEX OF DRAWINGS (78 TOTAL)

(CD Will Be Distributed at the Mandatory Site Visit)

- COVER SHEET

- LIST OF CONTRACT DRAWINGS AND GENERAL NOTES

- LEGEND AND ABBREVIATIONS

- ESTIMATE OF QUANTITIES

- EXISTING CONDITIONS PLAN OVERALL SHEET

- EXISTING CONDITIONS PLAN SHEET 1 OF 4

- EXISTING CONDITIONS PLAN SHEET 2 OF 4

- EXISTING CONDITIONS PLAN SHEET 3 OF 4

- EXISTING CONDITIONS PLAN SHEET 4 OF 4

- PROPERTY PLAN

- INITIAL SITE OPERATIONS

- SURVEY CONTROL PLAN

- SURVEY POINTS SHEET

- SUBGRADE GRADING PLAN OVERALL SHEET

- SUBGRADE GRADING PLAN SHEET 1 OF 4

- SUBGRADE GRADING PLAN SHEET 2 OF 4

- SUBGRADE GRADING PLAN SHEET 3 OF 4

- SUBGRADE GRADING PLAN SHEET 4 OF 4

- BARRIER WALL & LEACHATE SYSTEM PROFILE INDEX SHEET

- BARRIER WALL & LEACHATE SYSTEM PROFILE - STA. 0+00 - 12+40

- BARRIER WALL & LEACHATE SYSTEM PROFILE - STA. 12+40 - 24+40

- BARRIER WALL & LEACHATE SYSTEM PROFILE - STA. 24+40 - 34+40

- BARRIER WALL & LEACHATE SYSTEM PROFILE - STA. 34+40 - 39+70

- BARRIER WALL & LEACHATE SYSTEM PROFILE - STA. 39+70 - 51+70

- BARRIER WALL & LEACHATE SYSTEM PROFILE - STA. 51+70 - 60+70

- BARRIER WALL & LEACHATE SYSTEM PROFILE - STA. 60+70 - 67+70

- BARRIER WALL & LEACHATE SYSTEM PROFILE - STA. 67+70 - 79+70

- BARRIER WALL & LEACHATE SYSTEM PROFILE - STA. 79+70 - 0+00

- GAS MANAGEMENT SYSTEM PLAN OVERALL SHEET

- GAS MANAGEMENT SYSTEM PLAN SHEET 1 OF 4

- GAS MANAGEMENT SYSTEM PLAN SHEET 2 OF 4

- GAS MANAGEMENT SYSTEM PLAN SHEET 3 OF 4

- GAS MANAGEMENT SYSTEM PLAN SHEET 4 OF 4

34A.	INFILTRATION PIPING PLAN (OPTION A)

34B.	INFILTRATION PIPING PLAN (OPTION B)

- FINAL GRADING PLAN OVERALL SHEET

- FINAL GRADING PLAN SHEET 1 OF 4

- FINAL GRADING PLAN SHEET 2 OF 4

- FINAL GRADING PLAN SHEET 3 OF 4

- FINAL GRADING PLAN SHEET 4 OF 4

- STORMWATER MANAGEMENT PLAN OVERALL SHEET

- STORMWATER MANAGEMENT PLAN SHEET 1 OF 4

- STORMWATER MANAGEMENT PLAN SHEET 2 OF 4

- STORMWATER MANAGEMENT PLAN SHEET 3 OF 4

- STORMWATER MANAGEMENT PLAN SHEET 4 OF 4

- CROSS-SECTIONS PLAN

- CROSS-SECTIONS SHEET 1 OF 6

- CROSS-SECTIONS SHEET 2 OF 6

- CROSS-SECTIONS SHEET 3 OF 6

- CROSS-SECTIONS SHEET 4 OF 6

- CROSS-SECTIONS SHEET 5 OF 6

- CROSS-SECTIONS SHEET 6 OF 6

- NORTH AND SOUTH PUMP STATION SECTIONS

- SOIL EROSION AND SEDIMENT CONTROL PLAN

- SOIL EROSION AND SEDIMENT CONTROL DETAILS SHEET

- CIVIL DETAILS SHEET 1 OF 7

- CIVIL DETAILS SHEET 2 OF 7

- CIVIL DETAILS SHEET 3 OF 7

- CIVIL DETAILS SHEET 4 OF 7

- CIVIL DETAILS SHEET 5 OF 7

- CIVIL DETAILS SHEET 6 OF 7

- CIVIL DETAILS SHEET 7 OF 7

- GAS DETAILS SHEET 1 OF 3

- GAS DETAILS SHEET 2 OF 3

- GAS DETAILS SHEET 3 OF 3

- NORTH AND SOUTH PUMP STATION DETAILS

- GAS MANAGEMENT SYSTEM FLARE AND BLOWER SYSTEM SITE LAYOUT

- GAS MANAGEMENT SYSTEM LANDFILL BLOWER PLAN AND SECTION

- GAS MANAGEMENT SYSTEM COMBUSTION AIR BLOWER AND FLARE LAYOUT

- BLOWER AND FLARE PROCESS & INSTRUMENT DIAGRAM

- GAS FLARE DETAILS

- PUMP STATION & GAS FLARE CONTROL WIRING

- ELECTRICAL ABBREVIATIONS, SYMBOLS AND GENERAL NOTES

- ELECTRICAL ONE LINE DIAGRAM FOR NORTH AND SOUTH PUMP STATIONS

- ELECTRICAL ONE LINE DIAGRAM FOR GAS FLARE

- ELECTRICAL UTILITY PLAN

- PARTIAL ELECTRICAL SITE PLAN FOR GAS FLARE

- PARTIAL ELECTRICAL SITE PLAN FOR NORTH PUMP STATION

- PARTIAL ELECTRICAL SITE PLAN FOR SOUTH PUMP STATION

# INFORMATION FOR VENDORS {BIDDERS}

NOTICE: This Bid Solicitation {RFP} is part of the NJSTART Procurement Program. The Vendor {Bidder} is advised to thoroughly read all sections, as many have been revised, and follow all instructions contained in this Bid Solicitation {RFP}, including the instructions on the Bid Solicitation’s {RFP’s} Offer and Acceptance Page {Signatory Page} and read through all Quick Reference Guides (QRGs) located on the NJSTART Vendor Support Page (http://www.state.nj.us/treasury/purchase/njstart/vendor.shtml), in preparing and submitting its Quote {Proposal}.

Terminology is listed by new NJSTART term; {existing term} appears in braces.

## PURPOSE AND INTENT

This Bid Solicitation {Request for Proposal (RFP)} is issued by the Procurement Bureau, Division of Purchase and Property (Division), Department of the Treasury on behalf of the Department of Environmental Protection (DEP).  The purpose of this Bid Solicitation {RFP} is to solicit Quotes {Proposals} for the construction landfill closure measures at the Municipal Sanitary Landfill Authority (MSLA) 1D Landfill Site.

The intent of this Bid Solicitation {RFP} is to award a Master Blanket Purchase Order (Blanket P.O.) {Contract} to that responsible Vendor {Bidder} whose Quote {Proposal}, conforming to this Bid Solicitation {RFP} is most advantageous to the State, price and other factors considered.  The State may award any and all price lines.  The State, however, reserves the right to separately procure individual requirements that are the subject of the Blanket P.O. {Contract} during the Blanket P.O. {Contract} term, when deemed by the Director of the Division of Purchase and Property (Director) to be in the State’s best interest.

The State intends to award one (1) Vendor {Bidder} for all line items of this Blanket PO {Contract}.  This award will be utilized solely by NJDEP.

The State of NJ Standard Terms and Conditions (SSTC) accompanying this Bid Solicitation {RFP} will apply to all Blanket P.O.s {Contracts} made with the State of New Jersey.  These terms are in addition to the terms and conditions set forth in this Bid Solicitation {RFP} and should be read in conjunction with them unless the Bid Solicitation {RFP} specifically indicates otherwise.

Only a minor portion of work on this project is on State-owned property.  The Vendor {Contractor} shall pay State sales and use taxes, and Federal excise taxes for all work on this project.

## BACKGROUND

The Municipal Sanitary Landfill Authority (MSLA) 1D Landfill (EPA ID# NJD981877673) is located near Exit 15 W of the NJ Turnpike, at 1500 Harrison Avenue, in the Town of Kearny, Hudson County.  The primary waste fill mound is situated on 94 acres designated as Block 285, Lot 2, which is owned by the Town of Kearny.  Additional waste fill is present on Block 285, Lot 2A, owned by the New Jersey Department of Transportation (NJDOT).  The MSLA 1D Landfill lies within the Hackensack Meadowlands District.  The landfill property is vacant except for an abandoned landfill gas recovery and processing facility.  Access to the site is from Harrison Avenue.  Dark-colored, odorous leachate flows from the landfill into adjacent water bodies.  North side leachate seeps discharge along the curb line of Harrison Avenue.

The subsurface is composed of six strata.  Under the refuse is a discontinuous stratum of organic peat.  This is underlain by a gray sand and gravel.  Below this is a stratum of varved clay, which is underlain by glacial till consisting of clay, silt, sand, and gravel.  Below these unconsolidated deposits is red brown shale (i.e., Passaic Formation).

Aerial photographs from 1961-1962 of the area around the site show it to be primarily wetlands.  Landfilling of construction and demolition debris is in the southwestern portion and sanitary waste is in the northeastern portion of the site.  In the 1970s, the landfill property was leased by the Town of Kearny to the MSLA.  In 1977, the MSLA obtained Certificate of Registration No. 0907C from NJDEP, allowing the site to be used for landfilling.  By 1978, aerial photographs show that the majority of wetlands had been filled.  In addition, a variety of industrial-type wastes were reportedly disposed of as listed below:

Sludge Waste (unknown content)	Wet Gas Scrubber Sludge		Dredge Material

Pharmaceuticals			Filter Cake (lime-based)		Insecticides

Plastic Resins (solid)			Asphaltic Bottoms			Deodorants

Activated Charcoal Sludge		Filter Cake (sewer sludge)		Wax (solid)

Construction Debris			Fuel Oil

The landfill was reopened and accepted waste again between 1981 and 1982, but was never properly closed.  The NJDEP ordered the landfill to cease operations in 1982, due in part to the fact that it had reached its maximum allowable height and that the MSLA had failed to maintain the leachate control system.

The United States Environmental Protection Agency’s (USEPA) contractors performed sampling and investigations.  The USEPA Site Investigation Report, dated 9/1990, did not rank the site high enough for placement on the National Priorities List.  NJDEP issued a Remedial Action Plan (RAP), dated 11/1999, calling for construction of an impermeable cap, slurry wall, and leachate collection system.  NJDEP completed installation of site improvements at the landfill in July 2010, to allow for the closure construction work in this Bid Solicitation {RFP}.  Improvements included a perimeter road around the toe of the landfill, fencing, gas pipeline removal and relocation, and construction of a leachate pump station and force main.

## Key Events

### ELECTRONIC QUESTION AND ANSWER PERIOD

The Division will electronically accept questions and inquiries from all potential Vendors {Bidders} via the “Q&A” Tab of the Bid in NJSTART.

- Questions should be directly tied to the Bid Solicitation {RFP} and asked in consecutive order, from beginning to end, following the organization of the Bid Solicitation {RFP}; and

- Each question should begin by referencing the Bid Solicitation {RFP} page number and section number to which it relates.

Vendors {Bidders} may refer to the Quick Reference Guides (QRG) “Submit a Quote” for additional instruction. QRGs are located on the NJSTART Vendor Support Page.

A Vendor {Bidder} must not contact the Using Agency directly, in person, by telephone or by e-mail, concerning this Bid Solicitation {RFP}.

The cut-off date for electronic questions and inquiries relating to this Bid Solicitation {RFP} is indicated on the Bid Solicitation {RFP} cover sheet and on the “Summary” page of the Bid Solicitation in NJSTART.  In the event that questions are posed by Vendors {Bidders}, answers to such questions will be issued by bid amendment {addendum}.  Any bid amendment {addendum} to this Bid Solicitation {RFP} will become part of this Bid Solicitation {RFP} and part of any Blanket P.O. {Contract} awarded as a result of this Bid Solicitation {RFP}. Bid Amendments {Addenda} to this Bid Solicitation {RFP}, if any, will be posted as a File Attachment on the “Summary” page of the Bid Solicitation in NJSTART after the cut-off date.  (See Bid Solicitation {RFP} Section 1.4.1 for further information.)

#### EXCEPTIONS TO THE STATE OF NJ STANDARD TERMS AND CONDITIONS (SSTC)

Questions regarding the SSTC and exceptions to mandatory requirements must be posed during this Electronic Question and Answer period and shall contain the Vendor’s {Bidder’s} suggested changes and the reason for the suggested changes.

### SUBMISSION OF QUOTES {PROPOSALS}

In order to be considered for award, the Quote {Proposal} must be received by the Procurement Bureau of the Division at the appropriate location by the required time.  Vendors {Bidders} shall submit a Quote {Proposal} either electronically through NJSTART or via hard copy.

Hard copy Quote {Proposal} must be submitted to the physical location noted below:

PROPOSAL RECEIVING ROOM – 9TH FLOOR

PROCUREMENT BUREAU

DIVISION OF PURCHASE AND PROPERTY

DEPARTMENT OF THE TREASURY

33 WEST STATE STREET, P.O. BOX 230

TRENTON, NJ 08625-0230

Directions to the Division are available on the web at http://www.state.nj.us/treasury/purchase/directions.shtml.

QUOTES {PROPOSALS} NOT RECEIVED PRIOR TO THE QUOTE {PROPOSAL} OPENING DEADLINE SHALL BE REJECTED.  THE DATE AND TIME OF THE QUOTE {PROPOSAL} OPENING ARE INDICATED ON THE BID SOLICITATION {RFP} COVER SHEET AND IN THE “SUMMARY” PAGE OF THE BID SOLICITATION IN NJSTART.

Note:  A Vendor {Bidder} using U.S. Postal Service regular or express mail services should allow additional time since the U.S. Postal Service does not deliver directly to the Procurement Bureau. A Vendor {Bidder} should make every effort to submit its Quote {Proposal} well ahead of the Quote {Proposal} submission deadline to mitigate unforeseen delays or issues.  The Vendor {Bidder} is solely responsible for the timely submission of its Quote {Proposal} in response to this Bid Solicitation {RFP}.

Procedural inquiries concerning this Bid Solicitation {RFP} may be directed to RFP.procedures@treas.nj.gov.

The State will not respond to substantive questions related to the Bid Solicitation {RFP} or any other Blanket P.O. {Contract} via this e-mail address.

### NJSTART

The Division is pleased to announce its new eProcurement solution “ .”

Vendor {Bidder} Support:

Vendors {Bidders} are strongly encouraged to visit the NJSTART Vendor Support Page, which contains QRGs, supporting videos, a glossary of NJSTART terms, and helpdesk contact information.

The Vendor {Bidder} should utilize the QRGs before attempting to submit its Quote {Proposal} using the NJSTART process.   It is the Vendor’s {Bidder’s} responsibility to ensure that the NJSTART Quote {Proposal} and attachments have been properly submitted.

### ELECTRONIC SIGNATURES

Vendors {Bidders} submitting Quotes {Proposals} through NJSTART may sign the forms listed in Section 4.4.1 (Forms, Registrations and Certifications Required with Quote {Proposal}) and Section 4.4.2 (Forms, Registrations and Certifications Required Before Blanket P.O. {Contract} Award and That Should Be Submitted with the Quote {Proposal}) of this Bid Solicitation {RFP} electronically by typing the name of the authorized signatory in the “Signature” block as an alternative to downloading, physically signing the form, scanning the form, and uploading the form to NJSTART.

Vendors {Bidders} submitting Quotes {Proposals} in hard copy format, must provide forms with original, physical signatures, otherwise its Quote {Proposal} may be deemed non-responsive.

### MANDATORY SITE VISIT

A Mandatory Site Visit has been scheduled for this procurement on the date and time indicated on the Bid Solicitation {RFP} cover sheet.  The location of the Mandatory Site Visit will be as follows:

MSLA 1D Landfill From Trenton:

1.	Take Route 1 North to NJ Turnpike Exit 9.

2.	Take NJ Turnpike North to Exit 15W.

3.	After exiting the NJ Turnpike, take 2nd exit onto Route 508 East-Jersey City.

4.	After passing under two overpasses, the landfill entrance is on the right, about 200 feet before the NJ Turnpike Bridge, just past the entrance to the former landfill gas plant.  If you go under the NJ Turnpike Bridge, you have gone too far.

The State Mandatory Hazardous Waste Site Inspection Attendance/Liability Form is included as Attachment 1.  All Vendors {Bidders} must complete this form at the site and return the completed form to the NJDEP representative prior to commencement of the site visit.  Each individual attending the site inspection must fill out a separate form

The State advises prospective Vendors {Bidders} and other persons that it is without complete knowledge as to the content and nature of the hazardous substances on the site, in the soil, water, or air surrounding the site, and further that it is without complete knowledge as to the nature or the degree of the hazards which might arise.  The State further advises that the minimum level of protection recommended is indicated on the form.  Any persons on the site must at least have this minimum level of protection.  However, any person or persons who enter the site, examine the site, or conduct any activity on or in the vicinity of the site do so at their own risk.  The State assumes no liability whatsoever.  All persons entering the site must provide their own protective gear during the site inspection.

A Quote {Proposal} from any Vendor {Bidder} that was not represented or failed to register properly at the Mandatory Site Visit will be rejected.

An attendee may represent only one potential bidding entity.

NO QUESTIONS OR INQUIRIES WILL BE ACCEPTED OR ANSWERED DURING THE MANDATORY/OPTIONAL SITE VISIT.  ALL QUESTIONS ARE TO BE HELD AND SUBMITTED IN ACCORDANCE WITH BID SOLICITATION {RFP} SECTION 1.3.1.

### MANDATORY/OPTIONAL PRE-QUOTE {PROPOSAL} CONFERENCE

Not applicable to this procurement.

### PRE-QUOTE {PROPOSAL} DOCUMENT REVIEW

Additional relevant background documents will be made available that Vendors {Bidders} need to review in order to prepare and submit accurate and comprehensive Quotes {Proposals}.  A CD of these documents will be distributed at the Mandatory Site Visit.  If Vendors {Bidders} wish to obtain additional copies of the CD, record requests should include the recipient’s name, address and the solicitation number and can be submitted to http://ebid.nj.gov/QA.aspx  or with the same information via hardcopy to:

PROCUREMENT BUREAU

DIVISION OF PURCHASE AND PROPERTY

DEPARTMENT OF THE TREASURY

33 WEST STATE STREET, P.O. BOX 230

TRENTON, NJ 08625-0230

## ADDITIONAL Information

### BID AMENDMENTS {ADDENDA}: Revisions to this BID SOLICITATION {RFP}

In the event that it becomes necessary to clarify or revise this Bid Solicitation {RFP}, such clarification or revision will be by bid amendment {addendum}.  Any bid amendment {addendum} to this Bid Solicitation {RFP} will become part of this Bid Solicitation {RFP} and part of any Blanket P.O. {Contract} awarded as a result of this Bid Solicitation {RFP}.

There are no designated dates for release of bid amendments {addenda}.  Those Vendors {Bidders} who are on the bidholder list either through commodity code registration in NJSTART or by acknowledging the bid in NJSTART should receive notification of any bid amendment(s) {addenda}. If a Vendor {Bidder} is not on the bidholder list to receive notifications related to a Bid Solicitation {RFP}, bid amendments {addenda} are still viewable on the “Summary” page of the Bid Solicitation in NJSTART.

BID AMENDMENTS {ADDENDA} WILL BE ISSUED AS FILE ATTACHMENTS, AND ARE VIEWABLE ON THE “SUMMARY” PAGE OF THE BID SOLICITATION IN NJSTART.  Vendors {Bidders} may refer to the QRG “Submit a Quote” for additional instruction. QRGs are located on the NJSTART Vendor Support Page.

It is the sole responsibility of the Vendor {Bidder} to be knowledgeable of all bid amendments {addenda} related to this procurement. An interested Vendor {Bidder} should check the NJSTART “Open Bids” Tab on a daily basis to ensure review of the most updated information.

### VENDOR {BIDDER} Responsibility

The Vendor {Bidder} assumes sole responsibility for the complete effort required in submitting a Quote {Proposal} in response to this Bid Solicitation {RFP}.  No special consideration will be given after Quotes {Proposals} are opened because of a Vendor’s {Bidder’s} failure to be knowledgeable as to all of the requirements of this Bid Solicitation {RFP}.

A. The submission of a Quote {Proposal} will constitute an incontrovertible representation by the Vendor {Bidder} that it has complied with every requirement of this section and that the Quote {Proposal} documents are sufficient in scope and detail to indicate and convey understanding of all terms and conditions for performance of the scope of work.

- Vendor {Bidder} has referred to Investigations, Studies, Site Access and Site Maps for conditions at the site that otherwise may affect cost, progress or performance of the work which have been utilized by an Engineer in preparation of the drawings and specifications. Such reports are not guaranteed as to accuracy or completeness.  Before submitting its Quote {Proposal}, each Vendor {Bidder} will, at its own expense, make such investigations and tests as the Vendor {Bidder} may deem necessary to determine its performance of the work in accordance with the Blanket P.O. {Contract} Documents;

- Its Quote {Proposal} is based upon the materials, systems and equipment required by the Quote {Proposal} documents without exception;

- Submission of a Quote {Proposal} by the Vendor {Bidder} is a representation that said Quote {Proposal} documents are full and complete. The Vendor {Bidder} further acknowledges that it has investigated and satisfied itself as to the conditions affecting the work, including but not restricted to those bearing upon transportation, disposal, handling and storage of materials, availability of labor, water, electric power, roads, and uncertainties of weather, river stages, tides or similar physical conditions at the site, the conformation and conditions of the ground, the character of equipment and facilities needed preliminary to and during prosecution of the work.  The Vendor {Bidder} further acknowledges that it has satisfied itself as to the character, quality and quantity of surface and subsurface materials or obstacles to be encountered insofar as this information is reasonably ascertainable from an inspection of the site, including all exploratory work done on behalf of the NJDEP or others, as well as from information presented by the drawings and specifications made a part of this Blanket P.O. {Contract}.  Any failure by the Vendor {Bidder} to acquaint itself with the available information will not relieve him from responsibility for estimating properly the difficulty or cost of successfully performing the work.  The State assumes no responsibility for any conclusions or interpretations made by the Vendor {Contractor} on the basis of the information made available by the NJDEP;

- It has taken steps reasonably necessary to ascertain the nature and location of the work, and the general and local conditions which can affect the work or the cost thereof. Any failure by the Vendor {Contractor} to do so will not relieve it from responsibility for successfully performing the work without additional expense to the State.  The State assumes no responsibility for any understanding or representations concerning conditions made by any of its officers or agents prior to the execution of this Blanket P.O. {Contract}, unless such understanding or representations by the State are expressly stated in the Blanket P.O. {Contract};

- In connection with the foregoing, and having carefully examined all Quote {Proposal} documents, as aforesaid, and having visited the site, the Vendor {Bidder} acknowledges and declares that it has no knowledge of any discrepancies, omissions, ambiguities, or conflicts in said Quote {Proposal} Documents and that if it becomes aware of any such discrepancies, omissions, ambiguities or conflicts it shall promptly notify DPP; and

- Vendor {Bidder} recognizes the extra degree of care required due to the circumstances with respect to safety, cleanliness of the site, health and other laws, and protection of existing utilities, adjacent streets and property.  In arriving at the total Blanket P.O. {Contract} sum, Vendor {Bidder} has, as an experienced and prudent Vendor {Contractor}, exercised its best judgment and expertise, and has included the total impact of such circumstances upon its Quote {Proposal}.

### COST Liability

The State assumes no responsibility and bears no liability for costs incurred by a Vendor {Bidder} in the preparation and submittal of a Quote {Proposal} in response to this Bid Solicitation {RFP}.

### CONTENTS of QUOTE {Proposal}

Quotes {Proposals} can be released to the public pursuant to N.J.A.C. 17:12-1.2(b) and (c), or under the New Jersey Open Public Records Act (OPRA), N.J.S.A. 47:1A-1 et seq., or the common law right to know.

After the opening of sealed Quotes {Proposals}, including Quotes {Proposals} submitted through the NJSTART electronic process, all information submitted by a Vendor {Bidder} in response to a Bid Solicitation {RFP} is considered public information notwithstanding any disclaimers to the contrary submitted by a Vendor {Bidder}. Proprietary and confidential information may be exempted from public disclosure by OPRA and/or the common law. When the Bid Solicitation {RFP} contains a negotiation component, the Quote {Proposal} will not be subject to public disclosure until an intent to award a Blanket P.O. {Contract} is announced.

As part of its Quote {Proposal}, a Vendor {Bidder} may designate any data or materials it asserts are exempt from public disclosure under OPRA and/or the common law, explaining the basis for such assertion.  The location in the Quote {Proposal} of any such designation should be clearly stated in a cover letter.  The State reserves the right to make the determination as to what is proprietary or confidential, and will advise the Vendor {Bidder} accordingly.  Any proprietary and/or confidential information in a Quote {Proposal} will be redacted by the State.   The State will not honor any attempt by a Vendor {Bidder} to designate its entire Quote {Proposal} and/or prices as proprietary, confidential and/or to claim copyright protection for its entire Quote {Proposal}.  Copyright law does not prohibit access to a record which is otherwise available under OPRA.  In the event of any challenge to the Vendor’s {Bidder’s} assertion of confidentiality with which the State does not concur, the Vendor {Bidder} shall be solely responsible for defending its designation, but in doing so, all costs and expenses associated therewith shall be the responsibility of the Vendor {Bidder}. The State assumes no such responsibility or liability.

By signing the Bid Solicitation {RFP} Offer and Acceptance Page {Signatory Page}, the Vendor {Bidder} waives any claims of copyright protection set forth within the manufacturer's price list and/or catalogs.  The price lists and/or catalogs must be accessible to State Using Agencies and Cooperative Purchasing Program participants and thus have to be made public to allow all eligible purchasing entities access to the pricing information.

### ANNOUNCEMENT OF QUOTE {PROPOSAL} INFORMATION

On the date and time Quotes {Proposals} are due under the Bid Solicitation {RFP}, all information concerning the Quotes {Proposals} submitted may be publicly announced and shall be available for inspection and copying except as noted below:

- Information appropriately designated as proprietary and/or confidential shall not be available for inspection and copying; and

- Where negotiation is contemplated, only the names and addresses of the 
Vendors {Bidders} submitting Quotes {Proposals} will be announced, and the contents of the Quotes {Proposals} shall not be available for inspection and copying until the Notice of Intent to Award is issued by the Director.

### PRICE Alteration In Hard copy QUOTES {Proposals}

Hard copy Quote {Proposal} prices must be typed or written in ink.  Any price change (including "white-outs") must be initialed.  Failure to initial price changes shall preclude a Blanket P.O. {Contract} award from being made to the Vendor {Bidder}.

### QUOTE {Proposal} ERRORS

In accordance with N.J.A.C. 17:12-2.11, “Quote {Proposal} errors,” a Vendor {Bidder} may withdraw its Quote {Proposal} as described below.

#### QUOTE {PROPOSAL} WITHDRAWAL PRIOR TO QUOTE {PROPOSAL} OPENING

NJSTART: A Vendor {Bidder} may withdraw its Quote {Proposal} submission in NJSTART prior to the Quote {Proposal} opening; however, Vendors {Bidders} should note that while withdrawn NJSTART Quotes {Proposals} remain viewable by the Vendor {Bidder} on its Vendor Profile Homepage, they are removed from the Division’s view and cannot be considered for Blanket P.O. {Contract} award. The Vendor {Bidder} may submit a revised Quote {Proposal} as long as the Quote {Proposal} is received prior to the announced date and time for Quote {Proposal} submission. Vendors {Bidders} may refer to the QRG “Submit a Quote” for additional instruction. QRGs are located on the NJSTART Vendor Support Page.

Hard Copy: A Vendor {Bidder} may request that its hard copy Quote {Proposal} be withdrawn prior to the Quote {Proposal} opening.  Such request must be made, in writing, to the Supervisor of the Proposal Review Unit at the address provided in Section 1.4.7.2 below.  The Vendor {Bidder} may submit a revised Quote {Proposal} as long as the Quote {Proposal} is received prior to the announced date and time for Quote {Proposal} submission and at the place specified.

#### QUOTE {PROPOSAL} WITHDRAWAL AFTER QUOTE {PROPOSAL} OPENING, BUT PRIOR TO BLANKET P.O. {CONTRACT} AWARD

NJSTART and Hard Copy: If, after the Quote {Proposal} opening, but before Blanket P.O. {Contract} award, a Vendor {Bidder} discovers an error in its Quote {Proposal}, the Vendor {Bidder} may make a written request to the Supervisor of the Proposal Review Unit to withdraw its Quote {Proposal} from consideration for award.  If the Vendor’s {Bidder’s} request to withdraw is made in good faith, and the State will not be significantly prejudiced by granting the withdrawal of the Quote {Proposal} beyond the loss of the benefit of the bargain to the State of the withdrawing Vendor’s {Bidder’s} offer, the request shall be granted.   Evidence of the Vendor’s {Bidder’s} good faith in making this request can be demonstrated by one or more of the following factors: A mistake is so significant that to enforce the Blanket P.O. {Contract} resulting from the Quote {Proposal} would be unconscionable; that the mistake relates to a material feature or term of the Blanket P.O. {Contract}; and that the mistake occurred notwithstanding the Vendor’s {Bidder’s} exercise of reasonable care.  After Quote {Proposal} opening, while pursuant to the provisions of this section a Vendor {Bidder} may request to withdraw its Quote {Proposal} and the Director may in her discretion allow said Vendor {Bidder} to withdraw it, the Division also may take notice of repeated or unusual requests to withdraw by a Vendor {Bidder} and take those prior requests to withdraw into consideration when evaluating the Vendor’s {Bidder’s} future Quotes {Proposals}.

All Quote {Proposal} withdrawal requests must include the Bid Solicitation {RFP} identification number and the final Quote {Proposal} submission date and be sent to the following address:

Department of the Treasury

Division of Purchase and Property

PO Box 039

33 West State Street – 9th Floor

Trenton, New Jersey 08625-0039

Attention:  Supervisor, Proposal Review Unit

If during a Quote {Proposal} evaluation process, an obvious pricing error made by a potential Blanket P.O. {Contract} awardee is found, the Director or her designee shall issue written notice to the Vendor {Bidder}.  The Vendor {Bidder} will have up to five (5) business days after receipt of the notice to confirm its pricing.  If the Vendor {Bidder} fails to respond, its Quote {Proposal} shall be considered withdrawn, and no further consideration shall be given to it.

If it is discovered that there is an arithmetic disparity between the unit price and the total extended price, the unit price shall prevail.  If there is any other ambiguity in the pricing, other than a disparity between the unit price and extended price and the Vendor’s {Bidder’s} intention is not readily discernible from other parts of the Quote {Proposal}, the Director may seek clarification from the Vendor {Bidder} to ascertain the true intent of the Quote {Proposal}. If the Vendor {Bidder} inadvertently completes the “Discount” field and the “Unit Cost” field, the Discounted Unit Cost will prevail.

### JOINT Venture

If a joint venture is submitting a Quote {Proposal}, the agreement between the parties relating to such joint venture should be submitted with the joint venture’s Quote {Proposal}.  Authorized signatories from each party comprising the joint venture must sign the Offer and Acceptance Page {Signatory Page}.  Each party to the joint venture must individually comply with all the forms and certification requirements in Sections 4.4.1 and 4.4.2 of this Bid Solicitation {RFP}.

### Reciprocity for Jurisdictional Vendor {Bidder} Preference

In accordance with N.J.S.A. 52:32-1.4 and N.J.A.C. 17:12-2.13, the State of New Jersey will invoke reciprocal action against an out-of-State Vendor {Bidder} whose state or locality maintains a preference practice for its Vendors {Bidders}.  New Jersey will use the annual surveys compiled by the Council of State Governments, National Association of State Purchasing Officials, or the National Institute of Governmental Purchasing to identify States having preference laws, regulations, or practices and to invoke reciprocal actions. The State may obtain additional information as it deems appropriate to supplement the stated survey information.

A Vendor {Bidder} may submit information related to preference practices enacted for a State or Local entity outside the State of New Jersey. This information may be submitted in writing as part of the Quote {Proposal} response, including name of the locality having the preference practice, as well as identification of the county and state, and should include a copy of the appropriate documentation, i.e., resolution, regulation, law, notice to Vendor {Bidder}, etc.  It is the responsibility of the Vendor {Bidder} to provide documentation with the Quote {Proposal} or submit it to the Director within five (5) business days after the deadline for Quote {Proposal} submission.  Written evidence for a specific procurement that is not provided to the Director within five (5) business days of the public Quote {Proposal} submission date may not be considered in the evaluation of that procurement, but may be retained and considered in the evaluation of subsequent procurements.

### QUOTE {PROPOSAL} ACCEPTANCES AND REJECTIONS

N.J.A.C. 17:12-2.7(d), the Director’s right to waive minor irregularities or omissions in a Quote {Proposal} and N.J.A.C. 17:12-2.2 which defines causes for Quote {Proposal} rejection, apply to all Quotes {Proposals}.  In addition, pursuant to N.J.S.A. 52:34-12, the Director retains the right to reject all Quotes {Proposals} if it is in the public interest.

# DEFINITIONS

## CROSSWALK

| NJSTART Term | Equivalent Existing New Jersey Term |
| --- | --- |
| Bid/Bid Solicitation | RFP/Solicitation |
| Bid Amendment | Addendum |
| Change Order | Contract Amendment |
| Master Blanket Purchase Order (Blanket P.O.) | Contract |
| Offer and Acceptance Page | Signatory Page |
| Quote | Proposal |
| Vendor | Bidder/Contractor |

## General Definitions

The following definitions will be part of any Blanket P.O. {Contract} awarded or order placed as result of this Bid Solicitation {RFP}.

Definitions are listed by new NJSTART terminology; {existing terminology} appears in braces.

All-Inclusive Hourly Rate – An hourly rate comprised of all direct and indirect costs including, but not limited to:  labor costs, overhead, fee or profit, clerical support, travel expenses, per diem, safety equipment, materials, supplies, managerial support and all documents, forms, and reproductions thereof.  This rate also includes portal-to-portal expenses as well as per diem expenses such as food.

Best and Final Offer or BAFO – a pricing timely submitted by a Vendor {Bidder} upon invitation by the Division after Quote {Proposal} opening, with or without prior discussion or negotiation.

Bid or Bid Solicitation {RFP or Solicitation} – This series of documents, which establish the bidding and Blanket P.O. {Contract} requirements and solicits Quotes {Proposals} to meet the needs of the Using Agencies as identified herein, and includes the Request for Proposal, State of NJ Standard Terms and Conditions (SSTC), price schedule, attachments, and bid amendments {addenda}.

Bid Amendment {Addendum} – Written clarification or revision to this Bid Solicitation {RFP} issued by the Division of Purchase and Property. Bid Amendments {Addenda}, if any, will be issued prior to Quote {Proposal} opening.

Business Day - Any weekday, excluding Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Calendar Day – Any day, including Saturdays, Sundays, State legal holidays, and State-mandated closings unless otherwise indicated.

Change Order {Contract Amendment} – An alteration or modification of the terms of a Blanket P.O. {Contract} between the State and the Vendor(s) {Contractor(s)}.  A Change Order {Contract Amendment} is not effective until it is signed and approved in writing by the Director or Deputy Director, Division of Purchase and Property.

Cooperative Purchasing Program – The Division’s intrastate program that provides procurement-related assistance to New Jersey local governmental entities and boards of education, State and county colleges and other public entities having statutory authority to utilize select State Blanket P.O.s {Contracts} issued by the Division, pursuant to the provisions of N.J.S.A. 52:25-16.1 et seq.

Days After Receipt of Order (ARO) - means the number of calendar days ‘After Receipt of Order’ in which the Using Agency will receive the ordered materials and/or services.

Director – Director, Division of Purchase and Property, Department of the Treasury, who by statutory authority is the Chief Contracting Officer for the State of New Jersey.

Discount - Means the standard discount applied by the Vendor {Bidder} to all items.

Discounted Unit Cost – Means “Unit Cost” field multiplied by (100 percent minus the “Discount” field percentage).

Division – The Division of Purchase and Property.

Evaluation Committee – A committee established or Division staff member assigned by the Director to review and evaluate Quotes {Proposals} submitted in response to this Bid Solicitation {RFP} and recommend a Blanket P.O. {Contract} award to the Director.

Firm Fixed Price – A price that is all-inclusive of direct cost and indirect costs, including, but not limited to, direct labor costs, overhead, fee or profit, clerical support, equipment, materials, supplies, managerial (administrative) support, all documents, reports, forms, travel, reproduction and any other costs.

Freight - Means Freight on Board (FOB) Destination.

Joint Venture – A business undertaking by two or more entities to share risk and responsibility for a specific project.

Master Blanket Purchase Order (“Blanket P.O.”) {Contract} – The Blanket P.O. {Contract} consists of the State of NJ Standard Terms and Conditions (SSTC), the Bid Solicitation {RFP}, the responsive Quote {Proposal} submitted by a responsible Vendor {Bidder} as accepted by the State, the notice of award, any Best and Final Offer, any subsequent written document memorializing the agreement, any modifications to any of these documents approved by the State and any attachments, Bid Amendment {Addenda} or other supporting documents, or post-award documents including Change Orders {Contract Amendments} agreed to by the State and the Vendor {Contractor}, in writing.

May – Denotes that which is permissible or recommended, not mandatory.

No Bid – The Vendor {Bidder} is not submitting a price Quote {Proposal} for an item on a price line.

No Charge – The Vendor {Bidder} will supply an item on a price line free of charge.

Ownership Disclosure Form – refers to the Statement of Bidder/Vendor Ownership as utilized in NJSTART.

Primary Form – An electronic form contained within a Vendor’s {Bidder’s} NJSTART profile designated by the Vendor {Bidder} as the primary or principal version of the required form.

Procurement Bureau - The Division unit responsible for the preparation, advertisement, and issuance of Bid Solicitations {RFPs}, for the tabulation of Quotes {Proposals} and for recommending award(s) of Blanket P.O.(s) {Contract(s)} to the Director and the Deputy Director.

Project – The undertakings or services that are the subject of this Bid Solicitation {RFP}.

QRGs – Quick Reference Guides.

Quote {Proposal} – Vendor’s {Bidder’s} timely response to the Bid Solicitation {RFP} including, but not limited to, technical Quote {Proposal}, price Quote {Proposal}, and any licenses, forms, certifications, or other documentation required by the Bid Solicitation {RFP}.

Retainage - The amount withheld from the Vendor {Contractor} payment that is retained and subsequently released upon satisfactory completion of performance milestones by the Vendor {Contractor}.

Revision – A response to a BAFO request or a requested clarification of the Vendors {Bidders} Quote {Proposal}.

Shall or Must – Denotes that which is a mandatory requirement.  Failure to meet a mandatory material requirement will result in the rejection of a Quote {Proposal} as non-responsive.

Should – Denotes that which is permissible or recommended, not mandatory.

Small Business – Pursuant to N.J.A.C. 17:13-1.2, “small business” means a business that meets the requirements and definitions of “small business” and has applied for and been approved by the New Jersey Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit as (i) independently owned and operated, (ii) incorporated or registered in and has its principal place of business in the State of New Jersey; (iii)  has 100 or fewer full-time employees; and has gross revenues falling in one of the three following categories:  For goods and services - (A) 0 to $500,000 (Category I); (B) $500,001 to $5,000,000 (Category II); and (C) $5,000,001 to $12,000,000, or the applicable federal revenue standards established at 13 CFR 121.201, whichever is higher (Category III); For construction services: (A) 0 to $3,000,000 (Category IV); (B) gross revenues that do not exceed 50 percent of the applicable annual revenue standards established at 13 CFR 121.201 (Category V); and (C) gross revenues that do not exceed the applicable annual revenue standards established at CFR 121.201, (Category VI).

State – State of New Jersey.

State Contract Manager or SCM – The individual, as set forth in Section 8.0, responsible for the approval of all deliverables, i.e., tasks, sub-tasks or other work elements in the Scope of Work.  The SCM cannot direct or approve a Change Order {Contract Amendment}.

Subtasks – Detailed activities that comprise the actual performance of a task.

Subcontractor – An entity having an arrangement with a Vendor {Contractor}, whereby the Vendor {Contractor} uses the products and/or services of that entity to fulfill some of its obligations under its State Blanket P.O. {Contract}, while retaining full responsibility for the performance of all [the Vendor’s {Contractor's}] obligations under the Blanket P.O. {Contract}, including payment to the Subcontractor.  The Subcontractor has no legal relationship with the State, only with the Vendor {Contractor}.

Task – A discrete unit of work to be performed.

Unit Cost – All-inclusive, firm fixed price charged by the Vendor {Bidder} for a single unit identified on a price line.

Using Agency[ies] – A State department or agency, a quasi-State governmental entity, or a Cooperative Purchasing Program participant, authorized to purchase products and/or services under a Blanket P.O. {Contract}) procured by the Division.   This Blanket P.O. {Contract} may be used by the Using Agencies or quasi-governmental agencies specifically identified in the Bid Solicitation {RFP}.  In addition, with the approval of the Director of the Division of Purchase and Property and the agreement of the Vendor {Contractor}, the Blanket P.O. {Contract} may be used by any Using Agency or quasi-governmental agency.

Vendor {Bidder} – An entity offering a Quote {Proposal} in response to the Division’s Bid Solicitation {RFP}.

Vendor {Contractor} – The Vendor {Bidder} awarded a Blanket P.O. {Contract} resulting from this Bid Solicitation {RFP}.

## BLANKET P.O. {contract}-specific definitions/ACRONYMS

Application for Payment – Form submitted to the Construction Manager (CM) and to be used by the Vendor {Contractor} in requesting progress or final payment and which is to include such supporting documentation as is required by the Blanket P.O. {Contract}.  The form is a letter from the Vendor {Contractor} with backup details (bills from subcontractors/suppliers, surveyed quantities, etc.) requesting payment

BRC – Business Registration Certificate issued by the Department of the Treasury, Division of Revenue and Enterprise Services.

Blanket P.O. {Contract} Time – The number of days or the date stated in the Blanket P.O. {Contract} for the completion of the work.

Blanket P.O. {Contract} Documents - The term Blanket P.O. {Contract} Documents includes: Advertisement; Bid Solicitation {RFP}; Bid Amendment {Addendum}; Quote {Proposal}; Certification as to Publication and Notice of Advertisement of Quote {Proposal}; Performance Bond; Payment Bond; Bid Security; Executed Form of Blanket P.O. {Contract}; Specifications; Plans; permits, access agreements, design investigation reports distributed to Vendors {Bidders} at the Mandatory Site Inspection; Change Orders {Contract Amendments) and Field Orders; and any other information mailed or otherwise transmitted to prospective Vendors {Bidders} prior to receipt of bids, all of which are to be treated as one instrument whether or not set forth at length in the form of Blanket P.O. {Contract}.

Blanket P.O. {Contract} Price – The moneys payable by the State to the Vendor {Contractor}, as stated in the Blanket P.O. {Contract} resulting from this Bid Solicitation {RFP}.

Construction Manager (CM) – The NJDEP representative with on-site responsibility for operations who ensures Vendor {Contractor} compliance with provisions of the Blanket P.O.  {Contract}, prepares daily work reports, weekly work orders and work authorizations, and signs and certifies invoices

Cost Analysis – The review and evaluation of each element of Blanket P.O. {Contract} cost to determine reasonableness, allocability and allowability.

Cost of the Work – The sum of all costs necessarily incurred and paid by Vendor {Contractor} in the proper performance of the work.

Day(s) – All referrals to days means State of New Jersey official working or business days, unless otherwise noted.

Defective – An adjective which when modifying the word “work” refers to work that is unsatisfactory, faulty or deficient, or does not conform to the Blanket P.O. {Contract} Documents or does not meet the requirements of any inspection, reference standard, test or approval referred to in the Blanket P.O. {Contract} Documents, or has been damaged prior to Engineer’s recommendation for final payment (unless responsibility for the protection thereof has been assumed by the NJDEP at Substantial Completion).

Drawings – The Drawings which show the scope of the work to be performed and which have been prepared or approved by the Engineer and are referred to in the Blanket P.O. {Contract} Documents.

Emergency – Any situation or circumstance which presents a substantial risk of imminent damage to the public’s health, welfare, or the environment.

Engineer – An employee of the Vendor [Contractor} under contract with NJDEP that designed this project, or any representative thereof, who is responsible for assisting NJDEP in the management and oversight of this project.

Existing Data – All documents on file with NJDEP and USEPA Region II e.g. sampling and analysis reports, site inspection reports, preliminary site assessment reports (by private consultants), Remedial Action Master Plans, and any other file notes and memos pertaining to the subject of this Bid Solicitation {RFP} other than those documents specifically determined as confidential by the State.

Field Order – A written order issued by the Construction Manager in the field which directs the Vendor’s {Contractor’s} work performance in some manner, without negotiation.    Examples of this type of order include, but are not limited to, a work stoppage order, or orders to redirect the focus of the work.

Final Completion – The point in the work when the Engineer and Construction Manager have indicated, by approval of the Vendor’s {Contractor's} application for final payment, that all work is considered complete and all defects corrected as outlined in the final inspection report.

HASP – Site-Specific “Health and Safety Plan.”

NJDEP – New Jersey Department of Environmental Protection.

Notice – The term "notice" or the requirement to notify, means a written communication delivered in person or sent via U.S. mail or another written form of delivery mutually agreed upon by the State and the Vendor {Contractor} and addressed to the last known business address of the intended recipient.

Notice to Proceed – A written notice given by the State to the Vendor {Contractor} fixing the date on which Vendor {Contractor} is permitted to start the performance of onsite work according to the Blanket P.O. {Contract} Documents.

Occupational Safety and Health Administration (OSHA) – The United States Occupational Safety and Health Administration (OSHA), an agency of the United States Dept. of Labor.

O&M – Operations and Maintenance work.

OPRA – Open Public Records Act, N.J.S.A. 47:1A-1 et seq.

Reduction Order – Any changes or modifications that decrease quantities of Blanket P.O. {Contract} line items without modifying the unit prices of those line items. These changes or modifications do not require the Director’s signature, but shall be valid only when they have been reduced in writing and signed by the Vendor {Contractor} and the SCM.

Resident Project Representative (RPR) – The authorized representative of the Engineer; the RPR is a consultant and is assigned to the site or any part thereof.

Samples – Physical examples furnished by the Vendor {Contractor} to illustrate materials, equipment or workmanship, and to establish standards by which some portions of the work will be judged.

Shop Drawings – All drawings, diagrams, illustrations, schedules and other data which are specifically prepared by or for Vendor {Contractor} to illustrate some portion of the work and all illustrations, brochures, standard schedules, performance charts, instructions, diagrams and other information prepared by a manufacturer, fabricator, supplier or distributor and submitted by the Vendor {Contractor} to illustrate material or equipment for some portion of the work.

Site – The area where all physical Construction/Remedial /Cleanup Work takes place for the work described in this Bid Solicitation {RFP} (generally, the area described and the immediate vicinity thereof including support areas).

Site Access – Sufficient legal authority to enter a site in order to perform a project.  Unless otherwise specified, all legal site access will be secured by NJDEP and USEPA.

Specifications – Those Bid Solicitation {RFP} documents consisting of written technical descriptions of materials, equipment, construction systems, standards and workmanship as applied to the work and certain administrative details applicable thereto.

Substantial Completion – For the purposes of this Blanket P.O. {Contract}, substantial completion is defined as the point at which the Vendor’s {Contractor’s} work has been completed, the construction item can function as intended, payable items have been approved by the SCM and only minor, non-billable punchlist items remain to be completed.

Superintendent – The Vendor’s {Contractor’s} representative at the site.

USEPA – United States Environmental Protection Agency.

Value Engineering Proposal – A proposed Change Order {Amendment} submitted by the Vendor {Contractor} for changing the plans, specifications or other requirements of the Blanket P.O. {Contract} that will save money for the State, and for which the Vendor {Contractor} will receive a share of the savings in the form of a  payment.

# SCOPE OF WORK

All technical construction specifications are provided in Attachment 2. The Vendor {Contractor} shall comply with all requirements as set forth in Attachment 2 entitled:

MSLA 1-D Landfill Closure Project Technical Specifications

Prepared By:  The Louis Berger Group, Inc.

## Public Works Contractor Registration Act

This act specifies that no Vendor {Contractor} or Subcontractor shall engage in, any Blanket P.O. {Contract} (or part thereof) for public work which is subject to the provisions of N.J.S.A 34:11-56.48, et seq. for the construction, reconstruction, demolition, alteration, custom fabrication, repair work, or maintenance work done under contract and paid for in whole or in part out of the funds of a public body or if the property or premises are owned by the public body, unless the Vendors {Contractors} and named Subcontractors maintain a valid public works certificate issued by the Department of Labor and Workforce Development during the duration of the Blanket P.O. {Contract} period.  All Vendors {Contractors} and named Subcontractors must maintain a valid public works certificate issued by the Department of Labor and Workforce Development during the duration of the Blanket P.O. {Contract} period.

### Certified Payroll Records

N.J.A.C. 12:60-5.1 of the New Jersey Prevailing Wage Act and N.J.S.A. 34:11-56.25 et seq. requires that certified payroll records must be submitted to the public body, by all Vendors {Contractors} and Subcontractors, for each employee on the project within ten (10) days of the payment of wages. The public body shall receive, file and make these records available for inspection during normal business hours.

# QUOTE {PROPOSAL} PREPARATION AND SUBMISSION

## General

Quotes {Proposals} including Vendor {Bidder} proposed terms and conditions may be accepted, but Vendor {Bidder} proposed terms or conditions that conflict with those contained in the Bid Solicitation {RFP}, or that diminish the State’s rights under any Blanket P.O. {Contract} resulting from the Bid Solicitation {RFP}, will be considered null and void. The State is not responsible for identifying conflicting Vendor {Bidder} proposed terms and conditions before issuing a Blanket P.O. {Contract} award. It is incumbent upon the Vendor {Bidder} to identify and remove its conflicting proposed terms and conditions prior to Quote {Proposal} submission. In the event that a Vendor {Bidder} intends to propose terms and conditions contrary to the Bid Solicitation {RFP}, these Vendor {Bidder} proposed terms and conditions shall only be considered if submitted pursuant to the procedure set forth in Section 1.3.1.1 of this Bid Solicitation {RFP}. Vendors {Bidders} shall not submit exceptions on the “Terms and Conditions” Tab through NJSTART. Under no circumstance is the State required to accept a Vendor’s {Bidder’s} exception to the Bid Solicitation {RFP}.

In the event that prior to Notice of Intent to Award, the Division notifies the Vendor {Bidder} of any such conflicting Vendor {Bidder} proposed term or condition and the conflict it poses, the Division may require the Vendor {Bidder} to either withdraw it or withdraw its Quote {Proposal}.

After award of Blanket P.O. {Contract}:

- if conflict arises between a Vendor {Bidder} proposed term or condition included in the Quote {Proposal} and a term or condition of the Bid Solicitation {RFP}, the term or condition of the Bid Solicitation {RFP} will prevail; and

- if the result of the application of a Vendor {Bidder} proposed term or condition included in the Quote {Proposal} would diminish the State’s rights, the Vendor {Bidder} proposed term or condition will be considered null and void.

The Vendor {Bidder} is advised to thoroughly read and follow all instructions contained in this Bid Solicitation {RFP}, including the instructions on the Bid Solicitation’s {RFP’s} Offer and Acceptance Page {Signatory Page} and through all Quick Reference Guides (QRGs) located on the NJSTART Vendor Support Page, in preparing and submitting its Quote {Proposal}.

Use of URLs in a Quote {Proposal} should be kept to a minimum and may not be used to satisfy any material term of a Bid Solicitation {RFP}.  If a preprinted or other document included as part of the Quote {Proposal} contains a URL, a printed (or if a Quote {Proposal} is submitted electronically, electronic) copy of the URL page shall be provided and will be considered as part of the Quote {Proposal}.  Additional URLs on the copy of the URL page shall not be considered as part of the Quote {Proposal} unless a copy of those URL pages are also provided.

The forms discussed herein and required for submission of a Quote {Proposal} in response to this Bid Solicitation {RFP} are available on the Division’s website (http://www.state.nj.us/treasury/purchase/forms.shtml) unless noted otherwise.

## QUOTE {Proposal} Delivery and Identification

A Quote {Proposal} must arrive at the Division in accordance with this Bid Solicitation’s {RFP’s}  instructions within the time frames noted on the Bid Solicitation {RFP} cover sheet and on the “Summary” page of the Bid Solicitation in NJSTART.  Vendors {Bidders} submitting electronic Quotes {Proposals} via NJSTART are cautioned to allow adequate time to ensure timely uploads of all Quote {Proposal} documents to mitigate unforeseen delays or issues. Vendors {Bidders} submitting hard copy Quotes {Proposals} are cautioned to allow adequate delivery time to ensure timely delivery of Quotes {Proposals}.  State regulation mandates that late Quotes {Proposals}, regardless of submission method, are ineligible for consideration.  THE EXTERIOR OF ALL QUOTE {PROPOSAL} PACKAGES ARE TO BE LABELED WITH THE BID SOLICITATION {RFP} IDENTIFICATION NUMBER AND THE FINAL QUOTE {PROPOSAL} SUBMISSION DATE OR RISK NOT BEING RECEIVED IN TIME.

## njstart electronic submission VS. hard copy SUBMISSION INSTRUCTION

### NJSTART SUBMISSION OF QUOTE {PROPOSAL}

If the Vendor {Bidder} is submitting a NJSTART Quote {Proposal}, hard copy submission is not required.  Vendors {Bidders} may refer to the QRGs “Vendor Registration” and “Submit a Quote” for additional instructions detailing how to enroll in NJSTART and submit a NJSTART electronic Quote {Proposal}. QRGs are located on the NJSTART Vendor Support Page.  If the Vendor {Bidder} submits both a NJSTART and a hard copy of the Vendor’s {Bidder’s} Quote {Proposal}, the NJSTART Quote {Proposal} will prevail in the event of a discrepancy between the electronic and paper versions.

When submitting a NJSTART Quote {Proposal}, do not use any symbols (i.e., #, @, $, &, *) in the filename.  In addition, the Vendor {Bidder} should name each uploaded electronic file and folder as follows:

Vendor {Bidder} name, Volume #, Bid Solicitation {RFP} number.

If the Vendor {Bidder} submits a Quote {Proposal} electronically through NJSTART, the Vendor {Bidder} should select the “Confidential” option in NJSTART for attachments on the “Attachments” Tab to request that the documents not be displayed publicly through NJSTART.

Note: Marking an attachment as "Confidential" in NJSTART shall not constitute the Vendor's {Bidder's} designation of the attachment as exempt from public disclosure under OPRA and/or the common law as outlined in Section 1.4.4.

### HARD COPY SUBMISSION

If the Vendor {Bidder} is submitting a hard copy Quote {Proposal}, the Vendor {Bidder} must submit the following:

- One (1) complete Quote {Proposal}, comprising all volumes and including original, physical signature, clearly marked as the “ORIGINAL” Quote {Proposal}.

- Six (6) complete and exact ELECTRONIC copy(ies) of the original Quote {Proposal} in PDF file format on disc (CD or DVD) to be viewable and "read only" by State evaluators using Adobe Acrobat Reader software. THE PRICE SCHEDULE (VOLUME 3) SHALL NOT BE INCLUDED ON THIS DISC.

- One (1) complete and exact ELECTRONIC copy of the original price schedule (Volume 3) in a “read only” PDF file format on disc (CD or DVD) for redaction.

- One (1) complete and exact ELECTRONIC copy of the original Quote {Proposal} in an editable and "writable" PDF file format on disc (CD or DVD) for redaction. THE PRICE SCHEDULE (VOLUME 3) SHALL BE INCLUDED ON A SEPARATE DISC AS DESCRIBED ABOVE.

Copies are necessary in the evaluation of the Quote {Proposal} and for record retention purposes.  A Vendor {Bidder} failing to provide the requested number of copies will be charged the cost incurred by the State in producing the requested number of copies.  The Vendor {Bidder} should make and retain a copy of its Quote {Proposal}.

## QUOTE {Proposal} Content

The Quote {Proposal} should be submitted in three (3) volumes with the content of each volume as indicated below.

Volume 1

Section 1 - Forms (Sections 4.4.1 and 4.4.2)

Note: In general, Volume 1 applies to hard copy submissions; however, there may be instances where bid specific forms are required through NJSTART electronic submission as well.

Volume 2

Section 2 – Submittals (Section 4.4.3 and 4.4.4)

Volume 3

Section 4 – Price Schedule (Section 4.4.5)

Note: Vendors {Bidders} submitting Quotes {Proposals} through NJSTART must complete its Price Schedule (Volume 3) as an attachment using the State-supplied price sheet/schedule(s) accompanying this Bid Solicitation {RFP} and located on the “Attachments” Tab (See Sections 4.4.1.6 and 4.4.5 of this Bid Solicitation {RFP}). The Vendor {Bidder} must enter a Unit Cost of $1.00 for each price line item on the “Items” Tab in NJSTART. The Vendor {Bidder} is instructed to do so only as a mechanism to comply with Bid Solicitation {RFP} Section 6.8 and prevent all pricing from being publicly displayed in NJSTART. In the event that a Vendor {Bidder} using NJSTART to submit a Quote {Proposal} uploads a price sheet/schedule attachment and completes the Items Tab in NJSTART (instead of entering a Unit Cost of $1.00 as instructed), the price sheet/schedule attachment will govern.

### Forms, rEGISTRATIONS and CERTIFICATIONS required with QUOTE {Proposal}

Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation {RFP} through NJSTART. Vendors {Bidders} may also refer to the QRG “Vendor Categories and Certifications” for additional instructions on completing shortened versions of required forms by completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

In the event that a Vendor {Bidder} fails to attach a required form, or the attached form is deemed deficient, the Division may access the Primary Form to be considered as part of the Quote {Proposal}.

Vendors {Bidders} submitting forms through hard copy must complete the full version of the form and may refer to instructions included within the forms on the Division’s website.

Vendors {Bidders} are under a continuing obligation to report updates to the information contained in its required forms whether submitting through NJSTART or as a hard copy.

Unless otherwise specified, forms must contain an original, physical signature, or an electronic signature pursuant to Section 1.3.4 of this Bid Solicitation {RFP}.

#### OFFER AND ACCEPTANCE PAGE

The Vendor {Bidder} shall complete, including signature of an authorized representative of the Vendor {Bidder}, and submit the Offer and Acceptance Page {Signatory Page} accompanying this Bid Solicitation {RFP} (whether submitted through NJSTART or as a hard copy).  If the Vendor {Bidder} is a limited partnership, the Offer and Acceptance Page {Signatory Page} must be signed by a general partner.  All information requested must be submitted.  If the Vendor {Bidder} is a joint venture, the Offer and Acceptance Page {Signatory Page} must be signed by a principal of each party to the joint venture.  Failure to comply will result in rejection of the Quote {Proposal}.

##### MACBRIDE PRINCIPLES CERTIFICATION

The Vendor {Bidder} must certify pursuant to N.J.S.A. 52:34-12.2 that it is in compliance with the MacBride principles of nondiscrimination in employment as set forth in N.J.S.A. 52:18A-89.5 and in conformance with the United Kingdom’s Fair Employment (Northern Ireland) Act of 1989, and permit independent monitoring of its compliance with those principles.  See Section 2.5 of the SSTC and N.J.S.A. 52:34-12.2 for additional information about the MacBride principles.

By signing the Bid Solicitation {RFP} Offer and Acceptance Page {Signatory Page}, the Vendor {Bidder} is automatically certifying that either:

- The Vendor {Bidder} has no operations in Northern Ireland; or

- The Vendor {Bidder} has business operations in Northern Ireland and is committed to compliance with the MacBride principles.

A Vendor {Bidder} electing not to certify to the MacBride Principles must nonetheless sign the Bid Solicitation {RFP} Offer and Acceptance Page {Signatory Page} AND must include, as part of its Quote {Proposal}, a statement indicating its refusal to comply with the provisions of this Act.

##### No SUBCONTRACTOR CERTIFICATION

For a Quote {Proposal} that does NOT include the use of any Subcontractors, by signing the Bid Solicitation {RFP} Offer and Acceptance Page {Signatory Page}, the Vendor {Bidder} is automatically certifying that:

- In the event the award is granted to the Vendor’s {Bidder’s} firm and the Vendor {Bidder} later determines at any time during the term of the Blanket P.O. {Contract} to engage Subcontractors to provide certain goods and/or services, pursuant to Section 5.8 of the SSTC, the Vendor {Bidder} shall submit a Subcontractor Utilization Plan form for approval to the Division in advance of any such engagement of Subcontractors; and

- If the Blanket P.O. {Contract} is a small business subcontracting set-aside, the Vendor {Bidder} certifies that in engaging Subcontractors, it shall make a good faith effort to achieve the subcontracting set-aside goals, and shall attach to the Subcontractor Utilization Plan documentation of such efforts in accordance with N.J.A.C. 17:13-4 et seq.

##### NON-COLLUSION

By submitting a Quote {Proposal} and signing the Bid Solicitation {RFP} Offer and Acceptance Page {Signatory Page}, the Vendor {Bidder} certifies as follows:

- The price(s) and amount of its Quote {Proposal} have been arrived at independently and without consultation, communication or agreement with any other Vendor {Contractor, Bidder} or any other party;

- Neither the price(s) nor the amount of its Quote {Proposal}, and neither the approximate price(s) nor approximate amount of this Quote {Proposal}, have been disclosed to any other firm or person who is a Vendor {Bidder} or potential Vendor {Bidder}, and they will not be disclosed before the Quote {Proposal} submission;

- No attempt has been made or will be made to induce any firm or person to refrain from bidding on this Blanket P.O. {Contract}, or to submit a Quote {Proposal} higher than this Quote {Proposal}, or to submit any intentionally high or noncompetitive Quote {Proposal} or other form of complementary Quote {Proposal};

- The Quote {Proposal} of the firm is made in good faith and not pursuant to any agreement or discussion with, or inducement from, any firm or person to submit a complementary or other noncompetitive Quote {Proposal}; and

- The Vendor {Bidder}, its affiliates, subsidiaries, officers, directors, and employees are not currently under investigation by any governmental agency and have not in the last five (5) years been convicted or found liable for any act prohibited by state or federal law in any jurisdiction, involving conspiracy or collusion with respect to bidding on any public contract.

##### NEW JERSEY BUSINESS ETHICS GUIDE CERTIFICATION

The Treasurer has established a business ethics guide to be followed by Vendors {Bidders/Contractors} in its dealings with the State.  The guide provides further information about compliance with Section 2.7 of the SSTC.  The guide can be found at:

http://www.state.nj.us/treasury/purchase/ethics_guide.shtml

By signing the Bid Solicitation {RFP} Offer and Acceptance Page {Signatory Page}, the Vendor {Bidder} is automatically certifying that it has complied with all applicable laws and regulations governing the provision of State goods and services, including the Conflicts of Interest Law, N.J.S.A. 52:13D-12 to -28.

#### nj standard BID SOLICITATION {rfp} forms REQUIRED WITH THE QUOTE {PROPOSAL}

Vendor’s {Bidder’s} failure to complete, sign and submit the forms in Section 4.4.1.2 shall be cause to reject its Quote {Proposal} as non-responsive.

##### Ownership Disclosure Form

Pursuant to N.J.S.A. 52:25-24.2, in the event the Vendor {Bidder} is a corporation, partnership or sole proprietorship, the Vendor {Bidder} must complete an Ownership Disclosure Form.

A current completed Ownership Disclosure Form must be received prior to or accompany the submitted Quote {Proposal}.  A Vendor’s {Bidder’s} failure to submit the completed and signed form with its Quote {Proposal} will result in the rejection of the Quote {Proposal} as non-responsive and preclude the award of a Blanket P.O. {Contract} to said Vendor {Bidder} unless the Division has on file a signed and accurate Ownership Disclosure Form dated and received no more than six (6) months prior to the Quote {Proposal} submission deadline for this procurement.  If any ownership change has occurred within the last six (6) months, a new Ownership Disclosure Form must be completed, signed and submitted with the Quote {Proposal}.

Vendors {Bidders} using NJSTART to submit a Quote {Proposal} shall make the appropriate certification on the “Maintain Terms and Categories” Tab within its profile by checking the applicable box and, if required, completing and attaching the shortened Ownership Disclosure Form. Vendors {Bidders} not using NJSTART to submit a Quote {Proposal} must complete the full Ownership Disclosure Form located on the Division’s website. This form is also available in NJSTART (www.njstart.gov).

Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation {RFP} through NJSTART. Vendors {Bidders} may also refer to the QRG “Vendor Categories and Certifications” for additional instructions on completing shortened versions of required forms by completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

Vendors {Bidders} utilizing NJSTART should designate the most current version of the Ownership Disclosure Form as the Primary Form.  In the event that a Vendor {Bidder} fails to attach an Ownership Disclosure Form, or the attached Ownership Disclosure Form is deemed deficient, the Division may access the Primary Form to be considered as part of the Quote {Proposal}.  Note: The Primary Form must have a Date Created within six (6) months of the Quote {Proposal} submission deadline to be considered valid.

##### DISCLOSURE OF INVESTMENT ACTIVITIES IN IRAN form

Pursuant to N.J.S.A. 52:32-58, the Vendor {Bidder} must utilize this Disclosure of Investment Activities in Iran form to certify that neither the Vendor {Bidder}, nor one of its parents, subsidiaries, and/or affiliates (as defined in N.J.S.A. 52:32-56(e)(3)), is listed on the Department of the Treasury’s List of Persons or Entities Engaging in Prohibited Investment Activities in Iran and that neither the Vendor {Bidder}, nor one of its parents, subsidiaries, and/or affiliates, is involved in any of the investment activities set forth in N.J.S.A. 52:32-56(f).  If the Vendor {Bidder} is unable to so certify, the Vendor {Bidder} shall provide a detailed and precise description of such activities as directed on the form. A Vendor’s {Bidder’s} failure to submit the completed and signed form with its Quote {Proposal} will result in the rejection of the Quote {Proposal} as non-responsive and preclude the award of a Blanket P.O. {Contract} to said Vendor {Bidder}.

Vendors {Bidders} using NJSTART to submit a Quote {Proposal} shall make the appropriate certification on the “Maintain Terms and Categories” Tab within its profile by checking the applicable box and, if required, completing and attaching the shortened Disclosure of Investment Activities in Iran form. Vendors {Bidders} not using NJSTART to submit a Quote {Proposal} must complete the full Disclosure of Investment Activities in Iran form located on the Division’s website. The full version of the form is also available in NJSTART (www.njstart.gov).

Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation {RFP} through NJSTART. Vendors {Bidders} may also refer to the QRG “Vendor Categories and Certifications” for additional instructions on completing shortened versions of required forms by completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

Vendors {Bidders} utilizing NJSTART should designate the most current version of the Disclosure of Investment Activities in Iran form as the Primary Form.  In the event that a Vendor {Bidder} fails to attach a Disclosure of Investment Activities in Iran form, or the attached Disclosure of Investment Activities in Iran form is deemed deficient, the Division may access the Primary Form, as designed in the Vendor {Bidder} profile, to be considered as part of the Quote {Proposal}.

#### subcontractor utilization plan

Please note that the State of New Jersey will not be utilizing the “Subcontractor” Tab in NJSTART. Vendors {Bidders} intending to use a Subcontractor shall submit a Subcontractor Utilization Plan form.

The Subcontractor Utilization Plan form is located on the Division’s website. The form is also available in NJSTART. Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation {RFP} through NJSTART. QRGs are located on the NJSTART Vendor Support Page.

#### SMALL BUSINESS REGISTRATION FOR SET-ASIDE BLANKET P.O. {CONTRACTS}

Not applicable to this procurement.

##### SMALL BUSINESS SET-ASIDE BLANKET P.O. {CONTRACTS}

Not applicable to this procurement.

##### SMALL BUSINESS SUBCONTRACTING SET-ASIDE BLANKET P.O. {CONTRACTS}

NOTE: THE VENDOR {BIDDER} IS NOT TO USE THE “SUBCONTRACTOR” TAB IN NJSTART.

This is a Blanket P.O. {Contract} with set-aside subcontracting goals for New Jersey Small Business Enterprises.

If the Vendor {Bidder} intends to subcontract, it must submit a Subcontractor Utilization Plan and should take the following actions to achieve the set-aside subcontracting goal requirements:

- Attempt to locate eligible small businesses in Categories I, II, and III, IV, V, VI appropriate to the Bid Solicitation {RFP};

- Request a listing of small businesses by Category from the New Jersey Division of Revenue and Enterprise Services, Small Business  Registration and M/WBE Certification Services Unit;

- Record efforts to locate eligible businesses, including the names of businesses contacted and the means and results of such contacts;

- Provide all potential Subcontractors with detailed information regarding the specifications;

- Attempt, whenever possible, to negotiate prices with potential Subcontractors submitting higher than acceptable price Quotes;

- Obtain, in writing, the consent of any proposed Subcontractor to use its name in response to the Bid Solicitation {RFP}; and

- Maintain adequate records documenting efforts to achieve the set-aside subcontracting goals.

Quotes {Proposals} should also contain a copy of the Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit’s proof of registration as a small business for any business proposed as a Subcontractor; and documentation of the Vendor’s {Bidder’s} good faith effort to meet the targets of the set-aside subcontracting requirement in sufficient detail to permit the Proposal Review Unit of the Division to effectively assess the Vendor’s {Bidder’s} efforts to comply if the Vendor {Bidder} has failed to attain the statutory goals.

If the Vendor {Bidder} chooses to use Subcontractors and fails to meet the small business subcontracting targets set forth above, the Vendor {Bidder} must submit documentation demonstrating its good faith effort to meet the targets with its Quote {Proposal} or within seven (7) business days upon request.

NOTE: A VENDOR’S {BIDDER’S} FAILURE TO SATISFY THE SMALL BUSINESS SUBCONTRACTING TARGETS OR TO PROVIDE SUFFICIENT DOCUMENTATION OF ITS GOOD FAITH EFFORTS TO MEET THE TARGETS WITH THE QUOTE {PROPOSAL} OR WITHIN SEVEN (7) BUSINESS DAYS UPON REQUEST SHALL PRECLUDE AWARD OF A BLANKET P.O. {CONTRACT} TO THE VENDOR {BIDDER}.

If awarded the Blanket P.O. {Contract}, the Vendor {Bidder} shall notify each Subcontractor listed in the Plan, in writing.

Each Vendor {Bidder} awarded a Blanket P.O. {Contract} for a procurement which contains the set-aside subcontracting goal requirement shall fully cooperate in any studies or surveys which may be conducted by the State to determine the extent of the Vendor’s {Bidder’s} compliance with N.J.A.C. 17:13-1.1 et seq., and this Bid Solicitation {RFP}.

#### BID SECURITY

The amount of bid security is $1,750,000.00 and should be entered on the Offer and Acceptance Page {Signatory Page}.  See N.J.A.C. 17:12.2.4. Such security must be submitted with the Vendor’s {Bidder’s} Quote {Proposal}.  In the event the Vendor {Bidder} has an annual bid bond on file with the Division, the Vendor {Bidder} should so note in the amount box on the Offer and Acceptance Page {Signatory Page} accompanying this Bid Solicitation {RFP}. If submitting a NJSTART electronic Quote {Proposal}, the bid security must be received by the Procurement Bureau of the Division of Purchase and Property at the date and time as indicated on the Bid Solicitation {RFP} cover sheet.

Note: Attachment 5 – Bid Bond Format, stating the type of Bid Security being submitted to meet the requirements of this RFP, must be submitted with the proposal.

THE LOCATION IS AS FOLLOWS:

PROPOSAL RECEIVING ROOM – 9TH FLOOR

PROCUREMENT BUREAU

DIVISION OF PURCHASE AND PROPERTY

DEPARTMENT OF THE TREASURY

33 WEST STATE STREET, P.O. BOX 230

TRENTON, NJ 08625-0230

Failure to submit the bid security with its Quote {Proposal} shall be cause for rejection of the Quote {Proposal}.

Acceptable forms of bid security are as follows:

- A properly executed individual or annual bid bond issued by an insurance or security company authorized to do business in the State of New Jersey;

- a certified or cashier's check drawn to the order of the Treasurer, State of New Jersey; or

- an irrevocable letter of credit drawn naming the Treasurer, State of New Jersey as beneficiary issued by a federally insured financial institution.

The State will hold all bid security during the evaluation process. As soon as is practicable after the completion of the evaluation, the State will:

- Issue an award notice for those offers accepted by the State; and

- Return all bond securities to those who have not been issued an award notice.

Bid security from a Vendor {Bidder/Contractor} issued an award notice shall be held until the successful execution of all required contractual documents and bonds (performance bond, insurance, etc.).  If the Vendor {Contractor} fails to execute the required contractual documents and bonds within thirty (30) calendar days after receipt of award notice, the Vendor {Contractor} may be found in default and the Blanket P.O. {Contract} terminated by the State. In case of default, the State reserves all rights inclusive of, but not limited to, the right to purchase material and/or to complete the required work in accordance with the New Jersey Administrative Code and to recover any actual excess costs from the Vendor {Contractor}. Collection against the bid security shall be one of the measures available toward the recovery of any excess costs.

#### Pricing

The Vendor {Bidder} must submit its pricing using the State-supplied price sheet/schedule(s) accompanying this Bid Solicitation {RFP} and located on the “Attachments” Tab and supply any additional pricing information as directed in Bid Solicitation {RFP} Section 4.4.5.

Vendors {Bidders} may refer to the QRG “Submit a Quote” for instructions detailing how to submit a NJSTART electronic Quote {Proposal}. QRGs are located on the NJSTART Vendor Support Page.

#### Public Works VENDOR { Contractor} Registration

At the time of the Quote {Proposal} due date, the Vendor {Bidder} and its named Subcontractors must be registered in accordance with the “The Public Works Contractor Registration Act (PWCRA) N.J.S.A. 34:11-56.48 et seq.) This registration is required for the various trade categories required to perform work as listed herein.

For information about registering with the Department of Labor and Workforce Development in order to bid on or engage in the performance of any public works projects, please contact:

Contractor Registration

New Jersey Department of Labor and Workforce Development

Division of Wage and Hour Compliance

PO Box 389 Trenton, NJ 08625-0389

Tel. 609-292-9464

Fax: 609-633-8591

http://lwd.dol.state.nj.us/labor/wagehour/wagehour_index.html

NOTE: All Vendors {Bidders}, their named Dealers and Subcontractors should provide proof of registration with Public Works ON THE DATE OF PROPOSAL OPENING.

### Forms, REGISTRATIONS AND CERTIFICATIONS REQUIRED before BLANKET P.O. {contract} award and THAT SHOULD BE SUBMITTED with the QUOTE {Proposal}

Unless otherwise specified, forms must contain an original, physical signature, or an electronic signature pursuant to Section 1.3.4 of this Bid Solicitation {RFP}.

#### BUSINESS REGISTRATION

In accordance with N.J.S.A. 52:32-44(b), a Vendor {Bidder} and its named Subcontractors must have a valid Business Registration Certificate (“BRC”) issued by the Department of the Treasury, Division of Revenue and Enterprise Services prior to the award of a Blanket P.O. {Contract}.  To facilitate the Quote {Proposal} evaluation and Blanket P.O. {Contract} award process, the Vendor {Bidder} should submit a copy of its valid BRC and those of any named Subcontractors with its Quote {Proposal}.  See Section 2.1 of the SSTC.

Any Vendor {Bidder}, inclusive of any named Subcontractors, not having a valid business registration at the time of the Quote {Proposal} opening, or whose BRC was revoked prior to the submission of the Quote {Proposal}, should proceed immediately to register its business or seek reinstatement of a revoked BRC.  Vendors {Bidders} should verify its BRC status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} BRC, NJSTART provides a link to take corrective action.

The Vendor {Bidder} is cautioned that it may require a significant amount of time to secure the reinstatement of a revoked BRC. The process can require actions by both the Division of Revenue and Enterprise Services and the Division of Taxation.  For this reason, a Vendor’s {Bidder’s} early attention to this requirement is highly recommended.  The Vendor {Bidder} and its named Subcontractors may register with the Division of Revenue and Enterprise Services, obtain a copy of an existing BRC or obtain information necessary to seek re-instatement of a revoked BRC online at http://www.state.nj.us/treasury/revenue/busregcert.shtml.

A Vendor {Bidder} otherwise identified by the Division as a responsive and responsible Vendor {Bidder}, inclusive of any named Subcontractors, but that was not business registered at the time of submission of its Quote {Proposal} must be so registered and in possession of a valid BRC by a deadline to be specified in writing by the Division.  A Vendor {Bidder} failing to comply with this requirement by the deadline specified by the Division will be deemed ineligible for Blanket P.O. {Contract} award.  Under any circumstance, the Division will rely upon information available from computerized systems maintained by the State as a basis to verify independently compliance with the requirement for business registration.

A Vendor {Bidder} receiving a Blanket P.O. {Contract} award as a result of this procurement and any Subcontractors named by that Vendor {Bidder} will be required to maintain a valid business registration with the Division of Revenue and Enterprise Services for the duration of the executed Blanket P.O. {Contract}, inclusive of any Blanket P.O. {Contract} extensions.

#### Disclosure of Investigations AND OTHER Actions Involving Bidder form

The Vendor {Bidder} should  submit the Disclosure of Investigations and Other Actions Involving Bidder Form,  with its Quote {Proposal}, to provide a detailed description of any investigation, litigation, including administrative complaints or other administrative proceedings, involving any public sector clients during the past five (5) years, including the nature and status of the investigation, and, for any litigation, the caption of the action, a brief description of the action, the date of inception, current status, and, if applicable, disposition.  If a Vendor {Bidder} does not submit the form with the Quote {Proposal}, the Vendor {Bidder} must comply within seven (7) business days of the State’s request or the State may deem the Quote {Proposal} non-responsive.

Vendors {Bidders} using NJSTART to submit a Quote {Proposal} shall make the appropriate certification on the “Maintain Terms and Categories” Tab within its profile by checking the applicable box and, if required, complete and attach the shortened NJSTART form. Vendors {Bidders} not using NJSTART to submit a Quote {Proposal} must complete the full version of the form located on the Division’s website. This form is also available in NJSTART.

Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation {RFP} through NJSTART. Vendors {Bidders} may also refer to the QRG “Vendor Categories and Certifications” for additional instructions on completing shortened versions of required forms by completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

#### Source Disclosure

Pursuant to N.J.S.A. 52:34-13.2, prior to an award of Blanket P.O. {Contract}, the Vendor {Bidder} is required to submit a completed Source Disclosure Form.  The Vendor’s {Bidder’s} inclusion of the completed Source Disclosure Form with the Quote {Proposal} is requested and advised.   See Bid Solicitation {RFP} Section 7.1.2 for additional information concerning this requirement.

The Source Disclosure Form is located on the Division’s website. The form is also available in NJSTART. Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation {RFP} through NJSTART. QRGs are located on the NJSTART Vendor Support Page.

### submittals

A. Attachment 6 – Vendor {Bidder} Qualification and Information Sheet

The Vendor {Bidder} must complete and submit all information as requested in Attachment 6. Failure to submit all information shall deem the Quote {Proposal} non-responsive.

B. Location

The Vendor {Bidder} should include the address of the Vendor’s {Bidder's} office where responsibility for managing the Blanket P.O. [Contract} will take place.  The Vendor {Bidder} should include the telephone number and name of the individual to contact.

### Financial Capability of the Vendor {Bidder}

In order to provide the State with the ability to judge the Vendor’s {Bidder’s} financial capacity and capabilities to undertake and successfully complete the Blanket P.O. {Contract}, the Vendor {Bidder} should submit opined certified financial statements in accordance with applicable standards by a Certified Public Accountant which include a balance sheet, income statement, and statement of cash flow, and all applicable notes for the most recent calendar year or the Vendor’s {Bidder’s} most recent fiscal year.  If certified financial statements are not available, the Vendor {Bidder} should provide either a reviewed or compiled statement from an independent accountant setting forth the same information required for the certified financial statements, together with a certification from the Chief Executive Officer and the Chief Financial Officer, that the financial statements and other information included in the statements fairly present in all material respects the financial condition, results of operations, and cash flows of the Vendor {Bidder} as of, and for, the periods presented in the statements.  In addition, the Vendor {Bidder} should submit a bank reference.

If the information is not supplied with the Quote {Proposal}, the State may still require the Vendor {Bidder} to submit it.  If the Vendor {Bidder} fails to comply with the request within seven (7) business days, the State may deem the Quote {Proposal} non-responsive.

A Vendor {Bidder} may designate specific financial information as not subject to disclosure when the Vendor {Bidder} has a good faith legal/factual basis for such assertion.  A Vendor {Bidder} may submit specific financial documents in a separate, sealed package clearly marked “Confidential-Financial Information” along with the Quote {Proposal}.

The State reserves the right to make the determination to accept the assertion and shall so advise the Vendor {Bidder}.

### PRICE schedule/SHEET

The Vendor {Bidder} must submit its pricing using the State-supplied price sheet/schedule(s) accompanying this Bid Solicitation {RFP} and located on the “Attachments” Tab.

Vendors {Bidders} may refer to the QRG “Submit a Quote” for instructions detailing how to submit a NJSTART electronic Quote {Proposal}. QRGs are located on the NJSTART Vendor Support Page.

#### NJSTART pricing submission instructions

If the Vendor {Bidder} is submitting a NJSTART Quote {Proposal}, the Vendor {Bidder} must enter a Unit Cost of $1.00 for each price line item on the “Items” Tab in NJSTART. The Vendor {Bidder} is instructed to do so only as a mechanism to comply with Bid Solicitation {RFP} Section 6.8 and prevent all pricing from being publicly displayed in NJSTART.

#### price sheet/schedule attachment instructions

Failure to submit all information required will result in the Quote {Proposal} being considered non-responsive.  The Vendor {Bidder} must provide a price for each price line.  In the event that a Vendor/Bidder does not intend to charge for a price line, the Vendor/Bidder must indicate so by filling the cell with a zero “O”.

The Vendor {Bidder} shall prepare its Quote {Proposal} so that it accurately reflects the costs and profits for each task required hereunder.  The State will not entertain any claim for additional compensation arising from the fact that a lump sum bid item or a unit price does not accurately reflect actual costs.  The Vendor {Bidder} expressly waives the right to pursue any such claim.

In the event that a Vendor {Bidder} using NJSTART to submit a Quote {Proposal} uploads a price sheet/schedule attachment and completes the “Items” Tab in NJSTART (instead of entering a Unit Cost of $1.00 as instructed), the price sheet/schedule attachment will govern.

#### Use of “no bid” versus “no charge” on the price sheet/schedule

If the Vendor {Bidder} is not submitting a price Quote for an item on a price line, the Vendor {Bidder} must indicate “No Bid” on the State-supplied price sheet/schedule(s) attachment accompanying this Bid Solicitation {RFP}. If the Vendor {Bidder} will supply an item on a price line free of charge, the Vendor {Bidder} must indicate “No Charge” on the State-supplied price sheet/schedule(s) attachment accompanying this Bid Solicitation {RFP}.  The use of any other identifier may result in the Vendor’s {Bidder’s} Quote {Proposal} being deemed non-responsive.

#### DELIVERY TIME AND COSTS

Unless otherwise noted elsewhere in the Bid Solicitation {RFP}, all delivery times are 30 calendar days after receipt of order (ARO) and prices for items in Quote {Proposals} shall be submitted Freight On Board (F.O.B.) Destination (30 calendar days ARO/F.O.B.).  Quotes {Proposals} submitted other than 30 calendar days ARO/F.O.B. may be deemed non-responsive.  The Vendor {Contractor} shall assume all costs, liability and responsibility for the delivery of merchandise in good condition to the State's Using Agency or designated purchaser.  30 calendar days ARO/F.O.B. does not cover "spotting" but does include delivery on the receiving platform of the ordering agency at any destination in the State of New Jersey unless otherwise specified.

No additional charges will be allowed for any additional transportation costs resulting from partial shipments made at the Vendor’s {Contractor’s} convenience when a single shipment is ordered.

The weights and measures of the State's Using Agency receiving the shipment shall govern.

#### COLLECT ON DELIVERY (C.O.D.) TERMS

C.O.D. terms are not acceptable as part of a Quote {Proposal} and shall be deemed non-responsive.

#### CASH DISCOUNTS

The Vendor {Bidder} is encouraged to offer cash discounts based on expedited payment by the State.  The State will make efforts to take advantage of discounts, but discounts will not be considered in determining the price rankings of Quotes {Proposals}.

- Discount periods shall be calculated starting from the next business day after the Using Agency has accepted the goods or services, received a properly signed and executed invoice and, when required, a properly executed performance security, whichever is latest.

- The date on the check issued by the State in payment of that invoice shall be deemed the date of the State's response to that invoice.

### COOPERATIVE PURCHASING PROGRAM

Not applicable to this procurement.

# SPECIAL CONTRACTUAL TERMS AND CONDITIONS APPLICABLE TO THE BLANKET P.O.

## PRECEDENCE OF SPECIAL CONTRACTUAL TERMS AND CONDITIONS

This Blanket P.O. {Contract} awarded, and the entire agreement between the parties, as a result of this Bid Solicitation {RFP} shall consist of this Bid Solicitation {RFP}, including the State of NJ Standard Terms and Conditions (SSTC), Bid Amendment {Addenda} to this Bid Solicitation {RFP}, the Vendor’s {Contractor’s} Quote {Proposal}, any Best and Final Offer, and the Division's Notice of Award.

In the event of a conflict in the terms and conditions among the documents comprising this Blanket P.O. {Contract}, the order of precedence, for purposes of interpretation thereof, listed from highest ranking to lowest ranking, shall be:

- Executed Offer and Acceptance Page {Signatory Page};

- Bid Solicitation {RFP} Section 5, as may be amended by Bid Amendment {Addenda};

- The State of NJ Standard Terms and Conditions (SSTC) accompanying this Bid Solicitation {RFP};

- All remaining sections of the Bid Solicitation {RFP}, as may be amended by Bid Amendment {Addenda};

- The Vendor’s {Contractor’s} final submitted Best and Final Offer; and

- The Vendor’s {Contractor’s} Quote {Proposal} as accepted by the State.

Note: In the event of conflicting information between the Bid Solicitation {RFP} and fields contained in NJSTART, the Bid Solicitation {RFP} will govern and NJSTART will be updated via Bid Amendment {Addenda} or Change Order {Contract Amendment}.

## BLANKET P.O. {Contract} Term

The term of this Blanket P.O. {Contract} shall be for a period of 1,525 calendar days from the Blanket P.O. {Contract} effective date. The 1,525 calendar day period shall include a period of 795 calendar days for construction, followed by a twenty-four (24) month Operations and Maintenance (O&M) period. The anticipated "Blanket P.O. {Contract} Effective Date" is provided on the “Summary” page the Bid Solicitation in NJSTART.  If delays in the procurement process result in a change to the anticipated Contract Effective Date, the Vendor {Bidder} agrees to accept a Blanket P.O. {Contract} for the full term of this Blanket P.O. {Contract}.

Construction work shall be substantially completed within the 795 calendar day period; unless a work stoppage order or suspension requires a later completion date.  All construction work shall be finally completed within 840 calendar days from the Blanket P.O. {Contract} Effective Date.

The Vendor {Contractor} shall be subject to the liquidated damages provision of the Blanket P.O. {Contract} for failure to substantially complete the Blanket P.O. {Contract}, with the exception of O&M, within the above scheduled period from the Blanket P.O. {Contract} award date.  The Vendor {Contractor} shall also be subject to liquidated damages for failure to finally complete all Blanket P.O. {Contract} work, with the exception of O&M period from the Blanket P.O. {Contract} award date.

If the Vendor {Contractor} is delayed by circumstances beyond its control, the Vendor {Contractor} shall notify the SCM within seven (7) days of the circumstance causing the delays.

### Commencement of blanket p.o. {Contract Time}; Notice to Proceed

- The Blanket P.O. {Contract} time will commence on the Blanket P.O. {Contract} award date. However, the Vendor {Contractor} may not proceed with work at the project site until it has obtained a Notice to Proceed letter from the State Contract Manager (SCM).  The Notice to Proceed letter will be issued after submission and approval or acceptance of the submittals required in the technical specifications, Table 1.3-1.  All such documents shall be submitted in approvable form within thirty (30) days of the Blanket P.O. {Contract} award date; and

- The State will consider a delay in commencement of on-site work and an equal extension of Blanket P.O. {Contract} time, if weather conditions so warrant.  The Vendor {Contractor} shall make written requests for the delay to the SCM and agree that it would not be entitled to any damages if the delay were granted by the State.

### Starting the Project

The Vendor {Contractor} shall start to perform the work on the Blanket P.O. {Contract} award date, unless otherwise specified therein, but no work shall be done at the site prior to the date for on-site work indicated in the Notice to Proceed letter.

## BLANKET P.O. {Contract} Transition

In the event that a new Blanket P.O. {Contract} for O&M has not been awarded prior to this Blanket P.O. {Contract} expiration date, and the State exercises this Blanket P.O. {Contract} transition, the Vendor {Contractor} shall continue this Blanket P.O. {Contract} under the same terms and conditions until a new Blanket P.O. {Contract} can be completely operational.  At no time shall this transition period extend more than 180 days beyond the expiration date of this Blanket P.O. {Contract}, including any extensions exercised.

## CHANGE ORDER {Contract AMENDMENT}

Any changes or modifications to the terms of this Blanket P.O. {Contract} shall be valid only when they have been reduced to writing and signed by the Vendor {Contractor} and the Director.

### REDUCTION orders

Any modifications to the terms of the Blanket P.O. {Contract} shall be valid only when they have been reduced to writing and signed by the Vendor {Contractor} and the Director,  except that any changes or modifications that  decrease quantities of Blanket P.O. {Contract} line items without modifying the unit prices of those line items  shall not require the Director’s signature, but shall be valid only when they have been reduced in writing and signed by the Vendor {Contractor} and the SCM.

All  requests that result in any changes or modifications to the scope of work as defined in this Bid Solicitation {RFP} must be approved by the Director and will be posted as an Change Order {Contract Amendment} to the Blanket P.O. {Contract} upon final approval.

The Vendor {Contractor} shall maintain books, records documents and other evidence directly pertinent to performance on work under this Blanket P.O. {Contract} in accordance with generally accepted accounting principles and practices consistently applied, and 40 CFR Part 35.6700 in effect on the date of execution of this Blanket P.O. {Contract}.  The Vendor {Contractor} shall also maintain the financial information and data used in the preparation or support of the cost submission (EPA Cost or Price Summary) required under 40 CFR 35.6585 for any negotiated Blanket P.O. {Contract} or Change Order {Contract Amendment} and a copy of the costs summary submitted to the State.

Regarding Change Orders {Contract Amendments}:

A.  The SCM may at any time, without notice to any surety, issue an approved Change Order {Contract Amendment}, which changes the work within the general scope of this Blanket P.O. {Contract}, including but not limited to changes in:

1.  The specifications (including drawings and designs);

2.  The Blanket P.O. {Contract} schedule, means of conducting the work, or scope of work; and

3.  The facilities, equipment, materials, or services which will be furnished by the State.

B.  The SCM may recognize as a potential Change Order {Contract Amendment} any written order (including direction, instruction, interpretation or determination) which has been authorized by the SCM or CM, and which the Vendor {Contractor} determines has caused a change in the work. For such an order to be considered as a Change Order {Contract Amendment}, the Vendor {Contractor} must give the SCM written notice within five (5) days of the NJDEP’s written order stating the date, circumstances and source of the NJDEP’s order, why the Vendor {Contractor} regards the order as a change in the work, and an initial estimate of the Change Order {Contract Amendment}.  The Vendor {Contractor} must submit a final request for additional compensation or time with supporting data within forty-five (45) days date of the SCM’s written order.  Ultimate approval authority of a Change Order {Contract Amendment} lies with the Director;

C. The Director  may also  approve a Change Order {Contract Amendment} where the Vendor {Contractor} experiences a delay approved or caused solely by the State or encounters differing site conditions as discussed below or where the SCM has directed the Vendor {Contractor} to perform emergency services which could not await the execution of a written authorization from the Director;

D. Except for emergency services specifically authorized as such by the SCM pursuant to Paragraph C above, no services beyond the Blanket P.O.’s {Contract}'s requirements for which the Vendor {Contractor} expects additional compensation should be furnished without the written authorization of the Director;

E.  The Vendor {Contractor} may file a claim for additional compensation as a result of a changed condition.  The Director will make an equitable adjustment for any increase in the cost of performance of this Blanket P.O. {Contract} necessarily caused by a Change Order [Contract Amendment} or a changed condition.  No adjustment shall be made under this clause for any change to the extent:

1.  It is caused by the fault or negligence of the Vendor {Contractor}; or

2.  The performance would have been so changed, by any other cause, including the fault or negligence of the Vendor {Contractor}, or

3. An equitable adjustment is provided for or excluded under any other provision of the Blanket P.O. {Contract}; or

4. The change was such as could have been expected by the Vendor {Contractor} as part of a project of this sort and therefore should have been anticipated in its Quote {Proposal}.

No compensation under this clause shall be allowed:

1.  Unless the Vendor {Contractor} notifies the State forthwith of any act or omission by the State which will cause an increase in costs in the Vendor’s {Contractor}’s work.  If possible, notice should be given before the affected work is begun.  In any case, notice must be submitted to the Construction Manager (CM) no later than five (5) days from the date of the alleged changed condition or delay;

2. Unless the Vendor {Contractor} justifies the claim by submitting an analysis and documentation of claim within 45 days of the changed condition which gave rise to the claim.  This forty-five (45) day time period may be exceeded if the Vendor {Contractor} requests and the State allows an additional period of time to ascertain more accurate data; and

3.  Other than for causes specified herein, the Vendor {Contractor} shall not be eligible for any damages or compensation for claims under this Blanket P.O. {Contract}.

F.  If any  changed condition under this Section causes an increase or decrease in the Vendor’s {Contractor}’s cost or the time required to perform any part of the work under this Blanket P.O. {Contract}, the State shall make an equitable adjustment of the price and/or schedule for the Blanket P.O. {Contract} through a Change Order {Contract Amendment};

G.  Except as provided in this Section, no order, statement or conduct of the State shall be treated as a Change Order or entitle the Vendor {Contractor} to an equitable adjustment.  Vendor {Contractor} expressly waives the right to any claim which is not submitted in compliance with this Section;

H.  No request by the Vendor {Contractor} for any equitable adjustment shall be allowed if made after final payment for work under this Blanket P.O. {Contract}; and

I.  No compensation will be paid to the Vendor {Contractor} for Change Order {Contract Amendment} work until the NJDEP’s  Blanket P.O. {Contract} Modification and Proposal Form (DMW-042) has been properly completed by the SCM and then signed by the Vendor {Contractor}.

## Vendor {CONTRACTOR} RESPONSIBILITIES

### SUPERVISION AND SUPERINTENDENT

- The Vendor {Contractor} shall supervise and direct the work competently and efficiently, devoting such attention thereto and applying such skills and expertise as may be necessary to perform the work in accordance with the Blanket P.O. [Contract} Documents;

The Vendor {Contractor} shall be solely responsible for the means, methods, techniques, sequences and procedures of construction.  The Vendor {Contractor} shall be responsible to see that the finished work complies accurately with the Blanket P.O. {Contract} Documents;

B. The Vendor {Contractor} shall keep on the site at all times during working hours a competent  Superintendent, who shall not be replaced without written notice to the SCM and Engineer except under extraordinary circumstances.  The Superintendent will be the Vendor’s {Contractor’s} representative at the site and shall have authority to act on behalf of the Vendor {Contractor}.  All communications given to the Superintendent shall be as binding as if given to the Vendor {Contractor}.  To enable a reliable degree of communication to be maintained between the State and Vendor {Contractor} through the Superintendent, the Superintendent must be able to speak, read and understand the English language and must be able to communicate effectively with all its subordinates at the site.  The Superintendent shall notify the NJDEP immediately of any visitors to the site; and

SCM will have the right, upon notice, to demand that the Superintendent or other key personnel retained by the Vendor {Contractor} on this project be replaced with or without cause.  In the event of such demand, the Vendor {Contractor} shall, within ten (10) days after notification by the SCM and without cost to State replace such individual(s) with an individual(s) satisfactory to the State, in the State's sole discretion.

### LABOR, MATERIALS AND EQUIPMENT

A.  The Vendor {Contractor} shall provide competent, suitably qualified personnel to survey and lay out the work and perform construction as required by the Blanket P.O. {Contract} Documents.  The Vendor {Contractor} shall at all times maintain good discipline and order at the site.  Except in connection with the safety or protection of persons or the work or property at the site or adjacent thereto, and except as otherwise indicated, all work at the site shall be performed during regular working hours and the Vendor {Contractor} will not permit overtime work or the performance of work on Sunday or any legal holiday unless submitting a written request to the CM and receiving the CM's written consent;

B. The Vendor {Contractor} shall furnish all materials, equipment, labor transportation, construction equipment and machinery, tools, appliances and all other facilities and incidentals necessary for the execution, testing, initial operation and completion of the work.  Except as specified elsewhere in the Blanket P.O. {Contract}, the Vendor {Contractor} shall furnish all fuel, power, light, heat, telephone, water, and sanitary facilities necessary for the execution, testing, start-up, and completion of the work;

C.	All materials and equipment shall be of good quality and new, except as otherwise provided in the Blanket P.O. {Contract} specifications.  If required by the Engineer or otherwise required by these Blanket P.O. {Contract} specifications, the Vendor {Contractor} shall furnish satisfactory evidence (including reports of required tests) and any other documentation or samples required by these Blanket P.O. {Contract} specifications as to the kind and quality of materials and equipment;

D.	All materials and equipment shall be applied, installed, connected, erected, used, cleaned, and conditioned in accordance with the instructions of the applicable manufacturer, fabricator, supplier or distributor, except as otherwise provided in the Blanket P.O. {Contract} specifications; but no provision of any such instructions will be effective to impose on the Engineer or State responsibility for the means, methods, techniques, sequences, or procedures of construction, or for safety precautions incident thereto; and

E.  The Vendor {Contractor} shall condition any Blanket P.O. {Contract} for supplies, services, materials or equipment with a disclaimer of any responsibility by the State to satisfy that Blanket P.O. {Contract}.  The Vendor {Contractor} shall be solely responsible for any payment to suppliers, material men, and shall hold the State harmless therefor.

### "Or Equal" Materials and Equipment Value Engineering and Substitutions

#### "Or Equal" Materials and Equipment

A.	Except where the specifications explicitly prohibit an alternative piece of material or equipment, the Vendor {Contractor} may offer an "or equal" alternative to any material or equipment which is indicated or specified by patent, proprietary name, name of manufacturer, or catalog number.  Such specifications shall be deemed to establish a standard of quality and a description of the material or equipment desired, and shall not be construed as eliminating from competition the same material or similar equipment of equal quality from other manufacturers, where such alternatives are suitable.  If the words "or equal" are not explicitly appended to the specification, any such specification shall, nonetheless be deemed to be followed by the words "or equal," and the Vendor {Contractor} may propose an "or equal" alternative to the specified material or equipment;

B. 	In order to propose an "or equal" alternative, the Vendor {Contractor} shall make written application to the SCM.  As part of the application, the Vendor {Contractor} must certify and demonstrate that:

1.	The proposed "or equal" item will completely perform the required functions and achieve the results called for in the design specifications of the Blanket P.O. {Contract}, is of equal substance and quality to the specified item, and is suited to the same use as the specified item.  Toward this end, the Vendor {Contractor} must explain any differences between the proposed "or equal" item and the specified item, and must include comparative data demonstrating that the proposed "or equal" item is essentially equal in every respect, including function and quality, to the specified item;

2.	The evaluation and acceptance of the "or equal" item will not interfere with the Vendor’s {Contractor’s} timely achievement of substantial completion of the Blanket P.O. {Contract};

3.	The "or equal" item will conform to the other design specifications, and will not entail any significant design changes;

4.	The "or equal" item will not entail any additional cost to the State; and

5.	The "or equal" item is warranted for the particular purpose for which it is proposed.

C.  Requests for "or equal" alternatives will be conditional by the following:

- The SCM will only accept requests from the Vendor {Contractor} and then confer with the Engineer;

- The SCM will have fifteen (15) days from the date of receipt of the Vendor’s {Contractor’s} request for valuation of the proposed "or equal" item. Prior to beginning, or during the course of, his evaluation, the SCM or Engineer may require the Vendor {Contractor} to furnish, at the Vendor {Contractor’s} expense, additional data about the proposed "or equal" item.  When this occurs, the fifteen (15)-day period will start from the date of receipt of the additional data;

- The Vendor {Contractor} shall not use, order, or take delivery of any "or equal" item until and unless the item is approved in writing by the SCM

- The Vendor {Contractor} shall bear the responsibility for the adequacy and performance of any "or equal" item; and

- The SCM will be the sole judge of the acceptability of any "or equal" item and the SCM decision will be final.  The Vendor {Contractor} shall have no cause of action, or claim for money or damages, against the State as a result of the SCM decision to reject any "or equal" items.  If the SCM rejects an "or equal" item, the Vendor {Contractor} shall proceed on schedule with the work using the specified item.

#### Value Engineering

A.	A Value Engineering Proposal is a proposed request for Change Order {Contract Amendment} submitted by the Vendor {Contractor}, for changing the plans, specifications, or other requirements of the Blanket P.O. {Contract} that will save money for the State, and for which the Vendor {Contractor} will receive a share of the savings in the form of a payment.  In order to be considered a Value Engineering Proposal, a proposed Change Order {Contract Amendment} shall meet the following conditions:

1.  The proposed change must result in a reduction to the Blanket P.O. {Contract} of at least $50,000, not counting any value engineering payment paid to the Vendor {Contractor}, and must not produce any significant increase in the projected operations, maintenance, and other life-cycle costs of the project;

2.  The proposed change shall not alter any essential characteristics of either of the items being changed or the project, including service life, reliability, ease of maintenance, and safety;

3.  The proposed change shall not extend the dates for Substantial and Final Completion of the Blanket P.O. {Contract}; and

4.  The proposed change may not be merely an "or equal" alternative, and may not consist merely of replacing materials or equipment, which are specified by a patent, proprietary name, manufacturer's name, catalog number, or similar identification, with "or equal" alternatives.  Any portion of a Value Engineering Proposal that constitutes an "or equal" alternative will not be eligible for a value engineering payment.

B.	The Vendor {Contractor} must submit any Value Engineering Proposal in writing to the SCM.  Any Value Engineering Proposal must be identified as such by the Vendor {Contractor}, and any proposal that is not identified as such when it is submitted to the SCM will be considered a proposed substitution and not a Value Engineering Proposal;

C.	In submitting a Value Engineering Proposal, the Vendor {Contractor} shall allow enough time for the SCM to evaluate the proposal, and for the Vendor {Contractor} to implement the proposal, without any interference with the project schedules;

D.	The Vendor {Contractor} shall submit the following minimum information with each Value Engineering Proposal:

1.  A description of the difference between the existing Blanket P.O. {Contract} requirements and the proposed change, with the comparative advantages and disadvantages of each;

2. An itemized list of the Blanket P.O. {Contract} requirements that would be changed, including any work items or quantities of work which would be modified, with an explanation and proposed language for making each change;

3.  An estimate of the costs to the State of proceeding with the existing Blanket P.O. {Contract} requirements, including a detailed cost estimate for the existing requirements that would be deleted from the Blanket P.O. {Contract} and an estimate of their operation, maintenance, and other life-cycle costs, and a detailed estimate of the cost of the proposed change, including operations, maintenance and other life-cycle costs.  For purposes of estimating operation, maintenance and other life-cycle costs, the Vendor {Contractor} shall calculate the present worth of any annual costs based on assumptions of a life of twenty (20) years for equipment, a life of fifty (50) years for structures, site work and other construction, and an interest rate of seven percent (7%) per year.  Finally, the Vendor {Contractor} should estimate the cost savings which will result from the Value Engineering Proposal;

4.  A deadline for issuing any Change Order {Contract Amendment} adopting the proposed change, to obtain the maximum cost reduction during the remainder of the Blanket P.O. {Contract}, noting any effect on the project schedule; and

5.  The date of any previous or concurrent submissions of the same or similar proposals, and any previous actions by the SCM.

E.  The submission of Value Engineering Proposals is conditional upon the following:

1.	The State is not required to consider or accept any Value Engineering Proposal submitted by the Vendor {Contractor}, and the State will not be liable for failing to accept or act upon a proposal, nor for any delays to the work resulting from the review of the proposal.  The decisions to consider and to accept a proposal are solely within the complete discretion of the State, and the Vendor {Contractor} shall have no right to any claims or damages based upon the State’s failure to act upon or accept a proposal;

2.	Any technical or cost evaluation of the proposal will be done by the SCM.  The decisions of the SCM, as to the eligibility of a proposal for consideration as a Value Engineering Proposal, the technical acceptability of the proposal, the respective costs of the existing Blanket P.O. {Contract} requirements and the proposed change, and the estimated savings from the proposed change, are final.  The Vendor {Contractor} shall have no right to any claims or damages based on the SCM decisions;

3.  The Vendor {Contractor} shall continue to perform the work in accordance with the requirements of the Blanket P.O. {Contract} until the State issues a Change Order {Contract Amendment} incorporating any or all of the Value Engineering Proposal;

4.	The State is not liable for any costs incurred by the Vendor {Contractor} in preparing a Value Engineering Proposal, whether the State accepts, rejects, or fails to consider the proposal; and

5.	The Vendor {Contractor} shall not delay the work on account of the preparation, submission or review of a Value Engineering Proposal.

F.  The acceptance of a Value Engineering Proposal will be conditional upon the following:

1.  A Value Engineering Proposal will be authorized only through a Change Order {Contract Amendment} approved by the Director.  The Change Order {Contract Amendment} will incorporate the necessary changes in the plans and specifications to permit the Value Engineering Proposal, or any part of the proposal which has been accepted, to be implemented.  If the approval of the State or the Engineer is conditional, the Change Order {Contract Amendment} will note the conditions;

2.	Acceptance of a Value Engineering Proposal, and performance of the work, will not extend the Blanket P.O. {Contract} completion time; and

3.  In accepting a Value Engineering Proposal, the State will thereby obtain the right to use the proposal on other Blanket P.O.s {Contracts}, without any obligation or compensation to the Vendor {Contractor}.

G.  Payment for Value Engineering Proposals will be conditional upon the following:

1.	For Value Engineering Proposals that are approved by the SCM, the Vendor {Contractor} shall be paid  one-half of the cost difference between the existing Blanket P.O. {Contract} requirements and the proposed change, taking into account any projected increase in operations, maintenance and other life-cycle costs, as these have been determined by the SCM.  For purposes of calculating the payment, the State will deduct the present worth of any projected increase in annual operations, maintenance and other life-cycle costs from the amount by which the proposed change reduces the Blanket P.O. {Contract}.  The Vendor’s {Contractor’s} payment will be one-half of the remainder;

2. The SCM will evaluate the Vendor’s {Contractor’s} estimated costs for the existing Blanket P.O. {Contract} requirements and the proposed change, and will arrive at his own estimates.  In determining the costs of the existing Blanket P.O. {Contract} requirements and the proposed change, and in estimating the savings from the proposed change, the SCM may disregard the Blanket P.O.’s {Contract's} proposed prices if, in the judgment of the SCM, such prices do not represent a fair measure of the value of either the work to be performed by the Vendor {Contractor}, or to be deleted from the Blanket P.O. {Contract}.  The decisions of the SCM, with regard to the valuation of the existing requirements, the proposed change, and the estimated savings from the Value Engineering Proposal, shall be final;

3.  For purposes of deleting the existing requirements from the Blanket P.O. {Contract}, the State will deduct either the original Quote {Proposal} price, if there is an applicable proposed price, or the SCMs estimate for the work, if there is no applicable proposed price and the SCM and the Vendor {Contractor} cannot agree on a price for the work.

4. 	The SCM will perform the following to determine: 1) the net cost difference between the existing requirements and the proposed change, and 2) the value engineering payment that will be paid to the Vendor {Contractor}: The SCM will use in calculating the cost of the existing requirements the lesser of his/her own estimate and the original proposed price, and will use as the value of the new work the amount added to the Blanket P.O. {Contract}.  When no amount is agreed upon, the cost of the new work as determined under the cost-of-work provisions of the Blanket P.O. {Contract} will be used.  In calculating both the cost of the existing requirements and the cost of the proposed change, the SCM will estimate and include operations, maintenance and other life-cycle costs based on a life of twenty (20) years for equipment, a life of fifty (50) years for structures, site work and other construction, and an interest rate of seven percent (7%) per year;

5.	The Vendor’s {Contractor’s} engineering costs, development costs, review costs and any other costs incurred in connection with the submission of a Value Engineering Proposal will not be compensable either separately or as part of any payment under the Blanket P.O. {Contract}; and

6.  The Vendor {Contractor} will be paid the value engineering payment upon satisfactory completion of the work ordered under the value engineering Change Order {Contract Amendment}.

#### Substitutions

Any proposal from the Vendor {Contractor} to change the Blanket P.O.’s {contract's} design specifications, which does not qualify as either an "or equal" alternative or a Value Engineering Proposal, will be considered a proposed substitution.  Such proposals include substitutions of items in the Specifications that are no longer available, or items that will function better than those specified.  Any proposed substitution shall be submitted in writing to the SCM, with the same minimum information specified for Value Engineering Proposals in Section 5.5.3.2.D, and is subject to the same conditions for submission and acceptance specified for Value Engineering Proposals in Sections 5.5.3.2.E and 5.5.3.2.F.  The Vendor {Contractor} will not receive any additional payment if the State accepts a proposed substitution.  The Vendor {Contractor} shall, however, bear the costs incurred by the State in reviewing any proposed substitution.

### Before Starting Construction

A.  Before undertaking each part of the work, the Vendor {Contractor} shall carefully study and compare the Blanket P.O. {Contract} Documents and check and verify pertinent figures shown thereon and all applicable field measurements.  The Vendor {Contractor} shall promptly report in writing to the Engineer any conflict, error, or discrepancy that it may discover and shall obtain a written interpretation or clarification from the SCM before proceeding with any work affected thereby;

B.	Project Schedule

1.  General:

In order to monitor performance of the work, the Vendor {Contractor shall develop a Project Critical Path Method (CPM) schedule which incorporates the Vendor’s {Contractor's} and all Subcontractors' work at all tiers.  This CPM schedule shall be in conformance with this Section (Section 5.5.4.B.) and Section 3.2.1.3 located in Attachment 2.  The Vendor {Contractor} will have included in its Quote {Proposal} all costs in connection with supplying sufficient information to generate the Project CPM schedule.

The purpose of the Project CPM Schedule will be to assure adequate planning and execution of the work by the Vendor {Contractor} and each Subcontractor to assure coordination of the work of the various Subcontractors, to assist the State in monitoring the progress of the work, to evaluate proposed changes to the Blanket P.O. {Contract} and schedule and to assist the State in the evaluation of the Vendor’s {Contractor's} progress payments.

2.   Submittal and Acceptance:

Within thirty (30) days after the Blanket P.O. {Contract} award date, the Vendor {Contractor} shall submit a copy of the project CPM schedule to the SCM and CM for review.  Within fifteen (15) calendar days from the time of receipt of the project CPM schedule, the SCM will notify the Vendor {Contractor} of any objections to the Project CPM schedule.  If the SCM does not notify the Vendor {Contractor} within the time specified, the SCM agrees to accept the Project CPM schedule as an accurate reflection of the Vendor’s {Contractor’s} work plan.

Upon establishment of an agreed upon schedule with the SCM, the Vendor {Contractor} shall sign the face of the Project CPM schedule documents which shall indicate the Vendor’s {Contractor’s} acceptance and approval of the project schedule sequence of activities, logic, duration estimates and times for completion.  The SCM and/or CM acceptance of the Vendor’s {Contractor’s} approved Project Schedule will be a CONDITION PRECEDENT to the making of any partial payments under the Blanket P.O. {Contract} after the first month of the Blanket P.O. {Contract}.

The Vendor {Contractor} may submit a progress schedule showing a shorter time of completion than that required by the Blanket P.O. {Contract}.  If such a schedule is approved by the NJDEP, the Vendor {Contractor} may attempt to complete the work within the shortened timeframe; however, neither the State nor the Vendor {Contractor} will be liable for delay if the shortened schedule is not met.  If the shortened schedule is incorporated into the Blanket P.O. {Contract}, by mutual agreement of the parties through an approved Change Order, then either the Vendor {Contractor} or the NJDEP, or both, may be liable for delay if the shortened schedule is not met.

Acceptance by the NJDEP of the Vendor’s {Contractor’s} project schedule does not relieve the Vendor {Contractor} of its responsibility whatsoever for the accuracy and feasibility of the project schedule, or of the Vendor’s {Contractor's} ability to meet the Blanket P.O. {Contract} completion date, nor does such acceptance warrant, acknowledge or admit the reasonableness of the logic, duration or cost loading of the Vendor’s {Contractor's} accepted project schedule.

3.  Project Schedule Updating:

Following acceptance of the Project CPM schedule, the Vendor {Contractor} shall update the schedule on a monthly basis throughout the Blanket P.O. {Contract} period and until Substantial Completion for the purpose of recording and monitoring the progress of the work.  The Vendor {Contractor} shall, at each update, review its actual progress made to date and shall record the status of the schedule activities (on a percent complete basis) indicating, where applicable, the actual start and/or completion dates of those activities.

The monthly updating of the Project CPM schedule shall be an integral part and basic element of the estimate upon which the Vendor’s {Contractor’s} monthly progress payments shall be made.  If, in the judgment of the SCM, the Vendor {Contractor} fails or refuses to provide information required to accomplish a complete Project CPM schedule update or revisions as specified, that Vendor {Contractor} shall not receive progress payments until the Vendor {Contractor} has furnished the aforesaid information to the satisfaction of the State.

Updating the project schedule to reflect actual progress made up to the date of a project schedule update shall not be considered revisions to the Project Schedule.

### Use of Premises

A.  The Vendor {Contractor} shall confine construction equipment, the storage of materials and equipment and the operations of its employees to areas permitted by law, ordinances, permits, or the requirements of the Blanket P.O. {Contract} Documents, and shall not unreasonably encumber the premises with construction equipment or other materials or equipment;

B.  During progress of the work, the Vendor {Contractor} shall keep the premises free from accumulations of waste materials, rubbish and other debris resulting from the work.  At the completion of the work, the Vendor {Contractor} shall remove all waste materials, rubbish and debris from and about the premises as well as all tools, appliances, construction equipment and machinery, and surplus materials, and shall leave the site clean and ready for occupancy by the State.  The Vendor {Contractor} shall restore to their original condition those portions of the site not designated for alteration by the Blanket P.O. {Contract} Documents;

C.  The Vendor {Contractor} shall not load or permit any part of any structure to be loaded in any manner that will endanger the structure, nor shall the Vendor {Contractor} subject any part of the work or adjacent property to stresses or pressures that will endanger it; and

D.  The Vendor {Contractor} shall cooperate with and not interfere with any other Vendor {Contractor} engaged by the State to perform services at the site.

### Record Documents/DRAWINGS

Requirements for record drawings and documents are provided in Attachment 2 – MSLA 1D Remedial Design, Section 1.11.  Submittal of these record drawings is a required pre-requisite to final application for payment, final payment, and acceptance of the project.

### Safety and Protection

A. The Vendor {Contractor} shall be responsible for initiating, maintaining and supervising all safety precautions and programs in connection with the work, as well as conforming to all requirements of the Site Specific Health and Safety Plan (HASP).  The Vendor {Contractor} performing work under this Blanket P.O. {Contract} shall provide and utilize appropriate protective clothing and equipment which meet all applicable OSHA and other public safety standards and that otherwise meet the highest standards for safety in the industry.  The Vendor {Contractor} shall take all necessary precautions for the safety of, and shall provide the necessary protection to prevent damage, injury, or loss to:

1.  All employees on the work site and other persons who may be affected;

2.  All the work and all materials or equipment to be incorporated therein, whether in storage on or off the site; and

3. Other property at the site or adjacent thereto, including trees, shrubs, lawns, walks, pavements, roadways, structures, and utilities not designated for removal, relocation, or replacement in the course of construction;

B.	The Vendor {Contractor} shall comply with all applicable laws, ordinances, rules, regulations, and orders of any public body having jurisdiction for the safety of persons or property, or to protect them from damage, injury, or loss; and shall erect and maintain all necessary safeguards for such safety and protection.  The Vendor {Contractor} shall notify owners of adjacent property and utilities when prosecution of the work may affect them.  The Vendor {Contractor} shall cooperate with the utility owner in the protection, removal, relocation or replacement of such utility property.  All damage, injury or loss to any property referred to in this Bid Solicitation {RFP} caused, directly or indirectly, in whole or in part, by the Vendor {Contractor}, any subcontractor or anyone directly or indirectly employed by any of them or anyone for whose acts any of them may be liable, shall be remedied by Vendor {Contractor} (except damage or loss attributable to the fault of Drawings or Specifications or to the acts or omissions of the State or Engineer or anyone employed by either of them or anyone for whose acts either of them may be liable, and not attributable, directly or indirectly, in whole or in part, to the fault or negligence of the Vendor {Contractor}).  The Vendor’s {Contractor’s} duties and responsibilities for the safety and protection of the work shall continue until such time as all the work is completed and the Engineer has issued a notice to the State and the Vendor {Contractor} in accordance with Bid Solicitation {RFP} Section 10.7 that the work is acceptable; and

C.  Pursuant to the requirements of these Blanket P.O. {Contract} Documents, the State will require as condition of any of the Vendor’s {Contractor’s} personnel entering the site, proof of compliance with the medical surveillance program furnished as part of the HASP.

### Shop Drawings and Samples

A. The Vendor {Contractor} shall also submit to the Engineer for review and approval with such promptness as to cause no delay in work, all samples required by the Blanket P.O. {Contract} Documents.  All samples will have been checked by and stamped with the approval of the Vendor {Contractor}, identified clearly as to material, manufacturer, any pertinent catalog numbers and the use for which intended;

B.	The Engineer will review and approve or take other appropriate action upon the Vendor’s {Contractor’s} submittals.  The Vendor {Contractor} shall submit submittals in such sequence as to cause no delay in the work or in the activities of the State or of separate Vendors {Contractors}.  The Vendor {Contractor} shall identify and submit separately from other submittals, all submittals deemed critical.  The Engineer will review and return these critical submittals within fifteen (15) days of receipt from the Vendor {Contractor}.    If a shop drawing or sample is not approved on a timely basis, and if the Vendor {Contractor} wants to reserve the right to file a claim for delay, the Vendor {Contractor} must provide written notice to State in accordance with Bid Solicitation {RFP} Section 5.25.  The State will have ten (10) days from the receipt of written notice to cure the problem, during which time no damage will accrue to the State as a result of the Engineer’s failure to approve shop drawings on a timely basis.  If the State fails to cure the problem within ten (10) days the Vendor {Contractor} shall have the right to assert a claim.  The Engineer’s review and approval of shop drawings or samples shall be only for conformance with the design concept of the project and for compliance with the information given in the Blanket P.O. {Contract} Documents and shall not extend to means, methods, sequences, techniques or procedures of construction or to safety precautions or programs incident thereto.  The review and approval of a separate item as such will not indicate approval of the assembly in which the item functions.  The Vendor {Contractor} shall make all corrections required by the Engineer and shall return the required number of corrected copies of shop drawings and resubmit new samples for review and approval.  The Vendor {Contractor} shall direct specific attention in writing to revisions other than the corrections called for by Engineer on previous submittals.  The Vendor’s {Contractor’s} stamp of approval on any shop drawing or sample shall constitute a representation to the SCM and the Engineer that the Vendor {Contractor} has either determined and verified all quantities, dimensions, field construction criteria, materials, catalog numbers, and similar data, or assumes full responsibility for doing so, and that the Vendor {Contractor} has reviewed or coordinated each shop drawing or sample with the requirements of the work and the Blanket P.O. {Contract} Documents;

C.  Where a shop drawing or sample is required by the specifications, no related work shall be commenced until the submittal has been reviewed and approved by the Engineer;

D. Engineer’s review and approval of shop drawings or samples will not relieve the Vendor {Contractor} from responsibility for any deviations from the Blanket P.O. {Contract} Documents unless the Vendor {Contractor} has in writing called the Engineer’s attention to such deviation at the time of submission and the Engineer has given written concurrence and approval to the specific deviation, nor shall any concurrence and approval by the Engineer relieve the Vendor {Contractor} from responsibility for errors or omissions in the shop drawings or samples;

E. The Vendor {Contractor} shall submit directly to the Engineer all shop drawings and samples in sufficient quantity and form (including reproducibles, if required).  Such submittals may be delivered to the Engineer at the job site, however, prior to site mobilization any submittals to the Engineer shall be mailed to the Engineer’s home office;

F.  Shop drawings, samples and similar submittals are not Blanket P.O. {Contract} Documents.  The purpose of their submittal is to demonstrate for those portions of the work for which submittals are required, the way the Vendor {Contractor} proposes to conform to the information given and the design concept expressed in the Blanket P.O. {Contract} Documents;

G. The Vendor {Contractor} shall direct specific attention, in writing or on resubmitted shop drawings, samples or similar submittals to revisions other than those requested by the Engineer on previous submittals;

H.  Informational submittals upon which the Engineer is not expected to take responsive action may be identified in the Blanket P.O. {Contract} specifications.  Submittals made by the Vendor {Contractor} that are not required by the Blanket P.O. {Contract} Documents may be returned without action; and

I.  When professional certification of performance criteria of materials, systems or equipment is required of the Vendor {Vendor {Contractor}} by the Blanket P.O. {Contract} specifications, the Engineer will be entitled to rely upon the accuracy and completeness of such calculations and certifications; however, the Engineer may verify the accuracy and completeness of any or all such calculations or certifications, or both, if it is deemed advisable based on its professional judgement.  If any or all such calculations or certifications, or both, are found to be inaccurate or incomplete, or both, after the Vendor {Vendor {Contractor}} has been given an opportunity to cure the Vendor {Contractor} shall assume full responsibility and bear all costs attributable or related thereto, including, without limitation, the expense of the Engineer’s additional services associated with the verification of such calculations or certifications, or both and the expense of the Engineer’s additional services made necessary by the failure of such calculations or certifications, or both, to be accurate or complete, or both.

### WARRANTY AND GUARANTEE; TESTS AND INSPECTIONS CORRECTION, REMOVAL OR ACCEPTANCE OF DEFECTIVE WORK

#### Warranty and Guarantee

A.  The Vendor {Contractor} shall warrant and guarantee to the State their workmanship for two (2) years from the date of Final Completion, or such longer period as allowed by law or required by Attachment 2 - MSLA 1D Remedial Design, that all work shall be in accordance with the Bid Solicitation {RFP}, and shall not be defective; and

B.	Unless otherwise specified, the Vendor {Contractor} shall assure that all materials are new, and both workmanship and materials shall be of good quality, and fit for the particular purpose for which they are used.  The Vendor {Contractor} shall, if required, furnish satisfactory evidence as to the kind and quality of materials.

#### Access to Work

The Engineer and Engineer’s RPRs, CM, other representatives of the State, testing agencies, and governmental agencies with jurisdictional interests will have access to the work at reasonable times for their observation, inspection and testing.  The Vendor {Contractor} shall provide proper and safe conditions for such access.

#### Tests and Inspections

A. The Vendor {Contractor} shall give the CM timely notice of readiness of the work for all  required inspections, tests or approvals;

B.  If any law, ordinance, rule, regulation, code, or orders of any public body having jurisdiction requires any work (or part thereof) to specifically be inspected, tested or approved, Vendor {Contractor} shall assume full responsibility therefore, pay all costs in connection therewith and furnish the CM the required certificates of inspection, testing or approval.  The Vendor {Contractor} shall also be responsible for and shall pay all costs in connection with any inspection or testing required by the specifications in connection with State’s or Engineer’s acceptance of a manufacturer, fabricator, supplier or distributor of materials or equipment proposed to be incorporated in the work, or of materials or equipment submitted for approval prior to Vendor’s {Contractor’s} purchase thereof for incorporation in the work;

C.  All inspections, tests or approvals other than those required by law, ordinance, rule, regulation, code or order of any public body having jurisdiction shall be performed by organizations acceptable to the State;

D.  Neither observations by the Engineer or CM nor inspections, tests or approvals by others will relieve the Vendor {Contractor} from its obligations to perform the work in accordance with the Blanket P.O. {Contract} Documents.

#### Uncovering Work

- If any work is covered without timely notice to the CM or contrary to the written request of the CM, it must, if requested by the CM, be uncovered for SCM's observation and be replaced at Vendor’s {Contractor’s} expense;

- If any work is covered with the knowledge of or the concurrence of the CM and if the CM considers it necessary or advisable that such covered work be observed by the Engineer or CM or inspected or tested by others, the Vendor {Contractor}, at the CM's request, shall uncover, expose or otherwise make available for observation, inspection or testing as the Engineer or CM may require, that portion of the work in question, furnishing all necessary labor, material and equipment.  If it is found that such work is defective, the Vendor {Contractor} shall bear all the expenses of such uncovering, exposure, observation, inspection and testing and of satisfactory reconstruction, including compensation for additional professional services, and an appropriate Reduction Order shall be issued.  If, however, such work is not found to be defective, the Vendor {Contractor} shall be allowed an increase in the Blanket P.O. {Contract} price or an extension of the Blanket P.O. {Contract} time, or both, directly attributable to such uncovering, exposure, observation, inspection, testing and reconstruction if a claim is made, through a Change Order {Contract Amendment};

If the work is defective, or the Vendor {Contractor} fails to supply sufficient skilled workmen or suitable materials or equipment, the State may order the Vendor {Contractor} to stop the work, or any portion thereof, until the cause for such order has been eliminated; however, this right of the State to stop the work shall not give rise to any duty on the part of State to exercise this right for the benefit of Vendor {Contractor} or any other party.  This clause shall not limit the right of the State to stop, suspend, or terminate the Blanket P.O. {Contract} for any lawful cause; and

If required by the CM, the Vendor {Contractor} shall promptly, without cost to the State and as specified by CM,  correct any defective work, whether or not fabricated, installed or completed, or, if the work has been rejected by the CM, remove it from the site and replace it with non-defective work.

#### TWO Year Correction Period

If, within two (2) years after the date of Final Completion or such longer period of time as may be prescribed by law or by the terms of the Blanket P.O. {Contract}, any work is found to be defective, the Vendor {Contractor} shall promptly, without cost to the State and in accordance with the State’s written instructions, either correct such defective work, or, if it has been rejected by the State, remove it from the site and replace it with non-defective work.  If the Vendor {Contractor} does not promptly comply with the terms of such instructions, or in an emergency where delay would cause serious risk of loss or damage, the State may have the defective work corrected or the rejected work removed and replaced, and all direct and indirect costs of such removal and replacement, including compensation for additional professional services, shall be paid by the Vendor {Contractor}.

#### Acceptance of Defective Work

A.	If, instead of requiring correction or removal and replacement of defective work, NJDEP prefers to accept it, the State may do so.  In such case, if acceptance occurs prior to the Engineer’s recommendation of final payment, a Change Order {Contract Amendment} shall be issued incorporating the necessary revisions in the Blanket P.O. {Contract} Documents, including appropriate reduction in the Blanket P.O. {Contract} price; or, if the acceptance occurs after such recommendation, an appropriate amount shall be paid by the Vendor {Contractor} to the State; and

B.	The State may require the Vendor {Contractor} to furnish, at the Vendor’s {Contractor’s} expense, a special guarantee of the defective work. For purposes of this Blanket P.O. {Contract}, special guarantee means that the Vendor {Contractor} shall warrant the work consistent with the provisions of Bid Solicitation {RFP} Section 5.5.9.1

#### State May Correct Defective Work

If the Vendor {Contractor} fails within thirty (30) days after written notice from the CM to proceed to correct defective work or to remove and replace rejected work as required by CM, or if the Vendor {Contractor} fails to perform the work in accordance with the Blanket P.O. {Contract} Documents (including any requirements of the progress schedule) the State may, after seven (7) days written notice to Vendor {Contractor}, correct and remedy any such deficiency.  To the extent necessary to complete corrective and remedial action, the State may exclude the Vendor {Contractor} from all or part of the site, take possession of all or part of the work, and suspend Vendor’s {Contractor’s} services related thereto, take possession of, and the Vendor {Contractor} shall give possession of, and incorporate in the work, all materials and equipment  for which the State has paid the Vendor {Contractor}.  The Vendor {Contractor} shall allow the State, the State’s representatives, agents and employees such access to the site as may be necessary to enable State to exercise its rights under this section.  All direct and indirect costs of the State in exercising such rights shall be charged against the Vendor {Contractor} and either a Change Order {Contract Amendment}, or a Reduction Order, shall be issued incorporating the necessary revisions in the Blanket P.O. {Contract} Documents and a reduction in the Blanket P.O. {Contract} price.  Such direct and indirect costs shall include, in particular but without limitation, compensation for additional professional services required and all costs of repair and replacement of work of others destroyed or damaged by correction, removal or replacement of the Vendor’s {Contractor’s} defective work.  The Vendor {Contractor} shall not be allowed an extension of the Blanket P.O. {Contract} time because of any delay in his performance of the work attributable to the exercise by the State of State’s rights hereunder.

#### Working Hours

Construction activities of the Vendor {Contractor} on and around the project sites shall be limited to 7:00 a.m. - 5:00 p.m. prevailing time, from Monday through Friday.  For work from dawn until dusk outside normal working hours on weekdays, Saturday, Sundays and State legal holidays, the Vendor {Contractor} must obtain, in writing from the SCM, written authorization to proceed with the work; and if it should be necessary, in order to complete the work within the time stipulated or to complete any portion of the work in its various stages in time to avoid delaying the work, due to no fault of the State, or Engineer, the Vendor {Contractor} shall resort to overtime only if permitted by the SCM and shall be done so at no additional cost to State .

### Concerning Subcontractors

Vendor {Contractor} shall not employ any subcontractor or other person or organization (including those who are to furnish the principal items of materials or equipment), whether initially or as a substitute, against whom the SCM may have reasonable objection.  Acceptance of any Subcontractor, other person or organization by the State shall not constitute a waiver of any right of State to reject defective work.

### Continuing The Work

Vendor {Contractor} shall carry on the work and maintain the progress schedule during all disputes or disagreements with the State.  No work shall be delayed or postponed pending resolution of any disputes or disagreements, except as the Vendor {Contractor} and the State may otherwise agree in writing or except as pursuant to the Standard Terms and Conditions.

### SALES, USE AND SIMILAR TAX

Only a minor portion of work on this project is on State-owned property.  The Vendor {Contractor} will pay State sales and use taxes, and Federal excise taxes for all work on this project.

## Vendor {contractor} Responsibilities

The Vendor {Contractor} shall have sole responsibility for the complete effort specified in this Blanket P.O. {Contract}.  Payment will be made only to the Vendor {Contractor}.  The Vendor {Contractor} shall have sole responsibility for all payments due any Subcontractor.

The Vendor {Contractor} is responsible for the professional quality, technical accuracy and timely completion and submission of all deliverables, services or commodities required to be provided under this Blanket P.O. {Contract}.  The Vendor {Contractor} shall, without additional compensation, correct or revise any errors, omissions, or other deficiencies in its deliverables and other services.  The approval of deliverables furnished under this Blanket P.O. {Contract} shall not in any way relieve the Vendor {Contractor} of responsibility for the technical adequacy of its work.  The review, approval, acceptance or payment for any of the services shall not be construed as a waiver of any rights that the State may have arising out of the Vendor’s {Contractor’s} performance of this Blanket P.O. {Contract}.

## Substitution of Staff

If it becomes necessary for the Vendor {Contractor} to substitute any management, supervisory or key personnel, the Vendor {Contractor} shall identify the substitute personnel and the work to be performed.  The Vendor {Contractor} must provide detailed justification documenting the necessity for the substitution.  Resumes must be submitted evidencing that the individual(s) proposed as substitute(s) have qualifications and experience equal to or better than the individual(s) originally proposed or currently assigned.

The Vendor {Contractor} shall forward a request to substitute staff to the SCM for consideration and approval.  No substitute personnel are authorized to begin work until the Vendor {Contractor} has received written approval to proceed from the SCM.

Should the SCM disapprove of substitute staff, the Vendor {Contractor} shall submit a proposed substitution within ten (10) days after being notified of the disapproval.

## Substitution or Addition of SubCONTRACTOR(s)

This Subsection serves to supplement but not to supersede Sections 5.8 and 5.9 of the SSTC accompanying this Bid Solicitation {RFP}.

The Vendor {Contractor} shall forward a written request to substitute or add a Subcontractor or to substitute its own staff for a Subcontractor to the SCM for consideration.  If the SCM approves the request, the SCM will forward the request to the Director for final approval.  No substituted or additional Subcontractors are authorized to begin work until the Vendor {Contractor} has received written approval from the Director.

If it becomes necessary for the Vendor {Contractor} to substitute a Subcontractor, add a Subcontractor, or substitute its own staff for a Subcontractor, the Vendor {Contractor} will identify the proposed new Subcontractor or staff member(s) and the work to be performed.  The Vendor {Contractor} must provide detailed justification documenting the necessity for the substitution or addition.

The Vendor {Contractor} must provide detailed resumes of its proposed replacement staff or of the proposed Subcontractor’s management, supervisory, and other key personnel that demonstrate knowledge, ability and experience relevant to that part of the work which the Subcontractor is to undertake.

The qualifications and experience of the replacement(s) must equal or exceed those of similar personnel proposed by the Vendor {Contractor} in its Quote {Proposal}.

Should the SCM disapprove of substitute subcontractors or personnel, the Vendor {Contractor shall submit a proposed substitution within ten (10) days after being notified of the disapproval.

## OWNERSHIP OF MATERIAL

All data, technical information, materials gathered, originated, developed, prepared, used or obtained in the performance of this Blanket P.O. {Contract}, including, but not limited to, all reports, surveys, plans, charts, literature, brochures, mailings, recordings (video and/or audio), pictures, drawings, analyses, graphic representations, software computer programs and accompanying documentation and print-outs, notes and memoranda, written procedures and documents, regardless of the state of completion, which are prepared for or are a result of the services required under this Blanket P.O. {Contract} shall be and remain the property of the State of New Jersey and shall be delivered to the State of New Jersey upon thirty (30) days’ notice by the State. With respect to software computer programs and/or source codes developed for the State, except those modifications or adaptations made to Vendor’s {Bidder’s/Contractor’s} Background IP as defined below, the work shall be considered “work for hire”, i.e., the State, not the Vendor {Contractor} or Subcontractor, shall have full and complete ownership of all software computer programs and/or source codes developed. To the extent that any of such materials may not, by operation of the law, be a work made for hire in accordance with the terms of this Blanket P.O. {Contract}, Vendor {Contractor} or Subcontractor hereby assigns to the State all right, title and interest in and to any such material, and the State shall have the right to obtain and hold in its own name and copyrights, registrations and any other proprietary rights that may be available.

Should the Vendor {Bidder} anticipate bringing pre-existing intellectual property into the project, the intellectual property must be identified in the Quote {Proposal}.  Otherwise, the language in the first paragraph of this section prevails. If the Vendor {Bidder} identifies such intellectual property ("Background IP") in its Quote {Proposal}, then the Background IP owned by the Vendor {Bidder} on the date of this Blanket P.O. {Contract}, as well as any modifications or adaptations thereto, remain the property of the Vendor {Bidder}. Upon Blanket P.O. {Contract} award, the Vendor {Bidder/Contractor} shall grant the State a nonexclusive, perpetual royalty free license to use any of the Vendor’s {Bidder’s/Contractor's} Background IP delivered to the State for the purposes contemplated by this Blanket P.O. {Contract}.

## security and Confidentiality

### DATA CONFIDENTIALITY

All financial, statistical, personnel, customer and/or technical data supplied by the State to the Vendor {Contractor} are confidential (State Confidential Information).  The Vendor {Contractor} must secure all data from manipulation, sabotage, theft or breach of confidentiality.  The Vendor {Contractor} is prohibited from releasing any financial, statistical, personnel, customer and/or technical data supplied by the State that is deemed confidential.  Any use, sale, or offering of this data in any form by the Vendor {Contractor}, or any individual or entity in the Vendor’s {Contractor’s} charge or employ, will be considered a violation of this Contract and may result in Contract termination and the Vendor’s {Contractor’s} suspension or debarment from State contracting.  In addition, such conduct may be reported to the State Attorney General for possible criminal prosecution.

The Vendor {Contractor} shall assume total financial liability incurred by the Vendor {Contractor} associated with any breach of confidentiality.

When requested, the Vendor {Contractor} and all project staff including its Subcontractor(s) must complete and sign confidentiality and non-disclosure agreements provided by the State. The Vendor {Contractor} may be required to view yearly security awareness and confidentiality training modules provided by the State. Where required, it shall be the Vendor’s {Contractor’s} responsibility to ensure that any new staff sign the confidentiality agreement and complete the security awareness and confidentiality training modules within one month of the employees’ start date.

The State reserves the right to obtain, or require the Vendor {Contractor} to obtain, criminal history background checks from the New Jersey State Police for all Vendor {Contractor} and project staff (to protect the State of New Jersey from losses resulting from Vendor {Contractor} employee theft, fraud or dishonesty).  If the State exercises this right, the results of the background check(s) must be made available to the State for consideration before the employee is assigned to work on the State’s project.  Prospective employees with positive criminal backgrounds for cyber-crimes will not be approved to work on State Projects.  Refer to the National Institute of Standards and Technology (NIST) Special Publication (SP) 800-12, An Introduction to Computer Security:  The NIST Handbook, Section 10.1.3, Filling the Position – Screening and Selecting.

#### VENDOR’s {CONTRACTOR’S} CONFIDENTIAL INFORMATION

- The obligations of the State under this provision are subject to the New Jersey Open Public Records Act (“OPRA”), N.J.S.A. 47:1A-1 et seq., the New Jersey common law right to know, and any other lawful document request or subpoena.

- By virtue of this Blanket P.O. {Contract}, the parties may have access to information that is confidential to one another.  The parties agree to disclose to each other only information that is required for the performance of their obligations under this Blanket P.O. {Contract}.  Vendor’s {Contractor’s} Confidential Information, to the extent not expressly prohibited by law, shall consist of all information clearly identified as confidential at the time of disclosure and anything identified in Vendor’s {Contractor’s} Quote {Proposal} as Background IP (“Vendor {Contractor} Confidential Information”).  Notwithstanding the previous sentence, the terms and pricing of this Blanket P.O. {Contract} are subject to disclosure under OPRA, the common law right to know, and any other lawful document request or subpoena.

- A party’s Confidential Information shall not include information that: (a) is or becomes a part of the public domain through no act or omission of the other party; (b) was in the other party’s lawful possession prior to the disclosure and had not been obtained by the other party either directly or indirectly from the disclosing party; (c) is lawfully disclosed to the other party by a third party without restriction on the disclosure; or (d) is independently developed by the other party.

- The State agrees to hold Vendor’s {Contractor’s} Confidential Information in confidence, using at least the same degree of care used to protect its own Confidential Information.

- In the event that the State receives a request for Vendor {Contractor} Confidential Information related to this Blanket P.O. {Contract} pursuant to a court order, subpoena, or other operation of law, the State agrees, if permitted by law, to provide Vendor {Contractor} with as much notice, in writing, as is reasonably practicable and the State’s intended response to such order of law.  Vendor {Contractor} shall take any action it deems appropriate to protect its documents and/or information.

- In addition, in the event Vendor {Contractor} receives a request for State Confidential Information pursuant to a court order, subpoena, or other operation of law, Vendor {Contractor} shall, if permitted by law, provide the State with as much notice, in writing, as is reasonably practicable and Vendor’s {Contractor’s} intended response to such order of law.  The State shall take any action it deems appropriate to protect its documents and/or information.

- Notwithstanding the requirements of nondisclosure described in these Sections 5.10.1 and 5.10.1.1, either party may release the other party’s Confidential Information (i) if directed to do so by a court or arbitrator of competent jurisdiction, (ii) pursuant to a lawfully issued subpoena or other lawful document request, (iii) in the case of the State, if the State determines the documents or information are subject to disclosure and Vendor {Contractor} does not exercise its rights as described in Section 5.10.1.1(e), or if Vendor {Contractor} is unsuccessful in defending its rights as described in Section 5.10.1.1(e), or (iv) in the case of Vendor {Contractor}, if Vendor {Contractor} determines the documents or information are subject to disclosure and the State does not exercise its rights described in Section 5.10.1.1(f), or if the State is unsuccessful in defending its rights as described in Section 5.10.1.1(f).

### DATA SECURITY STANDARDS

Data Security: The Vendor {Contractor} at a minimum must protect and maintain the security of data traveling its network in accordance with generally accepted industry practices.

- Any Personally Identifiable Information must be protected.  All data must be classified in accordance with the State's Asset Classification and Control policy, 08-04-NJOIT (www.nj.gov/it/ps).  Additionally, data must be disposed of in accordance with the State's Information Disposal and Media Sanitation policy, 09-10-NJOIT (www.nj.gov/it/ps).

- Data usage, storage, and protection is subject to all applicable federal and state statutory and regulatory requirements, as amended from time to time, including, without limitation, those for Health Insurance Portability and Accountability Act of 1996 (HIPAA), Personally Identifiable Information (PII), Tax Information Security Guidelines for Federal, State, and Local Agencies (IRS Publication 1075), New Jersey State tax confidentiality statute,  N.J.S.A. 54:50-8, New Jersey Identity Theft Prevention Act, N.J.S.A. 56:11-44 et. seq., the federal Drivers' Privacy Protection Act of 1994, Pub.L.103-322, and the confidentiality requirements of N.J.S.A. 39:2-3.4.  Vendor {Contractor} must also conform to Payment Card Industry (PCI) Data Security Standard.

Data Transmission:  The Vendor {Contractor} must only transmit or exchange State of New Jersey data with other parties when expressly requested in writing and permitted by and in accordance with requirements of the State of New Jersey. The Vendor {Contractor} must only transmit or exchange data with the State of New Jersey or other parties through secure means supported by current technologies. The Vendor {Contractor} must encrypt all data defined as personally identifiable or confidential by the State of New Jersey or applicable law, regulation or standard during any transmission or exchange of that data.

Data Storage:  All data provided by the State of New Jersey or State data obtained by the Vendor {Contractor} in the performance of the Contract must be stored, processed, and maintained solely in accordance with a project plan and system topology approved by the State Contract Manager. No State data shall be processed on or transferred to any device or storage medium including portable media, smart devices and/or USB devices, unless that device or storage medium has been approved in advance in writing by the State Project Manager.  The Vendor {Contractor} must encrypt all data at rest defined as personally identifiable information by the State of New Jersey or applicable law, regulation or standard.  The Vendor {Contractor} must not store or transfer State of New Jersey data outside of the United States.

Data Scope: All provisions applicable to State data include data in any form of transmission or storage, including but not limited to: database files, text files, backup files, log files, XML files, and printed copies of the data.

Data Re-Use:  All State data must be used expressly and solely for the purposes enumerated in the Contract. Data must not be distributed, repurposed or shared across other applications, environments, or business units of the Vendor {Contractor}.  No State data of any kind must be transmitted, exchanged or otherwise passed to other Vendors {Contractors} or interested parties except on a case-by-case basis as specifically agreed to in writing by the State Contract Manager.

Data Breach:  Unauthorized Release Notification:  The Vendor {Contractor} must comply with all applicable State and Federal laws that require the notification of individuals in the event of unauthorized release of personally identifiable information or other event requiring notification. In the event of a breach of any of the Vendor’s {Contractor’s} security obligations or other event requiring notification under applicable law ("Notification Event"), the Vendor {Contractor} must assume responsibility for informing the State Contract Manager within 24 hours and all such individuals in accordance with applicable law and to indemnify, hold harmless and defend the State of New Jersey, its officials, and employees from and against any claims, damages, or other harm related to such Notification Event.  All communications must be coordinated with the State of New Jersey.

End of Blanket P.O. {Contract} Data Handling:  Upon termination/expiration of this Contract the Vendor {Contractor} must first return all State data to the State in a usable format as defined in the Blanket P.O. {Contract}, or in an open standards machine-readable format if not.  The Vendor {Contractor} must then erase, destroy, and render unreadable all Vendor {Contractor} copies of State data according to the standards enumerated in accordance with the State's most recent Information Disposal and Media Sanitation policy, currently 09-10-NJOIT (www.nj.gov/it/ps) and certify in writing that these actions have been completed within thirty (30) days after the termination/expiration of the Blanket P.O. {Contract} or within seven (7) days of the request of an agent of the State whichever shall come first.

## News Releases

The Vendor {Contractor} is not permitted to issue news releases pertaining to any aspect of the services being provided under this Blanket P.O. {Contract} without the prior written consent of the Director.

## Advertising

The Vendor {Contractor} shall not use the State’s name, logos, images, or any data or results arising from this Blanket P.O. {Contract} as a part of any commercial advertising without first obtaining the prior written consent of the Director.

## Licenses and Permits

The Vendor {Contractor} shall obtain and maintain in full force and effect all required licenses, permits, and authorizations necessary to perform this Blanket P.O. {Contract}.  The Vendor {Contractor} shall comply with all New Jersey Department of Labor and Workforce Development requirements. Notwithstanding the requirements of the Bid Solicitation {RFP}, the Vendor {Contractor} shall supply the SCM with evidence of all such licenses, permits and authorizations.  This evidence shall be submitted subsequent to this Blanket P.O. {Contract} award.  All costs associated with any such licenses, permits, and authorizations must be considered by the Vendor {Bidder} in its Quote {Proposal}.

A.  Vendor {Contractor} shall pay all charges of utility service companies for connections to the work, and State shall pay all charges of such companies for capital costs related thereto.  Site specific documents (e.g., discharge permits) shall be submitted prior to the issuance of a Notice to Proceed;

B.  The Vendor {Contractor} will promptly notify the State prior to and after award, of the receipt of any communication from the Assistant Administrator for Enforcement, USEPA or his or her designee, indicating that any firm or facility which he or his subcontractors propose to use for the performance of the Blanket P.O. {Contract} is under consideration to be listed on the USEPA List of Violating Facilities or has been notified of a permit violation.  The result of this disclosure may affect the Vendor’s {Contractor’s} right to use the firm or facilities; and

C.  The Vendor {Contractor} shall notify the State of any change in the condition or status of any license or permit required hereunder and of any disciplinary proceedings regarding such licenses and permits.

## Claims and Remedies

### Claims

All claims asserted against the State by the Vendor {Contractor} shall be subject to the New Jersey Tort Claims Act, N.J.S.A. 59:1-1, et seq., and/or the New Jersey Contractual Liability Act, N.J.S.A. 59:13-1, et seq.

### Remedies

Nothing in this Blanket P.O. {Contract} shall be construed to be a waiver by the State of any warranty, expressed or implied, of any remedy at law or equity, except as specifically and expressly stated in a writing executed by the Director.

### Remedies for failure to comply with material Blanket P.O. {contract} requirements

In the event that the Vendor {Contractor} fails to comply with any material Blanket P.O. {Contract} requirements, the Director may take steps to terminate this Blanket P.O. {Contract} in accordance with the SSTC,  authorize the delivery of Blanket P.O. {Contract} items by any available means, with the difference between the price paid and the defaulting Vendor’s {Contractor’s} price either being deducted from any monies due the defaulting Vendor {Contractor} or being an obligation owed the State by the defaulting Vendor {Contractor}, as provided for in the State administrative code, or take any other action or seek any other remedies available at law or in equity.

## Liquidated Damages

The Division of Purchase and Property and the Vendor {Contractor} (“the Parties”) agree that it would be extremely difficult to determine actual damages which the State of New Jersey will sustain as the result of the Vendor’s {Contractor’s} failure to meet the performance requirements. Any breach by the Vendor {Contractor} will result in a delay of completion of a task or subtask impacting the project schedule. Therefore, the Parties agree that the liquidated damages specified below are reasonable estimates of the damages the State of New Jersey may sustain from the Vendor’s {Contractor’s} performance deficiencies set forth within this section and are not to be construed as penalties.

The State has the sole discretion to determine whether liquidated damages should be assessed.

Assessment of liquidated damages shall be in addition to, and not in lieu of, such other remedies as may be available to the State of New Jersey. Except and to the extent expressly provided herein, the Division shall be entitled to recover liquidated damages under each section applicable to any given incident.

Late Delivery -  Liquidated damages of $7,000.00 per day may be assessed against the Vendor {Contractor} for each calendar day that a required deliverable is delayed beyond the date established in the accepted Project Plan.  Criteria for assessing liquidated damages and the amount of the liquidated damages must be developed by the Agency’

### NOTIFICATION OF LIQUIDATED DAMAGES

Upon determination that liquidated damages are to be assessed, the Director or the State Contract Manager will notify the Vendor {Contractor} of the assessment in writing. The availability of any period of cure will depend on the situation and will be in the sole discretion of the Director.  The Director may, in the Director’s sole discretion, elect to notify the Vendor {Contractor} that liquidated damages may be assessed so as to provide a warning, prior to assessing them in accordance with this section, but if the Director does not provide such a warning the Director is not precluded from assessing liquidated damages in accordance with this Blanket P.O. {Contract}.  Notwithstanding any provision of any Bid Solicitation {RFP} to the contrary, should there be any conflict between this section and any provision of a Bid Solicitation {RFP}, this section shall supersede such Bid Solicitation {RFP} provision to the contrary.

### CONDITIONS FOR TERMINATION OF LIQUIDATED DAMAGES

The continued assessment of liquidated damages may be terminated at the sole discretion of the Director, only if all of the following conditions are met:

- The Vendor {Contractor} corrects the condition(s) for which liquidated damages were imposed;

- The Vendor {Contractor} notifies the SCM in writing that the condition(s) has (have) been corrected; and

- The Director reviews and approves in writing the recommendation of SCM.

### SEVERABILITY OF INDIVIDUAL LIQUIDATED DAMAGES

If any portion of the liquidated damages provisions is determined to be unenforceable by a New Jersey court in one or more applications, that portion remains in effect in all applications not determined to be invalid and is severable from the invalid applications. If any portion of the liquidated damages provisions is determined to be unenforceable, the other provision(s) shall remain in full force and effect.

### WAIVER OF LIQUIDATED DAMAGES/LIQUIDATED DAMAGES NOT EXCLUSIVE REMEDY

The continued assessment of liquidated damages may be waived in writing at the sole discretion of the Director.  The waiver of any liquidated damages due to the State, shall constitute a waiver only as to such assessment of liquidated damages and not a waiver of any future liquidated damage assessments. Failure to assess liquidated damages or to demand payment of liquidated damages within any period of time shall not constitute a waiver of such claim by the State.

### PAYMENT OF LIQUIDATED DAMAGES

Once assessed pursuant to Section 5.15, liquidated damages will be deducted from any funds owed to the Vendor {Contractor} by the State, and in the event the amount due the Vendor {Contractor} is not sufficient to satisfy the amount of the liquidated damages, the Vendor {Contractor} shall pay the balance to the State of New Jersey within thirty (30) calendar days of written notification of the assessment. If the amount due is not paid in full, the balance will be deducted from subsequent payments to the Vendor {Contractor}.

## Retainage

The amount of retainage for this Blanket P.O. {Contract} is 5 percent (5%). The Using Agency shall retain the stated percentage of each invoice submitted.  The State may release all or part of the retainage at the point of substantial completion, however, sufficient retainage will be held, as determined by the NJDEP, to cover the cost of punchlist items and any liquidated or actual damages.  Final payment will be based on satisfactory completion of all punchlist items, satisfactory resolution of any damage claims and satisfactory resolution of any audit question which may arise during the State’s audit of invoices.

## Additional Work and/or Special PROJECTS

The Vendor {Contractor} shall not begin performing any additional work or special projects without first obtaining  the State Contract Manager’s recommendation and the Director’s written approval.

In the event of additional work and/or special projects, the Vendor {Contractor} must present a written Quote {Proposal} to perform the additional work to the State Contract Manager.  The Quote {Proposal} should provide justification for the necessity of the additional work.  The relationship between the additional work and the base Blanket P.O. {Contract} work must be clearly established by the Vendor {Contractor} in its Quote {Proposal}.

The Vendor’s {Contractor’s} written Quote {Proposal} must provide a detailed description of the work to be performed broken down by task and subtask.  The Quote {Proposal} should also contain details on the level of effort, including hours, labor categories, etc., necessary to complete the additional work.

The written Quote {Proposal} must detail the cost necessary to complete the additional work in a manner consistent with this Blanket P.O. {Contract}.  The written price schedule must be based upon the hourly rates, unit costs or other cost elements submitted by the Vendor {Contractor} in the Vendor’s {Contractor’s} original Quote {Proposal} submitted in response to this Bid Solicitation {RFP}.  Whenever possible, the price schedule should be a firm, fixed price to perform the required work.  The firm, fixed price should specifically reference and be tied directly to costs submitted by the Vendor {Contractor} in its original Quote {Proposal}.  A payment schedule, tied to successful completion of tasks and subtasks, must be included.

Upon receipt and approval of the Vendor’s {Contractor’s} written Quote {Proposal}, the State Contract Manager shall forward same to the Director for the Director’s written approval.  Complete documentation from the Using Agency, confirming the need for the additional work, must be submitted.  Documentation forwarded by the State Contract Manager to the Director must include all other required State approvals, such as those that may be required from the State of New Jersey’s Office of Management and Budget and Office of Information Technology.

In the event the Vendor {Contractor} proceeds with additional work and/or special projects without the Director’s written approval, it shall be at the Vendor’s {Contractor’s} sole risk.  The State shall be under no obligation to pay for work performed without the Director’s written approval.

## MODIFICATIONS AND CHANGES TO THE State of NJ STANDARD TERMS AND CONDITIONS (SSTC)

The indemnification provisions set forth in the SSTC, Section 4.1 shall prevail.

### INSURANCE - PROFESSIONAL LIABILITY INSURANCE

Section 4.2 of the SSTC regarding insurance is modified with the addition of the following section regarding Professional Liability Insurance.

- Professional Liability Insurance:  The Vendor {Contractor} shall carry Errors and Omissions, Professional Liability Insurance, and/or Professional Liability Malpractice Insurance sufficient to protect the Vendor {Contractor} from any liability arising out the professional obligations performed pursuant to the requirements of this Blanket P.O. {Contract}.  The insurance shall be in the amount of not less than $5,000,000 and in such policy forms as shall be approved by the State.  If the Vendor {Contractor} has claims-made coverage and subsequently changes carriers during the term of this Blanket P.O. {Contract}, it shall obtain from its new Errors and Omissions, Professional Liability Insurance, and/or Professional Malpractice Insurance carrier an endorsement for retroactive coverage.

### POLLUTION LIABILITY INSURANCE

In addition, Section 4.2 the SSTC is modified with the addition of the following section regarding Pollution Insurance:

Pollution Liability Insurance – The Vendor {Contractor} shall purchase and maintain Pollution Liability Insurance with minimum Limits of Liability of $10,000,000 each occurrence and $10,000,000 annual aggregate.  The Pollution Liability policy shall include bodily injury coverage, property damage coverage for physical damage to property, the cost to cleanup damaged property and the loss of the use of such damaged property.

  - This coverage may be written on a Claims Made form.  If written on a Claims Made form, then the policy date or retroactive date shall pre-date this Contract.  In addition, the Vendor {Contractor} shall maintain said coverage for a two (2) year period after final payment and shall provide the State with Certificate of Insurance evidencing said coverage throughout the period; and

  - The pollution liability policy may contain a deductible of up to $5,000 per occurrence and $10,000 aggregate in any one policy period.  Any and all deductibles in the Vendor’s {Contractor’s} insurance policies shall be assumed by and before the account of, and the sole risk of the Vendor {Contractor}.

### MAINTENaNCE OF INSURANCE

In the event the Vendor {Contractor} fails or refuses to renew any of its insurance policies to the extent required by this contract, or any policy is canceled, terminated, or modified so that the insurance does not meet the requirements of this Blanket P.O. {Contract}, the State may suspend work under the Blanket P.O. {Contract} and may, in its sole discretion (a) refuse to make payment of any further monies due under this Blanket P.O. {Contract} and provide the Vendor {Contractor} with notice of such refusal; and/or (b) terminate this Blanket P.O. {Contract} for cause.

## ACCESSIBILITY COMPLIANCE

The Vendor {Contractor} shall abide by the State's website standards and guidelines which include the mandatory accessibility information for Section 508 and Chapter 191 compliance for any web based systems.  The standards can be located at the following links:

- http://nj.gov/it/ps/07-12-NJOIT_web_accessibility_policy.pdf; and

- http://www.state.nj.us/it/ps/Web_Site_Standards_Guidelines.pdf.

## BLANKET P.O. {Contract} Activity Report

Not applicable to this procurement.

## ELECTRONIC PAYMENTS

With the award of this Blanket P.O. {Contract}, the successful Vendor(s) {Contractor(s)} will be required to receive its payment(s) electronically.  In order to receive your payments via automatic deposit from the State of New Jersey, complete and return the “Credit Authorization Agreement for Automatic Deposits (ACH Credits)” Form with an original voided check or bank letter.  The form must include ABA number (routing or transit number), bank account number, and if the bank account is a checking or savings account. The form and instructions are located on the Office of Management & Budget’s website at:   http://www.state.nj.us/treasury/omb/forms/index.shtml.  The completed form along with the required voided check or bank letter should be mailed or faxed to: Department of the Treasury, Office of Management and Budget, PO Box 221, 6TH Floor – Room 674, Trenton, N.J. 08625-0221; fax:  (609)-984-5210. To assist in identifying payments, the State offers Vendors {Contractors} access to the Vendor Payment Inquiry web application (VPI) which offers check stub information online.  Contact the State of New Jersey at AAIUNIT@treas.nj.gov to request access to this application.

## PROGRAM EFFICIENCY ASSESSMENT FOR STATE USING AGENCIES

The Program Efficiency Assessment shall not be charged against the winning Vendor {Contractor} and therefore is not to be included in the Vendor’s {Bidder’s} pricing. The State Using Agencies shall be charged an assessment equal to one-quarter of one percent (0.25%) of the value of all transactions under this Blanket P.O. {Contract}.  This assessment is authorized by N.J.S.A. 52:27B-56 and N.J.A.C. 17:12-1.5, to maintain the State’s procurement system at a level to meet industry standards of efficiency.

For purposes of this section, “transaction” is defined as the payment or remuneration to the Vendor {Contractor} for services rendered or products provided to the State pursuant to the terms of this Blanket P.O. {Contract}, including but not limited to the following: purchase orders, invoices, hourly rates, firm fixed price, commission payments, progress payments and contingency payments.

## BLANKET P.O. {CONTRACT} DOCUMENTS – INTENT, USE, REUSE

- The Blanket P.O. {Contract} Documents are complementary; what is called for by one is as binding as if called for by all.  If, during the performance of the work, the Vendor {Contractor} finds a conflict, error or discrepancy in the Blanket P.O.{Contract} Documents, it shall report it to the SCM in writing at once and before proceeding with the work affected thereby;

- The Vendor {Contractor} shall not apply the precedence specified above in Section 5.1 on its own, but shall report such conflicts, ambiguities, errors or discrepancies to the SCM, who shall interpret the intent of the Blanket P.O. {Contract} Documents pursuant to Section 5.1 and the intent of the design;

- The specifications and drawings shall describe a complete Project (or part thereof) to be constructed in accordance with the Blanket P.O. {Contract}. Any work that may reasonably be inferred from the specifications or drawings as being required shall be supplied whether or not it is specifically called for, at no additional cost to State;

- The specifications may describe or the drawings may show the general arrangement of an item of material or equipment when the actual details of said arrangement as proposed and supplied by that Blanket P.O. {Contract} vary with the source of the material or equipment.  In such cases, the Vendor {Contractor} shall bear all direct and indirect costs to accommodate the item of material or equipment furnished, whether the item of material or equipment is furnished by a manufacturer named in the specifications or is furnished as an approved substitute or "or equal" item of material or equipment;

- When words in the specifications or on the drawings, which have a commonly accepted or technical or trade meaning, are used to describe work, materials or equipment, such words shall be interpreted in accordance with such meaning.  Reference to standard specifications, manuals or codes of any technical society, organization or association, or to the code of any governmental authority, whether such reference be specific or by implication, shall mean the latest standard specification, manual or code in effect one week prior to the time of opening of Bids, except as may be otherwise specifically stated.  However, no provision of any referenced standard specification, manual or code (whether or not specifically incorporated by reference in the Blanket P.O. {Contract} Documents) shall change the duties and responsibilities of State, Construction Manager, Vendor {Contractor} or Engineer, or any of their agents or employees from those set forth in the Blanket P.O. {Contract} Documents.  Clarifications and interpretations of the Blanket P.O {Contract} Documents shall be issued by the SCM.

- The information required to be submitted with the Quote {Proposal} is intended to be used in evaluating the Vendor’s {Contractor's} understanding of the project and responsiveness to the requirements of the project.  Deviations from the Quote {Proposal} documents proposed in the Vendor’s {Contractor's} Quote {Proposal} shall not relieve the Vendor {Contractor} from responsibility for compliance with the drawings and the specifications nor will they be deemed a change in the requirements or terms of the Blanket P.O. {Contract} Documents; and

- Neither Vendor {Contractor} nor any subcontractor, manufacturer, fabricator, supplier or distributor shall have or acquire any title to or ownership rights in any of the drawings, specifications or other documents (or copies of any thereof) prepared by the State or Engineer or bearing the seal of the Engineer; and they shall not re-use any of them on extensions of the Project or any other project without written consent of State and Engineer and specific written verification or adaptation by the Engineer.

## BLANKET P.O. {CONTRACT} PRICE UNDER CHANGE ORDERS/AMENDMENTS

### CHANGE IN BLANKET P.O.{CONTRACT} PRICE

The Blanket P.O. {Contract} Price constitutes the total compensation payable to Vendor {Contractor} for performing the work.  All duties, responsibilities and obligations assigned to or undertaken by Vendor {Contractor} shall be at its expense without change in the Blanket P.O. {Contract} Price.

The Blanket P.O. {Contract} Price may be increased only by a Change Order {Contract Amendment} approved by the Director.  Any request for an increase in the Blanket P.O. {Contract} Price shall be based on written notice of the estimated amounts of the request delivered to CM and Engineer within fifteen (15) days of the occurrence of the event giving rise to the request. Notice of the final amount of the request with detailed supporting data shall be delivered within forty-five (45) days of such occurrence unless the State allows an additional period of time to ascertain accurate cost data.

The value of any work covered by a Change Order {Contract Amendment} or of any claim for an increase or decrease in the Blanket P.O. {Contract} Price shall be determined in one of the ways listed herein:

- At the State’s discretion, where the Work involved is covered by unit prices contained in the Blanket P.O. {Contract} Documents, by application of unit prices to the quantities of the items involved;

- By mutual acceptance of a lump sum or of unit prices where none exist in the Blanket P.O. {Contract} or where the State determines that the unit prices in the Blanket P.O. {Contract} are not applicable to the Change Order {Contract Amendment}; and

- On the basis of the "Cost of the Work" (determined as provided in Section 5.24.1.1) plus a Contractor’s Fee for overhead and profit (determined as provided in Section 5.24.1.2). Whenever the "Cost of the Work" is to be determined pursuant to Sections 5.24.1.1 or 5.24.1.2, Contractor will submit in a form acceptable to Engineer and SCM, an itemized cost breakdown together with supporting data.

#### Cost of the Work

- The term "Cost of the Work" means the sum of all costs necessarily incurred and paid by Vendor {Contractor} in the proper performance of the work.  Such costs shall be at rates and prices no higher than those prevailing in the locality of the Project, shall include only the following items and shall not include any of the costs itemized in Bid Solicitation {RFP} Section 5.24.1.1.B:

  - Payroll costs for employees in the direct employ of Vendor {Contractor} in the performance of the work.  Payroll costs for employees not employed full time on the work shall be apportioned on the basis of their time spent on the work.  Payroll costs shall be limited to, salaries and wages plus the cost of social security contributions, unemployment, excise and payroll taxes, workers' or workmen's compensation, health and retirement benefits, bonuses, sick leave, vacation and holiday pay applicable thereto.  Such employees shall be limited to those involved in the direct performance and supervision of the work up to and including the level of foreman.  The expenses of performing work after regular working hours, on Saturday, Sunday or legal holidays shall be included in the above to the extent such overtime work was authorized by the SCM;

  - Cost of all materials and equipment furnished and incorporated in the work, including costs of transportation and storage thereof, and manufacturers' field services required in connection therewith.  All trade discounts, rebates and refunds, and all returns from sale of surplus materials and equipment shall  be credited to NJDEP on the Vendor’s {Contractor’s} invoices, and the Vendor {Contractor} shall make provisions so that they may be obtained;

3.	Costs of special consultants (including, but not limited to, engineers, architects, testing laboratories and surveyors) employed for services specifically related to the work; and

4.	Rentals of all construction equipment and machinery and the parts thereof whether rented from Vendor {Contractor} (owned) or others in accordance with rental agreements (leased) approved by SCM with the advice of Engineer, and the costs of transportation, loading, unloading, installation, dismantling and removal thereof all in accordance with terms of said rental agreements. The rental of any such equipment, machinery or parts shall cease when the use thereof is no longer necessary for the work.  Equipment rates are not to exceed rates presented in the most current Rental Rate Blue Book for Construction Equipment published by McGraw Hill Corporation, (available by subscription on Construction.com).  The hourly rate used will be the monthly rate divided by 176 (unadjusted by any predominate area adjustment percentage).  The Blue Book hourly, daily, and weekly rates will not be used.

Equipment costs are also subject to the following limitations:  Payment will be made for operating costs as specified in the Blue Book for every hour the machinery or equipment is operating.  Whenever equipment had been ordered held on the project on a standby basis, half-time rates by the Engineer or State for equipment will be paid for such standby time during normal working hours not to exceed eight (8) hours in any twenty-four (24)-hour period; and

- All equipment used shall be in good operating condition.  Transportation charges for each piece of equipment to and from the site of the work will be paid provided that:

- The equipment is obtained from the nearest SCM approved source;

- Return charges do not exceed delivery charges;

- Haul rates do not exceed the established rate of licensed haulers; and

- Charges are restricted to those units of equipment not already available and on or near the project.

5.	Vendor’s {Contractor's} itemized cost breakdown shall make a clear distinction between the direct costs of work paid for under this section and the costs of other work.  The Vendor {Contractor} shall furnish the SCM with report sheets in duplicate of each day's cost of the work no later than the working day following the execution of said work.  The daily reports sheets shall itemize the material used and shall cover the direct cost of labor and the charges for equipment. The daily report sheets shall provide name or identifications and classifications of workers; the hourly rates of pay and hours worked; and also the sizes, types, and identification number of equipment and hours operated.  Materials charges shall be substantiated by copies of Vendor’s {Contractor’s} invoices. Such invoices shall be submitted with the daily report sheets, or if not available, they shall be submitted with subsequently issued daily report sheets.  Said daily report sheets shall be signed by the Vendor {Contractor} or his authorized agent.

B. The term "Cost of the Work" shall not include any of the following:

- Payroll costs and other compensation of Vendor’s {Contractor's} officers, executives, principals (of partnership and sole proprietorships), general managers, engineers, architects, estimators, lawyers, auditors, accountants, purchasing and contracting agents, expediters, timekeepers, clerks and other personnel employed by Vendor {Contractor} whether at the site or in its principal or a branch office for general administration of the work, all of which are to be considered administrative costs covered by the Vendor’s {Contractor's} Fee;

- Expenses of Vendor’s {Contractor's} principal, branch and site offices;

- Any part of Vendor’s {Contractor's} capital expenses, including interest on Vendor’s {Contractor's} capital employed for the work and charges against Vendor {Contractor} for delinquent payments;

- Cost of premiums for all Bonds and for all insurance whether or not Vendor {Contractor} is required by the Blanket P.O. {Contract} Documents to purchase and maintain the same (except for additional Bonds and insurance required because of changes in the work);

- Costs due to the negligence of Vendor {Contractor}, any subcontractor, or anyone directly or indirectly employed by any of them or for whose acts any of them may be liable, including but not limited to, the correction of defective work, disposal of materials or equipment wrongly supplied and making good any damage to property;

- Other overhead or general expense costs of any kind and the costs of any item not specifically and expressly included in Section 5.24.1.1.A; and

- No additional allowance shall be made for general superintendence of the changed work.

#### vendor’s {CONTRACTOR'S} Fee

- The Vendor’s {Contractor’s} Fee allowed to Vendor {Contractor} for overhead and profit shall be determined as follows:

1. A fee based on the following percentages of the various portions of the cost of the work:

  - For costs incurred under Section 5.24.1.1.A.1 and Section 5.24.1.1.A.2, the Vendor’s {Contractor's} Fee shall not exceed a total of twenty (20) percent;

  - For costs incurred under Section 5.24.1.1.A.3 and Section 5.24.1.1.A.4, the Vendor {Contractor's} Fee shall not exceed a total of five percent (5%) for both overhead and profit regardless of the number of tiers of subcontractors involved in the work. No additional percentage mark-up for any additional tiers of subcontractors beyond one tier will be allowed:

  - These percentages shall be deemed to include but not be limited to heat, light, bond or bonds, insurance, use and upkeep of small hand tools, administration, engineering, field and office superintendence, home office and site overhead, extended requirements, taxes, all loss, damage, risk, and expenses incidental to the work and profit.  These percentages are applicable to all changes, increasing the direct cost of the work, including those changes that require an extension of time.  The Vendor {Contractor} shall have no claim in excess of the above, such payments being in full compensation for the performance of such work and the furnishing of such materials and for all expenses in connection therewith and incidental thereto;

  - No fee shall be payable for costs itemized under Section 5.24.1.1.A.4 and Section 5.24.1.1.A.5;

  - The amount of credit to be allowed by Vendor {Contractor} to State for any such change which results in a net decrease in cost, will be the amount of the net decrease plus a deduction in Vendor’s {Contractor’s} Fee by an amount equal to ten percent (10%) of the net decrease; and

f.  When both additions and credits are involved in any one change, the adjustment in Vendor’s {Contractor’s} Fee shall be computed on the basis of the net-change in accordance with Section 5.24.1.2.A.1.a through Section 5.24.1.2.A.1.f, inclusive.

#### Price Reduction for Termination or Reduction in Scope

Where less than the entire Blanket P.O. {Contract} is performed as a result of the Director’s determination to reduce or terminate the Blanket P.O. {Contract} for convenience, then:

A.	For each lump sum, fixed price or unit price Bid Item satisfactorily completed by the Vendor {Contractor}, the Vendor {Contractor} will be paid the lump sum, fixed price, or unit price designated for that Bid Item; and

B. 	For each lump sum, fixed price or unit price-Bid Item which has been partially completed the Vendor {Contractor} will be paid a percentage of the lump sum, fixed price bid, or unit price equal to the percentage of work-satisfactorily completed.

## CHANGES IN blanket p.o. {CONTRACT] TIME

### REQUIRED NOTICE

The Blanket P.O. {Contract} Time may only be changed by a Change Order {Contract Amendment}.  The Vendor {Contractor} must notify the SCM forthwith of any event which may give rise to a delay or delay claim, and in any event any claim by the Vendor {Contractor} for an extension in the Blanket P.O. {Contract} Time shall be based on written notice delivered to the SCM within seven (7) days of the occurrence of the event giving rise to the claim.  Notice of the extent of the claim with detailed supporting data shall be delivered within thirty (30) days of such occurrence unless the Vendor {Contractor} requests and the SCM allows an additional period of time to ascertain more accurate data.  All claims for adjustment in the Blanket P.O. {Contract} Time shall be determined by the .Director.  Any change in the Blanket P.O. {Contract} Time resulting from any such claim shall be incorporated into a Change Order {Contract Amendment} upon Director approval.

### blanket P.O. {CONTRACT} TIME AND UNANTICIPATED DELAYS

The Blanket P.O. {Contract} time will, at the sole discretion of the Director, and subject to the provisions of Section 5.2, be extended in an amount equal to time lost due to any delay that both could not have been anticipated by the Vendor {Contractor} and beyond the control of Vendor {Contractor} if a claim is made in accordance with Section 5.25.1.  Such delays shall include, but not be limited to, acts of neglect by the State or others performing additional work as contemplated by Bid Solicitation {RFP} Section 8.4, or to fires, floods, labor disputes, epidemics, abnormal weather conditions, or acts of God.  No extension of the Blanket P.O. {Contract} Time will be granted where the delay is attributable to a subcontractor, manufacturer, fabricator, supplier or distributor or any other party performing services or furnishing material or equipment on behalf of the Vendor {Contractor} unless such party's delay is attributable to one of the above enumerated causes.  No extension shall be made where the delay is caused by the fault or negligence of the Vendor {Contractor}; or the performance would have been so suspended, delayed or interrupted by any other cause, including the fault or negligence of the Vendor {Contractor}; or an adjustment is provided for or excluded under any other provision of the Blanket P.O. {Contract}; or the delay was such as could reasonably be expected by the Vendor {Contractor} as part of a project of this sort and therefore should have been anticipated in its Quote {Proposal}.

### SUBSTANTIAL COMPLETION AND FINAL COMPLETION: TIME LIMITS

The time limits concerning Substantial Completion (see Section 2.3 definition) and Final Completion as stated in the Blanket P.O. {Contract} Documents are of the essence and the State shall be entitled to damages if the Vendor {Contractor} exceeds those time limits unless the contract time is duly changed by an Change Order {Contract Amendment}.

### compensation for EXTENSION OF THE blanket p.o. {CONTRACT} TIME OR DELAYS

An extension of the Blanket P.O. {Contract} time or delays of the Blanket P.O. {Contract} shall not entitle the Vendor {Contractor} to additional compensation for delay unless the delay was caused directly and solely by the State's negligence, bad faith, active interference, or other tortious conduct, and unless the delay caused the Vendor {Blanket P.O. {Contract}or} to exceed the Blanket P.O. {Contract} time for Substantial or Final Completion.  The Vendor {Contractor} shall not be entitled to damages for any delay occurring as a consequence of a delay in additional work being performed by others pursuant to Bid Solicitation {RFP} Section 8.4 hereof if the performance of said additional work was noted in the Blanket P.O. {Contract} Documents and the delay (by others) was not directly and solely caused by the fault of State.  The Vendor {Contractor} shall not in any case be entitled to damages from the State for delays caused by the negligence of others;

### ADDITIONAL COMPENSATION

The Vendor {Contractor} shall not be entitled to any additional compensation for delays or extensions of the Blanket P.O. {Contract} time where the delay or extension was caused by a Change Order {Contract Amendment} for work paid by unit prices in the Blanket P.O. {Contract} or paid by prices otherwise ascertained under Bid Solicitation {RFP} Section 5.24 herein.

Where the Vendor {Contractor} is entitled to additional compensation for delays or Blanket P.O. {Contract} extensions, the compensation shall include only the actual costs of the Vendor {Contractor} and shall not include any profit.

### EXTENSION OF blanket P.O. {CONTRACT} TIME DUE TO WEATHER

If abnormal weather conditions are the basis for a request for additional time, such request shall be documented by data substantiating that weather conditions were unusually severe for the period of time and could not have been reasonably anticipated, and that weather conditions had an adverse effect on the scheduled construction completion date.  Time extensions for weather conditions reasonably anticipated will not be granted.

Requests for extensions of construction time due to adverse weather conditions shall include National Oceanic and Atmospheric Administration Climatological Reports for the nearest reporting station for the months involved plus a report indicating the average precipitation, temperature, etc., for the past ten (10) years from the nearest reporting station.  The ten (10)-year average will be the basis for determining the number of adverse weather days and the effect resulting therefrom on construction which the Vendor {Contractor} would normally expect to encounter.  Extension of time may be requested for any month of construction for days lost due to adverse weather in excess of the normally expected lost time; provided, however, if the State determines that the seasonal average of adverse weather days during construction is less than would be normally expected, no Change Order {Contract Amendment} shall be issued and the request for extension of time shall be denied.

### COMPENSABLE COSTS CAUSED BY STATE DELAY AND REIMBURSABLE TO THE vendor {CONTRACTOR}

Only the following types of compensable costs caused by a delay solely attributable to the State are reimbursable to the Vendor {Contractor}:

A.  Field or site costs that are extended due to the increase in the Blanket P.O. {Contract} time such as, but not limited to:

1.  Office trailers and storage;

2.  Office equipment;

3.  Sanitary facilities;

4.  Utilities;

5.  Non-manual labor and supervision;

6.  Security;

7.  Internet; and

8.  Barricades and protective equipment.

B.  Standby costs as defined in Section 5.24.1.1.A.4 for equipment already on the site, with the approval of the State is continued to be required at the site; and

C.  A mark-up of ten percent (10%) on the direct costs of items listed in A above only.  This mark-up includes all other indirect costs and overheads including requests for unabsorbed or under absorbed home (or branch) office overhead.  NO OTHER COMPENSATION FOR EXTENDED HOME OFFICE OVERHEAD WILL BE ALLOWED.  No profit will be allowed on costs paid under this Blanket P.O. {Contract} provision.

### ACCELERATION OF WORK

  - In the event of delay, the SCM may direct that the work be accelerated by means of overtime, additional crews or additional shifts or re-sequencing of the work.  Vendor {Contractor} agrees to perform same, and if such delay shall not be the fault of Vendor {Contractor}, Vendor {Contractor} shall be entitled to reimbursement by State for cost as a result of such acceleration (i.e., premium portion of overtime pay, additional crew, shift or equipment cost and such other items of incremental cost requested in advance by Vendor {Contractor} and approved by State, which approval will not be unreasonably withheld) less savings or costs not incurred due to such acceleration, but Vendor {Contractor} expressly waives any other compensation thereof. In no event shall disruption or inefficiency labor costs be compensable.  In the event of any acceleration requested pursuant to this Section, Vendor {Contractor} shall promptly provide a plan for such acceleration, including his recommendations for the most effective and economical acceleration;

  - SCM shall also have the right to direct that the work be accelerated by means of overtime, additional crews or additional shifts or re-sequencing of the work notwithstanding that the work is progressing without delay in accordance with the established Project Schedule.  Contractor agrees to perform same on the basis of reimbursement of direct costs (i.e., premium portion of overtime pay, additional crew, shift or equipment cost and such other items of cost requested in advance by Vendor {Contractor} and approved by SCM, which approval will not be unreasonably withheld) less savings or costs not incurred due to such acceleration, but Vendor {Contractor} expressly waives any other compensation therefore unless otherwise agreed in writing in advance of performing the acceleration work.  In no event shall disruption or inefficiency labor costs be compensable.  The State shall have the right reasonably to audit Vendor {Contractor} calculated savings or costs not incurred due to State’s acceleration.  Vendor {Contractor} shall promptly provide a plan for such acceleration, including his recommendations for the most effective and economical acceleration;

  - Any acceleration of the work not specifically requested by the State in writing shall be at Vendor’s {Contractor’s} sole cost and expense;

  - No extension of time will be granted to the Vendor {Contractor} unless the critical path analysis required in the scheduling provision herein is included in the supporting data; and

  - No subcontractor or supplier shall be entitled to separate extension of time from the State.

F.	Changes required under this Section will require Director approval as a Change Order {Contract Amendment}.

# QUOTE {PROPOSAL} EVALUATION

## RIGHT TO WAIVE

The Director reserves the right to waive minor irregularities or omissions in a Quote {Proposal}.  The Director also reserves the right to waive a requirement provided that the requirement does not materially affect the procurement or the State's interests associated with the procurement.

## DIRECTOR’S RIGHT OF FINAL Quote {Proposal} ACCEPTANCE

The Director reserves the right to reject any or all Quotes {Proposals}, or to award in whole or in part if deemed to be in the best interest of the State to do so. The Director shall have authority to award orders or Blanket P.O.s {Contracts} in accordance with N.J.S.A. 52:34-12. Tie Quotes {Proposals} will be awarded by the Director in accordance with N.J.A.C.17:12-2.10.

## STATE'S RIGHT TO INSPECT VENDOR (BIDDER) FACILITIES

The State reserves the right to inspect the Vendor’s {Bidder’s} establishment before making an award, for the purposes of ascertaining whether the Vendor {Bidder} has the necessary facilities for performing the Blanket P.O. {Contract}.

The State may also consult with clients of the Vendor {Bidder} during the evaluation of Quotes {Proposals}. Such consultation is intended to assist the State in making a Blanket P.O. {Contract} award that is most advantageous to the State.

## STATE'S RIGHT TO REQUEST FURTHER INFORMATION

The Director reserves the right to request all information which may assist him or her in making a Blanket P.O. {Contract} award, including factors necessary to evaluate the Vendor’s {Bidder’s} financial capabilities to perform the Blanket P.O. {Contract}.  Further, the Director reserves the right to request a Vendor {Bidder} to explain, in detail, how the Quote {Proposal} price was determined.

## QUOTE {Proposal} Evaluation Committee

Quotes {Proposals} may be evaluated by an Evaluation Committee composed of members of affected departments and agencies together with representative(s) from the Division.  Representatives from other governmental agencies may also serve on the Evaluation Committee.  On occasion, the Evaluation Committee may choose to make use of the expertise of outside consultant(s) in an advisory role.

## Oral Presentation and/or Clarification of Quote {Proposal}

After the submission of Quotes {Proposals}, unless requested by the State as noted below, Vendor {Bidder} contact with the State is still not permitted.

After the Quotes {Proposals} are reviewed, one, some or all of the Vendors {Bidders} may be asked to clarify certain aspects of its Quotes {Proposals}.  A request for clarification may be made in order to resolve minor ambiguities, irregularities, informalities or clerical errors.  Clarifications cannot correct any deficiencies or material omissions, or revise or modify a Quote {Proposal}, except to the extent that correction of apparent clerical mistakes results in a modification.

The Vendor {Bidder} may be required to give an oral presentation to the State concerning its Quote {Proposal}.

A Vendor {Bidder} may not attend the oral presentations of its competitors.

It is within the State’s discretion whether to require the Vendor {Bidder} to give an oral presentation or require the Vendor {Bidder} to submit written responses to questions regarding its Quote {Proposal}.  Action by the State in this regard should not be construed to imply acceptance or rejection of a Quote {Proposal}. The Division will be the sole point of contact regarding any request for an oral presentation or clarification.

## Evaluation Criteria

The following evaluation criteria categories, not necessarily listed in order of significance, will be used to evaluate Quotes {Proposals} received in response to this Bid Solicitation {RFP}.  The evaluation criteria categories may be used to develop more detailed evaluation criteria to be used in the evaluation process.

### evaluation criteria

- Grand Total Price based on the Price Schedule/Sheet; and

- The Vendor’s {Bidder’s} qualifications to perform the scope of work in this Bid Solicitation {RFP} will be evaluated based on the responses to the criteria listed on Attachment 6 – Vendor {Bidder} Information and Qualification Statement. Responses include documented and demonstrated successful experience including past performance.

### Vendor’S {Bidder’s} Price schedule

For evaluation purposes, Vendors {Bidders} will be ranked from lowest to highest according to the total Quote {Proposal} price located on the Price Schedule/Sheet accompanying this Bid Solicitation {RFP}.

### QUOTE (PROPOSAL) discrepancies

In evaluating Quotes {Proposals}, discrepancies between words and figures will be resolved in favor of words.  Discrepancies between unit prices and totals of unit prices will be resolved in favor of unit prices.  Discrepancies in the multiplication of units of work and unit prices will be resolved in favor of the unit prices.  Discrepancies between the indicated total of multiplied unit prices and units of work and the actual total will be resolved in favor of the actual total.  Discrepancies between the indicated sum of any column of figures and the correct sum thereof will be resolved in favor of the correct sum of the column of figures.

In the event that a Vendor {Bidder} using NJSTART to submit a Quote {Proposal} uploads a price sheet/schedule attachment and completes the “Items” Tab in NJSTART (instead of entering a Unit Cost of $1.00 as instructed), the price sheet/schedule attachment will govern.

### Evaluation of the QUOTES {Proposals}

After the Evaluation Committee completes its evaluation, it recommends to the Director for award the responsible Vendor(s) {Bidder(s)} whose Quote {Proposal}, conforming to this Bid Solicitation {RFP}, is most advantageous to the State, price and other factors considered. The Evaluation Committee considers and assesses price, technical criteria, and other factors during the evaluation process and makes a recommendation to the Director.  The Director may accept, reject or modify the recommendation of the Evaluation Committee. Whether or not there has been a negotiation process as outlined in Section 6.8 below, the Director reserves the right to negotiate price reductions with the selected Vendor {Bidder}.

## Negotiation and Best and Final Offer (BAFO)

In accordance with N.J.S.A. 52:34-12(f) and N.J.A.C. 17:12-2-7, after evaluating Quotes {Proposals}, the Division may establish a competitive range and enter into negotiations with one Vendor {Bidder} or multiple Vendors {Bidders} within this competitive range.  The primary purpose of negotiations is to maximize the State’s ability to obtain the best value based on the mandatory requirements, evaluation criteria, and cost.  Multiple rounds of negotiations may be conducted with one Vendor {Bidder} or multiple Vendors {Bidders}.  Negotiations will be structured by the Division to safeguard information and ensure that all Vendors {Bidders} are treated fairly.

Similarly, the Division may invite one Vendor {Bidder} or multiple Vendors {Bidders} to submit a Best and Final Offer (BAFO). Said invitation will establish the time and place for submission of the BAFO. Any BAFO that does not result in more advantageous pricing to the State will not be considered, and the State will evaluate the Vendor’s {Bidder’s} most advantageous previously submitted pricing.

If required, after review of the BAFO(s), clarification may be sought from the Vendor(s) {Bidder(s)}.  The Division may conduct more than one round of negotiation and/or BAFO in order to attain the best value for the State.

After evaluation of Quotes {Proposals} and as applicable, negotiation(s), and/or BAFO(s), the Division will recommend, to the Director, the responsible Vendor(s) {Bidder(s)} whose Quote(s) {Proposal(s)}, conforming to the Bid Solicitation {RFP}, is/are most advantageous to the State, price, and other factors considered. The Director may accept, reject or modify the recommendation of the Division. The Director may initiate additional negotiation or BAFO procedures with the selected Vendor(s) {Bidder(s)}.

Negotiations will be conducted only in those circumstances where they are deemed by the Division or Director to be in the State’s best interests and to maximize the State’s ability to get the best value.  Therefore, the Vendor {Bidder} is advised to submit its best technical and price Quote {Proposal} in response to this Bid Solicitation {RFP} since the State may, after evaluation, make a Blanket P.O. {Contract} award based on the content of the initial submission, without further negotiation and/or BAFO with any Vendor {Bidder}.

All contacts, records of initial evaluations, any correspondence with a Vendor {Bidder} related to any request for clarification, negotiation or BAFO, any revised technical and/or price Quotes {Proposals}, the Evaluation Committee Report and the Award Recommendation, will remain confidential until a Notice of Intent to Award a Blanket P.O. {Contract} is issued.

If the Division contemplates negotiation, Quote {Proposal} prices will not be publicly read at the Quote {Proposal} opening.  Only the name and address of each Vendor {Bidder} will be publicly announced at the Quote {Proposal} opening.

## “REQUEST FOR REVISION” WITHIN NJSTART

The State may request a revision of the Vendor’s {Bidder’s} Quote {Proposal} within NJSTART. The Vendor {Bidder} shall respond to the “Request for Revision” (e.g., to reduce pricing if a BAFO is requested) only for the reason(s) identified by the State. Any changes made by a Vendor {Bidder} to the Quote {Proposal} other than as requested by the State shall be considered null and void.

## POOR PERFORMANCE

A Vendor {Bidder} with a history of performance problems may be bypassed for consideration of an award issued as a result of this Bid Solicitation {RFP}.  The following materials may be reviewed to determine Vendor {Bidder} performance:  Blanket P.O. {Contract} cancellations for cause pursuant to Section 5.7(b) of the SSTC; information contained in Vendor performance records; information obtained from audits or investigations conducted by a local, state or federal agency of the Vendor’s {Bidder’s} work experience; current licensure, registration, and/or certification status and relevant history thereof; or its status or rating with established business/financial reporting services, as applicable.  Vendors {Bidders} should note that this list is not exhaustive.

# BLANKET P.O. {CONTRACT} AWARD

## DOCUMENTS REQUIRED BEFORE BLANKET P.O. {CONTRACT} AWARD

### Requirements of Public Law 2005, CHAPTER 51, N.J.S.A. 19:44A-20.13 - N.J.S.A. 19:44A-20.25 (Formerly Executive Order NO. 134), EXECUTIVE ORDER No. 117 (2008) and N.J.A.C. 17:12-5 et seq.

- The State shall not enter into a Blanket P.O. {Contract} to procure services or any material, supplies or equipment, or to acquire, sell, or lease any land or building from any Business Entity, where the value of the transaction exceeds $17,500, if that Business Entity has solicited or made any contribution of money, or pledge of contribution, including in-kind contributions, to a candidate committee and/or election fund of any candidate for or holder of the public office of Governor or Lieutenant Governor, to any State, county, municipal political party committee, or to any legislative leadership committee during certain specified time periods.

- Prior to awarding any Blanket P.O. {Contract} or agreement to any Business Entity, the Business Entity proposed as the intended awardee of the Blanket P.O. {Contract} shall submit the Two-Year Chapter 51/Executive Order 117 Vendor Certification and Disclosure of Political Contributions, certifying that no contributions prohibited by either Chapter 51 or Executive Order No. 117  have been made by the Business Entity and reporting all contributions the Business Entity made during the preceding four (4) years to any political organization organized under 26 U.S.C.527 of the Internal Revenue Code that also meets the definition of a “continuing political committee” within the means of N.J.S.A. 19:44A-3(n) and N.J.A.C. 19:25-1.7. The required form and instructions, available for review on the Division’s website at http://www.state.nj.us/treasury/purchase/forms/eo134/Chapter51.pdf, shall be provided to the intended awardee for completion and submission to the Division with the Notice of Intent to Award. Upon receipt of a Notice of Intent to Award a Blanket P.O. {Contract}, the intended awardee shall submit to the Division, in care of the Division Procurement Specialist, the Certification and Disclosure(s) within five (5) business days of the State’s request. Failure to submit the required forms will preclude award of a Blanket P.O. {Contract} under this Bid Solicitation {RFP}, as well as future Blanket P.O. {Contract} opportunities.

- Further, the Vendor {Contractor} is required, on a continuing basis, to report any contributions it makes during the term of the Blanket P.O. {Contract}, and any extension(s) thereof, at the time any such contribution is made. The required form and instructions, available for review on the Division’s website at http://www.state.nj.us/treasury/purchase/forms/eo134/Chapter51.pdf, shall be provided to the intended awardee with the Notice of Intent to Award.

The Two-Year Chapter 51/Executive Order 117 Vendor Certification and Disclosure of Political Contributions form is located on the Division’s website. The form is also available in NJSTART.

Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation {RFP} through NJSTART. QRGs are located on the NJSTART Vendor Support Page.

Vendors {Bidders} should verify its Chapter 51 Compliance status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} Chapter 51 Compliance status, NJSTART provides a link to take corrective action.

### SOURCE DISCLOSURE REQUIREMENTS

Pursuant to N.J.S.A. 52:34-13.2, all Blanket P.O.s {Contracts} primarily for services awarded by the Director shall be performed within the United States, except when the Director certifies in writing a finding that a required service cannot be provided by a Vendor {Contractor} or Subcontractor within the United States and the certification is approved by the State Treasurer.  Also refer to Section 3.6 Service Performance Within U.S. of the SSTC.

Pursuant to the statutory requirements, the intended awardee of a Blanket P.O. {Contract} primarily for services with the State of New Jersey must disclose the location by country where services under the Blanket P.O. {Contract}, including subcontracted services, will be performed.  The Source Disclosure Form accompanies the subject Bid Solicitation {RFP}.  FAILURE TO SUBMIT SOURCING INFORMATION WHEN REQUESTED BY THE STATE SHALL PRECLUDE AWARD OF A BLANKET P.O. {CONTRACT} TO THE VENDOR (BIDDER).

If any of the services cannot be performed within the United States, the Vendor {Bidder} shall state with specificity the reasons why the services cannot be so performed.  The Director shall determine whether sufficient justification has been provided by the Vendor {Bidder} to form the basis of his or her certification that the services cannot be performed in the United States and whether to seek the approval of the Treasurer.

The Source Disclosure Form is located on the Division’s website. The form is also available in NJSTART. Vendors {Bidders} may refer to the QRGs “Vendor Forms” and “Attaching Files” for instructions on submitting the forms required by this section of the Bid Solicitation {RFP} through NJSTART. QRGs are located on the NJSTART Vendor Support Page.

#### BREACH OF BLANKET P.O. {CONTRACT}

A SHIFT TO PROVISION OF SERVICES OUTSIDE THE UNITED STATES DURING THE TERM OF THE BLANKET P.O. {CONTRACT} SHALL BE DEEMED A BREACH OF BLANKET P.O. {CONTRACT}.  If, during the term of the Blanket P.O. {Contract}, the Vendor {Contractor} or Subcontractor, who had upon Blanket P.O. {Contract} award declared that services would be performed in the United States, proceeds to shift the performance of any of the services outside the United States, the Vendor {Contractor} shall be deemed to be in breach of its Blanket P.O. {Contract}. Such Blanket P.O. {Contract} shall be subject to termination for cause pursuant to Section 5.7b.1 of the SSTC, unless such shift in performance was previously approved by the Director and the Treasurer.

### AFFIRMATIVE Action

The intended awardee must submit a copy of a New Jersey Certificate of Employee Information Report, or a copy of Federal Letter of Approval verifying it is operating under a federally approved or sanctioned Affirmative Action program.   Intended awardee(s) not in possession of either a New Jersey Certificate of Employee Information Report or a Federal Letter of Approval  must complete the Affirmative Action Employee Information Report (AA-302) located on the web at http://www.nj.gov/treasury/purchase/forms/AA_%20Supplement.pdf.

Vendors {Bidders} should verify its Affirmative Action Compliance status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} Affirmative Action Compliance status, NJSTART provides a link to take corrective action.

### BUSINESS REGISTRATION

In accordance with N.J.S.A. 52:32-44(b), a Vendor {Bidder} and its named Subcontractors must have a valid Business Registration Certificate (“BRC”) issued by the Department of the Treasury, Division of Revenue and Enterprise Services prior to the award of a Blanket P.O. {Contract}.  See Section 4.4.2.1 of this Bid Solicitation {RFP} for further information.

Vendors {Bidders} should verify its Business Registration Certification Active status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} Business Registration Certification Active status, NJSTART provides a link to take corrective action. Vendors {Bidders} may refer to the QRG “Vendor Categories and Certifications” for instructions on completing certifications on the “Maintain Terms and Categories” Tab within its profile in NJSTART. QRGs are located on the NJSTART Vendor Support Page.

## FINAL BLANKET P.O. {CONTRACT} AWARD

Contract award[s] shall be made with reasonable promptness by written notice to that responsible Vendor(s) {Bidder(s)}, whose Quote(s) {Proposal(s)}, conforming to this Bid Solicitation {RFP}, is(are) most advantageous to the State, price, and other factors considered.  Any or all Quote(s) {Proposal(s)} may be rejected when the State Treasurer or the Director determines that it is in the public interest to do so.

## INSURANCE CERTIFICATES

The Vendor {Contractor} shall provide the State with current certificates of insurance for all coverages required by the terms of this Blanket P.O. {Contract}, naming the State as an Additional Insured.   See Section 4.2 of the SSTC accompanying this Bid Solicitation {RFP}.

Vendors {Bidders} should verify its Insurance Certification Compliance status on the “Maintain Terms and Categories” Tab within its profile in NJSTART. In the event of an issue with a Vendor’s {Bidder’s} Insurance Certification Compliance status, contact the Division Procurement Specialist.

## Performance SECURITY

The successful Vendor {Contractor} shall furnish performance security in the amount of $35,000,000.00 which is also noted on the “Summary” page of the Bid Solicitation in NJSTART.  See N.J.A.C. 17:12-2.5. Acceptable forms of performance security are as follows:

  - The Vendor {Contractor} shall be required to furnish an irrevocable security in the amount listed in the Bid Solicitation {RFP} payable to the Treasurer, State of New Jersey, binding the Vendor {Contractor} to provide faithful performance of the Blanket P.O. {Contract}; or

  - The performance security shall be in the form of a properly executed individual or annual performance bond issued by an insurance or security company authorized to do business in the State of New Jersey, a certified or cashier's check drawn to the order of the Treasurer, State of New Jersey, or an irrevocable letter of credit drawn naming the Treasurer, State of New Jersey as beneficiary issued by a federally insured financial institution.

The Performance Security must be submitted to the State within thirty (30) calendar days of the effective date of the Blanket P.O. {Contract} award and cover the period of the Blanket P.O. {Contract} and any extensions thereof.  Failure to submit performance security may result in cancellation of Blanket P.O. {Contract} for cause pursuant to Section 5.7(b)(1) of the SSTC, and nonpayment for work performed.

Within thirty (30) calendar days of the anniversary of the Blanket P.O. {Contract} effective date, the Vendor {Contractor} shall provide proof to the Director that the performance bond in the required amount is in effect.  Failure to provide such proof may result in the suspension of payment to the Vendor {Contractor} until such time as the Vendor {Contractor} complies with this requirement.

Although the performance bond is required for the full term of the Blanket P.O. {Contract}, the Director recognizes that the industry practice of sureties is to issue a one (1) year performance bond for goods and services contracts.  Thus, the Vendor {Contractor} is required to submit a one (1) year performance bond for the amount required under the Blanket P.O. {Contract} and, on each succeeding anniversary date of the Blanket P.O. {Contract}, provide a continuation or renewal certificate to evidence that the bond is in effect for the next year of the Blanket P.O. {Contract}.  This procedure will remain in place for each year of the Blanket P.O. {Contract} thereafter until the termination of the Blanket P.O. {Contract}.  Failure to provide such proof on the anniversary date of the Blanket P.O. {Contract} shall result in suspension of the Blanket P.O. {Contract}, and possibly, termination of the Blanket P.O. {Contract}.

For performance bonds based on a percentage of the total estimated Blanket P.O. {Contract} price, the performance bond requirement is calculated as follows.  For the first year of the Blanket P.O. {Contract}, the performance bond percentage noted above and on the “Summary” page of the Bid Solicitation in NJSTART applied to the estimated total Blanket P.O. {Contract} amount for the full term of the Blanket P.O. {Contract}.  On each anniversary of the effective date of the Blanket P.O. {Contract}, the amount of the required performance bond, unless otherwise noted, is calculated by applying the established Bid Solicitation {RFP} performance bond percentage to the outstanding balance of the estimated amount of the Blanket P.O. {Contract} price to be paid to the Vendor {Contractor}.

In the event that the Blanket P.O. {Contract} price is increased by a Change Order {Contract Amendment} to the Blanket P.O. {Contract}, the Vendor {Contractor} may be required to provide, within thirty (30) calendar days of the effective date of the Change Order {Contract Amendment}, performance bond coverage for the increase in Blanket P.O. {Contract} price.  The required increase in the performance bond amount is calculated by applying the established bond percentage set forth above to the increase in Blanket P.O. {Contract} price.  Failure to provide such proof to the Director of this required coverage may result in the suspension of payment to the Vendor {Contractor} until such time the Vendor {Contractor} complies with this requirement.

## PAYMENT SECURITY

The successful Vendor {Contractor} shall furnish performance security in the amount of $35,000,000.00 which is also noted on the “Summary” page of the Bid Solicitation in NJSTART.   The payment security shall cover all subcontractors, material men et al., as required by law, for all work under the Blanket P.O. {Contract}.  This requirement may also be satisfied by submitting and maintaining any combination of the above security instruments whose face values and/or penal sums add up to the total amount the “Summary” page. The payment security shall consist of a certified or cashier's check drawn to the Treasurer of the State of New Jersey, an irrevocable letter of credit payable to the Treasurer of the State of New Jersey in a form acceptable to the State from a reputable financial institution, or an individual or annual payment bond issued by an insurance or savings company authorized to do business in the State of New Jersey.  Payment security shall be submitted within fifteen (15) days of date of Notice of Intent of Award.  This time limit may be extended only by written direction of the State.

# BLANKET P.O. {CONTRACT} ADMINISTRATION

## STATE CONTRACT MANAGER

The State Contract Manager (SCM) is the State employee responsible for the overall management and administration of the Blanket P.O. {Contract}.

The State Contract Manager for this project will be identified at the time of execution of Blanket P.O. {Contract}.  At that time, the Vendor {Contractor} will be provided with the State Contract Manager’s name, department, division, agency, address, telephone number, fax phone number, and e-mail address.

### state contract manager responsibilities

A.	The State will designate the State Contract Manager (SCM) to represent the State during the project and at the project site  The SCM has overall responsibility for the approval of all deliverables, i.e., tasks, sub-tasks or other work elements in the SOW and contacting or meeting with the Director regarding Blanket P.O. {Contract} issues;

B.	The SCM may conduct on-site inspections to check the progress, quality, and quantity of the executed work and to determine if the work is proceeding in accordance with the Blanket P.O. {Contract} specifications.  The right to conduct on-site inspections will not alter the responsibilities of the Vendor {Contractor} or the Engineer as stated herein;

C.	The SCM will have the authority to issue Field Orders which do not involve a change in the Blanket P.O. {Contract} price or Blanket P.O. {Contract} time.  Examples of this type of order include, but are not limited to, a work stoppage order and orders to redirect the focus of the work;

D.	The SCM will have the right of review and approval of all Change Orders {Contract Amendments} prepared and recommended by Engineer;

E.	The SCM will have the authority to require special inspection or testing of the work whether or not the work is fabricated, installed or completed; and

F.	The SCM will review applications for progress payments and determine the amounts due the Vendor {Contractor} based on recommendations made by the Engineer.  The SCM will issue the inspection findings from the project inspections taken to determine substantial completion and final acceptance of the work; and

### Coordination with the State Contract manager

Any Blanket P.O. {Contract} user that is unable to resolve disputes with a Vendor {Contractor} shall refer those disputes to the SCM for resolution.  Any questions related to performance of the work of the Blanket P.O. {Contract} by Blanket P.O. {Contract} users shall be directed to the State Contract Manager.  The Vendor {Contractor} may contact the State Contract Manager if the Vendor {Contractor} cannot resolve a dispute with Blanket P.O. {Contract} users.

### construction manager (cm) RESPONSIBILITIES

The Construction Manager (CM) will be subordinate to the SCM.  The CM is the NJDEP representative with on-site responsibility for operations.  The CM will ensure the Vendor’s {Contractor’s} compliance with provisions of the Blanket P.O. {Contract}, prepare daily work reports, weekly work orders and work authorizations, and will sign and certify invoices.

## Copies of Documents

The NJDEP will furnish the Vendor {Contractor} with ten (10) copies of the plans and specifications for the execution of the work at the project kick-off meeting.  Additional copies will be furnished, upon request, at the cost of reproduction.

## Availability of Lands

A. 	The NJDEP will furnish, as indicated in the Blanket P.O. {Contract} Documents, the lands upon which the work is to be performed, rights-of-way for access thereto, and such other lands which are designated in the drawings for the use of the Vendor {Contractor}.  Easements for permanent structures or permanent changes in existing facilities will be obtained and paid for by the State, unless otherwise provided in the Blanket P.O. {Contract} Documents.  If the Vendor {Contractor} believes that any delay in NJDEP’s furnishing these lands or easements entitle the Vendor {Contractor} to an extension of the Blanket P.O. {Contract} time, the Vendor {Contractor} may make a claim in accordance with Bid Solicitation {RFP} Section 5.14;

B.	The Vendor {Contractor} shall provide and/or obtain all additional lands, necessary authorizations and permits and access thereto that may be required for temporary construction facilities or storage of materials and equipment.  The State will not provide for these.  The Vendor {Contractor} shall confine its equipment, the storage of materials and the operation of its workers to the limits of the work and areas as shown on the drawings or approved by the Engineer and SCM; and

C.  The State will provide surveyed reference points which in NJDEP’s judgment are necessary to enable the Vendor {Contractor} to lay out and proceed with the work.  The Vendor {Contractor shall be responsible for laying out the work (unless otherwise specified in the Scope of Work, and shall protect and preserve the established reference points and shall make no changes or relocations without the prior written approval of the SCM.  The Vendor {Contractor} shall report to the CM whenever any reference point is lost or destroyed, or requires relocation because of necessary changes in grades or locations, and shall be responsible for and bear the cost of replacement or relocation of such reference points by professionally qualified personnel.

## additional work by others

A.	The NJDEP may perform additional work related to the project by itself, or have additional work performed by other Vendors {Contractors} or by utility service companies;

B.	If any part of the Vendor’s {Contractor’s} work depends for proper execution or results upon the work of any such other Vendor {Contractor} or utility service company (or State), the Vendor {Contractor} shall inspect and promptly report to the CM in writing any latent or apparent defects or deficiencies in such work that render it unsuitable for such proper execution and results.  The Vendor’s {Contractor’s} failure to so report shall constitute an acceptance of the other work as fit and proper for integration with the Vendor’s {Contractor’s} work except for latent defects and deficiencies in the other work;

C.	The Vendor {Contractor} shall do all cutting, fitting and patching of its work that may be required to make its several parts come together properly and integrate with such other work. Vendor {Contractor} shall not endanger any work of others by cutting, excavating or otherwise altering their work and will only cut or alter their work with the written consent of the SCM and the others whose work will be affected; and

D.	If the performance of additional work by other Vendors {Contractors} or utility service companies or the NJDEP was not noted in the Blanket P.O. {Contract} specifications, written notice thereof will be given to the Vendor {Contractor} prior to starting any such additional work.  If the Vendor {Contractor} believes that the performance of such additional work by the NJDEP or others involves additional expense or requires an extension of the Blanket P.O. {Contract} time, the Vendor {Contractor} may make a claim.

## Differing Site Conditions

A.	The Vendor {Contractor} shall promptly, and before such conditions are disturbed, notify the CM in writing of:

1.  Subsurface or latent physical conditions at the site differing materially from those indicated in this Blanket P.O. {Contract}; or

2.  Unknown physical conditions at the site, of an unusual nature, differing materially from those ordinarily encountered and generally recognized as inherent in work of the character provided for in this Blanket P.O. {Contract}.

B.	The NJDEP will promptly investigate the conditions.  If it finds that conditions materially differ and will cause an increase or decrease in the Vendor’s {Contractor’s} cost or the time required to perform any part of the work under this Blanket P.O. {Contract}, whether or not changed as a result of the condition, the State will make an adjustment and amend this Blanket P.O. {Contract} in writing in accordance with Sections 5.24 and 5.25;

C.	No request of the Vendor {Contractor} under this clause shall be allowed unless the Vendor {Contractor} has given the notice required in paragraph (A) of this clause.  However, the State may extend the time prescribed in paragraph (A);

D.	No request by the Vendor {Contractor} for an adjustment shall be allowed if asserted after final payment under this Blanket P.O. {Contract}; and

E.	The Vendor {Contractor} shall comply with the time limits for notification for the issuance of any Change Order {Contract Amendment} resulting from a differing site condition.

## MISCELLANEOUS requirements

### Giving Notice

- Whenever any provision of the Blanket P.O. {Contract} Documents requires the giving of written notice to the Vendor {Contractor} it shall be deemed to have been validly given if delivered in person to the individual or to a member of the firm or to an officer of the corporation for whom it is intended, or if delivered at or sent by certified mail, postage prepaid, to the last business address of the officer or corporation known to the giver of notice; and

- Written notice shall be deemed to have been validly given to the State if delivered in person to the SCM or if delivered or sent by registered or certified mail, postage prepaid, to the SCM or to the SCM.

- In addition to the hard copy of the written notice, email the notice to the RPR and SCM.

### Computation of Time

When any period of time is referred to in the Blanket P.O. {Contract} by days, it shall be computed to exclude the first and include the last day of such period.  If the last day of any such period falls on a Saturday or Sunday or on a day made a legal holiday by the law of the applicable jurisdiction, such day shall be omitted from the computation.

### New Jersey Department of Transportation (NJDOT) Specifications

Where reference is made in the Plans and Specifications to the "NJDOT Specifications," it shall be understood to mean the Standard Specifications for Road and Bridge Construction published by the NJ Department of Transportation, 2007, at: http://www.state.nj.us/transportation/eng/documents/BDC/pdf/attachmentbdc07s03.pdf . Those sections and paragraphs of the Highway Specifications to which reference is made shall be as much a part of these specifications as though they were herein attached.

### Ongoing Obligation to Inform

The Vendor {Contractor} shall immediately inform the SCM and Engineer of any errors, omissions or differing site conditions in the information submitted in its Quote {Proposal} or otherwise contained in the Blanket P.O.{Contract} Documents.

### VENDOR”S {Contractor’s} Means and Methods

The State will not be responsible for the Vendor’s {Contractor}’s means, methods, techniques, sequences or procedures of construction, or the safety precautions and programs incident thereto, and State will not be responsible for Vendor’s {Contractor}’s failure to perform the work in accordance with the Blanket {Contract}.  All such actions shall be the sole responsibility of the Vendor {Contractor}.

### Ommissions by the Vendor {Contractor}

The State will not be responsible for the acts or omissions of Vendor {Contractor} or of any subcontractors, or of the agents or employees of any Vendor {Contractor} or subcontractor, or of any other persons at the site or otherwise performing any of the work.  All such acts or omissions shall be the sole responsibility of the Vendor {Contractor}.

## Construction Conferences

- Prior to the issuance of the Notice to Proceed, a Pre-Construction Conference shall be held between the Vendor {Contractor}, the State, and the Engineer.  Attendance by the Vendor’s {Contractor’s} quality control personnel, safety personnel, and any major subcontractor is mandatory.  The purpose of the Pre-Construction Conference is to discuss and develop a mutual understanding of the Blanket P.O. {Contract} prior to initiation of work.  The meeting will specifically address permit status, safety and emergency response procedures, schedules for the Site Preparation and any questions.

- The Engineer will schedule Progress Meetings weekly throughout the duration of the work. The Vendor {Contractor} will be required to attend these meetings.

- Attendance: Job superintendent, major subcontractors and major suppliers or fabricators, if requested, Engineer, State and others as appropriate to agenda topics for each; and

- The Vendor {Contractor} or its designee shall be required to meet with the Engineer prior to the start of the day’s activities to prepare all necessary paperwork and outline the daily objectives. Also, the Vendor {Contractor} or his designee shall be required to meet with the Engineer at the completion of the day’s activities to discuss the work performed.  These pre-work and post-work meetings will be conducted prior to and after the crews workday and shall be summarized weekly in writing.

## additional REQUIREMENTS

### Evidence Documentation

If the Vendor {Contractor} or any of its subcontractors locates any documents, labels, drums, bottles, boxes any other containers, and any other physical materials that could establish or aid in establishing the identity of the party or parties responsible for the presence of hazardous substances at this site, the Vendor {Contractor} shall immediately advise the State of its finding. Until the State arrives at the site of the located potential-evidence, the Vendor {Contractor} or subcontractor shall not act unless action is required to protect the safety of its workers, or to prevent the release of the hazardous substance into the ambient environment.  The Vendor {Contractor} may also move or disturb the potential evidence in order to preserve same if leaving it at its point of discovery until the State arrives would cause its deterioration or destruction or loss.

### Confidential and NONCONFIDENTIAL INFORMATION

In addition to the requirements specified in Bid Solicitation {RFP} Section 5.9, the following shall apply to this Blanket P.O. {Contract}:

- Confidential information shall include the entire work product and results involved in this Blanket P.O. {Contract} including results and opinions of the Vendor {Contractor}. Any and all communications between the State and any of its representatives or between such representatives and the Vendor {Contractor} concerning the conduct, preparation, theory, strategy, or opinions relating to or supporting any legal or administrative procedure which arises or may arise therefor, as well as any of the objects for which services may be performed under this Blanket P.O. {Contract}; and

- Upon request by the State, termination or expiration of this Blanket P.O. {Contract}, the Vendor {Contractor} shall deliver to the State all documents including drawings, blueprints, descriptions, or other paper or documents which may contain any confidential information.  The Vendor {Contractor} shall be permitted to retain a copy of all returned materials for its own confidential files.

### Access to Records and Audit

This provision is in addition to the SSTC Section 5.15 - Maintenance of Records:

A.	Regarding auditing of and access to records, as stated in Bid Solicitation {RFP} Section 5.4, the Vendor {Contractor} shall maintain the required books, records documents and other evidence directly pertinent to performance of work under this Blanket P.O. {Contract} in accordance with generally accepted accounting principles and practices and 40 CFR Part 35.6700 in effect on the execution date of this Blanket P.O. {Contract}. In addition, the Vendor {Contractor} shall maintain the financial information and data used in preparing or supporting the cost submission required under 40 CFR 35.6585 for negotiated Blanket P.O. {Contract} or Change Orders {Contract Amendments} and a copy of the costs summary submitted to the SCM Notwithstanding relevant terms of these Federal regulations, all such materials will be maintained for a period of not less than ten (10) years from the date of Final Payment.  The United States Environmental Protection Agency, the Comptroller General of the United States, the United States Department of Labor, the State, or any of their authorized representatives shall have access to all such books, records, documents and other evidence for the purpose of inspection, audit and copying during normal business hours.  The Vendor {Contractor} will provide proper facilities for such access and inspection;

B. If this is a formally advertised, competitively awarded, fixed price Blanket P.O. {Contract}, the Vendor {Contractor} agrees to make paragraphs (A) through (G) of this Section applicable to all negotiated Change Orders {Contract Amendments} and subcontract amendments affecting the Blanket P.O. {Contract} Price.  In the case of all other types of prime Blanket P.O.s {Contracts}, the Vendor {Contractor} agrees to make paragraphs (A) through (G) applicable to all sub-agreements it awards in excess of $10,000, at any tier, and to make paragraphs (A) through (G) of this clause applicable to all Change Orders directly related to project performance;

C. Audits conducted under this provision shall be in accordance with generally accepted auditing standards and with established procedures and guidelines of the reviewing or audit agency(ies);

D. The Vendor {Contractor} agrees to disclose all information and reports resulting from access to records under paragraphs (A) and (B) of this Section to any of the agencies referred to in paragraph (A);

E. Records under paragraphs (A) and (B) above shall be maintained by the Vendor {Contractor} during performance on this agreement and for the time periods specified in 40 CFR Part 35.6700 or in accordance with paragraph (A) above, whichever is longer;

F. Access to records is not limited to the required retention periods. The authorized representatives designated in paragraph (A) of this clause shall have access to records at any reasonable time for as long as the records are maintained; and

G. This Section 8.8.3 applies to financial records pertaining to all sub agreements (except formally advertised, competitively awarded, fixed price Blanket P.O. {Contract}) and all contract Change Orders regardless of the type of Blanket P.O. {Contract}, and all Change Orders {Contract Amendments} regardless of the type of Blanket P.O. {Contract}.  In addition this right of access applies to all records pertaining to all Blanket P.O. {Contract} and Change Orders {Contract Amendments}:

- To the extent the records pertain directly to Blanket P.O. {Contract} performance;

- If there is any indication that fraud, gross abuse or corrupt practices may be involved; or

- If the Blanket P.O. {Contract} is terminated for default or for convenience.

# ENGINEER’S STATUS DURING CONSTRUCTION

## Visits to Site

Engineer will make on-site inspections to check the quality or quantity of the work.  The Engineer may make visits to the site at intervals appropriate to the various stages of construction to observe the progress and quality of the executed work and to determine, in general, if the work is proceeding in accordance with the Blanket P.O. {Contract} Documents.  On the basis of such visits and on-site observations, the Engineer will inform the CM of the progress of the work and recommend appropriate changes.

## Clarifications and Interpretations

The Engineer, with concurrence of the CM, will issue with reasonable promptness such written clarifications or interpretations of the Blanket P.O. {Contract} Documents (in the form of drawings or otherwise) as the Engineer may determine necessary, which will be consistent with or reasonably inferable from the overall intent of the Blanket P.O. {Contract} Documents.  If the Vendor {Contractor} believes that a written clarification or interpretation justifies an increase in the Blanket P.O. {Contract} price or Blanket P.O. {Contract} time, the Vendor {Contractor} may make a claim in accordance with Bid Solicitation {RFP} Section 5.14.

## Special Inspections

The Engineer will be responsible for making recommendations to the CM to require special inspection or testing of the work whether or not the work is fabricated, installed or completed.

## Project Representation

A. If the SCM and Engineer agree, the Engineer will designate a Resident Project Representative (RPR) to assist the Engineer in the performance of the Engineer’s duties;

B.  The RPR will be the Engineer’s individual on site to perform on-site services including but not limited to the following:

1.	The RPR will be the primary point of contact for all communications between the Vendor {Contractor} and the SCM/CM;

2.	The RPR will immediately transmit issues or questions raised by the Vendor {Contractor} to the CM or Engineer for interpretation and resolution.  The RPR will, with the concurrence of the CM, transmit written clarifications, interpretations or other information to the Vendor {Contractor};

3.	The RPR will attend and act as secretary among the Vendor {Contractor}, the SCM, CM and the Engineer and will be responsible for issuing memorandums of meetings;

4.  The RPR will be primarily responsible for observation of work at the site to determine if it is in conformance with the Blanket P.O. {Contract} Documents.  RPR will at all times have access to the work whenever it is in preparation and progress.  The Vendor {Contractor} shall provide facilities for such access so that the RPR and Engineer can perform this function;

5.  The RPR will, with the concurrence of the CM, advise the Vendor {Contractor} of work that is not in conformance with the specifications and that should be corrected or rejected, or should be uncovered for observation, or requires special testing, inspection of approval;

6.	The RPR will receive requests for product and equipment substitutions and forward to the CM for action.  The RPR will coordinate the Engineer’s recommendation for substitution;

7.  The RPR will have the opportunity to accompany all visitors on the site and maintain a log of all such visits;

8.  The RPR will be informed of and maintain a list of Vendor’s {Contractor’s} key personnel including phone numbers and addresses and all Vendor’s {Contractor’s} subcontractors and suppliers of materials and equipment;

9.	The RPR will receive and review payment applications from the Vendor {Contractor}, evaluate the acceptability and compliance with established State procedures and forward such application with his recommendation to the CM;

10.	The RPR will receive all operations and maintenance data from the Vendor {Contractor};

11. The RPR will receive and review any request from the Vendor {Contractor} for determination of substantial completion, final completion, or partial acceptance.  The RPR shall coordinate the Engineer’s and State’s response or inspection;

12. The RPR will prepare a punchlist of any minor item requiring completion or correction after Substantial Completion;

13. The RPR will ensure that all items on the punchlist shall be satisfactorily completed;

14. The RPR will schedule major tests or inspections as required; and

15. The RPR will coordinate review of potential Change Order data submitted by the Vendor {Contractor}.  The RPR may be required to transmit to the Vendor {Contractor}, on behalf of the State, final written decisions on potential Change Orders as issued by the CM.

## Limitations on Engineer’s Responsibilities TO VENDOR {CONTRACTOR}

The following is in addition to the New Jersey State Terms and Conditions:

- Neither Engineer’s authority to act under the Blanket P.O. {Contract} Documents nor any decision made by Engineer in good faith either to exercise or not exercise such authority shall give rise to any duty or responsibility of Engineer to Vendor {Contractor}, any subcontractor, any manufacturer, fabricator, supplier or distributor or any of their agents or employees or any other person performing any of the work; and

- Whenever in the Blanket P.O. {Contract} Documents the terms "as ordered", "as directed", "as required", "as allowed", "as approved" or terms of like effect or import are used, or the adjectives "reasonable", "suitable", "acceptable", "proper", or "satisfactory" or adjectives of like effect or import are used to describe a requirement, direction, review or judgment of Engineer as to the work, it is intended that such requirement, direction, review or judgment will be solely to evaluate the work for compliance with the Blanket P.O. {Contract} Documents (unless there is a specific statement indicating otherwise).  The use of any such term or adjective never indicates that Engineer shall have authority to supervise or direct performance of the work or authority to undertake responsibility contrary to these provisions.

# VENDOR {CONTRACTOR} PAYMENT APPLICATION AND PAYMENTS

## Application for Progress Payment

A. The Engineer, acting for the SCM, will accept requests for progress payments from the Vendor {Contractor} not more than once per calendar month.  The Vendor {Contractor} shall submit to the Engineer an Application for Payment, including a draft invoice (PBPV1), filled out and signed by Vendor {Contractor}, covering the work completed as of the date of the application and accompanied by such supporting documentation as is required by the Blanket P.O. {Contract} Documents and also as SCM or the Engineer may reasonably require (bills from subcontractors/suppliers, surveyed quantities, etc).  Vendor {Contractor} shall retain the risk of loss or damage to any and all material, equipment, facilities or property of any description until the completion and acceptance of the work, and shall be liable for the cost of the repair or replacement of any such lost or damaged material, equipment, facilities or property.

B.  With each Application for Payment, the Vendor {Contractor} shall submit to the SCM an estimate of the work to be completed in the following month; and

C. With each Application for Payment, the Vendor {Contractor} shall submit to the SCM or its representative, the latest schedule update showing physical progress (status) within seven (7) days prior to the date of the application.  Payment will not be made to the Vendor {Contractor} without this updated schedule.

## Review of Applications for Progress Payments

A.  The CM and Engineer will, within ten (10) days after receipt of each Application for Payment consider each application pursuant to the terms of the Blanket P.O. {Contract} and either indicate in writing their recommendation of payment and present the Application to the SCM, or return the application to Vendor {Contractor} indicating in writing SCM's and Engineer's reasons for refusing to recommend payment.  In the latter case, Vendor {Contractor} may make the necessary corrections and resubmit the application;

B.  Any progress payment is made without prejudice and with a full reservation of rights.

C. The SCM and Engineer may refuse to recommend the whole or any part of any payment if, in SCM's or Engineer's opinion, it would be incorrect to make such recommendations to the SCM.  The SCM may also refuse to recommend any such payment, or, because of subsequently discovered evidence or the results of subsequent inspections or tests, nullify any such payment previously recommended, to such extent as may be necessary in SCM's opinion to protect State from loss because:

1.	The work is defective, or completed work has been damaged requiring correction or replacement;

2.  Written claims have been made against the State or Liens have been filed in connection with the work;

3.   The Blanket P.O. {Contract} price has been reduced because of modifications;

4.  The State has been required to correct Vendor {Contractor} defective work or complete the work in accordance with Section 5.5.9.7;

5. The Vendor {Contractor} unsatisfactorily carried out the work in accordance with the Blanket P.O. {Contract} Documents; and

6. The Vendor {Contractor} failed to comply with the project schedule and updating requirements and failed to furnish a listing of items together with its latest expected delivery dates.

D. The State may refuse to pay the whole or any part of subsequent progress payments if the Vendor {Contractor} fails to complete the work according to the project schedule and fails after fifteen (15) days’ notice from the SCM or Engineer either to justify a change of Blanket P.O. {Contract} time or to propose corrective measures satisfactory to State which will return the project to the required schedule.

## VENDOR’S {Contractor’s} Warranty of Title

The Vendor {Contractor} warrants and guarantees that title to all work, materials and equipment covered by any Application for Payment, whether incorporated in the project or not, will pass to the State at the time of payment free and clear of all liens, claims, security interests and encumbrances.

## Substantial Completion

A.	When Vendor {Contractor} considers the entire work ready for its intended use, Vendor {Contractor} shall, in writing to the SCM and Engineer, certify that the work is substantially complete and request that the SCM issue a Certificate of Substantial Completion.  Within a reasonable time thereafter, the SCM, Vendor {Contractor} and Engineer will make an inspection of the work to determine the status of completion.  If Engineer or SCM does not consider the work substantially complete, SCM will notify Vendor {Contractor} in writing giving its reasons therefor.  If the Engineer and SCM consider the work Substantially Complete, SCM will, within fourteen (14) days, execute and deliver to Vendor {Contractor} a definitive certificate of Substantial Completion.  At the time of delivery of the definitive certificate of Substantial Completion, the Engineer will deliver to the SCM and Vendor {Contractor} a written recommendation including a punchlist as to division of responsibilities between NJDEP and Vendor {Contractor} with respect to security, operation, safety, maintenance, heat, utilities and insurance.  The Engineer's recommendation will be utilized by the State while considering Vendor’s {Contractor’s} application for final payment; and

B.	NJDEP will have the right to exclude the Vendor {Contractor} from the work after the date of substantial completion, but the NJDEP will allow the Vendor {Contractor} reasonable access to complete or correct items on the punchlist.

## Partial Utilization

Use by the NJDEP of completed portions of the work may be accomplished prior to substantial completion of all the work, subject to the following:

- NJDEP at any time may request the Vendor {Contractor} in writing to permit the NJDEP to use any part of the work that NJDEP believes to be substantially complete and which may be used without significant interference with construction of the other parts of the work.  If the Vendor {Contractor} agrees, Vendor {Contractor} shall certify to the SCM and Engineer that said part of the work is substantially complete and request SCM to issue a Certificate of Substantial Completion for that part of the work.  Within a reasonable time thereafter, the SCM, Engineer and Vendor {Contractor} will make an inspection of that part of the work to determine its status of completion.  If the SCM does not consider that part of the work to be substantially complete, the SCM will notify Vendor {Contractor} in writing giving its reason therefor.  If the SCM considers that part of the work to be substantially complete, SCM will execute and deliver to the SCM and Vendor {Contractor} a certificate to that effect, fixing the date of Substantial Completion as to that part of the work, attaching thereto a punchlist of items to be completed or corrected before final payment.  Prior to issuing a certificate of Substantial Completion as to part of the work, the Engineer will deliver to the SCM and Vendor {Contractor} a written recommendation as to the division of responsibilities pending final payment between NJDEP and Vendor {Contractor}, with respect to security, operation, safety, maintenance, utilities and insurance for that part of the work.  NJDEP will have the right to exclude the Vendor {Contractor} from any part of the work that the NJDEP has so certified to be substantially complete, but the NJDEP will allow Vendor {Contractor} reasonable access to complete or correct items on the punchlist; and

- In lieu of the issuance of a Certificate of Substantial Completion as to part of the work, the NJDEP may take over operation of a facility constituting part of the work whether or not it is substantially complete, if such facility is functionally and separately usable; provided that prior to any such take over, the NJDEP and Vendor {Contractor} have agreed as to the division of responsibilities between NJDEP and Vendor {Contractor} for security, operation, safety, maintenance, correction period, heat, utilities and insurance with respect to such facility.

## Final Inspection

- Construction Work: Upon written notice from the Vendor {Contractor} that the construction work is complete, the Engineer and CM will make a final inspection with the Vendor {Contractor} and will notify the Vendor {Contractor} in writing of all particulars in which this inspection reveals that the construction is incomplete or defective.  The Vendor {Contractor} shall immediately take such measures as are necessary to remedy such deficiencies in the construction work; and

B.	Operation and Maintenance Work: Upon written notice from Vendor {Contractor} that the Operation and Maintenance work (O&M) is complete, Engineer and Construction Manager will make a final inspection with the Vendor {Contractor}, and will notify Vendor {Contractor}, in writing, of all particulars in which his inspection reveals that the O&M work is incomplete or defective.  Vendor {Contractor} shall immediately take such measures as are necessary to remedy such deficiencies in the O&M work.

## Final Application for Payment

- Construction Work: After Vendor {Contractor} has completed all such corrections to the construction work to the satisfaction of the Engineer and Construction Manager (CM) and delivered all maintenance and operating instructions, schedules, guarantees, bonds, certificates of inspection, marked up record documents, and other documents all as required by the Blanket P.O. {Contract} Documents, and after Engineer and CM have indicated that the work is acceptable (subject to the provisions of Section 10.8), the Vendor {Contractor} may make application for final payment for the Construction Work by submitting to the CM and Engineer a final Application for Payment.  The final Application for Payment shall be accompanied by all documentation called for in the Blanket P.O. {Contract} Documents and such other data and schedules as Engineer or NJDEP may reasonably require, together with complete and legally effective releases or waivers (satisfactory to the SCM) of all liens arising out of or filed in connection with the work.  In lieu thereof and as approved by SCM, Vendor {Contractor} may furnish receipts or releases in full; an affidavit of Vendor {Contractor} that the releases and receipts include all labor, services, material and equipment for which a lien could be filed, and that all payrolls, material and equipment bills, and other indebtedness connected with the work for which State or the Vendor’s {Contractor’s} property might in any way be responsible, have been paid or otherwise satisfied; and consent of the Surety, if any, to final payment.  If any Subcontractor, manufacturer, fabricator, supplier or distributor fails to furnish a release or receipt in full, Vendor {Contractor} may furnish a Bond or other collateral satisfactory to State to indemnify State against any Lien as State permits; and

- Operation and Maintenance Work: After Vendor {Contractor} has completed all such corrections to the Operation and Maintenance (O&M) work to the satisfaction of Engineer and CM and delivered all maintenance and operating instructions, schedules, guarantees, Bonds, certificates of inspection, marked up record documents, and other documents all as required by the Blanket P.O. {Contract} Documents, and after Engineer and CM have indicated the work is acceptable (subject to the provisions of Section 10.8) Vendor {Contractor} may make application for final payment for the O&M work by submitting to CM and Engineer a final Application for Payment.  The final Application for Payment shall be accompanied by all documentation called for in the Blanket P.O. {Contract} Documents and such other data and schedules as Engineer or SCM may reasonably require, together with complete and legally effective releases or waivers (satisfactory to SCM) of all liens arising out of or filed in connection with the work.  In lieu thereof and as approved by SCM, Vendor {Contractor} may furnish receipts or releases in full; an affidavit of Vendor {Contractor} that the releases and receipts include all labor, services, material and equipment for which a Lien could be filed, and that all payrolls, material and equipment bills, and other indebtedness connected with the Work for which State or the Vendor’s {Contractor’s} property might in any way be responsible, have been paid or otherwise satisfied; and consent of the Surety, if any, to final payment.  If any Subcontractor, manufacturer, fabricator, supplier or distributor fails to furnish a release or receipt in full, Vendor {Contractor} may furnish a Bond or other collateral satisfactory to State to indemnify State against any lien as State permits.

## Final Payment and Acceptance

A.	If, on the basis of the Engineer's observation of the work during construction and final inspection and Engineer's review of the final Application for Payment and accompanying documentation, all as required by the Blanket P.O. {Contract} Documents, the Engineer is satisfied that the work has been completed and the Vendor {Contractor} has fulfilled all of its obligations under the Blanket P.O. {Contract} Documents, the Engineer will, within ten (10) days after receipt of the final Application for Payment, indicate in writing their recommendation of payment and present the Application to State for payment.  Thereupon, the Engineer will give written notice to the SCM and Vendor {Contractor} that it deems the work to be acceptable subject to the provisions of Section 10.9.  Otherwise, Engineer will return the application for payment to the Vendor {Contractor} indicating in writing the reasons for refusing to recommend final payment in which case Vendor {Contractor} shall make the necessary corrections and resubmit the Application.  If the Application and accompanying documentation are appropriate as to form and substance, and acceptable to the SCM, the State will pay Vendor {Contractor} the amount recommended by Engineer; and

B.	If, through no fault of the Vendor {Contractor}, as determined by the State at its sole discretion, final completion is materially delayed and if the State so confirms, the State shall, upon receipt of the Vendor’s {Contractor’s} final application for payment and recommendation of Engineer, and without terminating the contract, make payment of the balance due for that portion of the work fully completed and accepted.  If the remaining balance to be held by State for work not fully completed or corrected is less than the retainage stipulated in the Blanket P.O. {Contract}, and if bonds have been furnished, the written consent of the Surety, if any, to the payment of the balance due for that portion of the work fully completed and accepted shall be submitted by the Vendor {Contractor} to the Engineer with his application for such payment.  Such payment will be made under the terms and conditions governing final payment, except that it shall not constitute a waiver of claims.

## VENDOR’S {Contractor’s} Continuing Obligation

The Vendor’s {Contractor’s} obligation to perform and complete the work in accordance with the Blanket P.O. {Contract} specifications shall be absolute. Neither recommendation of any progress or final payment by the SCM, nor the issuance of a certificate of Substantial Completion, nor any payment by the State to the Vendor {Contractor} under the Blanket P.O. {Contract} specifications, nor any use or occupancy of the work or any part thereof by the State, nor any act of acceptance by State nor any failure to do so, nor the issuance of a notice of acceptability by the Engineer pursuant to Section 10.8, nor any correction of defective work by State shall constitute an acceptance of work not in accordance with the Blanket P.O. {Contract} specifications or a release of the Vendor’s {Contractor’s} obligation to perform the work in accordance with the Blanket P.O. {Contract} Documents.

## Waiver of Claims

Upon satisfactory project completion, the Vendor {Contractor} shall as a condition before final payment or as a termination settlement under this Blanket P.O. {Contract}, execute and deliver to the State a release of all claims against the State arising under or by virtue of this Blanket P.O. {Contract} except claims which are specifically exempted by the Vendor {Contractor} to be set forth therein.  Unless otherwise specified or by New Jersey Law or otherwise expressly agreed to by the parties to this Blanket P.O. {Contract}, final payment under this Blanket P.O. {Contract} or settlement upon termination of this Blanket P.O. {Contract} shall not constitute a waiver of the State claims against the Vendor {Contractor} or its sureties under this Blanket P.O. {Contract} or the State’s right to continued performance of the Vendor’s {Contractor’s} obligations pursuant to the Blanket P.O. {Contract}.  The final payment will be for the release of the retainage only (including any audit adjustments) upon receipt of the release of all claims against the State.

## SUBMISSION OF PAYMENT VOUCHERS (VENDOR INVOICES)

Upon receipt of recommendation for payment from the Engineer or CM, and unless specifically directed otherwise by the SCM, the Vendor {Contractor} must follow the instructions in Attachment 3 - Submissions of Payment Vouchers and Backup Documentation, for submission of invoices.

## SUSPENSION OF WORK AND TERMINATION

- Suspension and termination of work shall follow the NJ Standard Terms and Conditions;

- Following the issuance of a Notice of Termination or Suspension by the Director, the State may require the Vendor {Contractor} to protect the State’s interests by performing necessary actions, including but not limited to any or all of the following:

    - Place no further orders or subcontracts for materials, services, or facilities except as necessary to complete the portion of the work under the Blanket P.O. {Contract} which is not terminated;

    - Terminate all orders and subcontracts to the extent that they relate to the performance of the work terminated by the Notice of Termination;

    - Settle all outstanding liabilities and all claims arising out of such termination of orders and subcontracts, with the approval or ratification of the State to the extent he may require. The State’s approval or ratification shall be final for all the purposes of this clause;

    - Deliver, as directed by the State, (i) the fabricated or partially fabricated parts, work in process, completed work, supplies, and other material produced as a part of, or acquired in connection with the performance of, the work terminated by the Notice of Termination; and (ii) the completed or partially completed plan, drawings, information, and other items which, if the Blanket P.O. {Contract} had been completed, would have been required to be furnished to the State;

    - Take such action as may be necessary, or as the State may direct, for the protection and preservation of the property related to this Blanket P.O. {Contract} which is in possession of the Vendor {Contractor};

    - Complete performance of such part of the work as shall not have been terminated by the Notice of Termination; and

    - Take no action which will increase the amounts payable by the State for those portions of the Blanket P.O. {Contract} which have been terminated under this Blanket P.O. {Contract}.  After receipt of a Notice of Termination, the Vendor {Contractor} shall submit to the State its termination adjustment request.  Such request shall be submitted promptly, but in no event later than forty-five (45) days from the effective date of the termination, unless an extension is granted, in writing, by the State upon request of the Vendor {Contractor} within such forty-five (45) day period.

# State of New Jersey Standard Terms and Conditions

(Rev: 10/21/2011 ST&C)

1. STANDARD TERMS AND CONDITIONS APPLICABLE TO THE CONTRACT- Unless the bidder/offeror is specifically instructed otherwise in the Request for Proposals (RFP), the following terms and conditions shall apply to all contracts or purchase agreements made with the State of New Jersey. These terms are in addition to the terms and conditions set forth in the RFP and should be read in conjunction with same unless the RFP specifically indicates otherwise. In the event that the bidder/offeror would like to present terms and conditions that are in conflict with either these terms and conditions or those set forth in the RFP, the bidder/offeror must present those conflicts during the Question and Answer period for the State to consider. Any conflicting terms and conditions that the State is willing to accept will be reflected in an addendum to the RFP. The State's terms and conditions shall prevail over any conflicts set forth in a bidder/offeror's Proposal that were not submitted through the question and answer process and approved by the State. Nothing in these terms and conditions shall prohibit the Director of the Division of Purchase and Property (Director) from amending a contract when the Director determines it is in the best interests of the State.

2. STATE LAW REQUIRING MANDATORY COMPLIANCE BY ALL CONTRACTORS - The statutes, laws or codes cited herein are available for review at the New Jersey State Library, 185 West State Street, Trenton, New Jersey 08625.

2.1 BUSINESS REGISTRATION – Pursuant to N.J.S.A. 52:32-44, the State is prohibited from entering into a contract with an entity unless the bidder and each subcontractor named in the Proposal have a valid Business Registration Certificate on file with the Division of Revenue.

The contractor and any subcontractor providing goods or performing services under the contract, and each of their affiliates, shall, during the term of the contract, collect and remit to the Director of the Division of Taxation in the Department of the Treasury the use tax due pursuant to the “Sales and Use Tax Act, P.L. 1966, c. 30 (http://www.state.nj.us/treasury/revenue/busregcert.shtml. N.J.S.A. 54:32B-1 et seq.) on all their sales of tangible personal property delivered into the State. Any questions in this regard can be directed to the Division of Revenue at (609) 292-1730. Form NJ-REG can be filed online at

2.2 ANTI-DISCRIMINATION - All parties to any contract with the State agree not to discriminate in employment and agree to abide by all anti-discrimination laws including those contained within N.J.S.A. 10:2-1 through N.J.S.A. 10:2-4, N.J.S.A. l0:5-1 et seq. and N.J.S.A. l0:5-31 through 10:5-38, and all rules and regulations issued thereunder are hereby incorporated by reference.

2.3 PREVAILING WAGE ACT - The New Jersey Prevailing Wage Act, N.J.S.A. 34: 11-56.26 et seq. is hereby made part of every contract entered into on behalf of the State of New Jersey through the Division of Purchase and Property, except those contracts which are not within the contemplation of the Act. The bidder's signature on [this Proposal] is his guarantee that neither he nor any subcontractors he might employ to perform the work covered by [this Proposal] has been suspended or debarred by the Commissioner, Department of Labor for violation of the provisions of the Prevailing Wage Act and/or the Public Works Contractor Registration Acts; the bidder’s signature on the Proposal is also his guarantee that he and any subcontractors he might employ to perform the work covered by [this Proposal] shall comply with the provisions of the Prevailing Wage and Public Works Contractor Registration Acts, where required.

2.4 AMERICANS WITH DISABILITIES ACT - The contractor must comply with all provisions of the Americans with Disabilities Act (ADA), P.L 101-336, in accordance with 42 U.S.C. 12101, et seq.

2.5 MACBRIDE PRINCIPLES – The bidder must certify pursuant to N.J.S.A. 52:34-12.2 that it either has no ongoing business activities in Northern Ireland and does not maintain a physical presence therein or that it will take lawful steps in good faith to conduct any business operations it has in Northern Ireland in accordance with the MacBride principles of nondiscrimination in employment as set forth in N.J.S.A. 52:18A-89.5 and in conformance with the United Kingdom’s Fair Employment (Northern Ireland) Act of 1989, and permit independent monitoring of their compliance with those principles.

2.6 PAY TO PLAY PROHIBITIONS – Pursuant to N.J.S.A. 19:44A-20.13 et seq. (L.2005, c. 51), and specifically, N.J.S.A. 19:44A-20.21, it shall be a breach of the terms of the contract for the business entity to:

a. make or solicit a contribution in violation of the statute;

b. knowingly conceal or misrepresent a contribution given or received;

c. make or solicit contributions through intermediaries for the purpose of concealing or misrepresenting the source of the contribution;

d. make or solicit any contribution on the condition or with the agreement that it will be contributed to a campaign committee or any candidate of holder of the public office of Governor, or to any State or county party committee;

e. engage or employ a lobbyist or consultant with the intent or understanding that such lobbyist or consultant would make or solicit any contribution, which if made or solicited by the business entity itself, would subject that entity to the restrictions of the Legislation;

f. fund contributions made by third parties, including consultants, attorneys, family members, and employees;

g. engage in any exchange of contributions to circumvent the intent of the Legislation; or

h. directly or indirectly through or by any other person or means, do any act which would subject that entity to the restrictions of the Legislation.

2.7 POLITICAL CONTRIBUTION DISCLOSURE – The contractor is advised of its responsibility to file an annual disclosure statement on political contributions with the New Jersey Election Law Enforcement Commission (ELEC), pursuant to N.J.S.A.19:44A-20.27 (L. 2005, c. 271, §3 as amended) if in a calendar year the contractor receives one or more contracts valued at $50,000.00 or more. It is the contractor’s responsibility to determine if filing is necessary. Failure to file can result in the imposition of penalties by ELEC. Additional information about this requirement is available from ELEC by calling 1(888) 313-3532 or on the internet at http://www.elec.state.nj.us/.

2.8 STANDARDS PROHIBITING CONFLICTS OF INTEREST - The following prohibitions on contractor activities shall apply to all contracts or purchase agreements made with the State of New Jersey, pursuant to Executive Order No. 189 (1988).

a. No vendor shall pay, offer to pay, or agree to pay, either directly or indirectly, any fee, commission, compensation, gift, gratuity, or other thing of value of any kind to any State officer or employee or special State officer or employee, as defined by N.J.S.A. 52:13D-13b. and e., in the Department of the Treasury or any other agency with which such vendor transacts or offers or proposes to transact business, or to any member of the immediate family, as defined by N.J.S.A. 52:13D-13i., of any such officer or employee, or partnership, firm or corporation with which they are employed or associated, or in which such officer or employee has an interest within the meaning of N.J.S.A. 52: 13D-13g.

b. The solicitation of any fee, commission, compensation, gift, gratuity or other thing of value by any State officer or employee or special State officer or employee from any State vendor shall be reported in writing forthwith by the vendor to the Attorney General and the Executive Commission on Ethical Standards.

c. No vendor may, directly or indirectly, undertake any private business, commercial or entrepreneurial relationship with, whether or not pursuant to employment, contract or other agreement, express or implied, or sell any interest in such vendor to, any State officer or employee or special State officer or employee having any duties or responsibilities in connection with the purchase, acquisition or sale of any property or services by or to any State agency or any instrumentality thereof, or with any person, firm or entity with which he is employed or associated or in which he has an interest within the meaning of N.J.S.A. 52: 130-13g. Any relationships subject to this provision shall be reported in writing forthwith to the Executive Commission on Ethical Standards, which may grant a waiver of this restriction upon application of the State officer or employee or special State officer or employee upon a finding that the present or proposed relationship does not present the potential, actuality or appearance of a conflict of interest.

d. No vendor shall influence, or attempt to influence or cause to be influenced, any State officer or employee or special State officer or employee in his official capacity in any manner which might tend to impair the objectivity or independence of judgment of said officer or employee.

e. No vendor shall cause or influence, or attempt to cause or influence, any State officer or employee or special State officer or employee to use, or attempt to use, his official position to secure unwarranted privileges or advantages for the vendor or any other person.

f. The provisions cited above in paragraphs 2.8a through 2.8e shall not be construed to prohibit a State officer or employee or Special State officer or employee from receiving gifts from or contracting with vendors under the same terms and conditions as are offered or made available to members of the general public subject to any guidelines the Executive Commission on Ethical Standards may promulgate under paragraph 3c of Executive Order No. 189.

2.9 NOTICE TO ALL CONTRACTORS SET-OFF FOR STATE TAX NOTICE - Pursuant to L 1995, c. 159, effective January 1, 1996, and notwithstanding any provision of the law to the contrary, whenever any taxpayer, partnership or S corporation under contract to provide goods or services or construction projects to the State of New Jersey or its agencies or instrumentalities, including the legislative and judicial branches of State government, is entitled to payment for those goods or services at the same time a taxpayer, partner or shareholder of that entity is indebted for any State tax, the Director of the Division of Taxation shall seek to set off that taxpayer’s or shareholder’s share of the payment due the taxpayer, partnership, or S corporation. The amount set off shall not allow for the deduction of any expenses or other deductions which might be attributable to the taxpayer, partner or shareholder subject to set-off under this act.

The Director of the Division of Taxation shall give notice to the set-off to the taxpayer and provide an opportunity for a hearing within thirty (30) days of such notice under the procedures for protests established under R.S. 54:49-18. No requests for conference, protest, or subsequent appeal to the Tax Court from any protest under this section shall stay the collection of the indebtedness. Interest that may be payable by the State, pursuant to P.L. 1987, c.184 (c.52:32-32 et seq.), to the taxpayer shall be stayed.

2.10 COMPLIANCE - LAWS - The contractor must comply with all local, State and Federal laws, rules and regulations applicable to this contract and to the goods delivered and/or services performed hereunder.

2.11 COMPLIANCE - STATE LAWS - It is agreed and understood that any contracts and/or orders placed as a result of [this Proposal] shall be governed and construed and the rights and obligations of the parties hereto shall be determined in accordance with the laws of the STATE OF NEW JERSEY.

3. STATE LAW REQUIRING MANDATORY COMPLIANCE BY CONTRACTORS UNDER CIRCUMSTANCES SET FORTH IN LAW OR BASED ON THE TYPE OF CONTRACT

3.1 COMPLIANCE - CODES – The contractor must comply with NJUCC and the latest NEC70, B.O.C.A. Basic Building code, OSHA and all applicable codes for this requirement. The contractor shall be responsible for securing and paying all necessary permits, where applicable.

3.2 PUBLIC WORKS CONTRACTOR REGISTRATION ACT - The New Jersey Public Works Contractor Registration Act requires all contractors, subcontractors and lower tier subcontractor(s) who engage in any contract for public work as defined in N.J.S.A. 34:11-56.26 be first registered with the New Jersey Department of Labor and Workforce Development. Any questions regarding the registration process should be directed to the Division of Wage and Hour Compliance at (609) 292-9464.

3.3 PUBLIC WORKS CONTRACT - ADDITIONAL AFFIRMATIVE ACTION REQUIREMENTS -

N.J.S.A. 10:5-33 and N.J.A.C. 17:27-3.5 require that during the performance of this contract, the contractor must agree as follows:

a) The contractor or subcontractor, where applicable, will not discriminate against any employee or applicant for employment because of age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex. Except with respect to affectional or sexual orientation and gender identity or expression, the contractor will take affirmative action to ensure that such applicants are recruited and employed, and that employees are treated during employment, without regard to their age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex. Such action shall include, but not be limited to the following: employment, upgrading, demotion, or transfer; recruitment or recruitment advertising; layoff or termination; rates of pay or other forms of compensation; and selection for training, including apprenticeship. The contractor agrees to post in conspicuous places, available to employees and applicants for employment, notices to be provided by the contracting officer setting forth the provisions of this nondiscrimination clause;

b) The contractor or subcontractor, where applicable will, in all solicitations or advertisements for employees placed by or on behalf of the contractor, state that all qualified applicants will receive consideration for employment without regard to age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex;

c) The contractor or subcontractor where applicable, will send to each labor union or representative of workers with which it has a collective bargaining agreement or other contract or understanding, a notice, to be provided by the agency contracting officer, advising the labor union or workers' representative of the contractor's commitments under this act and shall post copies of the notice in conspicuous places available to employees and applicants for employment.  N.J.A.C. 17:27-3.7 requires all contractors and subcontractors, if any, to further agree as follows:

1. The contractor or subcontractor agrees to make good faith efforts to meet targeted county employment goals established in accordance with N.J.A.C. 17:27-5.2.

2. The contractor or subcontractor agrees to inform in writing its appropriate recruitment agencies including, but not limited to, employment agencies, placement bureaus, colleges, universities, and labor unions, that it does not discriminate on the basis of age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex, and that it will discontinue the use of any recruitment agency which engages in direct or indirect discriminatory practices.

3. The contractor or subcontractor agrees to revise any of its testing procedures, if necessary, to assure that all personnel testing conforms with the principles of job-related testing, as established by the statutes and court decisions of the State of New Jersey and as established by applicable Federal law and applicable Federal court decisions.

4. In conforming with the targeted employment goals, the contractor or subcontractor agrees to review all procedures relating to transfer, upgrading, downgrading and layoff to ensure that all such actions are taken without regard to age, race, creed, color, national origin, ancestry, marital status, affectional or sexual orientation, gender identity or expression, disability, nationality or sex, consistent with the statutes and court decisions of the State of New Jersey, and applicable Federal law and applicable Federal court decisions.

3.4 BUILDING SERVICE – Pursuant to N.J.S.A. 34:11-56.58 et seq., in any contract for building services, as defined in N.J.S.A. 34:11-56.59, the employees of the contractor or subcontractors shall be paid prevailing wage for building services rates, as defined in N.J.S.A. 34:11.56.59. The prevailing wage shall be adjusted annually during the term of the contract.

3.5 THE WORKER AND COMMUNITY RIGHT TO KNOW ACT - The provisions of N.J.S.A. 34:5A-l et seq. which require the labeling of all containers of hazardous substances are applicable to this contract. Therefore, all goods offered for purchase to the State must be labeled by the contractor in compliance with the provisions of the statute.

3.6 SERVICE PERFORMANCE WITHIN U.S. – Under N.J.S.A. 52:34-13.2, all contracts primarily for services awarded by the Director shall be performed within the United States, except when the Director certifies in writing a finding that a required service cannot be provided by a contractor or subcontractor within the United States and the certification is approved by the State Treasurer.

A shift to performance of services outside the United States during the term of the contract shall be deemed a breach of contract. If, during the term of the contract, the contractor or subcontractor, proceeds to shift the performance of any of the services outside the United States, the contractor shall be deemed to be in breach of its contract, which contract shall be subject to termination for cause pursuant to Section 5.7(b)(1) of the Standard Terms and Conditions, unless previously approved by the Director and the Treasurer.

3.7 BUY AMERICAN – Pursuant to N.J.S.A. 52:32-1, if manufactured items or farm products will be provided under this contract to be used in a public work, they shall be manufactured or produced in the United States and the contractor shall be required to so certify.

4. INDEMNIFICATION AND INSURANCE

4.1 INDEMNIFICATION - The contractor’s liability to the State and its employees in third party suits shall be as follows:

a) Indemnification for Third Party Claims - The contractor shall assume all risk of and responsibility for, and agrees to indemnify, defend, and save harmless the State of New Jersey and its employees from and against any and all claims, demands, suits, actions, recoveries, judgments and costs and expenses in connection therewith which shall arise from or result directly or indirectly from the work and/or materials supplied under this contract, including liability of any nature or kind for or on account of the use of any copyrighted or uncopyrighted composition, secret process, patented or unpatented invention, article or appliance furnished or used in the performance of this contract.

b) The contractor’s indemnification and liability under subsection (a) is not limited by, but is in addition to the insurance obligations contained in Section 4.2 of these Terms and Conditions.

c) In the event of a patent and copyright claim or suit, the contractor, at its option, may: (1) procure for the State of New Jersey the legal right to continue the use of the product; (2) replace or modify the product to provide a non-infringing product that is the functional equivalent; or (3) refund the purchase price less a reasonable allowance for use that is agreed to by both parties.

4.2 INSURANCE - The contractor shall secure and maintain in force for the term of the contract insurance as provided herein. All required insurance shall be provided by insurance companies with an A- VIII or better rating by A.M. Best & Company. The contractor shall provide the State with current certificates of insurance for all coverages and renewals thereof, and the certificates shall reflect that the insurance policies shall not be canceled for any reason except after sixty (60) days written notice to the State. Certificates of renewals shall be provided within thirty (30) days of the expiration of the insurance. The contractor shall not begin to provide services or goods to the State until evidence of the required insurance is provided. The certificates of insurance shall indicate the contract number or purchase order number and title of the contract in the Description of Operations box and shall list the State of New Jersey, Department of the Treasury, Division of Purchase & Property, Contract Compliance & Audit Unit, P.O. Box 236, Trenton, New Jersey 08625 in the Certificate Holder box. The certificates and any notice of cancelation shall be emailed to the State at:

ccau.certificate@treas.nj.gov

The insurance to be provided by the contractor shall be as follows:

a. Occurrence Form Comprehensive General Liability Insurance or its equivalent: The minimum limit of liability shall be $1,000,000 per occurrence as a combined single limit for bodily injury and property damage. The above required Comprehensive General Liability Insurance policy or its equivalent shall name the State, its officers, and employees as “Additional Insureds” and include the blanket additional insured endorsement or its equivalent. The coverage to be provided under these policies shall be at least as broad as that provided by the standard basic, unamended, and unendorsed Comprehensive General Liability Insurance occurrence coverage forms or its equivalent currently in use in the State of New Jersey, which shall not be circumscribed by any endorsement limiting the breadth of coverage.

b. Automobile Liability Insurance which shall be written to cover any automobile used by the insured. Limits of liability for bodily injury and property damage shall not be less than $1 million per occurrence as a combined single limit. The State must be named as an “Additional Insured” and a blanket additional insured endorsement or its equivalent must be provided when the services being procured involve vehicle use on the State’s behalf or on State controlled property.

c. Worker’s Compensation Insurance applicable to the laws of the State of New Jersey and Employers Liability Insurance with limits not less than:

$1,000,000 BODILY INJURY, EACH OCCURRENCE

$1,000,000 DISEASE EACH EMPLOYEE

$1,000,000 DISEASE AGGREGATE LIMIT

d. This $1 million amount may have been raised by the RFP when deemed necessary by the Director.

e. In the case of a contract entered into pursuant to N.J.S.A. 52:32-17, et. seq., (small business set asides) the minimum amount of insurance coverage in subsections a., b., and c. above may have been lowered in the RFP for certain commodities when deemed in the best interests of the State by the Director.

5. TERMS GOVERNING ALL CONTRACTS

5.1 CONTRACTOR IS INDEPENDENT CONTRACTOR – The contractor's status shall be that of any independent contractor and not as an employee of the State.

5.2 CONTRACT AMOUNT - The estimated amount of the contract(s), when stated on the RFP form, shall not be construed as either the maximum or minimum amount which the State shall be obliged to order as the result of the RFP or any contract entered into as a result of the RFP.

5.3 CONTRACT TERM AND EXTENSION OPTION - If, in the opinion of the Director, it is in the best interest of the State to extend a contract, the contractor shall be so notified of the Director’s Intent at least thirty (30) days prior to the expiration date of the existing contract. The contractor shall have fifteen (15) calendar days to respond to the Director's request to extend the term and period of performance of the contract. If the contractor agrees to the extension, all terms and conditions including pricing of the original contract shall apply unless more favorable terms for the State have been negotiated.

5.4 STATE’S OPTION TO REDUCE SCOPE OF WORK – The State has the option, in its sole discretion, to reduce the scope of work for any deliverable, task or subtask called for under this contract. In such an event, the Director shall provide to the contractor advance written notice of the change in scope of work and what the Director believes should be the corresponding adjusted contract price. Within five (5) business days of receipt of such written notice, if either is applicable:

a) If the contractor does not agree with the Director’s proposed adjusted contract price, the contractor shall submit to the Director any additional information that the contractor believes impacts the adjusted contract price with a request that the Director reconsider the proposed adjusted contract price. The parties shall negotiate the adjusted contract price. If the parties are unable to agree on an adjusted contract price, the Director shall make a prompt decision taking all such information into account, and shall notify the contractor of the final adjusted contract price.

b) If the contractor has undertaken any work effort toward a deliverable, task or subtask that is being changed or eliminated such that it would not be compensated under the adjusted contract, the contractor shall be compensated for such work effort according to the applicable portions of its price schedule and the contractor shall submit to the Director an itemization of the work effort already completed by deliverable, task or subtask within the scope of work, and any additional information the Director may request. The Director shall make a prompt decision taking all such information into account, and shall notify the contractor of the compensation to be paid for such work effort.

5.5 CHANGE IN LAW– Whenever a change in applicable law or regulation affects the scope of work, the Director shall provide written notice to the contractor of the change and the Director’s determination as to the corresponding adjusted change in the scope of work and corresponding adjusted contract price. Within five (5) business days of receipt of such written notice, if either is applicable:

a) If the contractor does not agree with the adjusted contract price, the contractor shall submit to the Director any additional information that the contractor believes impacts the adjusted contract price with a request that the Director reconsider the adjusted contract price. The Director shall make a prompt decision taking all such information into account, and shall notify the contractor of the final adjusted contract price.

b) If the contractor has undertaken any work effort toward a deliverable, task or subtask that is being changed or eliminated such that it would not be compensated under the adjusted contract, the contractor shall be compensated for such work effort according to the applicable portions of its price schedule and the contractor shall submit to the Director an itemization of the work effort already completed by deliverable, task or subtask within the scope of work, and any additional information the Director may request. The Director shall make a prompt decision taking all such information into account, and shall notify the contractor of the compensation to be paid for such work effort.

5.6 SUSPENSION OF WORK - The State may, for valid reason, issue a stop order directing the contractor to suspend work under the contract for a specific time. The contractor shall be paid for goods ordered, goods delivered, or services requested and performed until the effective date of the stop order. The contractor shall resume work upon the date specified in the stop order, or upon such other date as the State Contract Manager may thereafter direct in writing. The period of suspension shall be deemed added to the contractor's approved schedule of performance. The Director shall make an equitable adjustment, if any is required, to the contract price. The contractor shall provide whatever information that Director may require related to the equitable adjustment.

5.7 TERMINATION OF CONTRACT

a. For Convenience

Notwithstanding any provision or language in this contract to the contrary, the Director may terminate this contract at any time, in whole or in part, for the convenience of the State, upon no less than thirty (30) days written notice to the contractor.

b. For Cause

1. Where a contractor fails to perform or comply with a contract or a portion thereof, and/or fails to comply with the complaints procedure in N.J.A.C. 17: 12-4.2 et seq., the Director may terminate the contract, in whole or in part, upon ten (10) days notice to the contractor with an opportunity to respond.

2. Where in the reasonable opinion of the Director, a contractor continues to perform a contract poorly as demonstrated by e.g., formal complaints, late delivery, poor performance of service, short-shipping, so that the Director is required to use the complaints procedure in N.J.A.C. 17:12-4.2 et seq., and there has been a failure on the part of the contractor to make progress towards ameliorating the issue(s) or problem(s) set forth in the complaint, the Director may terminate the contract, in whole or in part, upon ten (10) days notice to the contractor with an opportunity to respond.

c. In cases of emergency the Director may shorten the time periods of notification and may dispense with an opportunity to respond.

d. In the event of termination under this section, the contractor shall be compensated for work performed in accordance with the contract, up to the date of termination. Such compensation may be subject to adjustments.

5.8 SUBCONTRACTING OR ASSIGNMENT –

a. Subcontracting : The contractor may not subcontract other than as identified in the contractor’s Proposal without the prior written consent of the Director. Such consent, if granted in part, shall not relieve the contractor of any of his responsibilities under the contract, nor shall it create privity of contract between the State and any subcontractor. If the contractor uses a subcontractor to fulfill any of its obligations, the contractor shall be responsible for the subcontractor’s: (a) performance; (b) compliance with all of the terms and conditions of the contract; and (c) compliance with the requirements of all applicable laws.

b. Assignment: The contractor may not assign its responsibilities under the contract, in whole or in part, without the prior written consent of the Director.

5.9 NO CONTRACTUAL RELATIONSHIP BETWEEN SUBCONTRACTORS AND STATE - Nothing contained in any of the contract documents, including the RFP and vendor’s bid or Proposal shall be construed as creating any contractual relationship between any subcontractor and the State.

5.10 MERGERS, ACQUISITIONS - If, during the term of this contract, the contractor shall merge with or be acquired by another firm, the contractor shall give notice to the Director as soon as practicable and in no event longer than thirty (30) days after said merger or acquisition. The contractor shall provide such documents as may be requested by the Director, which may include but need not be limited to the following: corporate resolutions prepared by the awarded contractor and new entity ratifying acceptance of the original contract, terms, conditions and prices; updated information including ownership disclosure and Federal Employer Identification Number. The documents must be submitted within thirty (30) days of the request. Failure to do so may result in termination of the contract for cause.

If, at any time during the term of the contract, the contractor's partnership, limited liability company, limited liability partnership, professional corporation, or corporation shall dissolve, the Director must be so notified. All responsible parties of the dissolved business entity must submit to the Director in writing, the names of the parties proposed to perform the contract, and the names of the parties to whom payment should be made. No payment shall be made until all parties to the dissolved business entity submit the required documents to the Director.

5.11 PERFORMANCE GUARANTEE OF CONTRACTOR - The contractor hereby certifies that:

a. The equipment offered is standard new equipment, and is the manufacturer's latest model in production, with parts regularly used for the type of equipment offered; that such parts are all in production and not likely to be discontinued; and that no attachment or part has been substituted or applied contrary to manufacturer's recommendations and standard practice.

b. All equipment supplied to the State and operated by electrical current is UL listed where applicable.

c. All new machines are to be guaranteed as fully operational for the period stated in the contract from time of written acceptance by the State. The contractor shall render prompt service without charge, regardless of geographic location.

d. Sufficient quantities of parts necessary for proper service to equipment shall be maintained at distribution points and service headquarters.

e. Trained mechanics are regularly employed to make necessary repairs to equipment in the territory from which the service request might emanate within a 48-hour period or within the time accepted as industry practice.

f. During the warranty period the contractor shall replace immediately any material which is rejected for failure to meet the requirements of the contract.

g. All services rendered to the State shall be performed in strict and full accordance with the specifications stated in the contract. The contract shall not be considered complete until final approval by the State's using agency is rendered.

5.12 DELIVERY REQUIREMENTS-

a. Deliveries shall be made at such time and in such quantities as ordered in strict accordance with conditions contained in the contract.

b. The contractor shall be responsible for the delivery of material in first class condition to the State's using agency or the purchaser under this contract and in accordance with good commercial practice.

c. Items delivered must be strictly in accordance with the contract.

d. In the event delivery of goods or services is not made within the number of days stipulated or under the schedule defined in the contract, the using agency shall be authorized to obtain the material or service from any available source, the difference in price, if any, to be paid by the contractor.

5.13 APPLICABLE LAW AND JURISDICTION - This contract and any and all litigation arising therefrom or related thereto shall be governed by the applicable laws, regulations and rules of evidence of the State of New Jersey without reference to conflict of laws principles and shall be filed in the appropriate Division of the New Jersey Superior Court.

5.14. CONTRACT AMENDMENT – Except as provided herein, the contract may only be amended by written agreement of the State and the contractor.

5.15 MAINTENANCE OF RECORDS - The contractor shall maintain records for products and/or services delivered against the contract for a period of five (5) years from the date of final payment unless otherwise specified in the RFP. Such records shall be made available to the State, including the Comptroller, for audit and review.

5.16 ASSIGNMENT OF ANTITRUST CLAIM(S) - The contractor recognizes that in actual economic practice, overcharges resulting from antitrust violations are in fact usually borne by the ultimate purchaser. Therefore, and as consideration for executing this contract, the contractor, acting herein by and through its duly authorized agent, hereby conveys, sells, assigns, and transfers to the State of New Jersey, for itself and on behalf of its political subdivisions and public agencies, all right, title and interest to all claims and causes of action it may now or hereafter acquire under the antitrust laws of the United States or the State of New Jersey, relating to the particular goods and services purchased or acquired by the State of New Jersey or any of its political subdivisions or public agencies pursuant to this contract.

In connection with this assignment, the following are the express obligations of the contractor:

a. It shall take no action that will in any way diminish the value of the rights conveyed or assigned hereunder.

b. It shall advise the Attorney General of New Jersey:

1. in advance of its intention to commence any action on its own behalf regarding any such claim or cause(s) of action;

2. immediately upon becoming aware of the fact that an action has been commenced on its behalf by some other person(s) of the pendency of such action.

c. It shall notify the defendants in any antitrust suit of the within assignment at the earliest practicable opportunity after the contractor has initiated an action on its own behalf or becomes aware that such an action has been filed on its behalf by another person. A copy of such notice shall be sent to the Attorney General of New Jersey.

d. It is understood and agreed that in the event any payment under any such claim or cause of action is made to the contractor, it shall promptly pay over to the State of New Jersey the allotted share thereof, if any, assigned to the State hereunder.

6. TERMS RELATING TO PRICE AND PAYMENT

6.1 PRICE FLUCTUATION DURING CONTRACT - Unless otherwise agreed to in writing by the State, all prices Quoted shall be firm through issuance of contract or purchase order and shall not be subject to increase during the period of the contract.

In the event of a manufacturer's or contractor's price decrease during the contract period, the State shall receive the full benefit of such price reduction on any undelivered purchase order and on any subsequent order placed during the contract period. The Director must be notified, in writing, of any price reduction within five (5) days of the effective date.

Failure to report price reductions may result in cancellation of contract for cause, pursuant to provision 5.7(b)1.

6.2 TAX CHARGES - The State of New Jersey is exempt from State sales or use taxes and Federal excise taxes. Therefore, price quotations must not include such taxes. The State's Federal Excise Tax Exemption number is 22-75-0050K.

6.3 PAYMENT TO VENDORS -

a. The using agency(ies) is (are) authorized to order and the contractor is authorized to ship only those items covered by the contract resulting from the RFP. If a review of orders placed by the using agency(ies) reveals that goods and/or services other than that covered by the contract have been ordered and delivered, such delivery shall be a violation of the terms of the contract and may be considered by the Director as a basis to terminate the contract and/or not award the contractor a subsequent contract. The Director may take such steps as are necessary to have the items returned by the agency, regardless of the time between the date of delivery and discovery of the violation. In such event, the contractor shall reimburse the State the full purchase price.

b. The contractor must submit invoices to the using agency with supporting documentation evidencing that work or goods for which payment is sought has been satisfactorily completed or delivered. For commodity contracts, the invoice, together with the original Bill of Lading, express receipt and other related papers must be sent to the State Contract Manager or using agency on the date of each delivery. For contracts featuring services, invoices must reference the tasks or subtasks detailed in the Scope of Work section of the RFP and must be in strict accordance with the firm, fixed prices submitted for each task or subtask on the RFP pricing sheets. When applicable, invoices should reference the appropriate RFP price sheet line number from the contractor’s bid Proposal. All invoices must be approved by the State Contract Manager or using agency before payment will be authorized.

c. In all time and materials contracts, the State Contract Manager or designee shall monitor and approve the hours of work and the work accomplished by contractor and shall document both the work and the approval. Payment shall not be made without such documentation. A form of timekeeping record that should be adapted as appropriate for the Scope of Work being performed can be found at www.nj.gov/treasury/purchase/forms/Vendor_Timesheet.xls.

d The contractor shall provide, on a monthly and cumulative basis, a breakdown in accordance with the budget submitted, of all monies paid to any small business, minority or woman-owned subcontractor(s). This breakdown shall be sent to the Chief of Operations, Division of Revenue, P.O. Box 628, Trenton, NJ 08646.

6.4 OPTIONAL PAYMENT METHOD: P-CARD - The State offers contractors the opportunity to be paid through the MasterCard procurement card (p-card). A contractor’s acceptance and a State agency’s use of the p-card are optional. P-card transactions do not require the submission of a contractor invoice; purchasing transactions using the p-card will usually result in payment to a contractor in three (3) days. A contractor should take note that there will be a transaction-processing fee for each p-card transaction. To participate, a contractor must be capable of accepting the MasterCard. Additional information can be obtained from banks or merchant service companies.

6.5 NEW JERSEY PROMPT PAYMENT ACT - The New Jersey Prompt Payment Act, N.J.S.A. 52:32-32 et seq., requires state agencies to pay for goods and services within sixty (60) days of the agency's receipt of a properly executed State Payment Voucher or within sixty (60) days of receipt and acceptance of goods and services, whichever is later. Properly executed performance security, when required, must be received by the State prior to processing any payments for goods and services accepted by state agencies. Interest will be paid on delinquent accounts at a rate established by the State Treasurer. Interest shall not be paid until it exceeds $5.00 per properly executed invoice.

Cash discounts and other payment terms included as part of the original agreement are not affected by the Prompt Payment Act.

6.6 AVAILABILITY OF FUNDS – The State’s obligation to make payment under this contract is contingent upon the availability of appropriated funds and receipt of revenues from which payment for contract purposes can be made. No legal liability on the part of the State for payment of any money shall arise unless and until funds are appropriated each fiscal year to the using agency by the State Legislature and made available through receipt of revenues.