### November 10, 2016

# To: All Interested Vendors {Bidders}

## Re:  Bid Solicitation {RFP} # 17DPP00031

# T3064 – NJDEP Laboratory Analysis – Fish Monitoring for Chemical Contaminants

# Original Quote {Proposal Submission Due Date:  November 18, 2016 (2:00 p.m. ET)

# REVISED Quote {Proposal} Submission Due Date: November 23, 2016 (2:00 p.m. ET)

# Bid Amendment {ADDENDUM} #1

The following constitutes Bid Amendment {Addendum} #1 to the above referenced Bid Solicitation {RFP}.  This Bid Amendment {Addendum} is divided into the following parts:

Part 1: Answers to questions; and

Part 2: For all additions, deletions, clarifications and modifications to the Bid Solicitation {RFP} #17DPP00031, please refer to T3064 Revised RFP 11 10 16.

It is the sole responsibility of the Vendor {Bidder} to be knowledgeable of all of the additions, deletions, clarifications, and modifications to the Bid Solicitation {RFP} and/or the New Jersey Standard Terms and Conditions relative to this Bid Solicitation {RFP} as set forth in all Bid Amendments {Addenda}.

All other instructions, terms, and conditions of the Bid Solicitation {RFP} shall remain the same.

# PART 1

# T3064 – NJDEP Laboratory Analysis – Fish Monitoring for Chemical Contaminants

# Bid Solicitation {RFP} Number: 17DPP00031

#### Answers to Questions

Note: Some of the questions have been paraphrased in the interest of readability and clarity.  Each question is referenced by the appropriate Bid Solicitation {RFP} page number(s) and section where applicable.

| # | Page # | RFP Section Reference | Question | Answer |
| --- | --- | --- | --- | --- |
| 1 | 17 | Section 3.1 | Does the Vendor {Bidder} and its Subcontractors have to have DEP certification at the time of Quote {Proposal} opening? We do not have PPCPs and PBDE certification with DEP. | Certification requirements vary depending on the parameter type. Please refer to Revised Bid Solicitation {RFP} Sections 4.4.3.4.1 and 4.4.3.4.2 for laboratory certification requirements for Primary and Secondary Parameters. Venders {Bidders} may use an eligible and DEP Environmental Laboratory Certified Subcontractor to perform a method or methods in which the Vendor {Bidder} does not hold the required laboratory certification. |
| 2 | 17 | Section 3.2 | There is no price line item for tissue filleting and homogenization of whole fish. This varies based on size of fish. | The Revised Price Sheet contains a Fish Preparation price line for both the Primary and Secondary Parameter Groups. As detailed by Section 4.4.5.2 of the Revised Bid Specification {RFP}, Vendors {Bidders} must provide a fixed per specimen Fish Preparation unit cost for each parameter group bid upon. The fixed Fish Preparation unit cost will be applied to all specimens in the parameter group requiring preparation, regardless of size. |
| 3 | 19 | Section 3.2.3 | Which PAHs should be measured, i.e. 16 parents or a suite to include alkylated PAH? | The 16 priority pollutants referenced are considered essential and must be the minimum included in the submitted pricing. |
| 4 | 19 | Section 3.2.3 | Pharmaceuticals and other personal care products vary by target list. How can this be presented in Bid Table? | Pharmaceuticals and other personal care products have been removed from the Secondary Primary Group and any associated testing and analysis will be performed via a per project quote as described by Section 3.2.2.1 of the Revised Bid Specification {RFP}. |
| 5 | 20 | Section 3.2.4 | Does the awarded Vendor {Contractor} have the ability to propose alternative Electronic Data Deliverable (“EDD”) formats? The EDD in Attachment #1 will require DEP to provide information to populate a large number of the fields. | Attachment #1 should be considered an example of an acceptable EDD format. The Vendor {Contractor} may propose an alternate EDD format, subject to the approval of the State Contract Manager. The Vendor {Contractor} may also request that the DEP provide information if deemed necessary to complete the EDD. |
| 6 | 20 | Section 3.3 | In preparing the QAPP, can the lab’s SOPs be identified as proprietary and confidential and not be released beyond NJDEP? | The awarded Vendor(s) {Contractor(s)} may identify its SOPs as proprietary and confidential when submitting to the DEP. Please refer to Section 1.4.4 of the Revised Bid Specification {RFP} for additional information regarding Quote {Proposal} contents and the New Jersey Open Public Records Act. |
| 7 | 26 | Section 3.5 | Can you clearly state who will be responsible for shipping cost to deliver samples to the lab via a commercial overnight carrier, such as Fedex or UPS? | Overnight shipping from NJDEP to the Vendor {Contractor} shall be included in the unit pricing, as stated in Section 3.14.1f of the Revised Bid Specification {RFP}. |
| 8 | 51 | Section 7.1.2 | As a Vendor {Bidder} located outside of the United States, am I precluded from submitting a Quote {Proposal} due to Source Disclosure requirements? | A Vendor {Bidder} performing a service located outside of the United States may submit a proposal in response to this Bid Solicitation {RFP}. As stated in Section 7.1.2 of the Revised Bid Specification {RFP}, and pursuant to N.J.S.A. 52:34-13.2, if any of the services cannot be performed within the United States, the Vendor {Bidder} shall state with specificity the reasons why the services cannot be so performed. The Director shall determine whether sufficient justification has been provided by the Vendor {Bidder} to form the basis of his or her certification that the services cannot be performed in the United States and whether to seek the approval of the Treasurer. |