### December 9, 2016

# To: All Interested Vendors {Bidders}

## Re:  Bid Solicitation {RFP} # 17DPP00031

# T3064 – NJDEP Laboratory Analysis – Fish Monitoring for Chemical Contaminants

# Quote {Proposal} Submission Due Date: December 21, 2016 (2:00 p.m. ET)

# Bid Amendment {ADDENDUM} #3

The following constitutes Bid Amendment {Addendum} #3 to the above referenced Bid Solicitation {RFP}.  This Bid Amendment {Addendum} is divided into the following parts:

Part 1: Answers to questions; and

Part 2: For all additions, deletions, clarifications and modifications to the Bid Solicitation {RFP} #17DPP00031, please refer to T3064 REVISED RFP 12 09 16.

It is the sole responsibility of the Vendor {Bidder} to be knowledgeable of all of the additions, deletions, clarifications, and modifications to the Bid Solicitation {RFP} and/or the New Jersey Standard Terms and Conditions relative to this Bid Solicitation {RFP} as set forth in all Bid Amendments {Addenda}.

All other instructions, terms, and conditions of the Bid Solicitation {RFP} shall remain the same.

# PART 1

# T3064 – NJDEP Laboratory Analysis – Fish Monitoring for Chemical Contaminants

# Bid Solicitation {RFP} Number: 17DPP00031

#### Answers to Questions

Note: The question below has been paraphrased in the interest of readability and clarity.  Each question is referenced by the appropriate Bid Solicitation {RFP} page number(s) and section where applicable.

| # | Page # | RFP Section Reference | Question | Answer |
| --- | --- | --- | --- | --- |
| 1 | 54 | Section 4.4.3.4.2 (d) | NJDEP OQA does not offer lab certification for Method 1699 as specified by the Bid Solicitation {RFP}, please advise how to proceed. | Please refer to the Revised Bid Specification {RFP}, T3064 REVISED RFP 12 09 16, which includes modifications to the Secondary Parameter certification requirements. For Secondary Parameters, a Vendor {Bidder} may now submit with its proposal a laboratory method Standard Operating Procedure (“SOP”) in lieu of a specified laboratory certification. In the specified case of a Vendor {Bidder} being unable to receive NJDEP laboratory certification for Method 1699, either directly or through NELAP certification, the Vendor {Bidder} now has the ability to submit a laboratory method SOP for Method 1699 with its Quote {Proposal} in lieu of NJDEP certification. Vendors {Bidders} shall also note revisions to Section 4.4.3.5 Method Reporting and Laboratory Capabilities, which now requires the specified demonstrations/evidence with Vendor {Bidder} Quotes {Proposals}. Please refer to T3064 REVISED RFP 12 09 16 for additional information regarding revisions to Section 4.4.3.5., and all other Bid Specification {RFP} sections. |