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[bookmark: _GoBack]October 30, 2015


To: 	All Interested Vendors {Bidders} 

Re:  	Bid Solicitation {RFP} # 16DPP00003
       	T2688 – NJDEP Laboratory Analysis of Drinking Water Samples


Quote {Proposal} Submission Due Date: November 5, 2015 (2:00 p.m. EST)
Revised Quote {Proposal} Submission Due Date: November 10, 2015 (2:00 p.m. EST)


Bid Amendment {ADDENDUM} #3


The following constitutes Bid Amendment {Addendum} #3 to the above referenced Bid Solicitation {RFP}.  This bid amendment {addendum} is divided into the following parts:  

Part 1: Answers to questions; and
Part 2: For all additions, deletions, clarifications and modifications to the Bid Solicitation {RFP} # 16DPP00003, please refer to T2688 – Revised Drinking Water RFP 102915 and T2688- Revised Appendix 1 Lab Certifications 102915. Vendors {Bidders} are advised that changes occur on page 1, 27, 55, and 56 of the Bid Solicitation {RFP}, and on all 5 pages of Appendix 1. Note: Modifications to the Bid Solicitation {RFP} demonstrated in Bid Amendment {Addendum} #2 are no longer displayed utilizing tracked changes.

It is the sole responsibility of the vendor {bidder} to be knowledgeable of all of the additions, deletions, clarifications, and modifications to the Bid Solicitation {RFP} and/or the New Jersey Standard Terms and Conditions relative to this Bid Solicitation {RFP} as set forth in all bid amendments {addenda}. 

All other instructions, terms, and conditions of the Bid Solicitation {RFP} shall remain the same.




PART 1
T2688 – NJDEP Laboratory Analysis of Drinking Water Samples
Bid Solicitation {RFP} Number: 16DPP00003

Answers to Questions

Note: Some of the questions have been paraphrased in the interest of readability and clarity.  Each question is referenced by the appropriate RFP page number(s) and section where applicable.  

	#
	Page #
	RFP Section Reference
	Question
	Answer

	1
	-
	Appendix 1
	   Appendix 1 lists 84 parameters for Method 524.2.  A portion of
   the parameters listed are not available in the NJDEP Primary and Secondary
   Drinking Water Accreditation program.  Please confirm the Appendix 1 listing
   is accurate/applicable. 

	
The 84 parameters listed in Appendix 1 have the correct Certification Codes. Some Parameter and Technique names were revised in Appendix 1 while the Parameter names listed in the Bid Solicitation {RFP} were revised to match the names in Appendix 1. 

Please refer to the revised Appendix 1 and the revised Bid Solicitation {RFP}.


	2
	-
	Appendix 1
	Appendix 1 lists eleven (11) parameters for Method 537 which contradicts
   Section 4.4.3.4 page 98 of the RFP, which states that there are twelve (12) parameters for Method 537.  Please advise on the parameter count.
 
	The following parameter has been added to Appendix 1 for the Method 537 certification requirements: Certification Code SDW06.07520 - Perfluorododecanoic acid. With this addition there are twelve (12) parameters for Method 537.  

Please refer to page 4 of the revised Appendix 1.


	3
	98
	4.4.3.4
	Does accreditation for method 537 via the UCMR3 program satisfy section
   4.4.3.4 page 98-99?
	Section 4.4.3.4 - Required Environmental Laboratory Certifications/Accreditations of the Bid Solicitation {RFP} requires:

[T]he Vendor {Bidder} shall satisfy each laboratory certification/accreditation requirement for a given laboratory by holding one of the following certification/accreditations:

0. NJDEP Environmental Laboratory Certification;
0. NJDEP Primary NELAP Accreditation; or
0. NJDEP Secondary NELAP Accreditation.

With respect to the required certifications, NJDEP advises that laboratory accreditation via the UCMR3 program is not permitted for this contract.  NJDEP’s regulations at N.J.A.C. 7:18 govern the certification of laboratories performing sample analyses for compliance with many statutes, and establish the criteria and procedures that certified environmental laboratories must follow in collecting, handling, preserving, and analyzing samples.  The applicable NJDEP regulations require certification through a New Jersey Environmental Laboratory Certification Program or the New Jersey National Environmental Laboratory Accreditation Program.  N.J.A.C. 7:26E-2.1(a)(1) and N.J.A.C. 7:18-1.4.  UCMR3 program does meet the requirements of the NJDEP regulations.  Accordingly no amendment to the specifications will be made. 
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