AMENDMENT #2 (Bid Deadline Extension + Additional Details)

Bid Deadline is being extended to Tuesday, July 7, 2026 at 2:00 PM CT (originally was set to close 6/22/26).

Site Visits:

Site visits/walk throughs may be scheduled by contacting Tim Rentmeister at 608-577-3295 to check availability.

  - added to Terms & Requirements document under Section 5.10.

Load Bank Testing:

Load Bank testing is a service that UW-Madison departments or other users of this contract (i.e., other UW Campuses, State of WI Agencies, WI Municipalities) may request under the scope of this contract. The annual maintenance testing scope provided in this bid under Section 6 “Technical Requirements” specifically applies to the (50) generators included on Attachment A “Itemized Bid List” that are maintained by the UW-Madison Physical Plant Electric Shop. Additional related services, such as load bank testing, can be requested on a quote-to-order basis under this contract.

  - added to Terms & Requirements document under Section 5.11.

NFPA 110:

UW-Madison requires that all services performed by contracted vendors shall follow NFPA 110 guidelines and the manufacturer’s specifications.

  - added to Terms & Requirements document under Section 5.12.

Residential Occupancy Locations:

For any locations that include residential occupancy, contractor may be required to perform additional testing to meet the UW-Madison Environmental Health and Safety department and EPA related standards for compliance. Additional testing services can be requested on a quote-to-order basis under this contract.

  - added to Terms & Requirements document under Section 5.13.

Please note: If you have already submitted a response, you will need to re-certify and resubmit your response in ShopUW+, to acknowledge this amendment.