PURPOSE: To purchase Pervious Pavement Cleaning at the City of Columbus Watershed

Mission: Pervious Pavement Cleaning at multiple reservoir locations.

Locations:

- Griggs - Shelter House #7 – 4195 Riverside Drive, Upper Arlington, OH 43220

- O’Shaughnessy – Area B – 5925 Glick Road, Powell, OH 43065

- Hoover – Area A – 7714 Sunbury Road, Westerville, OH 43081

- Hoover – Twin Bridges – 4748 Red Bank Road, Galena, OH 43021

- Hoover – Area M – 33 Front Street, Galena, OH 43021

This service shall be invoiced in one lump sum, which includes labor, material and equipment required.

Detailed Scope of Service:

Parking Areas & Walkways to be cleaned using a regenerative Air Sweeper.

Air Sweeper to sweep gravel, grit, leaves, dirt and loose debris from all paved surfaces surrounding the pervious concrete parking lot.

All permeable pavement is to be deep cleaned with water and surface vacuumed.

Infiltration testing must be done at each location and results given to city.

Back Pack Blowers should be used to move debris from any areas the sweeper cannot reach.

Contractor is responsible for disposal of all debris.

Please see site maps in attachments.

On site visit can be scheduled. Please schedule within the time of bid being open. Please schedule visit with the individual listed below.

For information regarding this solicitation prior to bidding, contact Joe Dunbar, Maintenance Manager at (614)-645-1286, Monday-Friday, 8 am to 2 pm.

BIDDING INSTRUCTIONS:

Line 10 – Please quote your total cost for this service.

Successful bidders, upon notice of award of these services, must provide a copy to the Division of Water designee a current State of Ohio BWC insurance certificate, appropriate contractor licenses, and a copy of the company’s current General Liability Insurance.