REQUEST FOR PROPOSAL (RFP)

Artificial Turf Installation Project

Medical Center Campus

Medical Center: _Chickasaw Nation Medical Center_

Project Location: 1921 Stonecipher Blvd. Ada, OK 74820

RFP Issue Date: _______3/12/2026_____________

Proposal Due Date: ______7/31/2026 _________

Procurement Contact: Shannon Sanders______

Procurement: 1009 N. Country Club Rd. Ada, OK 74820

Email: shannon.sanders@chickasaw.net______

Phone: ___(580)272-1330______________________

# 1. Introduction

The Medical Center is requesting proposals from qualified contractors for the removal of existing natural turf/sod and installation of commercial-grade artificial turf at a designated location (pictured below) on the medical center campus.

The objective of this project is to improve durability, reduce maintenance costs, conserve water usage, and maintain an attractive healthcare environment.

Total project area: approximately 5,700 square feet (84' x 66').

# 2. Project Overview

The selected contractor shall provide all labor, materials, equipment, and supervision required to complete the project.

Removal and disposal of existing sod

Site preparation and grading

Installation of base materials

Installation of commercial-grade artificial turf

Final grooming and site cleanup

# 3. Scope of Work

## 3.1 Sod Removal

Remove and properly dispose of all existing sod, organic materials, and debris from the project area.

## 3.2 Site Preparation

Excavate and grade the site to ensure a stable base and proper drainage conditions.

## 3.3 Base Installation

Install and compact an aggregate base suitable for artificial turf systems to ensure long-term durability and drainage.

## 3.4 Artificial Turf Installation

Provide and install commercial-grade artificial turf

Install seaming and anchoring systems

Install appropriate infill material

Provide proper edging and transitions

Perform final brushing and grooming

## 3.5 Site Restoration

Clean the project site and restore surrounding areas impacted during construction.

# 4. Material Requirements

Artificial turf must meet the following minimum standards:

Commercial landscape-grade turf

UV-resistant fibers

Permeable backing for drainage

Minimum 8–10 year manufacturer warranty

Designed for high durability and low maintenance

Safe for pedestrian areas

# 5. Project Area

Total Project Size: 5,700 square feet

Approximate Dimensions: 84 feet x 66 feet

Contractors should verify measurements during site visit.

# 6. Contractor Qualifications

Experience installing commercial artificial turf systems

Provide at least three similar project references

Maintain appropriate licensing and insurance

Compliance with OSHA safety standards

# 7. Proposal Requirements

Company background and contact information

Detailed project approach

Product specifications

Project timeline

Detailed cost proposal

References

# 8. Project Timeline

RFP Issued: __3/12/2026_______________

Questions Due: __6/30/2026___________

Proposal Deadline: __7/31/2026_______

Contract Award: ___      TBD _____________

Project Start: __________TBD _____________

Project Completion: ___TBD_____________

# 9. Evaluation Criteria

Contractor experience

Quality of materials proposed

Project timeline

References

Total project cost

# 10. Submission Instructions

Submit proposals electronically or in sealed envelope to the procurement contact listed on the cover page.

Late submissions may not be accepted.

# 11. Terms and Conditions

The Medical Center reserves the right to reject any or all proposals.

Contractors must verify site conditions.

All work must comply with applicable local regulations.

Contractor responsible for required permits unless otherwise stated.

- Per our initial site visit meeting held on March 24th, 2026, the following notes have been added to the proposal:

1. PROJECT OVERVIEW

This project includes the installation of both standard artificial turf and a designated playground turf system, along with associated site preparation, drainage improvements, and potential playground enhancements.

- Total project area: 5,700 sq. ft.

  - Playground area: 1,495 sq. ft.

  - Standard turf area: 4,205 sq. ft.

- Estimated material required: 6,500 sq. ft. (includes waste for trimming and fitting)

- Installation target: October / November

Vendors are requested to provide separate quotes for:

- Standard turf areas

- Playground turf areas

2. TURF SYSTEM REQUIREMENTS

Subgrade & Base

- Substrate depth: up to 4 inches for drainage

- Proper grading required to ensure water runoff

Infill

- Preferred: Coarse silica sand

- Not recommended: Rubber infill (due to displacement during heavy rain)

Turf Specifications

- Standard turf: Thicker, blade height (longer than playground turf)

- Playground turf blade height: approximately ½ inch height

- Turfing must support vehicle loads (car traffic) without damage

- Warranty: Up to 15 years

Backing

- Preferred: W-style backing (enhanced sun protection for blades)

- C-style backing may be considered

Cooling Options (Alternate Pricing Requested)

- Eco-cooling turf systems

- Water-activated cooling turf systems

3. PLAYGROUND AREA REQUIREMENTS

System Build-Up

- 4-inch gravel base + safety pad + playground turf

Safety Compliance

- Equipment 18 inches or higher must include 6-foot fall protection zone

Design Considerations

- Playground turf must be impact-rated for safety

- Turf color options should be provided

- Playground turf can be visually distinct from standard turf

Additional Scope

- Vendor to include:

  - Grass repair for construction access paths

  - Coordination for potential equipment relocation (pending design review)

4. BORDERS & EDGING

Preferred Option

- 6-inch concrete curb around turf behind playground area

Alternate Option

- Turf pinned flush with adjacent hardscape (no border)

Notes

- Border must secure turf edges and integrate with drainage design

- Turf will sit approximately 1–2 inches above adjacent grass areas

5. DRAINAGE REQUIREMENTS

- Include minimum of 2 catch basins tied into existing drainage system

- Ensure proper grading to direct water toward drainage points

- Tie-in recommended near existing concrete (light post area behind playground)

6. SITE & DESIGN CONSIDERATIONS

- Front area to remain natural grade and maintain a grass-like appearance

- Playground area may be elevated to meet safety requirements

Shade Structures (Future Consideration)

- Preferred: Cantilever shade structures

- Not preferred: Shade sails (due to long-term maintenance)

- Install footers during construction for future shade installation

7. ACCESS & CONSTRUCTION LOGISTICS

Site Access

- Access via grass across fire road near pediatrics building site

- Vendors must use plywood protection to prevent turf damage during construction

Staging Requirements

- Staging area must be left:

  - Flat

  - Free of ruts

  - Free of debris and rocks

General Requirements

- Vendors must remove all spoils and debris off-site

- Provide and maintain temporary fencing during construction to restrict pedestrian access

8. UTILITIES & INFRASTRUCTURE

- Existing water line under turf area should be capped if not in use

- Coordinate with project team for any required adjustments

9. COORDINATION

The following will be coordinated by the project team:

- Final layout and line placement

- Equipment access coordination

- Existing turf/grass protection

10. DELIVERABLES REQUIRED FROM VENDORS

Vendors shall provide:

- Detailed cost proposal (separate for standard and playground turf)

- Product specifications and cut sheets/brochures

- Drainage plan and integration details

- Installation timeline

- Warranty documentation

- Maintenance recommendations

11. MAINTENANCE REQUIREMENTS

- Annual maintenance required for infill leveling

- Periodic cleaning via power washing (max 1800 PSI)

- Vendor to provide any extra labeled materials for future repairs

- Please direct any questions or requests for site visit to Shannon Sanders via shannon.sanders@chickasaw.net