Scope of Work to rehabilitate three designated existing irrigation wells through acid treatment and mechanical brushing.

The work will include:

- Pulling the existing pump

- Applying appropriate acid treatment to the well

- Mechanically brushing the well casing and screened areas

- Flushing and developing the well to remove loosened deposits and treatment residue

- Reinstalling the existing pump

- Testing the well and pump for proper operation