## Sheet1
COST PROPOSAL IFB #26-0044
Complete this form and submit in accordance with the requirements of this IFB. Bidder proposes that the services required in this IFB shall be provided to CDFA for the following cost:
Rate Sheet- Annual calibration
No. | Column1 | Make | Model | Serial Number | Location | Bldg. | Annual Calibration Cost Year 1 | Annual Calibration Cost Year 2 | Annual Calibration Cost Year 3
1 | Scale, 150 pbs | Rubbermaid | 4010 | 68141 | RA Prep | B
2 | Balance | Ohaus | ES6R | 06969296AP | RA Prep | B
3 | Balance | Mettler | PB3002-S | 1119501268 | PDP | A
4 | Balance | Mettler | PG3001-S | 1120101172 | PDP | A
5 | Balance | Mettler | AX205DR | 1122292661 | Env. Monitoring | B
6 | Balance | Mettler | XS204 | 1122481711 | RA | B
7 | Oven | Thermo Fisher | BF51794C-l | 1126393001190429 | RA | B
8 | Water bath | Arninco | 21010 | 14188-1 | RA | B
9 | Balance | Ohaus | EP2102 | 2691122372243 | QA Lab | A
10 | Balance | Sartorius | CPA124S | 28650713 | RA | B
11 | Oven | Thermo Fisher | 3608 | 300211862 | RA | B
12 | Balance | Sartorius | E2000D | 36120065 | Env. Monitoring | B
13 | Balance | Sartorius | U4100S | 37100132 | Env. Monitoring | B
14 | Oven ( Furnace) | Fisher | 65()-58 | 70300018 | RA | B
15 | Balance | Mettler | PB300 | 738075 | Workers Safety | B
16 | Balance | Denver | AA-200 | B034375 | PDP | A
17 | Balance | Denver | AA-200 | B034802 | Residue | A
18 | Balance | Mettler | PC4400 | Bl2092 | Env. Monitoring | B
19 | Balance | Mettler | XS6002S | B2332110525 | Residue | A
20 | Balance | Mettler | XS204 | B540513839 | RA | B
21 | Balance | Mettler | XS204 | B551885106 | RA | B
22 | Balance | Mettler | XS6002S | B733520718 | Env. Monitoring | B
23 | Balance | Mettler | XPE105DR | B809473026 | Env. Monitoring | B
24 | Balance | Mettler | MS105DU | B914477880 | RA | B
25 | Balance | Mettler | ME54T | B948662815 | RA | B
26 | Balance | Mettler | PE6000 | E48401 | RA | B
27 | Balance | Mettler | SM3000 | F87042 | Env. Monitoring | B
28 | Balance | Mettler | PJ4000 | G09916 | Workers Safety | B
29 | Balance | Mettler | AE240 | H66430 | Env. Monitoring | B
30 | Balance | Mettler | AM50 | 113430 | Env. Monitoring | B
31 | Balance | Mettler | AE200 | K54467 | Env. Monitoring | B
32 | Balance | Mettler | BB2400 | L46801 | QA Lab | B
33 | Balance | Mettler | PM4000 | 188813 | Env. Monitoring | B
34 | Balance | Mettler | PM600 | M87727 | Env. Monitoring | B
35 | Oven | Thermo Fisher, Oven | Iso Temp | 42904214 | RA | B
36 | Balance | Sartorius | BCE124-5 | 44104095 | RA | B
37 | Balance | Mettler | XPR205 | C508569762 | QA | B
38 | Balance | Mettler |  | C512715603 | RA | B
39 | Oven |  |  | 43408677 | RA | B
40 | Water bath | Thermo |  | 300653231 | RA | B
41 | Oven | Thermo | OMH180 | 42988723 | EA/RA | B
42 | Oven | VWR |  | EV6113 | RA | B
43 | Balance | Mettler | MX303 | C607153680 | Residue/CIS | A
Rate Sheet- Biennial Calibration
No. | Column1 | Make | Model | Serial Number | Location | Bldg. | Annual Calibration Cost Year 1 | Annual Calibration Cost Year 2 | Annual Calibration Cost Year 3
1 | Walk-in Freezer | Bally | 3478-2-C-P | DX201648-01-FZR | Residue | A
2 | Walk-in Freezer | Ca. Food / AG | CAF-A01 | QCS112917 | Env. Monitoring | B
3 | Walk-in Ref | Bally | 3478-3-A | DX201648-01-FRIG | Residue | A
4 | Walk-in Ref | Kolpak | FS-1 | 93288690R | Receiving Room | B
5 | Thermometer, mercury | ERTCO | 0-100 celisus | J99164 | QA lab | A
6 | Thermometer, Digital | N/A | minus 40 celisus | 11440 & 13088 | QA lab | A
[7 empty] | Cost Year 1 | Cost Year 2 | Cost Year 3
[6 empty] | Total Expected Calibration: | 0 | 0 | 0
Rate Sheet - Contigency Cost
No. | Column1 | Make | Model | Serial Number | Location | Bldg. | Annual Calibration Cost Year 1 | Annual Calibration Cost Year 2 | Annual Calibration Cost Year 3
1 | Contingency- Additional Calibration required for 10 Balances, 1 scale, 10 Ovens, 5 water baths, 5 thermometers , 2 walk in refrigerators, 1 walk in freezer | N/A | N/A | N/A | N/A | N/A
[7 empty] | Cost Year 1 | Cost Year 2 | Cost Year 3
[6 empty] | Total Contigency: | 0 | 0 | 0
Rate Sheet - Travel
No. | Column1 | Make | Model | Serial Number | Location | Bldg. | Annual Travel Cost Year 1 | Annual Travel Cost Year 2 | Annual Travel Cost Year 3
1 | Travel | N/A | N/A | N/A | N/A | N/A
[7 empty] | Cost Year 1 | Cost Year 2 | Cost Year 3
[6 empty] | Total Travel: | 0 | 0 | 0
Total Calibration Year 1 | 0 |  | Total Calibration Year 2 | 0 |  | Total Calibration Year 3 | 0
Annual Travel Cost per Year 1 | 0 |  | Annual Travel Cost per Year 2 | 0 |  | Annual Travel Cost per Year 3 | 0
Annual Contigency per Year 1 | 0 |  | Annual Contigency per Year 2 | 0 |  | Annual Contigency per Year 3 | 0
Grand Total Year 1 | 0 |  | Grand Total Year 2 | 0 |  | Grand Total Year 3 | 0
*The above quantities are estimates only and are given as a basis for comparison of bids. No guarantee is made or implied as to the exact quantity that will be needed. 1. Cost proposal shall be inclusive of all labor, equipment, parts, devices, materials, tools, licenses, permits, supervision, inspection, insurance, transportation, travel and per diem, tax and every other item of expense necessary to provide the services listed in this IFBRFP. 2. Bidder is required to bid each line item on the cost proposal template. Failure to indicate a dollar amount (blank cell) in any item may be grounds to reject the entire group bid. 3. A Zero dollar amount ($0.00) listed for any andor all items shall be interpreted and understood by the State to mean that the bidder shall perform any such services at NO COST to the State. 4. Changes or alterations to this cost proposal will result in your bid being rejected. No additions to this cost proposal shall be accepted. This includes company quotes or invoices.