Date:	August 25, 2026

To:   All Bidders for IFB 25-299352 Water Based Fire Protection System; Building #024

From:  	Department of General Services

Office of Business and Acquisition Services (OBAS)

Subject: Addendum #2 - IFB 25-299352 Water Based Fire Protection System; Building #024

This addendum is to make deletions to the solicitation referenced above.

Change #1 – Attachment 8 – Cost Sheet. 1. Preventative Maintenance – Fire Sprinkler System  has been changed as follows:

Change #2 – Exhibit A Scope of Work, 6. Work Details has been changed as follows, removed Semi-Annual Fire Sprinkler System – Inspection, Testing, and Service

- WORK DETAILS

The services Contractor shall perform consists of, but is not limited to, the following:

- Semi-Annual – Fire Sprinkler System - Inspection, Testing, and Service

1. Activate supervisory devices.

2. Test water flow Alarms.