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Date:	August 25, 2026

To:   All Bidders for IFB 25-299352 Water Based Fire Protection System; Building #024

From:  	Department of General Services
	Office of Business and Acquisition Services (OBAS)

Subject: Addendum #2 - IFB 25-299352 Water Based Fire Protection System; Building #024

This addendum is to make deletions to the solicitation referenced above. 

Change #1 – Attachment 8 – Cost Sheet. 1. Preventative Maintenance – Fire Sprinkler System  has been changed as follows: 
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Change #2 – Exhibit A Scope of Work, 6. Work Details has been changed as follows, removed Semi-Annual Fire Sprinkler System – Inspection, Testing, and Service

6. WORK DETAILS

	The services Contractor shall perform consists of, but is not limited to, the following:

B. Semi-Annual – Fire Sprinkler System - Inspection, Testing, and Service

1. Activate supervisory devices.
2. Test water flow Alarms.
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